Unit Based Hazard Assessment Forms: Table of Contents

A – 1: Unit Ergonomic Evaluation Data Collection Tool	3

A-2a: Patient Care Ergonomic Evaluation Data Collection Tool	11

A-2b. PATIENT CARE ERGONOMIC EVALUATION DATA COLLECTION TOOL	13

A-3a. Unit Ceiling Lift System Coverage Practice Worksheet	17

A-3b. Unit Ceiling Lift System Coverage Practice	19

A-4: UNIT INCIDENT/INJURY PROFILE	21

A-5: Tool for Prioritizing High-Risk Resident Handling Tasks	23

A-6. SLING SELECTION CHART	25

A-7. Patient Care Ergonomic Evaluation Report	30

# A – 1: Unit Ergonomic Evaluation Data Collection Tool

Type of Unit: _____________________		Facility: ____________________________

Part I – SPACE/MAINTENANCE/STORAGE

a. Describe Unit, including # beds, room configurations (private, semi-private, 4-bed, etc.), and bathrooms:

# rooms w/ 2 beds:______   w/ 3 beds:_______  w/ 4 beds: _________  private:________

Bathrooms: In room?___  Community?___     Use Tub?___  Bathing Chair? ___Other?___

Draw/describe room configuration (on back, if needed).

b.	Describe current storage conditions and problems you have with storage.  If new equipment were purchased, where would it be stored?

c.	Identify anticipated changes in the physical layout of your unit, such as planned unit renovations in next 2 yrs.

d.	Describe space constraints for patient care tasks & use of portable equipment; focus on patient rooms, bathrooms, shower/bathing areas. Are typical room doorways narrow or wide?? Is the threshold uneven?

e.	Describe any routine equipment maintenance program or process for fixing broken equipment.  What is the Reporting Mechanism/ procedure for identifying, marking, and getting broken equipment to shop for repair? Is equipment on a PM schedule?

- If potential for installation of overhead lifting equipment exists, describe any structural factors that may influence this installation, such as structural load limits, lighting fixtures, AC vents, presence of asbestos, etc.

Part II - STAFFING

a. Peak Lift Load Times (Think about the time of day that’s the busiest. What is the # of staff that would be lifting at same time):

b. What are the typical patient care assignments?

Single Staff Member?_____  	Team_____       Shower/Lifting/Tech? _____

c. Discuss projected plans or upcoming changes in staffing, patient population, or bed closures in next two years.

Part III - PATIENTS/RESIDENTS

a. Describe the patients/residents on your unit.

b. Average Unit population characteristics (# hospice beds, Alzheimer beds, TBI beds,

etc.) and variability in this.

c. Discuss proposed changes in the average daily census over the next two years.

d. Identify typical distribution of patients by physical dependency level according to the definitions below. (Base on PHYSICAL LIMITATIONS not on clinical acuity)

Note: This is not the same as patient acuity.  The total for the 5 categories should equal your average daily census.

____	Total Dependence – Cannot help at all with transfers, full staff assistance for activity during entire seven-day period.  Requires total transfer at all times.

____	Extensive Assistance – Can perform part of activity, usually can follow simple directions, may require tactile cueing, can bear some weight, sit up with assistance, has some upper body strength, or may be able to pivot transfer.  Over the last seven-day period, help provided three or more times for weight-bearing transfers or may have required a total transfer.

____	Limited Assistance – Highly involved in activity, able to pivot transfer and has considerable upper body strength and bears some weight on legs.  Can sit up well, but may need some assistance.  Guided maneuvering of limbs or other non-weight bearing assistance three or more times, or help provided one or two times during the last seven days.

____	Supervision – Oversight, encouragement, or cueing provided three or more times during the last seven days or physical assistance provided only one or two times during the last seven days.

____	Independent – Can ambulate normally without assistance in unusual situations may need some limited assistance.  Help or oversight may have been provided only one or two times in the last seven days.

e. Have ALL staff complete & collate by UNIT & SHIFT: Tool for Prioritizing High-Risk Patient Handling Tasks

Part IV - PATIENT HANDLING INJURIES

Please have each UNIT Complete: Patient Care Incident/Injury Profile

Part V - EQUIPMENT

a. Provide inventory of all patient care equipment; describe working condition and how frequently equipment is used. Complete: Unit Patient Handling Equipment Inventory

b. What percent of high-risk tasks are completed using proper equipment? Why?

c. Perception of Problem Areas – what do you think are your problem areas?

d. What equipment do you think you need?

Person Completing Report:______________________________ Date:	_______________

Title:	_________________________  Contact #: ____________________

Tool for Prioritizing High-Risk Patient Handling Tasks

Directions: Assign a rank (from 1 to 10) to the tasks you consider to be the highest risk tasks contributing to musculoskeletal injuries for persons providing direct patient care.  A “10” should represent the highest risk, “9” for the second highest, etc. For each task, consider the frequency of the task (high, moderate, low) and musculoskeletal stress (high, moderate, low) of each task when assigning a rank.    Delete tasks not typically performed on your unit.  You can have each nursing staff member complete the form and summarize the data, or you can have staff work together by shift to develop the rank by consensus.

| Task Frequency H= high M= moderate L= low | Stress of Task H= high M= moderate L= low | Rank 10= high-risk 1= low risk | Patient Handling Tasks |
| --- | --- | --- | --- |
|  |  |  | Transferring patient from bathtub to chair |
|  |  |  | Transferring patient from wheelchair or shower/commode chair to bed |
|  |  |  | Transferring patient from wheelchair to toilet |
|  |  |  | Transferring a patient from bed to stretcher |
|  |  |  | Lifting a patient up from the floor |
|  |  |  | Weighing a patient |
|  |  |  | Bathing a patient in bed |
|  |  |  | Bathing a patient in a shower chair |
|  |  |  | Bathing a patient on a shower trolley or stretcher |
|  |  |  | Undressing/dressing a patient |
|  |  |  | Applying antiembolism stockings |
|  |  |  | Lifting patient to the head of the bed |
|  |  |  | Repositioning patient in bed from side to side |
|  |  |  | Repositioning patient in geriatric chair or wheelchair |
|  |  |  | Making an occupied bed |
|  |  |  | Feeding bed-ridden patient |
|  |  |  | Changing absorbent pad |
|  |  |  | Transporting patient off unit |
|  |  |  | Other Task: |

Adapted from Owen, B.D. & Garg, A. (1991).  AAOHN Journal, 39, (1).

PATIENT CARE INCIDENT/INJURY PROFILE

## FACILITY: __________________________________________	UNIT: ___________________________________

## DATES INCLUDED: __________________________________	DATE COMPLETED: ____________________

| Patient Care Activity (reposition, bathe, transfer, etc.) | Cause of Injury (pull, push,reach, struck, etc.) | Type of Injury (strain/sprain, contusion, struck, etc.) | Body Part/s (upper/mid/lower back, legs, neck, etc.) | Location (pt.room,hall, sun-room,etc.) | Lost Time (# days) | Modified Duty (# days) |
| --- | --- | --- | --- | --- | --- | --- |
| Ex: Repositioning (side to side) | Reaching, pulling residents all night – shoulder hurting | S/S | Shoulder | Pt Room | No | 4 days |

#1 Activity: _____________________ #1 Cause: ____________________	Modified Duty Trend? _____________________

#2 Activity ______________________ #2 Cause: ____________________	Lost Time Trend? _________________________

## UNIT PATIENT CARE EQUIPMENT INVENTORY

Unit:______________________________    Facility:________________________________________________              Date Completed:___________

| PATIENT CARE EQUIPMENT | Manufacturer/Style/Name (Ex: Arjo Maxi Move) | Inventory (Total # you have now) | In working order? | Use (% being used now) Comment: | # Requested |
| --- | --- | --- | --- | --- | --- |
| FULL BODY SLING LIFTS Floor-based, Powered Lifts Ex: Arjo Maxi Move |  |  |  |  |  |
| Floor-based, Non-Powered Lifts Ex: Hoyer |  |  |  |  |  |
| Ceiling Mounted Lifts Ex: BHM Voyager |  |  |  |  |  |
| Bathing Lifts |  |  |  |  |  |
| LATERAL TRANSFER AIDS Mechanical Lateral Transfer Aids Ex: Mobilizer, TotaLift II, On-3 |  |  |  |  |  |
| Friction Reducing Lateral Sliding Aids Ex: Sliding/Surf Boards, RTA, Phili slide |  |  |  |  |  |
| Air Assisted Lateral Transfer Aids Ex: AirPal; Hovermat |  |  |  |  |  |

UNIT PATIENT CARE EQUIPMENT INVENTORY          Unit:__________

| PATIENT CARE EQUIPMENT | Manufacturer/Style/Name (Ex: Arjo Maxi Move) | Inventory (Total # you have now) | In working order? | Use (% being used now) Comment: | # Requested |
| --- | --- | --- | --- | --- | --- |
| TRANSFER CHAIRS Ex: Transitchair |  |  |  |  |  |
| DEPENDENCY CHAIRS Ex: Broad, Geri-chair |  |  |  |  |  |
| POWERED STANDING ASSIST & REPOSITIONING LIFTS Ex: Translift, Raisa Lift |  |  |  |  |  |
| STANDING ASSIST & REPOSITIONING AIDS (Non-Powered) Ex: Super/Pivot Pole, Bed-Bar |  |  |  |  |  |
| GAIT BELTS With Handles |  |  |  |  |  |
| OTHER |  |  |  |  |  |

# A-2a: Patient Care Ergonomic Evaluation Data Collection Tool

| Unit/Description: | Facility: | Date: |
| --- | --- | --- |
| Patient Care Ergonomic Issues Existing/Ordered Unit Equipment | Patient Handling Equipment/Sling Recommendations |
| Vertical Transfers/Lifts (dependent/extensive assistance pts) |  |
| Vertical Transfers/Lifts (partial assistance pts) |  |
| Ambulation Training |  |
| Transportation |  |
| Lateral transfers |  |
| Repositioning Side to Side |  |
| Pulling up to head of bed |  |
| Repositioning in Chair |  |
| Wound care |  |
| TED Hose Application |  |
| Toileting |  |
| Showering/Bathing |  |
| # beds: ____ Average Census:_____ % bariatric:_____ % total dependent/extensive assistance:_______ % total partial assistance:______ Room configurations: Storage: Notes: |

# A-2b. PATIENT CARE ERGONOMIC EVALUATION DATA COLLECTION TOOL

Unit: _________________________   Facility: ____________________________    Date: ____________

Unit Description:_______________________________________________________________________

# Beds/Average Daily Census: __________Bariatric population: ____________	Storage:____________

% Total Dependent/Extensive Assistance Pts: ___________     % Partial Assistance Pts:__________

Room Configurations (# private etc.):_____________________________________________________________

| High Risk Patient Handling Tasks | Existing/Ordered Unit Equipment | Patient Handling Equipment/Sling Recommendations |
| --- | --- | --- |
| Vertical Transfers (dependent/extensive assistance pts) | FBL | FBL |
|  | CL | CL |
|  | Other |  |
| Vertical Transfers (partial assistance pts) | SS | SS |
|  | TA | TA |
|  | Other |  |
| Ambulation Training | SS | SS |
|  | CL, | CL, |
|  | FBL | FBL |
| Lateral Transfers | FRD | FRD |
|  | AA | AA |
|  | MLD | MLD |
|  | Other |  |
| Repositioning Up in Bed | FRD | FRD |
|  | RA | RA |
|  | CL | CL |
|  | FBL | FBL |
|  | Other |  |
| Repositioning Side to Side | CL | CL |
|  | FBL | FBL |
|  | RA | RA |
|  | Other |  |
| Repositioning in Chair | FRD | FRD |
|  | FBL | FBL |
|  | CL | CL |
|  | Other |  |
| Wound care | CL | CL |
|  | FBL | FBL |
|  | Other |  |
| Transportation in Bed/Stretcher | Motorized Bed | Motorized Bed |
|  | Bed Mover | Bed Mover |
|  | Other |  |
| Transportation in W/C | Motorized W/C | Motorized W/C |
|  | W/C Mover | W/C Mover |
|  | Other |  |
| Bathing/Showering | Shower Chair | Ergonomic Shower Chair |
|  | Shower Trolley | Shower Trolley |

Notes:

Key:

AA-Air Assisted Lateral Transfer Device 	CL-Ceiling Lift 	FBL-Full Body Sling Lift

FRD-Friction Reducing Device	SS-Sit to Stand Lift	TA-Transfer Aid

MLD-Mechanical Lateral Transfer Device 	RA-Repositioning Aid

# A-3a. Unit Ceiling Lift System Coverage Practice Worksheet

(Assume structural status allows for CL installation)

A.  NHCU Unit

- 85% dependent and extensive assistance patients

- 30 bed ward w/ 12 semi-private rooms & 6 private rooms

- How many (#) patients/beds should be covered?

- In what rooms would you place ceiling lifts on this unit?

- How many ceiling lifts would you purchase/install for this unit?

B.  Med/Surg (Tele) Unit

- 50% dependent and extensive assistance patients

- 24 bed ward w/ 3 – 3 bed rooms, 5 semi-private rooms, and 5 private rooms

- How many (#) patients/beds should be covered?

- In what rooms would you place ceiling lifts on this unit?

- How many ceiling lifts would you purchase/install for this unit?

C.  Med/Surg (Rehab) Unit

- 40% dependent and extensive assistance patients

- 50% partial assistance (requiring ambulation training)

- 10% independent

- 20 bed ward w/ 5 semi-private rooms and 10 private rooms (rehab patients)

- How many (#) patients/beds should be covered?

- In what rooms would you place ceiling lifts on this unit?

- How many ceiling lifts would you purchase/install for this unit?

# A-3b. Unit Ceiling Lift System Coverage Practice

(Assume structural status allows for CL installation)

A.  NHCU Unit

- 85% dependent and extensive assistance patients

- 30 bed ward w/ 12 semi-private rooms & 6 private rooms

- How many (#) patients should be covered?  #=30 (100%)

- In what rooms would you place ceiling lifts on this unit? All

- How many ceiling lifts would you purchase/install for this unit? 18 CL

B.  Med/Surg (Tele) Unit

- 50% dependent and extensive assistance patients

- 24 bed ward w/ 3 – 3 bed rooms, 5 semi-private rooms, and 5 private rooms

- How many (#) patients should be covered? 12 (50% x 24)

- In what rooms would you place ceiling lifts on this unit?

Many options

2 – 3 bed room = 		6 patients/beds

2 semi-private rooms = 	4 patients/beds

2 private = 		2 patients/beds

- How many lifts would you purchase/install for this unit?

If use horseshoe configuration in 3 bed rooms = 6 CLs

If use two straight track units (TV/light issues) = 8 CLs

C.  Med/Surg (Rehab) Unit

- 40% dependent and extensive assistance patients

- 50% partial assistance (requiring ambulation training)

- 10% independent

- 20 bed ward w/ 5 semi-private rooms and 10 private rooms (rehab patients)

- How many (#) patients should be covered? 20 (100%)

- In what rooms would you place ceiling lifts on this unit? All

- How many lifts would you purchase/install for this unit?  15 CLs

# A-4: UNIT INCIDENT/INJURY PROFILE

## UNIT:_______________________			FACILITY: _________________________________

| Resident Care Activity (reposition, bathe, transfer,etc.) | Cause of Injury (pull, push, reach, struck, etc.) | Type of Injury (strain/sprain, contusion, struck, etc.) | Body Part/s (upper/mid/ lower back, legs, neck, etc.) | Location (resident room, hall, sun- room, etc.) | Lost Time (# days) | Modified Duty (# days) |
| --- | --- | --- | --- | --- | --- | --- |
| Repositioning (side to side) | Reaching, pulling residents all night – shoulder started hurting | S/S | Shoulder | Pt Room | No | 4 days |
| Transferring from W/C to Toilet | Twisted while lifting resident onto toilet | S/S | Mid Back lumbar | Bath Room | 2 days | 10 days |
| Transferring from Bed to Chair | Resident made sudden movement | S/S | Lower back | Hall | No | No |
| Repositioning (side to side) | Pulling over large dependent resident | S/S | Lower back | Pt Room | No | No |
| Pulling up in Bed | Pulling up large dependent resident | S/S | Upper back, neck | Pt Room | No | No |
| Transferring from Bed to Chair | Resident collapsed as transferring to chair | S/S | Lower back | Pt Room | 5 days | 34 days |
| Transferring from Wheelchair to Bed | Leaning down to pick up resident, hurt back | S/S | Lower back | Pt Room | 1 day | 7 days |

#1 Activity: _____________________ #1 Cause: ____________________ 	Lost Time Trend? _____________________

#2 Activity ______________________ #2 Cause: ____________________	Modified Duty Trend? __________________

Intervention Prioritization: ________________________________________________________________________________

# A-5: Tool for Prioritizing High-Risk Resident Handling Tasks

Directions: Assign a rating (from 1 to 10) to the tasks that you consider to be high risk for contributing to musculoskeletal injuries.  A “10” should represent highest risk and “1” for lowest risk. For each task, consider the frequency and duration of the task (high, moderate, low), and musculoskeletal stress (high, moderate, low). Delete tasks not typically performed on your unit. Add tasks you perceive as high risk but not included.

Have each nursing staff member on a unit complete the form. Summarize the data by unit and shift.  An alternative is to have staff work together by shift to develop the ratings by consensus.

| Task Frequency/ Duration H= high M= moderate L= low | Stress of Task H= high M= moderate L= low | Rank 10= high-risk 1= low risk | Resident Handling Tasks |
| --- | --- | --- | --- |
|  |  |  | Transferring patient from bathtub to chair |
|  |  |  | Transferring patient from wheelchair or shower/ commode chair to bed |
|  |  |  | Transferring patient from wheelchair to toilet |
|  |  |  | Transferring a patient from bed to stretcher |
|  |  |  | Lifting a patient up from the floor |
|  |  |  | Weighing a patient |
|  |  |  | Bathing a patient in bed |
|  |  |  | Bathing a patient in a shower chair |
|  |  |  | Bathing a patient on a shower trolley or stretcher |
|  |  |  | Undressing/dressing a patient |
|  |  |  | Applying antiembolism stockings |
|  |  |  | Lifting patient to the head of the bed |
|  |  |  | Repositioning patient in bed from side to side |
|  |  |  | Repositioning patient in geriatric chair or wheelchair |
|  |  |  | Making an occupied bed |
|  |  |  | Feeding bed-ridden patient |
|  |  |  | Changing absorbent pad |
|  |  |  | Transporting patient off unit |
|  |  |  | Other Task: |
|  |  |  | Other Task: |
|  |  |  | Other Task: |

Adapted from Owen, B.D. & Garg, A. (1991).  AAOHN Journal, 39, (1).

# A-6. SLING SELECTION CHART

| Activity | Sling Choices | Criteria | Special Considerations |
| --- | --- | --- | --- |
| Vertical Transfers (to/from bed/ wheelchair/ commode/ dependency chair/etc.) | SEATED | Patient can tolerate sitting position and has adequate hip & knee flexion | Consider presence of wounds for sling application and patient positioning. Consider precautions of total hip replacement patients. |
|  | STANDING | Patient can grasp & hold handle with at least one hand, has at least partial weight bearing capability, has upper body strength, and is cooperative & can follow simple commands | Consider presence of wounds for sling application and patient positioning. |
| Lateral Transfers (to/from bed/ stretcher/ Shower trolley/ gurney) | SUPINE | Patient cannot tolerate sitting position and has restricted hip & knee flexion. Patient can tolerate supine position. | Do NOT use if patient has respiratory compromise or if wounds present may affect transfers/positioning |
| Bathing | SUPINE | Patient cannot tolerate sitting position and has restricted hip & knee flexion. Patient can tolerate supine position. | Do NOT use if patient has respiratory compromise or if wounds present may affect transfers/positioning |
|  | SEATED | Patient can tolerate sitting position and has adequate hip & knee flexion | Consider presence of wounds for sling application and patient positioning. Consider precautions of total hip replacement patients. |
|  | LIMB SUPPORT | Sustained holding of any extremity while bathing in bed | Consider wounds, comfort, circulation, neurovascular and joint conditions, if task is of long duration |
| Toileting | SEATED | Patient can tolerate sitting position and has adequate hip & knee flexion | Consider presence of wounds for sling application and patient positioning. Consider precautions of total hip replacement patients. |
|  | STANDING | Patient can grasp & hold handle with at least one hand, has at least partial weight bearing capability, has upper body strength, and is cooperative & can follow simple commands | Consider presence of wounds for sling application and patient positioning. |
| Activity | Sling Choices | Criteria | Special Considerations |
| Repositioning in Chair | SEATED | Patient can tolerate sitting position and has adequate hip & knee flexion | Consider presence of wounds for sling application and patient positioning. Consider precautions of total hip replacement patients. |
| Repositioning UP in Bed | SUPINE | Patient cannot tolerate sitting position and has restricted hip & knee flexion. Patient can tolerate supine position. | Do NOT use if patient has respiratory compromise or if wounds present may affect transfers/positioning |
|  | SEATED | Patient can tolerate sitting position and has adequate hip & knee flexion | Consider presence of wounds for sling application and patient positioning. Consider precautions of total hip replacement patients. |
|  | REPOSITIONING | Patient can tolerate supine position. | Do NOT use if patient has respiratory compromise or if wounds present may affect transfers/positioning |
| Turning a patient in bed | SUPINE | Patient cannot tolerate sitting position and has restricted hip & knee flexion. Patient can tolerate supine position. | Do NOT use if patient has respiratory compromise or if wounds present may affect transfers/positioning |
|  | REPOSITIONING | Patient can tolerate supine position. | Do NOT use if patient has respiratory compromise or if wounds present may affect transfers/positioning |
| Making an Occupied Bed | SUPINE | Patient cannot tolerate sitting position and has restricted hip & knee flexion. Patient can tolerate supine position. | Do NOT use if patient has respiratory compromise or if wounds present may affect transfers/positioning |
|  | SEATED | Patient can tolerate sitting position and has adequate hip & knee flexion | Consider presence of wounds for sling application and patient positioning. Consider precautions of total hip replacement patients. |
| Functional Sit-Stand training/support | STANDING | Patient can grasp & hold handle with at least one hand, has at least partial weight bearing capability, has upper body strength, and is cooperative & can follow simple commands | Consider presence of wounds for sling application and patient positioning. |
| Activity | Sling Choices | Criteria | Special Considerations |
| Dressing | STANDING | Patient can grasp & hold handle with at least one hand, has at least partial weight bearing capability, has upper body strength, is cooperative & can follow simple commands | Consider presence of wounds for sling application and patient positioning. |
|  | LIMB SUPPORT | Sustained holding of any extremity while dressing in bed | Consider wounds, comfort, circulation, neurovascular and joints, if task is of long duration |
| Pericare | STANDING | Patient can grasp & hold handle with at least one hand, has at least partial weight bearing capability, has upper body strength, and is cooperative & can follow simple commands | Consider presence of wounds for sling application and patient positioning. |
| Ambulation training and support | WALKING | Partial weight bearing, level of cooperation, consult Dr. & therapist for readiness | Do NOT use if wounds present that affect transfers and positioning |
|  | STANDING | Patient can grasp & hold handle with at least one hand, has at least partial weight bearing capability, has upper body strength, and is cooperative & can follow simple commands | Consider presence of wounds for sling application and patient positioning. |
| Wound Care/Dressing | LIMB SUPPORT | Sustained holding of any extremity while dressing/caring for wounds while patient in bed | Consider wounds, comfort, circulation, neurovascular and joints, if task is of long duration |
| Surgical Procedures | LIMB SUPPORT | Sustained holding of any extremity while performing surgical procedure in bed | Consider wounds, comfort, circulation, neurovascular and joints, if task is of long duration |
| Fall Rescue | SUPINE | Patient cannot tolerate sitting position and has restricted hip & knee flexion. Need for patient to remain flat. Patient can tolerate supine position. | Do NOT use if patient has respiratory compromise or if wounds present may affect transfers/positioning |
|  | SEATED | Patient can tolerate sitting position and has adequate hip & knee flexion | Consider presence of wounds for sling application and patient positioning. Consider precautions of total hip replacement patients. |

# A-7. Patient Care Ergonomic Evaluation Report

The following relays recommendations for attainment of ‘Minimal Patient Lift’ or ‘Safe Patient Handling & Movement’ environments for clinical areas surveyed during a patient care ergonomic evaluation of your facility.  Attainment of a patient handling Minimal Lift environment takes time and the efforts of many, but know that it can be accomplished, and the benefits will be for patients as well as staff, for when staff are working safely, patients are safer.

The key recommendation for attainment of Minimal Patient Lift status is use of ceiling lifts throughout the facility.  Research has found ceiling lifts have biomechanical advantages over floor-based lifts.  As well, their accessibility facilitates staff compliance with use.  New sling designs are expanding the use of lifts, so lifts are not just for moving patients from one sitting position to another.  New sling designs are taking the patient ‘load’ off of caregivers during very high risk repositioning tasks as well as while bathing, toileting, lifting limbs, and others.  For these reasons, the ultimate patient care ergonomic goal should be to provide ceiling lifts throughout all patient care and procedure areas.  Certainly, phase-in of ceiling lifts will take place over time, but provision of as many lifts as possible, as soon as possible, will only benefit your facility.  When deciding on ceiling lift track configuration, if possible, install traverse (H-track) systems that cover entire patient/procedure rooms and also include a scale on any lift purchased.

Support of patient care ergonomics is evident at the management as well as the staff level as demonstrated by providing time and resources for a significant number of staff to attend the Patient Care Ergonomics training.  Also, requesting patient care ergonomic evaluations, and familiarity with patient care ergonomic concepts and technology demonstrate a commitment to and support of safe patient handling.  As enhancements to the direction your facility is progressing in providing safe patient handling environments, I recommend selection of a facility champion and formation of a safe patient handling implementation team or advisory group.  As well, I strongly suggest institution of a patient handling unit peer leader program with representatives from each clinical area including therapy, nursing, and radiology, and, appointment of a peer leader ‘leader’ has been found to facilitate success.  Nurse educators and therapy staff have been found to be appropriate for this leadership role.

I have noted the following issues for consideration.

- As soon as possible, implement Unit Peer Leader Program to aid in implementation of safe patient handling program on clinical units.  For most success, one peer leader per unit per shift is suggested.

- I suggest a phase-in of patient handling equipment over the next several months, beginning with sit to stand lifts and floor-based lifts, as the sit to stand lifts have already been introduced in many areas.  Next, introduce air assisted lateral transfer devices, then when the time comes to occupy the new building, the ceiling lifts can be introduced to the staff.

- I suggest taking advantage of the ‘momentum’ from the recent patient handling training by providing Patient Care Ergonomics Awareness Training as soon as possible.  Educate staff on the risks and interventions for these risks from patient handling activities. Also include unit information on existing equipment, perception of high risk tasks, and injury trends.  Provide continual training to staff as implementation progresses to facilitate their understanding and acceptance.

- Whenever escort/transportation staff are involved in patient handling or patient movement, I have a concern that they may become the sacrificial lambs of patient movement.  Escort/transportation staff must be provided the same protection from patient handling risk as any other staff member who handles patients.  If their function is to only transport patients I suggest providing them with motorized stretchers and/or robotic bed or wheelchair movers.  If they are also performing lateral transfers or vertical lifts, they must be provided with and adequately trained on use of the appropriate patient handling equipment.

- Although I did not visit the morgue, patient handling in this area can be quite strenuous, and there are good lifting and moving systems available to address unique morgue issues to decrease the risk of injury for those involved, or provision of a lift (preferably a ceiling lift system) with a supine sling can help.

- Although I did not visit the PT clinics, a general recommendation to reduce ergonomic stressors during ambulation training and patient lifting includes the installation of a ceiling lift traverse track system, with two lifts contained within the system.  Each ceiling lift could be operated simultaneously, and one would function over the parallel bars and another over the treatment tables or wherever needed.

General and specific ergonomic recommendations are included below.

- Use injury data, staff perceptions of high risk tasks, and information from ergonomic evaluations to determine high risk tasks on each unit. Use this to determine unit patient handling technology needs. Please let me know if you would like me to supply you tools to accomplish this.

- Utilize equipment logs in order to have a facility-wide inventory of patient handling equipment.  This will also provide a record of the location, working order, utilization, and reason for non-utilization if appropriate.  Make this equipment information available to all units for easy reference if equipment is needed.  There may be equipment available that may not be appropriate for it’s current location and may be what is needed elsewhere.  Please let me know if you would like me to supply you tools to accomplish this.

- Although I foresee ceiling lifts as the answer to most patient handling tasks, there are few slings available that modify ceiling lifts to function as sit to stand lifts, and this may take some time.  For those units that perform many tasks for which sit to stand lifts are applicable (long term care, post-op, med/surg areas, etc.) I recommend provision of sit to stand lifts with ambulation capability.

- Lateral transfers are high risk tasks that are common throughout the facility in most clinical areas. Ceiling lifts using supine and seated slings can decrease risk from these tasks, but at this time I suggest using air assisted lateral transfer devices throughout facility for two reasons.  One is that ceiling and portable lifts are not operational in many procedure areas such as radiology due to pedestal tables and overhead equipment tracks. The second reason is that presently ceiling lifts are in the process of being phased in the facility and the air assisted lateral transfer devices can provide safe lateral transfers in those areas while phase-in occurs.

I suggest the sharing of air assisted lateral transfer devices between clinical areas.  For example, a patient being transported to radiology can be transferred laterally on the unit using the air assisted air supply canister and mattress on the unit. Then, leaving the mattress under the patient, he is transported to the destination location (radiology). The mattress can then be inflated with the canister in radiology and used to laterally transfer the patient to the destination surface (x-ray table). The mattress would then remain under the patient during transport back to the unit and the unit air supply canister would be used to then inflate the mattress for laterally transferring the patient back to bed.  Some Emergency Departments are opting to have these available for every ED admission and some Operating Rooms are keeping these under patients from the first lateral transfer onto the OR table to the last one on the unit.

- Develop a bariatric program including identification of rooms on each unit appropriate for such patients as well as a bariatric admissions flow chart and protocol for the facility and unit. Determine best route to obtain needed equipment, through purchase or rental. Ensure a procedure is in place on off-shifts to quickly obtain bariatric equipment, especially expanded capacity gantry-design full body sling lifts. Provide each unit with unit bariatric binder with all bariatric information specific for the unit and facility. Utilize other suggestions from training.

- In order to facilitate staff compliance with use of equipment, they must be brought into the equipment selection process.  I suggest allowing staff to trial all equipment prior to purchase.  This can be accomplished by having equipment fairs, one-day trials, or two week or more trials of equipment on each unit.   Information and survey forms to assist in the equipment evaluation are found in the VA Patient Care Ergonomic Resource Guide at www.patientsafetycenter.com.

- Refer to the patient handling Technology Resource Guide, Bariatric Technology Resource Guide, and Ch. 4 of the Patient Care Ergonomics Resource Guide for information on equipment options.  These resources are found under ‘Safe Patient Handling & Movement” on the website: www.visn8.med.va.gov/visn8/patientsafetycenter.

Below, please find other recommendations from my ergonomic site visit.

| Unit: 6 South – Rehab, transitional care unit |
| --- |
| Patient Care Ergonomic Issues | Patient Handling Assistive Technology Solutions/Recommendations |
| Vertical lifts (dependent/extensive assistance pts) Manual lifting is the norm. | Provide coverage of 75 - 100% of patient population with ceiling lifts During Ceiling lift phase-in, trial/provide 1 floor-based sling lift Consider installing track down hall for ambulation of patients Educate staff on rationale for & use of lifts |
| Vertical Lifts (partial assistance pts) | Trial/provide 2 sit to stand lift w/ ambulation capability Educate staff on rationale for & use of lifts |
| Transportation - Frequent – use w/c, 2 cardiac chars, total lift 2 by escort & staff | Consider battery-powered wheelchair and bed/stretcher movers &/or provide 1 motorized stretcher |
| Lateral transfers - Frequent Performing manually | Trial/Provide a minimum of 2 air assisted lateral transfer devices or other friction reducing device |
| Repositioning Side to Side - Frequent Performing manually | Use air assisted lateral transfer device or other friction reducing device When ceiling lifts installed, provide repositioning slings for use w/ CLs In the interim, trial repositioning slings for use w/ new floor-based lift. (Note: staff will prefer use of repo slings w/ ceiling lifts) |
| Pulling up to head of bed - Frequent Performing manually | Use air assisted lateral transfer device or other friction reducing device When ceiling lifts installed, provide repositioning slings for use w/ CLs In the interim, trial repositioning slings for use w/ new floor-based lift. (Note: staff will prefer use of repo slings w/ ceiling lifts) |
| Wound care - Frequent | When Floor-based lift on unit and when ceiling lifts installed, provide limb support strap/slings |
| Toileting - varied | Use sit to stand lift for appropriate patients |
| Showering/Bathing | Trial/Provide 1-2 ARJO Carrendo shower chairs |
| TED hose application | Provide TED hose applicator |
| # beds: 35 Average Census: 32-35 % total dependent/extensive assistance: 75% & ambulatory 10% Proportion bariatric: 2-3 at a time/occasionally Room configurations: Notes: Rehab/ambulate in rooms and down hall |

| Unit: 6 North – tele, step down |
| --- |
| Patient Care Ergonomic Issues | Patient Handling Assistive Technology Solutions/Recommendations |
| Vertical lifts (dependent/extensive assistance pts) Manual lifting is the norm. Lots ambulation down hall & in rooms | Provide coverage of 75 - 100% of patient population with ceiling lifts During Ceiling lift phase-in, trial/provide 1 floor-based sling lift Consider installing track down hall for ambulation of patients Educate staff on rationale for & use of lifts |
| Vertical Lifts (partial assistance pts) | Trial/provide 1 sit to stand lifts w/ ambulation capability Educate staff on rationale for & use of lifts |
| Transportation |  |
| Lateral transfers Performing manually | Trial/Provide 1 air assisted lateral transfer devices or other friction reducing device |
| Repositioning Side to Side - Frequent Performing manually | Use air assisted lateral transfer device or other friction reducing device When ceiling lifts installed, provide repositioning slings for use w/ CLs In the interim, trial repositioning slings for use w/ new floor-based lift. (Note: staff usually prefer use of repo slings w/ ceiling lifts) |
| Pulling up to head of bed - Frequent Performing manually | Use air assisted lateral transfer device or other friction reducing device When ceiling lifts installed, provide repositioning slings for use w/ CLs In the interim, trial repositioning slings for use w/ new floor-based lift. (Note: staff usually prefer use of repo slings w/ ceiling lifts) |
| Wound care - Rare |  |
| Toileting | Use sit to stand lift for appropriate patients |
| Showering/Bathing – in bed | Trial/Provide 1 ARJO Carrendo shower chairs |
| # beds: 21 Average Census: 21 % total dependent/extensive assistance: varies - 50% + Proportion bariatric: few Room configurations: Notes: Rehab/ambulate in rooms and down hall |

| Unit: 7 North – Medical Oncology |
| --- |
| Patient Care Ergonomic Issues | Patient Handling Assistive Technology Solutions/Recommendations |
| Vertical lifts (dependent/extensive assistance pts) Manual lifting is the norm. | Provide coverage of 70% of patient population with ceiling lifts During Ceiling lift phase-in, trial/provide 1 floor-based sling lift Educate staff on rationale for & use of lifts |
| Vertical Lifts (partial assistance pts) | Trial/provide 1-2 sit to stand lift w/ ambulation capability Educate staff on rationale for & use of lifts |
| Transportation - Frequent – use w/c, cardiac chars, stretcher by escort & staff. Beds are easy to move | Consider battery-powered wheelchair and bed/stretcher movers &/or provide 1 motorized stretcher |
| Lateral transfers - Frequent Performing manually | Trial/Provide a minimum of 2 air assisted lateral transfer devices or other friction reducing device |
| Repositioning Side to Side - Frequent Performing manually | Use air assisted lateral transfer device or other friction reducing device When ceiling lifts installed, provide repositioning slings for use w/ CLs In the interim, trial repositioning slings for use w/ new floor-based lift. (Note: staff usually prefer use of repo slings w/ ceiling lifts) |
| Pulling up to head of bed - Frequent Performing manually | Use air assisted lateral transfer device or other friction reducing device When ceiling lifts installed, provide repositioning slings for use w/ CLs In the interim, trial repositioning slings for use w/ new floor-based lift. (Note: staff usually prefer use of repo slings w/ ceiling lifts) |
| Wound care - Frequent | When Floor-based lift on unit and when ceiling lifts installed, provide limb support strap/slings |
| Toileting - varied | Use sit to stand lift for appropriate patients |
| Showering/Bathing | Trial/Provide 1-2 ARJO Carrendo shower chairs |
| # beds: 30 (new) Average Census: 30 % total dependent/extensive assistance: 60-70% Proportion bariatric: 1/ month for few weeks Room configurations: Notes: |

| Unit: 7 South – med/surg, total hips, knees, neruo, strokes, vascular |
| --- |
| Patient Care Ergonomic Issues | Patient Handling Assistive Technology Solutions/Recommendations |
| Vertical lifts (dependent/extensive assistance pts) Manual lifting is the norm. | Provide coverage of 50 - 60% of patient population with ceiling lifts During Ceiling lift phase-in, trial/provide 1 floor-based sling lift Consider installing track down hall for ambulation of patients Educate staff on rationale for & use of lifts |
| Vertical Lifts (partial assistance pts) | Trial/provide 1- 2 sit to stand lift w/ ambulation capability Educate staff on rationale for & use of lifts |
| Transportation – w/ cardiac chair - Beds are easy to move | Consider battery-powered wheelchair and bed/stretcher movers |
| Lateral transfers - Frequent – to cardiac chair | Trial/Provide 1-2 air assisted lateral transfer devices or other friction reducing device |
| Repositioning Side to Side - Frequent Performing manually | Use air assisted lateral transfer device or other friction reducing device When ceiling lifts installed, provide repositioning slings for use w/ CLs In the interim, trial repositioning slings for use w/ new floor-based lift. (Note: staff usually prefer use of repo slings w/ ceiling lifts) |
| Pulling up to head of bed - Frequent Performing manually | Use air assisted lateral transfer device or other friction reducing device When ceiling lifts installed, provide repositioning slings for use w/ CLs In the interim, trial repositioning slings for use w/ new floor-based lift. (Note: staff usuallly prefer use of repo slings w/ ceiling lifts) |
| Wound care - Frequent | When Floor-based lift on unit and when ceiling lifts installed, provide limb support strap/slings |
| Toileting – use commode | Use sit to stand lift for appropriate patients |
| Showering/Bathing | Trial/Provide 1-2 ARJO Carrendo shower chairs |
| # beds: 28 Average Census: 26-28 % total dependent/extensive assistance: 40 – 50 % Proportion bariatric: 2-3/ month – more & more seen Room configurations: private Notes: |

| Unit: SICU/MICU/CCU – This unit will be combination unit in new bed tower In MICU/CCU – most pts in bed, many on ventilators. |
| --- |
| Patient Care Ergonomic Issues | Patient Handling Assistive Technology Solutions/Recommendations |
| Vertical lifts (dependent/extensive assistance pts) Manual lifting is the norm. Philosophy – get pts out of bed into chair, thus not utilizing chair positioning feature of beds | Provide 100% ceiling lift coverage During Ceiling lift phase-in, trial/provide 1 floor-based sling lift Use ‘seated slings’ to transfer dependent patients from seated to seated positions When admit bariatric patients, when ordering bariatric beds, order gantry lift for ALL dependent/extensive assistance bariatric patients Educate staff on rationale for & use of lifts |
| Vertical Lifts (partial assistance pts) Philosophy – get pts out of bed into chair, thus not utilizing chair positioning feature of beds but also transfer some pts laterally into cardiac chair, then place in seated position. | Trial/provide 1- 2 sit to stand lift w/ ambulation capability Educate staff on rationale for & use of lifts |
| Transportation – beds are easy to move – staff and docs go w/ escort staff | Consider battery-powered wheelchair and bed/stretcher movers |
| Lateral transfers - Frequent – use draw sheets & roller board occasionally | Trial/Provide 6 air assisted lateral transfer devices or other friction reducing device |
| Repositioning Side to Side – Frequent – bed w/ lateral rotation feature. | Use air assisted lateral transfer device or other friction reducing device When ceiling lifts installed, provide repositioning slings for use w/ CLs |
| Pulling up to head of bed - Frequent | Use air assisted lateral transfer device or other friction reducing device When ceiling lifts installed, provide repositioning slings for use w/ CLs In the interim, trial repositioning slings for use w/ new floor-based lift. (Note: staff usually prefer use of repo slings w/ ceiling lifts) |
| Wound care - Frequent | When Floor-based lift on unit and when ceiling lifts installed, provide limb support strap/slings |
| Toileting – in bed | Use sit to stand lift for appropriate patients |
| Showering/Bathing – in bed |  |
| Making occupied bed | Trial supine sling w/ 6 point hanger bar with floor based and/or ceiling lifts |
| # beds: 20 Average Census: 20 % total dependent/extensive assistance: Proportion bariatric: presently rare but considering providing bariatric surgery Room configurations: private |

| Unit: DIALYSIS– Inpatient AND Outpatient Primarily performed in chairs, rarely beds |
| --- |
| Patient Care Ergonomic Issues | Patient Handling Assistive Technology Solutions/Recommendations |
| Vertical lifts (dependent/extensive assistance pts) |  |
| Vertical Lifts (partial assistance pts) Have 1 EZ Stand | outpatient dialysis - Provide 1 sit to stand lift inpatient dialysis - Share sit to stand lift w/ ICU |
| Lateral transfers - rare |  |

| Unit: EMERGENCY DEPT. |
| --- |
| Patient Care Ergonomic Issues | Patient Handling Assistive Technology Solutions/Recommendations |
| Vertical lifts (dependent/extensive assistance pts) | Provide 4 ceiling lifts w/ at least 600 lb. weight capacity If provide car extraction lift with other lift functions (as w/ the Golvo) provide a supine sling w/ hanger bar for lifting patients from floor |
| Car extraction | Trial/provide floor-based sling lift (EZ-Out, LIKO Golvo, etc.) |
| Vertical Lifts (partial assistance pts) | Trial sit to stand lift |
| Transportation | Consider battery-powered wheelchair and bed/stretcher movers &/or provide 1 motorized stretcher |
| Lateral transfers | Trial/provide air assisted lateral transfer devices |
| Repositioning Side to Side | Use air assisted lateral transfer devices When ceiling lifts installed, provide repositioning slings for use w/ CLs |
| Pulling up to head of bed | Use air assisted lateral transfer devices When ceiling lifts installed, provide repositioning slings for use w/ CLs |
| Wound care | When ceiling lifts installed, provide limb support strap/slings for use w/ CLs If provide car extraction lift with other lift functions (as w/ the Golvo), provide limb support strap/slings for use w/ floor-based sling lift |
| Room configurations: 14: Proportion bariatric: |

| Unit: RADIOLOGY (In patient & Outpatient) |
| --- |
| Patient Care Ergonomic Issues | Patient Handling Assistive Technology Solutions/Recommendations |
| Vertical lifts (dependent/extensive assistance pts) | Install 1 ceiling lift in CT Install 1 ceiling lift in the angio suite |
| Lateral transfers | Trial/provide air assisted lateral transfer devices for: in patient radiology (1-2) outpatient radiology (1-2) CT (1) Angio suite (1) 1 friction reducing device for MRI |