# B.2.3.3  JSC CENTER UNIQUE SERVICES FSA

## 1.  Overview

Center Unique Services for the Emergency Operations Center (EOC) are provided at JSC. The EOC provides site emergency management and response. This includes emergency event detection via phone, radio, or remote sensing device; emergency dispatch of Security, Fire, and EMS personnel; and response coordination of emergency response organizations. Mission operations of the facility, which is staffed continuously, is the responsibility of another contractor.

## 2.  Service Requirements

## 2.1  Emergency Operations Center

The CSOC contractor shall provide the EOC ground system services as depicted in the integrated tables B.2.3.3-3.0-A and B.3.

The JSC EOC will have the following performance standard:

Required Service:	JSC EOC system availability.

Std of Excellence:	100% availability for the prime mission objective of dispatching emergency equipment and personnel; 99% availability for the secondary mission objective.

Expectation:	99% availability for the prime mission objective and 98% availability for the secondary mission objective.

Availability figures are applicable to the EOC being capable of dispatching personnel to emergencies as well as being able to monitor fire alarms, improper access, or other security alarms. These availability requirements pertain to the systems internal to the EOC and not to the external interfaces, i.e., card readers, fire sensors, etc., which are the responsibility of other contractors. The prime mission of the EOC is to dispatch Security, Fire, and/or EMS personnel and coordinate the response of emergency organizations when an event is detected. A secondary mission objective is to monitor the JSC video distribution system, JSC and Ellington Field fire alarm systems, weather system, security system, access control system, and the site-wide warning system. Mission operations of the facility is the responsibility of another contractor.

2.2 ELECTRONIC SYSTEM TEST LABORATORY (ESTL)

The CSOC contractor shall provide the ESTL ground system services as depicted in the integrated tables B.2.3.3-3.0-A and B.3.

The JSC ESTL will have the following performance standards:

Required Service:	JSC ESTL system availability.

Std of Excellence:	100% readiness of responsible areas.

Expectation:		98% readiness of responsible areas.

2.3	EOC Development

Refer to Table B.2.3.3-3.0-C for the identification of development support per fiscal year.

| B.2.3.3 |
| --- |
| Table B.2.3.3-3.0-C EOC Development Support |
| Dev. Start | OND | SR No. | Title |
| FY00 | 09/20/00 | 60460 | Computer Aided Dispatch (CAD) System Enhancement |
| FY00 | 09/20/00 | 60462b | Fireworks |

## 3.  Integrated TableS

| Table B.2.3.3-3.0-A JSC Center Unique Services Descriptions of Service Elements |
| --- |
| New Service Element | SEID | Service Element Description | Address/Location | Ownership | Security Level | Operating Hours | Notes |
| CS010 | N/A | CSOC Integration Center | Lockheed Martin Space Operations Center, Houston, TX | CL | 3 | 8x5 except 24x7 for special support | New in FY99 |
| CS020 | N/A | CSOC Integrated Operations Center | Lockheed Martin Space Operations Center, Houston, TX | CL | 2 | 8x5 except CSOC Online and special support 24x7 | New in FY99 |
| CS030 | N/A | CSOC Integrated Product Support Center | Lockheed Martin Space Operations Center, Houston, TX | CL (Equip = GFP) | 1 | 8x5 | New in FY99 |
| M295 | A3004 | A.3.4 Emergency Operations Center (EOC) | Emergency Operations Center: JSC, Building 30L, Third floor lobby, Rooms 3110, 3116, 3118A, and 3120 | GO | 3 | Mission Operations are conducted in the EOC 24x365. CSOC services must be sufficient (as needed and on call) to provide the EOC availability requirements identified above. | Consolidated into m295 during FY00 |
| M295 | N/A | EOC | Emergency Operations Center: JSC, Building 30L, Third floor lobby, Rooms 3110, 3116, 3118A, and 3120 | GO | 3 | 24x7 | New in FY99 |
| Unknown | A1119 | A.1.119 Electronic Systems Test Laboratory (ESTL) | JSC: B44/120 | GO | 1 | 8x5 On call and special request support to be provided to meet critical activities. | None |
| CS010 CSOC Integration Center | A.1.119 ESTL | Provide maintenance and operation of the ESTL Second TDRSS Ground Terminal; GSTDN; Command, Telemetry, and Recording Areas; and the ESTL Front-End Processor; provide development and M&O of equipment in support of aircraft customers. Equipment is contractor-maintained installation-provided government property. | JSC ESTL personnel direct testing and laboratory activities. | JSC SEAT contractor provides M&O for all other areas of the lab as well as test conduct personnel. |  |
| Note: Operating hours are not necessarily reflective of staffing requirements. |

## 4.  CSOC Interfaces

## 4.1  Unique NASA Interfaces at JSC

CSOC shall provide interfaces to NASA and its support contractors for a variety of operational maintenance and engineering purposes.

## 4.1.1  MSC and CSOC Interrelationship

The EOC is being developed and sustained by the Mission Systems Contract (MSC). The CSOC contractor shall assume all functions defined in Table B.2.3.3-4.0 upon the expiration of MSC.

## 4.1.2  JSC Center Operations Directorate (COD)

The performance of mission operations in the JSC EOC is by a separate contract, and as such, CSOC will not be required to staff the EOC operator positions. The JSC COD manages this operational contract and is responsible for staffing and administration of this contract. The COD provides electrical power (refer to MOU JSC-27049) to the Power Distribution Units (PDUs) within the EOC. Several components of the EOC and a variety of external devices that interface to the EOC such as cameras, fire sensors, card readers, access control panels, etc., will not be the responsibility of CSOC. The maintenance, operations, sustaining engineering, and operator training for these systems/interfaces also falls under the perview of the JSC COD and COD-managed contractors.

## 4.1.3  JSC Information Systems Office (ISO)

In addition to EOC equipment that falls under the responsibility of COD and its support contractors, there is also equipment within the EOC that falls under the responsibility of the JSC ISO and its support contractors. The ISO is also responsible for the Information Network System (INS). Any INS network connectivity requirements shall be coordinated through the ISO.

## 4.4  EOC Equipment Responsibility

The following table delineates the EOC equipment and systems and CSOC responsibility.

Note: For all equipment (hardware and associated firmware) under CSOC responsibility, the CSOC contractor shall provide maintenance, system administration, data base administration, CM, sustaining engineering, operations analysis, systems engineering, training, testing, problem analysis and resolution, security, documentation, logistics, scheduling, and coordination.

| Table B.2.3.3-4.0 EOC Equipment Responsibility |
| --- |
| Area | Location | Equipment Not Under CSOC Responsibility with Responsible NASA Organization Shown in Parenthesis | Equipment Under CSOC Responsibility |
| Community Partners Area | 30L/3100 | Data Phones (ISO), INS Drops (ISO), Radios (COD), TV (ISO) |  |
| Dispatch Operator Supervisor Office | 30L/3112 | Phone (ISO), Radios (COD), Office PC (ISO), INS Drop (ISO) |  |
| Viewing Room | 30L/3116 | Phone (ISO) | [Audio System Speakers] |
| Operator Break Room | 30L/3114 | Phone (ISO), Refrigerator (COD), Microwave Oven (COD), Sink (COD), Water Fountain (COD), (Shutter Control Panel) (COD) |  |
| Media Center | 30L/3118 | Data Phones (ISO), Analog lines (ISO), FAX machine (ISO), Copier (COD), INS Drops (ISO) |  |
| ERT Support Area | 30L/3124 | Phones (ISO), Radios (COD), Office PC’s (ISO), Printer (ISO) |  |
| ERT Conference Room | 30L/3120 | Speaker Phone (ISO), Amateur Radio (COD) | Audio System, Speakers, Video System, Monitors, Video Control, Panels, Weather PC |
| Dispatch Center | 30L/3110 | Phones (ISO), Fire Alarm Monitoring System (NA), (Wells Fargo System) (COD), Site-Wide Warning System (COD), (ATM Alarm System) (COD), Scrolling Message Generator (ISO) | Console Housings*, Audio System, Computer-Aided Dispatch (CAD) Workstations, Video System, Monitors, Video Control Panel, Printer, VCRs, Dukane Display, Uninterruptible Power Supply (UPS) Monitoring Panel, COTS Software on CAD Workstations, [Fire Alarm Interface], [Site-Wide Warning System Interface], [Wells Fargo Interface], [ATM Alarm Interface] |
| Equipment Room | 30L/3118A | Phone (ISO), 612 Phones (ISO), Analog Line (ISO), INS Drop (ISO), Monaco PC (NA) | LAN Cabinet, Video Cabinets, Audio Cabinets, EOC/INS Firewall/Router, Network PC, CAD Servers, Security Servers, Access Control System Servers, Integration, Verification, and Test Equipment, PC Anywhere S/W on Monaco PC, UPS, COTS Software on Servers, [Dictaphone Voice Recorder] |
| Other |  | Video Cameras (ISO), Card Readers (ISO), Access Control Panels (ISO), Fire Alarms (NA) | Weather Station on Roof of 30S |
| Note: [ ] indicate planned items. * All furniture in all EOC rooms is non-CSOC except dispatch console housings. Training for certification of operators for such things as emergency response, security incidents, etc., is not the responsibility of CSOC. |

## 4.5  INTERDEPENDENCE WITH NASA INITIATIVES

Implementation of our integrated architecture relies on completion of a number of NASA initiatives. These interrelationships are depicted in Table B.2.3.3-4.1.0.

| Table B.2.3.3-4.1.0 CSOC IOA Interdependencies |
| --- |
| Development Requirement | DP1 | NASA Development Initiative | Technical Performance | NASA Initiative Complete |
| Consolidate the logistics management at the CLF warehouse facility to a lower cost region of Baltimore’s industrial area. Implement a full bar-coding capability. | N/A | N/A | N/A | N/A |
| Provide a central facility that directly supports the central CSOC Engineering organization. It provides the computerized environment to perform SVEL engineering, IOA Systems Engineering, Operations Integration and Test, Technology Assessment. | 1/99 | N/A | N/A | N/A |

## 5.  Supporting Information

None.