## Table 3 Winter Peak Load
Form EIA-411 for 2005
Released: February 7, 2008
Next Update: October 2007
Table 2b. Noncoincident Winter Peak Load, Actual and Projected by North American Electric Reliability Council Region,
1990 through 2004 and Projected 2005 through 2009
(Megawatts and 2004 Base Year)
Winter Noncoincident Peak Load |  | Contiguous U.S. | Eastern Power Grid | [7 empty] | Texas Power Grid | Western Power Grid
Projected Year Base | Year |  | ECAR | FRCC | MAAC | MAIN | MAPP/MRO (U.S.) | NPCC (U.S.) | SERC | SPP | ERCOT | WECC (U.S.)
| 1990/1991 | 484231 | 67097 | 30800 | 36551 | 32461 | 21113 | 40545 | 86648 | 38949 | 35815 | 94252
| 1991/1992 | 485761 | 71181 | 31153 | 37983 | 33420 | 21432 | 41866 | 88422 | 38759 | 35448 | 86097
| 1992/1993 | 492983 | 72885 | 30616 | 37915 | 31289 | 21866 | 41125 | 88218 | 39912 | 35055 | 91686
| 1993/1994 | 521733 | 81846 | 32499 | 41406 | 34966 | 21955 | 42063 | 101136 | 41644 | 35407 | 88811
| 1994/1995 | 518253 | 75638 | 35854 | 40653 | 33999 | 23033 | 42547 | 96807 | 42505 | 36180 | 91037
| 1995/1996 | 544684 | 83465 | 37491 | 40790 | 35734 | 23429 | 42755 | 104541 | 44624 | 36965 | 94890
| 1996/1997 | 554081 | 84534 | 37806 | 40468 | 37162 | 24251 | 41208 | 105254 | 49095 | 38868 | 95435
| 1997/1998 | 529874 | 75670 | 33076 | 37217 | 34973 | 25390 | 41338 | 122649 | 27437 | 37966 | 94158
| 1998/1999 | 567558 | 84401 | 39975 | 36532 | 37410 | 26080 | 44199 | 127416 | 27847 | 41876 | 101822
| 1999/2000 | 570915 | 86239 | 40178 | 40220 | 39081 | 25200 | 45227 | 128563 | 27963 | 39164 | 99080
| 2000/2001 | 588426 | 84546 | 38606 | 43256 | 41943 | 24536 | 43852 | 139146 | 30576 | 44641 | 97324
| 2001/2002 | 576312 | 85485 | 40922 | 39458 | 40529 | 21815 | 42670 | 135182 | 29614 | 44015 | 96622
| 2002/2003 | 604986 | 87300 | 45635 | 46551 | 42412 | 23645 | 46009 | 141882 | 30187 | 45414 | 95951
| 2003/2004 | 593874 | 86332 | 36841 | 45625 | 41719 | 24134 | 48079 | 137972 | 28450 | 42702 | 102020
| 2004/2005 | 618701 | 91800 | 44839 | 45905 | 42929 | 24526 | 48176 | 144337 | 29490 | 44010 | 102689
Projected |  | Contiguous U.S. | ECAR | FRCC | MAAC | MAIN | MRO (U.S.) | NPCC (U.S.) | SERC | SPP | ERCOT | WECC (U.S.)
In 2004 for 2005/2006 |  | 625233 | 90464 | 46717 | 46784 | 43926 | 24995 | 48180 | 147019 | 29480 | 41672 | 105996
In 2004 for 2006/2007 |  | 638412 | 92492 | 47994 | 47560 | 44528 | 25413 | 48845 | 150031 | 30021 | 42922 | 108606
In 2004 for 2007/2008 |  | 650162 | 93978 | 49139 | 48334 | 45368 | 25828 | 49520 | 152922 | 30364 | 43803 | 110906
In 2004 for 2008/2009 |  | 661906 | 95841 | 50414 | 49106 | 46139 | 26322 | 50180 | 155489 | 30994 | 44092 | 113329
In 2004 for 2009/2010 |  | 673855 | 97045 | 51700 | 49857 | 46846 | 26704 | 50795 | 157765 | 31644 | 45732 | 115767
Notes: • Actual data are final. • Projected data are updated annually. • NERC Regional Council names may be found in the Glossary
reference • Represents an hour of a day during the associated peak period. • The summer peak period begins on June 1 and extends through
through September 30. • The winter peak period begins on December 1 and extends through February 28 of the following year. For example,
winter 2001 begins December 1, 2001, and extends through February 28, 2002.• Totals may not equal sum of components because of independent rounding.
Sources: Energy Information Administration, Form EIA-411, "Coordinated Bulk Power Supply Program Report."