## INFO
This file contains version 2.0 of the EPA Regioin 3. Please read through the following notes as they give important information on how the EDD is to be used.
DED stands for Data Element Dictionary. This refers to the Data_Dictionary tab which contains descriptions of all of the fields used. The presentation as a dictionary is intended to facilitate mapping with other systems.
The EDD, or Electronic Data Deliverable, is composed of a series of linked tables using the fields in the DED. These are broken out into individual sheets in this document.
The data element definitions have a number of columns as follows:
Table - Indicates which EDD table contains the data element.
Position - Indicates the position in the relevant EDD table.
Field Name - Gives the name of the field.
Description - Gives a description of the field.
Data type - Indicates the format in which the field but be filled out.
Required? - Indicates whether the field is needed in order to import data. Anyone using the EDD should include all fields noted as required. Other fields will also likely be required by the individual user.
Valid Values? - Indicates whether the field must be filled from a list of valid values. If a valid value is required, the relevant table is referenced.
Several notes on the use of individual EDD tables:
Field_Results - This table is included as a means for entering data which is collected in the field, such as temperature, pH, specific conductivity. Field results could also be reported as normal samples by filling out the relevant information in the Sample_Info and Test_Results tables.
Water_Level: This is a modular table. If a given user does not wish to collect this information, the table may be omitted.

## Data_Dictionary
Table | Posi-tion | Field Name | Description | Data Type | Re-quired ? | Valid Values ?
Data_Provider | 1 | data_provider | 'Name of company or agency responsible for completion & submittal of any part of this EDD. Acts as a link to the Data_Provider table. | Text (60) | Yes | No
Data_Provider | 2 | data_contact_name | Name of contact associated with data_provider. | Text (30) | No | No
Data_Provider | 3 | data_contact_address1 | Contact street address and/or box number. | Text (40) | No | No
Data_Provider | 4 | data_contact_address2 | Site address, part two. Box number or other info. | Text (40) | No | No
Data_Provider | 5 | data_contact_city | City of site. | Text (20) | No | No
Data_Provider | 6 | data_contact_state | Postal abbreviation for State of site. | Text (2) | No | State_code table
Data_Provider | 7 | data_contact_zipcode | Zip code of site. | Text (10) | No | No
Data_Provider | 8 | data_contact_email | Contact e-mail address. | Text (60) | No | No
Data_Provider | 9 | data_contact_phone | Contact phone number | Text (60) | No | No
Field_Results | 1 | data_provider | Name of company or agency responsible for completion & submittal of any part of this EDD. Acts as a link to the Data_Provider table. | Text (60) | Yes | No
Field_Results | 2 | station_id | Location identifier of sample collection, soil boring, well installation, field observations, etc. to appear on GIS maps graphs & tables, etc. Examples of possible station_id are MW-01, SW-1, SB6, etc. Acts as a link to the Location table. | Text (20) | Yes | No
Field_Results | 3 | field_msr_id | Unique measurement identifier. Each measurement must have a unique value. Example: measurement_date, measurement_time, and station_id: MM/DD/YYYY/HH:MM:SS/station_id. | Text (40) | Yes | No
Field_Results | 4 | field_msr_type | Code which distinguishes between different types of measurements. | Text (3) | Yes | Sample_type_code table
Field_Results | 5 | medium | Medium within which this measurement was taken. Valid values: "Soil", "Water", "Air", "Sediment", "Biological". | Text (10) | Yes | Valid values given in description
Field_Results | 6 | field_matrix_code | Code which distinguishes between different types of field measurement matrix. | Text (2) | Yes | Matrix table
Field_Results | 7 | measurement_date | Date of field chemistry measurement, water level measurement, etc. | Date MM/DD/YYYY | Yes | No
Field_Results | 8 | measurement_time | Time of water level measurement, field chemistry, etc. in 24 hour (military) format. | Text (HH:MM) | Yes | No
Field_Results | 9 | upper_depth | Depth (in depth_unit) to top of measurement below land surface (surf_elev). Use for groundwater only if discrete measurements are taken at different depths in a single well (packer tests, etc.). Required for point measurements (direct push, etc.). | Num (XXXX.XXXX) | No | No
Field_Results | 10 | lower_depth | Depth (in depth_unit) to bottom of measurement below land surface (surf_elev). Use for groundwater only if discrete measurements are taken at different depths in a single well (packer tests, etc.). Null for point measurements (direct push, etc.). | Num (XXXX.XXXX) | No | No
Field_Results | 11 | depth_unit | Unit of measure for depths. | Text (10) | No | Units table
Field_Results | 12 | param_name | Parameter names were derived from the Chemical Abstracts Registry (CAS) Number for the parameter if available. Otherwise EPA STORET codes were used. | Text (60) | Yes | Param_name table
Field_Results | 13 | cas_number | Analyte code derived from the Chemical Abstracts Registry (CAS) Number for the parameter if available. Otherwise EPA STORET codes are used. See Param_name valid value table in appendix. | Text 15) | Yes | Param_name table
Field_Results | 14 | value_type | Value type reflected in result_value. Valid values: "actual", "estimated" or "calculated". | Text (10) | Yes | Valid values given in description
Field_Results | 15 | stat_type | Statistic type reflected in the result_value. Max, min, mean, etc. Leave null if no statistical value was used. | Text (20) | No | Stat_type table
Field_Results | 16 | result_value | The measured value of the parameter, result of analysis or test reported at an appropriate number of significant digits. May be blank for non-detects. | Text (20) | Yes | No
Field_Results | 17 | result_unit | Units of measurement for the result. | Text (15) | Yes | Unit table
Field_Results | 18 | field_msr_equipment_type | Type of gear used to take the measurement. | Text (20) | No | Equipment_type table
Field_Results | 19 | field_msr_equipment_name | Name of the gear used to take the measurement. | Text (60) | No | Equipment_name table
Field_Results | 20 | field_msr_comment | Any comment regarding this field measurement. | Text (254) | No | No
Field_Results | 21 | worker_name | Name of individual that took the field measurement. | Text (30) | No | No
Field_Results | 22 | calibration_date | Date that the field instrument used was last calibrated. | Date MM/DD/YYYY | No | No
Location | 1 | data_provider | 'Name of company or agency responsible for completion & submittal of any part of this EDD. Acts as a link to the Data_Provider table. | Text (60) | Yes | No
Location | 2 | station_id | 'Location identifier of sample collection, soil boring, well installation, field observations, etc. to appear on GIS maps graphs & tables, etc. Examples of possible station_id are MW-01, SW-1, SB6, etc. Acts as a link to the Location table. | Text (20) | Yes | No
Location | 3 | station_name | Sampling location name. May be longer description of station_id for organizations using long name formats. | Text (40) | No | No
Location | 4 | station_desc | Description of sampling location. | Text (254) | No | No
Location | 5 | station_county | Location county code. | Text (25) | No | Station_county table
Location | 6 | station_state_fips | Two letter state code of the location | Text (2) | No | State_code table
Location | 7 | station_type1 | MAD Code Req#5 Primary sampling location type. | Text (20) | Yes | Station_type1 table
Location | 8 | station_type2 | Secondary sampling location type. | Text (30) | Yes | Station_type2 table
Location | 9 | latitude | MAD Code Req#1Latitude of sampling location in decimal degrees (dd.xxxxxx). | Num (XX.XXXXXX) | Yes | No
Location | 10 | longitude | MAD Code Req#2 Longitude of sampling location in decimal degrees. Must be negative for western hemisphere (-ddd.xxxxxx). | Num (XXX.XXXXXX) | Yes | No
Location | 11 | source_scale | MAD Code Req#8 Scale of the source (map, air photo, etc.) used to determine the lat/long coordinates. | Text (10) | Yes | Source_scale_code table
Location | 12 | horz_accuracy_unit | MAD Code Req#4B Use values in unit valid value table in appendix. Unit of the horizontal accuracy value. | Text (10) | Yes | Units table
Location | 13 | horz_accuracy_value | MAD Code Req#4A Accuracy range (+/-) of the lat/long coordinates. EPA Method Accuracy Description Code (MAD Code) Location Data Policy (LDP) requires that only the least accurate measurement be recorded, whether it is for longitude or latitude. | Num (XXXX.XXXX) | Yes | No
Location | 14 | horz_datum_code | MAD Code Req#7 Reference datum used to determine the latitude and longitude measurements. | Text (3) | Yes | Horizontal_datum_code table
Location | 15 | horz_collect_method_code | MAD Code Req#3 Method used to determine the latitude and longitude measurements. | Text (2) | Yes | Horizontal_collect_method code table
Location | 16 | lat/long_verification | MAD Code Opt#7 Indicates if the latitude and longitude has been verified by EPA staff, grantees or contractors through a given process. Indicate "Y" for yes and "N" for no. | Text (1) | No | Valid values given in description
Location | 17 | station_comment | MAD Code Opt#3A Comment about latitude, longitude and vertical elevation. Store information about the collection method, post processing of the data (if GPS were involved), or description of feature of the facility represented by the coordinates. | Text (254) | No | No
Location | 18 | coord_sys_desc | CART COORD 0 Cartographic sampling location coordinate system description for x_coord & y_coord. Valid Values = UTM, and SP (for State Plane). | Text (3) | No | No
Location | 19 | x_coord | CART COORD 1A x coordinate in system specified by Agency requiring submittal. System identified by coord_sys_desc. Coordinates must be ready for plotting without shifts or off-sets. | Num (XXXXXXXXXX.XXXX) | No | No
Location | 20 | y_coord | CART COORD 1B y coordinate in system specified by Agency requiring submittal. System identified by coord_sys_desc. Coordinates must be ready for plotting without shifts or off-sets. | Num (XXXXXXXXXX.XXXX) | No | No
Location | 21 | coord_units | CART COORD 2 Units for cartographic coordinate system identified by coord_sys_desc. | Text (10) | No | Units table
Location | 22 | coord_datum | CART COORD 3 Datum for cartographic xy coordinate system. May be different datum from horz_datum_code. Defaults to horz_datum_code if Null. | Text (3) | No | Horizontal_datum_code table
Location | 23 | coord_zone | CART COORD 4 Cartographic coordinate system zone. Indicate the UTM Zone or State Plane Zone. | Text (15) | No | No
Location | 24 | surf_elev | MAD Code Req#6A Land surface elevation (in elev_unit) at station location. For surface water samples, use elevation of water surface. For sediment samples, use elevation of top of sediment. | Num (XXXXX.XXXX) | Yes | No
Location | 25 | elev_unit | MAD Code Req#6B Unit of measurement for surf_elev. Valid values: m = meters & ft = feet. | Text (2) | Yes | Valid values given in description
Location | 26 | elev_datum_code | MAD Code Opt#6 Datum for elevation measurements. Not same as reference_point_desc or reference_point_elev. | Text (3) | Yes | Elevation_datum_code table
Location | 27 | elev_accuracy_unit | MAD Code Opt#5B Unit of the elevation accuracy value (in elev_unit). Valid values: m = meters & ft = feet. | Text (10) | No | Valid values given in description
Location | 28 | elev_accuracy_value | MAD Code Opt#5A Accuracy range (+/-) of the elevation measurement (in elev_accuracy_unit). | Num (XXXX.XXXX) | No | No
Location | 29 | elev_collect_method_code | MAD Code Opt#4A Method used to determine the land surface elevation of the sampling location. | Text (2) | Yes | Elevation_collect_method table
Location | 30 | subsite_id | MAD Code Opt#9 Unique code for Operable Unit, SWMU, etc. Typically "01". Use "02", "03", etc, for additional units. Contact the EPA Project Manager if unsure of proper code. | Text (8) | Yes | No
Location | 31 | geometric_type_code | MAD Code Req#9 Usually Point for sample location data. Use Line or Area for GPS data describing road, railroad, pond edge, landfill perimeter, etc. Valid values: P = point, L = Line & A = area. | Text (10) | No | Valid values given in description
Location | 32 | data_point_sequence | MAD Code Opt#8 Number indicating the sequence in which points on a line or area are connected. Null if geometric_type_code = "P", required if geometric_type_code = "A" or "L". For an area, the maximum point is connected to the first. | Num (XXX) | No | No
Location | 33 | surveyor_name | MAD Code Opt#4B Name of surveyor company performing survey. | Text (254) | No | No
Location | 34 | survey_number | Unique identification of location survey history. Usually = 1 if location has been determined only once. May be 2 or more if location has been re-surveyed or re-determined. | Text (20) | Yes | No
Location | 35 | lat/long/coord_date | MAD Code Opt#2 Date location coordinates were determined. | Date MM/DD/YYYY | No | No
Location | 36 | within_facility_Y/N | Indicates whether this sampling location is within facility boundaries. Enter "Y" for yes or "N" for no. | Text (1) | Yes | Valid values given in description
Location | 37 | basin | Major basin; controlled vocabulary using HUC (Hydrologic Unit Codes). The first 8 digits of the HUC code should be entered here. | Text (14) | No | basin table
Location | 38 | total_depth | Total depth associated with location. | Double | No | No
Sample_Collect_Procedures | 1 | sample_coll_proc_id | Sample Collection Procedure ID. References Sample_Collect_Procedures table. | Text (8) | Yes | No
Sample_Collect_Procedures | 2 | sample_coll_proc_name | Descriptive name of this Sample Collection Procedure. | Text (60) | Yes | Gear_type table
Sample_Collect_Procedures | 3 | sample_coll_proc_desc | Description of this Sample Collection Procedure. | Text (254) | No | No
Sample_Collect_Procedures | 4 | sample_coll_proc_citation | Citation for this field procedure in the format: Title_Author_Publisher_Year_Volume and Pages_Comments | Text (254) | No | No
Sample_Info | 1 | data_provider | 'Name of company or agency responsible for completion & submittal of any part of this EDD. Acts as a link to the Data_Provider table. | Text (60) | Yes | No
Sample_Info | 2 | station_id | 'Location identifier of sample collection, soil boring, well installation, field observations, etc. to appear on GIS maps graphs & tables, etc. Examples of possible station_id are MW-01, SW-1, SB6, etc. Acts as a link to the Location table. | Text (20) | Yes | No
Sample_Info | 3 | sample_id | Unique sample identifier. Each sample must have a unique value, including spikes and duplicates. Laboratory QC samples must also have unique identifiers. | Text (40) | Yes | No
Sample_Info | 4 | medium | Medium within which this measurement was taken. Valid values: "Soil", "Water", "Air", "Sediment", "Biological". | Text (10) | Yes | Valid values given in description
Sample_Info | 5 | sample_matrix_code | Code which distinguishes between different types of sample matrix. | Text (2) | Yes | Matrix table
Sample_Info | 6 | sample_type_code | Code which distinguishes between different types of samples. | Text (3) | Yes | Sample_type_code table
Sample_Info | 7 | sample_source | This field identifies where the sample came from Field or fixed-base Laboratory. Valid values: "field", and "lab". | Text (5) | Yes | Valid values given in description
Sample_Info | 8 | sample_coll_proc_id | Sample Collection Procedure ID. References Sample_Collect_Procedures table. | Text (8) | Yes | No
Sample_Info | 9 | sample_id_duplicate | Identifies the sample_id of a duplicate sample. For example, the value in this field would be the related sample_id for a blind duplicate sample. | Text (20) | No | No
Sample_Info | 10 | sample_group | Special ID for group of samples from a sampling event, special collection process, unusual or specialized catagory of stations. | Text (10) | No | No
Sample_Info | 11 | sample_date | Date sample was collected (in MM/DD/YYYY format for EDD). | Date MM/DD/YYYY | Yes | No
Sample_Info | 12 | sample_time | Time sample collection began in 24 hour (military) format. | Text (HH:MM) | No | No
Sample_Info | 13 | upper_depth | Depth (in depth_unit) to top of sample below land surface (surf_elev). Use for groundwater samples in a well only if discrete samples are taken at different depths in a single well (packer tests, etc.). Required for point samples (direct push, etc.). | Num (XXXX.XXXX) | No | No
Sample_Info | 14 | lower_depth | Depth (in depth_unit) to bottom of sample below land surface (surf_elev). Use for groundwater samples in a well only if discrete samples are taken at different depths in a single well (packer tests, etc.). Null for point samples (direct push, etc.). | Num (XXXX.XXXX) | No | No
Sample_Info | 15 | depth_unit | Unit of measure for depths. | Text (10) | No | Units table
Sample_Info | 16 | chain_of_custody | Chain of custody identifier. A single sample may be assigned to only one chain of custody. | Text (15) | No | No
Sample_Info | 17 | sent_to_lab_date | Date sample was sent to lab (in MM/DD/YYYY format for EDD). | Date MM/DD/YYYY | No | No
Sample_Info | 18 | sample_receipt_date | Date that sample was received at laboratory (in MM/DD/YYYY format for EDD). | Date MM/DD/YYYY | No | No
Sample_Info | 19 | sampler_name | Name of individual that collected the sample. | Text (30) | No | No
Sample_Info | 20 | task_code | Code used to identify the task under which the field sample was retrieved. The format for this field is XX-P#-##-##-####. Where XX is the type of task required (see valid values), and P# is the phase, and ##-##-#### is the date in month, day and year. | Text (20) | No | No
Sample_Info | 21 | qapp_approval_date | QAPP Approval Date. | Date MM/DD/YYYY | No | No
Sample_Info | 22 | sample_comment | Comments related to the sample. | Text (254) | No | No
Site | 1 | site_id | Official EPA CERCLA ID, RCRA ID or valid STORET Organization ID if this data is not associated with a designated CERCLA site. References the Site table. | Text (20) | Yes | No
Site | 2 | site_name | Name of site or facility. | Text (60) | Yes | No
Site | 3 | site_address1 | Site address, part one. Street address. | Text (40) | No | No
Site | 4 | site_address2 | Site address, part two. Box number or other info. | Text (40) | No | No
Site | 5 | site_city | City of site. | Text (20) | No | No
Site | 6 | site_state | Postal abbreviation for State of site. | Text (2) | No | State_code table
Site | 7 | site_zipcode | Zip code of site. | Text (10) | No | No
Site | 8 | subsite_id | MAD Code Opt#9 Unique code for Operable Unit, SWMU, etc. Typically "01". Use "02", "03", etc, for additional units. Contact the EPA Project Manager if unsure of proper code. | Text (8) | Yes | No
Site | 9 | subsite_name | Name of site, operable unit or sub-site name designated by sub_site_code. Name to appear on maps, graphs and tables identifying this subsite. | Text (60) | Yes | No
Site | 10 | subsite_purpose | Reason for sampling at this operable unit or area. | Text (254) | Yes | No
Site | 11 | subsite_desc | Physical description of this operable unit or area. | Text (254) | No | No
Site | 12 | program_code | Code used to identify the program under which the operable unit or area is investigated. (RCRA, CERCLA, etc.) | Text (20) | No | Program_code table
Site | 13 | prp_agency | Name of potential responsible party or equivalent. | Text (60) | No | No
Site | 14 | prp_contact_name | Contact name for prp_agency. | Text (30) | No | No
Site | 15 | prp_phone_number1 | Phone number for prp_contact_name. | Text (60) | No | No
Site | 16 | prp_fax_number | Fax number for prp_contact_name. | Text (60) | No | No
Site | 17 | prp_phone_number2 | Alternative phone number for prp_contact_name as defined by Region. | Text (60) | No | No
Site | 18 | prp_email | E-mail address for prp_contact_name. | Text (60) | No | No
Subsite | 1 | subsite_id | This is a primary key and must be unique throughout the project or facility concept. For most programs, site will correspond to the permit number. Programs that do not utilize a permit as a tracking measure will use the site name or abbreviation of the site name in this field. | Text(20) | Yes | No
Subsite | 2 | subsite_type |  | Text(20) | No | No
Subsite | 3 | site_id | This is a tracking tool to ensure all activities/permits are tracked to an individual facility/project. | Text(20) | Yes | No
Subsite | 4 | subsite_name | Name of facility or site. | Text(60) | Yes | No
Subsite | 6 | subsite_purpose | Reason for sampling at this operable unit or area. | Text(254) | Yes | No
Subsite | 7 | subsite_desc | Physical description of this operable unit or area. | Text(254) | No | No
Subsite | 8 | subsite_address1 | Site address, part one. Street address. | Text(40) | No | No
Subsite | 9 | subsite_contact_name | Contact name for prp_agency. The person responsible for the data submittal, i.e. the environmental manager for a facility or site. Note it is possible that a facility could have different contacts for different sites within the facility. | Text (30) | No | No
Subsite | 10 | subsite_address2 | Site address, part two. Box number or other info. | Text(40) | No | No
Subsite | 11 | subsite_city | City of site. | Text (20) | No | No
Subsite | 12 | subsite_state | Postal abbreviation for State of site. | Text(2) | No | state_code table
Subsite | 13 | subsite_zipcode | Zip code of site. | Text(10) | No | No
Subsite | 14 | subsite_phone_number1 | Phone number for prp_contact_name. | Text (30) | No | No
Subsite | 15 | subsite_phone_number2 | Alternative phone number for prp_contact_name as defined by Region. | Text (30) | No | No
Subsite | 16 | subsite_fax_number | Fax number for prp_contact_name. | Text (30) | No | No
Subsite | 17 | subsite_email | E-mail address for prp_contact_name. | Text (60) | No | No
Test_Results | 1 | sample_id | Unique sample identifier. Each sample must have a unique value, including spikes and duplicates. Laboratory QC samples must also have unique identifiers. | Text (20) | Yes | No
Test_Results | 2 | param_name | Parameter names were derived from the Chemical Abstracts Registry (CAS) Number for the parameter if available. Otherwise EPA STORET codes were used. | Text (60) | Yes | Param_name table
Test_Results | 3 | cas_number | Analyte code derived from the Chemical Abstracts Registry (CAS) Number for the parameter if available. Otherwise EPA STORET codes are used. See Param_name valid value table in appendix. | Text (15) | Yes | Param_name table
Test_Results | 4 | fraction | Portion of the sample or substance being analyzed. Eg. T =total, D=dissolved, etc | Text (10) | Yes | Fraction table
Test_Results | 5 | value_type | Value type reflected in result_value. Valid values: "actual", "estimated" or "calculated". | Text (10) | Yes | Valid Values included in field description
Test_Results | 6 | stat_type | Statistic type reflected in the result_value. Max, min, mean, etc. Leave null if no statistical value was used. | Text (20) | No | Stat_type table
Test_Results | 7 | duration_basis | Time over which test or analysis or observation was conducted. Use duration_basis valid values in appendix. | Text (20) | No | Duration_basis table
Test_Results | 8 | temperature_basis | Temperature (degrees C) at which test or analysis or observation was conducted. Not related to temperature field for groundwater or surface water temperature. Use temperature_basis valid values. | Text (20) | No | Temperature_basis table
Test_Results | 9 | result_value | The measured value of the parameter, result of analysis or test reported at an appropriate number of significant digits. May be blank for non-detects. | Text (20) | No | No
Test_Results | 10 | result_unit | Units of measurement for the result. | Text (15) | No | Units table
Test_Results | 11 | container_type | Describes the style and material of the container in which this sample was collected and transported. | Text (30) | No | Container_Type table
Test_Results | 12 | container_size | The volume of the container specified by container_type in the format ZZZZ.ZZ. | Text (7) | No | No
Test_Results | 13 | container_size_units | Units for the volume specified in container_size. | Text (3) | No | Units table
Test_Results | 14 | container_color | Color of the container used to collect and transport sample. | Text (15) | No | Container_color table
Test_Results | 15 | temp_preserve_type | Specify the type of temperature preservation used. | Text (30) | No | Temp_preserve_type table
Test_Results | 16 | chem_preservative | A description of the chemical preservation used. | Text (10) | No | Chem_preserve_type table
Test_Results | 17 | lab_anl_method_code | Laboratory analytical method code. Controlled vocabulary, see the appendix for valid values. | Text (35) | Yes | Lab_anl_method_code table
Test_Results | 18 | analysis_date | Date of sample analysis in MM/DD/YYYY format. May refer to either beginning or end of the analysis as required by EPA. | Date MM/DD/YYYY | Yes | No
Test_Results | 19 | analysis_time | Time sample analysis began in 24_hr (military) format. Note that this field, combined with the analysis_date field is used to distinguish between retests and reruns (if reported). | Text (HH:MM) | Yes | No
Test_Results | 20 | test_type | Type of test in the laboratory. Valid values include: "initial", "reextract1", "reextract2", "reextract3", "reanalysis", "dilution1", "dilution2" and "dilution3". | Text (10) | Yes | Valid values given in definition
Test_Results | 21 | lab_matrix_code | Code which describes the matrix as analyzed by the lab. May differ from sample_matrix_code. See matrix valid value table in the appendix. | Text (2) | Yes | Matrix table
Test_Results | 22 | analysis_location | Note where was sample analyzed. Valid values: FL for mobile Field Laboratory analysis, or LB for fixed based Laboratory analysis. | Text (2) | Yes | Valid values given in description
Test_Results | 23 | wet_or_dry_basis | Must be either "Wet" for wet_weight basis reporting, "Dry" for dry_weight basis reporting, or "NA" for tests for which this distinction is not applicable. | Text (3) | Yes | Valid values given in description
Test_Results | 24 | dilution_factor | Dilution factor at which the analyte was measured effectively. Enter "1" if not diluted. | Num (XXX.XXX) | Yes | No
Test_Results | 25 | prep_method | Laboratory sample preparation method code. A controlled vocabulary. See appendix for valid values. | Text (35) | No | Prep_method_code table
Test_Results | 26 | prep_date | Date sample preparation began in MM/DD/YYYY format. | Date MM/DD/YYYY | No | No
Test_Results | 27 | prep_time | Time sample preparation began in 24_hr (military) format. Time zone & daylight savings must be same as analysis_date. | Text (HH:MM) | No | No
Test_Results | 28 | lab_name_code | Unique identifier of the laboratory as defined by the EPA. Controlled vocabulary, see the appendix for valid values. | Text (10) | Yes | Lab_name_code table
Test_Results | 29 | qc_level | Quality control level of analysis. Must be either "screen" or "definitive". | Text (10) | No | Valid values given in description
Test_Results | 30 | lab_sample_id | Laboratory LIMS sample identifier. If necessary, a field sample may have more than one LIMS lab_sample_id (maximum one per each test event). | Text (20) | No | No
Test_Results | 31 | percent_moisture_lab_calc | Percent moisture of the sample portion used in this test; this value may vary from test to test for any sample. Report 70.1% as 70.1 not as 70.1%. | Text (5) | No | No
Test_Results | 32 | subsample_amount | Amount of sample used for test. | Text (14) | No | No
Test_Results | 33 | subsample_amount_unit | Unit of measurement for subsample amount. Controlled vocabulary, see the appendix for valid values. | Text (15) | No | Units table
Test_Results | 34 | test_comment | Comments about the test, analysis, procedure, etc., as necessary. | Text (254) | No | No
Test_Results | 35 | final_volume | The final volume of the sample after sample preparation. Include all dilution factors. | Text (15) | No | No
Test_Results | 36 | final_volume_unit | The unit of measure that corresponds to the final_volume. | Text (15) | No | No
Test_Results | 37 | result_error_delta | Error range applicable to the result value; typically used only for radiochemistry results. | Text (20) | No | No
Test_Results | 38 | result_type_code | Must be either "TRG" for a target or regular result, "TIC" for tentatively identified compounds, "SUR" for surrogates, "IS" for internal standards, or "SC" for spiked compounds. | Text (3) | Yes | Valid values given in description
Test_Results | 39 | reportable_result | Must be "yes" for results considered to be reportable, or "no" for other results. | Text (3) | Yes | Valid values given in description
Test_Results | 40 | detect_flag | Must be either "Y" for detected analytes or "N" for non_detects. | Text (1) | Yes | Valid values given in description
Test_Results | 41 | lab_qualifiers | Qualifier flags assigned by the laboratory. This is a controlled vocabulary column. See valid values in the qualifiers table in the appendix. | Text (7) | No | Qualifiers table
Test_Results | 42 | validator_qualifiers | Qualifier flags assigned by the validation firm. This is a controlled vocabulary column. See valid values in the qualifiers table in the appendix. | Text (7) | No | Qualifiers table
Test_Results | 43 | organic_Y/N | Must be either "Y" for organic constituents or "N" for inorganic constituents. | Text (1) | No | Valid values given in description
Test_Results | 44 | reporting_detection_limit | Concentration level above which results can be quantified with 95% confidence limit. Must reflect conditions such as dilution factors and moisture content. Report as the sample specific detection limit. | Text (20) | No | No
Test_Results | 45 | quantitation_limit | Concentration level above which results can be quantified with 98% confidence limit. Must reflect conditions such as dilution factors and moisture content. Report as the sample specific quantitation limit. | Text (20) | No | No
Test_Results | 46 | detection_limit_unit | Units of measurement for the detection limit(s). Controlled vocabulary, see Units valid value table in the appendix. This field is required if a reporting_detection_limit is reported. | Text (10) | No | Units table
Test_Results | 47 | result_comment | Result specific comments. | Text (254) | No | No
Test_Results | 48 | qc_original_conc | The concentration of the analyte in the original (unspiked) sample. Might be required for spikes and spike duplicates (depending on user needs). Not necessary for surrogate compounds or LCS samples where the original concentration is assumed to be zero. | Text (14) | No | No
Test_Results | 49 | qc_spike_added | The concentration of the analyte added to the original sample. Might be required for spikes, surrogate compounds, LCS and any spiked sample (depending on user needs). | Text (14) | No | No
Test_Results | 50 | qc_spike_measured | The measured concentration of the analyte. Use zero for spiked compounds that were not detected in the sample. Might be required for spikes, spike duplicates, surrogate compounds, LCS and any spiked sample (depending on user needs). | Text (14) | No | No
Test_Results | 51 | qc_spike_recovery | The percent recovery calculated as specified by the laboratory QC program. Always required for spikes, spike duplicates, surrogate compounds, LCS and any spiked sample. Report as percentage multiplied by 100 (e.g., report 120% as 120). | Text (14) | No | No
Test_Results | 52 | qc_dup_original_conc | The concentration of the analyte in the original (unspiked) sample. May be required for spike or LCS duplicates only (depending on user needs). Not necessary for surrogate compounds or LCS samples (where the original concentration is assumed to be zero) | Text (14) | No | No
Test_Results | 53 | qc_dup_spike_added | The concentration of the analyte added to the duplicate sample. Might be required for spike or LCS duplicates, surrogate compounds, and any spiked and duplicated sample (depending on user needs). | Text (14) | No | No
Test_Results | 54 | qc_dup_spike_measured | The measured concentration of the analyte in the duplicate. Use zero for spiked compounds that were not detected in the sample. Might be required for spike and LCS duplicates, surrogate compounds, and any other spiked and duplicated sample. | Text (14) | No | No
Test_Results | 55 | qc_dup_spike_recovery | The duplicate percent recovery calculated as specified by the laboratory QC program. Always required for spike or LCS duplicates, surrogate compounds, and any other spiked and duplicated sample. Report as percentage multiplied by 100 (e.g., 50% as 50) | Text (14) | No | No
Test_Results | 56 | qc_rpd | The relative percent difference calculated as specified by the laboratory QC program. Required for duplicate samples as appropriate. Report as percentage multiplied by 100 (e.g., report 30% as 30). | Text (8) | No | No
Test_Results | 57 | qc_spike_lcl | Lower control limit for spike recovery. Required for spikes, spike duplicates, surrogate compounds, LCS and any spiked sample. Report as percentage multiplied by 100 (e.g., report 60% as 60). | Text (8) | No | No
Test_Results | 58 | qc_spike_ucl | Upper control limit for spike recovery. Required for spikes, spike duplicates, surrogate compounds, LCS and any spiked sample. Report as percentage multiplied by 100 (e.g., report 120% as 120). | Text (8) | No | No
Test_Results | 59 | qc_rpd_cl | Relative percent difference control limit. Required for any duplicated sample. Report as percentage multiplied by 100 (e.g., report 25% as 25). | Text (8) | No | No
Test_Results | 60 | qc_spike_status | Used to indicate whether the spike recovery was within control limits. Use the * character to indicate failure, otherwise leave blank. Required for spikes, spike duplicates, surrogate compounds, LCS and any spiked sample. | Text (10) | No | No
Test_Results | 61 | qc_dup_spike_status | Used to indicate whether the duplicate spike recovery was within control limits. Use the * character to indicate failure, otherwise leave blank. Required for any spiked and duplicated sample. | Text (10) | No | No
Test_Results | 62 | qc_rpd_status | Used to indicate whether the relative percent difference was within control limits. Use the * character to indicate failure, otherwise leave blank. Required for any duplicated sample. | Text (10) | No | No
Test_Results | 63 | test_batch_type | Lab batch type. Valid values include "Prep," "Analysis," and "Leach." This is a required field for all batches. | Text (10) | Yes | Valid values given in description
Test_Results | 64 | test_batch_id | Unique identifier for all lab batches. | Text (20) | Yes | No
Water_Level | 1 | station_id | 'Location identifier of sample collection, soil boring, well installation, field observations, etc. to appear on GIS maps graphs & tables, etc. Examples of possible station_id are MW-01, SW-1, SB6, etc. Acts as a link to the Location table. | Text (20) | Yes | No
Water_Level | 2 | well_id | Required if location is a well. Code is the same as that used for station_id, e.g., if station_id is MW-01 then well_id is MW-01. Leave null if location is other than a well. | Text (20) | Yes | No
Water_Level | 3 | measurement_date | Date of field chemistry measurement, water level measurement, etc. | Date MM/DD/YYYY | Yes | No
Water_Level | 4 | measurement_time | Time of water level measurement, field chemistry, etc. in 24 hour (military) format. | Text (HH:MM) | Yes | No
Water_Level | 5 | water_level_historic_ref_elev | Historical reference elevation (in elev_unit) used calculate elevation from past water_level_depth measurements older than reference_point_start_date | Num (XXXXX.XXXX) | No | No
Water_Level | 6 | water_level_depth | Depth (in depth_unit) to ground water below reference_point defined in well table (Table 5.3). | Num (XXXXX.XXXX) | Yes | No
Water_Level | 7 | water_level_elev | Elevation of water level (in elev_unit). | Num (XXXXX.XXXX) | No | No
Water_Level | 8 | water_level_depth_corrected | Depth to water level (in depth_unit) after any necessary corrections, e.g., if corrections were necessary to water_level_depth because free product was encountered. | Num (XXXXX.XXXX) | No | No
Water_Level | 9 | water_level_elev_corrected | Corrected water level elevation (in elev_unit). | Num (XXXXX.XXXX) | No | No
Water_Level | 10 | measured_depth_of_well | The depth (in depth_unit) below land surface to the bottom of the well. | Num (XXXXX.XXXX) | No | No
Water_Level | 11 | depth_unit | Unit of measure for depths. | Text (10) | No | Units table
Water_Level | 12 | technician_name | Name of technician measuring water level. | Text (30) | No | No
Water_Level | 13 | well_dry_yn | Is the well dry? "Y" for yes or "N" for no. | Text (1) | No | Valid values given in description
Water_Level | 14 | measurement_method | Method used to make water level measurements. | Text (20) | No | No
Water_Level | 15 | dip_or_elevation | Use either "elevation" or "dip." Use "elevation" if water level measurement is above the datum (i.e., artesian well) or "dip" if water level is below datum. | Text (10) | Yes | Valid values given in description
Water_Level | 16 | water_level_remark | Remark on measurement. | Text (254) | No | No

## EPAR3_DataProvider_v2
data_provider | data_contact_name | data_contact_address1 | data_contact_address2 | data_contact_city | data_contact_state | data_contact_zip | data_contact_email | data_contact_phone
Text (60) | Text (30) | Text (40) | Text (40) | Text (30) | Text (5) | Text (10) | Text (60) | Text (30)

## EPAR3_Site_v2
site_id | site_name | site_address1 | site_address2 | site_city | site_state | site_zipcode | subsite_id | subsite_name | subsite_purpose | subsite_desc | program_code | prp_agency | prp_contact_name | prp_phone_number1 | prp_fax_number | prp_phone_number2 | prp_email
Text (20) | Text (60) | Text (40) | Text (40) | Text (20) | Text (2) | Text (10) | Text (8) | Text (60) | Text (254) | Text (254) | Text (20) | Text (60) | Text (30) | Text (30) | Text (30) | Text (30) | Text (60)

## EPAR3_Subsite_v2
Subsite_id | Subsite_type | Site_id | Subsite_name | Subsite_purpose | Subsite_desc | Subsite_address1 | Subsite_contact_name | Subsite_address2 | Subsite_city | Subsite_state | Subsite_zipcode | Subsite_phone_number | Subsite_alt_phone_number | Subsite_fax_number | Subsite_email_address
Text [20] | Text [20] | Text [20] | Text [60] | Text [254] | Text [254] | Text [40] | Text [30] | Text [40] | Text [20] | Text [2] | Text [10] | Text [30] | Text [30] | Text [30] | Text [60]

## EPAR3_Location_v2
data_provider | station_id | station_name | station_desc | station_county | station_state_fips | station_type1 | station_type2 | latitude | longitude | source_scale | horz_accuracy_unit | horz_accuracy_value | horz_datum_code | horz_collect_method_code | lat_long_verification | station_comment | coord_sys_desc | x_coord | y_coord | coord_units | coord_datum | coord_zone | surf_elev | elev_unit | elev_datum_code | elev_accuracy_unit | elev_accuracy_value | elev_collect_method_code | subsite_id | geometric_type_code | data_point_sequence | surveyor_name | survey_number | lat_long_coord_date | within_facility_Y_N | basin | total_depth
Text (60) | Text (20) | Text (40) | Text (254) | Text (15) | Text (2) | Text (20) | Text (20) | Num (XX.XXXXXX) | Num (XXX.XXXXXX) | Text (10) | Text (10) | Num (XXXX.XXXX) | Text (3) | Text (2) | Text (1) | Text (254) | Text (3) | Num (XXXXXXXXXX.XXXX) | Num (XXXXXXXXXX.XXXX) | Text (10) | Text (3) | Text (15) | Num (XXXXX.XXXX)) | Text (2) | Text (3) | Text (10) | Num (XXXX.XXXX) | Text (2) | Text (8) | Text (10) | Num (XXX) | Text (254) | Text (20) | Date (MM/DD/YYYY) | Text (1) | Text (14) | Double

## EPAR3_FieldResults_v2
data_provider | station_id | field_msr_id | field_msr_type | medium | field_matrix_code | measurement_date | measurement_time | upper_depth | lower_depth | depth_unit | param_name | cas_number | value_type | stat_type | result_value | result_unit | field_msr_equipment_type | field_msr_equipment_name | field_msr_comment | worker_name | calibration_date
Text (60) | Text (20) | Text (30) | Text (20) | Text (10) | Text (2) | Date (MM/DD/YYYY) | Text (HH:MM) | Double | Double | Text (10) | Text (60) | Text (15) | Text (10) | Text (20) | Text (20) | Text (10) | Text (20) | Text (60) | Text (254) | Text (50) | Date (MM/DD/YYYY)

## EPAR3_SampleInfo_v2
data_provider | station_id | sample_id | medium | sample_matrix_code | sample_type_code | sample_source | sample_coll_proc_id | sample_id_duplicate | sample_group | sample_date | sample_time | upper_depth | lower_depth | depth_unit | chain_of_custody | sent_to_lab_date | sample_receipt_date | sampler_name | task_code | qapp_approval_date | sample_comment
Text (60) | Text (20) | Text (20) | Text (10) | Text (2) | Text (3) | Text (5) | Text (8) | Text (20) | Text (10) | Date (MM/DD/YYYY) | Text (HH:MM) | Num (XXXX.XXXX) | Num (XXXX.XXXX) | Text (10) | Text (15) | Date (MM/DD/YYYY) | Date (MM/DD/YYYY) | Text (30) | Text (20) | Date (MM/DD/YYYY) | Text (254)

## EPAR3_TestResults_v2
sample_id | param_name | cas_number | fraction | value_type | stat_type | duration_basis | temperature_basis | result_value | result_unit | container_type | container_size | container_size_units | container_color | temp_preserve_type | chem_preservative | lab_anl_method_code | analysis_date | analysis_time | test_type | lab_matrix_code | analysis_location | wet_or_dry_basis | dilution_factor | prep_method | prep_date | prep_time | lab_name_code | qc_level | lab_sample_id | percent_moisture_lab_calc | subsample_amount | subsample_amount_unit | test_comment | final_volume | final_volume_unit | result_error_delta | result_type_code | reportable_result | detect_flag | lab_qualifiers | validator_qualifiers | organic_Y/N | reporting_detection_limit | quantitation_limit | detection_limit_unit | result_comment | qc_original_conc | qc_spike_added | qc_spike_measured | qc_spike_recovery | qc_dup_original_conc | qc_dup_spike_added | qc_dup_spike_measured | qc_dup_spike_recovery | qc_rpd | qc_spike_lcl | qc_spike_ucl | qc_rpd_cl | qc_spike_status | qc_dup_spike_status | qc_rpd_status | test_batch_type | test_batch_id
Text (20) | Text (60) | Text (15) | Text (1) | Text (10) | Text (20) | Text (20) | Text (20) | Text (20) | Text (15) | Text (30) | Text (7) | Text (3) | Text (15) | Text (30) | Text (10) | Text (35) | Date (MM/DD/YYYY) | Text (HH:MM) | Text (10) | Text (2) | Text (2) | Text (3) | Num (XXX.XXX) | Text (35) | Date MM/DD/YYYY | Text (HH:MM) | Text (20) | Text (10) | Text (20) | Text (5) | Text (14) | Text (15) | Text (254) | Text (15) | Text (15) | Text (20) | Text (3) | Text (10) | Text (1) | Text (7) | Text (7) | Text (1) | Text (20) | Text (20) | Text (10) | Text (254) | Text (14) | Text (14) | Text (14) | Text (14) | Text (14) | Text (14) | Text (14) | Text (14) | Text (8) | Text (8) | Text (8) | Text (8) | Text (10) | Text (10) | Text (10) | Text (10) | Text (20)

## EPAR3_Samp_Coll_Proc_v2
sample_coll_proc_id | sample_coll_proc_name | sample_coll_proc_desc | sample_coll_proc_citation
Text (8) | Text (60) | Text (254) | Text (254)

## EPAR3_WaterLevel_v2
station_id | well_id | measurement_date | measurement_time | water_level_historic_ref_elev | water_level_depth | water_level_elev | water_level_depth_corrected | water_level_elev_corrected | measured_depth_of_well | depth_unit | technician_name | well_dry_yn | measurement_method | dip_or_elevation | water_level_remark
Text (20) | Text (20) | Date (MM/DD/YYYY) | Text (HH:MM) | Num (XXXXX.XXXX) | Num (XXXXX.XXXX) | Num (XXXXX.XXXX) | Num (XXXXX.XXXX) | Num (XXXXX.XXXX) | Num (XXXXX.XXXX) | Text (10) | Text (30) | Text (1) | Text (20) | Text (10) | Text (254)