CONGESTION INDICES AND SHADOW PRICES

Alternatives and Considerations

26 January 2006

SUMMARY

The SSG-WI modeling group put together a summary report on its work and attempted to rank the paths in the West that were studied.  There are several possible indices, all based on shadow prices that are output from the studies, that could be used to rank paths as candidates for potential upgrades to relieve congestion.  This paper briefly describes them and their pros and cons.

SHADOW PRICES - BACKGROUND

Shadow prices convey very useful information and are central to many of the approaches, so it is important to understand what they are and are not.   A shadow price in a linear program (LP) solution is the change in the value of the objective function with respect to a one unit change in the value of a constraint.

The objective function in the SSGWI studies is minimization of total system production costs.  Constraints are applied to path capabilities, generator capabilities, and loads that must be met.  So the shadow price on a transmission path is the change in total system production cost for a one unit (one megawatt) change in the limit on the transfer capability of that path.

Because the shadow price measures a marginal value, applying it to large changes in the constraint is problematic, because one cannot tell by inspection what the valid extension of the range of application is.

TOTAL FLOW METHOD

This is the method initially suggested by the modeling group.  The index value was calculated by multiplying the shadow price of the path constraint by the total flow on the path.  This was done to add some sense of the total value of relieving a constraint to a number defined as the effect of a one megawatt change in a constraint.  The advantages of this method, or what would be equivalent, multiplying by the transfer limit on the path, are that the information is readily available and it distinguishes roughly between a major path and a small line as candidates for upgrade.

The problem with this method is that it doesn’t actually measure what needs to be measured - the amount of additional power that would flow over the path if its transfer limit were raised, which could be either a large or a small amount.  A large amount could justify additional investment; a small amount would likely not.

CAISO METHOD

This characterization is derived from the Transmission Economic Analysis Method (TEAM) report on methodology (June 2004), and is the methodology I believe was suggested as an alternative during the December FUSS meeting.

The TEAM method appears to be based on a calculation of what total congestion revenues would be in a nodal pricing framework (which is what the CAISO uses).  Generally, it measures benefits in a total welfare (consumer surplus/producer surplus) framework, where consumer and producer surpluses are calculated from nodal price (i.e., load and generator shadow price) information.  These two pieces will not balance in a system with congestion; the difference (assuming no losses and a DC power flow) is the congestion rent or congestion revenue, and is equivalent to the shadow price on the line multiplied by the total line capacity.  This leads to roughly the same result as the Total Flow Method described above.

Note also that the CAISO chose the welfare approach in order to be able to distinguish parties who gained and lost among the upstream and downstream loads and generators, and transmission rights holders, when considering an expansion.  This is not a consideration for the SSG-WI report.

This result described above is fairly straightforward in a simply system with two buses and one line.   However, as the report notes, the shadow price on a path is not simply derivable from the bus shadow prices at both ends of the path in a meshed network.  The report proposes an approach for addressing this.

However, and more to the point of our use of the shadow price information, the nodal pricing framework in which this makes sense, is not the framework in which most of the West operates, and the key problem, as in the previous method, is calculating a value using the total capacity of the line rather than the additional flow on the live were the constraint to be relaxed.

Moreover, the report notes that the total welfare difference collapses into the production cost difference with and without the line in the presence of perfectly inelastic demand (and for relatively inelastic demand, may not be significantly different).   With this consideration as well, we are brought back to the original problem of what gets multiplied by what.

ADDED FLOW METHOD

One way of getting closer to the answer is to multiply the shadow price on the path by the difference between the flow on the path in an unconstrained case and the reference case.

This has problems of its own, however, given the current modeling.  The unconstrained case has both no path limits and no losses (losses were added to the loads to be met rather than being a function of the physical characteristics of the lines and the distance between generation and loads in all the modeling).  The result of not having losses as a function of transmission is to cause over-reliance on generation that is cheap to run but extremely far from the loads, thus artificially increasing the amount of unconstrained flow that would be on intermediate paths.  (There were apparently other causes of this phenomenon in the unconstrained case as well.  The relative sizes of the impacts are unclear.)

One way to deal roughly with this would be to impose loss factors on the various paths of interest.  While this would end up over-generating by the amount of the double-counted losses (2-3 percent?), it would give a more realistic value to the unconstrained generation and since both the constrained and the unconstrained cases would have the double counted losses, the delta might be even less unrealistic.

This would not, however, deal with the problem of extrapolating a shadow price’s application outside of its range, which would cause errors of unknown magnitude.

SHADOW PRICE PLUS JUDGMENT METHOD

This approach simply uses the shadow prices alone as the index of relative importance, with judgment being applied to put aside relatively small, and presumably less important paths.  In general, however, the listing of shadow prices themselves (assuming no surprises in their averaging across study hours) itself could well be a reasonable indicator of importance for paths that are in roughly similar capacity classes (e.g., capacity between 400 and 900 MW, or some similar category).

________________________________________

c:\documents and settings\gibson\desktop\congestion indices 26jan06.doc (Wally Gibson)