Quarterly DASHO Conference Call Agenda

October 21, 2003

Time:   1:00 to 2:20PM Eastern Time

OSHA Issues

Two new Hazard Information Bulletins on Mold, and on disposal of contaminated needles and blood tube holders.  See OSHA Web Site  for most recent information Quick Takes are published every two weeks http://www.osha.gov/as/opa/quicktakes/index.html

And how do you get selected for inspection.?

Two types of inspections Programmed and Unprogrammed –

Unprogrammed inspections are

Fatalities  Must be reported to OSHA within 8 hours

Catastrophes (3 or more hospitalized over night)  Must be reported to OSHA within 8 hours

Employee complaints

Referrals

Programmed Inspection are those scheduled in accordance with National and Regional scheduling plans –

Fed 2000

SHARE 04

National Emphasis Programs

Local Emphasis Programs

Number of Inspections at VA Hospitals by type.

For past two years VA facilities have received   84 inspections

24 Safety and 60 health

60 of the inspections were unprogrammed

2 (Fatality Catastrophe)Accident

51 Complaints

1 referral

2 follow-up

2 Un prog Related

2 other

24 Inspections were programmed.

Total of 192 violations cited

2 Willful

14 Repeat

129 Serious

2 Unclassified

45 Other-than-serious

Frequently violated standards

1910.1030(d)(2)  (Engineering and work practice controls) cited six times  five as serious violation and once as repeated

1910.1030(d)(4) -  (Housekeeping )  -- cited five times  four as serious violation and once as willful.  One time related to complaint.

1910.305 (g)(1)  (Use of flexible cords and cables.)  Cited five times – two as serious one as repeated and two times as other-than-serious.

1910.101(b) -  (Compressed gases." The in-plant handling, storage, and utilization of all compressed gases in cylinders, portable tanks, rail tankcars, or motor vehicle cargo tanks shall be in accordance with Compressed Gas Association Pamphlet P-1-1965, which is incorporated by reference as specified in Sec. 1910.6).  cited four times all as serious violations

1910.151( c) -  (Where the eyes or body of any person may be exposed to injurious corrosive materials, suitable facilities for quick drenching or flushing of the eyes and body shall be provided within the work area for immediate emergency use).  Cited four times – two as serious one as repeated and one as other-than-serious.

1910.303(b)(1) (Electrical equipment shall be free from recognized hazards that are likely to cause death or serious physical harm to employees.).  Cited three times two as serious and one as other than serious

1960.59(a)  (Each agency shall provide appropriate safety and health training for employees including specialized job safety and health training appropriate to the work performed by the employee, for example: Clerical; printing; welding; crane operation; chemical analysis, and computer operations. Such training also shall inform employees of the agency occupational safety and health program, with emphasis on their rights and responsibilities)  Cited three times twice as serious and once as repeated.

1910.22(a)(1) -  (Housekeeping - All places of employment, passageways, storerooms, and service rooms shall be kept clean and orderly and in a sanitary condition).  Cited two times one serious and one other-than-serious.

1910.22(b)(1)  (Where mechanical handling equipment is used, sufficient safe clearances shall be allowed for aisles, at loading docks, through doorways and wherever turns or passage must be made. Aisles and passageways shall be kept clear and in good repairs, with no obstruction across or in aisles that could create a hazard.)  Cited 2 times Both Other than Serious and both related to a complaint

1910.23(c )(1)  (Every open-sided floor or platform 4 feet or more above adjacent floor or ground level shall be guarded by a standard railing (or the equivalent as specified in paragraph (e)(3) of this section) on all open sides except where there is entrance to a ramp, stairway, or fixed ladder. The railing shall be provided with a toeboard wherever, beneath the open sides, Persons can pass, There is moving machinery, or There is equipment with which falling materials could create a hazard.)  Cited two times, both serious

1910.23(d)(1)  (Every flight of stairs having four or more risers shall be equipped with standard stair railings or standard handrails as specified in paragraphs (d)(1)(i) through (v) of this section, the width of the stair to be measured clear of all obstructions except handrails:)  Cited two times, both serious

1910.36(d)(2) -  (Exit route doors must be free of any device or alarm that could restrict emergency use of the exit route if the device or alarm fails.)  Cited two times one serious and one repeated.

1910.37(b)(2) -  (Each exit must be clearly visible and marked by a sign reading "Exit.") Cited three times once as serious and twice as other-than-serious.

1910.37(b)(4) -  (If the direction of travel to the exit or exit discharge is not immediately apparent, signs must be posted along the exit access indicating the direction of travel to the nearest exit and exit discharge. Additionally, the line-of-sight to an exit sign must clearly be visible at all times.)  Cited two times one serious and one other-than-serious.

1910.37(q)(1) -  (Exits shall be marked by a readily visible sign.  Access to exits shall be marked with readily visible signs in all cases where the exit or way to reach it is not immediately visible to the occupants.)  Cited four times three serious and one other-than-serious.  One of the citations was related to a complaint.

1910.132(a) -  (Application. Protective equipment, including personal protective equipment for eyes, face, head, and extremities, protective clothing, respiratory devices, and protective shields and barriers, shall be provided, used, and maintained in a sanitary and reliable condition wherever it is necessary by reason of hazards of processes or environment, chemical hazards, radiological hazards, or mechanical irritants encountered in a manner capable of causing injury or impairment in the function of any part of the body through absorption, inhalation or physical contact.).  Cited three times all other-than-serious

1910.147(c )(7) -  (The employer shall provide training to ensure that the purpose and function of the energy control program are understood by employees and that the knowledge and skills required for the safe application, usage, and removal of the energy controls are acquired by employees. )  The training shall include the following: Each authorized employee shall receive training in the recognition of applicable hazardous energy sources, the type and magnitude of the energy available in the workplace, and the methods and means necessary for energy isolation and control.  Each affected employee shall be instructed in the purpose and use of the energy control procedure.  All other employees whose work operations are or may be in an area where energy control procedures may be utilized, shall be instructed about the procedure, and about the prohibition relating to attempts to restart or reenergize machines or equipment which are locked out or tagged out.  When tagout systems are used, employees shall also be trained in the limitations of tags:  Retraining shall be provided for all authorized and affected employees whenever there is a change in their job assignments, a change in machines, equipment or processes that present a new hazard, or when there is a change in the energy control procedures.  Additional retraining shall also be conducted whenever a periodic inspection under paragraph (c)(6) of this section reveals, or whenever the employer has reason to believe that there are deviations from or inadequacies in the employee's knowledge or use of the energy control procedures.  The retraining shall reestablish employee proficiency and introduce new or revised control methods and procedures, as necessary.  The employer shall certify that employee training has been accomplished and is being kept up to date. The certification shall contain each employee's name and dates of training.  Cited five times all serious and   One of the citations was related to a complaint.

1910.157(g)(1) -  (Where the employer has provided portable fire extinguishers for employee use in the workplace, the employer shall also provide an educational program to familiarize employees with the general principles of fire extinguisher use and the hazards involved with incipient stage fire fighting).  Cited twice, both Other-than-serious

1910.212(a)(1) -  (Types of guarding. One or more methods of machine guarding shall be provided to protect the operator and other employees in the machine area from hazards such as those created by point of operation, ingoing nip points, rotating parts, flying chips and sparks. Examples of guarding methods are-barrier guards, two-hand tripping devices,electronic safety devices, etc.)  Cited four times three serious and one repeated.

1910.215(b)(9) -  (Exposure adjustment. Safety guards of the types described in Subparagraphs (3) and (4) of this paragraph, where the operator stands in front of the opening, shall be constructed so that the peripheral protecting member can be adjusted to the constantly decreasing diameter of the wheel. The maximum angular exposure above the horizontal plane of the wheel spindle as specified in paragraphs (b)(3) and (4) of this section shall never be exceeded, and the distance between the wheel periphery and the adjustable tongue or the end of the peripheral member at the top shall never exceed one-fourth inch.)  Cited four times, all serious

1910.242(b) -  (Compressed air used for cleaning. Compressed air shall not be used for cleaning purposes except where reduced to less than 30 p.s.i. and then only with effective chip guarding and personal protective equipment.)  Cited two times, both serious

1910.303(f) -  (Identification of disconnecting means and circuits. Each disconnecting means required by this subpart for motors and appliances shall be legibly marked to indicate its purpose, unless located and arranged so the purpose is evident. Each service, feeder, and branch circuit, at its disconnecting means or overcurrent device, shall be legibly marked to indicate its purpose, unless located and arranged so the purpose is evident. These markings shall be of sufficient durability to withstand the environment involved.)  Cited four times one serious, one repeated, and two other-than-serious.

1910.303(g)(1) -  (Working space about electric equipment. Sufficient access and working space shall be provided and maintained about all electric equipment to permit ready and safe operation and maintenance of such equipment.)  Cited two times one serious and one repeated.

1910.305(b)(1) -  (Conductors entering boxes, cabinets, or fittings. Conductors entering boxes, cabinets, or fittings shall also be protected from abrasion, and openings through which conductors enter shall be effectively closed. Unused openings in cabinets, boxes, and fittings shall be effectively closed).  Cited two times one serious and one other-than-serious.

1910.305(b)(2) -  (Covers and canopies. All pull boxes, junction boxes, and fittings shall be provided with covers approved for the purpose. If metal covers are used they shall be grounded. In completed installations each outlet box shall have a cover, faceplate, or fixture canopy. Covers of outlet boxes having holes through which flexible cord pendants pass shall be provided with bushings designed for the purpose or shall have smooth, well-rounded surfaces on which the cords may bear.)  Cited two times one serious and one repeated.

1910.1200(e)(1) -  (Employers shall develop, implement, and maintain at each workplace, a written hazard communication program which at least describes how the criteria specified in paragraphs (f), (g), and (h) of this section for labels and other forms of warning, material safety data sheets, and employee information and training will be met, and which also includes the following:) Cited twice, both Other-than-serious, and both related to a complaint

1910.1200(f)(5) -  (Except as provided in paragraphs (f)(6) and (f)(7) of this section, the employer shall ensure that each container of hazardous chemicals in the workplace is labeled, tagged or marked with the following information:  Identity of the hazardous chemical(s) contained therein; and, Appropriate hazard warnings, or alternatively, words, pictures, symbols, or combination thereof, which provide at least general information regarding the hazards of the chemicals, and which, in conjunction with the other information immediately available to employees under the hazard communication program, will provide employees with the specific information regarding the physical and health hazards of the hazardous chemical).  Cited twice, both Other-than-serious

1910.1200(h)(2) -  ("Information." Employees shall be informed of:

The requirements of this section; Any operations in their work area where hazardous chemicals are present; and,  The location and availability of the written hazard communication program, including the required list(s) of hazardous chemicals, and material safety data sheets required by this section.)  Cited twice, both Other-than-serious, and both related to a complaint

1926.62(d)(1) -  (Each employer who has a workplace or operation covered by this standard shall initially determine if any employee may be exposed to lead at or above the action level.  For the purposes of paragraph (d) of this section, employee exposure is that exposure which would occur if the employee were not using a respirator.  With the exception of monitoring under paragraph (d)(3), where monitoring is required under this section, the employer shall collect personal samples representative of a full shift including at least one sample for each job classification in each work area either for each shift or for the shift with the highest exposure level.  Full shift personal samples shall be representative of the monitored employee's regular, daily exposure to lead).  Cited twice, both  Serious, and both related to a complaint

1960.8(a) -  (The head of each agency shall furnish to each employee employment and a place of employment which are free from recognized hazards that are causing or are likely to cause death or serious physical harm.)  Cited four times two serious, one willful, and one repeat.  One of the citations was related to a complaint.