Table 1

| WECC Capacity 2004 Summer MW |
| --- |
| Fuel Type | CEC Estimate |
| Biomass | 1,529 |
| Coal | 36,518 |
| Fuel Oil | 1,665 |
| Geothermal | 2,927 |
| Interruptible | 3,537 |
| Natural Gas | 71,002 |
| Sun | 326 |
| Nuclear | 9,385 |
| Wind (dependable) | 631 |
| Hydro | 63,663 |
| Other | 92 |
| Total | 191,276 |

Table 2

| 2004 Annual Hydro Energy Estimate |
| --- |
| Region | CEC Estimate |
| WECC | 240,607 |
| CA Only | 33,993 |

Table 3 - Canadian Region Capacity Additions (Dependable MWs)

| TransArea | Fuel | Month | Station Name | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alberta Central-North | Coal | Dec | Genesee 3 | 0 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 |
| Alberta Central-North | Gas | Dec | Syncrude Aurora 2a | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 |
| British Columbia Hydro and Power Authority | Ren | Dec | Prince George Bio 1a | 0 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 |
| Alberta South | Ren-W | Dec | Pincher Creek 1 | 0 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 |
| Alberta Central-North | Ren | Dec | Grande Prairie Wood 1 | 0 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 |
| Alberta Central-North | Coal | Dec | OPTI/Nexen Long Lake 1 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 |
| Alberta Central-North | Coal | Dec | OPTI/Nexen Long Lake 2 | 0 | 0 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 |
| British Columbia Hydro and Power Authority | Gas | Dec | Duke Point 1 | 0 | 0 | 0 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 | 252 |
| British Columbia Hydro and Power Authority | Gas | Dec | Gen GT BCHA 1 | 0 | 0 | 0 | 0 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 |
| Alberta Central-North | Gas | Dec | Gen CC AB 1 | 0 | 0 | 0 | 0 | 0 | 175 | 175 | 175 | 175 | 175 | 175 | 175 | 175 |
| Alberta South | Gas | Dec | Gen CCDF AB 1 | 0 | 0 | 0 | 0 | 0 | 0 | 300 | 300 | 300 | 300 | 300 | 300 | 300 |
| British Columbia Hydro and Power Authority | Gas | Dec | Gen CCDF BCHA 1 | 0 | 0 | 0 | 0 | 0 | 0 | 295 | 295 | 295 | 295 | 295 | 295 | 295 |
| Alberta Central-North | Gas | Dec | Gen GT AB 1 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 150 | 150 | 150 | 150 | 150 | 150 |
| British Columbia Hydro and Power Authority | Gas | Dec | Gen CCDF BCHA 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 295 | 295 | 295 | 295 | 295 | 295 |
| Alberta Central-North | Gas | Dec | Gen GT AB 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 150 | 150 | 150 | 150 | 150 |
| Alberta Central-North | Gas | Dec | Gen GT AB 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 150 | 150 | 150 | 150 |
| Alberta Central-North | Gas | Dec | Gen CC AB 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 175 | 175 | 175 | 295 |
| British Columbia Hydro and Power Authority | Gas | Dec | Gen CCDF BCHA 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 295 | 295 | 295 | 175 |
| British Columbia Hydro and Power Authority | Gas | Jan | Gen CC BCHA 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 250 |
| British Columbia Hydro and Power Authority | Gas | Jan | Gen CC BCHA 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 250 |
|  |  |  | Total |  | 631 | 791 | 1,043 | 1,193 | 1,368 | 2,113 | 2,558 | 2,708 | 3,178 | 3,178 | 3,178 | 3,678 |
|  |  |  | Gas |  | 80 | 80 | 332 | 482 | 657 | 1,402 | 1,847 | 1,997 | 2,467 | 2,467 | 2,467 | 2,967 |
|  |  |  | Coal |  | 450 | 610 | 610 | 610 | 610 | 610 | 610 | 610 | 610 | 610 | 610 | 610 |
|  |  |  | Ren |  | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 | 101 |

Table 4 Rocky Mountain Region Capacity Additions (Dependable  MWs)

| TransArea | Fuel | Month | Station Name | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Colorado East | Gas | Jul | GenGT_Col 1 | - | - | - | - | - | - | - | - | 150 | 150 | 150 | 150 | 150 |
| Colorado East | Gas | Jul | GenGT_Co 2 | - | - | - | - | - | - | - | - | 150 | 150 | 150 | 150 | 150 |
| Colorado East | Gas | Jul | GenGT_Co 3 | - | - | - | - | - | - | - | - | - | 150 | 150 | 150 | 150 |
| Colorado East | Coal | Jul | Comanche (aka Pueblo) | - | - | - | - | - | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750 |
| Wyoming | Coal | Jul | Gen Coal Wy | - | - | - | - | - | - | - | - | - | - | 500 | 500 | 500 |
| Colorado East | Gas | Jul | GenCC CO-E 1 | - | - | - | - | - | - | - | - | - | 500 | 500 | 500 | 500 |
| Colorado East | Gas | Jul | GenCC CO-E 2 | - | - | - | - | - | - | - | - | - | - | 500 | 500 | 500 |
| Colorado East | Gas | Jul | GenCC CO-E 3 | - | - | - | - | - | - | - | - | - | - | - | - | 500 |
| Colorado East | Ren-W | Jul | CO East Wind | - | 144 | 164 | 198 | 198 | 243 | 243 | 311 | 311 | 409 | 409 | 512 | 512 |
| Colorado West | Ren | Jul | CO West Biomass | - | - | 5 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 |
| Colorado East | Ren | Jul | CO East Biomass | - | - | 9 | 27 | 27 | 57 | 57 | 103 | 103 | 168 | 168 | 236 | 236 |
| Wyoming | Ren-W | Jul | Wyoming Wind | - | - | - | 23 | 46 | 69 | 69 | 69 | 69 | 115 | 138 | 161 | 161 |
|  |  |  | Total | - | 144 | 178 | 258 | 281 | 1,129 | 1,129 | 1,743 | 2,043 | 2,902 | 3,425 | 3,619 | 4,119 |
|  |  |  | Gas | - | - | - | - | - | - | - | - | 300 | 950 | 1,450 | 1,450 | 1,950 |
|  |  |  | Coal | - | - | - | - | - | 750 | 750 | 1,250 | 1,250 | 1,250 | 1,250 | 1,250 | 1,250 |
|  |  |  | Ren | - | 144 | 178 | 258 | 281 | 379 | 379 | 493 | 493 | 702 | 725 | 919 | 919 |

Table 5 - Northwest Region Capacity Additions (Dependable MWs)

| TransArea | Fuel | Month | Station Name | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Idaho | Gas | Dec | Bennet Mountain 1 | - | 184 | 184 | 184 | 184 | 184 | 184 | 184 | 184 | 184 | 184 | 184 | 184 |
| Utah | Gas | Dec | Currant Creek 1 | - | 140 | - | - | - | - | - | - | - | - | - | - | - |
| Utah | Gas | Dec | Currant Creek 2 | - | 140 | - | - | - | - | - | - | - | - | - | - | - |
| Montana | Coal | Dec | Rocky Mountain Power 1 | - | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 | 116 |
| Northern Nevada | Ren | Dec | Desert Peak Geo 2 | - | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 |
| Northern Nevada | Ren | Dec | Hot Sulphur Springs 1 | - | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 |
| Northern Nevada | Ren-W | Dec | Ely Wind 1 | - | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 |
| Northern Nevada | Ren | Dec | Desert Peak Geo 3 | - | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 |
| Utah | Gas | Dec | Currant Creek CC 1a | - | - | 263 | 263 | 263 | 263 | 263 | 263 | 263 | 263 | 263 | 263 | 263 |
| Utah | Gas | Dec | Currant Creek CC 1b | - | - | 263 | 263 | 263 | 263 | 263 | 263 | 263 | 263 | 263 | 263 | 263 |
| Northwest | Ren-W | Dec | Stateline Wind - OR OR2 | - | - | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 |
| Northwest | Ren-W | Dec | Combine Hills 2 | - | - | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 |
| Northwest | Ren-W | Dec | Klondike 2 | - | - | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 |
| Northwest | Gas | Dec | Port Westward 1 | - | - | - | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 |
| Utah | Gas | Dec | Lake Side 1 | - | - | - | 267 | 267 | 267 | 267 | 267 | 267 | 267 | 267 | 267 | 267 |
| Utah | Gas | Dec | Lake Side 2 | - | - | - | 267 | 267 | 267 | 267 | 267 | 267 | 267 | 267 | 267 | 267 |
| Utah | Gas | Dec | Gen CCDF Utah 1 | - | - | - | - | - | 575 | 575 | 575 | 575 | 575 | 575 | 575 | 575 |
| Northwest | Gas | Dec | Gen CCDF NW 1 | - | - | - | - | - | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 |
| Utah | Coal | Dec | Intermountain 3 | - | - | - | - | - | - | 1,000 | 1,000 | 1,000 | 1,000 | 1,000 | 1,000 | 1,000 |
| Northwest | Gas | Dec | Gen CCDF NW 2 | - | - | - | - | - | - | - | - | 280 | 280 | 280 | 280 | 280 |
| Northwest | Gas | Dec | Gen CCDF NW 3 | - | - | - | - | - | - | - | - | 280 | 280 | 280 | 280 | 280 |
| Utah | Gas | Dec | GenCC Utah | - | - | - | - | - | - | - | - | 300 | 300 | 300 | 300 | 300 |
| Idaho | Gas | Dec | Gen CCDF ID 1 | - | - | - | - | - | - | - | - | - | 300 | 300 | 300 | 300 |
| Northwest | Gas | Dec | GenGT_NW 1 | - | - | - | - | - | - | - | - | - | - | - | 150 | 150 |
| Northern Nevada | Ren | Dec | Gen Geo No Nev | - | - | 40 | 88 | 88 | 136 | 216 | 216 | 216 | 264 | 264 | 304 | 304 |
| Northwest | Ren-W | Dec | Gen Wind NW | - | - | - | 68 | 68 | 120 | 120 | 216 | 236 | 264 | 264 | 353 | 353 |
| Northwest | Ren | Dec | Gen Bio NW | - | - | 21 | 66 | 66 | 100 | 100 | 164 | 178 | 196 | 196 | 256 | 256 |
| Utah | Ren-W | Dec | Gen Wind UT | - | - | 6 | 6 | 20 | 20 | 37 | 37 | 37 | 66 | 83 | 83 | 83 |
| Utah | Ren | Dec | Gen Sun UT | - | - | 2 | 2 | 8 | 8 | 15 | 15 | 15 | 26 | 33 | 33 | 33 |
| Utah | Ren | Dec | Gen Geo UT | - | - | 3 | 3 | 12 | 12 | 22 | 22 | 22 | 39 | 50 | 50 | 50 |
| Idaho | Ren-W | Dec | Gen Wind ID | - | - | - | 14 | 27 | 27 | 48 | 72 | 72 | 72 | 92 | 92 | 92 |
| Idaho | Ren | Dec | Gen Geo ID | - | - | - | 9 | 18 | 18 | 32 | 48 | 48 | 48 | 62 | 62 | 62 |
| Montana | Ren-W | Dec | Gen Wind MT | - | - | 50 | 74 | 74 | 90 | 90 | 114 | 114 | 114 | 134 | 134 | 134 |
| Montana | Ren | Dec | Gen Bio MT | - | - | - | 10 | 10 | 17 | 17 | 27 | 27 | 27 | 36 | 36 | 36 |
|  |  |  | Total | - | 658 | 1,134 | 2,225 | 2,276 | 3,303 | 4,451 | 4,650 | 5,530 | 5,981 | 6,087 | 6,389 | 6,389 |
|  |  |  | Gas | - | 464 | 709 | 1,593 | 1,593 | 2,468 | 2,468 | 2,468 | 3,328 | 3,628 | 3,628 | 3,778 | 3,778 |
|  |  |  | Coal | - | 116 | 116 | 116 | 116 | 116 | 1,116 | 1,116 | 1,116 | 1,116 | 1,116 | 1,116 | 1,116 |
|  |  |  | Ren | - | 78 | 309 | 516 | 567 | 719 | 867 | 1,066 | 1,086 | 1,237 | 1,343 | 1,495 | 1,495 |

Table 6 South Region Capacity Additions (Dependable MW)

| TransArea | Fuel | Month | Station Name | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Arizona | Gas | Jul | Santan CC 5a | - | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 |
| Arizona | Gas | Jul | Santan CC 5b | - | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 |
| New Mexico | Gas | Jul | Bluffview 1 | - | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 |
| New Mexico | Gas | Jul | LANL TA-3 GT1 | - | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 |
| Arizona | Coal | Jul | Springerville 3 | - | - | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 |
| Arizona | Gas | Jul | Santan CC 6 | - | - | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 |
| Southern Nevada | Gas | Jul | Charles Lenzie 1a | - | - | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 |
| Southern Nevada | Gas | Jul | Charles Lenzie 1b | - | - | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 |
| Southern Nevada | Gas | Jul | Charles Lenzie 2a | - | - | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 |
| Southern Nevada | Gas | Jul | Charles Lenzie 2b | - | - | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 |
| New Mexico | Gas | Jul | Luna Energy Facility 1a | - | - | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 |
| New Mexico | Gas | Jul | Luna Energy Facility 1b | - | - | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 | 256 |
| Southern Nevada | Ren | Jul | ESEGS | - | - | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 |
| Southern Nevada | Coal | Jul | Mohave Replace 1 | - | - | - | - | - | - | 790 | 790 | 790 | 790 | 790 | 790 | 790 |
| Southern Nevada | Coal | Jul | Mohave Replace 2 | - | - | - | - | - | - | 790 | 790 | 790 | 790 | 790 | 790 | 790 |
| New Mexico | Coal | Jul | Generic Coal | - | - | - | - | - | - | - | - | 1,000 | 1,000 | 1,000 | 1,000 | 1,000 |
| Palo Verde | Gas | Jul | Gen CC PV | - | - | - | - | - | - | - | - | - | 247 | 247 | 247 | 247 |
| Arizona | Gas | Jul | GenGTAZ 1 | - | - | - | - | - | - | - | - | - | - | - | - | 150 |
| Southern Nevada | Gas | Jul | GenGTSoN 1 | - | - | - | - | - | - | - | - | - | - | - | - | 150 |
| Southern Nevada | Ren | Jul | Gen Sun So Nev | - | - | 17 | 38 | 38 | 55 | 89 | 89 | 89 | 106 | 106 | 127 | 127 |
| Arizona | Ren | Jul | Gen Geo AZ | - | - | 11 | 11 | 21 | 21 | 32 | 32 | 32 | 41 | 41 | 50 | 50 |
| New Mexico | Ren-W | Jul | Gen Wind NM | - | - | 24 | 40 | 40 | 64 | 64 | 92 | 92 | 92 | 116 | 116 | 116 |
| New Mexico | Ren | Jul | Gen Sun NM | - | - | 10 | 17 | 17 | 27 | 27 | 39 | 39 | 39 | 50 | 50 | 50 |
|  |  |  | Total | - | 630 | 3,029 | 3,073 | 3,082 | 3,133 | 4,759 | 4,799 | 5,799 | 6,071 | 6,106 | 6,136 | 6,437 |
|  |  |  | Gas | - | 630 | 2,517 | 2,517 | 2,517 | 2,517 | 2,517 | 2,517 | 2,517 | 2,763 | 2,763 | 2,763 | 3,064 |
|  |  |  | Coal | - | - | 400 | 400 | 400 | 400 | 1,980 | 1,980 | 2,980 | 2,980 | 2,980 | 2,980 | 2,980 |
|  |  |  | Ren | - | - | 113 | 156 | 166 | 217 | 262 | 302 | 302 | 328 | 363 | 393 | 393 |