# FINAL PROJECT REPORT

for

Subcontract No. 1995-27

from the

# University of Oklahoma

under

Cooperative Agreement NA37RJ0203

National Oceanic and Atmospheric Administration

Office of Global Programs

# "Meeting GEWEX/GCIP Measurement Needs by Adding

Automated Measurement of Soil Moisture and Temperature Profiles

to the DOE ARM/CART Southern Great Plains Site"

# Subcontractors:

# Dr. Ronald L. Elliott and Dr. Glenn O. Brown

Biosystems and Agricultural Engineering Department

Oklahoma State University

Stillwater, Oklahoma

June 1, 1998

# INTRODUCTION

In 1995, the University of Oklahoma's Cooperative Institute for Mesoscale Meteorological Studies was awarded a research grant by the Climate and Global Change Program of the NOAA Office of Global Programs.  The project was entitled "Meeting GEWEX/GCIP Measurement Needs by Adding Automated Measurement of Soil Moisture and Temperature Profiles to the DOE ARM/CART Southern Great Plains Site" (Schneider and Fisher, 1997).  The co-principal investigators, Dr. Jeanne M. Schneider and Dr. Peter J. Lamb, subcontracted a portion of the work to Oklahoma State University.  Specifically, the subcontractor was responsible for characterizing the soils and performing independent soil-moisture measurements at each of 21 facilities (field research sites) in the ARM/CART study area in Oklahoma and Kansas.  This report presents the results of those investigations, and discusses the field and laboratory procedures that were used to acquire the data.

## FIELD SAMPLING

The locations of the ARM/CART Central Facility and Extended Facilities were determined from maps provided by Site Operations.  Site visits and digging operations were coordinated through Site Operations.  In order to minimize site disturbance and safety risks, soil sampling was performed using hand tools.  All samples were collected by Mr. Brandon Claborn, OSU Biosystems and Agricultural Engineering student, usually with the assistance of Dr. Jeanne Schneider, project co-PI.

After arrival at each facility, the specific location of the 6' x 6' SWATS plot was determined.  [SWATS is the acronym for "Soil Water and Temperature System", and refers to the sensors installed as part of the OGP-sponsored project.]  The surface features in the immediate vicinity of the SWATS plot were visually assessed in order to determine the most representative areas for soil sampling.  Unless otherwise directed by Site Operations, all digging occurred just outside the electric fence enclosing the Energy Balance Bowen Ratio (EBBR) system (usually 5 m directly west of the EBBR's exchange mechanisms).  Power to the electric fence was disconnected for the duration of the visit.

A preliminary look at the different soil horizons and their respective depths was needed before any sampling could be done.  This was accomplished by digging a sample pit.  The pit was adjacent to the SWATS plot and just outside the fence of the EBBR.  The soil inside the SWATS plot remained undisturbed.  The sample pit was dug using a sharpshooter shovel. The pit had dimensions of approximately 70 cm x 15 cm x 60 cm (L x W x D), with the extracted soil loaded into buckets to facilitate refilling.  This pit exposed the soil profile and soil horizons to visual inspection; descriptions of the soil layers (2 to 4 in number), and their respective depths were recorded.  The soil color of each layer was determined by using the Munsell Soil Color Chart.  The texture-by-feel method was used to determine the soil textures qualitatively.  The soil was replaced in the observation pit in the reverse order that it was taken out, and original sod was replaced in all areas so the site was returned as close to its original state as possible.

Undisturbed core samples were collected for laboratory determination of soil-water-retention characteristics and bulk density.  These samples were taken using a model number 0200 soil core sampler from Soilmoisture Equipment Corporation (see "Piston Samplers" in ASTM D 4700 – 91).  Core samples were taken from each soil horizon at each of two different locations near the sample pit.  To obtain samples from depths other than at the surface, a hole was dug using a post hole digger to reach the desired depth for sampling without compacting the soil.  The soil sampler holds three numbered rings each with a height of 3 cm and an outside diameter of 5.72 cm (2.25 in).  The sampler has a wedge cutting tip to help provide undisturbed samples.  The sampler was driven into the ground by using the driving hammer.  The rings were removed and then the sample was cut transversely to separate the rings.  The rings were sealed with plastic caps and placed in numbered containers for transport to the laboratory at Oklahoma State University.  The sampling depths, ring numbers, and container numbers were recorded on the data sheet.  Some bag samples of soil were also collected for particle-size and organic-carbon analyses.  The bag labels were recorded on the data sheets.

The sampling holes were returned as close to the original state as possible.  The locations of the test pits, sample locations, and any other disturbed areas were recorded on the data sheet.  Other special characteristics of the site, including ground cover, were also recorded.

Two additional visits were made to each site in order to obtain samples for direct measurement of soil water.  These were to provide independent data for validation of the SWATS measurements of soil water content at the top 4 depths (5, 15, 25, and 35 cm).  Ideally, the two visits to a given site were made at times of contrasting soil moisture conditions, but this was not always possible.  The same digging and coring procedures as described above were used for the soil moisture sampling, except that a ring with a height of 6 cm was used in place of two 3-cm rings.  The 6-cm tall sample was centered on the depth of interest.  Triplicate samples were obtained (4 depths in each of 3 holes, for a total of 12 ring samples).  The samples were placed in numbered cans and transported to the laboratory in an insulated chest.

# LABORATORY PROCEDURES

# Organic Carbon

Organic carbon analyses were carried out in the laboratory of Dr. Nicholas T. Basta, Associate Professor of Soil Chemistry in the Plant and Soil Sciences Department at Oklahoma State University.  The Walkley-Black Method (Nelson and Sommers, 1996) was used.  Organic matter percentage was estimated by doubling the organic carbon percentage determined in the laboratory (Nelson and Sommers, 1996).

# Particle Size (Texture)

Particle size distributions were analyzed in the laboratory of Dr. Glenn O. Brown, Associate Professor in the Biosystems and Agricultural Engineering Department at Oklahoma State University.  Samples were prepared according to ASTM D 421 – 85 (1985).  Hydrometer and wet sieving procedures were used (ASTM D 422 – 63, 1963; ASTM D 1140 – 92, 1992).  The laboratory data were entered into a spreadsheet, and the resulting particle size distributions were plotted.  Percentages of sand, silt, and clay were calculated, and used to assign the soil textural class according to the USDA classification system (i.e., the "soil triangle").

# Soil Water Retention

Water retention characteristics were measured in Dr. Brown's laboratory using the undisturbed field samples and pressure-plate methodology (ASTM D 2325 – 68, 1968).  Water contents were determined at 7-8 progressively increasing pressures up to a maximum of 15 bars.  "Hanging column" tests were used to obtain additional data points in the wet (low pressure) end of the range (Klute, 1986).

Generally, 4 field samples were available for a given soil layer.  The 4 resulting "release curves" (i.e., pressure versus volumetric water content) were plotted and visually compared.  Samples that were obvious outliers or that had physically inconsistent data points were eliminated from further analysis.  In some cases, visual inspection of the sample ring indicated a likely problem with soil-to-plate contact during the test.  This type of data screening and interpretation is common when analyzing the results of soil water retention tests.  However, for over half of the 50 different soil layers analyzed, all 4 sample results were deemed to be "good".

# Bulk Density

The "good" soil-water-retention samples discussed above were also used to determine bulk densities.  Bulk density was calculated as the oven-dry (105 C for 24 hours) weight of the sample, less the tare weight of the ring, divided by the ring volume.

# Water Content

Soil samples collected during the two return visits to each site were weighed immediately upon arrival at the laboratory.  Within a few days, they were placed in a baffled oven at 105 C for 24 hours.  The dry weights were recorded, along with the tare weight of the can.  Gravimetric water content (g g-1) was calculated as the weight of water divided by the dry weight of soil.  Since the samples were of a known volume, values of volumetric water content (m3 m-3) and bulk density (g cm-3) could also be calculated.

RESULTS AND ANALYSIS

The appendices of this report contain the collected data and the results of follow-on analyses.  The number of appendices varies depending upon the version of the report.  Version 1 is the shortest and contains summary tables of organic carbon, texture, soil water retention fitting parameters, and bulk density.  Added in Version 2 are the results of the field sampling of water content, the detailed particle size analyses, the laboratory soil water retention data, and graphs showing the retention data and the equations which were fit to the data.  Finally, the rather voluminous Version 3 also includes the detailed output from the program (RETC) that was used to fit the equations to the soil water retention data.  The appendices are listed below, with accompanying descriptions.

Appendix A		Organic Carbon and Organic Matter

This is a summary table of the measured organic carbon percentage in the near-surface soil at each site.  Also included is the organic matter percentage, which is estimated as twice the organic carbon percentage.

Appendix B		Texture

This is a summary table of the percentages of sand, silt, and clay fractions in each soil layer at each site.  Also listed is the corresponding USDA texture class as determined from the "soil triangle".

Appendix C		Parameters for Soil Water Retention Models

This consists of one table for each site, containing the fitted values of the parameters in the van Genuchten and Brooks-Corey equations for relating soil water pressure to volumetric water content:

van Genuchten

#### Brooks-Corey

( = volumetric water content (m3 m-3)

(r = residual water content (m3 m-3)

(s = saturated water content (m3 m-3)

h = soil water pressure (bar), positive for suction (unsaturated) conditions

( = scaling parameter (bar-1)

n = empirical parameter (dimensionless)

m = 1 – (1/n)

( = pore-size distribution parameter (dimensionless)

Note that (r and (s are fitting parameters and should not be interpreted as lower and upper limits of field water content.  In the Brooks-Corey equation, the break at h = 1/( is called the "air entry pressure" (when the large pores first begin to empty).  The Brooks-Corey equation is a special case of the van Genuchten equation (n approaching infinity with the product ( = mn remaining finite).

The fitting of the two equations to the soil water retention data was done using the program "RETC" (van Genuchten et al., 1991).  RETC uses non-linear, least-squares optimization.  As such, the fitting results can be sensitive to the initial estimates of the parameters.  In this analysis, initial parameter estimates were obtained from a texture-based table of typical values (see page 41 of the above-referenced report).

RETC was used to generate two sets of parameters.  In the first case, all four parameters ((r, (s, (, and either n or () were treated as unknowns and allowed to "float" during the optimization process.  In the second case, (s was fixed at a value determined by:

where (b is the soil's bulk density (g cm-3) and 2.65 is the assumed particle density.  See Appendix D for the bulk density values that were used.  Note that, in some instances, the RETC optimization process set (r equal to zero.

Appendix D		Bulk Density

This is a summary table of bulk densities representing the average of the values obtained from the soil water retention samples.

Appendix E		Water Content

This consists of one sheet for each site, containing the results of each of the two follow-up visits for field sampling of water content.  Included are data on volumetric water content, gravimetric water content, and sample bulk density, for each of the four depths (5, 15, 25, and 35 cm).  The tables contain the data for each of the three replicate samples, as well as the corresponding mean, standard deviation, and coefficient of variation.

Appendix F		Particle Size

This consists of two sheets for each soil layer at each site.  The first is the spreadsheet that was used to enter the laboratory data and perform the necessary calculations.  The second is a graph showing the resulting particle size distribution.

Appendix G		Soil Water Retention Data

This consists of one sheet for each site, containing the observed soil water retention data as obtained from laboratory tests using pressure plates and hanging columns.

# Appendix H		Graphs of Soil Water Retention Data and Fits (WCS Unknown)

# These are graphs showing the observed soil water retention data along with the van Genuchten and Brooks-Corey fits to the data.  These RETC fits are for the case where all equation parameters were treated as unknowns.  There is one graph for each soil layer at each site.

# Appendix I		Graphs of Soil Water Retention Data and Fits (WCS Fixed)

# These are graphs showing the observed soil water retention data along with the van Genuchten and Brooks-Corey fits to the data.  These RETC fits are for the case where the saturated water content was treated as a known parameter.  There is one graph for each soil layer at each site.

# Appendix J		Detailed Output from RETC Fits to Soil Water Retention Data

# (WCS Unknown)

# This appendix consists of the unabridged output from the RETC model for fitting retention parameters, for the case where the saturated water content was treated as an unknown.  There are two pages of output for each soil layer at each site.  Also included for completeness are the values of the fitted parameters (Appendix C) and the accompanying graphs (Appendix H).

# Appendix K		Detailed Output from RETC Fits to Soil Water Retention Data

# (WCS Fixed)

# This appendix consists of the unabridged output from the RETC model for fitting retention parameters, for the case where the saturated water content was treated as a known parameter.  There are two pages of output for each soil layer at each site.  Also included for completeness are the values of the fitted parameters (Appendix C) and the accompanying graphs (Appendix I).

## ACKNOWLEDGMENTS

# Appreciation is extended to Dr. Nick Basta for his willingness to run the organic carbon tests.

# This project would not have been possible without the dedicated efforts of many students and staff in the OSU Biosystems and Agricultural Engineering Department:

Brandon Claborn			Tom Underwood

John Roll				Shellie Miller

Diana Loudenslager			Jason Vogel

Hope Nickels				Ken Fisher

# REFERENCES

American Society for Testing and Materials.  1963.  Standard Test Method for Particle-Size Analysis of Soils.  D 422 – 63, Philadelphia, Pennsylvania.

American Society for Testing and Materials.  1968.  Standard Test Method for Capillary-Moisture Relationships for Coarse- and Medium-Textured Soils by Porous-Plate Apparatus. D 2325 – 68, Philadelphia, Pennsylvania.

American Society for Testing and Materials.  1985.  Standard Practice for Dry Preparation of Soil Samples for Particle-Size Analysis and Determination of Soil Constants.  D 421 – 85, Philadelphia, Pennsylvania.

American Society for Testing and Materials.  1991.  Standard Guide for Soil Sampling from the Vadose Zone.  D 4700 – 91, Philadelphia, Pennsylvania.

American Society for Testing and Materials.  1992.  Standard Test Method for Amount of Material in Soils Finer Than the No. 200 (75 (m Sieve).  D 1140 – 92, Philadelphia, Pennsylvania.

Klute, A.  1986.  Water Retention: Laboratory Methods.  Chapter 26 in the Second Edition of Methods of Soil Analysis, Part 1, Physical and Mineralogical Methods, Agronomy Monograph No. 9, American Society of Agronomy – Soil Science Society of America, Madison, Wisconsin.

Nelson, D. W. and L. E. Sommers.  1996.  Total Carbon, Organic Carbon, and Organic Matter.  Chapter 34 in Methods of Soil Analysis, Part 3, Chemical Methods, SSSA Book Series No. 5, Soil Science Society of America – American Society of Agronomy, Madison, Wisconsin.

Schneider, J. M. and D. K. Fisher.  1997. Meeting GEWEX/GCIP Measurement Needs by Adding Automated Measurement of Soil Moisture and Temperature Profiles to the DOE ARM/CART Southern Great Plains Site.  Preprints, 13th Conference on Hydrology, American Meteorological Society, Long Beach, California, February.

van Genuchten, M. T., F. J. Leijand and S. R. Yates.  1991.  The RETC Code for Quantifying the Hydraulic Functions of Unsaturated Soils.  EPA/600/2-91/0655, U.S. Environmental Protection Agency, Robert S. Kerr Environmental Research Laboratory, Ada, Oklahoma.  85 pp.

### APPENDIX  A

# ORGANIC  CARBON  AND  ORGANIC  MATTER

A summary table of organic carbon percentages (measured) and organic matter percentages (estimated) in the near-surface soil.

### APPENDIX  B

# TEXTURE

A summary table of sand/silt/clay percentages and the corresponding USDA texture class for each soil layer.

### APPENDIX  C

# PARAMETERS  FOR  SOIL  WATER  RETENTION  MODELS

Values of the parameters in the van Genuchten and Brooks-Corey equations for relating soil water pressure to volumetric water content.  Curve fitting was done using "RETC", first with all 4 parameters treated as unknowns, and then with the saturated water content (WCS) fixed based on the average value of bulk density for that layer.  The parameters "N" and "LAMBDA" are for the van Genuchten and Brooks-Corey equations, respectively.

### APPENDIX  D

# BULK  DENSITY

A summary table of bulk densities representing the average of the values obtained from the soil water retention samples.

### APPENDIX  E

# WATER  CONTENT

Volumetric and gravimetric water contents determined from field sampling at the same depths as the SWATS sensors.

### APPENDIX  F

# PARTICLE  SIZE

Detailed results of particle size analyses, including graphs of particle size distributions.

### APPENDIX  G

# SOIL  WATER  RETENTION  DATA

Observed soil water retention data, as obtained from laboratory tests using pressure plates and hanging columns.

### APPENDIX  H

# GRAPHS  OF  SOIL  WATER  RETENTION  DATA  AND  FITS

(WCS  UNKNOWN)

Graphs showing the observed soil water retention data along with the van Genuchten and Brooks-Corey fits to the data.  These fits are for the case where all equation parameters, including the saturated water content (WCS), were treated as unknowns.

### APPENDIX  I

# GRAPHS  OF  SOIL  WATER  RETENTION  DATA  AND  FITS

(WCS  FIXED)

Graphs showing the observed soil water retention data along with the van Genuchten and Brooks-Corey fits to the data.  These fits are for the case where the saturated water content (WCS), was treated as a known parameter.

### APPENDIX  J

# DETAILED  OUTPUT  FROM  RETC  FITS  TO

SOIL  WATER  RETENTION  DATA

(WCS  UNKNOWN)

Details on the RETC fits to the observed soil water retention data, for the case where the saturated water content (WCS) was treated as an unknown parameter.  The graphs from Appendix H are included for convenience.  In the RETC output, "MTYPE = 3" indicates the van Genuchten model, and "MTYPE = 5" indicates the Brooks-Corey model.

### APPENDIX  K

# DETAILED  OUTPUT  FROM  RETC  FITS  TO

SOIL  WATER  RETENTION  DATA

(WCS  FIXED)

Details on the RETC fits to the observed soil water retention data, for the case where the saturated water content (WCS) was treated as a known parameter.  The graphs from Appendix I are included for convenience.  In the RETC output, "MTYPE = 3" indicates the van Genuchten model, "MTYPE = 5" indicates the Brooks-Corey model, and an "INDEX" value of 0 for WCS indicates that it is a fixed parameter.