## 12 - Custodial; Residential
Facility Name
12.0 - Custodial/Residential Care
Operator Information
Owner/Manager: |  | Phone:
Address: |  | Email:
Fax:
Other Contacts:
Phone:
Operator: (Pull down menu: IHS, BIA, State, Tribal, Private)
Other Operator:
Program Description: |  |  | (Describe type of program, assisted living, orphanage, etc.)
Year Built:
Client Information
# Clients
Client Ages |  | Range
# Staff
Housekeeping provided by:
Maintenance provided by
Building/Services separated by gender/age/other, as needed? |  |  |  |  | Yes/No
Unique Facility Fire Safety Features | Items listed here are required by code, unless specifically exempted. When in doubt refer back to the LSC 101.
(NFPA Life Safety Code 101 - Residential Board and Care Occupancies) |  |  |  | Standard Met?
If an automatic sprinkler system is not in place, sleeping rooms must have a primary means of escape and secondary means such as a outside window |  |  |  |  | Yes/No
Doors on sleeping rooms are self closing |  |  |  |  | Yes/No
Smoke detectors provided for each sleeping room, living area and corridors |  |  |  |  | Yes/No
Sleeping areas separated from corridors, living areas and kitchens by walls (1/2 hour) |  |  |  |  | Yes/No
Travel distance from corridor to exit does not exceed 100 feet |  |  |  |  | Yes/No
Travel distance within a room to the door does not exceed 75 feet |  |  |  |  | Yes/No
Corridor width with for occupancy < 50 persons at least 36 inches; > 50 persons 44 inches |  |  |  |  | Yes/No
Stairways enclosed (1/2 hour fire rated) if building is more than 2 stories |  |  |  |  | Yes/No
Doors in the paths of travel to means of escape must be 28 inch minimum |  |  |  |  | Yes/No
Manual alarm provided or alarm connected to smoke detectors |  |  |  |  | Yes/No
Note on A1: David McMahon: This page accessed from the Facility Info page.

## 13 - Substance Abuse Home
Facility Name
13.0 - Substance Abuse Home
Operator Information
Owner/Manager: |  | Phone:
Address: |  | Email:
Fax:
Other Contacts:
Phone:
Operator: (Pull down menu: IHS, BIA, State, Tribal, Private)
Other Operator:
Program Description: |  |  | Describe type of program, assisted living, orphanage, etc
Inpatient Services? | Yes/No
Year Built:
Client Information
# Clients
Client Ages |  | Range
# Staff
Building/Services Separated by gender/age/other, as needed? |  |  |  | Yes/No
Housekeeping provided by:
Maintenance provided by
Fire Safety Features | Items listed here are required by code, unless specifically exempted. When in doubt refer back to the LSC 101.
NFPA Life Safety Code 101 - Residential Board and Care Occupancies - For inpatient facilities |  |  |  | Standard Met?
If an automatic sprinkler system is not in place, sleeping rooms must have a primary means of escape and secondary means such as a outside window |  |  |  |  | Yes/No
Doors on sleeping rooms are self closing |  |  |  |  | Yes/No
Smoke detectors provided for each sleeping room, living area and corridors |  |  |  |  | Yes/No
Sleeping areas separated from corridors, living areas and kitchens by walls (1/2 hour) |  |  |  |  | Yes/No
Travel distance from corridor to exit does not exceed 100 feet |  |  |  |  | Yes/No
Travel distance within a room to the door does not exceed 75 feet |  |  |  |  | Yes/No
Corridor width with for occupancy < 50 persons at least 36 inches; > 50 persons 44 inches |  |  |  |  | Yes/No
Stairways enclosed (1/2 hour fire rated) if building is more than 2 stories |  |  |  |  | Yes/No
Doors in the paths of travel to means of escape must be 28 inch minimum |  |  |  |  | Yes/No
Manual alarm provided or alarm connected to smoke detectors |  |  |  |  | Yes/No
NFPA Life Safety Code 101 - Business Occupany - For out-patient facilities
Travel distance from corridor to exit does not exceed 200 feet (300 if sprinklered) |  |  |  |  | Yes/No
Emergency Lighting, Fire Alarm System is required if: 2 or more stories above the level of exit dicharge, more than 1000 occupants, or more than 100 occupants above or below the level of exit discharge.
Yes/No
Portable fire extinguishers are required. |  |  |  |  | Yes/No
Note on A1: David McMahon: This page accessed from the Facility Info page.

## 14 - Foster Care Home
Facility Name
14 - Foster Care Home
Owner/Manager: |  | Phone:
Address: |  | Email:
Fax:
Other Contacts:
Phone:
Operator: (Pull down menu: IHS, BIA, State, Tribal, Private)
Other Operator:
Incorporated Food Service: | Yes/No
# Clients
# Rooms
# Staff
Year Built:
Note on A1: David McMahon: This page accessed from the Facility Info page.

## 16 - Jail Detention
Facility Name
16 - Jail/Detention
Owner/Manager: |  | Phone:
Address: |  | Email:
Fax:
Other Contacts:
Phone:
Operator: (Pull down menu: IHS, BIA, State, Tribal, Private)
Other Operator:
Incorporated Food Service: | Yes/No
# Clients
Client Ages
# Staff
Year Built:
Note on A1: David McMahon: This page accessed from the Facility Info page.

## 20 - School
Facility Name
20 - School
Owner/Manager: |  |  |  |  | Phone:
Address: |  |  |  |  | Email:
Fax:
Other Contacts:
Phone:
Operator: (IHS, BIA, State, Tribal, Private) | # Clients (Students, Children, customers:
# Teachers
Year Built: | # Staff
| # of Classes: |  |  |  | ???
Educational Facility
Grade Levels | Headstart | K-12 | K-Elem | J High | S High | Other
Facility Comments: | Classroom Information:
Click here to add/edit classrooms
| Room | # Students | Sq. Feet | Ft/Child | ???
| 1 | 39 | 1250 | 32.05
| Totals | 39 | 1250 | 32.05
| Toilet Facility Information | ???
Edit Head Start Info.
Note on A1: David McMahon: This page accessed from the Facility Info page.
Note on B17: David McMahon: Do we need a separate Headstart info page or can all education facility types grab data from one info page?
Note on F22: David McMahon: See Occupant Load and Ratio Issues
Note on C26: David McMahon: See Occupant Load and Ratio Issues

## 21 - Dormitory
Facility Name
21 - Dormitory
Owner/Manager: |  | Phone:
Address: |  | Email:
Fax:
Other Contacts:
Phone:
Operator: (Pull down menu: IHS, BIA, State, Tribal, Private)
Other Operator:
Incorporated Food Service: | Yes/No
# Clients
Client Ages
# Staff
Year Built:
Note on A1: David McMahon: This page accessed from the Facility Info page.

## 22.1 - HeadStart
Facility Name
22.1 - HeadStart
Owner/Manager: | E-mail:
Phone: | FAX: (928) 475-4010
School Nurse:
Phone:
Other Contacts:
Phone:
Operator: (IHS, BIA, State, Tribal, Private) | # Clients (Students, Children, customers:
# Teachers
Year Built: | # Staff
| # of Classes: |  |  |  | ???
Educational Facility
Grade Levels | Headstart | K-12 | K-Elem | J High | S High | Other
Facility Comments: | Classroom Information:
Click here to add/edit classrooms
| Room | # Students | Sq. Feet | Ft/Child | ???
| 1 | 39 | 1250 | 32.05
| Totals | 39 | 1250 | 32.05
| Toilet Facility Information | ???
Edit Head Start Info.
Note on A1: David McMahon: This page accessed from the Facility Info page.
Note on B18: David McMahon: Do we need a separate Headstart info page or can all education facility types grab data from one info page?
Note on F23: David McMahon: See Occupant Load and Ratio Issues
Note on C27: David McMahon: See Occupant Load and Ratio Issues

## 22.2 - Pre-school, K-Gart
Facility Name
22.2 - Pre-school, Kintergarden
Owner/Manager: | Phone:
Address: | Email:
Fax:
Other Contacts:
Phone:
Operator: (Pull down menu: IHS, BIA, State, Tribal, Private)
Other Operator:
# Clients
Client Ages
# Staff
# of Classes:
Year Built:
Note on A1: David McMahon: This page accessed from the Facility Info page.

## 23 - Day Care_Nursery
Facility Name
23 - Day Care/Nursery
Owner/Manager: | Phone:
Address: | Email:
Fax:
Other Contacts:
Phone:
Operator: (Pull down menu: IHS, BIA, State, Tribal, Private)
Other Operator:
# Clients
Client Ages
# Staff
# of Classes:
Year Built:
Note on A1: David McMahon: This page accessed from the Facility Info page.

## 32.2 - Hotel, Motel
Facility Name
32.2 - Hotel, Motel
Owner/Manager: |  | Phone:
Address: |  | Email:
Fax:
Other Contacts:
Phone:
Operator: (Pull down menu: IHS, BIA, State, Tribal, Private)
Other Operator:
Incorporated Food Service: | Yes/No
# Clients
# Rooms
# Staff
Year Built:
Note on A1: David McMahon: This page accessed from the Facility Info page.

## 34 - Industrial; Manufacturing
Facility Name
34 - Industrial; Manufacturing
Owner/Manager: |  | Phone:
Address: |  | Email:
Fax:
Other Contacts:
Phone:
Operator: (Pull down menu: IHS, BIA, State, Tribal, Private)
Other Operator:
Product Types:
Incorporated Food Service: | Yes/No
# Staff
Year Built:
Note on A1: David McMahon: This page accessed from the Facility Info page.

## 44 - Senior Citizen Center
Facility Name
44 - Senior Citizen Center
Owner/Manager: |  | Phone:
Address: |  | Email:
Fax:
Other Contacts:
Phone:
Operator: (Pull down menu: IHS, BIA, State, Tribal, Private)
Other Operator:
Incorporated Food Service: | Yes/No
# Clients
Client Ages
# Staff
Year Built:
Note on A1: David McMahon: This page accessed from the Facility Info page.

## 49 - Casino, Bingo Parlor
Facility Name
49 - Casino, Bingo Parlor
Owner/Manager: |  | Phone:
Address: |  | Email:
Fax:
Other Contacts:
Phone:
Operator: (Pull down menu: IHS, BIA, State, Tribal, Private)
Other Operator:
Incorporated Food Service: | Yes/No
# Clients
# Rooms
# Staff
Year Built:
Note on A1: David McMahon: This page accessed from the Facility Info page.

## 50 - Community Building
Facility Name
50 - Community Building
Owner/Manager: |  | Phone:
Address: |  | Email:
Fax:
Other Contacts:
Phone:
Operator: (Pull down menu: IHS, BIA, State, Tribal, Private)
Other Operator:
Primary Usage: | Community Meetings, Recreational, Other. Radio buttons?)
Incorporated Food Service: | Yes/No
# Clients
Client Ages
# Staff
Year Built:
Note on A1: David McMahon: This page accessed from the Facility Info page.

## Survey Report
Institutional Facility
XX - Facility Type
IHS Institutional Form
Enter findings recorded on the IHS School Survey Form (Form EHS 1)
[5 empty] | IHS Health Indicators: | Incidator 1 | Indicator 2
Please select 2 critical items which you want to include as national indicators. Use the item numbers from the form.
Survey Type:
Comprehensive
Follow-up
Rapid Assessment |  |  |  |  | Fire Safety
Emergency Preparedness
Codes |  |  |  |  | Hazard Location(s)
IN | In Compliance |  |  |  | Hazard Potential(s) |  |  | Codes Utilized:
Out | Not In Compliance |  |  |  | Infection Control |  |  | National Fire Protection Association, Life Safety Code 101
N/O | Not Observed |  |  |  | Food Safety |  |  | General Industry Standards, OSHA
N/A | Not Applicable |  |  |  | Administration/Facilities Management |  |  | Uniform Plumbing Code, 1997
R | Repeat |  |  |  | Other |  |  | NFPA 1600 Standard on Disaster/Emergency Management and Business Continuity Programs (2004 Edition)
COS | Corrected on Site |  |  |  | Describe "Other": |  |  | US Food and Drug Administration, Food Code, 2005
US EPA Indoor Air and Mold webstites (www.epa.gov)
Date: | [7 empty] | Uniform Building Code, 1994
Primary Survey Contact:
Surveyor:
Item # | Compliance Status |  |  |  | Risk Factor | COS | R | Critical Item | Code/ Reference | Guidance/Comments
Fire Safety
1 | IN | OUT | N/O | N/A | Fire egress routes are unobstructed, lighted, in appropriate number. |  |  | X |  | i. Appropriate number & location of unobstructed & unlocked exits ii. At least 2 remote means of escape provided from corridor room doorway iii. Illumination, including emergency lighting (average 1 foot candle), available for emergencies for corridors, stairs, walkways, etc. iv. Exit signage provided & illuminated as required
2 | IN | OUT | N/O | N/A | Fire systems (suppression, alarms, heat or smoke detectors, emegency lighting, and exit lights) are installed, operable, & maintained |  |  | X |  | a. Emergency lighting tested monthly with annual test of 1 ½ hour
3 | IN | OUT | N/O | N/A | Smoking policy in place (smoking should be prohibited in common living areas and food preparation areas) |  |  |  |  | Educational Facility: Indoor smoking is prohibited.
4 | IN | OUT | N/O | N/A | Use of smudge pots, sage, or similar “cultural” flammable materials is monitored for safe practices.
5 | IN | OUT | N/O | N/A | Newly purchased draperies, upholstered furnishings and bedding flame resistant
Emergency Preparedness
6 | IN | OUT | N/O | N/A | Appropriate written emergency plans are in place and utilized. |  |  |  |  | a. Written emergency plan based on local risks i. Natural Hazards – Earthquake, flood, fire, etc.a. Written emergency plan based on local risks i. Natural Hazards – Earthquake, flood, fire, etc. ii. Human Caused – Dam failure, fire, bomb threats, etc. iii. Utility failures for emergency gas and other utility shut off iv. Custodial/Residentital Facility: Evacuation plans available and tested every other month
7 | IN | OUT | N/O | N/A | Emergency drills (fire, utility emergencies/outages, etc) conducted & documented |  |  | X |  | Custodial/Residential a. Residents trained on emergency evacuation procedures
8 | IN | OUT | N/O | N/A | Security/Violence control plans and measures are in place. |  |  | X
Hazard Potiential - General
9 | IN | OUT | N/O | N/A | Is there evidence of over-crowding which could have significant adverse public health impact? |  |  |  |  | This can be determined by occupant space requirements, inadequate number of restroom facilities, exceeding staff:clients ratios, or exceeding pre-determined licensing capacity or fire occupant load.
10 | IN | OUT | N/O | N/A | Shop and laboratory classrooms: Exposure to hazards are minimized (physical, chemical, gas, electrical and noise hazards are controlled)
11 | IN | OUT | N/O | N/A | Playgrounds: Equipment is age appropriate, approved materials and design and in good repair |  |  | X
12 | IN | OUT | N/O | N/A | Adult supervision is provided in all hazard locations |  |  | X
13 | IN | OUT | N/O | N/A | Sufficient lighting is provided in critical locations (shops, kilns, labs)
14 | IN | OUT | N/O | N/A | Play fields, gym facilities, swimming pools, are safe and meet public health standards.
Hazard Potentials - Electrical
15 | IN | OUT | N/O | N/A | Access to electrocution hazards is minimized (panels, transformers, electrical closets locked) |  |  | X
16 | IN | OUT | N/O | N/A | Ground fault circuit interrupters installed as required |  |  | X
17 | IN | OUT | N/O | N/A | Electrical system & components in good repair |  |  | X
Hazard Potentials - Chemical
17 | IN | OUT | N/O | N/A | Proper storage of hazardous materials; inaccessible to clients (housekeeping closets, chemical storage rooms, maintenance areas) |  |  | X
18 | IN | OUT | N/O | N/A | Sources of emission are controlled. (Kilns, auto shops, generators, ventilation systems effective, school bus idleing, etc) |  |  | X |  | Combustion heating appliances (furnaces, gas water heaters, gas stoves) properly vented
19 | IN | OUT | N/O | N/A | Staff utilize chemicals properly (MSDS, PPE, Store safe, use safe)
Infection Control
20 | IN | OUT | N/O | N/A | Clean hands, properly washed |  |  | X
21 | IN | OUT | N/O | N/A | Sufficient hygienic supplies are available |  |  |  |  | Toilet paper, hand-drying items, soap, warm water, etc. is available
22 | IN | OUT | N/O | N/A | Cleaning and disinfecting of common showers and/or bathrooms provided.
23 | IN | OUT | N/O | N/A | Employee health measures in place (Hep B, influenza vaccinations) |  |  | X
24 | IN | OUT | N/O | N/A | Proper use of employee and client illness reporting restriction & exclusion
25 | IN | OUT | N/O | N/A | Animals in the facilitiy are handled properly. If applicable, animals are properly vaccinated
26 | IN | OUT | N/O | N/A | Pest harborage/Access controlled, no evidence of infestation |  |  |  |  | Screens and other controls provided to prevent flies and other vermin from entering the building
27 | IN | OUT | N/O | N/A | Personal, shared items (toys, mats) sanitized, storage of personal items minimizes spread of infection |  |  | X
Food Protection (in lieu of full food service survey)
28 | IN | OUT | N/O | N/A | Approved food source; No spoilage |  |  | X
29 | IN | OUT | N/O | N/A | Proper hot & cold food storage temperatures |  |  | X
30 | IN | OUT | N/O | N/A | Food cooked/reheated to proper temperature |  |  | X
31 | IN | OUT | N/O | N/A | Hand-washing facilities provided and used |  |  | X
32 | IN | OUT | N/O | N/A | Personnel preparing foods trained in safe food procedures
33 | IN | OUT | N/O | N/A | Food protection: storage, prep, display, service, transp. |  |  | X
34 | IN | OUT | N/O | N/A | Proper hygiene; Personnel with infections restricted |  |  | X
35 | IN | OUT | N/O | N/A | Clean and sanitary facilities and equipment available and provided
36 | IN | OUT | N/O | N/A | Cross connection, back-siphonage, backflow prevented
Administration
37 | IN | OUT | N/O | N/A | Health and Safety Policies are in place |  |  |  |  | i. Written policies for ill persons/outbreaks, as needed. ii. Blood-borne pathogen written policies, as needed.
38 | IN | OUT | N/O | N/A | System in place to identify and address hazardous conditions. Documentation of follow-up actions, training, testing, etc. is available
39 | IN | OUT | N/O | N/A | Proper PPE and training provided to employees
40 | IN | OUT | N/O | N/A | Employees and clients receive training in health and safety procedures as needed. |  |  |  |  | In certain institutions with live-in residents, ensure that residents trained on risks, evacuation, etc.
41 | IN | OUT | N/O | N/A | Occupany Rates are meet |  |  | X
42 | IN | OUT | N/O | N/A | First Aid kit accessible and maintained
Facilities Management |  |  |  |  | Facilities Management
43 | IN | OUT | N/O | N/A | Plumbing fixtures are in good repair and in appropriate numbers |  |  |  |  | Adequate number of sinks, toilets, urinals, showers, bathtubs, and drinking fountains are provided?
44 | IN | OUT | N/O | N/A | Potable water is from an approved source |  |  | X
45 | IN | OUT | N/O | N/A | Heating, cooling, and ventilation and exhaust systems are adequate and maintained. |  |  |  | ASHRAE | i. Bathrooms, janitor’s closets and laundry should have significant mechanical ventilation to prevent odors, humidity and/or mold development. ii. Temperatures: Winter 68-750F , Summer 73-790F iii. Fresh air is available through windows or general ventilation.
46 | IN | OUT | N/O | N/A | Solid waste collection, storage and disposal is adequate |  |  |  |  | Covered, fly control, sanitary
47 | IN | OUT | N/O | N/A | Facility is in good repair, housekeeping supports a clean building
48 | IN | OUT | N/O | N/A | Other hazardous or unsanitary conditions present (lead, asbestos, mold, mosquito breeding conditions, etc.) noted
49 | IN | OUT | N/O | N/A | Waste water drains to a sanitary sewer
50 | IN | OUT | N/O | N/A | Grounds are free of hazards, waste areas are clean |  |  |  |  | Walkways illuminated and safe
Other (Add as needed)
a. | IN | OUT | N/O | N/A
b. | IN | OUT | N/O | N/A
c. | IN | OUT | N/O | N/A
d. | IN | OUT | N/O | N/A
e. | IN | OUT | N/O | N/A
Tracking poor, fair, good
Tracking percent cost extensive
Tracking deficiency completions
It would be useful to link the risk factors to more information or references when needed. Here are some
examples of links.
1
|  |  |  | 2 | (Fire Detection, Alarm, & Communications)
Fire alarm system installed, operable, & maintained
Alarm initiated by manual means/other approved method
Smoke detectors installed, operable, & maintained
|  |  |  | 2 | (Fire Extinguishment)
Automatic sprinkler system installed, operable, & maintained
Portable fire extinguishers properly located, maintained, inspected
|  |  |  | 6 | Building lock down, emergency communications, planning with police, bullying policies, etc.
|  |  |  | 14 | Sufficient electrical supply; No permanent use of extension cords
|  |  |  | 15 | Worker Safety Issues?
MSDS sheets available
Protective equipment provided as necessary
|  |  |  | 24 | Sufficient supply of cleaning/sanitizing supplies
|  |  |  | 35 | Appropriate surfacing material for fall zones
Equipment does not pose strangulation/entrapment hazard
No trip, pinch, crush hazards
Grounds free of debris & hazards
|  |  |  | 43 | Staff trained in infection control practices
|  |  |  | 53 | Animals are kept in a habitat free of algae, insects and particualte matters
Rooms where animals are located are not used for food preparation, have a lavatory with soap and single-use paper towels or air hand dryers; or there is a hand sanitize product available for individuals who touch an animal or its habitat.
When out of their habitats, animals must be under the control of a teacher or a student of the school
Dogs, cats or ferrets have current rabies immunization documentation such as a rabies immunization certificate from a veterinarian
Non-human primates deer mice or other wild mouse of the genus Peromyscus, bats, skunks, raccoons, foxs, wolf-hybrids or coyotes are not premitted.
Note on F7: David McMahon: This will not be a part of the form. It will be marked in WEBEHRS so that reports can be created by Area and HQ. We will explore a way to select regional or local indicators.

## Occupant Load and Ratio Issues
Is there relevant public health information to be gained from this data? Occupany rates relate to fire safety and egress.
Occupancy Recommendations
Class Room | Area (sqft) | Current | Occupancy Std. | Max Occupancy | Meets Occupancy Rate
|  | No. of Students | (sqft/student) | (# of students) | Yes | No
1 | 100 | 30 | 40 | 2.5 |  | x
2 | 1000 | 30 | 30 | 33.3333 | x
3 | 1000 | 40 | 30 | 33.3333 |  | x
4 | 2000 | 45 | 30 | 66.6667 | x
5 | 3000 | 50 | 30 | 100 | x
Plumbing Fixtures | Existing # |  | # Recommended Number of Fixtures |  | # Students | Expected # of Facilties |  | Meets Minimum # Recommended
| Male | Female | Male | Female | Male | Male | Female | Male | Female
Lavatories | 10 | 10 | 50 | 50 | 100 | 2 | 8 | Y | Y
Toilets | 5 | 10 | 50 | 25 | Female | 2 | 16 | Y | N
Urinals | 5 |  | 50 |  | 400 | 2 |  | Y
Drinking Fountains | 2 |  | 50 |  | 500 | 10 |  | N
Other Fixtures
Restroom Fixture Requirements
Applies to 12 - Residential/Custodial Care Facility - Non-dwelling Situation; 13 - Substance Abuse Homes
Plumbing Fixtures | Existing # of Functioning Fixtures |  | # Recommended Number of Fixtures (Ratio of fixture:person) |  | # Clients | Expected # of Facilties |  | Meets Minimum # Recommended (Compare Existing to Expected)
| Male | Female | Male | Female | Male | Male | Female | Male | Female
Lavatories |  |  | 12 | 12 | 20 | 2 | 2
Toilets |  |  | 10 | 8 | Female | 2 | 3
Showers |  |  | 8 | 8 | 20 | 3 | 3
Bathtubs | Not Required |  |  | 8 |  |  | 3
Drinking Fountains |  |  | 150 |  | 40 | 1
Other Fixtures | Add one toilet for females
In non-dwelling situation:
| Toilet | Sink | Showers | Bathtub | Drinking Fountain
Male | 1 per 10 | 1 per 12 | 1 per 8 | NA | 1 per 150, All Clients
Female | 1 per 8 | 1 per 12 | 1 per 8 | Add 1 per 8
Toilets, For each additional 25 males, add 1 fixture
Toilets, For each additional 20 females, add 1 fixture
Residential/Custodial Care Facility
Occupied Spaces |  | Minimum Sizes |  | Number | Size | Standard |  |  | Standard Met?
|  | Individual Rooms |  |  |  | 70 sq ft with 7.5 ft ceilings |  |  |  | Yes/No
|  | Dwelling Units/Apart. |  |  |  | 220 sq ft |  |  |  | Yes/No