Document Name:   AboutFilesInThisDirectory

Document location: http://www.arm.gov/publications/tech_reports/handbooks/rss/

Last Revision Date:  July 07, 2007

Created by: P. Kiedron  peter.kiedron@noaa.gov

# MANUALS

| FILE NAME | CONTENT |
| --- | --- |
| AutomatedRadCalib_Feb2007.pdf | Automated radiometric calibration of RSS105 |
| AutomatedRadCalibSupplementFiles.tgz or AutomatedRadCalibSupplementFiles.zip | Files to be used with AutomatedRadCalib_Feb2007.pdf |
| InstructionLiCorLampChange.pdf | Description of lamp change in LiCor calibrator |
| InstructionLicorOrielRSS.pdf | Instructions for Using Li-Cor and Oriel Spectral Calibrator with RSS |
| InstructionPortCalRSS.pdf | Instructions for Using Portable Calibrator with RSS |
| RSS105SignalNoise_Oct04_1pk.pdf | RSS algebra and noise |
| RSSAlogithmsDiagram.pdf | Diagrams of algorithms used in RSS data processing |
| Rss1024Manual.pdf | RSS/UVRSS-1024 Rotating Shadowband Spectroradiometer Installation and User Guide Version 2.1 (YES, Inc.) |
| UserInfo(21).pdf | USING the RSS, low-level firmware command info UPDATED 06-06-2001 By L. Harrison, ASRC, SUNY at Albany |
| rss105CosCor_Aug04pk.pdf | Cosine correction in rss105 |

PRESENTATIONS

| FILE NAME | CONTENT |
| --- | --- |
| RSSkied_AerosolsWGBoulder2005.pdf | P. Kiedron, “RSS: stability, calibration, Langley correction, aerosols OD”, Aerosols Working Group, Boulder, CO, 2005 |
| RSSkied_IRF_WGAnnapolis2005.pdf | P. Kiedron, “On RSS status”, IRF Working Group, Annapolis, MD, 2005 |
| RSSkied_AerosolsWGMonterey2007.pdf | Peter Kiedron, Connor Flynn, Richard Ferrare, Brent Holben, Joseph Michalsky, Beat Schmid and James Slusser, “Comparison of aerosol optical depth from passive and active measurements during the 2005 Aerosol Lidar Validation Experiment (ALIVE) at SGP”, Aerosols Working Group at ARM Science Team Meeting, 2007 |
| RSSkied_IRF_WGSantaBarbara2004.pdf | P. Kiedron, “Rotating Shadowband Spectroradiometer” , IRF Working Group, Santa Barbara, CA, 2004 |
| RSSkied_InstrMentrWGBillings2005.pdf | P. Kiedron, “RSS Mentor Presentation”, Instrument Mentor Working Group, Billings, OK, 2005 |
| RSSkied_SWQME_Monterey2007.pdf | P. Kiedron, “Brief guide to RSS for SW QME“ SW QME Group at ARM Science Team Meeting, 2007 |
| RSSkied_STM_IRFWGDaytonaBeach2005.pdf | P. Kiedron, “RSS history and current status”, IRF Working Group, Daytona Beach, FL, 2005 |
| RSSkied_IRF_WGWashDC2006.pdf | P. Kiedron, “Ozone daily variation at Table Mt., Boulder, CO and at SGP, OK, June 2003-July 2006 “ |
| RSSkied_IRF_WGWashDC2006_1.pdf | P. Kiedron, “RSS Status…, AOD’s for ALIVE 2005, Stability Issue” |
| RSSGueymard_IRF_WG WashDC2006.pdf | Chris A. Gueymard, “Broadband vs Spectral Radiative Closure: Synergy Between RSS Measurements and Modeling “ |
| RSSkied_AerosolsWGSanFrancisco2006.pdf | P. Kiedron, “Comparison of Aerosol Optical Depth During ALIVE 2005 “ |

PUBLICATIONS

| FILE NAME | CONTENT |
| --- | --- |
| ASES2006_Gueymard.pdf | C. A. Gueymard, “PREDICTION AND VALIDATION OF CLOUDLESS SHORTWAVE IRRADIANCE FOR HORIZONTAL, TILTED, OR TRACKING RECEIVERS”, Solar 2006 Conference, American Solar Energy Society, Denver, CO (July 2006) |
| ApplOpt1999_Kiedron.pdf | Piotr W. Kiedron, Joseph J. Michalsky, Jerry L. Berndt, and Lee C. Harrison, “Comparison of spectral irradiance standards used to calibrate shortwave radiometers and spectroradiometers”, Appl.Opt. 38, pp.2432-2439, 1999 |
| GRL1999_Harrison.pdf | Lee Harrison, Mark Beauharnois, Jerry Berndt, Peter Kiedron, Joseph Michalsky, Qilong Min, “The Rotating Shadowband Spectroradiometer (RSS) at SGP”, J. Geophys. Res. 108: 4424, 2003. |
| GRL1999_Michalsky.pdf | J. Michalsky, M. Beauharnois, J. Berndt, L. Harrison, P. Kiedron, and Q. Min, “O2-O2 absorption band identi cation based on optical depth spectra of the visible and near-infrared”, Geophys. Res. Lett. 26, 1581-1584, 1999 |
| GRL1999_Min.pdf | Qilong Min and Lee Harrison, “Joint statistics of photon pathlength and cloud optical depth”, Geophys. Res. Lett. 26, 1425-1428, 1999 |
| GRL1999_Schmid.pdf | B. Schmid, J. Michalsky, R. Halthore, M. Beauharnois, L. Harrison, J. Livingston, P. Russell, B. Holben, T. Eck, A. Smirnov, “Comparison of Aerosol Optical Depth from Four Solar Radiometers During the Fall 1997 ARM Intensive Observation Period”, Geophys. Res. Lett. 26, 2725-2728, 1999 |
| GRL2000_Mlawer.pdf | Mlaver , E.J., S.A. Clough, Brown, P.D., L. Harrison, J. Michalsky, P. Kiedron, and T.R. Shippert,Comparison of Spectral Direct and Diffuse Solar Irradiance Measurements and Calculations for Cloud-Free Conditions, Geophys. Res. Lett., 27, 2653-2656, 2000 |
| GRL2003_Kiedron.pdf | Kiedron, P., Berndt, J. Michalsky, J.Harrison, L., Column water vapor from diffuse irradiance, Geophys. Res. Lett. Vol. 30, No. 11, 1565, 2003 |
| JGR2001_Kiedron.pdf | Kiedron, P., J. Michalsky, B. Schmid, D. Slater, J. Berndt, L. Harrison, P. Racette, E. Westwater and Y. Han, A Robust Retrieval of Water Vapor Column in Dry Arctic Conditions Using the Rotating Shadowband Spectroradiometer, , J. Geophys. Res. 106, 24,007-24,016,2001 |
| JGR2001_Michalsky.pdf | Michalsky, J.J., Q. Min, P.W. Kiedron, D.W. Slater, and J.C. Barnard, A Differential Technique to Retrieve Column Water Vapor Using Sun Radiometry, J. Geophys. Res., 106, D15, 17,433-17,442. 2001 |
| JGR2001_Min.pdf | Qilong Min, Lee C. Harrison, Eugene E. Clothiaux, “Joint statistics of photon path length and cloud optical depth: Case studies”, J. Geophys. Res, 106, 7375-7385, 2001 |
| JGR2003_Min.pdf | Qilong Min and Eugene E. Clothiaux, “Photon path length distributions inferred from rotating shadowband spectrometer measurements at the Atmospheric Radiation Measurements Program Southern Great Plains site”, J. Geophys. Res, 108, NO. D15, 4465, doi:10.1029/2002JD002963, 2003 |
| JGR2005_Gianelli.pdf | S. M. Gianelli, B. E. Carlson and A. A. Lacis, “Aerosol retrievals using rotating shadowband spectroradiometer data”, J. Geophys. Res, 110, D05203, doi:10.1029/2004JD005329, 2005 |
| SolEnergy2007_Gueymard.pdf | C. A. Gueymard, “Prediction and validation of cloudless shortwave solar spectra incident on horizontal, tilted, or tracking surfaces,” Solar Energy, 2007. |
| SPIE02_4815_13_kiedron.pdf | Kiedron, P.W., L. Harrison, J.J. Michalsky, Jr., J. Schlemmer, and J.L. Berndt, “Data and Signal Processing of Rotating Shadowband Spectroradiometer (RSS) Data”, Proc. SPIE 4815, pp.51-57, 2002 |

REPORTS

| FILE NAME | CONTENT |
| --- | --- |
| ETSpectraComparison_Feb1306.pdf | P. Kiedron, “Comparison of several extraterrestrial irradiances”, February 13, 2006 |
| LicorLampsExperiment041207.pdf | On April 12, 2007 two new LiCor lamps were compared with previous lamp and the Portable Calibrator |
| RSSDataSGPtillMay2003.pdf | Data availability from RSS102 and RSS103 prototypes |
| RssPredeploy2003.pdf | P. Kiedron, “RSS Acceptance Tests and Pre-deployment Characterization”, November 17, 2003 |
| RssSGP1st6months2003.pdf | P. Kiedron, “RSS Performance Evaluation During First Six Months Since Its Deployment”, November 17, 2003 |
| rss&mfrsr_Dir2DifRatio.pdf | P. Kiedron, “Comparison of direct to diffuse ratio from RSS and MFRSR”, December 13, 2005 |

SCIENCE TEAM MEETINGS

| FILE NAME | CONTENT |
| --- | --- |
| RSS_ARM2000Kiedron.pdf | P. Kiedron, J. Berndt, J. Michalsky, Q. Min, D. Slater, “Robust retrieval of water vapor at NSA using rotating shadowband spectroradiometer (RSS)”, ARM Science Team Meeting, 2000 (poster) |
| RSS_ARM2001Harrison.pdf | L. Harrison, J. Berndt, P. Kiedron, J. Michalsky, Q. Min, J. Schlemmer, “The Solar Spectrum 360 to 1050 nm from Rotating Shadowband Spectroradiometer (RSS) at the Southern Great Plains Site” , ARM Science Team Meeting, 2001 (poster) |
| RSS_ARM2001Kiedron1.pdf | P. Kiedron, K. Berndt, L. Harrison, J. Michalsky, Q. Min, “Column Water Vapor From Diffuse Irradiance”, ARM Science Team Meeting, 2001 (poster) |
| RSS_ARM2001Kiedron2.pdf | P. Kiedron, “Spectral irradiance per interval of equal solar flux: convenient spectral grid for atmospheric radiation measurement and modeling” ARM Science Team Meeting, 2001 (poster) |
| RSS_ARM2001Mlawer.pdf | E. J. Mlawer, J. S. Delamere, C. J. Scott, and S. A. Clough , L. C. Harrison, J. J. Michalsky, and P. W. Kiedron , H. W. Barker, T. R. Shippert, “Comparison Between RSS Measurements and LBLRTM/CHARTS Calculations for Clear and Cloudy Conditions”, ARM Science Team Meeting 2001, (proceedings) |
| RSS_ARM2003Kiedron.pdf | P. Kiedron, J. Berndt, E. Yager, J. Schlemmer, L. Harrison, and J. Michalsky, “Acceptance testing and characterization of the VIS-RSS slated for permanent deployment at the SGP site”, ARM Science Team Meeting, 2003 (poster) |
| RSS_ARM2005Kiedron.pdf | P. Kiedron, and J. Schlemmer, “Rotating Shadowband Spectroradiometer (RSS) at SGP: Performance Data Processing and Value Added Products”, ARM Science Team Meeting, 2005 (poster) |
| RSS_ARM2006Kiedron.pdf | Peter Kiedron, and Jim Schlemmer, “Spectrally resolved shortwave flux at ARM: History and the present status of RSS”, ARM Science Team Meeting, 2006 (poster) |
| RSS_ARM2007Gianelli.pdf | Scott M. Gianelli, Andrew A. Lacis , and Barbara E. Carlson “Analysis of Bimodal Aerosol Size Distributions at SGP Using RSS 105 and AERONET CIMEL Data”, ARM Science Team Meeting, 2007 (poster) |
| RSS_ARM2007Gianelli1.pdf | Scott M. Gianelli, Andrew A. Lacis , and Barbara E. Carlson “Analysis of Bimodal Aerosol Size Distributions at SGP Using RSS 105 and AERONET CIMEL Data”, ARM Science Team Meeting, 2007 (plenary session presentation) |
| RSS_ARM2007kiedron.pdf | Peter Kiedron, Connor Flynn, Richard Ferrare, Brent Holben, Joseph Michalsky, Beat Schmid and James Slusser, “Comparison of aerosol optical depth from passive and active measurements during the 2005 Aerosol Lidar Validation Experiment (ALIVE) at SGP”, ARM Science Team Meeting, 2007 (poster) |