|  | Proposal Cover Page Date: 12/9/2002 | NRA-02-OES-06 Proposal Number: (Leave blank for NASA use) |
| --- | --- | --- |
| Name of Submitting Institution: | NASA Ames Research Center | Congressional District: | California #14 |
| Proposal Title: | Development of an Airborne Sun-sky Auto-Pointing Photometer |
| Certification of Compliance with Applicable Executive Orders and US Code By submitting the proposal identified in this Cover Sheet/Proposal Summary in response to this Research Announcement, the Authorizing Official of the proposing institution (or the individual proposer if there is no proposing institution) as identified below: certifies that the statements made in this proposal are true and complete to the best of his/her knowledge; agrees to accept the obligations to comply with NASA award terms and conditions if an award is made as a result of this proposal; and confirms compliance with all provisions, rules, and stipulations set forth in the two Certifications contained in this NRA [namely, (i) Assurance of Compliance with the NASA Regulations Pursuant to Nondiscrimination in Federally Assisted Programs, and (ii) Certifications, Disclosures, And Assurances Regarding Lobbying and Debarment & Suspension]. Willful provision of false information in this proposal and/or its supporting documents, or in reports required under an ensuing award, is a criminal offense (U.S. Code, Title 18, Section 1001). NASA PROCEDURE FOR HANDLING PROPOSALS This proposal shall be used and disclosed for evaluation purposes only, and a copy of this Government notice shall be applied to any reproduction or abstract thereof. Any authorized restrictive notices that the submitter places on this proposal shall also be strictly complied with. Disclosure of this proposal for any reason outside the Government evaluation purposes shall be made only to the extent authorized by the |
| Co-Principal Investigator Names: | Beat Schmid Jens Redemann | Authorized Institutional Official Name: | David L. Peterson |
| Organization: | NASA Ames Research Center | Organization: | NASA Ames Research Center |
| Department: | Bay Area Environmental Research Institute | Department | Earth Science Division |
| Mailing Address: | MS 245-5 | Mailing Address: | MS 245-4 |
| City, State Zip: | Moffett Field, CA 94035-1000 | City, State Zip: | Moffett Field, CA 94035-1000 |
| Telephone Number: | 650 604-5933 | Telephone Number: | 650 604-5899 |
| Fax Number: | 650 604-3625 | Fax Number: | 650 604-3625 |
| Email Address: | bschmid@mail.arc.nasa.gov jredemann@mail.arc.nasa.gov | Email Address: | dpeterson@mail.arc.nasa.gov |
| Co-Principal Investigator Signatures: |  | Authorized Institutional Official Signature: |  |
| Date: |  | Date: |  |

| Co-Investigators: |
| --- |
| Name | Telephone | Email | Institution | Address |
| Philip Russell | 650 604-5404 | prussell@mail.arc.nasa.gov | NASA Ames Research Center | Moffett Field, CA 94035 |
| James Eilers | 650 604-6536 | jeilers@mail.arc.nasa.gov | NASA Ames Research Center | Moffett Field, CA 94035 |
| Brent Holben | 301 614-6658 | brent@aeronet.gsfc.nasa.gov | NASA GSFC | Greenbelt, MD 20771 |
| Oleg Dubovik | 301 614-6624 | dubovik@aeronet.gsfc.nasa.gov | GEST Center/UMBC and NASA GSFC | Greenbelt, MD 20771 |
| Budget: |  |  |  |  |
| Year 1 (June 2003-May 2004): | $294.7k |  |  |
| Year 2 (June 2004-May 2005): | $304.5k |  |  |
| Year 3 (June 2005-May 2006): | $308.9k |  |  |
| Total: | $908.1k |  |  |

TABLE OF CONTENTS

1	ACRONYMS	1

2	ABSTRACT	2

3	BACKGROUND AND RATIONALE	3

4	EXAMPLES OF PREVIOUS RESEARCH RELEVANT TO THIS PROPOSAL	5

4.1	AATS - AERONET comparisons	5

4.2	Satellite Validation with AATS-14 and AERONET	7

4.2.1	MODIS Retrievals in SAFARI 2000.	7

4.2.2	MISR Retrievals in SAFARI 2000.	8

4.2.3	SeaWiFS Retrievals in ACE-Asia.	9

4.3	Aerosol and H2O vertical profiles	10

4.3.1	AATS-14 Profiles for Closure Among Suborbital Measurements	10

4.3.2	AATS-14 Profiles for Tests of Chemical-Transport Models	11

5	PROPOSED RESEARCH	12

5.1	Instrument Design	12

5.2	Scanning Geometry and Wavelength Selection	13

5.3	Calibration	14

5.4	Data Inversion	14

5.4.1	Retrieval of particle volume size distribution	15

5.4.2	Retrieval of aerosol single scattering albedo 0(), or complex refractive index k() and  n()	15

5.4.3	Influence of inhomogeneity and non-sphericity on accuracy of individual retrievals	16

5.4.4	Adaptation of inversion procedure for proposed ASAP instrument	16

5.5	Initial validation of ASAP results	16

5.6	Potential scientific contributions in future field experiments	16

6	REFERENCES	17

7	MANAGEMENT PLAN	20

7.1	Roles of PI’s and Co-I’s	20

8	BUDGET	22

8.1	General Budget	22

8.2	Travel budget	23

9	VITAE	24

10	CURRENT AND PENDING SUPPORT , PI’s (B. Schmid and J. Redemann)	33

11	APPENDIX A: Ames Airborne Tracking Sunphotometer, AATS-14	34

12	APPENDIX B: Ames Airborne Sensor Facility Calibration Laboratory Capabilities	36

# ACRONYMS

| AATS-6 (14) | 6 (14)-channel Ames Airborne Tracking Sunphotometer |
| --- | --- |
| ACE | Aerosol Characterization Experiment |
| ADAM | Asian Dust Above Monterey |
| AERONET | Aerosol Robotic Network |
| AOD | Aerosol Optical Depth |
| ARM | Atmospheric Radiation Measurement |
| ASAP | Airborne Sun-sky Auto-pointing Photometer |
| ATSR | Along Track Scanning Radiometer |
| AVHRR | Advanced Very High Resolution Radiometer |
| CIRPAS | Center for Interdisciplinary Remotely Piloted Aircraft Studies |
| CRD | Cavity Ring-Down |
| CTM | Chemical Transport Model |
| CW | Continuous Wave |
| CWV | Column Water Vapor |
| DOE | Department of Energy |
| EOS | Earth Observing System |
| GMS | Geostationary Meteorological Satellite |
| GOCART | Global Ozone Chemistry Aerosol Radiation Transport |
| GOES | Geostationary Operational Environmental Satellite |
| INDOEX | Indian Ocean Experiment |
| INTEX-NA | Intercontinental Chemical Transport Experiment-North America |
| IOP | Intensive Observation Period |
| MATCH | Model of Atmospheric Transport and CHemistry |
| MISR | Multi-angle Imaging Spectro-Radiometer |
| MODIS | Moderate-resolution Imaging Spectroradiometer |
| NIR | Near Infra-Red |
| ONR | Office of Naval Research |
| PBL | Planetary boundary layer |
| PRIDE | Puerto RIco Dust Experiment |
| SAFARI | Southern African Regional Science Initiative |
| SeaWiFS | Sea-viewing Wide-Field-of-view Sensor |
| SGP | Southern Great Plains |
| SSA | Single Scattering Albedo |
| TARFOX | Tropospheric Aerosol Radiative Forcing Observational Experiment |
| TOMS | Total Ozone Mapping Spectrometer |
| UCAR | University Corporation for Atmospheric Research |

# ABSTRACT

We propose the development of a prototype airborne pointing radiometer to measure spectrally resolved direct solar beam transmission and sky radiances and propose its initial deployment to test its measurement capabilities. At a minimum, the new instrument would contribute to answering two of the five fundamental questions posed by NASA’s Earth Science Enterprise program; namely “What are the primary forcings of the Earth system (Forcing)?” and “How well can we predict future changes in the Earth (Prediction)?”. Such contributions would be in the form of airborne measurements of the spatial variation (both horizontal and vertical) of aerosol optical depth, single scattering albedo, and size distribution. Such measurements could be used to:

- support AURA validation plans by providing comparative measurements for the aerosol data to be collected by the OMI instrument,

- provide input to and/or test aerosol transport/climate models,

- support CALIPSO validation plans by providing comparative measurements of aerosol vertical profiles,

- identify the absorption signature of black carbon aerosol on local scales to support the development of satellite sensor retrieval algorithms (localized aerosol model adjustments),

- assess the vertical distribution of absorbing aerosol to investigate the implications for black carbon lifetime and long-range transport,

- fill in spatial gaps in aerosol observations between existing AERONET station measurements.

By combining the airborne capabilities of the current NASA Ames Airborne Tracking Sunphotometers (AATS) with the expertise on measurement and inversion of sky-radiances within the AERONET group we feel uniquely qualified to develop a new instrument prototype to perform airborne sky-radiance measurements. The observations of such a new instrument would bridge the gap between the current AERONET and AATS observations, thereby giving new insights into the spatial distributions of absorbing aerosols and hence aerosol-climate interactions.

# BACKGROUND AND RATIONALE

A major uncertainty in predicting possible future changes to the Earth system in general, and its climate in particular, stems from the necessary inclusion of atmospheric aerosols in climate models. The current low confidence in the estimates of aerosol–induced perturbations of Earth’s radiation balance is caused by the highly non-uniform compositional, spatial and temporal distribution of tropospheric aerosols owing to their heterogeneous sources and short lifetimes. Because of their short lifetimes, aerosols are most conveniently studied using space-borne sensors [Kaufman et al., 2002; Ramanathan et al., 2002] (e.g., using MODIS on Terra and Aqua, MISR on Terra, OMI on Aura, and CALIPSO). However, to maximize the usefulness of space-based measurements it is mandatory to validate them frequently and continuously.

The AErosol RObotic NETwork (AERONET) (Holben et al., 1998) of ~200 identical globally distributed sun and sky scanning ground-based automated radiometers provides measurements of aerosol optical properties, based on ten years of observations in some locations. These data have the potential to narrow the uncertainty in knowledge of the aerosol optical properties and are therefore used extensively in satellite sensor validation studies. The spectral sky-radiance is measured in a wide angular range from the sun and is minimally affected by surface reflectance (c.f. Dubovik et al., 2000). AERONET imposes instrument, calibration and processing standards that allow quantitative results to be intercomparable between all globally distributed sites throughout the decade long record of observatons (Holben et al., 1998, Holben et al., 2001, Smirnov et al., 2000).  The new AERONET inversion algorithm (Dubovik and King, 2000) provides improved aerosol retrievals by fitting the entire measured field of radiances - sun radiance and the angular distribution of sky radiances - at four wavelengths (0.44, 0.67, 0.87 and 1.02m) to a radiative transfer model. The radiation field is driven by the (wavelength dependent) aerosol complex index of refraction and the particle size distribution (in the size range: 0.05 < r  < 15m) in the total atmospheric column. Using such a general aerosol model in the retrieval algorithm allows us to derive the aerosol properties with minimal assumptions. Only spectral and size smoothness constraints are used, preventing unrealistic oscillations in either parameter (Dubovik and King, 2000). The ground-based measurements of aerosol optical depth carried out by AERONET have been invaluable in providing continuous statistically relevant aerosol observations in support of satellite sensor validations and aerosol characterization. In addition, the inversion of AERONET sky-radiance measurements to retrieve aerosol size and refractive index information has aided in the regional adjustments of MODIS aerosol retrieval algorithms (by providing regionally representative aerosol single scattering albedos) and in the general assessment of aerosol-climate interactions.

The existing NASA Ames Airborne Tracking Sunphotometers (AATS-6 and AATS-14) measure direct solar beam transmission at 6 and 14 wavelengths (380-1021 and 354-2139 nm, respectively), yielding aerosol optical depth (AOD) spectra and column water vapor (CWV). Vertical differentiation of these data in suitable flight patterns yields extinction spectra and water vapor concentration. The deployments of AATS-6 and AATS-14 in the Tropospheric Aerosol Radiative Forcing Observational Experiment  (TARFOX, 1996), the second Aerosol Characterization Experiment (ACE-2, 1997), the Puerto Rico Dust Experiment (PRIDE, 2000), the Southern African Regional Science Initiative (SAFARI-2000), the Asian-Pacific Aerosol Characterization Experiment (ACE-Asia, 2001), and the Chesapeake Lighthouse & Aircraft Measurements for Satellites (CLAMS, 2001) have made significant contributions to the airborne study of atmospheric aerosols (e.g., Russell et al., 1999, Schmid et al., 2000, Livingston et al., 2002, Schmid et al., 2002, Redemann et al., 2002a, b). The AATS instruments’ measurements of aerosol optical depth are used frequently in closure studies to investigate how representative the in situ measurements of aerosol optical properties on various airborne platforms are [Hegg et al., 1997, Hartley et al., 2000, Schmid et al., 2000, Magi et al., 2002]. They have also been used extensively in the validation of satellite sensors aboard the NASA EOS Terra platform, providing important aerosol information used in the revision of retrieval algorithms for the MISR and MODIS sensors [Schmid et al., 2002, Livingston et al., 2002, Levy et al., 2002].

Most recently, the airborne AATS observations have been used to evaluate the performance of aerosol transport models (Chin and Ginoux., 2002, Colarco et al., 2002). Kinne et al. [2002] have presented comparisons of AERONET observations to a number of climate/transport models. The validation of such transport models is considered to be a crucial step in assessing these models’ capabilities in predicting future climate change by treating and representing aerosol/climate interactions properly.

Notable shortcomings of the AATS direct solar beam transmission measurements are the lack of information on aerosol absorption and the infrequent deployment of the instruments. The AERONET observations on the other hand may not provide enough information on aerosols over the oceans and do not assess the vertical distribution of aerosol properties. Therefore, we propose here the development of a prototype Airborne Sun/sky Auto-pointing Photometer (ASAP) which would combine the advantages of increased aerosol information from the AERONET-like sky-radiance measurements with the airborne tracking/pointing capabilities of the AATS instruments. An instrument which emphasizes the strengths of both techniques would be able to bridge an important gap between the two types of measurements. In particular, we anticipate that the measurements of such an instrument could make the following scientific contributions:

- assess the vertical distribution of absorbing aerosol to:

  - support AURA validation plans by providing comparative measurements for the aerosol data to be collected by the OMI instrument,

  - provide input to and/or test aerosol transport/climate models,

  - investigate the implications for black carbon lifetime and long-range transport,

  - support CALIPSO validation plans by providing comparative measurements of aerosol vertical profiles,

- identify the absorption signature of black carbon aerosol on local scales to support the development of satellite sensor retrieval algorithms (localized aerosol model adjustments),

- fill in spatial gaps in aerosol observations between existing AERONET station measurements.

Because there are a large number of instrumental challenges, we propose the development of a prototype. Commensurate with the outcome of the design and feasibility studies during the first year of this study, we anticipate the assembly of the ASAP instrument prototype in the second and third year and a first airborne test deployment towards the end of the third year of this grant.

# EXAMPLES OF PREVIOUS RESEARCH RELEVANT TO THIS PROPOSAL

## AATS - AERONET comparisons

Measurements by the existing NASA Ames Airborne Tracking Sunphotometer AATS-6 have been compared to measurements from ground-based Cimel sunphotometers during two DOE ARM IOP’s, when AATS-6 was operated on the ground to enable side-by-side comparisons of the instruments without concern about spatial homogeneity of the observed quantity. Figure 1 shows an example of a comparison of AATS-6 and Cimel derived CWV (columnar water vapor) and AOD (aerosol optical depth) at 380 and 1020 nm, respectively [cf. Figure 1, panels b) and c)]. These observations were taken during the 1997 ARM IOP at the SGP site in Oklahoma. When using the same line-by-line model along with the same spectroscopic database in deriving CWV from the direct solar beam transmittance measured by AATS-6 and the Cimel instrument, Schmid et al. [2001] were able to show remarkable agreement in the two instruments’ observations. Schmid et al. [1999] further showed that the concurrent measurements of aerosol optical depth in the spectral range of 380 to 1020nm determined from the two instruments agreed to within 0.012 (rms) or better.

Figure 1. Statistical comparison of CWV and AOD at 380 and 1020nm as observed by AATS-6 and a Cimel instrument during the 1997 Fall ARM IOP, Schmid et al. [1999, 2001].

The agreement shown in Figure 1 was achieved with AATS-6 operating on the ground only. However, there have been a number of opportunities to compare with the data of one of the AERONET (Cimel) instruments during fly-bys of AATS-6 or AATS-14.

For instance, Figure 2 shows a comparison of AATS-14 derived aerosol optical depth from the CLAMS experiment in July 2001, when the instrument operated aboard the University of Washington CV-580 aircraft. While the agreement is again very good, the rms-differences are somewhat larger than those in Figure 1. We attribute this to the fact that AOD values observed in CLAMS were generally larger but also to the spatial separation of the aircraft (AATS-14) from the ground-based AERONET instrument. This assumption is supported by the variability estimates shown in Figure 2.

In analogy to Figure 2, Figure 3 shows comparisons of AOD spectra measured by various AERONET instruments and AATS-14 in SAFARI-2000 [Schmid et al., 2002]. Again, AATS-14 was operated aboard the UW CV-580 aircraft.

Figure 2. Statistical comparison of AOD at 380, 500, ~870 and ~1020nm as observed by AATS-14 and the COVE AERONET instrument during fly-by’s of the University of Washington CV-580 aircraft in CLAMS, Redemann et al. [2002a]. Variability estimates represent the range of AODs observed within a distance of 10km (light blue) and 50km (dark blue) from the ground-based instrument.

Figure 3. Comparisons of AOD spectra measured by AATS-14 (during low-level flight segments) and ground-based AERONET instruments in SAFARI-2000, Schmid et al. [2002]. In frames k) and l) the longest two AATS-14 wavelengths are influenced by dirt on the instruments optical window.

## Satellite Validation with AATS-14 and AERONET

During various field experiments, including TARFOX, ACE-2, PRIDE, SAFARI-2000, ACE-Asia, and CLAMS, considerable effort was devoted to coordinating aircraft measurements with satellite overpasses. Among the satellite sensors validated are AVHRR, GMS-5, GOES-8 imager, MISR, MODIS, SeaWiFS, TOMS and ATSR-2. The aircraft measurements include aerosol optical depth spectra measured by an existing Ames Airborne Tracking Sunphotometer (AATS-14 or AATS-6). When measured on transects flown near the land or ocean surface, such optical depth spectra are useful for validating products from the satellite sensors. This section presents a number of such validation efforts with AATS-14 and/or AERONET.

### MODIS Retrievals in SAFARI 2000.

In SAFARI-2000, AATS-14 measured aerosol optical depth spectra aboard the UW CV-580 in the vicinity of Inhaca Island, Mozambique on August 24, 2000. Figure 4 (left) shows the comparison of AATS-14-derived to MODIS-derived aerosol optical thickness [Schmid et al., 2002] as a function of wavelength.

Figure 4. Comparisons of AOD spectra measured by AATS-14 and MODIS-Terra in SAFARI-2000, Schmid et al. [2002].

Also shown in Figure 4 are the concurrent AERONET measurements of AOD. The AATS-14 measurements shown represent the first published validation efforts of MODIS-derived AODs beyond 1.02µm, although efforts to add similar capabilities to existing ground-based radiometers are underway at NASA GSFC. Based on these and similar comparisons involving biomass burning aerosol, the MODIS team adjusted the single scattering albedo in the MODIS inversion algorithm to account for regional and seasonal variations. The new inversion algorithm (labeled “MODIS ver4” in Figure 4, right panel) yields considerably better agreement with AERONET and AATS-14 observations [Chu et al., 2002].

While the agreement between AATS-14 and MODIS AOD (version 4) for this case study is rather good, Figure 4 (left panel) also illustrates the lack of validation of the longest MODIS wavelength channel at 2.13µm. Recently, Dufresne et al. [2001] emphasized the importance of considering scattering of mineral aerosol in the near-IR and IR region for accurate estimates of their radiative forcing. In addition, MODIS bands 5-7 (1.24, 1.64 and 2.13µm) and 26 (1.37µm) are used heavily in retrievals of cloud and land surface properties. Hence, an accurate estimation of aerosol optical depth in this wavelength region would both improve our understanding of aerosol climate forcing and increase our confidence in atmospheric corrections to the MODIS channels used for land and cloud property retrievals. AATS-14 has recently been modified to include a channel at 2.139(m. The instrument will be employed in ADAM (Asian Dust Above Monterey), an experiment to study Asian dust transported across the Pacific Ocean to the US West Coast in April of 2003. Furthermore, AATS-14 will participate in the Oklahoma ARM IOP in May/June of 2003. Both of these experiments are expected to provide important information on the usefulness of the 2.1(m channel in assessing the large particle mode of the aerosol size distribution.

### MISR Retrievals in SAFARI 2000.

During SAFARI-2000, AATS-14 was instrumental in identifying problems in the initial standard MISR retrievals of aerosol optical depth.  Some of these problems were instrumental, while others pertained to the completeness of look-up tables used in the inversion of MISR radiance measurements to aerosol optical depth [Schmid et al., 2002]. As an illustration, the MISR AOD( retrievals shown in Figure 5 come from the “beta” version of the standard retrieval, which is an early post launch, unvalidated version of the algorithm. This retrieval is based on a list of prescribed aerosol mixture models. Each mixture is tested in terms of how well it reproduces the MISR-measured path radiances [Martonchik et al., 1998; Kahn et al., 2001]. Figure 5 shows the comparison of MISR retrieved AOD with AATS-14 during a low altitude pass of the Convair-580 within two adjacent 17.6(17.6 km2 MISR regions off the Namibian Coast on September 11, 2000. In both regions, the “Clean Maritime” mixture (45% sulfate, 40% sea salt and 15% sea salt coarse) leads to good agreement at 558 nm and 672 nm; however, the MISR-derived AOD spectrum is too flat. The “Industrial Maritime” mixture (70% sulfate, 10% sea salt, 20% black carbon) leads to a spectral slope agreeing with AATS-14 but the MISR AOD values are then too high. The MISR algorithm finds a different best-fit mixture in the two adjacent regions, leading to a large change in best-fit AOD whereas AATS-14 indicates very little change in AOD.

This spectral AOD comparison and others analyzed by the MISR team indicate that the “beta” version of the MISR algorithm does not contain enough small particles. It should be noted that while AATS-14 was helpful in identifying a problem with the MISR “beta” version retrievals, there is not sufficient information in the AATS-14 derived AOD spectrum to determine which one of the MISR particle models is likely responsible for the AATS-14 observed AOD spectrum. In other words, AATS-14 is able to provide an AOD spectrum but cannot supply information to validate a specific aerosol model used in the inversion of satellite sensor radiances. An instrument that would provide information on aerosol size and refractive index such as the ASAP instrument proposed here would hence be vastly superior in validating the aerosol models used in the inversion of satellite sensor data.

Figure 5. Comparison of aerosol optical depth spectra in two adjacent MISR pixels off the coast of Namibia, during SAFARI-2000, [Schmid et al., 2002].

### SeaWiFS Retrievals in ACE-Asia.

In the Spring 2001 phase of the Asian Pacific Regional Aerosol Characterization Experiment (ACE-Asia), the 6-channel NASA Ames Airborne Tracking Sunphotometer (AATS-6) operated on 15 of the 19 research flights of the NCAR C-130, while its 14-channel counterpart (AATS-14) flew successfully on all 19 research flights of the CIRPAS Twin Otter. ACE-Asia studied aerosol outflow from the Asian continent to the Pacific basin.  It was designed to integrate suborbital and satellite measurements and models so as to reduce the uncertainty in calculations of the climate forcing due to aerosols. The comparisons of AATS-14 and SeaWiFS analyzed to date (e.g., Figure 6) yield good agreement if the 4-wavelength Hsu et al. (2002) algorithm is used, but disagreement if the standard SeaWiFS algorithm is applied.

Figure 6.  Comparison of spectral aerosol optical depth on April 9 and 14, 2001 between AATS-14 and SeaWiFS, using the new 4-wavelengths algorithm by Hsu et al. (2002).

## Aerosol and H2O vertical profiles

From AATS direct solar beam transmission measurements we derive spectral aerosol optical depths AOD(), columnar water vapor, CWV, and columnar ozone. Flying at different altitudes over a fixed location allows derivation of AOD() or CWV in a given layer. Data obtained in vertical profiles allows derivation of spectral aerosol extinction Ea() (see Figure 7) and water vapor density w.

Figure 7. Example of AOD profiles and derived extinctions at 13 wavelengths from 354 to 1558 nm calculated from AATS-14 measurements acquired during an aircraft ascent south of Korea on 17 April 2001 during ACE-Asia.  The two panels to the right show the analogous procedure of deriving water vapor density from the profile of CWV. A comparison with a standard EdgeTech Chilled Mirror instrument is also shown.

### AATS-14 Profiles for Closure Among Suborbital Measurements

An important class of extinction closure studies addresses the question: "Can in situ measurements of aerosol properties account for the solar beam attenuation (extinction) by an aerosol layer or column?"  Such closure studies have revealed important insights about aerosol sampling and inadvertent modification in previous experiments such as TARFOX (Hegg et al., 1997; Hartley et al., 2000), ACE-2 (Collins et al., 2000; Schmid et al., 2000) and SAFARI 2000 (Magi et al., 2002). Instrumental is the measurement of aerosol optical depth and columnar water vapor with an Ames Airborne Tracking Sunphotometer (AATS-14 or AATS-6), because inlet effects (e.g., loss or enhancement of large particles, shrinkage by evaporation of water, organics, or nitrates) and filter effects are avoided.

Measuring solar beam attenuation by an AATS on the same aircraft as in situ sensors allows a close match in the aerosol layers described by the attenuation and in situ measurements.  Such a match allows the best-defined comparison between attenuation and in situ results. An example from ACE-Asia where the in situ extinction is computed as the sum of scattering (from humidified nephelometry) and absorption (PSAP instrument) is shown in Figure 8. Figure 8 also shows a concurrently measured aerosol extinction profile derived from a ship-based lidar system (e.g., Welton et al., 2001) and values calculated from Mie theory using measured size distributions and size-resolved composition (used to determine the complex refractive indices) (Wang et al., 2002). Column closure studies as presented in Figure 8 can illustrate instrumental deficiencies as well as the strength of the various techniques involved.

Figure 8. Comparison of aerosol extinction derived from AATS-14 measurements, aerosol size distributions, the sum of aerosol scattering (nephelometer) and absorption (PSAP), and lidar measurements on R/V Ron Brown during ACE-Asia for the profile shown in Figure 7.

### AATS-14 Profiles for Tests of Chemical-Transport Models

Comparisons (e.g., Kinne et al., 2002) of chemical-transport models (CTMs) that predict aerosol spatial distributions show that vertical and horizontal distributions often differ markedly from model to model.  Hence, the vertical profiles of AOD and extinction measured by airborne sunphotometers (AATS-6 and -14) can provide a key performance test for such CTMs. A number of such model tests have been presented by Chin et al. [2001] for GOCART and Colarco et al. [2002] for CARMA/MATCH.

Two examples of comparisons between GOCART- and AATS-14-derived aerosol optical depth at 525nm are shown in Figure 9, representing AATS-14 observations from consecutive days in ACE-Asia. From Figure 9, it can be seen at what altitudes the model contributions to the total optical depth match up with the optical depth measured by AATS-14. For instance, the model seems to represent the total AATS-measured AOD at an altitude of 3.5 km for the observations on April 17th (Fig. 9, left panel). However, below 3.5 km the AATS-14 observations for that day indicate increasingly more AOD towards the surface, resulting in a considerable AOD difference of ~0.25 at the lowest point of the profile between model and observation. Conversely, the model and AATS-14 derived AOD at an altitude of 3.5km on April 18th (Fig. 9, right panel) show a disagreement of 0.05. The model’s increase in sulfate concentration towards the surface however drives the total AOD to increase proportionally to the AATS-14 derived AOD. This indicates that the model represents the low-altitude AOD for this day well, and that any disagreement at the surface is due to disagreement above 3.5km. As was the case for the comparisons of AATS-14 and MISR (see section 2.2.2), AATS-14 proves to be a reliable tool to determine aerosol optical depth. However, the lack of information on aerosol microphysical properties in AATS-14 observations will make it difficult to assess which model aerosol constituent may be in error. Again, an airborne Sun-sky-radiance instrument that would provide information on aerosol microphysics such as proposed here could provide a more detailed validation of transport models beyond the already valuable insight into the vertical distribution of AOD as provided by the existing AATS-14.

Figure 9. Comparison of the vertical distribution of aerosol optical depth at 525nm between AATS-14 and GOCART for profiles during two consecutive days in ACE-Asia.

# PROPOSED RESEARCH

## Instrument Design

The mechanical design of the ASAP instrument prototype proposed here will be based on the tracking and pointing methods used by the existing 14-channel NASA Ames Airborne Tracking Sunphotometer (AATS-14). Because AATS-14 and its predecessor AATS-6 have been integrated and flown successfully on currently operational suborbital platforms (e.g., NASA DC-8, NCAR C-130, ONR/NPS CIRPAS Twin-Otter), such an initial design would facilitate a cost-effective test deployment of the new instrument prototype. To reduce design costs further, the prototype ASAP will be based on a partly assembled second unit of AATS-14. During the first year of the grant we propose to carry out a design study that will allow a cost and feasibility assessment for the instrument prototype. The initial technical challenges to overcome include the design of an optics module that will enable the measurement of the direct solar beam intensity and the intensity of sky-radiances as much as 5 orders of magnitude smaller than the direct beam intensity. This is exemplified in Fig. 10 showing a sky scan with an AERONET Cimel instrument in Zambia. While the measurement of light intensity over such a large dynamic range can be achieved with state-of the-art analog signal digitization, the suppression of unwanted straylight when pointing close to the sun presents a challenge. In the AERONET Cimel design, straylight is suppressed using a 33 cm baffled entrance tube (straylight rejection is 10-5 for measurements of the aureole 3° from the sun, Holben et al. 1998). For the proposed instrument we will need to achieve equally efficient stray light suppression with a about half this optical path length to be able to integrate the optics module into the geometric confines of the current AATS-14 instrument dome (see Appendix A, Fig.1).

## Scanning Geometry and Wavelength Selection

The AERONET Cimel CE-318 instruments operate at eight wavelengths. 340, 380, 440, 500, 670, 870, 940, and 1020 nm filters embedded in a filter wheel are standard. Sky radiance measurements are made at 440, 670, 870 and 1020 nm. Two basic sky observation sequences are made, the “almucantar” and “principal plane”. The philosophy is to acquire aureole and sky radiances observations through a large range of scattering angles from the sun and when combined with the direct sun measurements to retrieve aerosol size distribution, aerosol complex refractive index, and aerosol optical depth. An almucantar is a series of measurements taken at the elevation angle of the Sun for specified azimuth angles relative to the position of the sun. In a principal plane scan the azimuth remains fixed at the solar azimuth and measurements are taken at specified elevation angles.

The AATS-14 measures simultaneously at 14 wavelengths between 353 and 2139 nm (see Appendix A, Fig. 2). The number and choice of wavelengths for the proposed ASAP will depend on the design of the optics module. We will try to retain as many AATS-14 wavelengths as possible. In particular, we plan to retain the recently extended spectral range covered with the AATS-14 wavelengths, which is expected to well constrain the inversion within the larger particle size range. We plan to adhere to the basic sky observation sequences, almucantar and principal plane, when taking measurements aboard the aircraft (in addition to the direct beam measurements of course). Due to the aircraft’s movement, however, the sky observations will not fall exactly on the almucantar or principal plane. Information on aircraft attitude (yaw, pitch, and roll) will then be used to compute the scattering angle for each observation. It should be noted that the inversion procedure (see below) does not require the observations to follow any specific geometrical pattern. It merely requires the observations to be carried out over a sufficient range and number of scattering angles, and that the scattering angles be accurately determined.

We will also pursue the option of polarization measurements of the sky at one or two wavelengths. This additional information can help to further constrain the retrievals of aerosol optical properties. Polarization measurements at 870 nm are an option with the Cimel CE-318 instrument (at the cost of two wavelengths, though).

Figure 10. This figure illustrates the spectral and angular variability of the diffuse radiation measured by an AERONET Sun/sky-radiometer at the ground. Measurements were performed for African biomass burning observed in Zambia at different aerosol loadings: AOD at 440 nm ((440)) = ~0.1, ~0.5, ~2.0.

## Calibration

Calibration refers to the determination of the calibration coefficients needed to convert the instrument output (voltages) to a desired output, in this case AOD and radiance (W/m2/sr/m). Calibration for AOD will be achieved using the Langley plot method (e.g. Schmid and Wehrli, 1995) at high altitude sites away from pollution sources. The AATS and AERONET teams routinely use the Mauna Loa Observatory on the Big Island of Hawaii for that purpose. We plan to use the same site for the AOD calibration of the proposed ASAP instrument. The radiance calibration will be achieved using integrating spheres at the Ames Airborne Sensor Facility (see Appendix B). Furthermore we will perform intercomparisons between ASAP and the NASA Goddard AERONET reference instruments at the Goddard rooftop facility.

## Data Inversion

To invert the data obtained with ASAP we will use the inversion procedure used for AERONET (Dubovik and King, 2000) with alterations specifically tailored to the planned airborne instrument (see below). The current AERONET inversion algorithm (see section 1) was developed by Dr. Oleg Dubovik (Co-I of this proposal). The accuracy of individual AERONET retrievals was analyzed by extensive sensitivity simulations (Dubovik et al., 2000), studying the effects of both random measurement errors and systematic instrumental offsets for several aerosol models.

### Retrieval of particle volume size distribution

The retrieval of the particle volume size distribution was demonstrated to be adequate in practically all situations (e.g., AOD (440 nm) ( 0.05), as demonstrated by Dubovik et al. (2000). These studies show that the error of the retrieved volume density dV(r)/dln r changes as a nonlinear function of particle size, aerosol type, and actual values of the size distribution. In particular, for the intermediate particle size range (0.1 ( r ( 7 m), the retrieval errors do not exceed 10% in the maxima of the volume distribution and may increase up to about 35% for the points corresponding to the minimum values of dV(r)/dlnr in this size range. For the edges (0.05 ( r  < 0.1 m and 7 < r ( 15 m) of the assumed particle size interval, the accuracy of the size distribution retrieval drops significantly, because of the low sensitivity of the aerosol scattering at 440, 670, 870 and 1020 nm to particles of these sizes. Correspondingly, the retrieval errors rise up to 80-100 % (and even higher) for the sizes less than 0.1 m and higher than 7 m.  The high errors at the edges do not significantly affect the derivation of the main features of the particle size distribution (concentration, median and effective radii, etc.), because typically the aerosol particle size distributions (dV(r)/dlnr) have low values at the edges of retrieval size interval.

The proposed ASAP instrument is expected to cover a significantly broader spectral region than the AERONET/Cimel on which these simulations were based. ASAP measurements at 1240, 1558 and 2139 nm (even if performed on the direct solar beam only as currently done with AATS-14) will better constrain the inversion of larger particle sizes and thus lead to smaller retrieval errors.

### Retrieval of aerosol single scattering albedo 0(), or complex refractive index k() and  n()

The analysis of Dubovik et al., (2000) showed that an accurate 0() retrieval (with accuracy to the level of 0.03) and complex index of refraction (errors on the order of 30-50 % for the imaginary part of the refractive index and 0.04 for the real part of the refractive index) can be retrieved only for high aerosol loading (AOD (440 nm) ( 0.5) and for solar zenith angle > 50° (i.e., the range of scattering angles in measured solar almucantar > 100°).  For observations with lower aerosol loading, the retrieval accuracy of 0(), k() and  n() significantly decreases because of a decrease of the information content. Indeed, the calibration accuracy becomes an obstacle because it causes an error in measuring AOD (AOD =0.01) that is on the order of at least of 5-10 % of the optical thickness forAOD (440 nm) ( 0.2, and it is comparable with the absorption partition in the total optical thickness.  Correspondingly, the retrieval of 0( ) and k( ) becomes difficult, as well as n(), because scattering effects of n( )  and k( ) are not completely independent. Thus, our studies (Dubovik et al., 2000) have shown that for AOD (440 nm) ( 0.2, the accuracy levels drop down to 0.05-0.07 for 0( ), to 80-100% for the imaginary part of the refractive index, and to 0.05 for the real part of the refractive index.

The proposed airborne instrument will have the advantage of carrying out a differential measurement (i.e. measurements at the bottom and above a haze layer) which cancels systematic errors in the AOD or radiance calibration and thus should lead to improved retrievals.

### Influence of inhomogeneity and non-sphericity on accuracy of individual retrievals

The aerosol particles in the retrieval are assumed to be polydispersed homogeneous spheres. Dubovik et al. (2000) showed how such assumptions bias the retrievals in the case of nonspherical aerosols or externally/internally mixed spheres. In order to address the problems of desert dust non-sphericity the AERONET processing of non-spherical desert dust has recently been improved by utilizing a model of randomly oriented spheroids (as described by Dubovik et al., [2002]). The results of the spheroid based retrievals show significant improvements for desert dust aerosol.

### Adaptation of inversion procedure for proposed ASAP instrument

In modeling the radiative transfer we need to address the fact that the measurements are taken at some distance from the ground, i.e. we will need to account for the effect of aerosol from under the plane and the effects of the surface.

We will need to adjust the smoothness constraints with new parameters based on levels of accuracy in the measurements, number of spectral channels, and spectral positions. The change in number of spectral channels and spectral positions will also require changes in accounting for gaseous absorption and molecular scattering.

## Initial validation of ASAP results

We expect initial validation of ASAP results from ground-based operation collocated with AATS-14 (for AOD) and AERONET instruments (for AOD, dV(r)/dlnr, and 0()).

## Potential scientific contributions in future field experiments

Given a successful design and integration of the optics and electronics modules into the mechanical design of AATS-14 in the second and third year of the grant, we intend to test-fly the instrument prototype towards the end of the third year of our study. The most cost-effective platforms for a test deployment would be the platforms that AATS-14 has previously flown on (see above). However, given adequate resources for instrument integration, any of the ESE suborbital platforms identified in Appendix F of the NRA could be considered, with preference for those that enable extensive low-altitude flight legs.

For the continued validation of the prototype ASAP we will need to fly low over several AERONET sites to see if the measurements compare well to the ground-based data under several conditions, such as urban industrial aerosol, mineral dust as well as near background conditions. The validation can then be enhanced by flying vertical profiles over combined AERONET and MPLNet (lidar) sites. Aerosol absorption derived from ASAP in profiles can also be compared with absorption derived from filter based in-situ methods (PSAP, aethalometers [Bond et al., 1999]), in-situ photoaccoustic methods [Arnott et al., 1999], in-situ cavity ring down methods [Strawa et al., 2002] or from flux divergence [Bergstrom et al., 2002].

The proposed ASAP instrument will be extremely powerful for column closure experiments and assessment of radiative forcing during field campaigns. The strength of the ASAP is that it will allow extending the temporally continuous point observations of AERONET and MPLNet to a larger geographical area. ASAP will be able to measure aerosol optical properties spectrally, vertically, and horizontally resolved. Among the possibilities for an initial deployment are validation studies for the space-borne lidar systems GLAS and CALIPSO, both of which will emphasize the importance of validating vertical aerosol distributions.  In addition, we anticipate that ASAP would be an important asset in experiments to study aerosols produced by biomass burning and other sources in Southeast and East Asia [e.g., the Asian Brown Cloud (ABC) and the Biomass Aerosol and Smoke Experiment (BASE-Asia)], as called for in section (v) of the detailed NACIP implementation plan [Ramanathan et al., 2002]. Under NACIP, field campaigns will be designed to “quantify the links between aerosols and the hydrologic cycle, to relate the aerosol forcing to aerosol types and their regional emission sources; and to the improvement of aerosol treatment in climate models” [Ramanathan et al., 2002], and we expect detailed observations using the ASAP instrument to contribute to every one of these objectives.

# REFERENCES

Arnott W. P., H. Moosmüller, C. F. Rogers, T. Jin, R. Bruch. Photoacoustic spectrometer for measuring light absorption by aerosols: Instrument description. Atmospheric Environment, 33, 2845-2852, 1999.

Bergstrom, R.W., P. Pilewskie, B. Schmid, and P.B. Russell, Comparison of Measured and Predicted Aerosol Radiative Effects during SAFARI 2000, J. Geophys. Res., in press, 2002.

Bond T.C., T.L. Anderson, and D. Campbell, Calibration and Intercomparison of Filter-Based Measurements of Visible Light Absorption by Aerosols. Aerosol Science and Technology, 30, 582-600, 1999.

Chin, M., and P. Ginoux, Intercontinental Transport of Aerosols: Impact of Regional Sources on Global Climate in the Context of ACE-Asia, Program and Abstracts - Joint International Symposium on Atmospheric Chemistry within the Earth System, pp. 166, Heraklion, Greece, Sept. 2002.

Chin, M., P. Ginoux, P. Flatau, T. Anderson, S. Masonis, P. Russell, B, Schmid, J. Livingston, J. Redemann, R. Kahn, O. Torres, and C. Hsu, Transport of aerosols from Asia and their radiative effects over the Western Pacific: A 3-D model study for ACE-Asia Experiment during Spring 2001, EOS Trans. AGU, 82 (47), Fall Meet. Suppl., Abstract A32D-06, 2001.

Chu, D.A., L.A. Remer, Y. J. Kaufmann, C. Ichoku. Validation of Version-4 MODIS aerosol optical depth retrievals in SAFARI region, SAFARI-2000 Synthesis Workshop, Charlottesville, VA USA, Oct. 6-11, 2002.

Colarco, P. R., O. B. Toon, J. S. Reid, J. M. Livingston, P. B. Russell, J. R. Redemann, B. Schmid, H. B. Maring, D. Savoie, J. Welton, J. R. Campbell, B. N. Holben, and R. Levy, Saharan dust transport to the Caribbean during PRIDE: Part 2. Transport, vertical profiles, and deposition in simulations of in situ and remote sensing observations, J. Geophys. Res., submitted 2002.

Collins, D. R., Jonsson, H. H., Seinfeld, J. H., Flagan, R. C., Gassó, S., Hegg, D., Russell, P. B., Livingston, J. M., Schmid, B., Öström, E., Noone, K. J., and Russell, L. M.  In situ aerosol size distributions and clear column radiative closure during ACE 2. Tellus B 52, 498-525, 2000.

Dubovik, O., B. N. Holben, T. Lapyonok, A. Sinyuk, M. I. Mishchenko, P. Yang and I. Slutsker, Non-spherical aerosol retrieval method employing light scattering by spheroids, Geophys. Res. Lett., 10.1029/2001GL014506, 24 May 2002.

Dubovik, O., A. Smirnov, B. N. Holben, M. D. King, Y. J. Kaufman, T. F. Eck and I. Slutsker, 2000: Accuracy assessment of aerosol optical properties retrieval from AERONET sun and sky radiance measurements. J. Geophys. Res., 105, 9791-9806.

Dubovik, O., and M. D. King, 2000: A flexible inversion algorithm for retrieval of aerosol optical properties from Sun and sky radiance measurements. J. Geophys. Res., 105, 20673-20696.

Dufresne, J.-L., Gautier, C., Ricchiazzi, P., Importance and Parameterization of Longwave Radiative Scattering by Mineral Aerosols, presented at the Fall AGU Meeting, 2001.

Hartley, W. S., P. V. Hobbs, J. L. Ross, P. B. Russell and J. M. Livingston, Properties of aerosols aloft relevant to direct radiative forcing off the mid-Atlantic coast of the United States, J. Geophys. Res. 105, 9859-9886, 2000.

Hegg, D. A., J. Livingston, P. V. Hobbs, T. Novakov, and P. B. Russell, Chemical apportionment of aerosol column optical depth off the Mid-Atlantic coast of the United States, J. Geophys. Res, 102, 25,293-25,303, 1997.

Holben, B. N., T. F. Eck, I. Slutsker, D. Tanré, J. P. Buis, A. Setzer, E. Vermote, J. A. Reagan, Y. J. Kaufman, T. Nakajima, F. Lavenu, I. Jankowiak and A. Smirnov, AERONET-A federated instrument network and data archive for aerosol characterization. Remote Sens. Environ., 66, 1-16, 1998.

Holben, B.N., D. Tanré, A. Smirnov, T.F. Eck, I. Slutsker, B Chatenet, F. Lavenue,Y. Kaufman, J.V. Castle, A. Setzer, B.Markham, D. Clark, R. Frouin, N A. Karneli. O'Neill, C. Pietras, R. Pinker, K. Voss, G. Zibordi, An emerging ground-based aerosol climatology:  Aerosol Optical Depth from AERONET, J. Geophys. Res, 106, 12067-12097, 2001.

Hsu, N. C., Tsay, S, Herman, J Holben, B, Comparisons of satellite retrieval of aerosol properties from SeaWiFS and TOMS to the AERONET measurements, EOS Trans. AGU, 82 (47), Spring Meet. Suppl., Abstract A51B-03, 2002.

Kahn, R., P. Banerjee, and D. McDonald, The sensitivity of multiangle imaging to natural mixtures of aerosols over ocean, J. Geophys. Res., 106, 18,219-18,238, 2001.

Kaufman, Y., D. Tanre, and O. Boucher, A satellite view of aerosols in the climate system, Nature, 419, 215-223, 2002.

Kinne, S., et al., Monthly Averages of Aerosol Properties: a Global comparison among models, satellite data and AERONET ground data, Program and Abstracts - Joint International Symposium on Atmospheric Chemistry within the Earth System, pp. 16, Heraklion, Greece, Sept. 2002.

Levy, R. C. L. Remer, D. Tanré, Y. Kaufman, C. Ichoku, B. Holben, J. Livingston, P. Russell, H. Maring, Evaluation of the MODIS retrievals of dust aerosol over the ocean during PRIDE, J. Geophys. Res., submitted, 2002.

Livingston J. M., P. B. Russell, J. S. Reid, J. Redemann, B. Schmid, D. A. Allen, O. Torres, R. C. Levy, L. A. Remer, B. N. Holben, A. Smirnov, O. Dubovik, E. J. Welton, J. Campbell, S. A. Christopher, J. Wang, Airborne sunphotometer measurements of aerosol optical depth and columnar water vapor during the Puerto Rico Dust Experiment, and comparison with land, aircraft, and satellite measurements, J. Geophys. Res., in press, 2002.

Magi, B. I., P. V. Hobbs, B. Schmid, and J. Redemann, Vertical profiles of light scattering, light absorption and single scattering albedo during the dry, biomass burning season in southern Africa and comparisons of in situ and remote sensing measurements of aerosol optical depths, J. Geophys. Res., in press, 2002.

Martonchik, J. V., D. J. Diner, R. Kahn, T. P. Ackerman, M. M. Verstraete, B. Pinty, and H. R. Gordon, Techniques for the retrieval of aerosol properties over land and ocean using multiangle imaging. IEEE Trans. Geosci. Rem. Sens., 36, 1212-1227, 1998.

Ramanathan, V., T. S. Bates, J. E. Hansen, D. J. Jacob, Y. J. Kaufman, J. E. Penner, M. J. Prather, S. E. Schwartz, and J. H. Seinfeld, National Aerosol-Climate Interactions Program (NACIP), A National Research Imperative, White Paper, http://www-NACIP/ucsd.edu, 2002.

Redemann, J., Schmid, B., Livingston, J. M.,  Russell, P. B.,  Eilers, J. A., Hobbs, P. V., Kahn, R. , Smith, W. L., Holben, B. N., Rutledge, C. K., Pitts, M. C., Mishchenko, M. I., Chowdhary, J. , Martins, J. V., Plana-Fattori, A., Charlock, T. P., Combining Suborbital Measurements of Aerosol Optical Depth and Columnar Water Vapor for Satellite Sensor Validations in the CLAMS (Chesapeake Lighthouse and Aircraft Measurements for Satellites) Experiment, 2001, EOS Transactions, Vol.83, no. 19, pp.S22-23, 2002a.

Redemann, J., B. Schmid, J. M. Livingston, P. B. Russell, et al., Airborne Sunphotometer Measurements of Aerosol Optical Depth and Water Vapor in ACE-Asia and their Comparisons to Correlative Measurements and Calculations, Abstracts, 11th Conference on Atmospheric Radiation, American Meteorological Society, Ogden, UT, June 3-7, pp. 35, 2002b.

Russell, P. B., J. M. Livingston, P. Hignett, S. Kinne, J. Wong, and P. V. Hobbs, Aerosol-induced radiative flux changes off the United States Mid-Atlantic coast:  Comparison of values calculated from sunphotometer and in situ data with those measured by airborne pyranometer, J. Geophys. Res., 104, 2289-2307, 1999.

Schmid, B., and C. Wehrli, Comparison of Sun Photometer Calibration by Langley Technique and Standard Lamp. Appl. Opt., 34(21), 4500-4512, 1995.

Schmid, B., J. J. Michalsky, R. N. Halthore, M. C. Beauharnois, L. C. Harrison, J. M. Livingston, P. B. Russell, B. Holben, T. Eck, and A. Smirnov, Comparison of aerosol optical depth from four solar radiometers during the Fall 1997 ARM Intensive Observation Period, Geophys. Res. Lett., 17, 2725-2728, 1999.

Schmid, B., J. M. Livingston, P. B. Russell, P. A. Durkee, H. H. Jonsson, D. R. Collins, R. C. Flagan, J. H. Seinfeld, S. Gassó, D. A. Hegg, E. Öström, K. J. Noone, E. J. Welton, K. J. Voss, H. R. Gordon, P. Formenti, and M. O. Andreae, Clear sky closure studies of lower tropospheric aerosol and water vapor during ACE 2 using airborne sunphotometer, airborne in-situ, space-borne, and ground-based measurements, Tellus, B 52, 568-593, 2000.

Schmid B., J.J. Michalsky, D.W. Slater, J.C. Barnard, R.N. Halthore, J.C. Liljegren, B.N. Holben, T.F. Eck, J.M. Livingston, P.B. Russell, T. Ingold, and I. Slutsker. Comparison of columnar water-vapor measurements from solar transmittance methods. Applied Optics, Vol. 40, No. 12, 1886-1896, 2001.

Schmid B., J. Redemann, P. B. Russell, P. V. Hobbs, D. L. Hlavka, M. J. McGill, B. N. Holben, E. J. Welton, J. Campbell, O. Torres, R. A. Kahn, D. J. Diner, M. C. Helmlinger, D. A. Chu, C. Robles Gonzalez, and G. de Leeuw, Coordinated airborne, spaceborne, and ground-based measurements of massive, thick aerosol layers during the dry season in Southern Africa, J. Geophys. Res., in press, 2002.

Smirnov A., B. N. Holben, T. F. Eck, O. Dubovik and I. Slutsker, 2000: Cloud screening and quality control algorithms for the AERONET data base. Remote Sens. Environ. , 73, 73,337-73349.

Strawa A.W., R. Castaneda, T. Owano, D. S. Baer, and B. A. Paldus, The measurement of aerosol optical properties using continuous wave cavity ring-down techniques, in press J. Atmos. Oceanic. Tech., 2002.

Wang J., R. C. Flagan, J. H. Seinfeld, H. H. Jonsson, D. R. Collins, P. B. Russell, B. Schmid, J. Redemann, J. M. Livingston, S .Gao, D. A. Hegg, E. J. Welton, and D. Bates. Clear-column radiative closure during ACE-Asia: Comparison of multiwavelength extinction derived from particle size and composition with results from sunphotometry, J. Geophys. Res., in press, 2002.

Welton, E. J., J. R. Campbell, J. D. Spinhirne, and V. S. Scott, "Global monitoring of clouds and aerosols using a network of micro-pulse lidar systems ", in Lidar Remote Sensing for Industry and Environmental Monitoring, U. N. Singh, T. Itabe, N. Sugimoto, (eds.), Proc. SPIE, 4153, 151-158, 2001.

# MANAGEMENT PLAN

## Roles of PI’s and Co-I’s

Drs. Beat Schmid and Jens Redemann will be Co-Principal Investigators. As such, they will be responsible for the overall scientific direction, project management, administration, and communications with NASA HQ. They will bw responsible for completing the work on time and within budget.

Dr. Schmid has 10 years of experience in ground-based and airborne sun photometry including instrument design and calibration, development and validation of algorithms to retrieve aerosol optical depth and size distribution, H2O and O3. He has participated in numerous deployments of the Ames Airborne sunphotometers. He has experience in scientific project management and administration.

Dr. Redemann has been a member of the AATS team since 1999. He has participated in several deployments of the Ames Airborne sunphotometers. Most recently he was the Principal Investigator for the participation of AATS-14 in the CLAMS satellite validation study (July 2001). A junior programmer will work under Drs. Redemann and Schmid’s guidance.

Dr. Philip Russell (Co-Investigator) will assist the PI’s in overall scientific direction, project management, administration, and communications with NASA HQ. Dr. Russell has led the development of two NASA Ames airborne sunphotometers (AATS-6 flew first in 1985 and AATS-14 flew first in 1996).

Mr. James Eilers (Co-Investigator) will be the lead engineer for the development of the proposed ASAP instrument. He will be supported by a Lab Technician and by Ames Airborne Sensor Facility personnel (see below). James Eilers was the project manager and lead engineer for the AATS-14 Sunphotometer Rework Project. He is currently responsible for AATS-6 and –14 maintenance and upgrades and the technical aspects of instrument deployments (e.g., aircraft integration).

The Ames Airborne Sensor Facility (ASF) will offer support in the areas of instrument calibration, electro-optic design consultation, and hardware fabrication, as needed.  The ASF maintains an optical calibration laboratory specifically designed to support airborne spectro-radiometers.  It includes primary and secondary radiometric sources, and various spectral measurement devices (see appendix B). The laboratory is under the technical supervision of the NASA EOS Calibration Scientist at GSFC, and is a regular participant in “round-robin” exercises with NIST and other national facilities.  This laboratory is well suited to characterize stray-light and polarization effects, as well as to establish fundamental system response. The ASF also has extensive experience with the design and implementation of optical and electronic systems for the NASA airborne science program, including the MODIS and ASTER Airborne Simulators flown on the ER-2 and DC-8 aircraft.  Their experience with state-of-the-art analog signal digitization and data-capture systems on these infrared systems should prove valuable to this project.   In addition, ASF engineers have many years of collective experience in maintaining well-calibrated systems in the problematic airborne environment.  Other assets will be used as needed, including packaging design and precision machining services.

Dr. Brent Holben (Co-Investigator) will assist the PI’s in overall scientific direction. He is the Principal Investigator of the AERONET global network of Sun/sky photometers.

Dr. Oleg Dubovik (Co-Investigator) developed the current AERONET inversion algorithm. He will be responsible for the adaptation of the inversion code to retrieve physical quantities from the data expected from the proposed ASAP. He will also support the project with simulation studies during the design phase. A senior programmer will work under Dr. Dubovik’s guidance.

NASA Ames and Goddard will furnish additional personnel necessary to accomplish the research.

A yearly breakdown of tasks is presented below:

| Year 1 | June 2003 – May 2004 | Adapt instrument software to perform sky scans with AATS-14. Same software will be used for ASAP. Tests of entrance optics of AATS-14 instrument. Based on the results, design for improved straylight rejection (baffling, lenses etc.) for ASAP. Identify and order state-of-the-art analog signal digitization. Identify and order parts to complete AATS-14 second unit (excl. optics module) which will be basis for ASAP. |
| --- | --- | --- |
| Year 2 | June 2004 – May 2005 | Assembly of prototype ASAP. Tests at Ames to compare direct beam measurements with AATS-14. Start adaptation of inversion code. |
| Year 3 | June 2005 – May 2006 | Make modifications to prototype ASAP if needed. Calibration at Mauna Loa and ASF. Measurements at Ames and Goddard near AERONET and AATS-14 instruments. Compare results of inversion from AERONET and prototype ASAP. Test flight prototype ASAP on CIRPAS Twin Otter (aircraft integration is trivial because it is identical to AATS-14). Analyze results. Present preliminary results at scientific meeting. |

# BUDGET

## General Budget

## Travel budget

# VITAE

- Beat Schmid

Abbreviated Curriculum Vitae

Bay Area Environmental Research Institute

NASA Ames Research Center, MS 245-5

Moffett Field, CA 94035-1000

(650) 604 5933

bschmid@mail.arc.nasa.gov

Education

| M.S. | 1991 | Institute of Applied Physics, University of Bern, Switzerland |
| --- | --- | --- |
| Ph.D. | 1995 | Institute of Applied Physics, University of Bern, Switzerland |
| Postdoctoral Fellowship | 1995-97 | Institute of Applied Physics, University of Bern, Switzerland |

Professional Experience

Bay Area Environmental Research Institute, Sonoma, CA (1997-Present)

Senior Research Scientist, Principal Investigator

University of Arizona, Tucson, AZ (Oct. 1995 -Jan. 1996)

Visiting Scientist

University of Bern, Switzerland (1989-1997)

Research Assistant (1989-1995)

Postdoctoral Researcher (1995-1997)

Scientific Contributions

- Conducted 10 years of leading studies in ground-based and airborne sun photometry: instrument design and calibration, development and validation of algorithms to retrieve aerosol optical depth and size distribution, H2O and O3.

- Participated with the NASA Ames Airborne Sun photometers in ACE-2 (North Atlantic Regional Aerosol Characterization Experiment, 1997, Tenerife). Extensive comparison of results (closure studies) with other techniques: lidar, optical particle counters, nephelometers, and satellites.

- Employed NASA Ames Airborne Sun photometers in the US Dept. of Energy, Atmospheric Radiation Measurement (ARM) program integrated fall 1997 and fall 2000 intensive observation periods in Oklahoma. Led sun photometer intercomparison. Extensive comparison of water vapor results with radiosondes, microwave radiometers, lidar, and Global Positioning System.

- Operated NASA Ames Airborne Sun photometers in SAFARI 2000 (Southern African Regional Science Initiative; August/September 2000). Validation of lidar and satellite retrievals.

- Participated with the NASA Ames Airborne Sun photometers in ACE-Asia (Asian Pacific Regional Aerosol Characterization Experiment; April 2001). Closure studies, satellite and lidar validation.

- Operated the NASA Ames Cavity Ringdown instrument in Reno Aerosol Optics Study (June, 2002). Comparison of aerosol extinction, scattering and absorption from various methods (cavitiy ring down, photo-acoustic, nephelometer, filter based)

- Led planning of DOE ARM May 03 Aerosol Intensive Observation Period. Developed a proposed airborne payload based on the CIRPAS Twin Otter aircraft.

- Evaluated candidate methods for SAGE III satellite ozone/aerosol separation using airborne sunphotometer data.

- Applied NOAA/AVHRR satellite data to monitor vegetation growth in Switzerland

Scientific Societies/Editorships

- Associate Editor, Journal Geophysical Research (2002-  )

- Member, American Geophysical Union and American Meteorological Society

Bibliography (selection is appended)

- 28 peer-reviewed journal articles (8 first-authored and 20 co-authored)

- 95 (23 first-authored and 72 co-authored) conference publications

- 13 invited talks at conferences, workshops and seminars

Grants

Principal Investigator, DOE ARM Science Team.

Principal Investigator on two Cooperative Agreements between Bay Area Environmental Research Institute and NASA Ames Research Center since 2000. Responsible for research and financial administration of 3.5 fulltime scientists.

Co-PI and Co-I on numerous research grants funded by NASA, NOAA, Office of Naval Research (ONR) and National Science Foundation (NSF).

Selected Publications (from 28 published or in press)

Schmid B., et al., Coordinated airborne, spaceborne, and ground-based measurements of massive, thick aerosol layers during the dry season in Southern Africa, J. Geophys. Res., in press, 2002.

Livingston, J. M., et al., incl, B. Schmid, Airborne sunphotometer measurements of aerosol optical depth and columnar water vapor during the Puerto Rico Dust Experiment, and comparison with land, aircraft, and satellite measurements, J. Geophys. Res., in press, 2002.

Wang, J., et al., incl, B. Schmid, Clear-column radiative closure during ACE-Asia: Comparison of multiwavelength extinction derived from particle size and composition with results from sunphotometry, J. Geophys. Res., in press, 2002.

Pilewskie, P., et al., incl, B. Schmid, Solar Spectral Radiative Forcing During the South African Regional Science Initiative, J. Geophys. Res., in press, 2002.

Schmid B., et al., Comparison of columnar water-vapor measurements from solar transmittance methods. Applied Optics, Vol. 40, No. 12, 1886-1896, 2001.

Schmid, B., et al., Clear sky closure studies of lower tropospheric aerosol and water vapor during ACE 2 using airborne sunphotometer, airborne in-situ, space-borne, and ground-based measurements, Tellus, B 52, 568-593, 2000.

Schmid B., et al., Comparison of Aerosol Optical Depth from Four Solar Radiometers During the Fall 1997 ARM Intensive Observation Period, Geophys. Res. Lett., 26(17), 2725-2728, 1999.

Schmid, B., P. R. Spyak, S. F. Biggar, C. Wehrli, J. Sekler, T. Ingold, C. Mätzler, and N. Kämpfer, Evaluation of the applicability of solar and lamp radiometric calibrations of a precision Sun photometer operating between 300 and 1025 nm. Appl. Opt., 37(18), 3923-3941, 1998.

Schmid, B., C. Mätzler, A. Heimo, and N. Kämpfer, Retrieval of Optical Depth and Size Distribution of Tropospheric and Stratospheric Aerosols by Means of Sun Photometry. IEEE Geosci. Remote. Sens., 35(1), 172-182, 1997.

Schmid, B., K. J. Thome, P. Demoulin, R. Peter, C. Mätzler, and J. Sekler, Comparison of Modeled and Empirical Approaches for Retrieving Columnar Water Vapor from Solar Transmittance Measurements in the 0.94 Micron Region. J. Geophys. Res., 101(D5), 9345-9358, 1996.

Schmid, B., and C. Wehrli, Comparison of Sun Photometer Calibration by Langley Technique and Standard Lamp. Appl. Opt., 34(21), 4500-4512, 1995.

- Jens Redemann

Abbreviated Curriculum Vitae

Bay Area Environmental Research Institute, 560 Third Street West, Sonoma, CA 95476

PROFESSIONAL EXPERIENCE

| Senior Research Scientist | BAERI, Sonoma, CA | April 1999 to present |
| --- | --- | --- |
| Research Assistant | UCLA, CA | May 1995 to March 1999 |
| Lecturer | UCLA, CA | Jan. 1999 to present |
| Research Assistant | FU Berlin, Germany | June 1994 to April 1995 |

EDUCATION

| Ph.D. in Atmospheric Sciences, UCLA. | 1999 |
| --- | --- |
| M.S. in Atmospheric Sciences, UCLA. | 1997 |
| M.S. in Physics, FU Berlin, Germany. | 1995 |

RELEVANT RESEARCH EXPERIENCE

- NASA New Investigator Program, Principal Investigator, 2002-2005.

- Principal Investigator for the participation of AATS-14 (a narrow-band radiometer) in the CLAMS satellite validation study (July 2001). Responsible for proposal writing and experiment design, instrument integration, as well as scheduling and supervision of three group members.

- Developed a coupled aerosol microphysics and chemistry model to study the dependence of the aerosol single scattering albedo on ambient relative humidity.

- Related airborne measurements using a sunphotometer, a lidar (light detection and ranging) system and a spectral solar flux radiometer to in situ measurements of atmospheric (mineral dust) aerosols and gases and modeled the local radiative transfer in Earth’s atmosphere.

- Participated in the SAFARI-2000, ACE-Asia, PRIDE and CLAMS field experiments aimed at investigating atmospheric aerosols. Member of CLAMS (Chesapeake Lighthouse Aerosol Measurements for Satellites) science team.

- Utilized satellite derived aerosol optical depth fields and aerosol properties from the ACE-Asia campaign to determine the aerosol radiative forcing of climate in the Pacific Basin troposphere.

HONORS / ORGANIZATIONS

| Invited Presentation at the 5th International APEX workshop, Miyazaki, Japan. | July 2002 |
| --- | --- |
| Invited Presentation at the Atmospheric Chemistry Colloquium for Emerging Senior Scientists (ACCESS V). | 1999 |
| Outstanding Student Paper Award, AGU Fall meeting. | 1998 |
| NASA Global Change Research Fellowship Awards. | 1995-1998 |
| UCLA Neiburger Award for excellence in teaching of the atmospheric sciences. | 1997 |

SUMMARY OF BIBLIOGRAPHY

12 peer-reviewed (6 first-authored) journal articles.

34 (23 first-authored) conference presentations.

BIBLIOGRAPHY (Selection)

Russell, P.B., J. Redemann, et al., Comparison of aerosol single scattering albedos derived by diverse techniques in two North Atlantic experiments, J. Atmos. Sci., 59, 609-619, 2002.

Redemann, J., P.B. Russell, and P. Hamill, Dependence of aerosol light absorption and single scattering albedo on ambient relative humidity for sulfate aerosols with black carbon cores,  J. Geophys. Res., 106, 27,485-27,495, 2001.

Redemann, J., et al., Retrieving the vertical structure of the effective aerosol complex index of refraction from a combination of aerosol in situ and remote sensing measurements during TARFOX, J. Geophys. Res. , 105, 9949-9970, 2000.

Redemann, J., et al., Case studies of the vertical structure of the direct shortwave aerosol radiative forcing during TARFOX, J. Geophys. Res., 105, 9971-9979, 2000.

Redemann, J., R.P. Turco, R.F. Pueschel, M.A. Fenn, E.V. Browell and W.B. Grant. A Multi-Instrument Approach for Characterizing the Vertical Structure of Aerosol Properties: Case Studies in the Pacific Basin Troposphere, J. Geophys. Res., 103, 23,287 - 23,298, 1998.

- Philip B. Russell

Abbreviated Curriculum Vitae

B.A., Physics, Wesleyan University (1965, Magna cum Laude; Highest Honors).  M.S. and Ph.D., Physics, Stanford University (1967 and 1971, Atomic Energy Commission Fellow).  M.S., Management, Stanford University (1990, NASA Sloan Fellow).

Postdoctoral Appointee, National Center for Atmospheric Research (1971-72, at University of Chicago and NCAR).  Physicist to Senior Physicist, Atmospheric Science Center, SRI International (1972-82).  Chief, Atmospheric Experiments Branch (1982-89), Acting Chief, Earth System Science Division (1988-89), Chief, Atmospheric Chemistry and Dynamics Branch (1989-95), Research Scientist (1995-present), NASA Ames Research Center.

NASA Ames Honor Award (2002, for excellence in scientific research). NASA Ames Associate Fellow (1995, for excellence in atmospheric science). NASA Space Act Award (1989, for invention of Airborne Autotracking Sunphotometer). NASA Exceptional Service Medal (1988, for managing Stratosphere-Troposphere Exchange Project). Member, Phi Beta Kappa and Sigma Xi.

Currently, Member, Science Teams for NASA’s Earth Observing System Inter-Disciplinary Science (EOS-IDS) and the Asian Pacific Regional Aerosol Characterization Experiment (ACE-Asia) of the International Global Atmospheric Chemistry (IGAC) Project.

Previously, Mission Scientist for ACE-Asia C-130 flights addressing aerosol-radiation interactions.  Co-coordinator for the CLEARCOLUMN component of IGAC’s Second Aerosol Characterization Experiment (ACE-2). Coordinator for IGAC’s Tropospheric Aerosol Radiative Forcing Observational Experiment (TARFOX). Member, Science Teams for SAGE II and SAGE III (satellite sensors of stratospheric aerosols, ozone, nitrogen dioxide, and water vapor). Member, Science Team for Global Aerosol Climatology Project (GACP).

Previously, Editor-in-Chief (1994-95) and Editor (1993, 1996), Geophysical Research Letters. Chair, American Meteorological Society Committee on Laser Atmospheric Studies (1979-82). Member, AMS Committee on Radiation Energy (1979-81). Member, National Research Council Committee on Army Basic Research (1979-81).

Previously, Project Scientist, Small High-Altitude Science Aircraft (SHASA) Project to develop the Perseus A Remotely Piloted Aircraft (RPA, 1992-94). Member, NASA Red Team on Remote Sensing and Environmental Monitoring of Planet Earth (1992-3). Leader, NASA Ames Earth Science Advanced Aircraft (ESAA) Team (1990-94).

SELECTED PUBLICATIONS (from 101 peer-reviewed papers)

Russell, P. B., et al., Comparison of aerosol single scattering albedos derived by diverse techniques in two North Atlantic experiments, J. Atmos. Sci., 59, 609-619, 2002.

Russell, P. B., and J. Heintzenberg, An overview of the ACE-2 Clear Sky Column Closure Experiment (CLEARCOLUMN), Tellus B 52, 463-483, 2000.

Bergstrom, R. W., and P. B. Russell, Estimation of aerosol radiative effects over the mid-latitude North Atlantic region from satellite and in situ measurements. Geophys. Res. Lett., 26, 1731-1734, 1999.

Russell, P. B., P. V. Hobbs, and L. L. Stowe, Aerosol properties and radiative effects in the United States Mid-Atlantic haze plume: An overview of the Tropospheric Aerosol Radiative Forcing Observational Experiment (TARFOX), J. Geophys. Res., 104, 2213-2222, 1999.

Russell, P. B., S. Kinne and R. Bergstrom, Aerosol climate effects: Local radiative forcing and column closure experiments, J. Geophys. Res., 102, 9397-9407, 1997.

Russell, P. B., et al. Global to microscale evolution of the Pinatubo volcanic aerosol, derived from diverse measurements and analyses, J. Geophys. Res., 101, 18,745-18,763, 1996.

Russell, P.B., et al. Post-Pinatubo optical depth spectra vs. latitude and vortex structure:  airborne tracking sunphotometer measurements in AASE II,  Geophys. Res. Lett., 20, 2571-2574, 1993.

Russell, P.B., L. Pfister, and H.B. Selkirk,  "The tropical experiment of the Stratosphere-Troposphere Exchange Project (STEP): Science objectives, operations, and summary findings,  J. Geophys. Res., 98, 8563-8589, 1993.

Russell, P.B., and M.P. McCormick.,  SAGE II aerosol data validation and initial data use: an introduction and overview,  J. Geophys. Res., 94, 8335-8338, 1989.

Russell, P.B., et al., Satellite and correlative measurements of the stratospheric aerosol:  III.  Comparison of measurements by SAM II, SAGE, dustsondes, filters, impactors, and lidar, J. Atmos. Sci., 41, 1791-1800, 1984.

- Brent N. Holben

Abbreviated Curriculum Vitae

| Present Position | AERONET Project Leader Code 923 Biospheric Sciences NASA’s Goddard Space Flight Center Greenbelt, MD 20771 USA | Phone: 301 614-6658-2975 FAX: 301 614-6695 E-mail: brent@ltpmail.gsfc.nasa.gov |
| --- | --- | --- |
| Research Interests | Aerosol concentrations and properties measurements, Global radiative forcing and vegetation remote sensing in the SW and Mid IR region. |
| Summary of Experience | Brent Holben has worked at NASA’s GSFC for 24 years performing research in both ground-based and satellite remote sensing of vegetation and aerosols. Additionally he has developed innovative methods for in orbit calibration of satellite visible and near-IR sensors. He is the project leader for the AERONET sun-sky radiometer network that is providing aerosol spectral concentrations and properties for the EOS algorithm validation program as well as validation for a variety of other satellite systems and provides long term aerosol characterization. Holben has authored or co authored over 120 peer reviewed papers while at Goddard. |

Recent Selected Papers

2002, Dubovik, O., B.N.Holben,T. Lapyonok, A.Sinyuk, M. I. Mishchenko, P. Yang, and I.Slutsker: Non-spherical aerosol retrieval method employing light scattering by spheriods,Geophys. Res. Lett., 29, 54-1 - 54-4.

2001, Holben, B.N., D. Tanré, A. Smirnov, T.F. Eck, I. Slutsker, B Chatenet, F. Lavenue,Y. Kaufman, J.V. Castle, A. Setzer, B.Markham, D. Clark, R. Frouin, N A. Karneli. O'Neill, C. Pietras, R. Pinker, K. Voss, G. Zibordi, An emerging ground-based aerosol climatology:  Aerosol Optical Depth from AERONET, J. Geophys. Res, 106, 12067-12097.

2000, Smirnov, A., B.N.Holben, T.F.Eck, O.Dubovik, I.Slutsker, Cloud screening and quality control algorithms for the AERONET data base, accepted to Rem. Sens. Environ., 73, 337-349.

2000, Dubovik, O., A.Smirnov, B.N.Holben, M.D.King, Y.J. Kaufman, T.F.Eck, and I.Slutsker, “Accurasy assessments of aerosol optical properties retrieved from AERONET Sun and sky-radiance measurements”, J. Geophys. Res., 105, 9791-9806.

1998, Holben, B.N., T.F. Eck, I Slutsker, D. Tanré, J.P. Buis, A. Setzer, E. Vermote, J.A. Reagan, Y.J. Kaufman, T. Nakajima, F. Lavenu, I. Jankowiak, A. Smirnov, 1998. AERONET-A Federated Instrument Network and Data Archive for Aerosol Characterization, Rem. Sens. Environ, 66,1-16.

- Oleg Dubovik

Abbreviated Curriculum Vitae

Research Interest:	Inversion Developments in Remote Sensing and Optical Diagnostics

Key Subjects:	Algorithm Development for Remote Sensing and Optical Diagnostic, Light Scattering, Atmospheric Radiative Transfer, Numerical Inversion, Estimation Theory, Statistics, Matrix Analysis.

Education/Degree/

1992	Ph.D. (Physics/Optics), Institute of Physics, Minsk, Belarus

1987-1989:	Doctor Courses in Institute of Physics, Minsk, Belarus

1980-1985:	Byelorussian State University, Minsk, Belarus

M.S. (Physics/Optics)

1978-1980:	High School (with A-level in mathematics), Murmansk, Russia

Professional Career:

2001–	Associate Research Scientist, Goddard Earth Sciences & Technology Center, University of Maryland Baltimore County

1997–2001	Research Scientist, Science Systems and Applications Inc., under contract to NASA/Goddard Space Flight Center

1995–1997	Visiting Research Scientist, National Institute for Environmental Studies, Tsukuba, Japan

1985-1995	Research Scientist, Institute of Physics, Minsk, Belarus

Selected Journal publications (of more than 50):

Kaufman, Y. J., O. Dubovik, A. Smirnov and B. N. Holben, Remote sensing of non-aerosol (anomalous) absorption in cloud free atmosphere, J. Geophys. Res. Lett., 10.1029/2001GL014399, 2002.

Dubovik, O., B. N. Holben, T. Lapyonok, A. Sinyuk, M. I. Mishchenko, P. Yang and I. Slutsker, Non-spherical aerosol retrieval method employing light scattering by spheroids, Geophys. Res. Lett., 10.1029/2001GL014506,24 May 2002.

Takemura T., T. Nakajima, O. Dubovik, B. N. Holben and S. Kinne, "Single scattering albedo and radiative forcing of various aerosol species with a global three-dimensional model", J. Climate, 15, 333 -352, 2002.

Dubovik, O., B. N. Holben, T. F. Eck, A. Smirnov, Y. J. Kaufman, M. D. King, D. Tanré, and I. Slutsker, “Variability of absorption and optical properties of key aerosol types observed in worldwide locations”, J. Atmos. Sci., 59, 590-608, 2002.

Smirnov, A., B. N. Holben, Y. J. Kaufman, O. Dubovik, T. F. Eck, I. Slutsker, C. Pietras, and R. N. Halthore, “Optical properties of atmospheric aerosol in maritime environments”, J. Atm. Sci., 59, 501-524, 2002.

Eck T. F., B. N. Holben, O. Dubovik, A. Smirnov, I. Slutsker, J. M. Lobert and V. Ramanathan, M. Mukelabai, N. C. Hsu, N. T. O’Neill, and I. Slutsker, “Column integrated aerosol optical properties over Maldives during NE Monsoon for 1998-2000”, J. Geophys. Res., 106, 28,555-28,566, 2001.

Pinker, R. T., G. Pandithurai, B. N. Holben, O. Dubovik, and T. O. Aro, “A dust outbreak episode in sub-Sahel West Africa”, J. Geophys. Res., 106, 22,923 -22930, 2001.

Ferrare, R. A., D. D. Turner, L. A. Heilman, W. F. Feltz, O. Dubovik, and T. P. Tooman, “Raman lidar measurements of aerosol extinction-to-backscatter ration over Southern Great Plains”, J. Geophys. Res., 106, 20,333 – 20,348, 2001.

Kaufman, Y. J., A. Smirnov, B. N. Holben, O. Dubovik, “Baseline maritime aerosol: methodology to derive the optical thickness and scattering properties”, Geophys. Res. Lett., 28, 3251-3254, 2001.

O’Neill, N., O. Dubovik and T. F. Eck,, “A modified Angstrom coefficient for characterization sub-micron aerosols”, Appl. Opt. , 40, 2368-2375, 2001.

Kaufman, J. Y., D. Tanré, O. Dubovik, A. Karnieli, and L. A. Remer, “Absorption of sunlight by dust as inferred from satellite and ground-based remote sensing”, Geophys. Res. Lett., 28 , 1479-1483, 2001.

Eck T. F., B. N. Holben, D. E. Ward, O. Dubovik, J. S. Reid, A. Smirnov, M. M. Mukelabai, N. C. Hsu, N. T. O’Neill, and I. Slutsker, “Characterization of biomass burning aerosols in Zambia during the 1997 ZIBBEE field campaign”, J. Geophys. Res., 106 , 3425-3448, 2001.

Dubovik, O. and M. D. King, “A flexible inversion algorithm for retrieval of aerosol optical properties from Sun and sky radiance measurements”, J. Geophys. Res., 105, 20,673-20,696, 2000.

Dubovik, O., A. Smirnov, B. N. Holben, M. D. King, Y. J. Kaufman, T. F. Eck, and I. Slutsker, “Accuracy assessments of aerosol optical properties retrieved from AERONET Sun and sky-radiance measurements”, J. Geophys. Res.,105, 9791-9806, 2000.

Dubovik, O., B. N. Holben, Y. J. Kaufman, M. Yamasoe, A. Smirnov, D. Tanré, I. Slutsker, “Single-scattering albedo of smoke retrieved from the sky radiance and solar transmittance measured from ground”, J. Geophys. Res., 103, 31903- 31924, 1998.

Dubovik, O. V, T. V. Lapyonok and S. L. Oshchepkov, “Improved technique for data inversion: optical sizing of multicomponent aerosols”, Appl. Opt., 34, 8422-8436,1995.

Dubovik, O. V, S. L. Oshchepkov, T. V. Lapyonok “Iteration-regularization method of solution of nonlinear inverse problems and its application to interpretation of the spectra of brightness coefficient of a layer of water”, Izv. Acad. Sci. USSR Atmos, Oceanic Phys., 30, 103-110, 1994.

- James A. Eilers

Abbreviated Curriculum Vitae

Education

| B.S. | 1973 | Engineering, University of California at Los Angeles, Los Angeles, CA |
| --- | --- | --- |

Professional Experience

NASA Ames Research Center (1985-present)

-	AATS-14 Project Manager / Instrument Engineer (1998-present)

-	Project Manager - SONEX Airborne Field Campaign (1997-1998)

-	Research Engineer / Project Manager (1985-1997)

Northrop Services Inc. - NASA Ames Research Center (1979-1985)

-	Engineer  - Kuiper Airborne Observatory

University of California, Los Angeles (1979-1979)

-	Engineering Research Assistant

Contributions

Over 25 years of involvement in mechanical and system design of scientific research equipment and instrumentation.  In the past 15 years have focused on atmospheric research instrumentation and projects, primarily for airborne field studies.  This includes contributing to instrument proposals, instrument mechanical design, design project management, and operation of instrumentation in the field.  Have significant experience with international field deployments as a member of an instrument team, as well as at the project level as instrument coordinator, and project manager.

Specific Contributions

- Project manager and lead engineer for AATS-14 Sunphotometer Rework Project

- Project manager for the SONEX airborne field campaign.

- Lead mechanical engineer and project manager for the Argus Airborne Spectrometer

- Lead engineer for OPTIMA open path spectrometer DDF project which lead to proposals for the OPTIMA instrument for both the ER-2 and DC-8.

- Project manager and lead engineer for Airborne Tunable Laser Absorption Spectrometer (ATLAS).

Professional Registration

-	Professional Engineer in Mechanical Engineering (PE), State of California

# CURRENT AND PENDING SUPPORT , PI’s (B. Schmid and J. Redemann)

| Short Title | Agency/Task No. | Duration |
| --- | --- | --- |
| Vertically resolved aerosol optical properties over the ARM SGP site | DOE ARM Science Team DE-AI03-03ER63535 | 11/2002-10/2005 |
| AATS-14 aboard the CIRPAS Twin Otter during the May 2003 Aerosol IOP over the SGP ARM site | DOE ARM IOP funds ITF 355506-A | 2/2003-12/2003 |
| New Investigator Program: “Validating EOS Terra Sensor Data…” | NASA NAG5-12573 | 10/2002-9/2005 |
| Global Aerosol Climatology (GACP) | NASA RTOP 622-44-75-10 | 10/1998-3/2003 |
| ACE-2 & ACE-Asia Aerosol Radiative Effect Studies | NOAA Interagency Transfer of Funds NA02AANRG0129 | 5/2000-4/2003 |
| Satellite-Sunphotometer Studies of Aerosol,… | NASA RTOP 291-01-91-45 | 2/2000-12/2002 |
| SOLVE-2 Science Team | NASA | 8/2002-6/2003 |

# APPENDIX A: Ames Airborne Tracking Sunphotometer, AATS-14

Philip B. Russell, John M. Livingston, Beat Schmid, Jens Redemann, and James Eilers

NASA Ames Research Center, Moffett Field, CA 94035-1000

prussell@mail.arc.nasa.gov

The NASA Ames Airborne Tracking Sunphotometers measure the transmission of the solar beam in a number of spectral channels. AATS-14, shown in Fig. 1, has 14 such channels. Azimuth and elevation motors controlled by differential sun sensors rotate a tracking head so as to lock on to the solar beam and keep detectors normal to it.  The tracking head of the instrument mounts external to the aircraft skin, to minimize blockage by aircraft structures and also to avoid data contamination by aircraft-window effects.

Each channel consists of a baffled entrance path, interference filter, photodiode detector, and preamplifier.  Channel filters are at wavelengths from 354 to 2139 nm (Fig. 2), chosen to allow separation of aerosol, water vapor, and ozone transmission.  The filter/detector sets are temperature-controlled to avoid thermally-induced calibration changes.  Detectors in the two longest-wavelength channels incorporate thermoelectric coolers.  The other 12 channels are maintained at an elevated temperature by foil heaters.

Sun tracking is achieved continuously, independent of aircraft pitch, roll, and yaw, provided rates do not exceed ~8° s-1 and the sun is above aircraft horizon and unblocked by clouds or aircraft obstructions (e.g., tail, antennas).  AATS-14 uses a quad-cell photodiode to derive azimuth and elevation tracking-error signals.

Data are digitized and recorded by an onboard data acquisition and control system.  Realtime data processing and color display are routinely provided.  The realtime science data set includes the detector signals, derived optical depths and water vapor column content, detector temperature, sun tracker azimuth and elevation angles, tracking errors, and time. Radiometric calibration is determined via Langley plots, either at high-mountain observatories or on specially designed flights.  Repeated calibrations show that the instrument maintains its calibration (including window and filter transmittance, detector responsivity and electronic gain) to within 1% in most spectral channels for periods of several months to a year.

AATS-14 was developed under the NASA Environmental Research Aircraft and Sensor Technology (ERAST) Program.  AATS-14 is designed to operate on a variety of aircraft, some of which may be remotely piloted or autonomous.  Hence it can locate and track the sun without input from an operator and record data in a self contained data system.  In addition, it can interface to an aircraft-provided telemetry system, so as to receive and execute commands from a remote operator station, and transmit science and instrument-status data to that station.

AATS-14 made its first science flights on the Pelican (modified Cessna) aircraft of the Center for Interdisciplinary Remotely Piloted Aircraft Studies (CIRPAS) during the Tropospheric Aerosol Radiative Forcing Observational Experiment (TARFOX) in July 1996 [Russell et al., 1999].  Other missions in which AATS-14 has participated include the second Aerosol Characterization Experiment (ACE-2) [Schmid et al., 2000], South African Regional Science Initiative (SAFARI) 2000 [Schmid et al., 2002], Asian Pacific Regional Aerosol Characterization Experiment (ACE-Asia) [Russell et al., 2002], and Chesapeake Lighthouse and Aircraft Measurements for Satellites (CLAMS) [Redemann et al., 2002].

Figure 1.  Fourteen-channel Ames Airborne Tracking Sunphotometer (AATS-14).  Dimensions are in inches

Figure 2.  AATS-14 channel wavelengths (vertical lines with arrows) in relation to atmospheric spectra. The spectra of transmittance T of the direct solar beam at sea level were calculated using MODTRAN-4.3 with a Midlatitude Summer atmosphere, a rural spring-summer tropospheric aerosol model (Vis = 23 km), and the sun at the zenith. Current center wavelengths of channel filters are 354, 380, 453, 499, 519, 604, 675, 778, 865, 941, 1019, 1241, 1558, 2139 nm. Filter full widths at half-maximum (FWHM) are 5 nm, except for the 353 and 2139 nm channels, which have FWHM 2 and 17 nm, respectively.

References

Russell, P. B., J. M. Livingston, P. Hignett, S. Kinne, J. Wong, and P. V. Hobbs, Aerosol-induced radiative flux changes off the United States Mid-Atlantic coast:  Comparison of values calculated from sunphotometer and in situ data with those measured by airborne pyranometer, J. Geophys. Res., 104, 2289-2307, 1999.

Schmid, B., Livingston, J. M., Russell, P. B., Durkee, P. A., Collins, D. R., Flagan, R. C., Seinfeld, J. H., Gassó, S., Hegg, D. A., Öström, E., Noone, K. J., Welton, E. J., Voss, K., Gordon, H. R., Formenti, P., and Andreae, M. O., Clear sky closure studies of lower tropospheric aerosol and water vapor during ACE-2 using airborne sunphotometer, airborne in-situ, space-borne, and ground-based measurements. Tellus B 52, 568-593, 2000.

Redemann, J., B. Schmid, J. M. Livingston, P. B. Russell, J. A. Eilers, P. V. Hobbs, R. Kahn, W. L. Smith, Jr., B. N. Holben, C. K. Rutledge, M. C. Pitts, M. I. Mishchenko, B. Cairns, J. V. Martins, and T. P. Charlock, Airborne Measurements of Aerosol Optical Depth and Columnar Water Vapor in Support of the Chesapeake Lighthouse and Aircraft Measurements for Satellites (CLAMS) Experiment, 2001, Abstracts, 11th Conference on Atmospheric Radiation, American Meteorological Society, Ogden, UT, June 3-7, pp. 20, 2002.

P. B. Russell, P. J. Flatau, F. P. J. Valero, T. Nakajima, B. Holben, P. Pilewskie, M. Bergin, B. Schmid, R. W. Bergstrom, A. Vogelmann, B. Bush, J. Redemann, S. Pope, J. Livingston, S. Leitner, N. C. Hsu, J. Wang, J. Seinfeld, D. Hegg, P. Quinn, and D. Covert, Overview of ACE-Asia Spring 2001 investigations on aerosol-radiation interactions,11th Conference on Atmospheric Radiation, American Meteorological Society, Ogden, Utah, 3-7 June 2002, Postprint Volume, pp. 1-4.

Schmid, B., J. Redemann, P. B. Russell, P. V. Hobbs, D. L. Hlavka, M. J. McGill, B. N. Holben, E. J. Welton, J. Campbell, O. Torres, R. A. Kahn, D. J. Diner, M. C. Helmlinger, D. A. Chu, C. Robles Gonzalez, and G. de Leeuw, Coordinated airborne, spaceborne, and ground-based measurements of massive, thick aerosol layers during the dry season in Southern Africa, J. Geophys. Res., in press, 2002.

# APPENDIX B: Ames Airborne Sensor Facility Calibration Laboratory Capabilities

Equipment						Purpose

Interferometer (Bomem MB 100)			Spectral Calibration in range 										from 2.5 to 25 micrometers.

ACTON Monochromator with gratings		Spectral Calibration in range

in range from 0.4 to 15 micrometers			from 0.4 to 15 micrometers.

illuminated by Oriel light sources

Two 30” Integrating Spheres and two			Radiometric calibration in

20” Integrating Hemispheres				range from 0.4 to 2.5											micrometers

ASD portable spectroradiometer	Transfer of Spectral Radiance (range from 0.4 to 2.5 micrometers) from Standard Lamp to Integrating Sphere. Reflectance and Transmission 	measurements. Field calibrations.

Cary 14 Spectrophotometer				Filter Transmission

(range from 0.4 to 2.5 micrometers)		measurements and future Sphere Calibration

Extended Black Body Source				Radiometric calibration in range from 3 to 25 							micrometers

NIST FEL Standard lamp with			Primary Standard for Sphere Labsphere Spectrolon panel					calibration

Optical Bench w/ 12” dia.                             		Interfaces to spectral sources

collimator

Focus Bench w/ 8” dia.                          		Focusing of optical systems

collimator & bar targets

Thermal Chamber	w/				Radiometric and Spectral

view port						calibration at simulated flight 									temperatures.