18 pot Run Checklist

Everyone should fill out the lines in black. Fill out the lines in blue if inserting pots and starting data, lines in green if retracting.

Person on Shift: _____________________________   Time / Date (pots in/out): ___________________________________________

!!!!!!!IF AT ANY TIME THERE IS A PROBLEM, TURN OFF ALL CONTROL LINES!!!!!!

- Log in to elog book and read runplan on the web

- Read last 8 days worth of FPD entries in elog book  (or last entry at a minimum)

  - open in web browser, unselect INCLUDE_ALL, select FPD, change hours to days.

- Be familiar with emergency procedures to use during pot motion (see online checklist)

- Read FPD Issues (http://d0server1.fnal.gov/users/strang/web/fpd/documents/FPDIssues.txt)

- Verify software is running: ___Pot Motion, ___HV,  ___rate watcher,  ___SES alarm display,

___rack environment alarm monitor, ____ A/S on

- Verify that ACNET is setup properly: ___FTP, ___C72, ___D44, ___Lumberjack.

- Verify there are no alarms in the SES display. If there are, attempt to clear them.

- Turn on HV to all ____L0 tubes to 100% (verify trigger is using generator signal if rates not updating)

- Look over examine plots for anything unusual. If there is, make a screen capture and place in elogbook

- Create screen capture of D44 lumberjack screen showing normal rates for last store and put in elogbook.

- Create a screen  capture of the fpd_run_state page (http://www-d0online.fnal.gov/fpd_run_state/) showing luminosity, singles rates and halo rates and put in elogbook. If this page isn’t accurate, contact Vladimir Sirotenko and make copies of the Beams division page, halo rates from C72  and the FPDGui instead.

- Verify with captain that the beam spot at D0 has not significantly changed

- Open expert mode of FPDGui.

- Have Shift Captain notify MCR and CDF that we are going to insert pots

- Setup camera to display dipole motors.

- Setup D44 to display rates for dipole pots.

- Turn on drivers in Pot Motion Software for dipole castle

- Turn on A side control line.

- Insert dipole pots to closest possible position using provided insertion tables. Keep track of final position and reason for stopping for logbook. Stop if CDF ahalo more than doubles.

- Turn off dipole drivers

- Turn on HV to dipole _________(time) MAPMTs to 100%. Keep track of when this is done for logbook.

- Setup camera to display A vertical / horizontal motors.

- Setup D44 to display A vertical rates and calculate a 10% increase of starting phalo rate for stopping condition (10kHz max)

- Turn on drivers in Pot Motion Software for A1 and A2

- Insert A-side vertical pots to closest possible position using provided insertion tables. Keep track of final position and reason for stopping for logbook. Stop if CDF ahalo more than doubles.

- Setup D44 to display A horizontal rates and calculate 20% increase of starting phalo rate for stopping condition (10kHz max)

- Insert A-side horizontal pots to closest possible position using provided insertion tables. Keep track of final position and reason for stopping for logbook. Stop if CDF ahalo more than doubles.

- Turn off A1 and A2 drivers

- Turn off A side control line

- Turn on HV to A-side ________ (time) MAPMTs to 100%. Keep track of when this is done for logbook.

- Setup camera to display P vertical / horizontal motors (iris off A side cameras first).

- Setup D44 to display P vertical rates and calculate 10% increase of starting ahalo rate for stopping condition (6kHz max)

- Turn on drivers in Pot Motion Software for P1 and P2

- Turn on P side control line.

- Insert P-side  vertical pots to closest possible position using provided insertion tables. Keep track of final position and reason for stopping for logbook.

- Setup D44 to display P horizontal rates and calculate 20% increase of starting ahalo rate for stopping condition (6kHz max)

- Insert P-side  horizontal pots to closest possible position using provided insertion tables. Keep track of final position and reason for stopping for logbook.

- Turn off P1 and P2 drivers

- Turn off P side control line

- Turn on HV to P-side _________(time) MAPMTs to 100%. Keep track of when this is done for logbook.

- Close Expert mode of FPDGui.

- Iris off the P side cameras

- Setup D44 to display scalers for D2I, A2U, P2U, P1I  (set upper limits to 400000)

- Make screen capture of this D44 window and put in elogbook.

- Start the examine program

- Record current D0 runnumber: ____________________ in elog book.

- Place all final position, HV on and any other observation information of insertion in elogbook using the table.

- Send mail to d0fpd_local@fnal.gov with a summary of the insertion.

- Notify shift captain that pots have been inserted.

- Inform non expert of tasks for which they are responsible:

  - Monitor Rates: In Lumberjack. Should be decaying with time. Gradual oscillations are ok, if spikes check tubes. If sustained increase or numerous spikes or anything else strange, page expert. Check every 30 minutes or so.

  - Monitor Alarms: Page expert if there are any LVPS or HV alarms (major or minor) or any major alarms in SES display

  - Rescrape: If there is a rescrape of beam, check with MCR if it is minor or major. For minor rescrape, do nothing special. Keep an eye on rates and trips. Major rescrape ramp down both MAPMT and trigger and ramp back to 100% when done.

  - Put pots into full standby 15 minutes before end of store or after loss of beam using green items below

- Name of Person Removing Pots______________________________________ Time Removed _______________________

- At 15 minute EOS warning, turn HV to MAPMT tubes to standby (0%)

  - In HVGui, select MAPMT tab then Set HV ->click on  Standby -> press ramp button

- Turn on A side and P side control line (located above FPD console). Red lights will come on. You will see a major alarm.

- Return pots to home using Pots Home ->click on Init in main FPDGui screen. Verify that all pots are actually moving home before doing anything else (all bars yellow, sliders moving left, LVDT values getting smaller). If not, turn off control lines and call expert.

- Check for any alarms (other than alarm caused by turning on control line)

- Verify all pots at home (drivers will turn off and all bars will turn blue in FPDGui).

- TURN OFF ALL CONTROL LINES (located above FPD console). Red lights will turn off. Major alarm will clear.

- Turn HV to Trigger tubes to standby (0%).

  - In HVGui, select Trigger tab then select Set HV ->click on Standby -> press ramp button

- Record current D0 Runnumber: _________________ in elog book.

Last Updated: 22/February/05