Summary of the MAQC Data Sets

The MicroArray Quality Control (MAQC) Consortium

Contact:

Leming Shi, National Center for Toxicological Research (NCTR), U.S. Food and Drug Administration (FDA) 3900 NCTR Road, Jefferson, Arkansas 72079, U.S.A. Tel: +1-870-543-7387, Fax: +1-870-543-7854

Leming.Shi@fda.hhs.gov; http://edkb.fda.gov/MAQC/; http://www.fda.gov/nctr/science/centers/toxicoinformatics/maqc/

September 12, 2006, 9:26 AM CDT

- Results of the MAQC project has been described in a series of manuscripts published in Nature Biotechnology, September 8, 2006. PDF files of the manuscripts are freely available at http://www.nature.com/nbt/focus/maqc/.

- The MAQC data set are publicly available starting through the following four mechanisms:

- GEO (series accession number: GSE5350);

- ArrayExpress (accession number: E-TABM-132, pending);

- ArrayTrack (http://www.fda.gov/nctr/science/centers/toxicoinformatics/ArrayTrack/); and

- The MAQC website (http://edkb.fda.gov/MAQC/MainStudy/upload/) – a good place to download normalized data in a table format (see Table 8 of this document).

- Image files (e.g., .DAT files from Affymetrix platform) are not publicly deposited, but will be made available upon request.

- For updated information (e.g., corrections, detailed data set annotation, and feedback from users) about the MAQC data sets, please visit the MAQC website (http://edkb.fda.gov/MAQC/).

5. Corrections, questions, and comments should be addressed to Leming.Shi@fda.hhs.gov.

The total number of microarrays used in the MAQC project: 1,329

Table 1. “Official” Platforms and Data Included in the MAQC Main Study: 573 microarrays*
(Eight microarray platforms and three alternative platforms)

| Manufacturer | Code | Protocol | Platform | GEO GPL# | Array Express# | ArrayTrack Experiments | Number of Probes | Number of Test Sites | Number of Samples | Number of Replicates | Total Number of Microarrays |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Applied Biosystems | ABI | One-Color Microarray | Human Genome Survey Microarray v2.0 | GPL2986 | A- MEXP- 503 | ABI_1 ABI_2 ABI_3 | 32,878 | 3 | 4 | 5 | 60 |
| Affymetrix | AFX | One-Color Microarra y | HG-U133 Plus 2.0 GeneChip® | GPL570 | A- AFFY- 44 | AFX_1 AFX_2 AFX_3 AFX_4 AFX_5 AFX_6 | 54,675 | 6 | 4 | 5 | 120 |
| Agilent | AGL | Two-Color Microarray | Whole Human Genome Oligo Microarray, G4112A | GPL1708 | A- AGIL- 11 | AGL_1 AGL_2 AGL_3 | 43 ,931 (same printing; 41058 – GeneSpring d ) | 3 | 2 | 10 | 60 |
|  | AG1 | One-Color Microarray |  |  |  | AG1_1 AG1_2 AG1_3 |  | 3 | 4 | 5 | 60 |
| Eppendorf | EPP | One-Color Microarray | DualChip® Microarray | GPL4096 |  | EPP_1 EPP_2 EPP_3 | 294 | 3 | 4 | 5 | 60 |
| GE Healthcare | GEH | One-Color Microarray | CodeLink™ Human Whole Genome | GPL2895 | A- GEHB- 1 | GEH_1 GEH_2 GEH_3 GEH_2Fail | 54,359 | 3a | 4 | 5 | 80 |
| Illumina | ILM | One-Color Microarray | Human-6 BeadChip, 48K v1.0 | GPL2507 | A- MEXP- 524 | ILM_1 ILM_2 ILM_3 | 47,293 | 3b | 4 | 5 | 59 |
| NCI_Operon | NCI | Two-Color Microarray | Operon Human Oligo Set v3 | GPL4108 |  | NCI_1 NCI_2 NCI_2Fail NCI_3Fail | 37,632 | 3c | 4 | 5 | 74 |
| Applied Biosystems | TAQ | TaqMan® Assays | >200, 000 assays available | GPL4097 |  | TAQ_1 | 1,004 | 1 | 4 | 4 | N/A (16) |
| Panomics | QGN | QuantiGene® Assays | ~2, 600 assays available | GPL4098 |  | QGN_1 | 245 | 1 | 4 | 3 | N/A (12) |
| Gene Express | GEX | StaRT-PCR™ Assa y s | ~1, 000 assays available | GPL4198 |  | GEX_1 | 207 | 1 | 4 | 3 | N/A (12) |
|  |  |  |  |  |  |  |  |  |  |  | 573 |

*There are 40 “virtual” microarrays corresponding to the three alternative platforms (TAQ, QGN, and GEX).

Test sites and sample types are referenced using the following nomenclature: “platform code_test site_ sample ID”. Sample A = 100% UHRR; Sample B = 100% HBRR; Sample C = 75% UHRR:25%

HBRR; and Sample D = 25% UHRR:75% HBRR.

aTest site GEH_2 repeated an initial, failed experiment (GEH_2Fail, due to protocol issues). bTest site ILM_1 only had 19 microarrays.

cTest site NCI_2 partially repeated an initial, failed experiment (NCI_2Fail, due to protocol issues) with 14 microarrays. Test site NCI_3 failed an initial experiment (NCI_3Fail, due to protocol issues)

and partially repeated the study with another batch of printed slides (site NCI_3r in Table 2).

dData from replicating spots were averaged within GeneSpring software to generate a single value for each unique probe.

Table 2. “Additional” Platforms and Data Included in the MAQC Main Study: 130 microarrays
(Seven microarray platforms)

| Platform | Code | Protocol | GEO GPL# | Array Express# | ArrayTrack Experiments | Number of Probes | Test Sites | Number of Samples | Number of Replicates | Number of Microarrays Per Test Site |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NCI_Operon (2nd printing) | NCI | Two-Color Microarray | GPL4185 |  | NCI_4 NCI_3r | 36,288 | NCI_4: Harvard University | 2 | 5 | 10 |
|  |  |  |  |  |  |  | NCI_3r: FDA/CBER (repeat) | 2 | 5 | 10 |
| CapitalBio_ Operon | BIO | Two-Color Microarray | GPL4187 |  | BIO_1 | 23,232 (same printing) | BIO_1: CapitalBio | 2 | 10 | 20 |
|  | BIO1 | One-Color Microarray |  |  | BIO1_1 |  | BIO1_1: CapitalBio | 2 | 5 | 10 |
| Operon_ Operon | OPN | Two-Color Microarray | GPL4188 |  | OPN_1 | 37,584 | OPN_1: Operon | 2 | 5 | 10 |
| NMC_ Operon | NMC | Two-Color Microarray | GPL4186 |  | NMC_1 | 36,288 | NMC_1: Norwegian Microarray Consortium | 2 | 5 | 10 |
| TeleChem | H25K | Two-Color Microarray | GPL4219 |  | H25K_2 | 27,648 (same printing) | H25K_2: Yale University | 2 | 15 | 30 |
|  | H25K1 | One-Color Microarray |  |  | H25K1_1 H25K1_2 H25K1_3 |  | H25K1_1: TeleChem | 2 | 5 | 10 |
|  |  |  |  |  |  |  | H25K1_2: Yale University | 2 | 5 | 10 |
|  |  |  |  |  |  |  | H25K1_3: Wake Forest University | 2 | 5 | 10 |
|  |  |  |  |  |  |  |  |  |  | 130 |

Table 3. “Tumor” Data Included in the MAQC Study: 20 microarraysa
(One microarray platform at two laboratories in Stanford University)

| Manufacturer | Code | Protocol | Platform | GEO GPL# | Array Express# | ArrayTrack Experiments* | Number of Probes | Number of Test Sites | Number of Samples | Number of Replicates | Total Number of Microarrays |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Affymetrix | AFX | One-Color Microarray | HG-U133 Plus 2.0 GeneChip® | GPL570 | A- AFFY- 44 | AFX_1 AFX _2 | 54,675 | 2 | 2 | 5 | 20 |

aTumor_Stanford_Lab1 and Tumor_Stanford_Lab2. T = Tumor (colon adenocarcinoma), N = Normal (normal colon tissue, patient matched). The tumor data set was analyzed in Lin, G., He, X., Ji H., Shi, L., Davis, R.W. and Zhong, S. Nature Biotechnology, 24(10), 2006.

Table 4. “Rat Toxicogenomics” Validation Data Included in the MAQC Study: 180 microarrays
(Four microarray platforms in five laboratories)

| Manufacturer | Code | Protocol | Platform | GEO GPL# | Array Express# | ArrayTrack Experiments | Number of Probes | Number of Test Sites | Number of Samples | Number of Replicates | Total Number of Microarrays |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Applied Biosystems | ABI | One-Color Microarray | Rat Genome Survey Microarray | GPL2996 |  | ABI | 26,857 | 1 | 6 | 6 | 36 |
| Affymetrix | AFX | One-Color Microarray | Rat Genome 230 2.0 GeneChip® | GPL1355 | A-AFFY- 43 | AFX AFX2 | 31,099 | 2 | 6 | 6 | 72 |
| Agilent | AG1 | One-Color Microarra y | Whole Rat Genome Oligo Microarray, G4131A | GPL2877 | A-AGIL- 19 | AG1 | 43,628 (41,070 – GeneSpringa) | 1 | 6 | 6 | 36 |
| GE Healthcare | GEH | One-Color Microarray | Rat Whole Genome Bioarray, 300031 | GPL2896 | A-GEHB- 4 | GEH | 35,129 | 1 | 6 | 6 | 36 |
|  |  |  |  |  |  |  |  |  |  |  | 180 |

aData from replicating spots were averaged within GeneSpring software to generate a single value for each unique probe. Therefore, the number of rows in the normalized data is fewer than that in the original data files from Agilent’s Feature Extraction software. The rat toxicogenomics data set was analyzed in Guo, L. et al. Nature Biotechnology, 24(9), 2006.

|  | Table 5. “Pilots” Data (Pilot-I and Pilot-II) Included in the MAQC Study: 426 microarrays |
| --- | --- |
| 1. | MAQC Pilot-I (RNA Sample Selection): | 160 microarrays (four human platforms; four RNA samples). |
|  | AFX (2 sites): | 40 |  |
|  | AGL (2 sites): | 60 |  |
|  | GEH (2 sites): | 40 |  |
|  | ILM (1 site): | 20 |  |
| 2. | MAQC Pilot-II (RNA Sample Titration): | 266 microarrays (six human platforms; 13 titration points). |
| AFX (1 site): | 45 |
| AGL (1 site) | 45 |
| AG1 (1 site): | 45 |
| GEH (1 site): | 46 |
| ILM (1 site): | 51 |
| N/A (1 site): | 34 |

Table 6. The total number of microarrays used in the MAQC project: 1,329

| Category | Number of Microarrays |
| --- | --- |
| Official | 573 |
| Additional | 130 |
| Tumor | 20 |
| Rat Toxicogenomics | 180 |
| Pilots (I and II) | 426 |
| Total | 1,329 |

Data from 903 microarrays (Official-573 + Additional-130 + Tumor-20 + Rat Toxicogenomics-180) based on 19 platforms need to be deposited into GEO and ArrayExpress. In addition, expression data from three alternative platforms (TAQ, QGN, and GEX) are also deposited, corresponding to 40 “virtual” microarrays in public database records (e.g., GEO GSM numbers). In total, there will be 943 GSM records in GEO.

Note: Pilot-I and Pilot-II data (426 microarrays) will not be deposited in public repositories until further notice.

Table 7. Original MAQC Data Files Distributed under http://edkb.fda.gov/MAQC/MainStudy/upload/

| No. | Filename | Description of the Original Data |
| --- | --- | --- |
| 1 | MAQC _ABI_123_60TXTs.zip | ABI non-normalized data. |
| 2 | MAQC_AFX_123456_120CELs.zip | Affymetrix CEL files. |
| 3 | MAQC_AG1_123_60TXTs.zip | Agilent FE8.5 output files. |
| 4 | MAQC_AGL_123_60TXTs.zip | Agilent FE8.5 output files. |
| 5 | MAQC_BIO1_1_10LSRs.zip | Output from SpotData software (CapitalBio Corp.). |
| 6 | MAQC_BIO_1_20LSRs.zip | Output from SpotData software (CapitalBio Corp.). |
| 7 | MAQC_EPP_123_180TXTGPRs.zip | Each array was scanned at three different PMT gain settings. |
| 8 | MAQC_GEH_1232Fail_80TXTs.zip | GenePix 4000B output files. |
| 9 | GEX | N/A |
| 10 | MAQC_H25K1_123_30GPRs.zip | GenePix output files. |
| 11 | MAQC_H25K_2_30GPRs.zip | GenePix output files. |
| 12 | MAQC_I LM_123_59TXTs.zip | Illumina non-normalized data. |
| 13 | MAQC_NCI2nd_3r4_20GPRs.zip | GenePix output files. |
| 14 | MAQC_NCI_122Fail3Fail_74GPRs.zip | GenePix output files. |
| 15 | MAQC_NMC_1_10GPRs.zip | GenePix output files. |
| 16 | MAQC_OPN_1_10GPRs.zip | GenePix output files. |
| 17 | QGN | N/A |
| 18 | MAQC_Rat_180Files.zip | Original data from ABI, Affymetrix, Agilent, and GE Healthcare platforms. |
| 19 | TAQ | N/A |
| 20 | MAQC_Tumor_20CELs.zip | Affymetrix CEL files. |

*You can download ALL original data in one single file from GEO at ftp://ftp.ncbi.nih.gov/pub/geo/DATA/supplementary/series/GSE5350/ (3.99 GB!).

Table 8. Normalized MAQC Data Files Distributed under http://edkb.fda.gov/MAQC/MainStudy/upload/

| No. | Filename | Description of the Normalized Data |
| --- | --- | --- |
| 1 | norm_MAQC _ABI_123_qNorm.zip | The signal value is the fully corrected, background subtracted measurement of chemiluminescent signal for gene expression values. Data were quantile-normalized per test site (20 arrays). |
| 2 | norm_MAQC _AFX_123456_qPLIER16.zip | The CEL file data were analyzed with BioConductor to generate probeset level data using the justPlier() function. Probe-level data were quantile normalized before PLIER summarization per test site (20 arrays). An offset value of 16 was then added to each probeset-level data point. |
| 3 | norm_MAQC _AG 1_123_Median 1 GeneSpring. zip | Data were transformed by setting all measurements less than 5.0 to 5.0. Data points that did not have detectable signal and those that represent microarray controls were labeled as Absent, those representing either non-uniform or saturated features were labeled as Marginal, and all remaining data points were labeled as Present. All data points were median-scaled to 1 using the median signal intensity value for data points labeled as Present. |
| 4 | norm_MAQC _AGL_123_FE8.5.zip | Ratio defined as CH1/CH2 (Cy3/Cy5), Cy3 and Cy5 channel intensities (background-subtracted). Data were extracted using Agilent's Feature Extraction software, version 8.5 (P/N G2567AA). AGL sample-pair convention: A (A/A, Cy3/Cy5), B (B/B, Cy3/Cy5), C (A/B, Cy3/Cy5), and D (B/A, Cy3/Cy5). Only MAQC samples A and B were used in AGL two-color experiments. |
| 5 | norm_MAQC_BIO1_1_Median1000.zip | Slides were scanned with a confocal LuxScan scanner (CapitalBio Corp.). The data from the obtained images were extracted with SpotData software (CapitalBio Corp.). Median-scaling of background-subtracted intensity was applied to each array to make median equal to 1000. |
| 6 | norm_MAQC_BIO_1_Median1000Lowess.zip | Ratio defined as CH1/CH2 (Cy3/Cy5), Cy3 and Cy5 channel intensities (background-subtracted). The data from the obtained images were extracted with SpotData software (CapitalBio Corp.). The raw data were submitted to MAQC and further normalized by using linear-scaling (to median of 1000) and LOWESS. BIO sample-pair convention: A (A/B, Cy3/Cy5), B (B/A, Cy3/Cy5), sA (A/A, Cy3/Cy5), sB (B/B, Cy3/Cy5). The human genome-wide long oligonucleotide microarray was constructed inhouse at CapitalBio Corporation, Beijing, China. |
| 7 | norm_MAQC_EPP_123_Ratio.zip | Each array was scanned at three different PMT gain settings. Eppendorf has developed specialized data analysis scheme treating the scanning, the background correction and normalization in a suited framework for low density arrays generating array to array gene expression ratio. The data sets submitted are divided in two groups. The first data set (norm) provides gene expression ratio comparing two samples and constitutes the standard result for the Eppendorf platform. Provided here are ratio data (compared to sample A1 for each test site). |
| 8 | norm_MAQC_GEH_1232Fail_Median1.zip | Local background subtracted intensity data after median-scaling each array to a median of 1. GEH's original flag information ('Quality_flag') is provided: G = 'Good', L = 'Absent', S = 'Saturated', M = 'Manufacturing Defect', I = 'Irregular Shape', C = 'Contaminated Spot'. |
| 9 | norm_MAQC_GEX _1 _ACTB.zip | The data values are the number of molecules normalized to 1,000,000 ACTB molecules. No threshold was set; every gene was identified as Present ("0"). |
| 10 | norm_MAQC_H25K1_123_Median1000.zip | Local background subtracted intensity data after median-scaling each array to a median of 1,000. GenePix's original flagging information - 0: Good; -50: Not found; -75: Absent; -100: Bad |
| 11 | norm_MAQC_H25K_2_Median 1000Lowess.zi p | Ratio defined as CH1/CH2 (Cy3/Cy5), Cy3 and Cy5 channel intensities (background-subtracted). The raw data were submitted to MAQC and further normalized by using linear-scaling (to median of 1000) and LOWESS. H25K two-color sample-pair convention: A (A/B, Cy3/Cy5), B (B/A, Cy3/Cy5), sA (A/A, Cy3/Cy5), and sB (B/B, Cy3/Cy5). Only test site 2 submitted two-color H25K data. |
| 12 | norm_MAQC_ILM_123_qNorm16.zip | Data was processed using Illumina BeadStudio version 1.5.0.34 software using background subtraction and cubic spline normalization using quantile (20 arrays per test site). Normalized hybridization intensity values were adjusted by adding a constant such that the lowest intensity value for any sample equaled 16. Flag_Detection = Present: >= 0.99, Absent: <0.99. |

| 13 | norm _MAQC_NCI2 _3r4 _Median 1000Lowess. zip | Ratio defined as CH1/CH2 (Cy3/Cy5), Cy3 and Cy5 channel intensities (background-subtracted). The raw data were submitted to MAQC and further normalized by using linear-scaling (to median of 1000) and LOWESS. NCI2 sample-pair convention: A (A/B, Cy3/Cy5), B (B/A, Cy3/Cy5), sA (A/A, Cy3/Cy5). This is the second (and different) printing of the NCI. GenePix's original flagging information, - 0: Good; -50: Not found; -75: Absent; - 100: Bad |
| --- | --- | --- |
| 14 | norm_MAQC_NCI_122Fail3Fail_Median1000L owess.zi p | Ratio defined as CH1/CH2 (Cy3/Cy5), Cy3 and Cy5 channel intensities (background-subtracted). The raw data were submitted to MAQC and further normalized by using linear-scaling (to median of 1000) and LOWESS. NCI sample-pair convention: A (A/A, Cy3/Cy5), B (B/A, Cy3/Cy5), C (C/A, Cy3/Cy5), and D (D/A, Cy3/Cy5). MAQC sample A was used as the common reference sample (Cy5; channel 2) in NCI two-color experiments. Test sites NCI_2 and NCI_3 failed in the first round of experiments due to protocol issues. The failed hybridizations are named as NCI_2Fail and NCI_3Fail. NCI _2 repeated part of the experiment with 14 hybridizations. Site NCI_3 repeated part of the experiment with the 2nd NCI printing (NCI_3r). GenePix's original flagging information, - 0: Good; -50: Not found; -75: Absent; -100: Bad |
| 15 | norm_MAQC_NMC_1_Median1000Lowess.zip | Ratio defined as CH1/CH2 (Cy3/Cy5), Cy3 and Cy5 channel intensities (background-subtracted). Images were processed and quantified using GenePix Pro 6.0.0.56. The data were filtered (or flagged) on the basis of signal levels and spot quality. The raw data were submitted to MAQC and further normalized by using linear median-scaling (to median of 1000) and LOWESS. NMC sample-pair convention: A (A/B, Cy3/Cy5), B (B/A, Cy3/Cy5). The slides were printed by the Norwegian Microarray Consortium. GenePix's original flagging information, - 0: Good; -50: Not found; -75: Absent; -100: Bad |
| 16 | norm_MAQC_OPN_1_Median1000Lowess.zip | Images were processed and quantified using GenePix Pro. The data were filtered (or flagged) on the basis of signal levels and spot quality. The raw data were submitted to MAQC and further normalized by using linear median- scaling (to median of 1000) and LOWESS. GenePix's original flagging information, - 0: Good; -50: Not found; -75: Absent; -100: Bad |
| 17 | norm_MAQC_QGN_1_Signal.zip | Background signals were determined in the absence of RNA samples and subtracted from signals obtained in the presence of RNA samples. Because QuantiGene assay measures RNA directly, no data normalization against a reference gene is required in the data analysis. Flag_Detection = "A": VALUE < LOD; "P": VALUE >= LOD. LOD = limit of detection of the assay, and equals to "Background + 3 SD of Background". |
| 18 | norm_MAQC_RatTGx _4Platforms5Labs.zip | Each of the five labs ran 36 samples, resulting in 180 microarrays from four platforms. The data from each lab were analyzed according to the platform provider’s preferred procedures as defined above for the human platforms. |
| 19 | norm_MAQC_TAQ_1_POLR2A.zip | POLR2A was chosen as the reference gene and each replicate CT was subtracted from the average POLR2A CT to give the log2 difference (delta CT), the normalized value. For delta CT calculations, a CT value of 35 was used for any replicate that had CT > 35. Provided is the normalized expression value, i.e., CT of POLR2A minus CT of the tested gene. Thus, a larger value indicates a higher gene expression level. Flag_Detection = "A": CT>35; "P": CT<=35. |
| 20 | norm_MAQC_Tumor_AFX_12_qPLIER16.zip | The CEL file data were analyzed with BioConductor to generate probeset level data using the justPlier() function. Probe-level data were quantile normalized before PLIER summarization per test site (10 arrays). An offset value of 16 was then added to each probeset-level data point. BioConductor-calculated PLIER Signal intensity with the addition of an offset value of 16. Flag information was generated using mas5calls() function in BioConductor: P = Present, A = Absent, and M = Marginal. |

*Notes: 1. For quantile normalization, data from each test site were considered independently; 2. Detailed array annotation information can be found at GEO.

A list of the 943 GEO GSM records (“microarrays”) and the corresponding original data files is available at http://edkb.fda.gov/MAQC/MainStudy/upload/GSE5350_943GSMs_MAQC_FileName_Mapping.txt.

# Text boxes

1/7

2/7

3/7

4/7

5/7

6/7

7/7