Logistics Services A-76 Study

U.S. Department of Energy

PERFORMANCE WORK STATEMENT

Submitted to:

Brian Costlow, CA Team Leader

Laurie Morman, Deputy CA Team Leader

U.S. Department of Energy

Suite 4A-191

1000 Independence Avenue, SW

Washington, DC 20585

June 16, 2004

CID # 0103ME03841.000

Table of Contents

Section 1:	Introduction	1

1.1	Overview	1

1.2	Overview of Document Layout	1

1.2.1	PWS Structure	1

1.2.2	Technical Exhibits	1

Section 2:	Scope of Work	2

2.1	Work Description	2

2.1.1	Functional Areas	2

2.1.2	Work Locations	2

2.1.3	Workload Information	2

2.2	Organizational Description	2

2.2.1	Mission Statement	2

2.2.2	Organization History	2

Section 3:	Performance Objectives and Measures	4

3.1	Headquarters--Forrestal Complex	4

3.1.1	Facilities and Building Maintenance and Management	4

3.1.2	Transportation and Travel Management and Motor Vehicle Maintenance	14

3.1.3	Supply and Logistics Operations	17

3.2	Headquarters--Germantown Complex	22

3.2.1	Facilities and Building Maintenance and Management	22

3.2.2	Transportation and Travel Management and Motor Vehicle Maintenance	35

3.2.3	Supply and Logistics Operations	38

3.3	Albany Research Center (ARC)	43

3.3.1	Facilities and Building Maintenance and Management	43

3.3.2	Transportation and Motor Vehicle Management	50

3.3.3	Supply and Logistics Operations	51

Section 4:	Key Personnel	54

4.1	Project Manager	54

Section 5:	General Requirements	55

5.1	Service Management	55

5.1.1	Service Provider Management Requirements	55

5.2	Service Provider Personnel	55

5.2.1	Service Provider Employees	55

5.2.2	Employee Roster	55

5.2.3	Organizational Chart	56

5.2.4	Employee Training	56

5.2.5	Employee Conduct	56

5.2.6	Personnel Requirements	56

5.2.7	Interfaces	57

5.3	Reporting and Records Maintenance	57

5.3.1	Criteria	58

5.3.2	Programmed Reporting Requirements	58

5.3.3	Un-Programmed Requirements	58

5.3.4	Access to Data and Information	59

5.3.5	Marking Proprietary Information	59

5.3.6	Publications/Technical Library	59

5.3.7	Equipment Manuals, Supply Catalogs and Forms	59

5.4	Safety and Occupational Health	60

5.4.1	Safety and Occupational Health Plan/Program	60

5.4.2	Inspections	61

5.4.3	Unsafe Conditions	61

5.4.4	Safety Training	62

5.4.5	Fire Safety	62

5.4.6	Protective Equipment and Clothing	62

5.4.7	Emergency Situations and Accident Reporting	62

5.4.8	Environmental Protection	63

5.4.9	Weapons Restrictions and Control	63

5.4.10	Asbestos Program	63

5.5	Security	64

5.5.1	General	64

5.5.2	Personnel Security Clearances	64

5.5.3	Personnel ID Requirements	64

5.5.4	Physical Security	64

5.5.5	Information Security Plan	64

5.5.6	Restricted Areas	65

5.6	Key Control	65

5.7	Other General Information	65

5.7.1	Certifications, Licenses and Permits	65

5.7.2	Uniform Requirements	66

5.7.3	Warranty Maintenance	66

5.7.4	Inspection by Government Agencies	66

5.7.5	Fraud, Waste and Abuse	67

5.7.6	Conservation of Utilities	67

5.7.7	Facility Energy Conservation Program	67

5.7.8	Hours of Operation and Government Holidays	67

5.7.9	Emergency Situations and Special Events	68

5.7.10	Strike Contingency Plan	69

5.7.11	Work Performed at Facilities Characterized as Historical Properties	69

Section 6:	Government Provided Property and Services	70

6.1	General	70

6.1.1	Service Provider Accountability	70

6.1.2	Inventory Management	70

6.1.3	Periodic Inventory	70

6.1.4	Phase-Out Inventory	71

6.1.5	Security	71

6.1.6	Joint Use	71

6.1.7	Change of Status for GPP	71

6.2	Government Provided Facilities	72

6.2.1	General	72

6.2.2	Final Condition	72

6.2.3	Government Access	72

6.3	Government Provided Utilities	72

6.4	Government Provided Equipment	73

6.4.1	Accountability	73

6.4.2	Right to Withdraw GPE.	73

6.4.3	Replacement	73

6.4.4	Information Technology Equipment	73

6.4.5	GSA Vehicles	74

6.5	Government Provided Material	74

6.5.1	General	74

6.5.2	Requests For and Stocking of Material	74

6.5.3	Fuel	75

6.6	Government Provided Services	75

6.6.1	Emergency Services	75

6.6.2	Communications	75

6.6.3	Mail and Other Correspondence	76

6.6.4	Printing	76

6.6.5	Trash Removal	76

Section 7:	Service Provider FURNISHED Property and Services	77

7.1	General	77

7.1.1	Provision, Storage, and Removal	77

7.1.2	Separation or Commingling of Property	77

7.2	Facilities and Utilities	77

7.3	Equipment and Supplies	77

7.3.1	Compliance with Requirements	78

7.3.2	Marking	78

7.3.3	Unserviceable Service Provider Equipment	78

7.3.4	Personal Use Tools	78

7.3.5	Personal Protective Equipment	78

7.3.6	Equipment Plan	78

7.4	Services Provided by the Service Provider	79

7.4.1	Communication Services	79

7.4.2	Housekeeping	79

Section 8:	Transition Plan	80

8.1	Transition Planning	80

8.1.1	Phase-In Period	80

8.1.2	Phase-Out Period	80

Appendix A:	Definitions and Acronyms	A-1

A.1	Definitions	A-1

A.2	Acronyms	A-9

Appendix B:	Technical Library	B-1

B.1	Reference	B-1

TECHNICAL EXHIBITS (TE):

TE 2-1:  Facility Location Descriptions

TE 3-1:  Historical and Projected Workload Estimates

TE 3-2:  Performance Requirements Summary

TE 3-3:  Required Reports

TE 3-4:  Security Clearance Requirements

TE 6-1:  Government Provided Facilities

TE 6-2:  Government Provided Equipment

TE 6-3:  Government Provided Software and Systems

# Introduction

## Overview

The purpose of this Performance Work Statement (PWS) is to describe the performance objectives for logistics services for the Department of Energy (DOE).  For purposes of this document, the term “Service Provider” refers to either the Government or private sector organization performing the work under this PWS.  This document contains all information available at the time of publication relating to administrative and technical responsibilities, performance requirements, and workload estimates, and will form the basis for Commercial Activities (CA) contracting efforts.

The Service Provider shall exercise management and operational control over and retain full responsibility for performance requirements set forth in this PWS.

## Overview of Document Layout

### PWS Structure

This PWS is structured according to Sections and relevant Technical Exhibits (TEs) as follows:

1.  Introduction

2.  Scope of Work

TE 2-1:  Facility Location Description

3.  Performance Objectives and Measures

TE 3-1:  Historical and Projected Workload Estimates

TE 3-2:  Performance Requirements Summary

TE 3-3:  Required Reports

TE 3-4:  Security Clearance Requirements

4.  Personnel

5.  General Requirements

6.  Government Provided Property and Services

TE 6-1:  Government Provided Facilities

TE 6-2:  Government Provided Equipment

TE 6-3:  Government Provided Software and Systems

7.  Service Provider Furnished Property and Services

8.  Transition Plan

Appendix A: Definitions and Acronyms

Appendix B: Technical Library (Regulations/Directives)

### Technical Exhibits

TEs are used to provide supplementary information and are in the form of charts, tables and narratives, etc.  The TEs provided in this PWS may be referenced from any Section, and are identified by Section number, TE number and page number (i.e., TE 3-1-1).

# Scope of Work

## Work Description

### Functional Areas

Logistics functional areas covered under this PWS include: Facility and Buildings Maintenance and Management, Transportation Management and Motor Vehicle Maintenance, and Supply and Logistics Operations.  Specific workload objectives and measures for the functional areas are described in Section 3: Performance Objectives and Measures, as required at each location.

### Work Locations

Workload to be performed by the Service Provider under this PWS is required at the following locations: Headquarters (HQ) Forrestal, HQ Germantown, and Albany Research Center (ARC). Information on each location is included in TE 2-1: Facility Location Description.

### Workload Information

Workload data is presented in TE 3-1: Historical and Projected Workload Estimates for each location by functional area.  The workload information displayed in the text and in the TE is based on actual fiscal year (FY) data, where available, or has been extrapolated to represent estimated annual workload, where less than one year’s data was available.

This workload is provided to assist offerors in proposal preparation and shall not be a limiting factor on the Service Provider's obligation to perform all services described in this PWS to the required level of effort.

## Organizational Description

### Mission Statement

The DOE’s mission is:

- To foster a secure and reliable energy system that is environmentally and economically sustainable

- To be a responsible steward of the Nation’s nuclear weapons and nuclear materials

- To clean up the environment from the legacy of early nuclear weapons development activities

- To lead in the physical sciences and advance the biological, environmental, and computational sciences

- To provide premier scientific instruments for the Nation’s research enterprise

### Organization History

The origins of the DOE can be traced to the Manhattan Project and the race to develop the atomic bomb during World War II.  In 1942, the U.S. Army Corps of Engineers established the Manhattan Engineer District, which later became the Atomic Energy Commission.

The extended energy crisis and the changing needs of the 1970's, however, soon demonstrated the need for unified energy organization and planning.  In response, the Atomic Energy Commission was abolished and the DOE Organization Act brought the federal government's agencies and programs into a single agency.  The DOE, activated on October 1, 1977, assumed the responsibilities of the Federal Energy Administration, the Energy Research and Development Administration, the Federal Power Commission, and parts and programs of several other agencies.

Today, the DOE contributes to the future of the nation by ensuring our energy security, maintaining the safety and reliability of our nuclear stockpile, cleaning up the environment from the legacy of the Cold War, and developing innovations in science and technology.  The Department’s nationwide complex consists of HQ and field organizations, national laboratories, nuclear weapons production plants, power marketing administrations, and special-purpose offices at over 50 major installations in 35 states.

# Performance Objectives and Measures

Note that each performance objective below has associated workload in TE 3-1: Historical and Projected Workload Estimates, and performance measures and standards referenced in TE 3-2: Performance Requirements Summary (PRS), directly following this section.  TE 3-3: Required Reports refers to reports required in each of the sections below, and includes the relevant reference number.  TE 3-4: Security Clearance Requirements documents the security clearance levels required by each task.

When considering applicable skills and quantities of labor hours needed to accomplish the Performance Work Statement, firms will refer to Technical Exhibit 3-1: “Historical and Projected Workload Estimates”

## Headquarters--Forrestal Complex

### Facilities and Building Maintenance and Management

#### Provide Inspection Support

##### Perform Inspection of Daily and Periodic Custodial Work

The Service Provider shall perform inspection of daily and periodic custodial work (so that the entire facility is inspected every thirty business days) in accordance with (IAW) all applicable directives and guidance including the Delegation Agreement between General Services Administration (GSA) and DOE. Customers include all personnel at the Forrestal Complex (including the Child Development Center), Custodial Contracting Officer’s Representative (COR), the Buildings Manager, and the Assistant Buildings Manager or designee.

The Service Provider shall ensure that contracted custodial services (including integrated pest management, recycling, trash removal & snow removal) are completed as to the scope and duties within the awarded performance contract for the Forrestal Complex.  Copies of contract statements of work are provided in the Technical Library.  The Service Provider shall make detailed inspections of the work while it is in progress and after it has been completed.  Duties associated with the inspection of all phases of the cleaning operation (approximately 1,372,800 square feet of space) for the Forrestal Complex, and the Child Development Center (approximately 7,800 square feet).  Normally, a sampling method of inspection will be used and the Service Provider will determine the areas to be inspected by using his/her knowledge of the building and the requirements of DOE and its custodial contractor.  Inspections are made during different shifts as necessary to inspect all facets of the cleaning operations IAW the custodial cleaning contract scope of work (Appendix B).  If cleaning standards are not being met, the Service Provider must be able to determine the degree of noncompliance and convey his/her findings in writing to the Buildings Manager or designee.  The Service Provider shall develop a daily inspection schedule so that the entire facility is inspected every thirty business days.  The SP shall escort custodial contractors as required.

The Service Provider shall inspect the custodial contractor to ensure that the contractor is using the proper cleaning techniques and materials and is performing their work in a safe manner in order to protect the building and its occupants.  The Service Provider shall resolve minor disputes with the custodial services contractors on compliance/performance of the contract.  If the situation warrants (i.e., deficiencies), the Service Provider shall notify the Facilities Management Specialist, Assistant Buildings Manager, or the Buildings Manager.

The Service Provider shall monitor the contractor’s sign-in and sign-out log to determine contract compliance and shall maintain a daily file folder for each contract. Daily and periodic reports using GSA Standard Form (SF)-64 (periodic) and GSA SF-1181A (daily) shall be completed.

The Service Provider shall ensure that the custodial contractor responds to all emergency and special event calls during the prescribed contract hours and time limits.  Historically, an average of 24 special event calls are experienced annually.  The Service Provider may be required to work emergency duty or respond to emergency or special event calls anytime, day, night, weekends, or holidays.

##### Perform Inspection of Operations & Maintenance and Repair Performance

The Service Provider shall perform inspections of federal and contractor operations & maintenance (O&M) and repair performance IAW all applicable directives and guidance, to include:  Reference Tour and Watch Guidelines; GSA PM Guidelines; GSA Delegation of Authority for Building Operations and Maintenance of Real Property for the Forrestal Complex; Executive Orders (EOs) 13101 (Greening the Government through Waste Prevention, Recycling, and Federal Acquisition) and 13123 (Greening the Government through Efficient Energy Management (EM)); National Electric Code; American Society of Heating, Refrigeration, and Air Conditioning Engineers (ASHRAE) standards; American National Standards Institute (ANSI) Publications; Uniform Plumbing Code; Uniform Mechanical Code; Manufacturer recommendations; Washington Suburban Sanitation Commission (WSSC) requirements; and Occupational Safety and Health Administration (OSHA) guidelines.  Customers include all personnel at the Forrestal Complex (including the Child Development Center), COR, and the Buildings Manager or designee.

The Service Provider shall support the administrative coordination of the PM and repair program, to include: scheduling, notification of occupants, reporting, escorting personnel without the appropriate clearance, inspecting the work of all trades as identified below in Section 3.1.1.3, and verifying that the PM database and other tracking databases are maintained and updated.  The Service Provider shall provide text reports and flow-charts to the Buildings Manager to track/compare weekly PM and Service Calls.  Comparisons should be for current year to previous year.  The Service Provider must ensure that all PM activities are accomplished during the scope of review required for the Forrestal Complex.  The Service Provider is responsible to move equipment, furniture, and other materials as necessary to inspect the work.

The Service Provider shall be responsible for assisting in implementation of the PM program.  This involves coordinating, monitoring, and inspecting 10% of the PM, service calls, repairs and improvements daily.  The Service Provider shall randomly inspect and write inspection reports on building systems operations, PM, service calls, and repair work that are performed by the Service Provider’s personnel or subcontractors.

The Service Provider shall hand revise drawings associated with building systems and structures that are modified.  The Service Provider shall ensure that contracted services are in compliance with all pertinent drawings and specifications, as provided in the awarded performance contract for the Forrestal Complex, including but not limited to the following: maintenance, repairs, and adjustments of all types of mechanical equipment including complex, integrated electronic control and sophisticated logic systems such as the Energy Management and Control System (EMCS) at Forrestal, which uses Siemens Building Technology-Landis Division System 600 with Insight Apogee and oversees contractors in the overhaul of electronic, pneumatic, pressure and electric controls.  The Service Provider shall work from complex contract drawings and specifications including schematic wiring diagrams; shall interpret layout detail prints, specifications, code requirements; and shall utilize standard trade publications and practices. The Service Provider shall also monitor and coordinate this activity as it relates to the DOE HQ recycling program to include scrap materiel.

The Service Provider shall inspect the work of contractors and Service Provider personnel in performing a variety of trade and craft functions associated with building cleaning, service calls, maintenance, repairs, and alterations (excluding tenant alterations) to the Forrestal Complex including work in progress for compliance with contract requirements.  The Service Provider must have a thorough technical knowledge include heating, ventilation, air conditioning, plumbing, steam fitting, electrical, carpentry and cleaning.  The Service Provider shall visually check and measure various systems and components to assure that O&M and repair contractors are meeting specifications of their contract requirements, DOE requirements, standards, etc., and that the work meets applicable code requirements.  The Service Provider shall oversee other contractor and Service Provider personnel to ensure that they are following safe work practices, and shall escort contractors and other personnel when necessary.

The Service Provider shall write inspection reports on quality and quantities of Service Provider work performed.   The Service Provider shall prepare progress, deficiency and completion reports on Service Provider work inspected.

The Service Provider shall be able to use a wide variety of inspection techniques with measuring devices including: moisture detectors to check for leaks and condensation; dial indicators to check proper alignment of motors and pumps; micrometers to check shafts, bearings, etc. on fans, pumps, and compressors; torque wrenches to check proper assembly of components of various mechanical systems such as plumbing, air conditioning, and electrical; amprobes, voltmeters, and megohmeters for checking voltage, current, and resistance in various electrical circuits, motors, generators, relays, circuit breakers, controls, etc.; and, infrared thermometers to inspect thermal systems such as checking steam lines for proper operation.

#### Perform Space Management

##### Manage Space Allocation/Assignment

The Service Provider shall manage space allocation/assignment IAW all applicable directives and guidance, to include: 41CFR- Ch.101, ADA Compliance Guide, UFAS, GSA Design Guidelines: Public Building Service Publication (PBS P) 3430.1 Quality Standards for Design and Construction, PBS P 3410.1c Instructions to Contract Architect Engineers, PBS P 3425.8A Criteria for Federal Office Building, National Fire Protection Association (NFPA) Code, American Institute Architects Master Specifications (all divisions), 29 CFR-OSHA Guidelines, and Environmental Protection Agency (EPA) Guidelines.  Customers include all personnel at the Forrestal Complex (including the Child Development Center) and satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, the Ardmore-Ardwick Warehouse (Landover, MD) or any future locations in the metro area).

The Service Provider shall develop and update as-built drawings, conduct surveys of existing conditions, and update current as-built drawings using AutoCAD (or future industry standards adopted by GSA or DOE). The Service Provider shall ensure that current and accurate as-built drawings are provided and maintained for all building systems and structures.  The Service Provider shall create key plans using AutoCAD and maintain a database of space assigned by program (organization): developed by location in building, by building, and by HQ-wide. The Service Provider shall also plan, develop, and implement all moves of personnel and equipment; provide complete systematic service; support the setup of new or temporary organizations; and determine space requirements and assure requirements are satisfied.

##### Manage Space Utilization

The Service Provider shall manage space utilization IAW all applicable directives and guidance, to include: CFR-41 Ch.101. Customers include all personnel at the Forrestal Complex (including the Child Development Center), satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, the Ardmore-Ardwick Warehouse (Landover, MD) or any future locations in the metro area).

The Service Provider shall manage space utilization by determining the square feet per person statistics by program by location within a building, by program by building, and by program HQ-wide.  The Service Provider shall develop and maintain detailed information on space availability and requirements, study and analyze current and long-term space requirements, analyze findings and develop alternatives for use of space, and recommend establishment or revision of policies for use of space.

##### Develop Space Analyses

The Service Provider shall develop space analyses IAW all applicable directives and guidance, to include: CFR-41 Ch.101, ADA Compliance Guide, UFAS, GSA Design Guidelines: PBS P 3430.1 Quality Standards for Design and Construction, PBS P 3410.1c Instructions to Contract Architect Engineers, PBS P 3425.8A Criteria for Federal Office Building, NFPA Code, American Institute Architects Master Specifications (all divisions), 29 CFR-OSHA Guidelines, and EPA Guidelines. Customers include all personnel at the Forrestal Complex (including the Child Development Center), satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, the Ardmore-Ardwick Warehouse (Landover, MD) or any future locations in the metro area).

The Service Provider shall develop space analyses by reviewing key plans and as-built drawings to develop options to meet space management requirements.  The Service Provider shall develop presentation packages for management decision, providing graphic representation on key plans of proposed options, pros and cons analysis, cost estimates, and proposed schedules.  Occasionally, this may include space studies using scale drawings (1/8” = 1’–0”) of partition plans and/or furniture, telephone and electric plans.  At times, multiple iterations of a presentation package may be required to garner management approval.

##### Provide Space Planning

The Service Provider shall provide space planning IAW all applicable directives and guidance including CFR-41 Ch.101, ADA Compliance Guide, UFAS, GSA Design Guidelines: PBS P 3430.1 Quality Standards for Design and Construction, PBS P 3410.1c Instructions to Contract Architect Engineers, PBS P 3425.8A Criteria for Federal Office Building, NFPA Code, American Institute Architects Master Specification (all divisions), 29 CFR-OSHA Guidelines, and EPA Guidelines. Customers include all personnel at the Forrestal Complex (including the Child Development Center), satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, the Ardmore-Ardwick Warehouse (Landover, MD) or any future locations in the metro area).

The Service Provider shall survey existing space conditions, obtain programming information and coordinate all related requirements for location changes.  The Service Provider shall develop space studies (concept designs), providing space studies for client review/comment, incorporating changes requested by the client into space studies (drawings), providing expertise in the areas of physical and technical security, preparing and managing designs for HQ Security areas, and obtaining client approval of final space studies. The Service Provider shall prepare construction documents (drawings and specifications) from the approved space study (or concept design), addressing fire protection, life safety, physical and technical security procedures and requirements, ADA compliance, UFAS requirements, and GSA mandated space utilization and other requirements. The Service Provider shall prepare Independent Government Estimates (IGE) for costs to complete construction; provide construction documents and IGE (for bid process); answer or clarify questions on drawings and specifications during bid process and/or walk-throughs by construction contractors; review/approve materiel submittals and/or shop drawings from construction contractors; handle all drawings and specification requirements, government cost estimates and time extensions for change orders as needed; and conduct post occupancy evaluations. The Service Provider shall also update as-built drawings to reflect new construction.

##### Provide General Management Services for Space Management Program

The Service Provider shall provide general management services for the space management program IAW all applicable directives and guidance including  CFR-41 Ch.101; ADA Compliance Guide; UFAS; GSA Design Guidelines: PBS P 3430.1 Quality Standards for Design and Construction, PBS P 3410.1c Instructions to Contract Architect Engineers, and PBS P 3425.8A Criteria for Federal Office Building; NFPA Code; American Institute Architects Master Spec (all divisions); 29 CFR-OSHA Guidelines; EPA Guidelines; EOs: 13101 and 13123; and Means Building Construction Cost Data. Customers include all personnel at the Forrestal Complex (including the Child Development Center), satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, the Ardmore-Ardwick Warehouse (Landover, MD) or any future locations in the metro area).

In providing general management services for the space management program, the Service Provider shall produce required reports; provide and validate Facility Information Management System (FIMS) data; plan, direct and evaluate performance of space management activities; provide client communications related to space management issues; provide technical advice and assistance to HQ staff regarding space management and design services; and shall provide technical expertise in the areas of AutoCAD (or industry standards adopted by GSA or DOE), Xerox Local Area Network (LAN) administration and plotting and copying systems.

#### Facilities Operations & Maintenance and Repair

##### Perform Operation & Maintenance and Repair of Heating, Ventilation, Air Conditioning, and Refrigeration Systems and Associated Controls

The Service Provider shall perform O&M and repair of all equipment not covered by existing commercial contractors including; heating, ventilation, air conditioning, and refrigeration (HVACR) systems (including high pressure steam/steam stations) and associated control duties IAW all applicable directives and guidance including  Tour and Watch Guidelines; GSA Delegation of Authority for Building Operations and Maintenance of Real Property for the Forrestal Complex; Manufacturer Guidelines; EOs 13101 and 13123; GSA PM Guidelines; OSHA; ASHRAE Standards; ANSI Publications; Sheet Metal and Air Conditioning Contractors’ Standards (SMACNA); NFPA Code; Uniform Mechanical Code;  and Uniform Plumbing Code. Customers include all personnel at the Forrestal Complex (including the Child Development Center).

In performing the operation, maintenance and repair of all equipment not covered by existing commercial contractors including; HVACR systems and associated controls, the Service Provider shall be responsible for the safe and proper operation of all HVACR equipment serving the Forrestal Complex including water treatment systems.  The Service Provider shall submit two (2) schedules (Summer/Winter) for HVACR equipment operation to the Buildings Manager or designee for review and approval.  The Service Provider shall continually monitor weather and indoor building conditions in order to take necessary actions required to increase or decrease steam and chilled water demands and to determine operating parameters for the steam or chilled water supplied by the GSA Heating/Cooling plant.  The Service Provider must be fully qualified to operate the Facility EMCS as installed.  The System 600 version, Insight Apogee is manufactured by Siemens Building Technology-Landis Division.  The Service Provider must be fully qualified to perform regular PM, operation, repair, emergency procedures, and testing and locating any deficiencies in the HVACR systems and associated control systems of the Forrestal Complex.  This includes diagnosing and correcting indoor environmental (i.e. air quality) and other health and safety issues, and troubleshooting other control systems of the Forrestal Complex.

The Service Provider shall operate, adjust, modify, repair, install components, and perform major and minor PM, as prescribed by the GSA and DOE, and shall operate the Direct Digital Control (DDC)-based EMCS and other assigned building automation and control systems for energy conservation and occupant comfort.  These systems monitor/control the Forrestal Complex HVACR systems and related equipment and machinery as well as a wide range and variety of critically-controlled environmental areas such as the Computer Center, LAN rooms, Emergency Operations Center, Telephone IX Switch Room, Communications Center, etc. The Service Provider shall ensure the continuous operation and surveillance of the building EMCS equipment and systems by constant vigilance, analyzing readings and printout data, responding to alarms and ensuring that appropriate remedial actions are taken to correct and resolve appropriate systems indicators and functions.  The Service Provider shall maintain written records of all activities related to these functions.  The Service Provider shall provide daily (7-days/week) printouts to the Buildings Manager from the EMCS, to ensure proper operation of building systems.

The Service Provider shall continuously review existing EMCS computer and control operations and analyze results.  The Service Provider shall generate a daily building systems status report and provide the report to the Buildings Manager or designee. The Service Provider shall perform a wide variety of repairs, many of which involve complex troubleshooting activities relative to the EMCS.  Troubleshooting and repair functions include repairing and maintaining DDC hardware and actuators and a wide variety of sensing devices (electronic, electric, and pneumatic) such as:  thermostats, humidistats, water detectors, heat sensors, printed circuit boards and other ancillary components; and excludes software programming/ reprogramming.  The EMCS system is a proprietary product from the Siemans, Inc. and is under commercial contract with the DOE.

The Service Provider shall assist in the implementation and execution of the PM Program, as prescribed by the GSA and DOE, for all HVACR and related equipment, such as: greasing fan bearings; replacing bearings, gaskets and filters; checking/maintaining proper oil levels; testing for refrigeration leaks and repairing leaks when found; replacing and aligning various belts; maintaining/replacing valves, independent units, and heat exchange coils; monitoring and adjusting mechanical, electrical and electric/pneumatic controls; and observing and testing for correct operation of all systems and other factors contributing to the proper and efficient operation of the HVACR systems.  The Service Provider may occasionally develop sketches, specifications, and solicitations for maintenance, repair, or improvement contracts.

The Service Provider shall maintain, repair, and calibrate existing pneumatic, pneumatic/electric, and electric/pneumatic control systems related to all HVACR equipment.  The Service Provider shall tour all mechanical rooms and check all systems including steam pressure reducing stations, vacuum pumps, sump pumps, sewage ejection pumps, preheat pumps, reheat pumps, hot water circulating pumps, fan coil pumps, air handling units, fans, chillers, cooling towers, generators, and independent systems.  The Service Provider shall correct deficiencies identified during the tour.  The Service Provider shall tour and inspect mechanical operating equipment three times daily and maintain a daily tour and watch log.  The Service Provider shall provide on-site coverage 24 hours a day, seven days a week.  Watch hours referenced in TE 3-1 reflect this coverage and include performance of tours, and may include performance of preventive maintenance, repairs and response to service calls.  The Service Provider shall maintain a strong interface with supervisors and up-line team personnel for scheduling of priority work, equipment (e.g., HVACR) malfunctions, and supply and material levels; and shall assist, as directed, in the purchase and maintenance of stock repair parts and supply levels for HVACR related materials to minimize the downtime of equipment (refer to Section 6.5.2 for more information).  The Service Provider shall respond to complaints of HVACR failures and other service calls in all areas, interface with occupants, and initiate necessary repairs and/or modifications to alleviate the problem.  The Service Provider shall also interface, escort, and inspect, as assigned, with GSA, DOE and contract personnel; review work and make appropriate recommendations; and provide operational testing to ensure that jobs (i.e., repairs/replacements/new installations) are satisfactorily performed.  The Service Provider must be fully competent in emergency procedures and actions required during emergency situations.

The Service Provider shall perform minor HVACR repairs.  This involves dismantling the equipment, repairing or replacing worn parts, cleaning, placing equipment back into proper working condition, and the painting and labeling of equipment and piping in Mechanical Equipment Rooms (MERs). The Service Provider shall perform monthly cleaning, annual painting and spot painting of MERs as necessary in association with repair and maintenance of equipment and shall detect, diagnose, test, and locate equipment malfunctions.  This includes, but is not limited to: compressors, condensers, lubrication systems, evaporators and steam or chilled water systems.  The Service Provider shall be able to work on and understand direct digital, pressure, and thermostatic controls. The Service Provider is subject to change in tours of duty depending on the urgency of repairs and is subject to recall in the event of any emergency and shall participate in Pepco’s Curtailable Load Program, to reduce utility demand during high peak periods.

The Service Provider shall provide documentation of refrigerant losses to the Refrigerant Management Plan and associated manifest documents for the Forrestal Complex, shall provide an updated Refrigerant Management Plan annually to the Buildings Manager or designee, and may be required to work emergency duty or respond to emergency calls anytime, day, night, weekends, or holidays.  The Service Provider may requisition equipment and supplies as necessary to maintain required level of service (refer to Section 6.5.2 for further detail) and shall maintain daily utility logs to document usage of:  water, gas, electricity, steam, chilled water, fuel oil and emergency electrical diesel generators.  The Service Provider shall manually verify and record fuel oil levels against direct digital meter readings and shall provide a report of usage logs to the Buildings Manager or designee as required.  The Service Provider shall be required to maintain a minimum of 90% fuel oil level in all underground fuel oil tank systems.

The Service Provider shall submit all completed PM, repair and service call work orders (WOs) to the Forrestal Help Desk upon completion of the work.

The Service Provider shall liaison with the GSA Fire Alarm Shop and GSA Switch Gear Shop for services they provide to the agency. The Service Provider shall also liaison with other GSA and DOE construction contractors for the purpose of coordinating and supporting HVACR and systems outages and renovations IAW construction scopes of work.

The Service Provider shall be capable of performing these duties in and around identified hazardous materials such as Asbestos Containing Materials (ACM) and in difficult to reach locations or in confined spaces.  The Service Provider is responsible for moving equipment, furniture and other materials as necessary to perform the work.

All Service Provider employees performing HVACR duties must be licensed or competent to perform these duties at a Journeyman level with eight years of experience (four of which are in commercial applications at the Journeyman level) as a minimum performance requirement.  Employees performing work on refrigeration systems shall also have a Universal Refrigerant Technician Certification and Chlorofluorocarbons (CFC) License for Refrigeration.

##### Provide Plumbing and Pipefitting Services

The Service Provider shall provide plumbing and pipefitting services at the Forrestal Complex IAW all applicable directives and guidance, to include GSA PM Guidelines; GSA Delegation of Authority for Building Operations and Maintenance of Real Property for the Forrestal Complex; EOs 13101 and 13123; WSSC; OSHA; ASHRAE Standards and Uniform Plumbing Code. Customers include all personnel at the Forrestal Complex (including the Child Development Center).

The Service Provider shall perform maintenance, repair and replacement of equipment not covered by existing commercial contracts including; domestic hot and cold water systems; low, medium, and high-pressure steam and condensate distribution systems; chilled water piping systems; fan coil unit systems; drain systems; storm water systems; sewer systems; high temperature water systems; hot water solar heating systems; generator systems; drinking water systems; outdoor fountain systems; pneumatic air systems; fire protection sprinkler systems; and associated controls, valves, hangers, piping, and insulation.  The Service Provider shall also perform all or a combination of the following tasks:  plan and lay out work from blueprints, drawings, technical manuals or specifications to include placement, pitch, routing, elevation, expansion, and operation of piping systems and associated components, equipment, and controls (manual, automatic, and battery powered); and locate, diagnose trouble, and repair all systems and associated components, equipment, and controls.

The Service Provider shall repair and replace toilets, urinals, sinks, flush valves, faucets, drinking fountains, sewer lines, fire protection sprinkler systems, radiators, risers, expansion joints, pressure regulators, steam and drip leg traps, reducing valves, pumps, gauges, and thermostats; and shall measure, cut, thread, assemble, weld, solder, and hang pipes of various material types and sizes.  The Service Provider shall also install insulating material around pipes and fixtures; and shall join, seal, and test systems and equipment for leak free operation.

The Service Provider shall drain and refill all water systems in coordination with others to include GSA fire alarm shop and other GSA and DOE contractors. The Service Provider may be required to work emergency duty or respond to emergency calls anytime, day, night, weekends, or holidays. The Service Provider shall respond to complaints of plumbing failures and other service calls in all areas, interface with occupants, and initiate necessary repairs and/or modifications to alleviate problems.

The Service Provider shall submit all completed PM, repair and service call WOs to the Forrestal Help Desk upon completion of the work.

The Service Provider shall maintain a strong interface with supervisors and up-line team personnel for scheduling of priority work, equipment malfunctions, and supply and material levels; and shall assist, as directed, in the purchase and maintenance of stock repair parts and supply levels for plumbing related materials to minimize the downtime of equipment (refer to Section 6.5.2 for further detail).

The Service Provider shall be capable of performing these duties in and around identified hazardous materials such as ACM and in difficult to reach locations or in confined spaces.  The Service Provider is responsible for moving equipment, furniture and other materials as necessary to perform the work.

The Service Provider shall liaison with the GSA Fire Alarm Shop for services they provide to the agency. The Service Provider shall also liaison with other GSA and DOE construction contractors for the purpose of coordinating and supporting plumbing systems outages and renovations IAW construction scopes of work.

All Service Provider employees performing plumbing and pipefitting duties must be licensed or competent to perform plumbing duties at a Journeyman level with eight years of experience (four of which are in commercial applications at the Journeyman level) as a minimum performance requirement.

##### Provide Electrical Services

The Service Provider shall provide electrical services IAW all applicable directives and guidance including : GSA PM Guidelines, GSA Delegation of Authority for Building Operations and Maintenance of Real Property for the Forrestal Complex; EOs 13101 and 13123; Manufacturer guidelines; OSHA, applicable building codes and the National Electric Code. Customers include all personnel at the Forrestal Complex (including the Child Development Center).

In providing electrical services, the Service Provider shall perform electrical work associated with the proper work methods and craft techniques to accomplish assignments concerned with the operation, PM, repair, replacement, trouble shooting, and modification of new and existing electrical systems, including normal and emergency power systems including battery devices, indoor and outdoor lighting systems, fusion light pipe, photovoltaic array systems, grounding systems, operating equipment, facilities, plumbing systems and all associated components and controls. The Service Provider is responsible to move equipment, furniture and other materials as necessary to perform the work.

The Service Provider shall perform all or a combination of the following tasks:  plan and lay out work from blue prints, sketches, wiring diagrams or other specifications, and oral or written instructions. The Service Provider shall locate electrical short circuits, diagnose trouble and repair a variety of electrical equipment such as fluorescent, incandescent, direct and indirect lighting equipment, air conditioning and heating equipment, fans, motors, timing and recording devices, distribution panels, and connections for machines and office appliances.  The Service Provider shall operate emergency electrical diesel generators and associated transfer switches, radiators, pumps, oil tanks, load banks, and controls.  Electrical services require installing, modifying, repairing, loading and testing new and existing electrical lines, circuits, systems, fixtures, telephone and electrical outlets (floor only), controls, and equipment.  The Service Provider shall also be responsible for replacing general purpose batteries and setting time in  clocks located in public spaces.

The Service Provider shall perform minor electrical or rewiring jobs for segments of buildings and structures, and shall install, repair, and maintain switch and outlet boxes.  The Service Provider shall connect completed electrical circuits to the power source and test operation of switches and equipment, and shall install and repair a variety of raceways such as ½” to 4” Electrical Metallic Tubing (EMT) and rigid conduit, wire mold, and flexible metallic tubing. This work may require the Service Provider to work around very high voltages.  The Service Provider shall determine and install wiring, conduit, fixtures, transformers, panels, and other electrical devices in the size, type, and arrangements necessary for proper and safe operation of electrical systems, circuits and equipment; and shall participate in Pepco’s Curtailable Load Program, to reduce utility demand during high peak periods. The Service Provider may be required to work emergency duty or respond to emergency calls anytime, day, night, weekends, or holidays. The Service Provider shall respond to complaints of electrical failures and other service calls in all areas, interface with occupants; initiate necessary repairs and/or modifications to alleviate the problem; and shall operate and assist in the maintenance of a variety of electrical equipment rated at 600Vand below.

The Service Provider shall submit all completed PM, repair and service call WOs to the Forrestal Help Desk upon completion of the work.

The Service Provider shall maintain a strong interface with supervisors and up-line team personnel for scheduling of priority work, equipment malfunctions, and supply and material levels; and shall assist, as directed, in the purchase and maintenance of stock repair parts and supply levels for electrical related materials to minimize the downtime of equipment (refer to Section 6.5.2 for further detail).

The Service Provider shall be capable of performing these duties in and around identified hazardous materials such as ACM and in difficult to reach locations or in confined spaces.  The Service Provider is responsible for moving equipment, furniture and other materials as necessary to perform the work.

The Service Provider shall liaison with the GSA Switchgear Shop for services they provide to the agency. The Service Provider shall also liaison with other GSA and DOE construction contractors for the purpose of coordinating and supporting electrical systems outages and renovations IAW construction scopes of work.

All employees performing electrical duties must be licensed or competent to perform these duties at a Journeyman level with eight years of experience (four of which are in commercial applications at the Journeyman level) as a minimum performance requirement.

##### Provide Carpentry and General Maintenance Services

The Service Provider shall provide carpentry and general maintenance services IAW all applicable directives and guidance including : GSA PM Guidelines, GSA Delegation of Authority for Building Operations and Maintenance of Real Property for the Forrestal Complex; EOs 13101 and 13123; OSHA; and Child Development Center Standards. Customers include all personnel at the Forrestal Complex (including the Child Development Center).

The Service Provider shall perform general carpentry and maintenance services to the interior of the Forrestal Complex.  This work involves minor repair to sheetrock, soundsoak, benches, coat hangers, portraits, child safety devices, glass and metal partitions, studding, mirrors, toilet paper dispensers, soap dispensers, wood shelving and railing. The Service Provider shall level plaza deck pavers and replace broken pavers, corner supports and/or rigid insulation. The Service Provider shall also replace or repair damaged walls, floors including utility access hatches, ceilings, suspended ceilings, stairways, steps, windows, sky lights, door related items to include doors, frames, soundseals, and accessories.  Such tasks typically involve measuring, cutting lumber and other material to sizes and dimensions, and fitting and assembling members.  The Service Provider shall also replace or repair floor tile and Venetian blinds.   The Service Provider shall perform minor maintenance to include manual closures, locking mechanisms, and opening locked doors.  As directed, the Service Provider shall help keep the job sites and shop areas clean and neat, gather up scattered tools and equipment and return them to their proper place. The Service Provider shall perform PM on fire doors and other carpentry related items, and may be required to work emergency duty or respond to emergency calls anytime, day, night, weekends, or holidays.

The Service Provider shall respond to service calls in all areas, interface with occupants, and initiate necessary repairs and/or modifications to alleviate any problems.

The Service Provider shall submit all completed PM, repair and service call WOs to the Forrestal Help Desk upon completion of the work.

The Service Provider shall maintain and update the PM Database and other repair and service call tracking databases to ensure all information in the automated systems is up-to-date and reflects all current items requiring PM and repair.

The Service Provider shall maintain a strong interface with supervisors and up-line team personnel for scheduling of priority work, equipment malfunctions, and supply and material levels; and shall assist, as directed, in the purchase and maintenance of stock repair parts and supply levels for carpentry related materials to minimize work delays (refer to Section 6.5.2 for further detail).

The Service Provider shall be capable of performing these duties in and around identified hazardous materials such as ACM and in difficult to reach locations or in confined spaces.  The Service Provider is responsible for moving equipment, furniture and other materials as necessary to perform the work.

The Service Provider shall also perform PM for carpentry related items.  All employees performing carpentry duties must be competent to perform these duties at a Journeyman level with eight years of experience (four of which are in commercial applications at the Journeyman level) as a minimum performance requirement.

### Transportation and Travel Management and Motor Vehicle Maintenance

#### Provide Travel Management Services

##### Provide Administration and Management of Travel Management Team

The Service Provider shall provide administration and management of the travel management team program IAW all applicable directives and guidance, to include: Federal Travel Regulations, DOE Travel Regulations, Permanent Change of Station (PCS) guidelines, Contract Management, Household Goods (HHG) Shipment, and General Accounting Office (GAO) regulations.  Customers include all personnel at the Forrestal Complex, satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, or any future locations in the metro area).

The Service Provider shall plan, organize, and distribute work to resolve customer complaints, issues and/or concerns; coordinate and provide training on PCS process; provide procedural and regulatory advice on travel issues, advising DOE HQ on travel matters; and coordinate third-party relocation contractors, to include:  managing technical aspects of transferring employees station-to-station on a worldwide basis, and reviewing and auditing real estate claims arising from official PCS.

The Service Provider shall also produce (as-needed) customer reports and standard monthly reports, conduct analytical studies concerning travel operations, collect and analyze travel operations data, and develop recommendations to improve service.

##### Monitor Activities of Full-Service Domestic and International Travel Operation

The Service Provider shall monitor activities of full-service domestic and international travel operation IAW all applicable directives and guidance, to include: Department of State Guidelines, Federal Travel Regulations, DOE Travel Regulations, and GSA Guidelines.  Customers include all personnel at the Forrestal Complex, satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, or any future locations in the metro area).

The Service Provider shall monitor the performance of the travel operations contractor to include performance of activities such as receiving travel requests from customers, performing cost/benefit analyses, planning and scheduling itineraries (via Trip Planner), booking reservations, obtaining tickets, obtaining federal authorization of en route changes, coordinating the billing process, arranging for travel insurance (for international flights), obtaining foreign approvals, and providing DOE HQ travelers with copies of regulations that governs government travelers.

##### Manage Official US Passports and Visas for DOE Personnel

The Service Provider shall manage official US passports and visas for DOE HQ personnel IAW all applicable directives and guidance, to include: Department of State Guidelines, Federal Travel Regulations and DOE Travel Regulations.  Customers include all personnel at the Forrestal Complex and satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, or any future locations in the metro area).

The Service Provider shall prepare correspondence to Embassies, the Department of State and the Department of Defense (DoD); process passport/visa requests; input expiration date into travel office database; deliver passports/visas; and coordinate control and safeguard procedures.

#### Provide Transportation Services

The Service Provider shall manage a fleet of 45 vehicles (42 leased, 3 DOE-owned) for DOE headquarters which are deployed between Germantown and Forrestal IAW the details provided in TE 3-1.

##### Manage U-Drive Program

The Service Provider shall manage the U-Drive program IAW all applicable directives and guidance including : CFR 101-38.301 (Official Use of Federal Vehicles), DOE Transportation Office Standard Operating Procedures (SOPs), 41 CFR 109-38.5001 (the Trip Log), and GSA regulations for operating vehicles. Customers include all personnel at the Forrestal Complex and satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, or any future locations in the metro area).

The Service Provider shall coordinate the use of HQ fleet vehicles (for official Government business only) to include: sedans, minivans, sport utility vehicles (SUVs), large passenger vans, and cargo vans (mini and large). The Service Provider shall maintain a vehicle log (of vehicles logged-in/logged out) and a list of all vehicles. The Service Provider shall also provide daily inspections of vehicles, coordinate vehicle allocations between Germantown and Forrestal, coordinate PM of assigned vehicles, and process daily trip logs and dispatch logs.

##### Provide Executive Fleet Transportation Services

The Service Provider shall provide executive fleet transportation services for the Secretary of Energy and political appointees, business, foreign dignitaries, and persons of similar rank IAW all applicable directives and guidance including : CFR 101-38.301(Official Use of Federal Vehicles), DOE Transportation Office SOPs, 41 CFR 109-38.5001 (the Trip Log), DOE Headquarters Facilities Master Security Plan and GSA regulations for operating vehicles. Customers include all high-ranking representatives of government and business, foreign dignitaries, and persons of similar rank at the Forrestal Complex and satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, or any future locations in the metro area).

The Service Provider shall provide executive fleet dispatching support services.  The Service Provider shall operate executive fleet transportation service vehicles, utilizing safe driving techniques and Anti-Terrorist Executive Security Training; perform scheduling of ground transportation for supplies, equipment, and other products; coordinate use of HQ fleet vehicles (to include self-drive vehicles and designated drivers); and operate passenger cars, light trucks, small vans and station wagons. The Service Provider shall operate official vehicles for the transportation of DOE HQ officials (to include the Office of the Secretary and other political appointees) or other official business, convey information or documents of a classified nature, and  load and unload vehicle cargo. The Service Provider shall also coordinate PM of assigned vehicle(s) and process daily trip logs in the Fleet Management Information System (FMIS) and dispatch logs.  The Service Provider shall provide transportation services to executive personnel during inclement weather, holidays and agency disruptions in service.  The Service Provider shall manage, operate, and maintain classified communications equipment assigned to executive vehicles as outlined in DOE Transportation Office SOP.  The Service Provider shall have knowledge of the road network in the Washington Metropolitan area, other offices and points of official contact.  The Service Provider shall coordinate, retrieve and distribute print media including newspapers and periodicals to designated Executives within the Agency.   The Service Provider personnel shall be able to lift up to 70 pounds without assistance.

The Service Provider shall have Anti-Terrorist Executive Security Training, and Defensive Driver Safety Training.

#### Support Transportation Systems

##### Provide Transportation-Area Systems Support

The Service Provider shall provide transportation-area systems support IAW all applicable directives and guidance, to include: DOE Transportation Office SOPs.  Customers include all personnel at the Forrestal Complex and satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, or any future locations in the metro area).

The Service Provider shall provide information technology (IT) support and technical advice to transportation operations; manage the Courier Electronic Signature Delivery System (CESDS); manage vendor relationships (as needed); determine system changes, upgrades, modifications; work with IT support to develop, implement and maintain required systems; maintain and utilize ETA Time and Attendance system; and provide utilization tracking support (as needed).

##### Provide Management and Administrative Services

The Service Provider shall provide management and administrative services IAW all applicable directives and guidance, to include: DOE Transportation Office SOPs.  Customers include all personnel at the Forrestal Complex and satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, or any future locations in the metro area).

The Service Provider shall perform/participate in analytical studies, develop and implement training programs for all areas of the transportation function, develop and implement employees’ personal development programs, and receive and account for all types of classified matter.

#### Provide Fleet Maintenance and Management

##### Monitor and Track Fleet Activity

The Service Provider shall monitor and track fleet activity IAW all applicable directives and guidance, to include: DOE Transportation Office SOPs, GSA regulations, and DOE and Federal mandates for fuel efficiency.  Customers include all personnel at the Forrestal Complex, satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, or any future locations in the metro area), GSA, Federal Energy Management Program (FEMP) and EPA.

The Service Provider shall track fleet mileage of all vehicles, to include program offices (as well as security and facilities requirements), and report to Germantown; track weekly consumption of various fuel options including alternative fuel, re-refined oil, and gasoline; and ensure DOE established fuel program objectives are met.

##### Conduct Headquarters Fleet Management Activities

The Service Provider shall conduct HQ fleet management activities IAW all applicable directives and guidance, to include: Federal EOs, EPA regulations, Operating Procedures, GSA policies, Office of Management and Budget (OMB) policies, and DOE Transportation Office SOPs. Customers include all personnel at the Forrestal Complex, satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, or any future locations in the metro area), GSA, and OMB.

The Service Provider shall analyze motor pool operations to evaluate performance and control or reduce costs, conduct quarterly fleet inventory, and direct and coordinate the identification (ID) of HQ excess vehicles to GSA and leasing contractors.  The Service Provider shall advise on program technical issues; receive, review, and distribute procedural guides or instructions for use in implementing the HQ fleet programs; and coordinate and conduct vehicle registration, licensing and renewal procedures (based on local jurisdiction).  The Service Provider shall also provide annual reports to GSA and OMB, preparing and distributing periodic reports to GSA on vehicle assigned credit card usage upon request and providing fleet size and budget information to OMB. The Service Provider shall  coordinate investigation of vehicle accidents and local motor vehicle infractions involving HQ federal and/or contractor personnel operating government vehicles.   The Service Provider shall provide accident and infraction reports, payment receipts and related documents to the DOE General Counsel, Commercial Leasing Company, state and local motor vehicle administrations and the GSA Fleet Management Center.

##### Manage the Vehicle Maintenance Program

The Service Provider shall manage the vehicle maintenance program IAW all applicable directives and guidance, to include:  Federal EOs, Operating Procedures, GSA policies, and DOE Transportation Office SOPs.  Customers include all personnel at the Forrestal Complex, satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, any future locations in the metro area), GSA, and OMB.

The Service Provider shall schedule, coordinate and accomplish periodic maintenance of fleet; inspect vehicles to determine condition and direct replacement, repair, and maintenance; conduct minor maintenance activities (e.g., replace wiper blades, check and adjust tire pressure as needed); coordinate the acquisition of new vehicles per contractual agreement; develop contract vehicle specifications; determine vehicle needs based on DOE HQ requirements; and coordinate the retirement of fleet vehicles.  The Service Provider shall coordinate and accomplish the installation and removal of emergency equipment, including lights and sirens on designated fleet vehicles.   The Service Provider shall coordinate and accomplish the installation and removal of classified and unclassified communications equipment from designated fleet vehicles.

### Supply and Logistics Operations

#### Provide Personal Property Management for Direct Operations

##### Receive and Secure Personal Property Prior to Distribution

The Service Provider shall receive and secure personal property prior to distribution (excluding warehouse operations) IAW all applicable directives and guidance, to include: DOE HQ Order 580.1A; CFR 41 Chap. 101 (FPMR), 102 Federal Management Regulations (FMR) and 109.5 (DOE Property Management Regulations-PMR); and the FAR. Customers include all personnel at the Forrestal Complex (including the Child Development Center), satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, (or any future locations in the metro area), agencies (United States Department of Agriculture (USDA) and DoD), and DOE Field Offices.

The Service Provider shall sign for personal property upon delivery, inspect property for condition/visual damage, accept/reject property/shipments, secure accepted property items (in holding area), and research and match purchase orders with received property.  The Service Provider shall process personal property procured by purchase cardholders, barcode/tag property, enter received property into SUNFLOWER, and notify the purchaser of property.  The Service Provider shall also arrange/coordinate delivery of property, forward property to Germantown/Landover for storage, update custodian (user) information on distributed property, and generate required reports (gain/loss report).

##### Provide Procurement Support Services

The Service Provider shall provide procurement support services IAW all applicable directives and guidance, to include: DOE HQ Order 580.1A; CFR 41 Chap. 101 (FPMR), 102 (FMR) and 109.5 (DOE PMR), the FAR, and ADA and OSHA requirements.  Customers include all personnel at the Forrestal Complex (including the Child Development Center), satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, or any future locations in the metro area).

The Service Provider shall receive, process and coordinate the requisitioning, scheduling and delivery of procured items, determine required replenishment quantities, process acquisitions through authorized procurement methods, and process requisitions for furniture, furnishings and equipment.  The Service Provider shall consult and provide an alternative solution if needed to requisitions,  make furniture acquisition recommendations (if not in stock), obtain federal approval of acquisitions, and acquire special needs items (e.g., items for persons with disabilities and items for executive staff).

The Service Provider shall provide contractor oversight of carpet installation, cleaning and maintenance; furniture and security container locks; moving and labor services (major and minor moves); warehouse operations includes (shipping and receiving); interior horticultural services; and supply stores.

The Service Provider shall also provide comprehensive project management for furniture installation services, contract services for refurbishing services, and contract services for furniture reconfiguration services.

##### Provide Inventory Management

The Service Provider shall provide inventory management IAW all applicable directives and guidance, to include: DOE HQ Order 580.1A; CFR 41 Chap. 101 (FPMR), 102 (FMR) and 109.5 (DOE PMR); and the FAR.  Customers include all personnel at the Forrestal Complex (including the Child Development Center) and satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, or any future locations in the metro area).

The Service Provider shall develop and execute inventory plans, maintain a property management inventory (to include stock levels), coordinate and conduct routine inventory walk-throughs by organization, coordinate with Accountable Property Representatives (APRs), and reconcile physical inventory by organization to the master inventory/SUNFLOWER database.  The Service Provider shall also generate physical inventory reports as needed, update the SUNFLOWER database, conduct random sampling, conduct an annual self-assessment and report results to finance and procurement, and manage the Property Pass Program.

Service Provider personnel performing this function must be a Certified Property Management Specialist IAW certification requirements of the National Property Management Association (NPMA).

##### Provide Management and Administration of Property Disposition

The Service Provider shall provide management and administration of property disposition IAW all applicable directives and guidance, to include:  DOE HQ Order 580.1A; CFR 41 Chap. 101 (FPMR), 102 (FMR) and 109.5 (DOE PMR); and the FAR.  Customers include all personnel at the Forrestal Complex (including the Child Development Center) and satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, or any future locations in the metro area).

The Service Provider shall receive or retrieve property items for disposition, sanitization, and redistribution; process transfers of personal property; recommend property items to be excessed; forward property (equipment) for disposal to the receiving group (at loading dock - Germantown); and forward furniture for disposal to the receiving group (Landover, MD).  The Service Provider shall sanitize all IT equipment received for disposition.  The Service Provider shall also examine incidents of loss, damage or destruction of Government property and explain any inventory adjustments.  The Service Provider is also responsible for recommending approval of property loan requests, coordinating DOE Field Office and inter-agency distributions or retrievals of loaned property, and conducting physical distribution or retrieval as needed.

##### Provide Property Management Training to Accountable Property Representatives and Administrative Officers

The Service Provider shall provide quarterly training to APRs and Administrative Officers (AOs) on personal property management IAW all applicable directives and guidance, to include:  DOE HQ Order 580.1A; CFR 41 Chap. 101 (FPMR), 102 (FMR) and 109.5 (DOE PMR); and the FAR.  Customers include all APRs and AOs at the Forrestal Complex (including the Child Development Center) and satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, or any future locations in the metro area).

The Service Provider shall conduct ongoing training and develop training and certification programs as required.  Service Provider personnel performing this function must be a Certified Property Management Specialist IAW certification requirements of the NPMA.

##### Manage Furniture Reutilization Services

The Service Provider shall manage the furniture reutilization services IAW all applicable directives and guidance, to include:  DOE HQ Order 580.1A; CFR 41 Chap. 101 (FPMR), 102 (FMR) and 109.5 (DOE PMR), the FAR, ADA, and OSHA requirements.  Customers include all personnel at the Forrestal Complex (including the Child Development Center) and satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, or any future locations in the metro area).

The Service Provider shall receive and process requests for excess/surplus furniture returns, coordinate with program offices and warehouse for pick-up of returned items, evaluate returned items for appropriate disposition (to determine whether reutilized, disposed of, or refurbished), assign condition codes, coordinate with GSA and the warehouse for disposal of unserviceable furniture, and prepare disposal supporting documentation for GSA.

The Service provider shall also conduct minor repair and preparation of re-utilizable furniture, Assist the COR in identifying a refurbishment contractor, coordinate on-site or off-site refurbishment work with the warehouse and the refurbishment contractor, and inspect the work of the refurbishment contractor. The Service Provider shall also evaluate and coordinate payment process, review the weekly inventory report of total products on-hand in warehouse, oversee contract labor maintenance of current database of all available products in the warehouse, and prepare management reports.

#### Provide Printing Management Services

##### Provide Printing Services

The Service Provider shall provide printing services IAW all applicable directives and guidance, to include:  Title 44 US Code, Government Printing Office (GPO) Printing and Binding Regulations, DOE Printing and Binding Regulations. Customers include all personnel at the Forrestal Complex (including the Child Development Center) and satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, or any future locations in the metro area).

The Service Provider shall receive incoming printing requests from customers and process printing requests, to include assigning publication number as appropriate, verifying supporting documentation, inputting into Job Tracking System (JTS), following up with copy of HQF 1420.7, (Request for Print, Mail, and Visual Media Services) to customers of assigned printing specialist and job control number as a receipt, and developing specifications for print jobs. The Service Provider shall act as liaison between the customer and GPO designated contractors, discuss and resolve any interim stages with the direct deal vendor and GPO as the job progresses, and act within compliance of regulations and laws. The Service Provider shall determine scheduling, estimate costs of printing jobs, determine the distribution/mailing of printing materials, conduct on-site proof inspections, conduct off-site press sheet inspections, approve print jobs, and coordinate and provide court reporting services. The Service Provider shall also handle jobs to be published in the Federal Register, respond to status inquiries from the Program Offices that are published in the Federal Register, count columns and or pages in the Federal Register book, enter information and estimated costs into the JTS, enter actual costs from the Intergovernmental Payment and Collections System bills into the JTS, and reconcile the differences between estimated costs and actual costs.

##### Manage Printing Services Operations

The Service Provider shall manage printing services operations IAW all applicable directives and guidance, to include:  Title 44 US Code, GPO Printing and Binding Regulations, and DOE Printing and Binding Regulations. Customers include all personnel at the Forrestal Complex (including the Child Development Center) and satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, or any future locations in the metro area).

The Service Provider shall monitor and manage vendor performance, and communicate with clients regarding the status of their job.

The Service Provider shall provide monthly reports through the Working Capital Fund (WCF) for all Program Offices, provide quarterly WCF business line analysis, provide ad hoc reports upon request from Program Offices, and initiate/update the Printing Program Five-Year Plan and annual reports to the WCF Board. The Service Provider shall also maintain, update and input data into printing tracking systems; conduct analytical studies and benchmarking, and present findings and recommendations based on completed studies.

#### Provide Copier Management Services

##### Conduct Inventories of Copier Supplies and Equipment

The Service Provider shall conduct inventories of copier supplies and equipment IAW all applicable directives and guidance, to include: SOPs.  Customers include all personnel at the Forrestal Complex (including the Child Development Center) and satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, or any future locations in the metro area).

The Service Provider shall conduct a quarterly inventory of copier supply items, evaluate supply levels for all machines, ensure replenishment, and oversee supply reorders for re-stock.  The Service Provider shall conduct a quarterly inventory of copier equipment, including inventorying the make, model, and location of copier equipment. The Service Provider shall also compile monthly meter readings and report to copier vendors based on make, model, and location of copier equipment.

##### Provide Copier Performance Support and Analysis

The Service Provider shall provide copier performance support and analysis IAW all applicable directives and guidance, to include: SOPs.  Customers include all personnel at the Forrestal Complex (including the Child Development Center) and satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, or any future locations in the metro area).

The Service Provider shall provide guidance to customers on copier program issues. The Service Provider shall monitor performance standards for copier program; develop, conduct and analyze customer satisfaction surveys; conduct time management analyses of copier operations; and conduct trend analyses for copier locations.

##### Provide Copier Logistics, Support and Disposition Services

The Service Provider shall provide copier logistics, support and disposition services IAW all applicable directives and guidance, to include: SOPs.  Customers include all personnel at the Forrestal Complex (including the Child Development Center) and satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, or any future locations in the metro area).

The Service Provider shall determine the application and location of all copy equipment, participate in space planning meetings with customers, consult customer on copier application and spacing, determine customer photocopying requirements, provide recommended options, review copier specification requirements to include electrical and environmental, and coordinate copier relocations as needed.

The Service Provider shall arrange for delivery and installation of newly purchased equipment, ensuring customer representatives/technicians have appropriate clearances and building access, and ensuring machines are properly tagged.

The Service Provider shall also coordinate training for key operators and users on newly acquired equipment; coordinate and monitor contractors maintenance on walk-up, dedicated, and staffed copiers for HQ (approximately 220 copiers); provide automated access and control and reporting for individual copiers; ensure Equitrac copier database system and JTS are maintained and are in good working order; provide replacement services for all HQ copiers; ensure placement of service calls for customers' machines as necessary; provide quality control (QC) mechanisms to ensure customer satisfaction; and perform equipment surplus/trade-in functions where appropriate.

##### Provide Copier Operations Management and Administrative Services

The Service Provider shall provide copier operations management and administrative services IAW all applicable directives and guidance, to include: SOPs.  Customers include all personnel at the Forrestal Complex (including the Child Development Center) and satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, or any future locations in the metro area).

The Service Provider shall provide monthly reports through the WCF for all Program Offices, provide quarterly WCF business line analysis, provide ad hoc reports upon request from Program Offices, and initiate/update the Copier Program Five-Year Plan and annual reports to the WCF Board. The Service Provider shall also maintain, update and input data into copier tracking systems; conduct analytical studies and benchmarking, and present findings and recommendations based on completed studies.

##### Provide Copier Supply Services

The Service Provider shall provide copier supply services IAW all applicable directives and guidance to include SOPs.  Customers include all personnel at the Forrestal Complex (including the Child Development Center) and satellite lease locations (currently 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, or any future locations in the metro area).

The Service Provider shall maintain an inventory of copier supplies and submit requests for replenishment of supplies.  The Service Provider shall administer monthly paper delivery and shall determine customer overage needs.  The Service Provider shall conduct sales of needed supplies to Program Offices.  The Service Provider shall update copier JTS for inventory and sales and oversee the service contractor providing the supply services at Forrestal.

DOE will be responsible for the acquisition of the supplies.

## Headquarters--Germantown Complex

### Facilities and Building Maintenance and Management

#### Provide Administrative Support

##### Perform Inspection of Daily and Periodic Custodial Work

The Service Provider shall perform inspection of daily and periodic custodial work (so that the entire facility is inspected every twenty business days) in accordance with (IAW) all applicable directives and guidance including the Delegation Agreement between GSA and DOE.  Customers include all personnel at the Germantown Complex (including the Child Development Center), Custodial COR, the Buildings Manager, and the Assistant Buildings Manager or his designee.

The Service Provider shall ensure that contracted custodial services (including integrated pest management, recycling & trash removal) are completed as to the scope and duties within the awarded performance contract for the Germantown Complex.  Copies of contract statements of work are provided in the Technical Library.  The Service Provider shall make detailed inspections of all custodial work while it is in progress and after it has been completed.  Inspection covers all phases of the cleaning operation (approximately 494,000 square feet of space) for the Germantown Complex, and the Child Development Center (approximately 8,200 square feet).  Inspections are made during different shifts and weekends as necessary to inspect all facets of the cleaning operations IAW the custodial cleaning contract scope of work (Appendix B).  If cleaning standards and general safety practices are not being met, the Service Provider must be able to determine the degree of noncompliance and convey his/her findings in writing.  A sampling method of inspection will be used and the incumbent will determine the areas to be inspected by using knowledge of the building and the requirements of DOE HQ and its contractor.  Service Provider shall develop a daily inspection schedule so that the entire facility is inspected every twenty business days.  The SP shall escort custodial contractors as required.

The Service Provider shall inspect the custodial contractor to ensure that the contractor is using the proper cleaning techniques and materials and is performing their work in a safe manner in order to protect the building occupants.  The Service Provider shall resolve minor disputes with the custodial contractors on compliance/performance of the contract.  If the situation warrants, (i.e., deficiencies) the Service Provider shall notify the Facilities Management Specialist, Assistant Buildings Manager, or the Buildings Manager.

The Service Provider shall monitor the contractor’s sign-in and sign-out log to determine contract compliance, and shall maintain a daily file folder for each contract.  Daily and periodic reports using GSA SF-64 (periodic) and GSA SF-1181A (daily) shall be completed.

The Service Provider shall ensure that the custodial contractor responds to all emergency and special event calls during the prescribed contract hours and time limits.  Historically, an average of 12 special event calls are experienced annually.  The Service Provider may be required to work emergency duty or respond to emergency or special event calls anytime, day, night, weekends, or holidays.

##### Manage Help Desk

The Service Provider shall manage the Help Desk IAW all applicable directives and guidance, to include:  GSA PM Guidelines and Standards and published WCF Corporate Response Times.  Customers include all personnel at the Germantown Complex (including the Child Development Center).

The Service Provider shall manage the Help Desk by receiving requests and complaints of building related problems and services from customers, forwarding the work as appropriate, and tracking requests using the Maintenance Service Tracking System (MSTS) software.  Requests are far reaching and include all building related issues whether performed by the Service Provider or not.  The Service Provider shall record, monitor, track, update, and close out all complaints and requests in the MSTS tracking database, and provide any additional actions or customer follow-up necessary to ensure customer satisfaction.

The Service Provider shall distribute WOs to appropriate shops for their completion.  Upon completion by shop personnel, the Service Provider shall prepare close outs in the automated tracking system.  Coverage is required during normal business hours.  The Service Provider shall establish a response strategy for emergencies occurring during non-business hours and shall contact the Buildings Manager or designee for all emergencies.

The Help Desk shall be staffed from 7:30 AM to 4:30 PM during normal government business days.

##### Performs Inspection of Operations & Maintenance and Repair Performance

The Service Provider shall perform inspections of federal and contractor O&M and repair performance IAW all applicable directives and guidance including :  Tour and Watch Guidelines; GSA PM Guidelines; GSA Delegation of Authority for Building Operations and Maintenance of Real Property for the Germantown Complex; EOs 13101 & 13123; National Electric Code; ASHRAE Standards; ANSI Publications; Uniform Plumbing Code; Uniform Mechanical Code; Manufacturer recommendations; WSSC requirements and  OSHA guidelines.  Customers include all personnel at the Germantown Complex (including the Child Development Center), COR, and the Buildings Manager or designee.

The Service Provider shall support the administrative coordination of the PM and repair program, to include: scheduling, notification of occupants, reporting, escorting personnel without the appropriate clearance, inspecting the work of all trades as identified below in Section 3.2.1.3, and verifying that the PM database and other tracking databases are maintained and updated. The Service Provider shall provide text reports and flow-charts to the Buildings Manager to track/compare weekly PM and Service Calls.  Comparisons should be for current year to previous year.  The Service Provider must ensure that all PM activities are accomplished during the scope of review required for the Germantown Complex.  The Service Provider is responsible to move equipment, furniture, and other materials as necessary to inspect the work.

The Service Provider shall be responsible for assisting in implementation of the PM program.  This involves coordinating, monitoring, and inspecting 10% of the PM, service calls, repairs and improvements daily.  The Service Provider shall be responsible to inspect all fire extinguishers on a monthly and annual basis, and shall generate monthly and annual reports, which will be used for other Service Provider personnel to effect the necessary repairs/replacement.  The Service Provider shall randomly inspect and write inspection reports on building systems operations, PM, service calls, and repair work that are performed by the Service Provider’s personnel or subcontractors.

The Service Provider shall ensure that current and accurate as-built drawings are provided and maintained for all building systems and structures.  The Service Provider shall ensure that contracted services are in compliance with all pertinent drawings and specifications, as provided in the awarded performance contract for the Germantown Complex, including but not limited to the following: maintenance, repairs, and adjustments of all types of mechanical equipment including complex, integrated electronic control and sophisticated logic systems such as the EMCS at Germantown, which uses Johnson Controls METASYS Network Control Unit System and oversees contractors in the overhaul of electronic pneumatic, pressure and electric controls.  The Service Provider shall work from complex contract drawings and specifications including schematic wiring diagrams; shall interpret layout detail prints, specifications, code requirements; and shall utilize standard trade publications and practices. The Service Provider shall also monitor and coordinate this activity as it relates to the DOE HQ recycling program to include scrap materiel.

The Service Provider shall coordinate and inspect the work of contractors and Service Provider personnel in performing a variety of trade and craft functions associated with building cleaning, service calls, maintenance, repairs, cyclical painting and alterations to the Germantown Complex including work in progress for compliance with contract requirements.  The Service Provider must have a thorough technical knowledge include heating, ventilation, air conditioning, plumbing, steam fitting, electrical, carpentry and cleaning.  The Service Provider shall visually check and measure various systems and components to assure that O&M and repair contractors are meeting specifications of the contract, DOE requirements, standards, etc, and that the work meets applicable code requirements.  The Service Provider shall oversee other contractor and Service Provider personnel to ensure that they are following safe work practices, and shall escort contractors and other personnel when necessary.

The Service Provider shall review all estimates of repair work submitted by the contractor to ensure technical accuracy.  This involves inspecting the sites of proposed work to determine the need and adequacy of the estimate.  The Service Provider shall estimate the costs of repairs (parts, equipment, etc) as directed and provide technical trade/craft specifications for contract development.  The Service Provider shall write inspection reports on the quality and quantity of contractual work performed and shall provide written recommendations for payments and/or deductions based on inspection findings and requirements of contracts, fully documenting the basis for deductions.  The Service Provider shall prepare progress, deficiency and completion reports on work inspected.  In performing the work, the Service Provider shall maintain continuous daily contact with the contractor and contract personnel regarding contract interpretation, work scheduling and correction of deficiencies.

The Service Provider shall be able to use a wide variety of inspection techniques with measuring devices including: moisture detectors to check for leaks and condensation; dial indicators to check proper alignment of motors and pumps; micrometers to check shafts, bearings, etc. on fans, pumps, and compressors; torque wrenches to check proper assembly of components of various mechanical systems such as plumbing, air conditioning, and electrical; amprobes, voltmeters, and megohmeters for checking voltage, current, and resistance in various electrical circuits, motors, generators, relays, circuit breakers, controls, etc.; and, infrared thermometers to inspect thermal systems such as checking steam lines for proper operation.

##### Perform Grounds Maintenance Oversight

The Service Provider shall perform grounds maintenance oversight IAW all applicable directives and guidance, to include:  GSA PM Guidelines, OSHA, and Chemical Treatment Guidelines for Lawn Care and Snow Removal. Customers include all personnel at the Germantown Complex (including the Child Development Center) and the Buildings Manager.

The Service Provider shall serve as the contract monitor for the Germantown grounds maintenance contract.  All work performed by the contractor shall be inspected to ensure compliance with contract specifications.  The Service Provider shall prepare and submit for ordering all supply, material and service orders associated with project such as:  equipment, parts, snow/ice repellants, flowers, mulch, topsoil, seeds, etc. (refer to Section 6.5.2 for further details).  The Service Provider shall serve as the key DOE HQ coordinator to deal with inclement weather conditions such as snow or ice storms.  The Service Provider coordinator shall notify the emergency snow removal team for duty and remain until roadways, parking lots, and sidewalks have been cleared of snow and ice to ensure safe occupancy (ingress/egress) for the building occupants.

The Service Provider shall be responsible for maintenance of all grounds equipment, fences, gates, picnic tables, benches, ball fields and bus stops.  The Service Provider shall be responsible for placement/re-placement and maintenance of Germantown Complex and leased facilities’ posts, traffic signs and markings.

The Service Provider shall serve as horticultural advisor to recommend proper planting, pruning, spraying, fertilizing, etc. of all foliage, and shall maintain a healthy ecosystem of Germantown Complex pond, wells and surrounding grounds.  Emergency response may be required 24 hours, 7 days a week.

##### Perform Buildings Operations Management Function

The Service Provider shall provide management of building operations IAW all applicable directives and guidance, to include the Government Green Regulation on recycling.  Customers include all personnel at the Germantown Complex (including the Child Development Center) and the Buildings Manager.

The Service Provider shall administer and monitor comprehensive management programs for the operation, repair, maintenance and alteration to physical facilities.  This involves performing cost estimating for construction and alterations. The Service Provider shall interface with management and contractors on support requirements for construction activities. The Service Provider shall create proposed alterations sketches, as required, to show wall locations, electrical outlets, and telephone jacks to be removed or installed.  The Service Provider shall prepare progress and final inspection reports for construction and alterations work performed in the Germantown Complex and leased buildings. The Service Provider shall inspect buildings and grounds for the purpose of ensuring safe and orderly conditions, evaluate the adherence to established standards of operations and services, and determine deficiencies and initiates corrective actions.

The Service Provider shall provide information for the Alterations/Renovation Tracking System to ensure all information in the computer is correct and up-to-date with respect to the status of their projects.  The Service Provider shall negotiate and monitor schedules, work in progress, inspection, and contractors’ (GSA, etc) performance relating to buildings and facilities operations, and shall report contractor status to management.  The Service Provider shall prepare WOs from requests for buildings maintenance, normal cleaning, and general facilities services to include coordination with outside vendor for all key and lock services not included in 3.2.1.3.4 and shall ensure compliance with EOs to reduce energy use at the Germantown Complex.

The Service Provider shall prepare and will be responsible for a variety of reports relating to buildings management operations, construction activities, fund expenditures and general facilities services.  The Service Provider shall coordinate construction, alterations and improvements, maintenance and repair of plant facilities and general facilities services with the least disruption to the employees. The Service Provider shall coordinate the ordering of materials and supplies for the entire Germantown Complex and shall monitor various contracts such as trash removal, alterations, cleaning, cafeteria, concessions, pest control, and vending rooms.  The Service Provider shall also oversee monthly cafeteria committee meetings and provide written reports to the Buildings Manager and shall serve as liaison between GSA, DOE HQ, and lessors.

#### Perform Space Management Activities

##### Manage Space Allocation/Assignment

The Service Provider shall provide management of space allocation/assignment IAW all applicable directives and guidance, to include:  41CFR- Ch.101, ADA Compliance Guide, UFAS, GSA Design Guidelines: PBS P 3430.1 Quality Standards for Design and Construction, PBS P 3410.1c Instructions to Contract Architect Engineers, PBS P 3425.8A Criteria for Federal Office Building, NFPA Code, American Institute Architects Master Specifications (all divisions), 29 CFR-OSHA Guidelines, EPA Guidelines, EOs 13101  and 13123.  Customers include all personnel at the Germantown Complex (including the Child Development Center) and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall develop and update as-built drawings.  This involves conducting surveys of existing conditions and updating current as-built drawings using AutoCAD (or future industry standards adopted by GSA or DOE).  Key plans shall also be created using AutoCAD.  The Service Provider shall maintain a database of space assigned by program.  This involves developing the database by location in building, by building, and HQ-wide development. The Service Provider shall plan, develop and implement all moves of personnel and equipment.  This involves providing complete systematic service, supporting the setup of new or temporary organizations, and determining space requirements and assuring that requirements are satisfied.

##### Manage Space Utilization

The Service Provider shall provide management of space utilization IAW all applicable directives and guidance, to include:  41CFR- Ch.101.  Customers include all personnel at the Germantown Complex (including the Child Development Center) and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall determine utilization (square feet per person) statistics by program by location within a building, by program by building, and by program HQ-wide.  The Service Provider shall develop and maintain detailed information on space availability and requirements.  Current and long-term space requirements shall be studied and analyzed by the Service Provider, and alternative uses of space developed.  The Service Provider shall also recommend establishment or revision of policies regarding the use of space.

##### Develop Space Analyses

The Service Provider shall develop space analyses IAW all applicable directives and guidance, to include:  41CFR- Ch.101, ADA Compliance Guide, UFAS, GSA Design Guidelines: PBS P 3430.1 Quality Standards for Design and Construction, PBS P 3410.1c Instructions to Contract Architect Engineers, PBS P 3425.8A Criteria for Federal Office Building, NFPA Code, American Institute Architects Master Spec (all divisions), 29 CFR-OSHA Guidelines, and EPA Guideline. Customers include all personnel at the Germantown Complex (including the Child Development Center) and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall develop space analyses by reviewing key plans and as-built drawings to develop options to meet space management requirements. The Service Provider shall develop presentation packages for management decision, providing graphic representation on key plans of proposed options, pros and cons analysis, cost estimates, and proposed schedules.  Occasionally, this may include space studies using scale drawings (1/8” = 1’–0”) of partition plans and/or furniture, telephone and electric plans.  At times, multiple iterations of a presentation package may be required to garner management approval.

##### Provide Space Planning

The Service Provider shall provide space planning IAW all applicable directives and guidance, to include: CFR-41 Ch.101, ADA Compliance Guide, UFAS, GSA Design Guidelines: PBS P 3430.1 Quality Standards for Design and Construction, PBS P 3410.1c Instructions to Contract Architect Engineers, PBS P 3425.8A Criteria for Federal Office Building, NFPA Code, American Institute Architects Master Specifications (all divisions), 29 CFR-OSHA Guidelines, and  EPA Guidelines.  Customers include all personnel at the Germantown Complex (including the Child Development Center) and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall survey existing space conditions, obtain programming information and coordinate all related requirements for location changes.  The Service Provider shall develop space studies (concept designs), providing space studies for client review/comment, incorporating changes requested by the client into space studies (drawings), providing expertise in the areas of physical and technical security, preparing and managing designs for HQ Security areas, and obtaining client approval of final space studies.  The Service Provider shall prepare construction documents (drawings and specifications) from the approved space study (or concept design), addressing fire protection, life safety, physical and technical security procedures and requirements, ADA compliance, UFAS requirements, and GSA mandated space utilization and other requirements.  The Service Provider shall prepare IGE for costs to complete construction; provide construction documents and IGE (for bid process); answer or clarify questions on drawings and specifications during bid process and/or walk-throughs by construction contractors; review and approve materiel submittals and/or shop drawings from construction contractors; handle all drawings and specification requirements, government cost estimates and time extensions for change orders as needed; and conduct post occupancy evaluations. The Service Provider shall also update as-built drawings to reflect new construction.

##### Provide Federal Leasing Services

The Service Provider shall provide federal leasing services IAW all applicable directives and guidance, to include: Federal Property and Administrative Services Act of 1949 (FPMR), Atomic Energy Act of 1954, DOE Organization Act of 1991, and DOE Orders 430.1B (Real Property Management) and 430.1 LCAM; FAR; EOs 13101 and 13123. Customers include all personnel at the Germantown Complex (including the Child Development Center) and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall provide lease acquisition support services, assuring that all leases meet federal and DOE policies and procedures; provide lease management and administration services, to include performing building inspections to ensure lease compliance (e.g. custodial services, environmental services, etc.), attending periodic meetings with lessor, and responding to customer complaints, and the Service Provider shall perform disposals of leases or interests therein for DOE HQ.  All lease acquisition, administration and disposal services are formally provided by GSA in the National Capital Region for DOE.  The Service Provider will provide the support services outlined above for DOE HQ to provide to GSA as necessary.

##### Provide General Management Services for Space Management Program

The Service Provider shall provide general management services for the space management program IAW all applicable directives and guidance, to include:  41CFR- Ch.101, ADA Compliance Guide, UFAS, GSA Design Guidelines: PBS P 3430.1 Quality Standards for Design and Construction, PBS P 3410.1c Instructions to Contract Architect Engineers, PBS P 3425.8A Criteria for Federal Office Building, NFPA Code, American Institute Architects Master Specifications (all divisions), 29 CFR-OSHA Guidelines, EPA Guidelines, EOs 13101  and 13123, and Means Building Construction Cost Data. Customers include all personnel at the Germantown Complex (including the Child Development Center) and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall produce required reports, and shall provide and validate FIMS data.  The Service Provider shall plan, direct, and evaluate performance of space management activities and provide client communications related to space management issues.  The Service Provider shall provide technical advice, and assistance to HQ staff regarding space management and design services; and shall provide expertise in the areas of AutoCAD software (or future industry standards adopted by GSA or DOE), Xerox LAN administration, and plotting and copying systems.

#### Facilities Operations & Maintenance

##### Perform Operations & Maintenance and Repair of Heating, Ventilation, Air Conditioning, and Refrigeration Systems and Associated Controls

The Service Provider shall perform O&M and repair of HVACR systems (including high pressure steam/steam stations) and associated control duties IAW all applicable directives and guidance including :  Tour and Watch Guidelines; GSA Delegation of Authority for Building Operations and Maintenance of Real Property for the Germantown Complex; Manufacturer Guidelines; EOs 13101 and 13123; GSA PM Guidelines; OSHA; ASHRAE Standards; ANSI Publications; SMACNA; NFPA Code; Uniform Mechanical Code; and Uniform Plumbing Code.  Customers include all personnel at the Germantown Complex (including the Child Development Center).

The Service Provider shall operate, maintain and repair all HVACR systems and associated controls serving the Germantown Complex in order to provide comfort for the occupants and for the implementation of an energy reduction program.  The Service Provider shall provide constant oversight of HVACR systems and associated controls, including providing immediate response in cases of emergency.  The Service Provider shall develop and submit two schedules (one (1) Summer and one (1) Winter) for HVACR equipment operation to the Buildings Manager or designee for review and approval.  The Service Provider shall continually monitor weather and indoor building conditions in order to take necessary actions required to increase or decrease steam and chilled water demands and to determine operating parameters for the heat exchanger, chillers, and boilers located at the chiller plant and boiler plant, respectively.

The Service Provider shall operate, adjust, modify, repair, install components, and perform major and minor PM on the DDC-based Facility EMCS as installed by Johnson Controls and other assigned building automation and control systems.  The Service Provider personnel must successfully complete a minimum of 40 hours of training in the Johnson Controls METASYS EMCS system.  These systems monitor and control the Germantown Complex HVACR systems and related equipment and machinery as well as a wide range and variety of critically controlled environmental areas such as the Computer Center, LAN rooms, Technical Support Center, etc.

The Service Provider shall ensure the continuous operation and surveillance of the building EMCS and HVACR equipment including the water tower, and heating and chiller plants and systems by constant vigilance, analyzing readings and printout data, responding to alarms and complaints, performing repairs and required maintenance, and ensuring that appropriate remedial actions are taken to correct and resolve appropriate systems indicators and functions.  When monitoring utility consumption and demand, peaks are continuously monitored.  When overrun of target limits for demand or consumption of a utility is imminent, the Service Provider shall initiate and implement the shedding of load on a selective basis, according to schedule.  The Service Provider shall maintain written records of all activities related to these functions and generate a daily building systems status report and provide it to the Buildings Manager or designee.  Required daily utility logs include:  fuel oil, sewer, water, gas, electricity, and emergency generator.  The Service Provider shall requisition equipment and supplies as necessary to maintain required level of service (refer to Section 6.5.2 for further detail).  The Service Provider shall provide daily (7-days/week) printouts to the Buildings Manager from the EMCS to ensure proper operation of building systems.

The Service Provider shall repair and maintain monitoring and control points on the EMCS for the Germantown Complex and EM programs and shall continuously review existing EMCS computer and control operations and analyze results.  The Service Provider shall perform a wide variety of troubleshooting and repairs relative to the EMCS ranging from resolving computer software problems to repairing and maintaining DDC hardware and actuators, and a wide variety of sensing devices (electronic, electric, and pneumatic) such as:  thermostats, humidistats, water detectors, heat sensors, printed circuit boards, and other ancillary components.

The Service Provider shall be responsible for the implementation of the PM Program, as prescribed by the GSA, for all HVACR and related equipment, such as: greasing fan bearings, replacing bearings, gaskets and filters; checking/maintaining proper oil levels; testing for refrigeration leaks and repairing leaks when found; replacing and aligning various belts; maintaining/replacing valves, independent units, and heat exchange coils; monitoring and adjusting mechanical, electrical and electric/pneumatic controls; and observing and testing for correct operation of all systems and other factors contributing to the proper and efficient operation of the HVACR systems.  The Service Provider shall occasionally develop sketches, specifications, and solicitations for maintenance, repair or improvement contracts.

The Service Provider shall maintain, repair, and calibrate existing pneumatic, pneumatic/electric and electric/pneumatic control systems related to all HVACR equipment.  The Service Provider shall tour all mechanical rooms and check all systems including steam pressure reducing stations, vacuum pumps, sump pumps, condensate pumps, preheat pumps, reheat pumps, hot water circulating pumps, induction unit pumps, air handling units, fans, chillers, cooling towers, generators, boilers, and independent systems.  The Service Provider shall correct deficiencies identified during the tour.  The Service Provider shall maintain a strong interface with supervisors and up-line team personnel for scheduling of priority work, equipment (e.g., HVACR) malfunctions, and supply and material levels; and shall assist, as directed, in the purchase and maintenance of stock repair parts and supply levels for HVACR related materials to minimize the downtime of equipment (refer to Section 6.5.2 for further details).  The Service Provider shall respond to complaints of HVACR failures and other service calls in all areas, interface with occupants, and initiate necessary repairs and/or modifications to alleviate the problem.  The Service Provider shall also interface, escort, and inspect, as assigned, with GSA, DOE and contract personnel; review work and make appropriate recommendations; and provide operational testing to ensure that jobs (i.e., repairs/replacements/new installations) are satisfactorily performed.  The Service Provider must be fully competent in emergency procedures and actions required during emergency situations.

The Service Provider shall overhaul HVACR systems during their respective non-operating season.  This involves dismantling the equipment, repairing or replacing worn parts, cleaning, placing equipment back into proper working condition, painting and labeling of equipment and piping in MERs.  The Service Provider shall perform monthly cleaning, annual painting and spot painting of MERs as necessary in association with repair and maintenance of equipment and shall detect, diagnose, test, and locate equipment malfunctions.  This includes, but is not limited to:  compressors; condensers; lubrication systems; evaporators; steam or chilled water systems; and direct digital, pressure, and thermostatic controls.  The Service Provider shall perform inspection and maintenance of kitchen hood systems located in the Main Building and the Child Development Center.  The Service Provider shall participate in designated energy programs including Pepco’s Curtailable Load Program and the development and annual update of a Refrigerant Management Plan.  The Service Provider shall manually verify and record fuel oil levels against direct digital meter readings, provide report of usage logs to Buildings Manager or designee as required, and maintain a minimum of 95% fuel oil level in all underground fuel oil tank systems.  The Service Provider shall tour and inspect mechanical operating equipment three times daily and maintain a daily tour and watch log.  The Service Provider shall provide on-site coverage 24 hours a day, seven days a week.  Watch hours referenced in TE 3-1 reflect this coverage and include performance of tours, and may include performance of preventive maintenance, repairs and response to service calls.

The Service Provider shall submit all completed PM, repair and service call WOs to the Germantown Help Desk upon completion of the work.

The Service Provider shall maintain and update the PM Database and other repair and service call tracking databases to ensure all information in the automated systems is up-to-date and reflects all current items requiring PM and repair.

The Service Provider shall liaison with the GSA Fire Alarm Shop and GSA Switch Gear Shop for services they provide to the agency. The Service Provider shall also liaison with other GSA and DOE construction contractors for the purpose of coordinating and supporting HVACR and systems outages and renovations IAW construction scopes of work.

The Service Provider shall be capable of performing these duties in and around identified hazardous materials such as ACM and in difficult to reach locations or in confined spaces.  The Service Provider is responsible for moving equipment, furniture and other materials as necessary to perform the work.

All Service Provider employees performing HVACR duties must be licensed or competent to perform these duties at a Journeyman level with eight years of experience (four of which are in commercial applications at the Journeyman level) as a minimum performance requirement. Employees performing work on refrigeration systems shall also have a Universal Refrigerant Technician Certification and a CFC License for Refrigeration.

##### Provide Plumbing and Pipefitting Services

The Service Provider shall provide plumbing and pipefitting services IAW all applicable directives and guidance including :  , GSA PM Guidelines, GSA Delegation of Authority for Building Operations and Maintenance of Real Property for the Germantown Complex; EOs 13101 and 13123; WSSC; OSHA; Uniform Plumbing Code; and ASHRAE Standards. Customers include all Germantown Complex Occupants (including the Child Development Center).

The Service Provider shall operate and perform installation, maintenance and repair of all domestic hot and cold water systems; low, medium and high-pressure steam and condensate distribution systems; chilled water piping systems; induction unit systems; drain systems; storm water systems; sewer systems; high temperature water systems; hot water solar heating systems; generator systems; drinking water systems; pond aerator system; sprinkler systems; hot water tanks; heaters; steam boilers; steam distribution systems; pneumatic air systems; hydraulic systems; condensate, vacuum, and circulating pumps; and auxiliary equipment associated with the heating and refrigeration plant; and associated controls, valves, hangers, piping, and insulation.  The Service Provider shall also perform all or a combination of the following tasks:  plan and lay out work from blueprints, drawings, technical manuals or specifications to include placement, pitch, routing, elevation, expansion, and operation of piping systems and associated components, equipment, and controls (manual, automatic, and battery powered); and locate, diagnose trouble, and repair all systems and associated components, equipment, and controls.

The Service Provider shall install and repair toilets, urinals, sinks, flush valves, faucets, drinking fountains, sewer lines, fire sprinkler systems, radiators, risers, expansion joints, pressure regulators, steam and drip leg traps, reducing valves, pumps, gauges, and thermostats.  The Service Provider shall cut, thread, assemble, weld, solder, and hang pipes of various material types and sizes.  This also includes installing insulating material around pipes and fixtures.  The Service Provider shall join, seal and test systems and equipment for leak-free operation.

The Service Provider shall perform semi-annual cleaning of main drain and sewer systems and shall provide a written report to the Buildings Manager or designee.  The Service Provider shall drain and refill all water systems in coordination with others to include GSA, fire alarm shop and other GSA and DOE contractors. The Service Provider may be required to work emergency duty or respond to emergency calls anytime, day, night, weekends, or holidays.  The Service Provider shall respond to complaints of plumbing failures and other service calls in all areas, interface with occupants, and initiate necessary repairs and/or modifications to alleviate problems.

The Service Provider shall submit all completed PM, repair and service call WOs to the Germantown Help Desk upon completion of the work.

The Service Provider shall maintain and update the PM Database and other repair and service call tracking databases to ensure all information in the automated systems is up-to-date and reflects all current items requiring PM and repair.

The Service Provider shall maintain a strong interface with supervisors and up-line team personnel for scheduling of priority work, equipment malfunctions, and supply and material levels; and shall assist, as directed, in the purchase and maintenance of stock repair parts and supply levels for plumbing related materials to minimize the downtime of equipment.

The Service Provider shall be capable of performing these duties in and around identified hazardous materials such as ACM and in difficult to reach locations or in confined spaces.  The Service Provider is responsible for moving equipment, furniture and other materials as necessary to perform the work.

The Service Provider shall liaison with the GSA Fire Alarm Shop for services they provide to the agency. The Service Provider shall also liaison with other GSA and DOE construction contractors for the purpose of coordinating and supporting plumbing systems outages and renovations IAW construction scopes of work.

All Service Provider employees performing plumbing and pipefitting duties must be licensed or competent to perform plumbing duties at a Journeyman level with eight years of experience (four of which are in commercial applications at the Journeyman level) as a minimum performance requirement.

##### Provide Electrical Services

The Service Provider shall provide electrical services IAW all applicable directives and guidance including  Tour and Watch Guidelines, GSA PM Guidelines, GSA Delegation of Authority for Building Operations and Maintenance of Real Property for the Germantown Complex; EOs 13101 and 13123; Manufacturer recommendation; OSHA, applicable building codes, and the National Electrical Code.  Customers include all personnel at the Germantown Complex (including the Child Development Center).

The Service Provider shall perform installation, operation, maintenance, repair, troubleshooting, and modification of new and existing electrical systems, operating equipment, facilities, and fixtures.  The Service Provider shall respond to service calls and customer complaints, and shall respond to and be present for all emergency situations.  The Service Provider shall plan and lay out work from blue prints, sketches, wiring diagrams or other specifications, and oral or written instructions.  The Service Provider shall locate electrical short circuits, diagnose trouble and repair a variety of electrical equipment such as fluorescent, incandescent, direct and indirect lighting equipment, normal and emergency power systems including battery devices, photovoltaic array systems, grounding systems, load center monitoring system, air conditioning and heating systems, plumbing systems, emergency warning systems, fans, motors, timing and recording devices, distribution panels, and connections for machines and office appliances and all associated components and controls.  The Service Provider shall maintain, operate and repair the emergency electrical diesel generator to include associated transfer switches, radiators, pumps, oil tanks, load banks, and controls.  This requires installing, modifying, repairing, loading and testing new and existing electrical lines, circuits, systems, fixtures, controls, and equipment.  The Service Provider shall control and monitor all equipment associated with the EMCS such as parking lots, roadways, and exterior building lighting and shall install, replace, and maintain all electric and battery-operated clocks located in public space.  The load center monitoring system, as manufactured by General Electric, is a proprietary system requiring the Service Provider to use the manufacturer’s  components and materials.

The Service Provider shall perform complete electrical or rewiring jobs for segments of buildings and structures.  The Service Provider shall install, repair, and maintain panel boards, disconnects, transformers, motor control centers, motors, lighting systems, HVACR equipment, and switch and outlet boxes.  The Service Provider shall connect completed electrical circuit to the power source and test operation of switches and equipment.  The Service Provider shall install and repair a variety of raceways such as ½” to 4” EMT and rigid conduit, wire mold, and flexible metallic tubing; and shall determine and install wiring, conduit, fixtures, transformers, panels and other electrical devices in the size, type, and arrangements necessary for proper and safe operation of electrical systems, circuits and equipment.  The Service Provider shall participate in Pepco’s Curtailable Load Program, to reduce utility demand during high peak periods and shall operate and assist in the maintenance of a variety of electrical equipment rated at 15KV and below.  The Service Provider may be required to work emergency duty or respond to emergency calls anytime, day, night, weekends, or holidays. The Service Provider shall respond to complaints of electrical failures and other service calls in all areas, interface with occupants; initiate necessary repairs and/or modifications to alleviate the problem.  The Service Provider shall tour and inspect electrical operating equipment three times daily and maintain a daily tour and watch log.  The Service Provider shall provide on-site coverage 24 hours a day, seven days a week.  Watch hours referenced in TE 3-1 reflect this coverage and include performance of tours, and may include performance of preventive maintenance, repairs and response to service calls.

The Service Provider shall submit all completed PM, repair and service call WOs to the Germantown Help Desk upon completion of the work.

The Service Provider shall maintain and update the PM Database and other repair and service call tracking databases to ensure all information in the automated systems is up-to-date and reflects all current items requiring PM and repair.

The Service Provider shall maintain a strong interface with supervisors and up-line team personnel for scheduling of priority work, equipment malfunctions, and supply and material levels; and shall assist, as directed, in the purchase and maintenance of stock repair parts and supply levels for electrical related materials to minimize the downtime of equipment (refer to Section 6.5.2 for further detail).

The Service Provider shall be capable of performing these duties in and around identified hazardous materials such as ACM and in difficult to reach locations or in confined spaces.  The Service Provider is responsible for moving equipment, furniture and other materials as necessary to perform the work.

The Service Provider shall liaison with the GSA Switchgear Shop for services they provide to the agency. The Service Provider shall also liaison with other GSA and DOE construction contractors for the purpose of coordinating and supporting electrical systems outages and renovations IAW construction scopes of work.

All Service Provider employees performing electrical duties must be licensed or competent to perform these duties at a Journeyman level with eight years of experience (four of which are in commercial applications at the Journeyman level) as a minimum performance requirement.

##### Provide Carpentry and General Maintenance Services

The Service Provider shall provide carpentry and general maintenance services IAW all applicable directives and guidance, to include:  GSA PM Guidelines,  GSA Delegation of Authority for Building Operations and Maintenance of Real Property for the Germantown Complex; EOs 13101 and 13123; OSHA; and Green Initiative (includes applicable EOs, e.g., 13101 and 13123)..  Customers include all personnel at the Germantown Complex (including the Child Development Center).

In providing carpentry and general maintenance services, the Service Provider shall perform work as necessary to maintain the building envelope (e.g., roof, fenestration, perimeter walls and doors and sky lights) from air or water infiltration and perform work as necessary to maintain the interior of the Germantown Complex.  This work involves installing, erecting, and removing wood, sheetrock, soundsoak, benches, coat hangers, portraits, child safety devices, glass and metal partitions, studding, mirrors, toilet paper dispensers, soap dispensers, wood shelving, and railing.  The Service Provider shall also replace or repair damaged walls, floors, including utility access hatches, ceilings, suspended ceilings, stairways, steps, windows, and door related items to include doors, frames, soundseals, and accessories.  Such tasks typically involve measuring; cutting lumber and other material to sizes and dimensions; and fitting and assembling members.  The Service Provider shall also replace or repair raised floor systems, floor tile, Venetian blinds, and cut glass for windows and picture frames.  The Service Provider shall  provide locksmith services for all interior and exterior doors to include manual closures, locking mechanisms, re-keying cylinders, opening locked doors, adding locksets, and providing the required number of keys.

The Service Provider shall apply paint and other coating materials with brush, roller, spray, or any method accepted by the trade interior or exterior surfaces; prepare and apply a sizing coat to surfaces before painting; prepare for use different kinds of paint, stain, varnish, and related materials; remove old finish by various methods and prepare surfaces for repainting; strip walls and ceiling; fill small holes and cracks in plastering; and erect and remove necessary scaffolding as required.  The Service Provider shall tape and finish drywall and sheetrock for painting and may be required to patch, remove, or replace concrete floors, sills, supporting foundation for equipment all associated and required in the day-to-day maintenance and repair of the buildings.  The Service Provider shall install, repair, and remove vinyl wall coverings and base.

The Service Provider shall perform a variety of decorative masonry to achieve a variety of finish results on various kinds of surfaces.  This involves: preparing surfaces to be painted by such means as building up, shaping, smoothing, leveling or pre-coating as necessary with metal and synthetic resins, plastics and other compounds or pre-coating agents.  This function may also involve smoothing surfaces with various abrasive compounds, pumice and rottenstone.  The Service Provider shall lay bricks, cinder blocks, and structural tile at corners and openings of walls, partitions, and foundations to establish lead or gauge lines for intervening walls; lay lintels and arches over windows and doors; lay windows, doors, and window sills; remove damaged or dangerous sections of walls; install concrete board and ceramic tile for walls, ceilings, and floors; and install access panels in various wall and ceiling materials such as drywall, cinder block and ceramic tile.  The Service Provider shall perform caulking and waterproofing on interior and exterior surfaces, including the preparation of surfaces and the mixing of the proper materials or compounds to obtain the required protection and to match existing structure.

The Service Provider shall respond to service calls and customer complaints, and shall respond to and be present for all emergency situations.

The Service Provider shall submit all completed PM, repair and service call WOs to the Germantown Help Desk upon completion of the work.

The Service Provider shall maintain and update the PM Database and other repair and service call tracking databases to ensure all information in the automated systems is up-to-date and reflects all current items requiring PM and repair.

The Service Provider shall maintain a strong interface with supervisors and up-line team personnel for scheduling of priority work, equipment malfunctions, and supply and material levels; and shall assist, as directed, in the purchase and maintenance of stock repair parts and supply levels for carpentry related materials to minimize work delays (refer to Section 6.5.2 for further detail).

The Service Provider shall be capable of performing these duties in and around identified hazardous materials such as ACM and in difficult to reach locations or in confined spaces.  The Service Provider is responsible for moving equipment, furniture and other materials as necessary to perform the work.

The Service Provider shall also perform PM for carpentry-related items.  All employees performing carpentry and general maintenance duties must be competent to perform these duties at a Journeyman level with eight years of experience (four of which are in commercial applications at the Journeyman level) as a minimum performance requirement.

##### Operate Heating/Refrigeration Plant

The Service Provider shall operate the heating/refrigeration plant IAW all applicable directives and guidance including :  Tour and Watch Guidelines, GSA PM Guidelines, OSHA, ANSI Publications, ASME, ASHRAE Standards, the National Electric Code, and Uniform Plumbing Code.  Customers include all personnel at the Germantown Complex and the Buildings Manager.

The Service Provider shall be responsible for operating, monitoring, maintaining and repairing the following:  two Babcock and Wilcox boilers each with a capacity of 14,000 lbs. of steam per hour, one Babcock and Wilcox boiler at 8,000 lbs. of steam per hour, one (Summer Use) Hurst boiler at 4,000 lbs. of steam per hour, all equipment associated with the Johnson Controls, Inc. EMCS as displayed/controlled at the operator’s workstation located in the Utility Plant Office, and a 150,000 gallon elevated water tank and related pumps and controls.  The Service Provider personnel must successfully complete a minimum of 40 hours of training in the Johnson Controls METASYS EMCS system.  All boilers are equipped with dual fuel burning capability; natural gas is the primary fuel, #2 fuel oil is the secondary fuel.  The elevated water tank requires a critical water level that must be maintained by booster pumps in order to maintain adequate water pressure to all floors of the main building as well as fire protection throughout the fire hydrant loop.  The facility is served by two (2) city water supplies (one entering the facility from Route 118 and one from Middlebrook Road).  The operator shall be capable of and responsible for switching between water sources.   The Service Provider shall provide annual inspection certifications for all four (4) Boilers and pressure vessels as required.  Inspection certifications must be obtained during the respective equipment off-season.

The Service Provider shall respond to service calls and customer complaints, and shall respond to and be present for all emergency situations.

The Service Provider shall provide proper water chemistry for the cooling towers of all four (4) critical chillers by utilizing the latest non-chemical technology, thereby alleviating the use of toxic chemicals. The Service Provider shall also provide proper water chemistry for the boiler feed water make-up system.

The Service Provider shall monitor the Metretek remote monitoring device.  DOE HQ is an interruptible customer to Washington Gas Company; therefore, this device is used as the primary means of notification of an interruption to natural gas service to the facility.  It is imperative that the utility plant operator switch the boilers to an alternative fuel (#2 Fuel Oil) within one hour of receiving the alarm signal from the Metretek alarm box to avoid substantial penalties being incurred for gas consumption that occurs during a curtailment.

The Service Provider shall be responsible for operating, monitoring, maintaining and repairing the three (3) cooling towers, one (1) heat exchanger and the four (4) critical chillers and related pumps and controls that provide chilled water throughout the main building, auditorium, and for the computer center and related LAN rooms; centrifugal condenser pumps; water softener; water softener salt; five (5) underground fuel oil tanks; hot water converter; electric boiler feed water pumps; one (1) steam turbine boiler feed water pump; two (2) fuel oil pumps; and one (1) de-aerator tank.

The Service Provider shall be responsible for daily monitoring and observing the off-loading of all fuel oil to the facility to avoid fuel oil spills and shall ensure that the high pressure (125 Pounds per Square Inch) boilers, cooling towers and elevated water tank are operating properly and that operating techniques and established procedures are followed.  This includes coordinating the work of various tradesmen such as utility systems repairer operators, electricians, plumbers, painters, and/or contract employees.

The Service Provider shall perform PM work IAW guide and equipment history cards, such as dismantling of equipment, cleaning, inspecting, repairing, reassembling, adjusting, and testing thereof. The Service Provider shall repair steam turbines, pumps of all types, oil heaters, and fuel handling equipment, and at times measure, cut thread, and install piping and valve fittings and traps, clean and re-gasket flanged joints carrying high pressure steam and hot water; and replace plumbing fixtures.  The Service Provider shall monitor the boilers continuous blow down system and performs manual tests to verify accuracy of automatic systems, and change from automatic to manual blow down mode when necessary and makes tests as required to keep boiler water dissolved solids under control and within acceptable levels. The Service Provider shall monitor computer controlled HVAC equipment and make decisions to turn equipment on/off and override computer manually or by computer commands to maintain a healthy and environmentally safe facility within required parameters, and recommend improvements to the overall equipment operations to include computer systems to improve the operation of the facility.

The Service Provider shall maintain an operating log in which the Service Provider records all pertinent information regarding O&M of the Boiler Plant, including, but not limited to, operating hours, pressure readings, flow readings, equipment failures and or malfunctions, fuel consumption, steam production, steam evaporated, gas temperature, and flue gas content.  The Service Provider shall also maintain an operating log for the Refrigeration Plant.  The Service Provider shall provide daily utility meter readings such as:  oil/gas consumption; water consumption; steam production; etc.  These readings are typically submitted to the Buildings Manager each week.  The Service Provider shall maintain the correct water level in the boilers and secure water samples for the boilers.  Samples are analyzed and any necessary adjustments are made.  The Service Provider shall also ensure that all chemical equipment and feeds are set and working properly. An operator shall be on duty 24 hours a day, 7 days a week.

The Service Provider shall submit all completed PM, repair and service call WOs to the Germantown Help Desk upon completion of the work.

The Service Provider shall maintain and update the PM Database and other repair and service call tracking databases to ensure all information in the automated systems is up-to-date and reflects all current items requiring PM and repair.

All Service Provider employees performing boiler related duties shall possess a current Maryland issued First Grade Stationary Engineer’s License with eight years of experience (four of which are in commercial applications at the Journeyman level) as a minimum performance requirement.

### Transportation and Travel Management and Motor Vehicle Maintenance

#### Provide Travel Management Services

##### Provide Administration and Management of Travel Management Team

The Service Provider shall provide administration and management of the travel management team IAW all applicable directives and guidance, to include:  Federal Travel Regulations, DOE Travel Regulations, PCS Guidelines, Contract Management, HHG Shipment, and GAO regulations. Customers include all personnel at the Germantown Complex and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall plan, organize and distribute work to team members; resolve customer complaints, issues, or concerns; and coordinate and provide training to the travel management team on the PCS process.  The Service Provider shall provide procedural and regulatory advice on travel issues, specifically to DOE HQ personnel located at the Germantown Complex.  The Service Provider shall coordinate third-party relocation contractors.  This involves managing technical aspects of transferring employees station-to-station on a worldwide basis, and reviewing and auditing real estate claims arising from official PCS.

The Service Provider shall produce as-needed customer reports and standard monthly reports.  The Service Provider shall conduct analytical studies concerning travel operations.  This involves collecting and analyzing travel operations data and developing recommendations to improve service.

##### Monitor Activities of Full-Service Domestic and International Travel Operation

The Service Provider shall monitor activities of full-service domestic and international travel operations IAW all applicable directives and guidance, to include: Department of State Guidelines, Federal Travel Regulations, DOE Travel Regulations, and GSA Guidelines.  Customers include all personnel at the Germantown Complex and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall monitor the performance of the travel operations contractor to include performance of activities such as receiving travel requests from customers and performing cost/benefit analyses, if required.  Itineraries shall be planned and scheduled, and reservations shall be booked.  The Service Provider shall obtain tickets.  The Service Provider shall coordinate the billing process.  Travel insurance shall be arranged for international flights and DOE HQ travelers shall be provided with copies of regulations that govern government travelers.

##### Manage Official US Passports and Visas for DOE Personnel

The Service Provider shall manage official US passports and visas for DOE HQ personnel IAW all applicable directives and guidance, to include:  Department of State Guidelines, Federal Travel Regulations and DOE Travel Regulations.  Customers include all personnel at the Germantown Complex and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall prepare correspondence to Embassies, the Department of State and the DOD; process passport/visa requests; input expiration date into travel office database; deliver passports/visas; and coordinate control and safeguard procedures.

#### Provide Transportation Services

##### Manage U-Drive Program

The Service Provider shall provide management of the U-Drive program IAW all applicable directives and guidance, to include:  CFR 101-38.301(Official Use of Federal Vehicles), DOE Transportation Office SOPs, 41 CFR 109-38.5001 (the Trip Log), and GSA regulations for operating vehicles.  Customers include all personnel at the Germantown Complex and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall coordinate the use of HQ fleet vehicles (for official Government business only).  This includes maintaining a vehicle log and maintaining a list of all vehicles.  The Service Provider shall provide daily inspection of vehicles and coordinate vehicle allocations between Germantown and Forrestal.  The Service Provider shall also coordinate the PM of assigned vehicles.

##### Provide Ground Transportation Services

The Service Provider shall provide ground transportation services IAW all applicable directives and guidance, to include:  CFR 101-38.301(Official Use of Federal Vehicles), DOE Transportation Office SOPs, 41 CFR 109-38.5001 (the Trip Log), and the GSA regulations for operating vehicles. Customers include all personnel at the Germantown Complex and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall coordinate use of Germantown fleet vehicles (to include self-drive vehicles and designated drivers).  The Service Provider shall operate passenger cars, light trucks, small vans and station wagons to convey information or documents of a classified nature and to load and unload vehicle cargo.  The Service Provider shall coordinate PM of assigned vehicle(s) and receive and account for all types of classified matter.

The Service Provider shall receive Anti-Terrorist Executive Security Training.

#### Support Transportation Systems

##### Provide Transportation-Area Systems Support

The Service Provider shall provide transportation-area systems support IAW all applicable directives and guidance, to include Transportation Office SOPs.  Customers include all personnel at the Germantown Complex and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall provide IT support and technical advice to transportation operations; manage the CESDS; manage vendor relationships; determine system changes, upgrades, modifications; work with IT support to develop, implement and maintain required systems; maintain and utilize ETA Time and Attendance system; and provide utilization tracking support.

##### Provide Management and Administrative Services

The Service Provider shall provide management and administrative services IAW all applicable directives and guidance, to include DOE Transportation Offices SOPs.  Customers include all personnel at the Germantown Complex and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall participate in analytical studies, develop and implement training programs for all areas of the transportation function, develop and implement employees’ personal development programs, and receive and account for all types of classified matter.

#### Provide Fleet Maintenance and Management

##### Monitor and Track Fleet Activity

The Service Provider shall monitor and track fleet activity IAW all applicable directives and guidance, to include:  DOE Transportation Office SOPs and GSA regulations.  Customers include all personnel at the Germantown Complex, satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area), GSA, FEMP and EPA.

The Service Provider shall maintain and utilize HQ FMIS and track Germantown fleet mileage of all vehicles to include program offices vehicles and shall maintain Forrestal’s fleet mileage report.  The Service Provider shall generate a combined monthly mileage report for GSA.  The Service Provider shall track weekly consumption of various fuel options including alternative fuel, re-refined oil, gasoline, etc.  This shall involve generating a weekly report for DOE HQ internal use.

##### Conduct Headquarters Fleet Management Activities

The Service Provider shall conduct HQ fleet management activities IAW all applicable directives and guidance, to include:  Federal EOs, EPA regulations, Operating Procedures, GSA policies, OMB policies, and DOE Transportation Office SOPs. Customers include all personnel at the Germantown Complex, satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area), GSA, and OMB.

The Service Provider shall analyze motor pool operations in order to evaluate performance and control or reduce costs.  This shall include conducting quarterly fleet inventory and directing and coordinating the ID of Germantown excess vehicles to GSA and leasing contractors.  The Service Provider shall coordinate and conduct vehicle registrations, licensing and renewal procedures (based on local jurisdiction); coordinate investigation of vehicle accidents involving DOE HQ and/or contractor personnel operating government vehicles, and coordinate investigation of state and local motor vehicle infractions involving DOE HQ and/or contractor personnel.

##### Manage Vehicle Maintenance Program

The Service Provider shall provide management of the vehicle maintenance program IAW all applicable directives and guidance, to include:  Federal EOs, Operating Procedures, GSA policies, and DOE Transportation Office SOPs.  Customers include all personnel at the Germantown Complex and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall schedule, coordinate and accomplish periodic maintenance of the DOE HQ fleet.  Vehicles shall be inspected to determine condition and direct replacement, repair, and maintenance.  This involves conducting minor maintenance activities. The Service Provider shall coordinate the acquisition of new vehicles per contractual agreement; develop contract vehicle specifications; determining vehicle needs based on DOE requirements.  The Service Provider shall also coordinate the retirement of fleet vehicles.

### Supply and Logistics Operations

#### Provide Personal Property Management for Direct Operations

##### Receive and Secure Personal Property Prior to Distribution

The Service Provider shall receive and secure personal property prior to distribution IAW all applicable directives and guidance, to include: DOE HQ Order 580.1A; CFR 41 Chap. 101 (FPMR), 102 (FMR) and 109.5 (DOE PMR); and the FAR. Customers include all personnel at the Germantown Complex (including the Child Development Center), satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area), other agencies (USDA, DoD), and DOE Field Offices.

The Service Provider shall sign for personal property upon delivery, inspect property for condition/visual damage, and accept or reject property or shipments.  All accepted property items shall be secured.  The Service Provider shall research and match purchase orders with received property and process personal property procured by purchase cardholders.  Property shall be bar-coded, tagged, and entered into SUNFLOWER.  The Service Provider shall notify purchaser of property and coordinate delivery.  Custodian (user) information on distributed property shall be updated and gain/loss reports shall be generated.

##### Provide Procurement Support Services

The Service Provider shall provide procurement support services IAW all applicable directives and guidance, to include:  DOE HQ Order 580.1A; CFR 41 Chap. 101 (FPMR), 102 (FMR) and 109.5 (DOE PMR); the FAR; and ADA and OSHA requirements. Customers include all personnel at the Germantown Complex (including the Child Development Center) and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall receive, process and coordinate the requisitioning, scheduling and delivery of procured items, determine required replenishment quantities, process acquisitions through authorized procurement methods, and process requisitions for furniture, furnishings and equipment.  The Service Provider shall consult and provide an alternative solution if needed,  make furniture acquisition recommendations (if not in stock), obtain federal approval of acquisitions, and acquire special needs items (e.g. items for persons with disabilities and items for executive staff).

The Service Provider shall provide contractor oversight of carpet installation, cleaning and maintenance; furniture and security container locks; moving and labor services (major and minor moves); warehouse operations includes (shipping and receiving); interior horticultural services; and supply stores.

The Service Provider shall also provide project management for furniture installation services, contract services for refurbishing services, and contract services for furniture reconfiguration services.

##### Provide Inventory Management

The Service Provider shall provide inventory management IAW all applicable directives and guidance, to include:  DOE HQ Order 580.1A; CFR 41 Chap. 101 (FPMR), 102 (FMR) and 109.5 (DOE PMR); and the FAR. Customers include all personnel at the Germantown Complex (including the Child Development Center) and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall develop and execute an inventory plan, maintain a property management inventory (to include stock levels), and coordinate and conduct routine inventory walk-throughs by organization. This involves coordinating with APRs.  The Service Provider shall reconcile physical inventory by organization to the master inventory (SUNFLOWER database), update SUNFLOWER, and generate physical inventory reports as needed.  The Service Provider shall conduct random sampling, conduct an annual self-assessment and report results to finance and procurement, and shall manage the property pass program.

Service Provider personnel performing this function must be a Certified Property Management Specialist IAW certification requirements of the NPMA.

##### Provide Management and Administration of Property Disposition

The Service Provider shall provide management and administration of property disposition IAW all applicable directives and guidance, to include:  DOE HQ Order 580.1A; CFR 41 Chap. 101 (FPMR), 102 (FMR) and 109.5 (DOE PMR); and the FAR. Customers include all personnel at the Germantown Complex (including the Child Development Center) and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall receive or retrieve property items for disposition, sanitization, and redistribution; process transfers of personal property; recommend property items to be excessed; process excess, abandonment, sales and gifts of excess property; and shall manage the computer gift program for schools.  The Service Provider shall sanitize all IT equipment received for disposition.  The Service Provider shall also examine incidents of loss, damage or destruction of Government property and explain any inventory adjustments.  The Service Provider is also responsible for recommending approval of property loan requests, coordinating DOE Field Office and inter-agency distributions or retrievals of loaned property, and conducting physical distribution or retrieval as needed.

##### Provide Property Management Training to Accountable Property Representatives and Administrative Officers

The Service Provider shall provide property management training to APRs and AOs IAW all applicable directives and guidance, to include:  DOE HQ Order 580.1A; CFR 41 Chap. 101 (FPMR), 102 (FMR) and 109.5 (DOE PMR); and the FAR. Customers include all APRs and AOs at the Germantown Complex (including the Child Development Center) and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall conduct ad hoc training and develop training and certification programs as required.  Service Provider personnel performing this function must be a Certified Property Management Specialist IAW certification requirements of the NPMA.

##### Manage Furniture Reutilization Services

The Service Provider shall provide management of furniture reutilization services IAW all applicable directives and guidance, to include:  DOE HQ Order 580.1A; CFR 41 Chap. 101 (FPMR), 102 (FMR) and 109.5 (DOE PMR); the FAR; and ADA and OSHA requirements. Customers include all personnel at the Germantown Complex (including the Child Development Center) and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall receive and process requests for excess/surplus furniture returns, and coordinate with program offices and the warehouse for pick-up of returned furniture.  Returned furniture shall then be evaluated to determine the disposition (i.e. reutilized, disposed of, or refurbished) and assigned condition codes.  The Service Provider shall coordinate with GSA and the warehouse for disposal of unserviceable furniture and prepare disposal-supporting documentation.

The Service Provider shall conduct minor repairs and preparation of re-utilizable furniture.  If necessary, the Service Provider shall identify a minimum of three refurbishment contractors for government acquisition and shall coordinate on-site or off-site refurbishment work with the warehouse and the refurbishment contractor.  The Service Provider shall inspect the work of the refurbishment contractor and shall evaluate and coordinate the payment process and recommend payment of refurbishment contractor.  The Service Provider shall review the weekly inventory report of total product on hand in the warehouse.  The Service Provider shall also oversee contract labor maintenance of the current database of all available products in the warehouse and shall prepare a management report.

#### Provide Printing Management Services

##### Provide Printing Services

The Service Provider shall provide printing services IAW all applicable directives and guidance, to include:  Title 44 US Code, GPO Printing and Binding Regulations, and DOE Printing and Binding Regulations. Customers include all personnel at the Germantown Complex and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall receive incoming printing requests from customers and process printing requests.  This involves assigning publication numbers as appropriate, verifying supporting documentation, inputting information into the JTS, following-up with a copy of HQF 1420.7 (Request for Print, Mail, and Visual Media Services) to customers of assigned printing specialist and job control number as a receipt, and developing specifications for print jobs.  The Service Provider shall act as liaison between the customer and GPO designated contractors.  This involves discussing and resolving any interim stages with the direct deal vendor and GPO as the job progresses while acting within compliance of regulations and laws.  The Service Provider shall determine scheduling, estimate costs of printing jobs, and determine the distribution/mailing of printing materials.  The Service Provider shall conduct on-site proof inspections and off-site Press Sheet inspections.  The Service Provider shall recommend approval of print jobs, and shall coordinate and provide court-reporting services.  The Service Provider shall handle jobs to be published in the Federal Register, respond to status inquiries from the Program Offices, count columns and/or pages in the Federal Register book, and enter information and estimated costs into the JTS.

##### Manage Printing Services Operations

The Service Provider shall provide management of printing services operations IAW all applicable directives and guidance, to include:  Title 44 US Code, GPO Printing and Binding Regulations, and DOE Printing and Binding Regulations. Customers include all personnel at the Germantown Complex and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall monitor vendor performance.  The Service Provider shall also communicate with clients on job status and manage and maintain the Department-wide mail lists for the Document Distribution System, which maintains complete addresses of all persons, organizations, and private companies that receive documents printed under DOE authority.  The Service Provider shall resolve day-to-day problems relating to the distribution mailing lists (e.g. researches non-receipt of material by referencing address lists and tracking through the distribution sequence) and is responsible for making recommendations regarding the efficiency of the operation and possible improvements in reports, etc.  The Service Provider shall ensure that the proper mailing lists are forwarded to DOE distribution contractors in coordination with the printing operation, or independently if material comes from a source outside DOE.  The Service Provider shall provide personnel with technical mail distribution information regarding mailing lists and distribution schemes as needed.

The Service Provider shall provide monthly reports through the WCF for all Program Offices, provide quarterly WCF business line analysis, provide reports upon request from Program Offices, and initiate/update the Printing Program Five-Year Plan and annual reports to WCF Board. The Service Provider shall also maintain, update and input data into printing tracking systems; conduct analytical studies and benchmarking, and present findings and recommendations based on completed studies.

#### Provide Copier Management Services

##### Conduct Inventories of Copier Supplies and Equipment

The Service Provider shall conduct inventories of copier supplies and equipment IAW all applicable directives and guidance, to include SOPs. Customers include all personnel at the Germantown Complex (including the Child Development Center) and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall conduct quarterly inventories of copier supply items.  This involves evaluating supply levels for all machines, ensuring replenishment as needed, and overseeing supply reorder for re-stock as needed.  The Service Provider shall also conduct quarterly inventories of copier equipment, including the make, model, and location of the equipment.  The Service Provider shall compile monthly meter readings and report to copier vendors based on those criteria.

##### Provide Copier Performance Support and Analysis

The Service Provider shall provide copier performance support and analysis IAW all applicable directives and guidance, to include SOPs. Customers include all personnel at the Germantown Complex (including the Child Development Center) and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall determine, interpret and provide policy guidance to customers on copier program issues.  This involves developing and monitoring performance standards for the copier program.  The Service Provider shall develop, conduct, and analyze customer satisfaction surveys.  The Service Provider shall also conduct time management analyses of copier operations and trend analyses for copier locations.

##### Provide Copier Logistics, Support, and Disposition Services

The Service Provider shall provide copier logistics, support and disposition services IAW all applicable directives and guidance, to include:  SOPs. Customers include all personnel at the Germantown Complex (including the Child Development Center) and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall determine the application and location of all copy equipment.  This involves participating in weekly space planning meetings with customers and consult customers on copier application and spacing.  The Service Provider shall determine their photocopying requirements, provide recommended options, and shall review copier specification requirements to include electrical and environmental, and coordinate copier relocations as needed.

The Service Provider shall arrange for delivery and installation of newly purchased equipment.  This involves ensuring customer representatives and technicians have appropriate clearances and ensuring that machines are properly tagged.

The Service Provider shall coordinate training for key operators and users on newly acquired equipment and monitor contractor maintenance on walk-up, dedicated, and staffed copiers for HQ (approximately 140 copiers).  The Service Provider shall provide automated access and control, and reporting for individual copiers, ensuring that Equitrac copier database system and the JTS are maintained in good working order. The Service Provider shall provide replacement services for all HQ copiers.  The Service Provider shall perform equipment surplus/trade-in functions where appropriate.

##### Provide Copier Operations Management and Administrative Services

The Service Provider shall provide copier operations management and administrative services IAW all applicable directives and guidance, to include SOPs. Customers include all personnel at the Germantown Complex (including the Child Development Center) and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall provide monthly reports through the WCF for all Program Offices.  This involves performing quarterly analyses of the WCF business line, analyzing options for improvements to the business line, providing ad hoc reports upon request from Program Offices, and initiating and updating the Copier Program 5-Year Plan and annual reports to the WCF Board.  The Service Provider shall maintain, update and input data into copier tracking systems and shall conduct analytical studies and benchmarking.  This involves the presentation of findings and recommendations based on completed studies.

##### Provide Copier Supply Services

The Service Provider shall provide copier supply services IAW all applicable directives and guidance, to include SOPs. Customers include all personnel at the Germantown Complex (including the Child Development Center) and satellite lease locations (currently 20300 Century Boulevard, 20400 Century Boulevard and/or any future locations in the Germantown, MD area).

The Service Provider shall maintain an inventory of copier supplies and submit requests for replenishment of supplies.  The Service Provider shall administer monthly paper delivery and shall determine customer overage needs.  The Service Provider shall conduct sales of needed supplies to Program Offices.  The Service Provider shall update copier JTS for inventory and sales and oversee the service contractor providing the supply services at Germantown.

DOE will be responsible for the acquisition of the supplies.

## Albany Research Center (ARC)

### Facilities and Building Maintenance and Management

#### Perform Electrical Services

##### Provide Direct Facilities Electrical Support Services

The Service Provider shall provide electrical support services in support of the ARC general facility operations.  Customers of these services include the personnel and staff located at the ARC and the Bonneville Power Administration.  These services are performed at the ARC only.  Local travel is required within a 100-mile radius of the ARC to complete training or to pick up required parts.

The Service Provider shall perform these services in Albany, OR IAW all applicable regulations to include OSHA, DOE Orders for Environmental Safety and Health (ES&H), ISO 14001, the National Electrical Code, Center Safety Directives and SOPs, Equipment-specific SOPs, State of Oregon Elevator Code, the National Mechanical Code, ASME Boiler Code, the NFPA Code, 36 CFR, Section 68 – Secretary of the Interior Standards for Treatment of Historical Properties and ADA Code.

In providing electrical support to the ARC, the Service Provider shall perform a wide range of services.  These services include:

      - Serving as an electrician for the duties associated with the proper work methods and craft techniques to accomplish assignments concerned with the maintenance, repair, trouble shooting, and modification of new and existing electrical systems, operating equipment, facilities, and fixtures

      - Interfacing with the Bonneville Power Administration to ensure ARC power requirements are met and managed (Note: may require 24 hour/7 day response to planned and/or unplanned outages)

- Coordinating planned and unplanned power outages with Bonneville and ARC facility stakeholders

      - Planning and laying out work from blueprints, sketches, wiring diagrams or other specifications, and oral or written instructions

      - Locating electrical short circuits, diagnosing trouble, modifying and repairing a variety of electrical equipment such as fluorescent, incandescent, direct and indirect lighting equipment, air conditioning and heating equipment, public address systems, Mitel telephone system, emergency warning systems, fans, motors, timing and recording devices, distribution panels, and connections for machines and office appliances

      - Maintaining, and repairing the electrical systems of auxiliary generators, air compressors, cranes, elevators and sewer pump stations; which require installing, modifying, repairing, loading and testing new and existing electrical lines, circuits, systems, fixtures, controls, and equipment

      - Controlling and monitoring all associated equipment with the ARC such as parking lot, roadway, and exterior building lighting and emergency generators

      - Installing, replacing, and maintaining all electric and battery-operated clocks located in public spaces at the facility

      - Performing complete electrical or rewiring jobs for segments of buildings and structures

      - Installing, repairing, and maintaining panel boards, disconnects, transformers, motor control centers, motors, lighting systems, the electrical systems of HVACR equipment, and switch and outlet boxes; connecting completed electrical circuit to the power source and testing the operation of switches and equipment.  Installing and repairing a variety of raceways such as ½” to 4” EMT and rigid conduit, wire mold, and flexible metallic tubing

      - Determining and installing wiring, conduit, fixtures, transformers, and other electrical devices in the size, type, and arrangements necessary for proper and safe operation of electrical systems, circuits and equipment

      - Operating and assisting in the maintenance of a variety of electrical equipment rated at 15KV and below

      - Researching and submitting purchase requests for materials, supplies and equipment in support of facilities operations

      - Planning and performing PM to include the repair and changing of lighting systems, switches, fuses, circuit breakers, buss-bars, insulators, fuse clips, blowers, etc.

      - Cleaning elevator controls, tightening connections, repairing and adjusting controls, and carrying out normal servicing of such equipment

      - Servicing electrical subsystems in heating systems such as boiler and baseboard, repairing and replacing elements, timers, thermostats, and switches

      - Developing plans and initiating action to maintain and repair systems such as the fire alarm, telephone, security system and equipment such as electrical carts and lifts

      - Performing lock-out/tag-out on hard-wired equipment for servicing

      - Cleaning electrical vaults twice annually

Equipment required in the performance of these services include high voltage tick tracers, hot sticks, insulated tools, volt/OHM meters, AMP meters, mega-OHM meters, hydraulic benders, tubing benders, oscilloscopes, pipe threaders, hammer and core drills, cranes, hoists, man-lifts, confined space entry equipment, generators, wire pulling machines, label makers.  Materials include specialized cable (data and high-voltage), buss bars, rectifiers, transformers, motor generators, etc.

The Service Provider shall possess a State of Oregon General/Limited Journeyman Electrician Licensure, Industrial Fork Truck Certification, Personnel Lift Certification, Crane Operator Certification, Sling and Rigging Certification, LockOut/TagOut Certification, Respirator Certification, and Defibrillation Certification.

Due to the nature of the work done at ARC, providers for all services listed in this PWS shall be required to respond immediately to emergency situations as determined by the appropriate ARC personnel.  The determination as to the maximum response time will be made on a case-by-case basis by an ARC Associate Research Director or designated employee.

NOTE:  The electrical and ventilation systems in use throughout the ARC are complex due to the size of piping, pumps, valves, etc. associated with pipes up to 14” in size, and the variety of uses associated with the systems such as electrical, steam, compressed air, and waste disposal.  The systems are very old and have been modified over the years with minimum upkeep of the as-built plans.  Therefore, much replacement, rerouting, etc. is required to make the systems operate efficiently and effectively.

##### Provide Direct Electrician Support Services to ARC Research Activities and Projects

The Service Provider shall provide electrical support services in support of ARC research activities and projects.  Customers of these services include the personnel and staff located at the ARC, ARC Research scientists, outside cooperators, Fossil Energy HQ, and the Mineral Carbonation Working Group (Los Alamos, Arizona State University, National Energy Technology Laboratory (NETL)).  These services are performed at the ARC and various field sites.  Local travel is required within a 100-mile radius of the ARC to complete training or to pick up required parts.

The Service Provider shall perform these services IAW all applicable regulations, to include OSHA, DOE Orders for ES&H, ISO 14001, the National Electrical Code, Center Safety Directives and SOPs, Equipment-specific SOPs, State of Oregon Elevator Code, the National Mechanical Code, ASME Boiler Code, the NFPA Code, 36 CFR, Section 68 – Secretary of the Interior Standards for Treatment of Historical Properties and ADA Code.

In providing electrical support to ARC research projects, the Service Provider shall perform a wide range of services.  These services include:

      - Designing, laying out, installing, modifying, maintaining, troubleshooting and repairing complex electrical systems and equipment used to operate the facilities and needed to meet research project needs

      - Installing, repairing, and replacing high voltage power distribution systems that carry 110-13,000 volts.  Making up potheads and high-voltage switchgear for underground systems and transformers; and mounting and installing transformers

      - Installing, servicing, designing, testing, calibrating and modifying complex electrical and electronic equipment used in research such as:

- Arc furnaces (both small laboratory types and up to and including large pilot plant types of up to 1 ton capacity), induction furnaces, Vacuum Arc Remelt furnace

- DC consumable electrode furnace power supplies which are an assemblage of up to 24 individual power sources ganged together, with control, into a single power supply with high-current capability

- Electron beam power supplies

- High-frequency power supplies with the associated instrumentation controls, tanks, etc.

- Controls and metering circuits

- Conventional circuitry by the addition of capacitive and inductive reactors to the current limiting characteristics found necessary

- Specialized control circuits for sophisticated scientific equipment

- Test program measurement instruments such as gauges, thermocouple sensors, and meters

      - Researching and submitting purchase requests for materials, supplies and equipment in support of research activities

      - Planning and performing PM that includes the repair and changing of lighting systems, switches, fuses, circuit breakers, buss-bars, insulators, fuse clips, blowers, etc.

      - Changing and rewinding elements of electrical furnaces for research, repairing and replacing wiring and parts as needed

      - Servicing motors and generators of AC and DC, single and three phase, from fractional HP to 50 HP

      - Servicing cranes, hoists, and control devices

      - Cleaning and checking welders, AC, DC and power supplies, providing the necessary adjustments and making buss-bars necessary for hook-up

      - Cleaning, repairing, and greasing portable blowers and exhaust fans

      - Performing lock-out/tag-out on hard-wired equipment for servicing

      - Working emergency duty or responding to emergency calls anytime, day, night, weekends, or holidays

      - Responding to complaints of electrical failures and other service calls in all areas, interfacing with occupants, and initiating necessary repairs and/or modifications to alleviate the problem

NOTE:  The electrical and ventilation systems in use throughout the ARC are complex due to the size of piping, pumps, valves, etc. associated with pipes up to 14” in size, and the variety of uses associated with the systems such as electrical, steam, compressed air, and waste disposal.  The systems are very old and have been modified over the years with minimum upkeep of the as-built plans.  Therefore, much replacement, rerouting, etc. is required to make the systems operate efficiently and effectively.

Equipment required in the performance of these services include high voltage tick tracers, hot sticks, insulated tools, volt/OHM meters, AMP meters, mega-OHM meters, hydraulic benders, tubing benders, oscilloscope, pipe threaders, hammer and core drills, cranes, hoists, man-lifts, confined space entry equipment, generators, wire pulling machines, label makers.  Materials include specialized cable (data, low-voltage and high-voltage), buss bars, rectifiers, transformers, switches, motor generators, etc.

The Service Provider shall possess a State of Oregon General/Limited Journeyman Electrician Licensure, Industrial Fork Truck Certification, Personnel Lift Certification, Crane Operator Certification, Sling and Rigging Certification, LockOut/TagOut Certification, Respirator Certification, and Defibrillation Certification.

For all of the services listed in this PWS that are directly related to the research activities at ARC, the service provider employees shall be required to sign a non-disclosure agreement.  The ARC Research Director, or appropriate Associate Research Director will determine the circumstances under which such an agreement is required.

Furthermore, the ownership of all intellectual property generated as a result of work done by the service provider employees under this PWS belongs to the Government of the United States, and service provider employees will be required to sign agreements that so state.

##### Provide Management and Administration of Electrical Contractors

The Service Provider shall provide oversight of electrical contractors on behalf of the personnel and staff located at the ARC, ARC research scientists, and outside cooperators utilizing the facilities and expertise of the ARC.  These services are performed at the ARC only.  Local travel is required within a 100-mile radius of the ARC to complete training or to pick up required parts.

The Service Provider shall perform these services IAW all applicable regulations to include: OSHA, the National Electrical Code, Center Safety Directives and SOPs, Equipment-specific SOPs, State of Oregon Elevator Code, the National Mechanical Code, ASME Boiler Code, the NFPA Code, 36 CFR, Section 68 – Secretary of the Interior Standards for Treatment of Historical Properties and ADA Code.

In providing oversight of contractors, the Service Provider shall be responsible for developing or arranging for the development of specifications to be used in contracting for electrical work that needs to be done by outside contractors, supporting the on-site COR when necessary, and interfacing with contractors to provide instruction and guidance on ARC unique requirements.

Equipment required in the performance of these services include high voltage tick tracers, hot sticks, insulated tools, volt/OHM meters, AMP meters, mega-OHM meters, hydraulic benders, tubing benders, oscilloscope, pipe threaders, hammer and core drills, cranes, hoists, man-lifts, confined space entry equipment, generators, wire pulling machines, label makers.  Materials include specialized cable (data and high-voltage), buss bars, rectifiers, transformers, motor generators, etc.

The Service Provider shall possess a State of Oregon General/Limited Journeyman Electrician Licensure, Industrial Fork Truck Certification, Personnel Lift Certification, Crane Operator Certification, Sling and Rigging Certification, LockOut/TagOut Certification, Respirator Certification, and Defibrillation Certification.

#### Perform General Facility Maintenance to Support the ARC Mission

##### Perform General Facility Maintenance

The Service Provider shall perform general facility maintenance on behalf of the personnel and staff located at the ARC.  These services are performed at the ARC only.  Local travel is required within a 100-mile radius of the ARC to complete training or to pick up required parts.

The Service Provider shall perform these services IAW all applicable regulations to include: OSHA, DOE Orders for ES&H, ISO 14001, the National Electrical Code, Center Safety Directives and SOPs, Equipment-specific SOPs, the State of Oregon Elevator Code, the Uniform Plumbing Code, the National Mechanical Code, the ASME Boiler Code, the NFPA Code, ADA Code, 36 CFR, Section 68 – Secretary of the Interior Standards for Treatment of Historical Properties and local and state permits (to include Spill Permit, Discharge Permit, etc.).

In providing general facilities maintenance support to the ARC, the Service Provider shall:

      - Develop, implement and maintain a scheduled PM program for HVAC systems and other facility equipment; maintain and correctly troubleshoot and perform repairs to blowers, fume hoods, bag houses, compressors, and other air handling equipment; calculate and specify appropriate ductwork and blower size to ensure proper flow

      - Repair, troubleshoot, and maintain boilers, heating, air conditioning, pollution control equipment, and other piping systems in order to identify malfunctions and potential problems with equipment such as automatic controls, valves, piping, pumps, and related components

      - Service a variety of units by cleaning or replacing filters, strainers, ignition devices or other items.  Activity includes specification planning and acquisition of needed materials

      - Perform PM on systems and equipment including boiler feeder pumps, air compressors, fixtures, etc.; repair and/or replace gages, controls, relief valves, and ignition devises; perform limited diagnostic tests on electronic control devices

      - Evaluate and monitor the operation of existing systems, plan for the maintenance and repair work needed to have them operate efficiently and safely, determine the need to replace worn out or obsolete equipment, and install new systems and equipment

      - Ensure ES&H compliance for facility through fabrication and installation of safety barriers and safety lane delineation (painted indicators) and maintenance, and signage, Respond to complaints of equipment failures and other service calls in all areas, interface with occupants, and initiate necessary repairs and/or modifications to alleviate the problem.

      - Provide welding and sheet metal services for the repair and construction of needed center facilities and equipment (e.g. fire escapes, blower mounts, HVAC apparatus, etc.)

      - Provide plumbing support for water and sewer to include repair, installation, testing of backflow prevention devices; design and plan water distribution systems for entire center including waste disposal

      - Provide sampling and interface with City of Albany to monitor waste water discharge permit requirements

      - Design, monitor and manage surface water runoff for facility to ensure compliance with environmental requirements

      - Design, install, monitor and maintain compressed natural gas fueling station and high-pressure propane delivery systems

      - Operate and maintain cranes, hoists, man-lifts, boom lift and rigging equipment.

      - On occasion, operate in confined spaces and/or potentially hazardous environments that require the use of appropriate PPE, atmosphere monitoring equipment and retrieval equipment and practices.

      - Perform Locksmith Services for the ARC to include developing key plans for ARC; installing, adjusting, re-keying, and repairing locks; making keys as needed and keeping an inventory as to who has keys and what they go to; and issuing keys to employees after receiving the property signed request forms

NOTE:  The electrical and ventilation systems in use throughout the ARC are complex due to the size of piping, pumps, valves, etc. associated with pipes up to 14” in size, and the variety of uses associated with the systems such as electrical, steam, compressed air, and waste disposal.  The systems are very old and have been modified over the years with minimum upkeep of the as-built plans.  Therefore, much replacement, rerouting, etc. is required to make the systems operate efficiently and effectively.

The Service Provider may be required to work emergency duty or respond to emergency calls anytime, day, night, weekends, or holidays.

The Service Provider shall possess a State of Oregon Journeyman Plumbers License, Backflow Device Testing Certification, Industrial Fork Truck Certification, Personnel Lift Certification, Crane Operator Certification, Sling and Rigging Certification, LockOut/TagOut Certification, Respirator Certification, and Defibrillation Certification.

##### Maintain and Support Research Projects and Programs

The Service Provider is required to support research projects and programs performed at the ARC on behalf of ARC Research Scientists, outside cooperators and Fossil Energy.  These services are performed at the ARC only.  Local travel is required within a 100-mile radius of the ARC to pick up required parts.  Longer-range travel may be required for on-going training.

The Service Provider shall perform these services IAW all applicable regulations to include: OSHA, DOE Orders for ES&H, ISO 14001, the National Electrical Code, Center Safety Directives and SOPs, Equipment-specific SOPs, the State of Oregon Elevator Code, the Uniform Plumbing Code, the National Mechanical Code, the ASME Boiler Code, the NFPA Code, ADA Code, 36 CFR, Section 68 – Secretary of the Interior Standards for Treatment of Historical Properties and local and state permits (to include Spill Permit, Discharge Permit, etc.).

In providing maintenance and support to ARC research projects and programs, the Service Provider shall:

      - Support the research project team in the planning, design, construction, modification and operation of items, equipment and systems to be made and fitted to meet the needs of a research project or program

      - Perform work involving the design, construction, PM and/or making of repairs to equipment that meets the needs of research projects by routing and placement of compressed air lines, high pressure gas lines to include ones carrying flammable, corrosive, hazardous and explosive gases/gas mixtures, and/or hydraulic systems, and installation of standard laboratory or industrial equipment within research projects

      - Perform pipefitting, plumbing, and other related duties as follows:

- Design, install, modify, monitor or repair new or existing systems or research facilities which include high-pressure piping systems and equipment such as steam heating, hydraulic systems, expansion tanks, vacuum systems and circulating pumps, blowers, air pollution control systems, large capacity (20,000 gallons)/high pressure and volume water cooling and re-circulating systems, high purity water purification and delivery systems (e.g. MilliQ), complex cooling systems for pilot scale furnaces to include instrumenting with flow metering, inter-locking and controlling devices including complex piping and multiple pumps

- Install and repair large systems to include a variety of refrigeration and air conditioning systems for process cooling which includes heating, cooling, humidifying, dehumidifying, cleaning, and filtering processes used in a variety of research environments

      - Design, specify and prepare or repair sheet metal duct work, fittings, louvers, blower connections for laboratory hoods, air pollution control systems, gas handling systems, and particulate removal systems

      - Provide emergency duty or respond to emergency calls anytime, day, night, weekends, or holidays

      - Respond to complaints of equipment failures and other service calls in all areas, interface with occupants, and initiate necessary repairs and/or modifications to alleviate the problem

      - Provide specialized welding including: Gas Metal Arc Welding, Tungsten Inert Gas, Metal Inert Gas, braising, silver-soldering in air or controlled atmosphere environments, plasma cutting of carbon steel, copper, stainless steel, titanium and nickel-base alloys, reactive and refractory metals, and intermetallics; and provide welding of high density polyethylene sheets and piping

      - Prepare welded research test specimens for various materials and weld procedures listed above

      - Research and submit purchase requests and often pick up materials, supplies and equipment in support of research projects

      - Operate and maintain cranes, hoists, man-lifts, boom lift and rigging equipment

      - Operate in confined spaces and/or potentially hazardous environments that require the use of appropriate PPE, atmosphere monitoring equipment and retrieval equipment and practices

NOTE:  The systems and equipment are complex and unique.  The complexity is due to the size of piping, pumps, valves, etc. associated with pipes from capillary up to 14” in size, and the variety of uses associated with the systems such as electrical, steam, compressed air, high pressure gases to include flammable, corrosive, hazardous and explosive, and waste disposal.  The systems and equipment can be very old and have been modified over the years with minimum upkeep of the as-built plans.  Therefore, much customized replacement, rerouting, etc. is required to make the system operate efficiently and effectively.  Materials of construction include carbon steel, copper, stainless steel, titanium and nickel-base alloys, reactive and refractory metals, plastics, ceramics (e.g. alumina, mullite, zirconia, etc.), glass, glass ceramics, cermets and intermetallics.

The Service Provider shall possess a State of Oregon Journeyman Plumbers License, Backflow Device Testing Certification, Industrial Fork Truck Certification, Personnel Lift Certification, Crane Operator Certification, Sling and Rigging Certification, LockOut/TagOut Certification, Respirator Certification, and Defibrillation Certification.

For all of the services listed in this PWS that are directly related to the research activities at ARC, the service provider employees shall be required to sign a non-disclosure agreement.  The ARC Research Director, or appropriate Associate Research Director will determine the circumstances under which such an agreement is required.

Furthermore, the ownership of all intellectual property generated as a result of work done by the service provider employees under this PWS belongs to the Government of the United States, and service provider employees will be required to sign agreements that so state.

##### Provide Contractor Oversight Support for Facility Maintenance

The Service Provider shall provide oversight of facility maintenance contractors on behalf of the COR and personnel located at the ARC.  These services are performed at the ARC only.  Local travel is required within a 100-mile radius of the ARC.

The Service Provider shall perform these services IAW all applicable regulations to include: OSHA, DOE Orders for ES&H, ISO 14001, the National Electrical Code, Center Safety Directives and SOPs, Equipment-specific SOPs, State of Oregon Elevator Code, the Uniform Plumbing Code, the National Mechanical Code, ASME Boiler Code, the NFPA Code, ADA Code, 36 CFR, Section 68 – Secretary of the Interior Standards for Treatment of Historical Properties and local and state permits (to include Spill Permit, Discharge Permit, etc.).

In providing oversight of maintenance contractors, the Service Provider is required to perform a wide range of services.  These services include developing or arranging for the development of specifications to be used in contracting for facility maintenance work or janitorial work that needs to be done by outside contractors; supporting the on-site COR when necessary; and interfacing with contractors to provide instruction and guidance on ARC-unique requirements.

The Service Provider shall possess a State of Oregon Journeyman Plumbers License, Backflow Device Testing Certification, Industrial Fork Truck Certification, Personnel Lift Certification, Crane Operator Certification, Sling and Rigging Certification, LockOut/TagOut Certification, Respirator Certification, and Defibrillation Certification.

### Transportation and Motor Vehicle Management

#### Support Fleet Maintenance for ARC

##### Provide GSA Liaison Services and Maintain Fleet for ARC

The Service Provider shall provide GSA liaison services and maintain fleet vehicles on behalf of ARC personnel/staff, GSA, maintenance Service Providers/dealerships, and NETL.  These services are performed at the ARC only.  Local travel is required within a 100-mile radius of the ARC.

The Service Provider shall perform these services IAW all applicable regulations to include: GSA and DOE Fleet Maintenance and Management Regulations.

In providing GSA liaison services and maintaining the fleet at ARC, the Service Provider is required to perform a wide range of activities.  These activities include performing record keeping, maintaining custody of credit cards and keys, maintaining records of expenses and mileage, ensuring vehicles are properly serviced, ensuring that vehicles are properly repaired when problems occur, ensuring periodic checks of fleet brakes, lights, oil, tires, water, etc. to ensure safety.  In addition, the Service Provider is required to keep vehicles clean and manage vehicle usage.  In managing vehicle usage, the Service Provider shall provide vehicle dispatching, issue vehicles to drivers for trips, prepare reports recommending specific corrective action for improving vehicle utilization, coordinate the replacement of vehicles within the GSA motor pool and arrange for alternative vehicles as needed.

### Supply and Logistics Operations

#### Support Property Management Oversight

##### Support Overall Property Program Management

The Service Provider shall provide support for overall property program management for the personnel and staff of ARC, NETL, GSA, the general public, shipping companies, vendors, and service/sales representatives.  This task is performed entirely at the ARC and requires only occasional local travel.

The performance of this task is governed by several regulations, directives and SOPs to include FPMR, DOE-PMR, FAR, DEAR, DOT-HMR, OSHA, ARC local SOPs and ISMS and ISO 14001 Center policies and procedures, equipment specific SOPs, and NEPA regulations/policies.

The work to be performed under this task includes informing personnel of property management procedures, applying policies and procedures to the needs of the center, and establishing guidelines for the effective functioning of the supply and property management programs in compliance with DOE/ARC policies.  The Service Provider is required to establish priorities for accomplishment of the shipping and receiving, issuance, storage, and/or disposal of property; coordinate the development of property management procedures and directives for the Center, insuring that all PMR are adhered to; and study, evaluate, and revise existing methods and procedures for receiving, warehousing, re-warehousing, document control, stock selection, bin replenishment, and issuing of property.  The Service Provider shall test different procedures and the results analyzed for application to other activities and ensure that property management reports are submitted in a timely manner.  The Service Provider shall assist other staff members in acquiring equipment from excess property lists of other government organizations including regular review of excess property lists from other organizations, comparison of those excess property listings with center needs, and contacting the owners of the excess property to arrange acquisition and shipment.

##### Acquire Property and Supplies for Use at the ARC

The Service Provider shall acquire property and supplies for use at the ARC on behalf of the personnel and staff of ARC, NETL, GSA, the general public, shipping companies, vendors, and service/sales representatives.  This task is performed entirely at the ARC and requires only occasional local travel.

The performance of this task is governed by several regulations, directives and SOPs to include FPMR, DOE-PMR, FAR, DEAR, DOT-HMR, OSHA, ARC local SOPs and ISMS and ISO 14001 Center policies and procedures, equipment specific SOPs, and NEPA regulations/policies.

The work to be performed under this task includes maintaining balanced inventories which reflect the current requirements of laboratory needs, maintaining demurrage records on cylinders and containers, initiating action for the return of cylinders promptly in order to avoid unnecessary demurrage cost (to involve telephone communication with laboratory personnel and vendors, the preparation of correspondence, reports, and certifications pertaining thereto), and preparing documents to account for property acquired and/or fabricated.  The Service Provider shall support the purchase of necessary supplies or services within specified ranges and subject to other reasonable conditions deemed appropriate by DOE; receive requisitions, contact vendors, and specify what needs to be purchased.  Final acquisition shall be made by authorized DOE staff.. The Service Provider shall verify that the item specified on the monthly Bank Statement corresponds with this procurement record; recommend approval of statements for payment; challenge any item that is shown on the statement in error; monitor DOE/government-wide excess property listings for equipment useful to ARC; and coordinate acquisitions and delivery of useful items.

##### Maintain Property and Supplies for Use at the ARC

The Service Provider shall maintain property and supplies for use at the ARC on behalf of the personnel and staff of ARC and NETL.  This task is performed entirely at the ARC and requires only occasional local travel.

The performance of this task is governed by several regulations, directives and SOPs to include: FPMR, DOE-PMR, FAR, DEAR, DOT-HMR, OSHA, ARC local SOPs and ISMS and ISO 14001 Center policies and procedures, equipment specific SOPs, and NEPA regulations/policies.

The work to be performed under this task includes conducting an annual inventory of all non-expendable property and reconciling it with the physical inventory list; operating a centralized property control system, which establishes and maintains responsibility for property accountability within the Center; maintaining stock items for which the Center maintains an inventory, establishing an inventory system to determine stock levels, lead times, and proper inventory balance.  The Service Provider shall also ensure that proper consideration is given to storage of hazardous and fragile materials; plan, evaluate and select or effectively recommend appropriate sites and facilities for storage of a wide variety of complex research equipment, supplies, office machines, and other accountable and non-accountable property items; plan for security and safeguards of materials and equipment; operate propane powered fork and barrel lift trucks to move, stack and un-stack, and load and unload materials in and about the warehouse, storage areas, loading docks, and off vehicles; assign bar codes to all property and input property data via computer to a master property data file (i.e. Property Acquisition Management System (PAMS)) located at NETL.

(Note: The system controls some 3,400 different items of non-expendable property comprised of approximately 3,400 different types and is valued in excess of $17.4 million.  The majority of these items consist of unique and highly sophisticated, scientific equipment and instrumentation)

##### Excess or Dispose of Property for the ARC

The Service Provider shall provide excess and disposal services of property for the ARC on behalf of ARC personnel/staff, NETL, DOE, the federal government at large, GSA, State Governments, local schools, and the general public.  This task is performed entirely at the ARC and requires no travel.

The performance of this task is governed by several regulations, directives and SOPs to include: FPMR, DOE-PMR, FAR, DEAR, DOT-HMR, OSHA, ARC local SOPs and ISMS and ISO 14001 Center policies and procedures, equipment specific SOPs, and NEPA regulations/policies.

The work to be performed under this task includes maintaining contact with other laboratories for utilization of such equipment; surveying board action and responsibility for destruction, scrapping or resale of such equipment; maintaining up-to-date listings of excess property for review by the technical personnel; and coordinating the distribution of reports of excess property, both personal and real, for the Center to obtain equipment to help meet the needs of the various divisions (The Service Provider is required to visit holding agencies and select or arrange for the transfer of excess property when necessary).  In addition, the Service Provider must coordinate and implement the utilization and reassignment of Center-owned property and the excess and surplus property disposal program; ensure the sale of all Government-owned property is processed IAW GSA procedures; escorting buyers/bidders on the ARC to ensure the appropriate property is transferred; review requests of Survey Action submitted by Boards of Survey and approve or disapprove these requests; prepare equipment for proper disposal in compliance with EPA/DOE/State of Oregon environmental regulations and coordinate with the Center’s Waste Disposal Specialist to ensure that equipment being disposed is not contaminated.

(Note: These disposals may be transferred within the federal government, donated to education or health agencies, or by sale to the general public after proper procedural requirements have been met)

##### Provide Shipping and Receiving of Property and Supplies for Use at the ARC

The Service Provider shall provide shipping and receiving of property and supplies for use at the ARC on behalf of ARC personnel/staff.  This task is performed entirely at the ARC and requires no travel.

The performance of this task is governed by several regulations, directives and SOPs to include: FPMR, DOE-PMR, FAR, DEAR, DOT-HMR, OSHA, ARC local SOPs and ISMS and ISO 14001 Center policies and procedures, equipment specific SOPs, and NEPA regulations/policies.

The work to be performed under this task includes ensuring that proper consideration is given to shipping and temporary storage of hazardous and fragile materials; operating propane powered fork and barrel lift trucks to move, stack and un-stack, and load and unload materials in and about warehouse, storage areas, loading docks, and off vehicles; managing receiving and temporary storage of all equipment and supplies arriving at ARC, maintaining receiving logs, notifying purchaser of arrival of items, and inspecting shipments for completeness and condition in order to accept or refuse.  The Service Provider shall also coordinate with the shipper or vendor to resolve any problems or discrepancies with shipments and deliveries; determine that items ready for shipment are properly assembled according to information provided on shipping request, check the condition of shipping containers prior to loading, and see that shipments are properly loaded onto the right conveyance. The Service Provider shall prepare the Bill of Lading as required using correct nomenclature to insure proper tariff rates, and obtaining rates and verifying weights and pieces. The Service Provider shall also ensure that Material Safety Data Sheets (MSDS) accompany all incoming shipments as required and prepare copies for the Chemical Safety Officer and purchaser.

# Personnel

## Project Manager

The Service Provider shall provide as Personnel an on-site Project Manager or technical representative for each site, which shall be responsible for the performance of the work.  The name of this employee, and designated alternate(s), who shall act for the Service Provider in the absence of the Project Manager, shall be designated in writing to the COR.  The Project Manager and designated alternate(s) shall have at least three (3) years of general supervisory experience managing a project of this size and scope, and must have at least five (5) years specific management experience in facilities building maintenance and management, transportation and fleet maintenance and management, and/or supply and logistics operations.

The Project Manager shall be the Service Provider's authorized representative for the technical and administrative performance of all services required under this PWS.  The Project Manager shall be the first Point of Contact (POC) for contractual or administrative questions or difficulties that arise related to the PWS, and Project Manager shall be the primary point through which communications, work assignments, and technical direction flow between the Government and the Service Provider.  The COR, or designated representative, shall be the Service Provider's first POC in the Government.

The Project Manager shall be available during normal hours of operation to plan, direct, and control the overall management and operational functions specified herein.  The Project Manager shall provide the necessary level of contract management and administrative oversight to achieve the quantitative and qualitative requirements of this PWS.

The Project Manager or designated alternate shall be available within fifteen (15) minutes during normal work hours to meet on-site with the COR to discuss problem areas.  After normal working hours, the Project Manager or designated alternate shall be available within thirty (30) minutes after notification to perform emergency functions.  As appropriate, the Project Manager shall make suggestions to the COR (e.g., senior on-site manager, etc.) to improve operational efficiency and maximize continuity of operations (e.g., adjustment of job priorities, procedural changes, upgrade or reallocation of production or services assets).

The Project Manager shall update and submit the Significant Items Reports (4) for all tasks in sections 3.1 and 3.2 IAW TE 3-3: Required Reports.

# General Requirements

## Service Management

The Service Provider will be given monitoring responsibility over several DOE prime contracts.  In this capacity, the Service Provider may monitor work provided within the DOE prime contractor’s Statement of Work.  The service provider is not authorized to incur additional charge for DOE prime contractor work not expressly authorized within the contractor’s Statement of Work.

### Service Provider Management Requirements

Service Provider responsibility shall include all planning, programming, administration, management, and execution necessary to provide the specified services.  The Service Provider shall ensure that all work meets critical reliability rates or tolerances specified in Section 3: Performance Objectives and Measures, PWS Specifications, the PRS (see TE 3-2: PRS), or in applicable referenced documents.

The Service Provider shall perform all related administrative services required to perform work such as material requisitioning, QC, financial control, status/tracking reports, and correspondence.  The Service Provider shall also maintain accurate and complete records, files, and libraries of documents to include federal, state, and local regulations, codes, laws, technical manuals, and manufacturer's instructions and recommendations, which are necessary and related to the functions being performed.  The Service Provider shall compile historical data, prepare required reports, and submit information as specified in TE-3-3: Required Reports.  The Service Provider shall assume total responsibility for all requirements stated herein on the commencement date of the performance period. The Service Provider shall support the DOE during audits and inspections, and provide support and responses to audit and inspection items (internal and external).

For Sections 3.1.1 and 3.2.1, the Service Provider will furnish a listing of SOPs, for approval by the Buildings Manager, for the following items:  Summer Schedule for fans and pumps; Winter Schedule for fans and pumps; Diesel Generator Operation and Curtailable Load Program with PEPCO.  The Service Provider will provide an operational plan to meet all energy reduction requirements and targets, set by EOs and Senior Management, respectively.

## Service Provider Personnel

### Service Provider Employees

For the purpose of this PWS, the term "Service Provider employee(s)" applies to all Service Provider employees and subcontractor employees performing work on this PWS.

All Service Provider personnel shall be United States citizens.  The Service Provider shall provide a sufficient number of personnel possessing the skills, knowledge, and training to satisfactorily perform the services required by this PWS as well as obtain the necessary security clearances as identified in TE 3-4: Security Clearance Requirements.  Service Provider personnel shall meet the education and experience requirements for each specific area of expertise.

### Employee Roster

Thirty (30) days prior to start of the first performance period, the Service Provider shall submit to the COR a written list of designated Personnel and employees who will perform work under this PWS.   Personnel are defined in Section 4: Personnel.  The list shall include all employees’ names and work assignments.

The Service Provider shall update the roster as required.  The Service Provider shall notify the COR of changes to the employee roster as soon as changes are identified.  The Service Provider shall provide an updated written Employee Roster within five (5) working days of each change.

### Organizational Chart

The Service Provider shall submit an Organizational Chart showing the Service Provider’s functional responsibilities along with the Employee Roster.

### Employee Training

The Service Provider shall be responsible for all new and recurring training of Service Provider personnel in such a manner as to ensure all tasks required by this PWS are performed properly.  The Service Provider shall ensure that all employees hired after the beginning performance period are adequately trained prior to beginning work on this PWS.

The Service Provider shall conduct or provide to their employees detailed instruction on Government policies and regulations in the areas of employee conduct, ethics, safety, security, health, fire prevention, and the environment as they pertain to the operations specified in this PWS. The Service Provider shall develop, implement, and maintain written guidelines or standard procedures necessary for effective accomplishment of operations, processing of customer products, and equipment operation.  The Service Provider shall comply with all Privacy Act regulations governing personal and private information.

The employer shall provide training as necessary to maintain a workforce with a high level of technical skills.  The following serves as a sample of recommended training for the personnel associated with Sections 3.1.1 and 3.2.1:  National Electric Code Refresher; National Electric Code Changes; DDC; EMCS; Johnson Controls Institute Training for the Germantown Campus; High Pressure Steam Boilers; Pressure Vessels; Water Chemistry; Steam Trap Diagnostics, etc.

### Employee Conduct

The Service Provider and its employees shall comply with applicable federal, state, and local laws, as well as mandatory DOE regulations.  The COR may require the Service Provider to remove from the job site any employee working under this PWS for reasons of misconduct, security infraction, or employees found or suspected to be under the influence of alcohol, drugs, or any other incapacitating agent.  The Service Provider shall maintain provisions for the immediate removal of employees for misconduct, or other causes prejudicial to the maintenance of health, welfare, morale, or security of DOE and populace thereof, and shall exercise these provisions.

Service Provider employees shall be subject to dismissal from the premises upon determination by the COR that such action is in the best interest of the Government.  The Government has the authority to bar individuals from the premises.  Such removal from the job site or dismissal from the premises shall not relieve the Service Provider of the requirement to provide sufficient qualified personnel to perform the services as required by this PWS.

Service Provider personnel working under this PWS shall practice high standards of personal hygiene and maintain a clean, neat appearance in keeping with the environment in which the individuals work.

Service Provider employees shall not loiter in any working or patron area.  Upon completion of their assigned duties, employees shall depart the facility.  The Service Provider shall allow only authorized personnel to be present in Service Provider's work areas.

### Personnel Requirements

The Service Provider’s employees shall not pose an actual or potential threat or risk to the security or mission of DOE or its supported activities, or the health and safety of the workforce. The Government has the right to restrict and control access to its facilities, property, and data, including those that are identified in this PWS.  Access privileges will be tailored to individual Service Provider personnel responsibilities.  The Government will be the final authority in determining access privileges.  The Government's exercise of its right to grant and revoke access by particular individual(s) to its facilities, or parts thereof, shall not constitute a breach or change to the contract, regardless of whether said individual(s) are employed by the Service Provider, and regardless of whether said individual(s) are precluded from performing work under the PWS.

The Service Provider shall employ only persons able to speak, read, write, and understand English for those positions interacting with Government and other personnel in the performance of this PWS, and/or where English is used or essential to provide the product, record, data, information, or service.

A minimum of two (2) employees with duty stations at the Germantown Complex shall maintain a Commercial Driver's License to operate the Germantown bucket truck.

The Service Provider shall not employ any individual unable to obtain the required access authorization.

### Interfaces

Compliance by the Service Provider shall be mandatory for security access requirements to restricted areas that include, but are not limited to, communication centers, nuclear facilities/related sites, computer centers, and research and development areas.  The Service Provider shall clear requests for work in restricted areas with the Government’s Security Officer.  A list of Government security POCs will be provided to the Service Provider prior to the PWS start.

Service Provider operations shall not interfere with Government work in any area where the Service Provider is performing any service or maintenance work.   The Service Provider shall schedule operations so as to minimize interference with Government work.  Should the Service Provider be prevented from performing any work as a result of the tenant (occupant) not providing access, the Service Provider shall return at a later time negotiated with the occupant to perform the work at no additional cost to the Government.

Other Government contractors will be performing required services in areas associated with the requirements of this PWS.  Some examples are contractors who deliver material to and pick up material from facilities, construction contractors performing specialized and one-time jobs, and contractors who perform food service. The Service Provider in conjunction with the COR, shall provide all further required coordination between other contractors for any task specified in this PWS that relates to or impacts on any other contracted work.  The Service Provider shall be responsible for any support services to other contractors within the scope of this PWS as required by the Government.

The Service Provider shall verbally notify the COR of unresolved disputes in receiving support from or providing support to customers or other contractors within two (2) business days from the time the dispute occurs, unless otherwise specified in Section 3: Performance Objectives and Measures.

## Reporting and Records Maintenance

The Service Provider shall create and maintain files (e.g. records, reports and logs) that document the processing of work and associated information.  The Service Provider shall not allow unauthorized personnel access to these files unless specifically authorized by the COR in writing.  The Service Provider shall make files available to the COR upon request.  The Government retains ownership of all files.  The Service Provider shall provide long-term storage of inactive files.  The Service Provider shall turn over all active and inactive files to the COR at the completion or termination of this contract.

All records including files, documents, desk guides, and working papers provided by the Government and/or generated for the Government in performance of this PWS become and remain Government property, and will be maintained in chronological order by subject file folder and be complete (including all referenced attachments, enclosures, and/or exhibits) until termination or completion of this contract.  All such records shall be turned over to the Government on completion of the contract.  In the event of default, or non-performance, the Government will have access to records in order to ensure mission support is not interrupted.  If requested by the Government, the Service Provider shall provide the original record, or a reproducible copy of any such record, within five (5) business days of receipt of the request.

The Service Provider shall respond to requests for information, including scheduled (programmed) and ad hoc (un-programmed) requests.  All responses shall meet the criteria defined below.

### Criteria

The Service Provider shall submit programmed and un-programmed information, subject to Government review for adequacy, utilizing the following criteria:

- Complete:  To include all information

- Accurate:  Factual and correctly tabulated data

- Preparation:  IAW applicable publication, or other specified format

- Authorized: Name and signature of PM

- Timely:  Provided within the specified time frames

- Distribution:  Provided to the specified recipients

### Programmed Reporting Requirements

The Service Provider shall report all work accomplished under the PWS and shall furnish the workload data to the COR in letter and electronic format by close of business (COB) on the fifteenth calendar day of the following month.  The workload data shall be in a format compatible with Government accounting systems and subsystems (as they may change from time-to-time) and workload analysis automated information systems where such exist.  The workload data shall reflect all work accomplished by the Service Provider's project staff directly expended with applicable costs attributed to appropriate contract line items.  Functional area workload shall be severable by contract line item and follow the PWS structure.  The workload data shall be subject to review and comment by the COR and shall be updated as required.

The Service Provider shall furnish all recurring PWS data and information as listed in TE 3-3: Required Reports.

### Un-Programmed Requirements

Upon notification by the COR, the Service Provider shall provide management and technical information including, but not limited to:

- Technical evaluation of suggestions

- Input for staff studies

- Fact sheets

- Audits

- Congressional Inquiries

- One-time reports

- Material, equipment, facilities, property inventories and other listings

- Equipment maintenance records

- Recommendations for amending, revising, or originating Government regulations or policies within the scope of this PWS

- Information requested by Government personnel performing official duties, to include monitoring PWS compliance

- Responses to Government and other contractor personnel conducting information and communication systems site surveys, information systems fielding, and communication engineering and construction as required by the Government

### Access to Data and Information

The Service Provider shall ensure that all generated technical records, reports, files, and other documentation are complete and made available to the CO and COR.

The Service Provider shall not release any news (including photographs and films, public announcements, or denial or confirmation of same) or Facility related information of any subject matter within this PWS or any phase of any program herein to the media or any other unauthorized users without the prior written approval of the COR.

The Service Provider shall comply with the Freedom of Information Act requirements.  The Service Provider shall adhere to all policies and procedures for the disclosure of records to the public and for marking on, handling, transmitting, and safeguarding “For Official Use Only” materials.

### Marking Proprietary Information

All records, files, reports, and data deemed proprietary by the Service Provider shall be clearly marked accordingly.  The Government will make the final determination of the appropriateness of proprietary claims by the Service Provider.

### Publications/Technical Library

The Government will initially establish a Technical Library to facilitate the bidding process of this PWS.  Following the PWS start, the Service Provider shall maintain the Technical Library, including all publications, data, exhibits, and other information provided therein.  The Technical Library shall be updated as required to ensure that all information therein is correct.  The Technical Library shall be considered Government property.

The Service Provider shall become acquainted with and comply with all Government regulations as posted, or as required by the COR.  Regulations, manuals, and technical documents applicable to this PWS are listed in Appendix B: Technical Library.

The Service Provider shall utilize the Technical Library as follows:

- Procure commercial publications, including manufacturer’s manuals, necessary to perform under the terms of this PWS

- Comply with all facility regulations specified in Appendix B

- Order, follow-up, and ensure timely distribution of updates and other publication requirements; publications shall be kept current and maintained IAW applicable DOE rules and regulations

### Equipment Manuals, Supply Catalogs and Forms

The Technical Library will contain copies of all Government-unique regulations and publications cited in this PWS.  Regulations and publications are identified in Section 3: Performance Objectives and Measures and in Appendix B: Technical Library.  The Service Provider shall request through the COR supplements, updates, and other publications requirements in direct support of this PWS.   When requesting publications requiring classified access, the Service Provider shall submit the request to the COR.

Equipment operating manuals and parts catalogs presently maintained by the Facility for work specified under this PWS will be turned over to the Service Provider prior to start of work.  Inventory of parts catalogs will not be taken since the catalogs are a disposable item and become obsolete within several years after issue.

The Service Provider is advised that existing record drawings of Installation facilities are not 100% accurate in showing current, as-built, or actual status.  Since some record drawings may not be completely accurate, the Service Provider shall perform field verification of drawing accuracy after commencing work specified in this PWS.  The COR will furnish, upon request, a copy of existing and available record drawings of facilities that will be essential to perform the services specified in the PWS.  When discrepancies are found the Service Provider shall update the drawings and submit the updates to the COR.

The Service Provider shall obtain commercial publications required in the performance of this PWS.  Subscriptions to newspapers, magazines, and other periodicals require approval of the COR.

The COR will make an initial supply of forms available to the Service Provider at the PWS start date.  Samples of standard Government forms required for the fulfillment of this PWS will be available for Service Provider examination in the Technical Library.  However, these forms and logs are subject to change periodically, and the Service Provider is responsible for keeping track of form changes.

The Service Provider shall establish an account for subsequent forms requirements and prepare and submit requisitions for the new stock.   The Government will provide forms to meet the identified need throughout the PWS period.  The Service Provider shall use Government blank forms to the maximum extent possible to accomplish the requirements of this PWS and shall update forms as required.

## Safety and Occupational Health

All work shall be conducted in a safe manner and in compliance with OSHA, EPA, Facility and DOE requirements.  If the Service Provider fails or refuses to comply promptly with safety requirements, the COR will issue an order stopping all or part of the work until satisfactory corrective action has been taken.  The Service Provider shall be responsible for any expenditure incurred in satisfying the work requirements of this PWS through other means as a result of a “stop work” order.

### Safety and Occupational Health Plan/Program

The Service Provider shall develop a Safety and Occupational Health Plan that delineates the processes and procedures the Service Provider shall use to prevent accidents and preserve the life and health of Service Provider personnel, Government personnel, and the public.  The Service Provider shall submit the Plan to the COR for approval 30 calendar days prior to the PWS start date.  The Service Provider shall update the plan as required and shall submit a copy of the revised plan to the COR for approval not later than 30 calendar days prior to the proposed effective date of the revised plan.  The Service Provider shall designate personnel to be responsible for administration of safety and OSHA programs.  The Service Provider shall implement a Safety and Occupational Health Program based on the Safety and Occupational Health Plan that is effective on the PWS start date.  The Safety and Occupational Health Program shall be implemented for the purpose of preventing accidents and preserving the life and health of Service Provider personnel and Government personnel involved in performance of the PWS and receiving services provided under the PWS.  The Service Provider’s Safety and Occupational Health Program shall fully comply with relevant guidance and directives.  In cases where standards conflict, the stricter requirement shall apply.

The Service Provider's Safety and Occupational Health Plan shall include but not be limited to the following:

- Procedures and practices that minimize accident risk including job hazard analyses

- Internal safety directives or SOPs

- Safety equipment, PPE, and safety devices, as required and/or IAW OSHA standards (for example:  safety boots, hard-hats, safety glasses and goggles, ear plugs, rubber gloves, and insulated ladders)

- A list of and MSDS for all chemicals and other HAZMAT used on-site

- Procedures for the storage and use of flammable mixtures that might constitute a fire hazard IAW DOE regulations and with the NFPA Codes and Standards

### Inspections

The Service Provider shall perform periodic inspections of safety equipment as required by federal and state OSHA standards and other regulations.  In addition, the Service Provider shall inspect and survey Service Provider work areas for potential safety or occupational health hazards.

The COR may conduct occupational/industrial hygiene surveys, evaluations, and inventories.  The COR will notify the Service Provider of any recommendations or evaluations that reveal actual or potential health hazards that require protective or abatement measures to be implemented.  Service Provider employees shall be instructed to notify their immediate supervisor of any potential safety or occupational health hazards.

The Service Provider shall be subject to safety, occupational health, or environmental inspections by the Government on a no-notice basis.  Government safety and occupational health officials, environmental engineers, fire inspectors, and other authorized agents shall be allowed to conduct surveys, studies, and inspections of operations and facilities at all reasonable times.  Notice of Violations (NOVs) and/or citations against the Service Provider for noncompliance with environmental or OSHA standards are a matter for resolution between the Service Provider and the regulatory agencies.  Fines or penalty charges associated with NOVs and citations issued by federal, state, or local officials due to non-compliance, faulty operation, maintenance, or disposal practices on the part of the Service Provider shall be borne by the Service Provider.  Violations or unsatisfactory conditions cited by the COR or the regulatory agencies shall be corrected within the prescribed timeframe at the Service Provider’s expense.  Failure to do so or failure to maintain an adequate safe and healthful environment can result in the immediate termination of operations for the affected area.  Such terminations may adversely affect the Service Provider’s performance and will not be considered as a basis for an equitable adjustment.

### Unsafe Conditions

The Government will provide a list of facilities that have been inspected for compliance with OSHA and for which any workarounds have been established.  The Government will correct these hazards or will direct the Service Provider to correct these hazards in compliance with Government-developed plans of abatement, taking into account safety and health priorities.

If, at any time during the term of this PWS, hazardous conditions not previously identified are discovered by the Service Provider or made known to it by any federal or state agency responsible for enforcement, or if any workaround is determined to be inadequate by any federal or state agency, the Service Provider shall verbally report such conditions or determinations to the COR within 30 minutes after discovery and shall follow up with a written report within one working day.

The COR may take any of the following actions, as deemed appropriate:

- Require correction or abatement of the hazardous condition or situation

- Recommend that the Service Provider request a variance from the pertinent standard if alternate safety measures will provide equal or better protection

- Negotiate replacement of hazardous property with Service Provider-owned property

- Replace hazardous property with suitable Government property

- Authorize modification at Government expense

### Safety Training

The Service Provider shall provide and document a minimum of initial and annual instructions to enable employees to conduct their work in a safe manner and to recognize and report hazardous conditions.  Initial training shall include instructions in safe practices; proper use, care, and maintenance of tools and equipment; accident reports and individual responsibility for accident prevention; safe working conditions in confined spaces; and, known hazards in work areas.  The Service Provider shall complete initial training within 30 calendar days after PWS start date and shall keep on file a current listing by name of Service Provider employees, who have attended the training.  The Service Provider shall conduct follow-on training annually with notification to the COR within ten (10) calendar days after completion.  The Service Provider shall also develop procedures to ensure new hire employees are trained prior to work assignment.  The Service Provider shall conduct annual safety training for Service Provider employees working in all applicable functional areas.

### Fire Safety

The Government will provide fire protection services on the Facilities.  However, the Service Provider shall safeguard and maintain all Government Provided Property (GPP) and provide for the safety of Government and Service Provider personnel within the areas and facilities assigned to Service Provider operations.  The Service Provider shall comply with NFPA Codes and Standards.  The Service Provider may request advice in establishing a Fire Prevention and Protection Plan upon written request through the COR to the designated Facility Safety and Health Manager.  The Service Provider shall be subject to fire protection/prevention inspections by the Government.

The Service Provider shall establish and maintain a comprehensive Fire Prevention and Protection Plan.  The Service Provider shall also assist with the coordination and implementation of the Occupant Emergency Plan IAW DOE regulations.  These plans shall complement the Facility Fire Prevention and Protection Program.  The Service Provider shall implement the plan in each Government Provided Facility (GPF).  The plans shall be submitted to the COR for approval 30 calendar days prior to PWS start date.  The Service Provider's Fire Prevention and Protection Plan shall be implemented on PWS start date.  The Service Provider shall update the plan as changes occur and shall submit a copy of the revised plan to the COR for approval not later than 30 calendar days prior to the proposed effective date of the revised plan.

The Service Provider shall designate on the Employee Roster personnel who will be responsible for administering comprehensive Fire and Safety plans.  Notification of any changes in responsible personnel shall be submitted to the COR no later than ten (10) business days prior to the change.

### Protective Equipment and Clothing

Service Provider personnel shall wear protective clothing or PPE during the performance of tasks as required by OSHA or the Safety and Occupational Health Plan.  Equipment and clothing shall be operated and maintained in good working order.

### Emergency Situations and Accident Reporting

Emergency situations shall be reported immediately IAW the site emergency procedures.  Emergency situations include, but are not limited to, chemical spills, medical emergencies, fires, explosions, bomb threats, violence, demonstrations, deaths, and other life threatening conditions.  The Service Provider shall take action to immediately prevent further damage or risk of injury.  This may include containing and controlling the area of impact, limiting access to the area, turning off valves, mopping or cleaning affected areas, shutting ventilation systems, etc.  All Service Provider employees are subject to other duties as needed such as: snow removal; mopping water and/or other liquids; operating and dumping wet-vacuuming equipment; applying and picking up absorbent materials and barriers in the event of oil/chemical spills, and other emergency conditions.  The Service Provider shall make appropriate notifications in a timely fashion as indicated in the sites’ emergency procedures.  The Service Provider shall assist emergency personnel as necessary or required.  The Service Provider shall cooperate with investigations, provide information, and provide any written documentation as requested.

Service Provider employees shall follow site emergency procedures.  The Service Provider shall have and have tested plans to account for personnel in emergency situations.  The Service Provider shall establish a means for communicating missing or unaccounted-for personnel to emergency responders in a timely fashion.

The Service Provider shall maintain an accurate record of accidents and injuries IAW OSHA and DOE record keeping requirements and accidents resulting in damage to Government property, supplies, and equipment.  In the event of an accident occurring on site, the Service Provider shall immediately initiate emergency response and then report the accident to the COR or the Facility Safety and Occupational Health Manager IAW the facility accident, injury and mishap reporting procedures.

The report shall include, but not necessarily be limited to, place, time, extent of damage, injury to personnel, etc.  This provision is not intended to supercede and does not replace any state or local Government requirement for reporting accidents, including motor vehicle accidents.

### Environmental Protection

The Service Provider shall comply with all federal, state, and local environmental protection laws, regulation and standards.  The Service Provider is prohibited from substituting chemicals without the prior consent of the COR.  In no case shall a more hazardous chemical be used.  The Service Provider shall limit the quantity of materials on-site to the minimal amount necessary for normal operations and shall work to reduce the quantity of HAZMAT by substituting less hazardous and more environmentally friendly chemicals where possible.

Service Provider must comply with EPA Hazardous Waste Disposal Requirements and submit copies of waste documents to the COR.

### Weapons Restrictions and Control

Service Provider personnel shall not transport, possess, or use privately owned dangerous weapons on DOE Facilities.  "Dangerous weapons" include all forms of firearms, missile-throwing devices (e.g., bow and arrow), switchblade or automatic blade knives, knives with blades in excess of three inches, ammunition and pyrotechnics, fireworks, bludgeons, brass knuckles, shooting pens, and similar devices.  Unauthorized dangerous weapons will be confiscated and impounded by Government law enforcement and security personnel.  A state weapons permit or concealed weapons permit is not valid on the government facilities and does not supercede the PWS provisions herein.

### Asbestos Program

Annual Asbestos Awareness Training (2 hour minimum) in accordance with the Asbestos Management Plan and O&M Plan is required for all shop/craft employees.  A minimum of one (1) employee at Forrestal and Germantown must maintain certifications as Asbestos Building Inspector and Asbestos Management Planner.  The Service Provider must maintain accurate Asbestos Management Plans for both the Forrestal and Germantown Complex facilities.  This plan is a work in progress and must be updated at least annually.

## Security

### General

The Service Provider shall be in compliance with Security DOE Orders as listed in Appendix B: Technical Library for all security-related matters.

### Personnel Security Clearances

All Service Provider personnel are required to obtain security clearances IAW TE 3-4: Security Clearance Requirements.  DOE has final authority on determining an individual’s security clearance eligibility.  The Service Provider shall submit requests for security clearances for staff.   The Service Provider shall, prior to submitting an employee for security clearance above building access, perform a preliminary criminal and financial background check of prospective employees who may be performing services defined in this PWS to assure that the employee being offered the position will be able to obtain the required DOE security clearance. This background check will entail a check of an employee’s driver’s license, credit, education, and criminal background.

All Forrestal and Germantown L or Q cleared employees are required to attend annual Computer Center Escort training.

### Personnel ID Requirements

Service Provider personnel shall wear an ID security badge issued by DOE at all times while on-site. This badge shall be worn on outer clothing between the neck and waist on the front part of the body and shall be visible at all times.  The Service Provider shall ensure that employees return these security badges upon termination or reassignment to another location and notify the appropriate DOE security office that the employee will no longer require on-site access.

DOE has final authority on determining an individual’s security clearance and site access eligibility.  All personnel assigned to logistics functions as described in this document must be U.S. Citizens. The Service Provider shall identify (on the Service Provider Employee Roster) those employees who require access to restricted areas or classified information, and shall obtain and maintain the appropriate security clearances as identified in this solicitation.

### Physical Security

The Service Provider shall appoint a Physical Security Officer (PSO) for each facility and shall identify this position on the Employee Roster within 30 calendar days after the PWS start.  Notification of any changes in responsible individuals shall be given to the COR no later than ten (10) business days prior to the change.  The PSO is responsible for the property control system plan outlined in Section 6.1.1.  The Service Provider will be subject to unannounced physical security inspections by the COR.

### Information Security Plan

The Service Provider shall develop an Information Security Plan in compliance with DOE regulations.  This plan shall provide for the control of classified information related to handling and accessing classified information utilized within the scope of this PWS.  The Service Provider shall implement the plan in each Government-Owned, Service Provider-Operated facility.

The Service Provider shall comply with the Freedom of Information Act requirements.  The Service Provider shall adhere to all policies and procedures for the disclosure of records to the public and for marking on, handling, transmitting, and safeguarding “For Official Use Only” documents.

### Restricted Areas

The Service Provider shall comply with procedures and instructions for restricted areas.  Service Provider personnel working in restricted areas may be required to sign in and out and state the nature of their business at the entrance desk.  Work performed in restricted areas shall be coordinated with the respective restricted area Government Security Officer.  Q or L clearances will be required for ongoing access requirements.  The Government has the authority to deny access to restricted areas.

## Key Control

The Service Provider shall establish and maintain on file a written Key Control Plan to ensure that keys or other access means (such as access badges, pass codes, biometric access, etc.) issued to the Service Provider by the COR are not lost, misplaced, or used by unauthorized persons.  This Key Control Plan shall also include the names of individuals and the special access areas to which they are authorized by using their badge or other special access means.  This plan shall be provided to the COR for review 30 calendar days prior to the PWS start.  The Service Provider shall revise and implement the plan upon request from the COR.  The Service Provider shall update the plan as required and as requested by the COR.  The Service Provider shall maintain records as required by DOE regulations to ensure accountability of keys and authorized access.

Master/file keys for buildings will only be issued to Service Provider employees performing services under this PWS.  Building numbers or room numbers shall not be placed on master/file keys.  Keys shall be coded so as to identify Facilities, buildings or room numbers.

The Service Provider shall provide two (2) copies of the key inventories to the COR within five (5) business days of the date of request.

The Service Provider shall not duplicate government keys unless authorized by a valid work document approved by the Physical Security Officer.

The use of Government keys or other access means issued to the Service Provider by any person other than authorized Service Provider employees is prohibited.  The Service Provider shall not permit entrance to locked areas to any person other than Service Provider personnel engaged in performance of work in those areas without written authorization by the COR.  The COR or designee will have access to any Government-owned property under the control of the Service Provider.

The Service Provider shall report any occurrence of lost keys, lost badges, or unauthorized access to the COR within 30 minutes of discovery of the loss or unauthorized access.  The Service Provider shall provide the COR a written report by COB the next day.  The report shall contain the key number, location(s) accessed by the key, date the key was discovered missing, name of person signing for the key, and any other relevant details.

## Other General Information

### Certifications, Licenses and Permits

The Service Provider shall, without additional effort by the Government, obtain all necessary certifications, licenses, and permits required for performance of work and for complying with all applicable federal, state, and local laws and regulations. Such documents shall be kept on file.

### Uniform Requirements

Service Provider personnel providing facility and building maintenance and management functions at the Forrestal and Germantown facilities are required to wear uniforms and appropriate safety shoes.  Functions requiring uniforms include HVACR, plumbing and pipefitting, electrical, carpentry, painting, masonry and boiler plant operations.  Uniforms shall meet COR specifications.

Service Provider personnel operating executive fleet transportation service vehicles are required to wear uniforms.  Uniforms shall meet COR specifications.

### Warranty Maintenance

Before the PWS start date, the Government will provide the Service Provider with the records of all Government-owned property, vehicles, and equipment that are under warranty and used, managed, or supported under this PWS.  The records will identify the item, the nature and expiration date of the warranty, and the name and location of the firm to contact about entitlement under the warranty.  The Service Provider shall provide the Government with copies of warranty records on any items of equipment or repair items to which the Government will take title or which will be installed on Government property.  The Government will maintain a record copy of all warranties.

The Service Provider shall monitor and track all Government-owned equipment falling under the maintenance responsibility of the PWS.  The Service Provider shall exercise existing manufacturers’ commercial warranties on all Government equipment, including warranties on existing equipment, equipment replacements, and new equipment acquired under this PWS and by other contractors.  The Service Provider shall report to the COR difficulties encountered in the enforcement of warranties and instances in which the costs of enforcement would exceed the benefits derived.

Existence of a warranty does not alleviate the Service Provider of his responsibility to perform work needed to prevent potential damage to personnel/property or to prevent unnecessary shutdown of facilities/functions.

The Service Provider shall inform the Government in writing of all warranty actions involving GPP.

### Inspection by Government Agencies

The Service Provider shall provide access to GPP and cooperate with visiting Government personnel conducting official inspection visits and surveys at the facilities.  Inspection visits will be made by agencies including, but not limited to, the Office of Inspector General, GAO, EPA, OSHA, and other DOE inspection organizations.

The Service Provider shall notify the COR of planned visits, investigations, or corrective actions required by federal, state, and local agencies.  The Service Provider shall notify the COR by phone within 30 minutes of unannounced arrival of any agents of any regulatory agency at Government facilities operated by the Service Provider.

The Service Provider shall submit a written report to the COR, by COB on the next workday following completion of an inspection/visit, to include the name(s), ID number(s), agency(s) of the inspector(s), reason for visit, and any remarks made during the visit.  The Service Provider shall include a copy of all reports received and, if samples or photographs are collected, examples of the samples provided or photographs taken.  A statement signed by the Service Provider validating their authenticity shall accompany samples.

### Fraud, Waste and Abuse

The Service Provider shall be responsible for maintaining proper conduct and good discipline within Service Provider occupied work area.  Service Provider personnel shall be encouraged to be alert to and report all suspected situations of fraud, waste, and abuse, or other intentionally dishonest conduct against the Government observed during or in the performance of this PWS.

### Conservation of Utilities

The Service Provider shall be directly responsible for instructing employees to conserve Government Provided (GP utilities).  The Service Provider shall operate in a manner that prevents the waste of utilities.  Lights shall be used only in areas where and when work is being performed.

The Service Provider shall operate in full compliance with federal, state, and local, energy regulations and programs listed in Appendix B: Technical Library.  These utility conservation regulations shall be strictly adhered to, and the Service Provider shall be subject to unannounced energy and utilities conservation inspections by the Government.  The Service Provider shall be solely responsible for any penalties levied for noncompliance.  Energy conservation measures shall include, but not be limited to, the following:  reducing fuel-oil and electricity consumption, minimizing energy losses, reporting to the COR any tampering or by-passing of radio controls, and performing work involving significant cost to the Government due to energy waste as an emergency work request.

The Service Provider shall report to the COR in writing, within one working day of discovery, any violation of energy policies on energy waste as specified in this PWS, such as:

- Overheated or overcooled buildings

- Windows or doors open with heating or cooling in operation

- Unauthorized operation of hot water heaters

### Facility Energy Conservation Program

The Service Provider shall coordinate energy requirements with the facility manager at each location and shall comply with the Facility Energy Conservation Program.  The Service Provider shall instruct all Service Provider personnel in energy conservation practices, and require them to operate utilities under conditions that preclude wasteful use of energy.  Unauthorized workers shall not adjust controls for HVAC systems.  The Service Provider will be notified, in writing, with regard to the start and stop dates of the summer cooling seasons and the winter heating season.

During the summer cooling and winter heating seasons, the temperature control devices in all buildings shall be set to maintain a dry bulb temperature range as directed by the COR.

### Hours of Operation and Government Holidays

Normal hours of operation are as described in the following table, unless otherwise stated in Section 3: Performance Objectives and Measures.

| Location | Office Site | Hours of Operation |
| --- | --- | --- |
| Forrestal Complex and Satellite Offices | Forrestal Building | 6:30 AM to 6:30 PM |
|  | Forrestal Child Development Center | 6:30 AM to 6:30 PM |
|  | 950 L’Enfant Plaza | 7AM to 6PM |
|  | 955 L’Enfant Plaza | 7AM to 6PM |
|  | Ardmore-Ardwick Warehouse | 7AM to 6PM |
| Germantown Complex and Satellite Offices | Germantown Complex | 6:30 AM to 6:30 PM |
|  | Germantown Child Development Center | 6:30 AM to 6:30 PM |
|  | 20300 Century Blvd | 7AM to 6PM |
|  | 20400 Century Blvd | 7AM to 6PM |
| Albany Research Center | 6:30AM to 6PM |

The days specified below are legal public holidays and other periods that are observed.  If the holiday falls on a Saturday, the recognized federal holiday is the preceding Friday.  If the holiday falls on a Sunday, the recognized federal holiday is the following Monday.

| Holiday | Date |
| --- | --- |
| New Year's Day | 1st day of January |
| Martin Luther King's Birthday | 3rd Monday in January |
| President's Day | 3rd Monday in February |
| Memorial Day | Last Monday in May |
| Independence Day | 4th of July |
| Labor Day | 1st Monday in September |
| Columbus Day | 2nd Monday in October |
| Veteran's Day | 11th of November |
| Thanksgiving Day | 4th Thursday in November |
| Christmas Day | 25th of December |

### Emergency Situations and Special Events

Emergency situations and special event operations may necessitate the Service Provider to operate on an extended schedule (including days or shifts not normally scheduled), a curtailed basis, at a different level of service, or not at all. This includes changes in security condition levels for the facilities, which impact normal operations.  The Service Provider shall provide this level of service as directed by the COR.  The Service Provider shall develop and submit to the COR for approval the Service Provider's Emergency Situations and Contingency Operations Support Plan within 30 days of the PWS start date.

Announcements of facility closures will be made in the following manner: during normal duty hours, notification will be given through normal chain of management; during non-duty hours, notification will be made through local radio and television channels.  Facility closings shall in no way interfere with the Service Provider operation and/or maintenance of the critical systems.  All Service Provider employees identified as essential personnel would remain on duty or report for duty IAW the Emergency Situations and Contingency Operations Support Plan.

The Service Provider shall establish and maintain a notification system capable of notifying Personnel of critical system failures or emergency requirements to document services performed during non-duty hours.  The Service Provider shall respond to all emergency calls as defined in Section 3: Performance Objectives and Measures.  Service Provider will supply a roster of these essential personnel to the COR within 30 days of the PWS start date.  Each will require a Q or L clearance as required by DOE.

Extreme weather conditions (tornado, flooding, snow, and ice) may warrant temporary office evacuation or office closure.  The Service Provider shall respond to extreme weather conditions according to COR direction, and shall inform all employees of these instructions.

Fire drills or other scheduled safety and emergency-training exercises may necessitate interrupted services.  Such interruptions will be considered when assessing Service Provider performance for the affected period.  Drills and other scheduled training that requires Service Provider’s support outside the normal duty hours of this PWS to support these events may be subject to an equitable adjustment for the affected period upon the Service Provider providing sufficient documentation justifying the basis for the equitable adjustment. Interruptions or disruptions that result from participation or support of these events during normal working hours will not be considered a basis for an equitable adjustment.

### Strike Contingency Plan

The Service Provider shall provide a Strike Contingency Plan within ten (10) days after the start of the transition period that describes how the Service Provider will perform the services required by this PWS in the event of a work stoppage by Service Provider employees.

The plan shall include a description of the procedures which will be used to provide essential services, such as emergency service order or WO response, and to operate essential functions such as heating (in season), refrigeration, and essential cooling, and to maintain water distribution systems, wastewater collection systems, natural gas systems, electrical substations, and emergency generators.  ID of the personnel by position who shall be responsible for performing the emergency services shall be included.  These essential services shall be provided continuously without interruption pending any recruitment actions.  The plan shall include a description of how and where qualified personnel will be acquired, a description of the recruiting procedures to be used, and the time frames that may be needed to secure such personnel in the event of a work stoppage.

The Service Provider shall notify the COR within two (2) hours after being officially notified of a planned or unplanned work stoppage by Service Provider employees.  The Service Provider shall implement the Service Provider’s Strike Contingency Plan as soon as a planned work stoppage occurs, or within four (4) hours after an unplanned work stoppage occurs.   In the event of a work stoppage, implementation of the Service Provider’s Strike Contingency Plan shall not affect the Government’s right to perform urgently or critically required services.   Service Provider employees shall not interfere with performance of PWS services by Government personnel or another contractor when Service Provider performance has stopped due to a labor strike or other work stoppage.

### Work Performed at Facilities Characterized as Historical Properties

Work performed at the ARC may be subject to historical preservation guidelines and shall be performed in accordance with applicable guidelines including 36 CFR, Section 68 – Secretary of the Interior Standards for Treatment of Historical Properties.  The Forrestal and Germantown Complexes are owned by the GSA and may also be subject to historical preservation guidelines in the future.  To that end, all improvements or system replacements that are not architecturally reversible are subject to GSA approval prior to the work being performed IAW the GSA Delegation of Authority for Building Operations and Maintenance of Real Property for the Forrestal and Germantown Complexes.

# Government Provided Property and Services

## General

The Government will provide the facilities, utilities, equipment, parts, supplies, and materials described herein as GPP.  GPP consists of GPF, Government Provided Equipment (GPE), Government Provided Supplies and Material, and Government Provided Utilities placed in the Service Provider's custody.  The Government will also provide certain services to the Service Provider.  The Service Provider shall not use GPP or services for any other purpose than execution of work under this PWS.

### Service Provider Accountability

The Service Provider shall become responsible for excessive damage to Government provided equipment.

The Service Provider shall not remove GPP from DOE property or other supported areas without written approval from the DOE Property Administrator.

### Inventory Management

The Service Provider shall attend a phase-in GPP transfer and inventory meeting with the DOE Property Administrator.  The Government will schedule the meeting prior to the PWS start date.  Within ten (10) days of the PWS start, the Service Provider shall conduct a phase-in joint inventory IAW DOE procedures.  This inventory shall include, but is not limited to: facilities (to include keys), property received, and material items of work in progress (e.g., equipment on active maintenance WOs).  On-hand supplies shall be inventoried at a summary level.  Activities to be inventoried will be designated by the COR.  This provision does not preclude prior inspection of GPP by the Service Provider.  The operational or conditional status of all GPF and GPE shall be determined.  Any item found to be broken or not suitable for its intended purpose shall be recorded.  The COR and the Service Provider shall certify the joint inventory as being accurate.  The Service Provider shall keep the inventory listing current.

At the time of the inventory, all GPP shall be jointly inspected.  All valid discrepancies shall be noted and may be corrected at the Government’s option by one or both of the following methods: the Government may correct noted discrepancies prior to the PWS start date, or the Government may require the Service Provider to repair discrepancies subject to reimbursement by the Government.  A Government representative will determine validity.

The Service Provider shall sign custody records.  The Service Provider shall prepare, certify, and submit a detailed final Government Property Inventory Report within 60 calendar days after the PWS start date.  The Service Provider shall ensure that the COR and the Service Provider jointly approve the Government Property Inventory Report.  The Service Provider shall maintain current property custody records.

The Service Provider shall be responsible for inventory control of materiel acquired for use with the Forrestal and Germantown facilities operation, maintenance and repair activities.  The Service Provider shall account for materiel inventory as consumed to reflect where used and frequency of replacement in each major system, subsystem or individual component.

### Periodic Inventory

The Service Provider shall establish and maintain records of GPP in use by the Service Provider.  The records shall be maintained IAW the functional guidance for the automated system in use or manually IAW the instructions contained in the FAR Part 45 and DOE Guidance.  The COR shall review the records system and direct the Service Provider to make appropriate changes to the record system.  Upon approval by the COR, the records system shall become the Service Provider's official GPP control system. It shall remain in use until termination of the contract or written withdrawal of approval by the COR.

The Service Provider shall conduct an annual physical inventory of all non-expendable, durable GPP.  The Service Provider shall inventory accountable items IAW FAR Part 45.  The Service Provider shall also submit a report of the results of the physical inventory to the COR within ten (10) business days of inventory completion.  The Service Provider shall conduct special inventories as requested by the COR.

The Service Provider shall prepare administrative adjustment documents and provide them to the Property Administrator within 30 calendar days of inventory completion.

### Phase-Out Inventory

The Service Provider shall attend a phase-out GPP transfer and inventory meeting with the COR.  The Government will schedule the meeting approximately 60 calendar days prior to PWS completion or termination date.

One month prior to completion or termination of the contract, an inventory of all GPP shall be conducted by the Service Provider and observed by the Government.  The Service Provider shall prepare, certify, and submit a detailed final inventory report (jointly approved by the Government and the Service Provider).  The Inventory shall include the same data as required for the initial inventory.

During the final inventory, all GPP shall be jointly inspected.  All valid discrepancies shall be noted and may be corrected by one or both of the following methods at the Government’s option.  The Service Provider shall correct noted discrepancies prior to contract expiration, or, the cost of repair shall be deducted from the final payment to the Service Provider IAW instructions below.  A Government representative will determine validity of the discrepancies.

At the completion of the contract, the Service Provider shall return the same property or property equal in type, kind, quality, and quantity of items as originally provided by the Government and accepted by the Service Provider.  Government property shall be in the same or better condition as when originally provided, less normal wear and tear.

### Security

The Service Provider shall be responsible for the physical security of GPP and installed equipment based on the requirements of this PWS.  The Service Provider shall secure all GPF when not occupied by Service Provider personnel.  The Service Provider shall maintain an activity security checklist for each individual facility as part of the Service Provider's Physical Security Program.

### Joint Use

The Service Provider shall share some facilities (as indicated in TE 6-1: Government Provided Facilities through TE 6-3: Government Provided Software and Systems) with the Government.  In addition, other circumstances may arise which necessitate the sharing of additional facilities or equipment identified as GPP.  The COR will coordinate necessary changes with the Service Provider.  The Service Provider shall not mark or affix any decals, emblems or signs portraying the Service Provider's name or logo to Government Facilities or Real Property.

### Change of Status for GPP

When GPP is no longer required or suitable for intended use, or has reached the end of its economic life, the Service Provider shall prepare and provide transfer documentation to the COR for approval and disposition directions.  Upon approval, the Service Provider shall process the items IAW applicable federal regulations (i.e., DOE guidance, GSA regulations and FPMR).  All property provided under and all scrap resulting from this PWS shall remain the property of the Government.

## Government Provided Facilities

### General

The Government will furnish or make available to the Service Provider facilities listed in TE 6-1: Government Provided Facilities.  This list describes the GP office and storage space for the use of the Service Provider’s staff.  Office space for administrative staff will include approximately 100 square feet of space per person.

The Service Provider shall not relocate activities or operational units within assigned facilities unless approved by the COR.  The Government will provide the Service Provider with a marked set of keys to specific facilities as required.

The Service Provider shall make no modifications to the GPF under this PWS without prior approval of the COR.   Approved modifications to Government facilities shall be made at no expense to the Government.  Damages to Government facilities that are determined to be the fault of the Service Provider shall be repaired at no expense to the Government as directed by the COR.  The Service Provider shall return facilities to the Government in the same condition as received, except for fair wear and tear and approved modifications.

The GPF will be in compliance with OSHA Standards.  The Service Provider is otherwise responsible for ensuring the assigned workplace and work practices comply with OSHA standards.  If a latent hazard is later discovered, the Government will restore the area to acceptable OSHA standards at no cost to the Service Provider.  The Service Provider is responsible for operating an occupational safety and health program to prevent accidents to Service Provider employees, the public, and DOE personnel.

### Final Condition

The Government reserves the right to reallocate and relocate assigned facilities during the term of the contract.  Upon completion or termination of this contract, or during such reallocation/relocations, GPF shall be returned to the Government in the same condition as received, except for fair wear and tear and approved modifications.

### Government Access

Authorized Government personnel shall have access to all GPF used by the Service Provider.  Government personnel may perform unscheduled visits during normal working hours.  When required, Government personnel will check in and out with the Service Provider, who may escort them throughout the facility.

## Government Provided Utilities

The Government will furnish utilities as currently installed in GPF.  All facilities do not receive the same utility services. Types of utility services may include electricity, gas, water, sewage, steam, fuel oil, and liquid propane gas.  The Service Provider shall not change or modify any utility system or component without prior Government review and written approval.  The Service Provider shall not connect any (Service Provider Furnished Equipment) SPFE/systems to GP utility systems without prior Government review and written approval.

## Government Provided Equipment

GPE is equipment provided to the Service Provider for use in performing work specified in this PWS.  The Service Provider shall not use GPE for any other work unless prior authorization is received from the COR.  The Government will make available to the Service Provider, on a one-time basis, in “as is” condition, GPE listed in TE 6-2: Government Provided Equipment.  Any additional equipment deemed necessary by the Service Provider outside of the GPE listings shall be procured at the expense of the Service Provider, and not charged directly to this PWS.

### Accountability

The Service Provider shall prepare the forms required for justification, deletions, and changes to GPE items authorized on the joint inventory.  The Service Provider shall furnish to the COR, upon request, a listing of all non-expendable GPE in the format provided in the GPE listing attached to the PWS.

### Right to Withdraw GPE.

The Government retains the right to withdraw any GPE at any time during the performance of the PWS. Additionally, all items of equipment will be deleted from GPE listing upon equipment failure or end of useful life.  Any such removal of GPE will be accomplished IAW the PWS General Provision entitled “Government Property”.   If such equipment is still required to perform work required in this PWS, the Service Provider shall submit a proposal to the COR for approval for replacement of the removed equipment.

### Replacement

The Service Provider shall submit to the COR written documentation for justifying new or replacement equipment purchases.  Upon approval of the COR, the Service Provider is authorized to purchase the equipment for the Government under this PWS.  If replacement is required due to Service Provider negligence or misuse, the Service Provider shall reimburse the Government for the full replacement cost.

Equipment purchased by the Service Provider for the Government shall be added to the Service Provider’s property control inventory and returned to Government control after completion of the PWS.

### Information Technology Equipment

The Government will provide IT Equipment required to support the service described within this PWS, including Government-unique systems and programs currently in use as listed in TE 6-3: Government Provided Software and Systems.  The Government will provide maintenance and repair parts of GP IT Equipment.  When repair of GP IT Equipment is required, the Service Provider shall notify the COR.  The COR will notify the Service Provider of dates for scheduled maintenance.

The Government will furnish software applications and operating systems currently being used by the DOE community at the time of contract award.  All major software applications, upgrades, and operating systems in use will comply with DOE standards and be approved by each site’s security office prior to installation or use. All applicable major software applications, upgrades, and operating systems shall be maintained, upgraded, or replaced by the Service Provider as required throughout the contract performance period.  Any non-standard software or hardware must be approved by the DOE IT Office prior to procurement.

As new technologies emerge, the Government may direct or the Service Provider may recommend replacement of existing hardware, applications, and operating systems.  Service Provider recommendations must be approved by the COR before implementation and must not adversely affect interfaces with customers and other management information systems.

The Government may provide training, as needed on Government-unique software applications during the transition period.

### GSA Vehicles

The Government will provide a GSA vehicle fleet for use under this PWS.  The Service Provider shall coordinate operator maintenance and services on these vehicles as required by GSA and Section 3: Performance Objectives and Measures of this PWS.

## Government Provided Material

### General

Material includes, but is not limited to, supplies, parts, subassemblies, raw materials, and other components and end items utilized to accomplish work or services described in this PWS.

### Requests For and Stocking of Material

The Government will provide material to be used by the Service Provider in performing work specified in Sections 3.1.1.3 and 3.2.1.3 of this PWS.

The Service Provider shall submit requests for material to the Building Manager.

Requests for items originating from and provided to customers under Section 3: Performance Objectives and Measures shall be processed as defined in that section and shall not be subject to CO approval except as defined therein.  The Service Provider shall ensure that the Service Provider’s workforce does not use material ordered for customers.  The Service Provider shall keep separate material to be issued to customers and material to be used by the Service Provider workforce.

The Service Provider shall develop a list of materials for each functional area that the Service Provider wishes the Government to acquire as shop or bench stock, and shall submit the lists to the CO for review, modification, and approval prior to the Contract start date.  The lists shall contain the following:  description of the item, National Stock Number (NSN) or Management Control Number (MCN), manufacturer’s part number, quantity to be stocked, unit of issue, unit cost, total cost per line item, and total cost for all line items.  The lists shall be signed and dated by the Service Provider’s PM.  If approved, the lists will become shop or bench stock for the functional areas.  The Service Provider shall submit updated shop and bench stock lists to the CO or designee not later than the last working day of each fiscal quarter.  The Service Provider shall notify the Government when shop or bench stocks need to be reordered.  Consumable items are defined as bulk purchase items such as nuts, bolts, screws, washers, and nails.  Shop or bench stock items provided by the Government will be standard quality items when available.Building Manager.

The Service Provider shall be responsible for all Government Provided Property including expendable, durable, and nonexpendable items and material for which he/she signs.  The Service Provider shall assume responsibility for all GP materials on hand at the time of the PWS start, based on the jointly conducted Government/Service Provider inventory.  The Government will retain ownership of all GP materials used under this PWS.

The Service Provider shall produce, update, and modify an inventory for all items to be stocked as warehouse, shop, and bench stock.  The inventory shall include procedures for receiving, inventorying, accounting, warehousing, issuing, turning in, and disposal of items.  The inventory shall also include procedures for safeguarding pilferable, sensitive, and classified items.  The Service Provider shall submit the inventory to the COR for approval not later than 15 business days prior to the PWS start date.  The Service Provider shall implement the approved inventory.  The Service Provider shall justify all requests for inventory replacement and submit requests in a timely fashion to ensure that sufficient material is on hand for the work required.  Lack of material will not be considered sufficient reason for non-performance.  The Service Provider shall submit updates to the inventory at least annually and more often as required.  The Service Provider shall implement changes upon request by the COR.

### Fuel

The Government will furnish operating fuels for vehicles and mobile equipment used in performance of services specified in this PWS.  The Government will also furnish operating fuels for vehicles and mobile equipment owned by the Service Provider but only if the vehicles/equipment are designated for use exclusively for performance of work under this PWS.  The Government will not provide fuel used for transport of Service Provider employees between their domicile and their work.

## Government Provided Services

### Emergency Services

In the event a Service Provider employee suffers a serious or life-threatening injury, emergency treatment will be provided as the first point of medical care.  Transfer to other than Government medical treatment facilities shall be effected as soon as possible and as determined by attending medical authorities.

The Government will provide fire prevention, fire protection and inspection of GPP, and maintenance of GP fire alarm systems.  The Service Provider shall cooperate with all fire programs, drills and instructions.

Where applicable, the Government will provide the security protection of the local federal security contract to the Service Provider while on Government property.  The Service Provider shall cooperate with all security programs, drills and instructions.

### Communications

The Government will install, maintain, repair, and remove, as necessary, all GP telephones, telephone instruments and telephone distribution systems.

Service Provider personnel shall not relocate GP telephone communications equipment, nor tamper in any way with the telephone distribution system.  Whenever changes to communication services are required, to include changing locations of extensions and adding and deleting phone lines, the Service Provider shall prepare and submit a request to the COR.  The Service Provider shall obtain Government approval before connecting or disconnecting any SPFE to GP communications systems, lines, or equipment.

The Service Provider shall not utilize the GP communication services for any action not directly associated with the requirements of this PWS.

Video-teleconference facilities in operation on DOE sites will be available for Service Provider use according to local policies in performance of official functions as required by this PWS.

The Government will provide telephone service for official use only through the Government system for on-site, local area and long distance calls for purposes of performance of the work identified in this document.

### Mail and Other Correspondence

The Government will deliver mail and other correspondence to a central Service Provider location at each facility.  The Service Provider shall distribute mail internally as necessary to Service Provider activities.  The Service Provider shall return all misdirected mail to the central location.

The Government will pay all postage, shipping, and handling fees generated by the Service Provider in providing official Government services required by this PWS.   The Service Provider shall be responsible for all other postage, shipping, and handling fees.  The Service Provider shall be responsible for any other courier services required for the performance of this PWS.

### Printing

Printing support will be rendered to the Service Provider at the locations where the work is performed.

The Service Provider shall requisition printing services IAW statutory law (Title 44 U.S.C.) and DOE standard procedures.  The Service Provider shall submit the completed request to the COR for approval IAW DOE time requirements.

### Trash Removal

The Government will furnish dumpsters.  The Service Provider shall place trash, excluding recyclable material, in the dumpsters.  The Government will provide trash pickup from dumpsters.  The Government will provide recyclable material pickup.

The Service Provider shall meet requirements established by OSHA and the on-site Safety Office and the on-site Fire Marshal.   No material considered to be hazardous will be disposed of in an inappropriate manner.  The Service Provider is required to comply with all DOE recycling initiatives and applicable EOs.

# Service Provider FURNISHED Property and Services

## General

### Provision, Storage, and Removal

The Service Provider shall furnish all property not specifically identified as GP in TE 6-2: Government Provided Equipment necessary to comply with the requirements of this PWS.  Such property includes, but is not limited to: facilities, equipment, supplies, repair parts, vehicles, IT equipment, safety clothing, and timekeeping system and facilities.

### Separation or Commingling of Property

Government property shall be kept physically separate from Service Provider-owned property.  However, when advantageous to the Government and consistent with the Service Provider’s authority to use such property, and with the approval of the COR, the property may be mixed.

Property may be commingled at the following times:

- When the Government property is special tooling, special test equipment, or plant equipment that is clearly identified and recorded as Government property

- When scrap of a uniform nature is produced from both Government-owned and Service Provider-owned material and physical segregation is impracticable, or scrap produced from Government-owned material is insignificant in consideration of the cost of segregation and control; or when otherwise approved by the COR

Within 30 calendar days after completion or termination of this contract, the Service Provider shall remove all Service Provider-owned vehicles, equipment, tools, supplies, materials and other items from the installation.

The Government shall not be responsible for any Service Provider-owned property left after contract completion or termination.  If the Service Provider does not remove said property from the facilities within the stated time, the Government will take possession of the property.

## Facilities and Utilities

The Service Provider may request additional GPF upon determining a need for them.  The Service Provider shall include specifications and justification for the needed facilities in the request to the COR.  If the request is approved, the COR will determine the availability of suitable facilities.  If no facilities are found, the Service Provider may submit proposed locations and associated costs.  Facilities and utilities required by the Service Provider to supplement those provided as GP will be obtained at the Service Provider’s expense.

## Equipment and Supplies

The Service Provider shall furnish all equipment and material, including motor vehicles, Automated Data Processing Equipment (ADPE), and administrative equipment, not provided by the Government but required for performance of work required under this PWS.  Equipment condition shall not relieve the Service Provider of any responsibility to provide services as required in this PWS.  Tools and equipment acquired by the Service Provider at Service Provider cost to supplement those provided as GP shall remain the property of the Service Provider upon termination or completion of the contract, except as otherwise specified herein.

### Compliance with Requirements

All Service Provider-furnished materials, supplies, parts, etc. shall meet manufacturer specifications or Government approved deviations.  The Service Provider-furnished equipment shall meet the same safety requirements as those established for Government equipment. The Service Provider will maintain, license and insure all Service Provider vehicles.

### Marking

All Service Provider-owned equipment and vehicles shall be clearly and permanently marked with the Service Provider's name, telephone number, and the vehicle ID number on both sides.

### Unserviceable Service Provider Equipment

The Service Provider shall repair inoperable and unserviceable SPFE or items.  The Service Provider shall dispose of equipment that is not repaired within 30 business days.  The Service Provider may request an extension of this time frame from the COR when the delay is due to long lead-time for a replacement part that the Service Provider has on order.

### Personal Use Tools

Personal use tools necessary for work accomplishment are the responsibility of the Service Provider except those tools specifically listed as GP.

### Personal Protective Equipment

The Service Provider shall provide all protective clothing, protective equipment, and coveralls required by OSHA standards.

### Equipment Plan

Within 30 days after PWS award, the Service Provider shall submit an Equipment Plan to the COR for modification and approval.  The Service Provider shall update the equipment plan when equipment requirements or status of equipment changes, and shall submit proposals for all acquisition of new equipment.

The equipment plan shall include all equipment that the Service Provider shall provide in order to perform work required under this PWS.  The equipment plan shall be presented by major functional area.

For each piece of equipment to be acquired, the Service Provider shall include the following information:

- Equipment Type

- Equipment Size or Capacity

- Year of Manufacture

- Manufacturer

## Services Provided by the Service Provider

### Communication Services

The Service Provider shall obtain those communication services required to perform work specified in this PWS that are not GP.  Service Provider communication services will be subject to standard monitoring requirements of the Government telephone network.

### Housekeeping

The Service Provider shall perform housekeeping in GP Service Provider occupied facilities and areas.  Areas include, but are not limited to, facilities, yards, compounds, parking areas and ancillary work areas.  The Service Provider shall maintain GP facilities, supplies and material in a safe, organized and clean condition.  The Government shall maintain all outdoor areas assigned to the Service Provider for use, keeping the areas free of trash, debris, vegetation, and leaves from walkways.

# Transition Plan

## Transition Planning

Within 15 calendar days after PWS award, the Service Provider shall submit a revised phase-in Transition Plan, as directed by the COR.  The Service Provider shall also establish a plan for an orderly phase-out of the Logistics operations prior to the completion of this PWS.  These plans shall be submitted by the Service Provider for evaluation by the Government, and shall be IAW the Government’s transition plan.

### Phase-In Period

The period between the PWS award and the PWS start date will constitute the phase-in period.  During the phase-in period, the Service Provider shall prepare to assume full responsibility for all areas of operation IAW the terms and conditions of this PWS.  The Service Provider shall take all actions necessary for a smooth transition of the Logistics operations.  This period will be approximately 180 calendar days in duration.  The Government will make all facilities and equipment accessible to the Service Provider for a maximum of 60 calendar days prior to the PWS start date.  During the first 30 calendar days of this period, the Service Provider's personnel will be permitted to observe any Logistics operations at DOE facilities.  During the phase-in period, the Service Provider shall:

- Establish the Project Management Office

- Recruit and hire necessary personnel

- Obtain all required certifications

- Obtain required clearances, including personnel security clearances (this process generally takes 6 to 18 months)

- Participate in joint inventories and sign for GPP

- Develop and submit any required deliverables

- Attend post-award meetings as required

- Accomplish any necessary training to support the Performance Objectives and Measures listed in Section 3

- Create SOPs for each functional area covered under this PWS unless otherwise provided by the Government (content could include: QC, hours of operation, work assignments, approval authorities, work flow, functional relationships between the Government and the Service Provider and between the Service Provider’s organizational elements, and any other information needed for efficient and uniform performance)

In the event of a non-Government Service Provider performing the work under this PWS, the incumbent Government work force will support initial Service Provider orientation during the transition period.

### Phase-Out Period

The current Service Provider shall develop and submit 90 days prior to completion of this contract a comprehensive phase-out plan.  The Service Provider's phase-out plan shall not disrupt or adversely impact the day-to-day conduct of Government business and shall achieve a smooth and orderly transfer of responsibility to a successor.  The plan shall fully describe how the Service Provider shall approach the following issues:

- Employee notification

- Retention of personnel

- Turn-over of work-in-progress, inventories, and Government property

- Removal of Service Provider property

- Data and information transfer

- Other actions required ensuring continuity of operations

- Security debriefings for incumbent personnel holding security clearances

The Phase-Out Plan shall also require an inventory by the outgoing Service Provider and the Government before a joint inventory can be conducted between the outgoing Service Provider and the successor.  The inventory shall include:

- Reconciliation of all property accounts, requisitions, and work-in-progress

- Turn-in of excess property

- Clean-up of Service Provider work areas

- Provision for training of the successor’s personnel on GP automated information systems used in performance of this PWS, specialized equipment, utilities systems, and ongoing work that the successor would be required to complete

Sixty (60) calendar days prior to the completion of this contract, an observation period shall occur, at which time, personnel of the incoming workforce may observe operations and performance methods of the outgoing Service Provider.  This will allow for orderly turnover of facilities, equipment, and records and will help to ensure continuity of service.  The outgoing Service Provider shall not defer any requirements for the purpose of avoiding responsibility or of transferring such responsibility to the succeeding Service Provider.  The outgoing Service Provider shall fully cooperate with the succeeding Service Provider and the Government so as not to interfere with their work or duties.

###### Definitions and Acronyms

Definitions

Acceptable Quality Level (AQL):  Maximum percent defective (or maximum number of defects per hundred units) that can be considered as a satisfactory performance average.  Government will accept the great majority of lots provided percent defective (or defects per 100 units) in these lots is no greater than designated value of AQL.  However, the Service Provider shall not intentionally perform in a defective manner and shall re-perform any service found to be defective whenever possible.  Decisions as to this possibility shall be made only by the COR.

Accountability:  Accountability is the obligation to keep accurate and complete records of property, documents, or funds.  Important data elements may include, but are not limited to, ID data, gains, losses, due-ins, due-outs, and balances on hand or in use.

Alteration:  A change to interior or exterior facility arrangements to improve its current purpose.  This includes installed equipment made a part of existing facility.

Availability:  A measure of the degree to which an item is in an operable and committable state at the start of the mission, when the mission is called for at an unknown (random) point in time.

Bench Stock: A quantity of materials maintained on-hand.

Biennially: One time every two years.

Bimonthly:  One time every two months.

Biweekly:  One time every two weeks.

Cancellation:  A total or partial discontinuance of supply action requested of and confirmed by the supplier.

Catalog:  A uniform system of item ID and nomenclature to describe, classify, and number each item included in the system so that an item of supply is identified by a single stock number.  Items cataloged are those items of personal property subject to stockage for supply support, repetitive procurement, distribution, and issue.

Change Order:  A written order signed by the Contracting Officer, directing the Service Provider to make changes that are authorized by the Changes clause of the contract.

Classified Item: Material requiring protection in the interest of national security.

Classified Material:  Documents, data, information, and items for which access is limited to those persons having a "need to know" and appropriate security clearance.

Clearance:  Authority permitting individuals cooperating in DOE work, and having a legitimate interest therein, access to classified technical information, material, or equipment or admission to restricted areas or Facilities where such information or material is located.

Configuration:  The functional or physical characteristics of equipment, systems, hardware or software set forth in technical documentation and achieved in a product.

Conservation:  The protection, improvement, and use of natural resources according to principles that will provide optimum public benefit and support of DOE’s mission.

Construction:  Erection or assembly of a new facility; addition, expansion, extension, alteration, conversion, or replacement of an existing facility; or relocation of a facility from one location to another.  Includes equipment installed and made a part of such facilities, and related site preparation, excavation, filling, and landscaping, or other land improvements.

Consumable Supplies:  Supplies consumed in use such as fuel, cleaning and preserving materials, office materials, or supplies that lose their separate identity in use, such as repair parts and building materials.

Contract:  All types of agreements and orders for the procurement of supplies or services.

Contract Administrator:  An individual duly assigned by appropriate authority to administer a contract.

Contract Modification:  Any written alteration in the specifications, delivery point, rate of delivery, contract period, price, quantity, or other contract provisions of an existing contract.

Contract Start Date:  The first day of actual work performance by the Service Provider.

Contracting Office:  The office that awards or executes a contract for supplies or services and performs post-award functions not assigned to a Contract Administration Office.

Contracting Officer (CO):  An individual appointed IAW procedures prescribed by the Federal Acquisition Regulation with the authority to enter into and administer contracts and make determinations and findings with respect thereto, or with any part of such authority.

Contracting Officer’s Representative (COR):  Any person who has been appointed in writing as the authorized representative of the Contracting Officer acting within the limits of his authority.

Controlled Inventory Items:  Items with characteristics requiring special ID, accounting, security, or handling to ensure their safeguard.  These items, in order of degree of control normally exercised, are as follows:

- Classified item.  Material requiring protection in the interest of national security.

- Sensitive item.  Material requiring a high degree of protection and control because of statutory requirements or regulations; high-value, highly technical, or hazardous items; and small arms, ammunition, explosives, and demolition material.

- Pilferable item.  Material having ready resale value or civilian application to personal possession and, therefore, especially subject to theft.  Examples are items such as projectors, pagers, handheld two-way radios, cameras, tapes, or recorders.

Corrective Action:  Consists of those efforts required to correct reported deficiencies and determine that other products are not similarly defective.

Customer:  Any recipient to a service described in Section 3: Performance Objectives and Measures of this solicitation.

Damage:  A condition that impairs either value or use of an article; may occur in varying degrees.  Property may be damaged in appearance or in expected useful life without rendering it unserviceable or less useful.  Damage also shows partial unserviceability.  Usually implies that damage is the result of some act or omission.

Discrepancy:  A disagreement between the actual quantity or condition of property and that shown by the record of the property.  A discrepancy usually is a disagreement between quantities or condition of property actually received in a shipment and that recorded on the shipping document.  This type of discrepancy generally is referred to as a "discrepancy incident to shipment".  Another form of discrepancy occurs when there is a disagreement between a stock record balance and the results of a physical count or inventory.

Disposal:  The processing of excess assets (including real property, industrial and personal property) by the government.

Emergency:  The reporting of sudden, usually unforeseen, occurrences where life or property are in immediate danger and require immediate action.

Emergency Service Order/Call:  A request for service (with short response time) when health, safety, or mission will be adversely affected if the situation is not abated as soon as possible.

Environmental Protection Agency (EPA):  Federal agency that regulates through permits coordinated and effective Governmental action to assure protection of environment by abating and controlling pollution on a systematic basis.  Basic organization consists of HQ at Washington, DC, and ten regional offices, all responsible to Administrator, Ref 40-(CFR) 1 and revisions thereof.

Environmental Safety and Health (ES&H):  Organization within DOE that develops and promulgates environmental safety and health policies for DOE.  The Office of Environment, Safety and Health serves the Secretary of Energy on matters relating to protection of the environment, workers, and the public from hazards posed by DOE facilities and operations.

Equipment (As Used in Government Provided Property):  An item of equipment owned by the Government provided to a Service Provider for performance of PWS requirements.

Facilities:  Buildings or structures, in whole or in part, provided by the Government and assigned to the Service Provider for PWS performance.  All Real Property items other than land.

Fiscal Year (FY):  A period of 12 months beginning 1 October and ending 30 September of the following year.  Fiscal year is designated by the calendar year in which it ends.

General Services Administration (GSA):  Agency established in 1949 with the Federal Supply Service as its major element for inventory management.  Functions include supply management, procurement, quality control, cataloging, and supply distribution.

Government:  The personnel and agencies that lawfully administer and control the affairs of the United States.

Government Representative:  Personnel designated by the Contracting Officer as official representatives of the Government to the Service Provider.

Government Provided Equipment:  A term used in this PWS to mean equipment in the possession of, or directly acquired by, the Government and subsequently made available for the sole use of the Service Provider in the performance of this PWS.

Government Provided Property:  A term used in this PWS to mean property in the possession of, or directly acquired by, the Government and subsequently made available for the sole use of the Service Provider in the performance of this PWS.

Hazardous Materials (HAZMAT):  Materials that are toxic, poisonous, corrosive, irritating, sensitizing, radioactive, biologically infectious, explosive, or flammable, and present a hazard to human health, safety, and environment.  Special handling procedures and disposal facilities are required for their disposal in compliance with federal, state, and local regulations (reference C.6). Material must be handled and disposed of in compliance with special provisions as outlined in safety and environmental publications.

Improvement:  Alterations, conversions, modernizations, renewals, additions, expansions, and extensions that are for the purpose of enhancing rather than repairing a facility or system associated with established housing facilities or areas.

Input:  Information transferred into the internal storage of data processing system, representing data to be processed for information to help control the process.

Inspect:  Determination and ID of the condition, defects, or malfunctions of equipment, facilities, and systems with reference to established standards.

Install:  To set in position and connect or adjust for total functional use of equipment or materials.

Facility:  The land and facilities occupied by DOE, NNSA and its tenants.

Inventory:  An inventory is a physical count of property items on hand.  Components are inventoried when the end item is inventoried.

Inventory Control:  Phase of logistics that includes managing, cataloging, requirements determination, procurement, distribution, overhaul, and disposal of material.

Joint Inventory:  A physical count of items conducted by individuals representing separate interests for the purpose of establishing the quantities of property on hand.

Lot:  A quantity of material manufactured under identical conditions and assigned an identifying lot number, or a collection of service outputs from which a sample can be drawn and inspected to determine conformance with the standard.

Lot Size:  The number of service outputs in a given lot.

Minor Maintenance:  Minor maintenance of non-GSA leased vehicles includes tire repair, tune-up, lubrication, fluid change, repair part replacement not requiring diagnostic equipment and costing less than $100.00 per item, welding, body repair and painting costing less than $150.00, safety check, technical inspection, and as directed by the COR.

National Stock Number:  The 13-digit stock number replacing the 11-digit Federal Stock Number.  It consists of the four-digit Supply Classification code and the nine-digit National Item ID Number.  The National Item ID Number consists of a two-digit National Codification Bureau number designating the central cataloging office of the NATO or other friendly country that assigned the number and a seven-digit (xxx-xxxx) non-significant number.  The number shall be arranged as follows: 9999-00-999-9999.

New Construction:  Erection, Facility, or assembly of a new real property facility including equipment related site preparation, excavation, filling and landscaping, or other land improvements.

Normal Wear and Tear:  Loss or impairment of appearance, effectiveness, worth, or utility of an item that has occurred solely because of normal and customary use of the item for its intended purpose.

On-Site:  Repairs or services performed at a customer's location.

Performance Requirements Summary (PRS):  The PRS shows PWS requirements, the component requirements related to each PWS requirement, the price of each work requirement as a percentage of the associated PWS requirement, the standard of performance, and the maximum allowable defect rate for each work requirement.

Performance Standard:  A characteristic of an output of a work process that can be measured.

Performance Work Statement (PWS): The PWS consists of the definitive or descriptive words identifying the subject matter of the contract referred to as the specifications or work statement.

Phase-in Period:  The period between PWS award and PWS commencement.

Phase-out Period: The period between PWS end and transition back to government or other Service Provider entity.

Pilferable Item: See Controlled Inventory Items.

Planned Sampling:  Based on some subjective rationale and sample size arbitrarily determined.

Plant Equipment:  Government-owned property of capital nature, consisting of equipment, furniture, vehicles, machine tools, and test and special test equipment, used or capable of use for any administrative or general plant purposes for Service Provider to account for and maintain.

Policy:  The general plan of operation.

Preventive Maintenance:  Systematic and cyclic check, inspection, servicing, and repairs of deficiencies, as well as reporting of deficiencies beyond scope of PM.  PM includes accomplishment of maintenance and repair.

Priority:  Work that takes precedence over all other work and requires immediate attention.  Such work is usually necessary for the immediate protection of health, life, safety, security, or property.

Procedure:  The step-by-step method or way in which the policy or plan is to be carried out.

Process:  A series of actions or operations that achieve an end or result.

Project:  A single undertaking or task involving maintenance, repair, construction, or equipment-in-place, in which a facility or group of similar facilities are treated as an entity with a finite scope.

Property:  Terms "Real Property", "Government Property", "DOE Property", and "Property" include all property under control of the Department of Energy.  Property includes but is not limited to land, facilities, equipment, supplies, parts, and accessories thereto, and alteration or Facility of any of the foregoing.  Not included is property accounted for and owned by a non-appropriated fund activity.

Property Administrator:  An authorized representative of the Contracting Officer assigned to administer the PWS requirements and obligations relating to Government property.

Quality:  The composite of attributes or characteristics, including performance of an item or product.

Quality Assurance (QA):  Actions taken by the Government to inspect or check goods and services to determine that they meet or do not meet requirements of the PWS.

Quality Assurance Evaluator (QAE):  That person responsible for surveying the Service Provider performance.

Quality Assurance Surveillance Plan (QASP):  An organized written document used by Government for quality assurance surveillance.  Document contains sampling/evaluation guides, checklists, and the Performance Requirements Summary (PRS).

Quality Control (QC) Plan:  Service Provider's system to control the equipment, systems, or services so that they meet the requirements of the PWS.

Random Sample:  A sampling method whereby each service output in a lot has an equal chance of being selected.

Real Property:  Land, improvement to land, buildings, structures, and items permanently affixed to either land, building, or structure.

Receiving:  The process of planning for the arrival and the handling of inbound supplies, materials or equipment.

Reconciliation:  A comparison of the supply records of separate activities to ensure their compatibility.  The term reconciliation includes the corrective actions necessary to bring the two record sets into agreement.

Recycling:  The process by which recoverable materials are transformed into new or usable products.

Repair Ticket:  Work (i.e., facilities operations, maintenance and repair) requiring more than three (3) hours to complete.  See also Service Call.

Restricted Area:  Those areas designated by DOE that require control of personnel for security reasons and/or equipment for protection of personnel and property.

Routine Call:  A request for service with a 24-hour response time.

Sample:  A sample consists of one or more service outputs drawn from a lot, the outputs being chosen at random.  The number of outputs in the sample is the sample size.

Sample Size:  Number of units of product or of outputs in sample.

Sampling Guide:  The part of the surveillance plan that contains the information needed to perform a random sample.

Sampling Plan:  A plan that indicates AQL, number of units from each lot to be inspected (sample size), and criteria for determining acceptability of the lots (acceptance and rejection numbers).  This plan is used to develop sampling guide.

Scheduled Maintenance:  The recurring day-to-day, periodic, or scheduled work (labor and material) required to preserve and maintain property in such condition that it may be effectively used for its designated functional purpose.  Maintenance includes work done to prevent damage that would be more costly to restore than to prevent.  Maintenance may include repairs made to a facility, equipment, and/or system that will ensure dependable operation of facility, equipment, and/or system.  These repairs may also include replacement of parts or components necessary to keep equipment and/or systems operating effectively.

Service Call: Any notification or request for service.  If the work specified in a service call cannot be completed in three (3) hours or less, then a repair ticket is generated to complete the required work.

Service Provider:  The term Service Provider as used herein refers to both the prime Service Provider and any subcontractors.  Service Provider's subcontract employees shall comply with the provisions of the PWS.

Service Provider-Furnished Equipment (SPFE):  That equipment the Service Provider is required to furnish in order to perform the requirements of the PWS.

Service Provider-Furnished Property (SPFP):  That property the Service Provider is required to furnish in order to perform the requirements of the PWS.  The Service Provider retains title to all SPFP.

Shall:  The word "Shall" is used in connection with the Service Provider and specifies that the provisions are mandatory.

Site Offices/Locations:  Those support locations, offices, and facilities listed in TE-2-1.

Shop Stock:  Repair parts and consumable supplies stocked within a support-level maintenance activity for internal use during accomplishment of maintenance requests.  .

Standard Operating Procedure (SOP):  A comprehensive narrative description of maintenance and repair methods prepared by the Service Provider.  A set of instructions covering those features of operations that lend themselves to a definite or standardized procedure without loss of effectiveness.  The procedure is applicable unless ordered otherwise.

Stock Number:  A number used to identify an item of supply.  Types of numbers used are listed below:

(1)  NSN

(2)  Commercial and Government Entity Code

(3)  Management Control Number

Any other identifying number when one of the types in (1) through (3) has not been assigned.

Supplies:  Items needed to equip, maintain, operate, and support DOE activities.  Supplies may be used for administrative or general plant purposes.  Supplies include food, clothing, equipment, fuel materials, and machinery of all kinds.  For planning and administrative purposes, supplies are divided into 10 classes.  Supplies are synonymous with “equipment” and “material.”

System:  A group of separately authorized items of equipment or components assembled to establish a single functional unit required for the successful performance of a task or mission.  Reportable items that are part of a non-reportable system are considered as separate items.  Non-reportable items that are part of a reportable system are considered as subsystems. A system, as used in the resultant contract, includes:  all mechanical and electrical equipment; supporting structures; pneumatic, electrical and mechanical types of controls; and all auxiliary equipment required to provide a specific function and output requirements.

Transition Period:  Time preceding resultant PWS start work date and is provided to Service Provider for the purpose of observing existing Service Provider operation.  In order to have a smooth transition from Service Provider operation to Service Provider performance, no training or instruction will be provided by Government personnel to Contract employees.  Prior Service Provider will remain responsible for performance of all work.  Transition period shall be that 60-day period prior to resultant PWS start work date and shall end at 0000 hours on day preceding resultant PWS start date.

Unserviceable:  Items that cannot be used because they are obsolete, worn, damaged, or otherwise not suited for purpose intended.

Utilities:  Electricity, gas, water, sewage disposal, and steam are types of utilities used by this Facility.  They can be provided by the Government or private companies under contract.

Work Order (WO):  A work authorization document grouped into one to three categories:  Individual Job Order, Standing Operations Order, or Service Order.  Each work request is managed by techniques and procedures designed specifically for that category.

Acronyms

ACM		Asbestos Containing Materials

ADA		Americans with Disabilities Act

ADP		Automated Data Processing

ADPE	Automated Data Processing Equipment

ANSI		American National Standards Institute

AO			Administrative Officers

APR			Accountable Property Representatives

AQL		Acceptable Quality Level

ARC		Albany Research Center

ASHRAE	American Society of Heating, Refrigeration, and Air Conditioning Engineers

ASME	American Society of Mechanical Engineers

B&R		Budget and Reporting Code

BAO		Building Access Only

BOCA	Building Officials and Code Administrators

CA			Commercial Activities

CESDS	Courier Electronic Signature Delivery System

CFC			Chlorofluorocarbons

CFO			Chief Financial Officer

CFR			Code of Federal Regulations

CO			Contracting Officer

COB		Close of Business

COR		Contracting Officer’s Representative

DDC		Direct Digital Control

DEAR	Department of Energy Acquisition Regulation

DoD			U.S. Department of Defense

DOE		U.S. Department of Energy

DOT		U.S. Department of Transportation

EIA			Energy Information Administration

EM			Energy Management

EMCS	Energy Management and Control System

EMT		Electrical Metallic Tubing

EO			Executive Order

EPA			Environmental Protection Agency

ES&H	Environmental Safety and Health

FAR			Federal Acquisition Regulations

FEMP	Federal Energy Management Program (Office within DOE)

FETC		Federal Energy Technology Center

FIMS		Facility Information Management System

FMIS		Fleet Management Information System

FMR		Federal Management Regulations

FPMR	Federal Property Management Regulations

FY			Fiscal Year

GAO		General Accounting Office

GP			Government Provided

GPE			Government Provided Equipment

GPF			Government Provided Facilities

GPP			Government Provided Property

GPO		Government Printing Office

GSA		General Services Administration

HAZMAT	Hazardous Material

HHG		Household Goods

HMR		Hazardous Materials Regulations

HQ			Headquarters

HVAC	Heating, Ventilation, and Air Conditioning

HVACR	Heating, Ventilation, Air Conditioning, and Refrigeration

IAW		In accordance with

ID			Identification

IGE			Independent Government Estimate

ISMS		Integrated Safety Management System

ISO			International Organization for Standardization (i.e., ISO 9000 or ISO 14001)

ISSO		Information System Security Officer

IT			Information Technology

JTS			Job Tracking System

LAN		Local Area Network

LCAM	Life Cycle Asset Management

MER		Mechanical Equipment Room

MRT		Maximum Response Time

MSDS	Material Safety Data Sheets

MSTS	Maintenance Service Tracking System

NAEYC	National Association for the Education of Young Children

NEPA	National Environmental Policy Act

NETL	National Energy Technology Laboratory

NFPA	National Fire Protection Association

NNSA	National Nuclear Security Administration

NSN		National Stock Number

O&M		Operations and Maintenance

OMB		Office of Management and Budget

OSHA	Occupational Safety and Health Administration

OSHAct	Occupational Safety and Health Act

P			Publication

PAMS	Property Acquisition Management System

PBS			Public Building Service of the General Services Administration

PCS			Permanent Change of Station

PM			Preventive Maintenance

PMR		Property Management Regulations

POC			Point of Contact

PPE			Personal Protective Equipment

PRS			Performance Requirements Summary

PWS		Performance Work Statement

QA			Quality Assurance

QAE		Quality Assurance Evaluator

QASP	Quality Assurance Surveillance Plan

QC			Quality Control

RCRA	Resource Conservation and Recovery Act

SF			Standard Form

SMACNA	Sheet Metal and Air Conditioning Contractors’ Standards

SOP			Standard Operating Procedure

SPFE		Service Provider Furnished Equipment

TE			Technical Exhibit

UFAS	Uniform Federal Accessibility Standards

USC			United States Code

USDA	United States Department of Agriculture

WCF		Working Capital Fund

WO			Work Order

WSSC	Washington Suburban Sanitation Commission

###### Technical Library

Reference

All applicable, mandatory DOE and other Federal guidance, policy and directives are included in the following table.

| Title, Reference/Source | Forrestal | Germantown | Albany | Mandatory (M) or Advisory (A) |
| --- | --- | --- | --- | --- |
| The Americans with Disabilities Act (ADA) Code/Compliance Guide | X | X | X | M |
| All Installation and Operations & Maintenance Manuals For Equipment Installed At This Installation – As Specified By Equipment | X | X | X | M |
| American Institute Architects Master Spec (all divisions) | X | X |  | M |
| American Society of Heating, Refrigeration, and Air Conditioning Engineers (ASHRAE) | X | X |  | M |
| American National Standards Institute (ANSI) Publications | X | X |  | M |
| ARC Local SOPs (including Safety Directives and ISMS) |  |  | X | M |
| American Society of Mechanical Engineers (ASME) Boiler Code |  | X | X | M |
| American Society of Mechanical Engineers (ASME) Elevator Code | X | X |  | M |
| Atomic Energy Act of 1954 | X | X |  | M |
| Building Officials and Code Administrators (BOCA) Code | X | X |  | M |
| Chemical Treatment Guidelines for Lawn Care and Snow Removal | X | X | X | M |
| Child Development Center Standards | X | X |  | M |
| Code of Federal Regulations (CFR) | X | X |  | M |
| Corporate Response Times (DOE Working Capital Fund) |  | X |  | M |
| Criteria for Federal Office Building (GSA Design Guidelines PBS P 3425.8a) | X | X |  | M |
| Daily Tour and Watch Log | X | X |  | M |
| Davis-Bacon Act | X | X |  | A |
| DOE Order 580.1A | X | X |  | A |
| DOE Orders for ES&H |  |  | X | A |
| DOE Printing and Binding Regulations | X | X |  | A |
| DOE Property Management Regulations (41 CFR Ch. 109.5) | X | X | X | A |
| DOE Transportation Office SOPs | X | X |  | M |
| DOE Travel Regulations | X | X |  | M |
| DOE HQ Service Call and Repair Standard of Performance | X | X |  | M |
| DOT-Hazardous Materials Regulations (HMR) |  |  | X | M |
| Electrical Training: Reading Electrical Diagrams Units 1 & 2 | X | X |  | A |
| Electrical Training: Safety in Electrical Maintenance | X | X |  | A |
| Electrical Training: Using Electrical Test Equipment | X | X |  | A |
| Equipment-specific SOPs | X | X | X | M |
| Facility Accident, Injury and Mishap Report | X | X | X | M |
| Federal Management Regulation (FMR) (41 CFR Ch. 102) | X | X |  | M |
| Federal Property Management Regulation (FPMR) - Federal Property & Administrative Services Act of 1949 (41 CFR Ch. 101) | X | X | X | M |
| Federal Travel Regulations | X | X |  | M |
| Government-wide regulations for cleaning facilities—see Delegation Agreement w/GSA | X | X |  | M |
| GPO Printing and Binding Regulation | X | X |  | A |
| Greening The Government through Efficient Energy Management, Resource Conservation and Recovery Act (RCRA, 42USC6962) of 1976 section 6002 (Executive Order 13123) | X | X |  | M |
| Greening the Government Through Waste Prevention, Recycling, and Federal Acquisition (Executive Order 13101) | X | X |  | M |
| GSA and DOE Fleet Maintenance and Management Regulations | X | X | X | M |
| GSA Delegation of Authority for Building Operations and Maintenance of Real Property | X | X |  | M |
| GSA Preventive Maintenance Guidelines | X | X |  | M |
| GSA Regulations for Operating Vehicles | X | X |  | M |
| Household Goods Shipping Regulations/Procedures | X | X |  | M |
| HVAC Instrumentation & Controls Training: Basic Pneumatic Control Systems | X | X |  | A |
| HVAC Instrumentation & Controls Training: HVAC Introduction | X | X |  | A |
| HVAC Instrumentation & Controls Training: Pneumatic Control Equipment Units 1 - 3 | X | X |  | A |
| HVAC Instrumentation & Controls Training: Pneumatic Controllers | X | X |  | A |
| HVAC Instrumentation & Controls Training: Pneumatic Instrument Tubing | X | X |  | A |
| HVAC Instrumentation & Controls Training: Sam Vol. I, II, III, IV | X | X |  | A |
| Instructions to Contract Architectural Engineers (GSA Design Guidelines PBS P 3430.1c) | X | X |  | M |
| Integrated Safety Management System (ISMS) |  |  | X | M |
| ISO 14001 Center policies and procedures |  |  | X | M |
| Life Cycle Asset Management (DOE Order 430.1) | X | X |  | M |
| Local and State permits (to include Spill Permit, Discharge Permit, etc.) |  |  | X | M |
| Low or No Volatile Organic Compounds (VOCs) | X | X |  | M |
| Maintenance Training: Air Compressors 1 & 2 | X | X |  | A |
| Maintenance Training: Centrifugal Pump Maintenance Units 1 & 2 | X | X |  | A |
| Maintenance Training: Couplings and Shaft Alignment | X | X |  | A |
| Maintenance Training: Gasket Packing and Mechanical Seals | X | X |  | A |
| Maintenance Training: Maintenance Practices | X | X |  | A |
| Maintenance Training: Pipes and Pipe Fittings | X | X |  | A |
| Maintenance Training: Print Reading and Use | X | X |  | A |
| Maintenance Training: Thermal Insulation | X | X |  | A |
| Manufacturer Guidelines | X | X |  | M |
| National Association for the Education of Young Children (NAEYC) Accreditation Criteria | X | X |  | M |
| Material Safety Data Sheets On All Supplies On Installation- As Specified by Supplies | X | X | X | M |
| National Electrical Code | X | X | X | M |
| National Environmental Protection Act (NEPA) regulations/policies |  |  | X | M |
| National Fire Protection Association Code | X | X | X | M |
| National Mechanical Code |  |  | X | M |
| Official Use of Federal Vehicles (CFR 101-38.301) | X | X |  | M |
| OSHA Guidelines (29 CFR) | X | X |  | M |
| Permanent Change of Station Entitlement | X | X |  | M |
| Quality Standards for Design and Construction (GSA Design Guidelines PBS P 3430.1) | X | X |  | M |
| Real Property Management (DOE Order 4300.1c) | X | X |  | M |
| Records Disposition Guidelines | X | X |  | M |
| Resource Conservation and Recovery Act of 1976 section 6002 (42 U.S. Code 6962) | X | X |  | M |
| Safety And Training Material& Films: Asbestos General Awareness | X | X |  | A |
| Safety And Training Material& Films: Chemical Burns | X | X |  | A |
| Safety And Training Material& Films: Confined Space Entry | X | X |  | A |
| Safety And Training Material& Films: Fire Safety | X | X |  | A |
| Safety And Training Material& Films: Hard Hats, Hard Heads | X | X |  | A |
| Safety And Training Material& Films: Hazardous Substances | X | X |  | A |
| Safety And Training Material& Films: Hearing Conservation | X | X |  | A |
| Safety And Training Material& Films: Lock-Out/Tag-Out | X | X |  | A |
| Safety And Training Material& Films: Machine Safety Guards | X | X |  | A |
| Safety And Training Material& Films: Personal Safety | X | X |  | A |
| Safety And Training Material& Films: Personal Safety Equipment | X | X |  | A |
| Scope of Work of Carlson Wagonlit Travel Services | X | X |  | A |
| Scope of Work of Custodial Contract | X | X |  | M |
| Scope of Work of Elevator Contract | X | X |  | M |
| Scope of Work of Landscaping and Grounds Maintenance Contract |  | X |  | M |
| Scope of Work of Mechanical Equipment Repair and Maintenance Contract | X | X |  | A |
| Scope of Work of Trash Removal Contract | X | X |  | M |
| Secretary of Interior Standards for Treatment of Historical Properties (36 CFR, Section 68) |  |  | X | M |
| Sheet Metal and Air Conditioning Contractors’ Standards (SMACNA) | X | X |  | M |
| State of Oregon Elevator Code |  |  | X | M |
| The Trip Log (41 CFR 109-38.5001) | X | X |  | M |
| Title 44 US Code | X | X |  | M |
| Tour and Watch Guidelines | X | X |  | M |
| Uniform Federal Accessibility Standards (UFAS) | X | X |  | M |
| Uniform Mechanical Code | X | X |  | M |
| Uniform Plumbing Code | X | X | X | M |
| Warehouse SOPs | X | X |  | M |
| Washington Suburban Sanitation Commission (WSSC) | X | X |  | A |
| Working Capital Fund Corporate Response Times | X | X |  | M |

TECHNICAL EXHIBITS (TE)

Technical Exhibit 2-1: Facility Location Descriptions

FORRESTAL HEADQUARTERS COMPLEX

The Forrestal Building was dedicated in 1968 by President Lyndon B. Johnson and initially occupied by the Department of Defense.  Since 1978, the 1.7 million-square-foot Forrestal Building has served as the DOE Headquarters facility.  The Forrestal Building is located in Southwest Washington, DC on Independence Avenue.  The Complex includes a large auditorium, cafeteria, parking garage, various data centers, 24-hour operations center, computer center, and the Child Development Center.  Satellite lease locations currently include 950 L’Enfant Plaza SW, 955 L’Enfant Plaza SW, and the Ardmore-Ardwick Warehouse (Landover, MD).

GERMANTOWN HEADQUARTERS COMPLEX

The Germantown Complex was dedicated in 1957 by Dwight D. Eisenhower as the Atomic Energy Commission Headquarters.  Since 1977, the 618,852 square-foot Germantown Complex situated on approximately 98.6 acres has also served as a DOE Headquarters facility.  The Complex includes a separate auditorium, heating/refrigeration plant, radio building, equipment sheds, garages, and a Child Development Center.  The main office building includes a cafeteria, various data centers, warehouse, and a computer center.  Satellite leased locations include 20300 Century Boulevard, and 20400 Century Boulevard.

ALBANY RESEARCH CENTER

The Albany Research Center is a U.S. Department of Energy materials research laboratory located in Albany, Oregon that offers a broad suite of capabilities and expertise in Materials research.

The ARC was established on June 2, 1942, as part of the U.S. Bureau of Mines.  Its original purpose was twofold:  (1) to find methods for using the abundant low-grade resources of the area, and (2) to develop new metallurgical processes using electrical energy.

Today, researchers address fundamental mechanisms and processes in materials development and use; melting, casting and fabricating up to 1 ton of materials; completely characterizing the chemical and physical properties of materials; and dealing with the waste and by-products of materials processes.  During the past 55 years, the Center has established recognized expertise and capabilities in Wear and Corrosion, Melting and Casting, and in Materials Development.  Researchers can provide analyses and solutions to industrial problems that bridge the gap between laboratory studies and "real world" applications.

Technology transfer has long been one of the primary goals for the research done at the Center. By the early ‘90s, the Center was heavily involved in partnership programs, not only with other Federal and State agencies and academia, but also with private companies.

In 1995, Congress closed the U.S. Bureau of Mines, but the Materials Partnership Program at the Albany Research Center was transferred into the Office of Fossil Energy of the U.S. Department of Energy. The major focus of research at ARC is now the materials and processing needs of Fossil Energy Systems.  However, cooperative partnerships with other groups and agencies continue to be desired and a necessary part of the Center's research efforts.

Technical Exhibit 3-1: Historical and Projected Workload Estimates

Technical Exhibit 3-1, Historical and Projected Workload Estimates, is provided for informational purposes and should not be regarded as a mandatory or required level of effort.

FORRESTAL HEADQUARTERS COMPLEX

| Reference # | Function Title | Workload Indicator | Historic | Base | Projected |
| --- | --- | --- | --- | --- | --- |
|  |  |  | FY00 | FY01 | FY02 | FY03 | FY04 | FY05 | FY06 | FY07 |
| 3.1.1.1.1 | Perform Inspection of Daily and Periodic Custodial Work | GSA SF-1181A (daily) | 540 | 540 | 180 | 180 | 300 | 300 | 300 | 300 |
|  |  | GSA SF-64 (periodic) | 100 | 100 | 33 | 33 | 100 | 100 | 100 | 100 |
|  |  | Square Footage Inspected | 1,372,800 | 1,372,800 | 1,372,800 | 1,372,800 | 1,372,800 | 1,372,800 | 1,372,800 | 1,372,800 |
|  |  | Number of Hours of Escort Services | 208 | 208 | 70 | 70 | 70 | 70 | 70 | 70 |
| 3.1.1.1.2 | Perform Inspection of Operation & Maintenance and Repair Performance | Total PM Hours | 7,014 hrs | 7,014 hrs | 7,014 hrs | 7,014 hrs | 7,014 hrs | 7,014 hrs | 7,014 hrs | 7,014 hrs |
|  |  | Total Number of Service Calls and Repair Tickets | 3,842 | 3,842 | 3,842 | 3,842 | 3,842 | 3,842 | 3,842 | 3,842 |
| 3.1.1.2.1 | Manage Space Allocation / Assignment | Number of As-Built Drawings Updated | F - 38 CDC - 1 950 - 6 W - 2 | F - 38 CDC - 1 950 - 6 W - 2 | F - 38 CDC - 1 950 - 6 955 - 6 W - 2 | F - 38 CDC - 1 950 - 6 955 - 6 W - 2 | F - 38 CDC - 1 950 - 6 955 - 6 W - 2 | F - 38 CDC - 1 950 - 6 955 - 6 W - 2 | F - 38 CDC - 1 950 - 6 955 - 6 W - 2 | F - 38 CDC - 1 950 - 6 955 - 6 W - 2 |
|  |  | Number of Key Plans | F- 18 CDC - 1 950 - 3 W - 1 | F- 18 CDC - 1 950 - 3 W - 1 | F - 18 CDC - 1 950 - 3 955 - 3 W - 1 | F - 18 CDC - 1 950 - 3 955 - 3 W - 1 | F - 18 CDC - 1 950 - 3 955 - 3 W - 1 | F - 18 CDC - 1 950 - 3 955 - 3 W - 1 | F - 18 CDC - 1 950 - 3 955 - 3 W - 1 | F - 18 CDC - 1 950 - 3 955 - 3 W - 1 |
|  |  | Number of Moves | F+S - 712 | F+S - 325 | F+S - 718 | F+S - 718 | F+S - 718 | F+S - 718 | F+S - 718 | F+S - 718 |
| 3.1.1.2.2 | Manage Space Utilization | Level of Effort (HQ-wide) | 160 hours | 160 hours | 160 hours | 160 hours | 160 hours | 160 hours | 160 hours | 160 hours |
|  |  | Number of Quarterly reports | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 |
| 3.1.1.2.3 | Develop Space Analyses | Level of Effort | 400 hrs | 400 hrs | 400 hrs | 400 hrs | 400 hrs | 400 hrs | 400 hrs | 400 hrs |
|  |  | Number of Final Management Presentations Prepared | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 |
| 3.1.1.2.4 | Provide Space Planning | Number of Space Studies Developed | F+S - 234 | F+S - 195 | F+S - 321 | F+S - 321 | F+S - 300 | F+S - 300 | F+S - 300 | F+S - 300 |
|  |  | Number of Construction Documents Prepared | F+S - 78 | F+S - 65 | F+S - 107 | F+S - 66 | F+S - 80 | F+S - 80 | F+S - 80 | F+S - 80 |
|  |  | Space Designed (Sq Ft) | F+S - 156,679 | F+S - 62,525 | F+S - 125,744 | F+S - 67,191 | 4-yr avg. 103,000 | 4-yr avg. 103,000 | 4-yr avg. 103,000 | 4-yr avg. 103,000 |
| 3.1.1.2.5 | Provide General Management Services for Space Management Program | Level of Effort | 900 hrs | 900 hrs | 900 hrs | 900 hrs | 900 hrs | 900 hrs | 900 hrs | 900 hrs |
| 3.1.1.3 | Facilities Operations & Maintenance and Repair | Dollar Value of Materials | $645,060 | $506,063 | $351,127 | $443,000 | $500,000 | $500,000 | $500,000 | $500,000 |
| 3.1.1.3.1 | Perform Operation & Maintenance and Repair of Heating, Ventilation, Air Conditioning, and Refrigeration Systems and Associated Controls | Number of Service Calls and Repair Tickets | 1379 | 1379 | 1369 | 1369 | 1369 | 1369 | 1369 | 1369 |
|  |  | Hours of Preventive Maintenance | 3,014 hrs | 3,014 hrs | 3,014 hrs | 3,014 hrs | 3,014 hrs | 3,014 hrs | 3,014 hrs | 3,014 hrs |
|  |  | Hours of Watches | 7,146 hrs | 7,146 hrs | 7,146 hrs | 7,146 hrs | 8,760 hrs | 8,760 hrs | 8,760 hrs | 8,760 hrs |
|  |  | Hours of Tours (includes 3 Tours per day) | 4,380 hrs | 4,380 hrs | 4,380 hrs | 4,380 hrs | 4,380 hrs | 4,380 hrs | 4,380 hrs | 4,380 hrs |
| 3.1.1.3.2 | Provide Plumbing and Pipefitting Services | Number of Service Calls and Repair Tickets | 825 | 825 | 925 | 925 | 925 | 925 | 925 | 925 |
|  |  | Hours of Preventive Maintenance | F –1,969 CDC-200 | F –1,969 CDC-200 | F –1,969 CDC-200 | F –1,969 CDC-200 | F –1,969 CDC-200 | F –1,969 CDC-200 | F –1,969 CDC-200 | F –1,969 CDC-200 |
| 3.1.1.3.3 | Provide Electrical Services | Number of Service Calls and Repair Tickets | 1035 | 1035 | 943 | 943 | 943 | 943 | 943 | 943 |
|  |  | Hours of Preventive Maintenance | 1,568 hrs | 1,568 hrs | 1,568 hrs | 1,568 hrs | 1,568 hrs | 1,568 hrs | 1,568 hrs | 1,568 hrs |
| 3.1.1.3.4 | Provide Carpentry Services | Number of Service Calls and Repair Tickets | 603 | 603 | 577 | 577 | 577 | 577 | 577 | 577 |
|  |  | Hours of Preventive Maintenance | 263 hrs | 263 hrs | 263 hrs | 263 hrs | 263 hrs | 263 hrs | 263 hrs | 263 hrs |
| 3.1.2.1.1 | Provide Administration and Management of Travel Management Team | Level of Effort | 888 hrs | 888 hrs | 888 hrs | 888 hrs | 888 hrs | 888 hrs | 888 hrs | 888 hrs |
|  |  | Number of PCS | 130 | 131 | 128 | 128 | 128 | 128 | 128 | 128 |
|  |  | Number of Third Party Relocations | 108 | 134 | 120 | 120 | 120 | 120 | 120 | 120 |
| 3.1.2.1.2 | Coordinate Activities of Full-Service Domestic and International Travel Operation | Number of Domestic Travel Requests | 8,447 | 7,603 | 7,603 | 7,603 | 7,603 | 7,603 | 7,603 | 7,603 |
|  |  | Number of International Travel Requests | 828 | 693 | 814 | 814 | 814 | 814 | 814 | 814 |
| 3.1.2.1.3 | Manage Official US Passports and Visas for DOE Personnel | Number of Passports and Visas Issued | 828 | 693 | 814 | 814 | 814 | 814 | 814 | 814 |
| 3.1.2.2.1 | Manage U-Drive Program | Number of Log-outs | NA | NA | 448 | 448 | 448 | 448 | 448 | 448 |
|  |  | Number of Vehicles in Fleet | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 49 |
| 3.1.2.2.2 | Provide Executive Fleet Transportation Services | Number of Trip Requests Completed | 5,386 | 6,441 | 5,262 | 5,262 | 5,262 | 5,262 | 5,262 | 5,262 |
|  |  | Number of Vehicles in Fleet | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 |
|  |  | Level of Effort for Dispatching Support | 1,881 hrs | 1,881 hrs | 1,881 hrs | 1,881 hrs | 1,881 hrs | 1,881 hrs | 1,881 hrs | 1,881 hrs |
| 3.1.2.3.1 | Provide Transportation-Area Systems Support | Level of Effort | 134 hrs | 134 hrs | 134 hrs | 134 hrs | 134 hrs | 134 hrs | 134 hrs | 134 hrs |
| 3.1.2.3.2 | Provide Management and Administrative Services | Level of Effort | 333 hrs | 333 hrs | 333 hrs | 333 hrs | 333 hrs | 333 hrs | 333 hrs | 333 hrs |
| 3.1.2.4.1 | Monitor and Track Fleet Activity | Number of Vehicles Monitored | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 |
| 3.1.2.4.2 | Conduct Headquarters Fleet Management Activities | Quarterly Inventories | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |
|  |  | Number of Vehicle Registrations, Licensing and Renewals | 6 | 7 | 15 | 15 | 15 | 15 | 15 | 15 |
|  |  | Number of Annual Reports | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |
|  |  | Number of Investigations | 1 | 5 | 5 | 5 | 5 | 5 | 5 | 5 |
| 3.1.2.4.3 | Manage the Vehicle Maintenance Program | Number of Vehicles in Fleet | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 |
|  |  | Number of Fleet Acquisitions | 9 | 8 | 15 | 15 | 15 | 15 | 15 | 15 |
|  |  | Number of Fleet Retirements | 9 | 7 | 15 | 15 | 15 | 15 | 15 | 15 |
| 3.1.3.1.1 | Receive and Secure Personal Property Prior to Distribution | Number of Requisitions Processed (annual) | 2,059 | 2,284 | 1,804 | 2,152 | 2,260 | 2,373 | 2,492 | 2,617 |
| 3.1.3.1.2 | Provide Procurement Support Services | Number of Property Items Purchased | 938 | 821 | 699 | 860 | 904 | 937 | 972 | 1,008 |
|  |  | Oversight Level of Effort | 2,500 hrs | 2,500 hrs | 2,500 hrs | 2,500 hrs | 2,500 hrs | 2,500 hrs | 2,500 hrs | 2,500 hrs |
|  |  | Carpet Installed (sq yds) | 3,769 | 7,922 | 4,891 | 5,203 | 5,990 | 6,589 | 7,248 | 7,973 |
|  |  | Carpet Shampoos and Repairs (sq yds) | 10,660 | 16,166 | 10,148 | 8,128 | 11,500 | 11,845 | 12,437 | 13,059 |
| 3.1.3.1.3 | Provide Inventory Management | Number of Property Items Inventoried | F: 10,908 S: 998 | F: 5,701 S: 45 | F: 8,190 S: 1,266 | F: 8,266 S: 770 | F: 8,266 S: 770 | F: 8,266 S: 770 | F: 8,266 S: 770 | F: 8,266 S: 770 |
|  |  | Number of Inventories | F: 22 S: 16 | F: 6 S: 2 | F: 16 S: 5 | F: 15 S: 8 | F: 15 S: 8 | F: 15 S: 8 | F: 15 S: 8 | F: 15 S: 8 |
| 3.1.3.1.4 | Provide Management and Administration of Property Disposition | Number of Items Transferred | Equip: 3,106 Furniture: 2,309 | Equip: 3,155 Furniture: 1,465 | Equip: 5,489 Furniture: 1,942 | Equip: 4,112 Furniture: 2,000 | Equip: 4,318 Furniture: 2,100 | Equip: 4,534 Furniture: 2,205 | Equip: 4,761 Furniture: 2,315 | Equip: 4,999 Furniture: 2,430 |
|  |  | Number of Items Donated, Excessed, or Exchange sale | Equip: 5,823 Furniture: 3,267 | Equip: 1,803 Furniture: 2,330 | Equip: 2,030 Furniture: 594 | Equip: 3,380 Furniture: 2,064 | Equip: 3,549 Furniture: 2,167 | Equip: 3,726 Furniture: 2,275 | Equip: 3,912 Furniture: 2,389 | Equip: 4,112 Furniture: 2,509 |
|  |  | Sanitization Level of Effort | 375 hrs | 210 hrs | 315 hrs | 315 hrs | 330 hrs | 345 hrs | 363 hrs | 380 hrs |
| 3.1.3.1.5 | Provide Property Management Training to Accountable Property Representatives and Administrative Officers | Level of Effort | 10 hrs | 10 hrs | 10 hrs | 200 hrs | 110 hrs | 80 hrs | 30 hrs | 30 hrs |
| 3.1.3.1.6 | Manage Furniture Reutilization Service | Number of Pieces of Furniture Processed | 2,309 | 1,465 | 1,942 | 2,000 | 2,100 | 2,205 | 2,315 | 2,430 |
| 3.1.3.2.1 | Provide Printing Services | Number of Print Jobs Processed | 1,502 | 1,320 | 1,193 | 1,193 | 1,193 | 1,193 | 1,193 | 1,193 |
|  |  | Number of Federal Registers Handled | 390 | 383 | 375 | 375 | 375 | 375 | 375 | 375 |
|  |  | Number of Court Reportings Processed | 53 | 34 | 21 | 21 | 21 | 21 | 21 | 21 |
|  |  | Number of Off-site Press Sheet Inspections | 78 | 53 | 38 | 38 | 38 | 38 | 38 | 38 |
| 3.1.3.2.2 | Manage Printing Services Operations | Number of Print Jobs | 1,502 | 1,320 | 1,193 | 1,193 | 1,193 | 1,193 | 1,193 | 1,193 |
|  |  | Level of Effort | 888 hrs. | 888 hrs. | 888 hrs. | 888 hrs. | 888 hrs. | 888 hrs. | 888 hrs. | 888 hrs. |
| 3.1.3.3.1 | Conduct Inventories of Copier Supplies and Equipment | Number of Equipment Inventories Conducted | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |
|  |  | Number Copier Supply Item Inventories Conducted | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |
|  |  | Number of Copy Equipment | F-200 S-21 | F-200 S-21 | F-200 S-21 | F-200 S-21 | F-200 S-21 | F-200 S-21 | F-200 S-21 | F-200 S-21 |
|  |  | Number of Meter Readings | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| 3.1.3.3.2 | Provide Copier Performance Support and Analysis | Number of Customer Satisfaction Surveys | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
|  |  | Number of Time Management Analyses | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
|  |  | Number of Trend Analyses | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| 3.1.3.3.3 | Provide Copier Logistics, Support and Disposition Services | Number of Copiers | F-200 S-21 | F-200 S-21 | F-200 S-21 | F-200 S-21 | F-200 S-21 | F-200 S-21 | F-200 S-21 | F-200 S-21 |
|  |  | Number of service contracts | 12 | 13 | 14 | 14 | 14 | 14 | 14 | 14 |
|  |  | Number of Copier acquisitions | 54 | 46 | 21 | 40 | 40 | 40 | 40 | 40 |
|  |  | Number of Copier relocations | 3 | 2 | 3 | 3 | 3 | 3 | 3 | 3 |
|  |  | Number of Copier trade-ins | 45 | 40 | 17 | 34 | 34 | 34 | 34 | 34 |
|  |  | Number of training sessions | 54 | 46 | 21 | 40 | 40 | 40 | 40 | 40 |
| 3.1.3.3.4 | Provide Copier Operations Management and Administrative Services | Level of Effort | 600 hrs | 600 hrs | 600 hrs | 600 hrs | 600 hrs | 600 hrs | 600 hrs | 600 hrs |
| 3.1.3.3.5 | Provide Copier Supply Services | Level of Effort | 300 hrs | 300 hrs | 300 hrs | 300 hrs | 300 hrs | 300 hrs | 300 hrs | 300 hrs |

GERMANTOWN HEADQUARTERS COMPLEX

| Reference # | Function Title | Workload Indicator | Historic | Base | Projected |
| --- | --- | --- | --- | --- | --- |
|  |  |  | FY00 | FY01 | FY02 | FY03 | FY04 | FY05 | FY06 | FY07 |
| 3.2.1.1.1 | Perform Inspection of Daily and Periodic Custodial Work | GSA SF-1181A (daily) | 612 | 603 | 310 | 305 | 300 | 300 | 300 | 300 |
|  |  | GSA SF-64 (periodic) | 1,068 | 1,382 | 590 | 605 | 300 | 300 | 300 | 300 |
|  |  | Square Footage Inspected | 494,101 | 494,101 | 494,101 | 494,101 | 494,101 | 494,101 | 494,101 | 494,101 |
|  |  | Number of Hours of Escort Services | 208 | 208 | 104 | 104 | 104 | 104 | 104 | 104 |
| 3.2.1.1.2 | Manage Help Desk | Number of Service Calls | 3,852 | 3,827 | 3,948 | 4,050 | 3,900 | 3,900 | 3,900 | 3,900 |
|  |  | Number of PM Items | 27,791 | 27,791 | 27,791 | 27,791 | 27,791 | 27,791 | 27,791 | 27,791 |
|  |  | Level of Effort | 2,250 hrs | 2,250 hrs | 2,250 hrs | 2,250 hrs | 2,250 hrs | 2,250 hrs | 2,250 hrs | 2,250 hrs |
| 3.2.1.1.3 | Perform Inspection of Operations & Maintenance and Repair Performance | Total PM Hours | 9,197 hrs | 9,197 hrs | 9,197 hrs | 9,197 hrs | 9,197 hrs | 9,197 hrs | 9,197 hrs | 9,197 hrs |
|  |  | Total Number of Service Calls and Repair Tickets | 2,923 | 3,239 | 2,968 | 3,248 | 3,044 | 3,044 | 3,044 | 3,044 |
|  |  | Number of Fire Extinguishers | 101 dry chemical 39 CO2 | 101 dry chemical 39 CO2 | 101 dry chemical 39 CO2 | 101 dry chemical 39 CO2 | 101 dry chemical 39 CO2 | 101 dry chemical 39 CO2 | 101 dry chemical 39 CO2 | 101 dry chemical 39 CO2 |
|  |  | Cyclical Painting Coordination (Square Feet) | 254,571 sq ft + 403 Doors | 254,571 sq ft + 403 Doors | 254,571 sq ft + 403 Doors | 254,571 sq ft + 403 Doors | 254,571 sq ft + 403 Doors | 254,571 sq ft + 403 Doors | 254,571 sq ft + 403 Doors | 254,571 sq ft + 403 Doors |
| 3.2.1.1.4 | Perform Grounds Maintenance Oversight | Complex Size | 98.6 Acres | 98.6 Acres | 98.6 Acres | 98.6 Acres | 98.6 Acres | 98.6 Acres | 98.6 Acres | 98.6 Acres |
| 3.2.1.1.5 | Perform Buildings Operations Management Function | Level of Effort | 3552 hrs | 3552 hrs | 3552 hrs | 3552 hrs | 3552 hrs | 3552 hrs | 3552 hrs | 3552 hrs |
| 3.2.1.2.1 | Manage Space Allocation / Assignment | Number of As-Built Drawings Updated | G - 40 CDC - 1 C - 2 270 - 4 | G - 40 CDC - 1 C - 2 270 - 4 | G - 40 CDC - 1 C - 2 270 - 4 | G - 40 CDC - 1 C - 2 270 - 4 | G - 40 CDC - 1 C - 2 270 - 4 | G - 40 CDC - 1 C - 2 270 - 4 | G - 40 CDC - 1 C - 2 270 - 4 | G - 40 CDC - 1 C - 2 270 - 4 |
|  |  | Number of Key Plans | G - 10 CDC - 1 C - 2 270 - 4 | G - 10 CDC - 1 C - 2 270 - 4 | G - 10 CDC - 1 C - 2 270 - 4 | G - 10 CDC - 1 C - 2 270 - 4 | G - 10 CDC - 1 C - 2 270 - 4 | G - 10 CDC - 1 C - 2 270 - 4 | G - 10 CDC - 1 C - 2 270 - 4 | G - 10 CDC - 1 C - 2 270 - 4 |
|  |  | Number of Moves | G+S - 227 | G+S - 497 | G+S - 466 | G+S - 466 | G+S - 466 | G+S - 466 | G+S - 466 | G+S - 466 |
| 3.2.1.2.2 | Manage Space Utilization | Level of Effort (HQ-wide) | 160 hours | 160 hours | 160 hours | 160 hours | 160 hours | 160 hours | 160 hours | 160 hours |
|  |  | Number of Quarterly reports | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 |
| 3.2.1.2.3 | Develop Space Analyses | Level of Effort | 400 hrs | 400 hrs | 400 hrs | 400 hrs | 400 hrs | 400 hrs | 400 hrs | 400 hrs |
|  |  | Number of Management Presentations Prepared | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 |
| 3.2.1.2.4 | Provide Space Planning | Number of Space Studies Developed | G + S - 123 | G + S - 48 | G + S - 177 | G + S - 177 | G + S - 177 | G + S - 177 | G + S - 177 | G + S - 177 |
|  |  | Number of Construction Documents Prepared | G + S - 41 | G + S - 16 | G + S - 59 | G + S - 59 | G + S - 59 | G + S - 59 | G + S - 59 | G + S - 59 |
|  |  | Space Designed (Sq Ft) | G + S - 26,475 | G + S - 25,685 | G + S - 47,925 | 3 yr avg -33,362 | 3 yr avg -33,362 | 3 yr avg -33,362 | 3 yr avg -33,362 | 3 yr avg -33,362 |
| 3.2.1.2.5 | Provide Federal Leasing Services | Number of Leases Acquired/Re-competed | 0 | 1 | 1 | 0 | 0 | 2 | 0 | 1 |
|  |  | Number of Leases Administered | 4 | 4 | 4 | 5 | 5 | 5 | 5 | 5 |
|  |  | Number of Leases Disposed | 0 | 1 | 0 | 0 | 0 | 2 | 0 | 1 |
| 3.2.1.2.6 | Provide General Management Services for Space Management Program | Level of Effort | 900 hrs | 900 hrs | 900 hrs | 900 hrs | 900 hrs | 900 hrs | 900 hrs | 900 hrs |
| 3.2.1.3 | Facilities Operation & Maintenance and Repair | Dollar Value of Materials | $483,901 | $590,708 | $692,165 | $531,000 | $575,000 | $575,000 | $575,000 | $575,000 |
| 3.2.1.3.1 | Perform Operation & Maintenance of Heating, Ventilation, Air Conditioning, and Refrigeration Systems and Associated Controls | Number/Hours of Service Calls | 905/ 1,057 | 864/ 918 | 693/ 705 | 872/ 758 | 821/ 894 | 821/ 894 | 821/ 894 | 821/ 894 |
|  |  | Hours of Preventive Maintenance | 3,601 | 3,601 | 3,601 | 3,601 | 3,601 | 3,601 | 3,601 | 3,601 |
|  |  | Number of Tour Hours (includes 3 Tours per day) | 2,190 hrs | 2,190 hrs | 2,190 hrs | 2,190 hrs | 2,190 hrs | 2,190 hrs | 2,190 hrs | 2,190 hrs |
|  |  | Number of Watch Hours | 8,760 hrs | 8,760 hrs | 8,760 hrs | 8,760 hrs | 8,760 hrs | 8,760 hrs | 8,760 hrs | 8,760 hrs |
| 3.2.1.3.2 | Provide Plumbing and Pipefitting Services | Number/Hours of Service Calls | 473/ 1,112 | 599/ 1,790 | 499/ 1,080 | 585/ 1,012 | 524/ 1,327 | 524/ 1,327 | 524/ 1,327 | 524/ 1,327 |
|  |  | Hours of Preventive Maintenance | 1,220 | 1,220 | 1,220 | 1,220 | 1,220 | 1,220 | 1,220 | 1,220 |
| 3.2.1.3.3 | Provide Electrical Services | Number/Hours of Service Calls | 472/ 1,174 | 658/ 2,489 | 735/ 4,033 | 840/ 2,590 | 622/ 2,566 | 622/ 2,566 | 622/ 2,566 | 622/ 2,566 |
|  |  | Hours of Preventive Maintenance | 3,372 | 3,372 | 3,372 | 3,372 | 3,372 | 3,372 | 3,372 | 3,372 |
|  |  | Number of Tour Hours (includes 3 Tours per day) | 2,190 hrs | 2,190 hrs | 2,190 hrs | 2,190 hrs | 2,190 hrs | 2,190 hrs | 2,190 hrs | 2,190 hrs |
|  |  | Number of Watch Hours | 8,760 hrs | 8,760 hrs | 8,760 hrs | 8,760 hrs | 8,760 hrs | 8,760 hrs | 8,760 hrs | 8,760 hrs |
| 3.2.1.3.4 | Provide Carpentry and General Maintenance Services | Number/Hours of Service Calls | 1073/ 4,345 | 1,118/ 4,969 | 1,041/ 5,384 | 951/ 2,630 | 1,077/ 4,900 | 1,077/ 4,900 | 1,077/ 4,900 | 1,077/ 4,900 |
|  |  | Hours of Preventive Maintenance | 216.1 | 216.1 | 216.1 | 216.1 | 216.1 | 216.1 | 216.1 | 216.1 |
| 3.2.1.3.5 | Operate Boiler Plant | Hours of Preventive Maintenance | 788 | 788 | 788 | 788 | 788 | 788 | 788 | 788 |
|  |  | Number of Hours Escorts Requiring Boiler Plant Personnel | Not Tracked | Not Tracked | 0 | 10 | 10 | 10 | 10 | 10 |
|  |  | Number of Tour and Watch Hours | 8,760 hrs | 8,760 hrs | 8,760 hrs | 8,760 hrs | 8,760 hrs | 8,760 hrs | 8,760 hrs | 8,760 hrs |
| 3.2.2.1.1 | Provide Administration and Management of Travel Management Team | Level of Effort | 888 hrs | 888 hrs | 888 hrs | 888 hrs | 888 hrs | 888 hrs | 888 hrs | 888 hrs |
|  |  | Number of PCS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
|  |  | Number of Third Party Relocations | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 3.2.2.1.2 | Coordinate Activities of Full-Service Domestic and International Travel Operations | Number of Domestic Travel Requests | 5,652 | 5,069 | 5,069 | 5,069 | 5,069 | 5,069 | 5,069 | 5,069 |
|  |  | Number of International Travel Requests | 355 | 297 | 349 | 349 | 349 | 349 | 349 | 349 |
| 3.2.2.1.3 | Manage Official US Passports and Visas for DOE Personnel | Number of Passports and Visas Issued | 355 | 297 | 349 | 349 | 349 | 349 | 349 | 349 |
| 3.2.2.2.1 | Manage U-Drive Program | Number of Log-outs | NA | NA | NA | NA | NA | NA | NA | NA |
|  |  | Number of Vehicles in Fleet | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 |
| 3.2.2.2.2 | Provide Ground Transportation Services | Number of Trip Requests Completed | 2,126 | 2,425 | 2,155 | 2,155 | 2,155 | 2,155 | 2,155 | 2,155 |
| 3.2.2.3.1 | Provide Transportation-Area Systems Support | Level of Effort | 45 hrs | 45 hrs | 45 hrs | 45 hrs | 45 hrs | 45 hrs | 45 hrs | 45 hrs |
| 3.2.2.3.2 | Provide Management and Administrative Services | Level of Effort | 111 hrs | 111 hrs | 111 hrs | 111 hrs | 111 hrs | 111 hrs | 111 hrs | 111 hrs |
| 3.2.2.4.1 | Monitor and Track Fleet Activity | Number of Vehicles Monitored | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 |
|  |  | Weekly Fuel Reports | 52 | 52 | 52 | 52 | 52 | 52 | 52 | 52 |
|  |  | Monthly Mileage Report | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| 3.2.2.4.2 | Conduct Headquarters Fleet Management Activities | Quarterly Inventories | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |
|  |  | Number of Vehicle Registrations, Licensing and Renewals | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
|  |  | Annual Reports | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |
|  |  | Number of Investigations | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| 3.2.2.4.3 | Manage Vehicle Maintenance Program | Number of Vehicles in Fleet | 18 | 18 | 17 | 17 | 17 | 17 | 17 | 17 |
|  |  | Number of Fleet acquisitions | 4 | 0 | 3 | 0 | 3 | 0 | 3 | 0 |
|  |  | Number of Fleet Retirements | 4 | 0 | 3 | 0 | 3 | 0 | 3 | 0 |
| 3.2.3.1.1 | Receive and Secure Personal Property Prior to Distribution | Number of Requisitions Processed (Annual) | 2,596 | 4,071 | 3,854 | 3,686 | 3,866 | 4,060 | 4,476 | 2,200 |
| 3.2.3.1.2 | Provide Procurement Support Services | Number of Property Items Purchased | 2,633 | 2,521 | 1,229 | 2,232 | 2,344 | 2,461 | 2,584 | 2713 |
|  |  | Oversight Level of Effort | 1,500 hrs | 1,500 hrs | 1,500 hrs | 1,500 hrs | 1,500 hrs | 1,500 hrs | 1,500 hrs | 1,500 hrs |
|  |  | Carpet Installed (sq yds) | 4,876 | 1,688 | 1,447 | 1,839 | 2,511 | 2,587 | 2,716 | 2,852 |
|  |  | Carpet Shampoos and Repairs (sq yds) | 2,404 | 1,824 | 2,148 | 1,195 | 1,930 | 1,987 | 2,087 | 2,191 |
| 3.2.3.1.3 | Provide Inventory Management | Number of Property Items Inventoried | 7668 | 224 | 2585 | 3,492 (avg.) | 3,492 (avg.) | 3,492 (avg.) | 3,492 (avg.) | 3,492 (avg.) |
|  |  | Number of Inventories | 19 | 2 | 8 | 10 (avg.) | 10 (avg.) | 10 (avg.) | 10 (avg.) | 10 (avg.) |
| 3.2.3.1.4 | Provide Management and Administration of Property Disposition | Number of Items Transferred | 3,694 | 4,071 | 5,290 | 4,570 | 4,793 | 5,032 | 5,283 | 5,547 |
|  |  | Number of Items Donated, Excessed, or Exchange Sale | 5,823 | 1,803 | 2,030 | 3,380 | 3,549 | 3,726 | 3,912 | 4,112 |
| 3.2.3.1.5 | Provide Property Management Training to Accountable Property Representatives and Administrative Officers | Level of Effort | 10 hrs | 10 hrs | 10 hrs | 200 hrs | 110 hrs | 80 hrs | 30 hrs | 30 hrs |
| 3.2.3.1.6 | Manage Furniture Reutilization Operations | Number of Pieces of Furniture Processed | 3,267 | 3,608 | 1,872 | 3,061 | 3,215 | 3,375 | 3,543 | 3,720 |
| 3.2.3.2.1 | Provide Printing Services | Number of Print Jobs Processed | 364 | 243 | 195 | 195 | 195 | 195 | 195 | 195 |
|  |  | Number of Federal Registers Handled | NA | NA | NA | NA | NA | NA | NA | NA |
|  |  | Number of Court Reportings Processed | NA | NA | NA | NA | NA | NA | NA | NA |
|  |  | Number of off-site Press Sheet Inspections | 31 | 24 | 18 | 18 | 18 | 18 | 18 | 18 |
| 3.2.3.2.2 | Manage Printing Services Operations | Number of Print Jobs | 364 | 243 | 195 | 195 | 195 | 195 | 195 | 195 |
|  |  | Level of Effort | 888 hrs | 888 hrs | 888 hrs | 888 hrs | 888 hrs | 888 hrs | 888 hrs | 888 hrs |
| 3.2.3.3.1 | Conduct Inventories of Copier Supplies and Equipment | Number of Equipment Inventories Conducted | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |
|  |  | Number Copier Supply Item Inventories Conducted | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |
|  |  | Number of Copy Equipment | G-135 S-4 | G-135 S-4 | G-135 S-4 | G-135 S-4 | G-135 S-4 | G-135 S-4 | G-135 S-4 | G-135 S-4 |
|  |  | Number of Meter Readings | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| 3.2.3.3.2 | Provide Copier Performance Support and Analysis | Number of Customer Satisfaction Surveys | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
|  |  | Number of Time Management Analyses | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
|  |  | Number of Trend Analyses | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| 3.2.3.3.3 | Provide Copier Logistics, Support and Disposition Services | Number of Copiers | G-135 S-4 | G-135 S-4 | G-135 S-4 | G-135 S-4 | G-135 S-4 | G-135 S-4 | G-135 S-4 | G-135 S-4 |
|  |  | Number of Service Contracts | *** | *** | *** | *** | *** | *** | *** | *** |
|  |  | Number of Copier Acquisitions | 11 | 6 | 11 | 9 | 9 | 9 | 9 | 9 |
|  |  | Number of Copier Relocations | 0 | 0 | 2 | 1 | 1 | 1 | 1 | 1 |
|  |  | Number of Copier Trade-ins | 9 | 5 | 6 | 6 | 6 | 6 | 6 | 6 |
|  |  | Number of Training Sessions | 11 | 6 | 11 | 9 | 9 | 9 | 9 | 9 |
| 3.2.3.3.4 | Provide Copier Operations Management and Administrative Services | Level of Effort | 300 hrs | 300 hrs | 300 hrs | 300 hrs | 300 hrs | 300 hrs | 300 hrs | 300 hrs |
| 3.2.3.3.5 | Provide Copier Supply Services | Level of Effort | 150 hrs | 150 hrs | 150 hrs | 150 hrs | 150 hrs | 150 hrs | 150 hrs | 150 hrs |

ALBANY RESEARCH CENTER

| Reference # | Function Title | Workload Indicator | Historic | Base | Projected |
| --- | --- | --- | --- | --- | --- |
|  |  |  | FY00 | FY01 | FY02 | FY03 | FY04 | FY05 | FY06 | FY07 |
| 3.3.1.1.1 | Provide Direct Facilities Electrical Support Services | Level of Effort | 355 hrs | 355 hrs | 355 hrs | 355 hrs | 355 hrs | 355 hrs | 355 hrs | 355 hrs |
|  |  | Number of Work Orders | 20 | 27 | 61 | 50 | 50 | 50 | 50 | 50 |
| 3.3.1.1.2 | Provide Direct Electrician Support Services to ARC Research Activities/ Projects | Level of Effort | 3,019 hrs | 3,019 hrs | 3,019 hrs | 3,019 hrs | 3,019 hrs | 3,019 hrs | 3,019 hrs | 3,019 hrs |
|  |  | Number of Work Orders | 56 | 53 | 118 | 128 | 135 | 140 | 145 | 150 |
| 3.3.1.1.3 | Provide Oversight of Electrical Contractors | Level of Effort | 178 hrs | 178 hrs | 178 hrs | 178 hrs | 178 hrs | 178 hrs | 178 hrs | 178 hrs |
| 3.3.1.2.1 | Perform General Facility Maintenance | Level of Effort | 533 hrs | 533 hrs | 533 hrs | 533 hrs | 533 hrs | 533 hrs | 533 hrs | 533 hrs |
|  |  | Number of Work Orders | 8 | 7 | 13 | 15 | 15 | 15 | 15 | 15 |
| 3.3.1.2.2 | Maintain and Support Research Projects and Programs | Level of Effort | 4,742 hrs | 4,742 hrs | 4,742 hrs | 4,742 hrs | 4,742 hrs | 4,742 hrs | 4,742 hrs | 4,742 hrs |
|  |  | Number of Work Orders | 56 | 52 | 84 | 94 | 100 | 105 | 110 | 115 |
| 3.3.1.2.3 | Provide Contractor Oversight Support for Facility Maintenance | Level of Effort | 53 hrs | 53 hrs | 53 hrs | 53 hrs | 53 hrs | 53 hrs | 53 hrs | 53 hrs |
| 3.3.2.1.1 | Provide GSA Liaison Services and Maintain Fleet for Albany Research Center | Level of Effort | 89 hrs | 89 hrs | 89 hrs | 89 hrs | 89 hrs | 89 hrs | 89 hrs | 89 hrs |
|  |  | Number of Vehicles | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |
| 3.3.3.1.1 | Support Overall Property Program Management | Level of Effort | 266 hrs | 266 hrs | 266 hrs | 266 hrs | 266 hrs | 266 hrs | 266 hrs | 266 hrs |
| 3.3.3.1.2 | Acquire Property and Supplies for Use at the Albany Research Center | Number of Requisitions | NA | 72 | 134 | 150 | 200 | 225 | 250 | 250 |
|  |  | Level of Effort | 355 hrs | 355 hrs | 355 hrs | 355 hrs | 355 hrs | 355 hrs | 355 hrs | 355 hrs |
| 3.3.3.1.3 | Maintain Property and Supplies for Use at the Albany Research Center | Number of Items Entered/ Maintained | 3,400 | 3,400 | 3,400 | 3,400 | 3,400 | 3,400 | 3,400 | 3,400 |
|  |  | Level of Effort | 533 hrs | 533 hrs | 533 hrs | 533 hrs | 533 hrs | 533 hrs | 533 hrs | 533 hrs |
| 3.3.3.1.4 | Excess or Dispose of Property for the Albany Research Center | Number of Scrap Metal Sales | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |
|  |  | Number of Excess Personal Property (SF-120s) | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 |
|  |  | Number of Retirement Work Orders | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
|  |  | Number of Transfers (SF-122s) | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |
|  |  | Level of Effort | 178 hrs | 178 hrs | 178 hrs | 178 hrs | 178 hrs | 178 hrs | 178 hrs | 178 hrs |
| 3.3.3.1.5 | Provide Shipping and Receiving of Property and Supplies for Use at the Albany Research Center | Number of Incoming Shipments | 1,125 | 1,290 | 1,125 | 1,125 | 1,125 | 1,125 | 1,125 | 1,125 |
|  |  | Level of Effort | 355 hrs | 355 hrs | 355 hrs | 355 hrs | 355 hrs | 355 hrs | 355 hrs | 355 hrs |

Technical Exhibit 3-2: Performance Requirements Summary

FORRESTAL HEADQUARTERS COMPLEX

| Reference | Function Title | Performance Standard (Quality/ Timeliness) | Acceptable Quality Level (AQL) | Lot | Method of Surveillance/ Frequency |
| --- | --- | --- | --- | --- | --- |
| 3.1.1.1.1 | Perform Inspection of Daily and Periodic Custodial Work | Inspection covers, (by random selection) no less than 12 percent daily of the total square footage under the contract (Quality)( | Performance standard is met no less than 85 percent of the time | GSA SF-64 (periodic) and GSA SF-1181A (daily) reports | Random Sampling / Monthly |
|  |  | 1181-A (Daily) reports are filed by close of business every day (Timeliness) | Performance standard is met no less than 90 percent of the time | GSA SF-1181A (daily) reports | Random Sampling / Monthly |
|  |  | 64 (Periodic) reports are filed within one business day of work inspection (Timeliness) | Performance standard is met no less than 90 percent of the time | GSA SF-64 (periodic) reports | Random Sampling / Monthly |
| 3.1.1.1.2 | Perform Inspection of Operation & Maintenance and Repair Performance | All PM and Repairs comply with GSA guidelines (Quality) | Performance standard is met no less than 100 percent of the time | PM hours and Service requests/ tickets | Periodic Inspection /Monthly and Fiscal Year-End |
|  |  | 12 percent of all PM and Repairs are inspected as completed (Timeliness) ( | Performance standard is met no less than 85 percent of the time | PM hours and Service requests/ tickets | Periodic Inspection / Monthly and Fiscal Year-End |
|  |  | Work tracking systems are accurately maintained and updated daily (Quality) | Performance standard is met no less than 98 percent of the time | Requisitions received, requisitions completed, work orders developed from requisitions received, and dollar amount of alterations | Periodic Inspection / Quarterly |
| 3.1.1.2.1 | Manage Space Allocation / Assignment | Key plans are accurate and complete (Quality) ( | Performance standard is met no less than 100 percent of the time | Key plans | 100% Inspection / Semi-Annually |
|  |  | As-built drawings are accurate and complete (Quality) | Performance standard is met no less than 90 percent of the time | As-built drawings | Random Sampling / As-needed |
|  |  | As-built drawings are revised within 5 work days of completed construction (Timeliness) | Performance standard is met no less than 90 percent of the time | As-built drawings | Random Sampling / As-needed |
|  |  | Key plans are updated in March and August to coincide with Budget process (Timeliness) ( | Performance standard is met no less than 100 percent of the time | Key plans | 100% Inspection / Semi-Annually |
|  |  | Update portion of key plans needed as required for presentations (Timeliness) | Performance standard is met no less than 100 percent of the time | Key plans | 100% Inspection / Semi-Annually |
| 3.1.1.2.2 | Manage Space Utilization | Reports are accurate (Quality) | Performance standard is met no less than 95 percent of the time | Quarterly space utilization reports | Management Information System Report / Semi-Annually |
|  |  | Comply with GSA regulations regarding space (Quality) | Performance standard is met no less than 100 percent of the time | Quarterly space utilization reports | Periodic Inspection / Semi-Annually |
|  |  | Reports prepared quarterly and are updated and available for budget process (Timeliness) ( | Performance standard is met no less than 100 percent of the time | Quarterly space utilization reports | 100% Inspection / Quarterly or As-needed |
| 3.1.1.2.3 | Develop Space Analyses | Management presentations are accurate and complete (Quality) | Performance standard is met no less than 95 percent of the time | Management presentations | Random Sampling / As-needed |
|  |  | Management requests are completed within negotiated timeframe (Timeliness) | Performance standard is met no less than 95 percent of the time | Management presentations | Random Sampling / As-needed |
| 3.1.1.2.4 | Provide Space Planning | Space studies and construction documents are accurate and complete (Quality) | Performance standard is met no less than 95 percent of the time | Requisitions, space studies, construction documents, total amount of space designed (Sq Ft) annually | Random Sampling, Review of Validated Customer Complaints / As-needed |
|  |  | Compliance to regulations (Quality) | Performance standard is met no less than 100 percent of the time | Requisitions, space studies, construction documents, total amount of space designed (Sq Ft) annually | Random Sampling / As-needed |
|  |  | Designs* less than $2,000 will be completed within 1-7 days (Timeliness) ( * - Designs to include space studies developed and construction documents prepared | Designs are completed within maximum timeframe (7 days) 100 percent of the time | Requisitions, space studies, construction documents, total amount of space designed (Sq Ft) annually | Random Sampling / Weekly |
|  |  | Designs* for alterations costing $2,000-25,000 will be completed 15-30 days (Timeliness) ( * - Designs to include space studies developed and construction documents prepared | Designs are completed within maximum timeframe (30 days) 100 percent of the time | Requisitions, space studies, construction documents, total amount of space designed (Sq Ft) annually | Random Sampling / Weekly |
|  |  | Designs* costing $25,000-100,000 will be completed 30-60 days (Timeliness) * - Designs to include space studies developed and construction documents prepared | Designs are completed within maximum timeframe (60 days) 100 percent of the time | Requisitions, space studies, construction documents, total amount of space designed (Sq Ft) annually | Random Sampling / Weekly |
|  |  | Designs* costing greater than $100,000 will be completed 60-90 days (Timeliness) * - Designs to include space studies developed and construction documents prepared | Designs are completed within maximum timeframe (90 days) 100 percent of the time | Requisitions, space studies, construction documents, total amount of space designed (Sq Ft) annually | Random Sampling / Weekly |
| 3.1.1.2.5 | Provide Federal-Leasing Services | No more than 30 complaints per building per week (Quality) ( | Performance standard is met no less than 90 percent of the time | # of leases acquired, # of leases administered, # of leases disposed | Periodic Inspection / Quarterly |
|  |  | Respond to customer complaints within 15 minutes of receipt of complaint (Timeliness) | Performance standard is met no less than 95 percent of the time | # of leases acquired, # of leases administered, # of leases disposed | Periodic Inspection / Quarterly |
| 3.1.1.2.6 | Provide General Management Services for Space Management Program | Reports, services and advice are provided in accordance with Space Management Team requirements and specifications (Quality/Timeliness) | Performance standard is met no less than 95 percent of the time | Customer complaints | Review of Validated Customer Complaints / As-needed |
| 3.1.1.3.1 | Perform Operation & Maintenance and Repair of Heating, Ventilating, Air Conditioning, and Refrigeration Systems and Associated Controls | Service calls and repairs are performed accurately (Quality) ( | Performance standard is met no less than 95 percent of the time | Service calls and repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | All PM is performed in compliance with applicable guidelines (Quality) ( | Performance standard is met no less than 99 percent of the time | PM hours | Periodic Inspection / Weekly |
|  |  | Respond to routine calls within 24 hours (e.g., hot and cold complaints) (Timeliness) | Performance standard is met no less than 99 percent of the time | Service calls and repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | Respond to emergency calls within 15 minutes (e.g., mechanical system leak or malfunction) (Timeliness) | Performance standard is met no less than 90 percent of the time | Service calls and repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | Respond to emergency calls within 45 minutes (e.g., mechanical system leak or malfunction) (Timeliness) | Performance standard is met no less than 100 percent of the time | Service calls and repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | All PM is in compliance with GSA scheduled timeframes (Timeliness) | Performance standard is met no less than 90 percent of the time | PM hours | Periodic Inspection / Weekly |
|  |  | Repairs are completed within prescribed timeframes based on DOE HQ SOPs (Timeliness) | Performance standard is met no less than 90 percent of the time | Repair tickets | Periodic Inspection / Weekly |
|  |  | Perform tours and watches 24 hours, 7 days a week (Quality) | Performance standard is met no less than 100 percent of the time | Equipment logs, Daily Tour and Watch Logs, Monitor Tours | Random Sample / As-needed |
|  |  | All mechanical equipment is operated in a safe and efficient manner (Quality) ( | Performance standard is met 98 percent of the time | Service calls, work orders, PM hours | Periodic Inspection / Daily |
| 3.1.1.3.2 | Provide Plumbing and Pipefitting Services | Service calls and repairs are performed accurately (Quality) ( | Performance standard is met no less than 95 percent of the time | Service calls and repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | All PM is performed in compliance with applicable guidelines (Quality) ( | Performance standard is met no less than 99 percent of the time | Service calls and repair tickets | Periodic Inspection / Weekly |
|  |  | Respond to routine calls within 24 hours (e.g., leaking faucet) (Timeliness) | Performance standard is met no less than 99 percent of the time | Service calls and repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | Respond to emergency calls within 15 minutes (e.g., plumbing system leak or malfunction) (Timeliness) | Performance standard is met no less than 90 percent of the time | Service calls and repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | Respond to emergency calls within 45 minutes (e.g., plumbing system leak or malfunction) (Timeliness) | Performance standard is met no less than 100 percent of the time | Service calls and repair tickets | Periodic Inspection / Weekly |
|  |  | All PM is in compliance with GSA scheduled timeframes (Timeliness) | Performance standard is met no less than 90 percent of the time | PM hours | Periodic Inspection / Weekly |
|  |  | Repairs are completed within prescribed timeframes based on DOE HQ SOPs (Timeliness) | Performance standard is met no less than 90 percent of the time | Repair tickets | Periodic Inspection / Weekly |
|  |  | All plumbing systems are operated in a safe and efficient manner (Quality) ( | Performance standard is met 98 percent of the time | Service calls, work orders, PM hours | Periodic Inspection / Daily |
| 3.1.1.3.3 | Provide Electrical Services | Service calls and repairs are performed accurately (Quality) ( | Performance standard is met no less than 95 percent of the time | Service calls and repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | All PM is performed in compliance with applicable guidelines (Quality) ( | Performance standard is met no less than 99 percent of the time | Service calls and repair tickets, PM hours | Periodic Inspection / Weekly |
|  |  | Respond to routine calls within 24 hours (e.g., replace lamp) (Timeliness) | Performance standard is met no less than 99 percent of the time | Service calls and repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | Respond to emergency calls within 15 minutes (e.g., loss of power) (Timeliness) | Performance standard is met no less than 90 percent of the time | Service calls and repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | Respond to emergency calls within 45 minutes (e.g., loss of power) (Timeliness) | Performance standard is met no less than 100 percent of the time | PM hours | Periodic Inspection / Weekly |
|  |  | All PM is in compliance with GSA scheduled timeframes (Timeliness) | Performance standard is met no less than 90 percent of the time | PM hours | Periodic Inspection / Weekly |
|  |  | Repairs are completed within prescribed timeframes based on DOE HQ SOPs (Timeliness) | Performance standard is met no less than 90 percent of the time | Repair tickets | Periodic Inspection / Weekly |
|  |  | All electrical systems are operated in a safe and efficient manner (Quality) ( | Performance standard is met 98 percent of the time | Service calls, work orders, PM hours | Periodic Inspection / Daily |
| 3.1.1.3.4 | Provide Carpentry Services | Service calls and repairs are performed accurately (Quality) ( | Performance standard is met no less than 95 percent of the time | Service calls and repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | All PM is performed in compliance with applicable guidelines (Quality) ( | Performance standard is met no less than 100 percent of the time | PM hours | Periodic Inspection / Weekly |
|  |  | Respond to routine calls within 24 hours (e.g., replace ceiling tiles) (Timeliness) | Performance standard is met no less than 99 percent of the time | Service calls and repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | Respond to emergency calls within 15 minutes (e.g., occupant locked out of office) (Timeliness) | Performance standard is met no less than 90 percent of the time | Service calls and repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | Respond to emergency calls within 45 minutes (e.g., occupant locked out of office) (Timeliness) | Performance standard is met no less than 100 percent of the time | PM hours | Periodic Inspection / Weekly |
|  |  | All PM is in compliance with GSA scheduled timeframes (Timeliness) | Performance standard is met no less than 90 percent of the time | PM hours | Periodic Inspection / Weekly |
|  |  | Repairs are completed within prescribed timeframes based on DOE HQ SOPs (Timeliness) | Performance standard is met no less than 90 percent of the time | Repair tickets | Periodic Inspection / Weekly |
| 3.1.2.1.1 | Provide Administration and Management of Travel Management Team | Customer satisfaction (Quality) ( | Performance standard is met no less than 98 percent of the time | # of PCS and third party relocations per quarter | Review of Validated Customer Complaints, User Surveys / Quarterly |
|  |  | Regulatory compliance (Quality) | Performance standard is met no less than 100 percent of the time | # of PCS and third party relocations per quarter | Periodic Inspection / Per move or complaint |
|  |  | PCS requests are reviewed within 24 hours (Timeliness) | Performance standard is met no less than 95 percent of the time | # of PCS and third party relocations per quarter | Periodic Inspection / Quarterly, Review of Validated Customer Complaints / As-needed, Management Information System Report / Monthly |
|  |  | Third party relocations requests are reviewed within 3 business days (Timeliness) | Performance standard is met no less than 99 percent of the time | # of PCS and third party relocations per quarter | Periodic Inspection / Quarterly, Review of Validated Customer Complaints / As-needed, Management Information System Report / Monthly |
| 3.1.2.1.2 | Monitor Activities of Full-Service Domestic and International Travel Operation | Level of customer satisfaction (Quality) ( | Performance standard is met no less than 98 percent of the time (i.e., no more than 2 validated complaints per 100 requests) | Domestic travel requests, international travel requests | Review of Validated Customer Complaints and User Surveys / per travel request or complaint |
|  |  | Compliance with regulations (Quality) | Performance standard is met no less than 100 percent of the time | Domestic travel requests, international travel requests | Periodic Inspection / Quarterly |
|  |  | Turn-around of domestic travel requests are completed within one business day of receipt of request (Timeliness) ( | Performance standard is met no less than 95 percent of the time | Domestic travel requests | Periodic Inspection / Quarterly; Review of Validated Customer Complaints / As-needed |
|  |  | Turn-around of international travel requests are completed within a prescribed timeframe (i.e., immediate for urgent requests) (Timeliness) | Performance standard is met no less than 95 percent of the time | International travel requests | Periodic Inspection / Quarterly; Review of Validated Customer Complaints / As-needed |
| 3.1.2.1.3 | Manage Official US Passports and Visas for DOE Personnel | Level of customer satisfaction (Quality) ( | Performance standard is met no less than 98 percent of the time (i.e., no more than 2 validated complaints per 100 items handled) | Passports and visas | Periodic Inspection / Quarterly; Review of Validated Customer Complaints / As-needed |
|  |  | Compliance with regulations (Quality) | Performance standard is met no less than 100 percent of the time | Passports and visas | Periodic Inspection / Quarterly |
|  |  | Turn-around of passport and visa issue requests are completed within a prescribed timeframe (Timeliness) | Performance standard is met no less than 98 percent of the time | Passports and visas | Periodic Inspection / Quarterly; Review of Validated Customer Complaints / As-needed |
| 3.1.2.2.1 | Manage U-Drive Program | Vehicles are accurately tracked (log-in/log-out, fuel) and accounted for daily (Quality) ( | Performance standard is met no less than 100 percent of the time | Log-outs, vehicles in fleet | Periodic Inspection / Quarterly |
|  |  | Availability of fleet vehicles (Quality) | Performance standard is met no less than 80 percent of the time | Log-outs, vehicles in fleet | Periodic Inspection / Quarterly |
|  |  | Response time is within 1 hour of receipt of request (Timeliness) | Performance standard is met no less than 98 percent of the time | Log-outs, vehicles in fleet | Review of Validated Customer Complaints / As-needed |
| 3.1.2.2.2 | Provide Executive Fleet Transportation Services | Availability of fleet vehicles and drivers (Quality) ( | Performance standard is met no less than 95 percent of the time | # of Trip requests (for executives) | Periodic Inspection / Quarterly |
|  |  | Level of customer satisfaction (Quality) ( | Performance standard is met no less than 98 percent of the time | # of Trip requests (for executives) | Review of Validated Customer Complaints / As-needed |
|  |  | Compliance with all applicable regulations (security, procedures etc) (Quality) | Performance standard is met no less than 100 percent of the time | # of Trip requests (for executives) | Periodic Inspection / Quarterly |
|  |  | Respond to executive requests immediately upon receipt of requests (Timeliness) ( | Performance standard is met no less than 95 percent of the time | # of Trip requests (for executives) | Review of Validated Customer Complaints / As-needed |
| 3.1.2.3.1 | Provide Transportation-Area Systems Support | Systems are operating and available (Quality) ( | Performance standard is met no less than 95 percent of the time | Transportation Area Systems | Periodic Inspection / Semi-annually |
|  |  | Respond to issues and problems within one business day (Timeliness) | Performance standard is met no less than 95 percent of the time | Transportation Area Systems | Review of Validated Customer Complaints / As-needed, based on level of activity |
| 3.1.2.3.2 | Provide Management and Administrative Services | Accuracy of analyses and data (Quality) | Performance standard is met no less than 95 percent of the time | Analyses and data collected | Random Sampling / As-needed |
|  |  | Compliance with regulations (classified) (Quality) | Performance standard is met no less than 100 percent of the time | Level of effort | Periodic Inspection / Monthly |
|  |  | Turn-around time for requested data is within negotiated timeframe (Timeliness) ( | Performance standard is met no less than 95 percent of the time | Validated Customer Complaints | Review of Validated Customer Complaints / As-needed |
| 3.1.2.4.1 | Monitor and Track Fleet Activity | Accuracy of reports (Quality) | Performance standard is met no less than 95 percent of the time | Vehicles monitored | Periodic Inspection / Semi-annually |
|  |  | Accuracy of database system (FMIS) (Quality) ( | Performance standard is met no less than 95 percent of the time | Vehicles monitored | Periodic Inspection / Semi-annually |
|  |  | Updated and available accurate information (Timeliness) ( | Performance standard is met no less than 95 percent of the time | FMIS System Audit | Random Sampling / Semi-annually |
|  |  | Reports are produced within prescribed deadlines (Timeliness) | Performance standard is met no less than 90 percent of the time | Vehicles monitored | Review of Validated Customer Complaints / As-needed |
| 3.1.2.4.2 | Conduct Headquarters Fleet Management Activities | Accuracy of inventories (Quality) ( | Performance standard is met no less than 100 percent of the time | Quarterly inventories, vehicle registrations, licensing and renewals (combined), annual reports, investigations | Periodic Inspection / Semi-annually |
|  |  | Accuracy of OMB/GSA reports (Quality) | Performance standard is met no less than 95 percent of the time | Quarterly inventories, vehicle registrations, licensing and renewals, annual reports, investigations | Periodic Inspection / Semi-annually |
|  |  | Accuracy of registrations / licensing (Quality) ( | Performance standard is met no less than 100 percent of the time | Quarterly inventories, vehicle registrations, licensing and renewals, annual reports, investigations | Periodic Inspection / Semi-annually |
|  |  | Accuracy of investigations (Quality) | Performance standard is met no less than 95 percent of the time | Quarterly inventories, vehicle registrations, licensing and renewals annual reports, investigations | Periodic Inspection / Semi-annually |
|  |  | Regulatory Compliance (Quality) | Performance standard is met no less than 98 percent of the time | Quarterly inventories, vehicle registrations, licensing and renewals, annual reports, investigations | Periodic Inspection / Monthly |
|  |  | Reports, registrations / licensing, and investigation filings etc. are submitted within prescribed deadlines (Timeliness) | Performance standard is met no less than 98 percent of the time | Quarterly inventories, vehicle registrations, licensing and renewals, annual reports, investigations | Periodic Inspection / Semi-annually |
|  |  | Response time to technical issues within 3 business days (Timeliness) | Performance standard is met no less than 95 percent of the time | Quarterly inventories, vehicle registrations, licensing and renewals, annual reports, investigations | Review of Validated Customer Complaints / As-needed |
| 3.1.2.4.3 | Manage the Vehicle Maintenance Program | Availability of fleet vehicles (Quality) ( | Performance standard is met no less than 80 percent of the time | Vehicles in fleet | Periodic Inspection / Quarterly |
|  |  | Vehicles managed in compliance with regulations (Quality) | Performance standard is met no less than 98 percent of the time | Vehicles in fleet | Periodic Inspection / Quarterly |
|  |  | Vehicle maintenance is within GSA schedules (Timeliness) ( | Performance standard is met no less than 95 percent of the time | Vehicles in fleet | Periodic Inspection / Quarterly |
|  |  | Vehicles are rotated within GSA schedules (Timeliness) | Performance standard is met no less than 98 percent of the time | Vehicles in fleet | Periodic Inspection / Quarterly |
| 3.1.3.1.1 | Receive and Secure Personal Property Prior to Distribution | All items are tagged, secured, and held until distribution (Quality) ( | Performance standard is met no less than 99 percent of the time | Requisitions processed (annual) | Random Sampling / As-needed |
|  |  | Items responded to immediately (Timeliness) | Performance standard is met no less than 99 percent of the time | Requisitions processed (annual) | Random Sampling / As-needed |
| 3.1.3.1.2 | Provide Procurement Support Services | Regulatory compliance (Quality) | Performance standard is met no less than 100 percent of the time | Property items purchased | Periodic Inspection / Monthly |
|  |  | Accuracy of data (Quality) ( | Performance standard is met no less than 98 percent of the time | Property items purchased | Periodic Inspection / Monthly |
|  |  | Response time to requisitions is within one business day (Timeliness) ( | Performance standard is met no less than 90 percent of the time | Property items purchased | Periodic Inspection / Quarterly |
|  |  | Orders are filled within prescribed timeframes (Timeliness) | Performance standard is met no less than 90 percent of the time | Property items purchased | Periodic Inspection / Quarterly |
| 3.1.3.1.3 | Provide Inventory Management | Regulatory compliance (Quality) | Performance standard is met no less than 100 percent of the time | Inventories and property items inventoried | Periodic Inspection / Semi-annually |
|  |  | Accuracy of data (Quality) ( | Performance standard is met no less than 98 percent of the time | Inventories and property items inventoried | Periodic Inspection / Semi-annually |
|  |  | Physical Inventories are completed within five business days (Timeliness) | Performance standard is met no less than 90 percent of the time | Property items inventoried, inventories conducted | Periodic Inspection / Quarterly |
|  |  | Reconciliation process completed within 15 business days (Timeliness) | Performance standard is met no less than 90 percent of the time | Property items inventoried, inventories conducted | Periodic Inspection / Quarterly |
| 3.1.3.1.4 | Provide Management and Administration of Property Disposition | Accuracy of work (for transfers) (Quality) ( | Performance standard is met no less than 95 percent of the time | Items transferred, items donated, excessed, or exchange sale | Random Sampling / Quarterly |
|  |  | Turn-around of transfers or disposal is within 24 business days after GSA decision (Timeliness) | Performance standard is met no less than 95 percent of the time | Items transferred, items donated, excessed, or exchange sale | Random Sampling / Quarterly |
| 3.1.3.1.5 | Provide Property Management Training to Accountable Property Representatives and Administrative Officers | Accuracy of training based on relevant material (Quality) | Performance standard is met no less than 95 percent of the time | User surveys | Review of Training, Class User Surveys / As-needed |
|  |  | Overall performance of all APRs and AOs meets defined performance standards of property management task areas (i.e. receive and secure personal property, provide inventory management) (Quality) ( | Performance standard is met no less than 95 percent of the time | Customer complaints | Periodic Inspection / Quarterly; Review of customer complaints / As-needed |
|  |  | Customer negotiated time requirements are met (Timeliness) | Performance standard is met no less than 95 percent of the time | Furniture and office equipment requests | Review of Validated Customer Complaints / As-needed |
| 3.1.3.1.6 | Manage Furniture Reutilization Services | Compliance to regulations (Quality) ( | Performance standard is met no less than 98 percent of the time | Furniture processed | Periodic Inspection / Quarterly |
|  |  | Customer Satisfaction (Quality) ( | Performance standard is met no less than 95 percent of the time (i.e., no more than 5 validated complaints per 100 items handled) | Furniture processed | Review of Validated Customer Complaints / As-needed |
|  |  | Completeness of furniture processing (Quality) | Performance standard is met no less than 95 percent of the time | Furniture processed | Periodic Inspection / Quarterly |
|  |  | Response Time to requests is within negotiated timeframe with customer (Timeliness) | Performance standard is met no less than 95 percent of the time | Furniture processed | Periodic Inspection / Quarterly |
|  |  | Furniture items processed and ready for reutilization within 5 days of receipt (Timeliness) | Performance standard is met no less than 90 percent of the time | Furniture processed | Periodic Inspection / Quarterly |
|  |  | Furniture items processed and disposed of within GSA prescribed schedule (Timeliness) | Performance standard is met no less than 95 percent of the time | Furniture processed | Periodic Inspection / Quarterly |
|  |  | Furniture items processed and refurbished within 30 days of receipt (Timeliness) | Performance standard is met no less than 95 percent of the time | Furniture processed | Periodic Inspection / Quarterly |
| 3.1.3.2.1 | Provide Printing Services | Customer satisfaction based on # of validated complaints received (Quality) ( | Performance standard is met no less than 98 percent of the time (i.e., no more than 2 validated complaints per 100 jobs completed) | Print jobs | Review of Validated Customer Complaints / As-needed |
|  |  | Regulatory Compliance (Quality) | Performance standard is met 100 percent of the time | Print jobs | Review of Validated Customer Complaints / Daily |
|  |  | No reprints due to incorrect specs (Quality) | Performance standard is met no less than 98 percent of the time | Print jobs | 100% Inspection, Review of Validated Customer Complaints, User Surveys/ Daily, As-needed |
|  |  | Response time is within 24 hours (Timeliness) | Performance standard is met no less than 95 percent of the time | Print jobs | Review of Validated Customer Complaints / As-needed |
|  |  | Production time is within set timeframe (Timeliness) | Performance standard is met no less than 98 percent of the time | Print jobs | Review of Validated Customer Complaints / Daily |
| 3.1.3.2.2 | Manage Printing Services Operations | No more than one penalty (incurred due to late payments) per year (Quality) ( | Performance standard is met no less than 95 percent of the time | Print jobs | Periodic Inspection / Quarterly |
|  |  | Vendor performance meets relationship goals and requirements (Quality) | Performance standard is met no less than 95 percent of the time | Print jobs | Periodic Inspection / Quarterly |
|  |  | OPAC filings are submitted on or before required dates (Timeliness) | Performance standard is met no less than 98 percent of the time | Print jobs | Periodic Inspection / Quarterly |
|  |  | Response time (of vendor) to project requests requirements (Timeliness) | Performance standard is met no less than 95 percent of the time | Print jobs | Other / As-needed |
| 3.1.3.3.1 | Conduct Inventories of Copier Supplies and Equipment | Inventories are accurate (Quality) ( | Performance standard is met no less than 98 percent of the time | Inventories | 100% Inspection / Quarterly |
|  |  | Meter readings are accurate (Quality) ( | Performance standard is met no less than 99 percent of the time | Meter readings | Random Sampling / As-needed |
|  |  | Quarterly Inventories are conducted prior to WCF Quarterly reviews (Timeliness) ( | Performance standard is met no less than 100 percent of the time | Inventories | 100% Inspection / Quarterly |
|  |  | Meter Readings are conducted prior to monthly report to vendors (Timeliness) | Performance standard is met no less than 98 percent of the time | Meter readings | Random Sampling / As-needed |
| 3.1.3.3.2 | Provide Copier Performance Support and Analysis | Surveys and analyses are complete and thorough (Quality) ( | Performance standard is met no less than 95 percent of the time | Surveys and analyses | Periodic Inspection / Annually; Review of Validated Customer Complaints / As Needed |
|  |  | Surveys and analyses are completed in accordance with department timeframes (Timeliness) | Performance standard is met no less than 95 percent of the time | Surveys and analyses | Periodic Inspection / Annually; Review of Validated Customer Complaints / As Needed |
| 3.1.3.3.3 | Provide Copier Logistics, Support and Disposition Services | Level of customer satisfaction is satisfactory or above, where satisfactory is no more than five validated complaints per year (Quality) ( | Performance standard is met no less than 95 percent of the time | Copiers, service contracts, copier acquisitions, copier relocations, copier trade-ins, training sessions | Review of Validated Customer Complaints / Annually; User Survey / As-needed |
|  |  | Copier acquisitions - Response time to office or organization needs is within one business day of request (Timeliness) | Performance standard is met no less than 95 percent of the time | Copiers, service contracts, copier acquisitions, copier relocations, copier trade-ins, training sessions | Review of Validated Customer Complaints / Annually; User Survey / As-needed |
|  |  | Copier relocations - Response time to office or organization needs is within one business day of request (Timeliness) | Performance standard is met no less than 95 percent of the time | Copiers, service contracts, copier acquisitions, copier relocations, copier trade-ins, training sessions | Review of Validated Customer Complaints / Annually; User Survey / As-needed |
|  |  | Copier trade-ins - Response time to office or organization needs is within one business day of request (Timeliness) | Performance standard is met no less than 95 percent of the time | Copiers, service contracts, copier acquisitions, copier relocations, copier trade-ins, training sessions | Review of Validated Customer Complaints / Annually; User Survey / As-needed |
|  |  | Copier maintenance service calls - Response time to office or organization needs is within one hour of request (Timeliness) | Performance standard is met no less than 95 percent of the time | Copiers, service contracts, copier acquisitions, copier relocations, copier trade-ins, training sessions | Review of Validated Customer Complaints / Annually; User Survey / As-needed |
|  |  | Training sessions - Response time to office or organization needs is upon receipt of new copier or on an as-needed basis (Timeliness) | Performance standard is met no less than 95 percent of the time | Copiers, service contracts, copier acquisitions, copier relocations, copier trade-ins, training sessions | Review of Validated Customer Complaints / Annually; User Survey / As-needed |
| 3.1.3.3.4 | Provide Copier Operations Management and Administrative Services | Monthly reports are accurate and complete (Quality) ( | Performance standard is met no less than 95 percent of the time | Monthly reports | Periodic Inspection / Quarterly |
|  |  | Job Tracking system is accurate (Quality) ( | Performance standard is met no less than 95 percent of the time | Job Tracking system | Periodic Inspection / Quarterly |
|  |  | Database system is updated within one business day of receipt of new data (Timeliness) | Performance standard is met no less than 95 percent of the time | Database and related reports | Periodic Inspection / Semi-annually |
|  |  | Customer requested reports are provided within one business day of request (Timeliness) | Performance standard is met no less than 98 percent of the time | Customer complaints | Review of Validated Customer Complaints / As-needed |
|  |  | Management requested reports are provided within negotiated timeframe (Timeliness) | Performance standard is met no less than 98 percent of the time | Customer complaints | Review of Validated Customer Complaints / As-needed |
| 3.1.3.3.5 | Provide Copier Supply Services | Product Availability, products are in stock and available at time of customer request (Quality) ( | Performance standard is met no less than 98 percent of the time | Customer complaints | Review of Validated Customer Complaints / As-needed; Management Information System Report – Inventory Report / Quarterly |
|  |  | Level of customer satisfaction (Quality) | Rated satisfactory or above, where satisfactory is no more than 5 validated complaints per year | Customer complaints | Review of Validated Customer Complaints/ As-needed; Management Information System Report – Inventory Report / Quarterly |
|  |  | Availability of service provider (Timeliness) | Performance standard is met no less than 98 percent of the time | Customer complaints | Review of Validated Customer Complaints / As-needed; User Survey / As-needed |
|  |  | Response time for submitting requests to fulfill out-of-stock item requests within one hour (Timeliness) | Performance standard is met no less than 98 percent of the time | Customer complaints | Review of Validated Customer Complaints / As-needed; User Survey / As-needed |
|  |  | Update Copier Job Tracking System within by COB for any transactions (Timeliness) | Performance standard is met no less than 98 percent of the time | Copier Job Tracking System and reports | Periodic Inspection / Monthly |

GERMANTOWN HEADQUARTERS COMPLEX

| Reference | Function Title | Performance Standard (Quality/ Timeliness) | Acceptable Quality Level (AQL) | Lot | Method of Surveillance/ Frequency |
| --- | --- | --- | --- | --- | --- |
| 3.2.1.1.1 | Perform Inspection of Daily and Periodic Custodial Work | Inspection covers, (by random selection) no less than 12 percent daily of the total square footage under the contract (Quality) ( | Performance standard is met no less than 85 percent of the time | GSA SF-64 (periodic) and GSA SF-1181A (daily) reports | Random Sampling / Monthly |
|  |  | 1181-A (Daily) reports are filed by close of business every day (Timeliness) | Performance standard is met no less than 90 percent of the time | GSA SF-1181A (daily) reports | Random Sampling / Monthly |
|  |  | 64 (Periodic) reports are filed within one business day of work inspection (Timeliness) | Performance standard is met no less than 90 percent of the time | GSA SF-64 (periodic) reports | Random Sampling / Monthly |
| 3.2.1.1.2 | Manage Help Desk | Calls are documented, reported, and responded to accurately (Quality) ( | Performance standard is met no less than 90 percent of the time | Service calls | Random Sampling / Monthly |
| 3.2.1.1.3 | Perform Inspections of Operations & Maintenance Repair Performance | All PM and Repairs comply with GSA guidelines (Quality) | Performance standard is met no less than 100 percent of the time | PM hours, Service requests/ tickets | Periodic Inspection / Monthly and Fiscal Year-End |
|  |  | 12 percent of all PM and Repairs are inspected as completed (Timeliness) ( | Performance standard is met no less than 85 percent of the time | PM hours, Service requests/ tickets | Periodic Inspection / Monthly and Fiscal Year-End |
|  |  | Work tracking system is accurately maintained and updated daily (Quality) | Performance standard is met no less than 98 percent of the time | Requisitions received, requisitions completed, work orders developed from requisitions received, and total annual dollar amount of alterations | Periodic Inspection / Quarterly |
| 3.2.1.1.4 | Performs Ground Maintenance Oversight | Maintains safe means of ingress/egress throughout the Germantown complex (Quality) ( | Performance standard is met 100 percent of the time | Complex size | Random Sampling / As Needed |
|  |  | No validated customer complaints related to grounds appearance (Quality) ( | Performance standard is met 95 percent of the time | Complex size | Review of Validated Customer Complaints / Daily |
|  |  | Validated customer complaints are addressed within 1 hour of receipt, emergencies are addressed within 30 minutes of receipt (Timeliness) | Performance standard is met 100 percent of the time | Complex size | Review of Validated Customer Complaints / Daily |
| 3.2.1.1.5 | Perform Buildings Operations Management Function | Alterations and repairs are performed in accordance with negotiated specifications and comply with all applicable building codes (Quality) ( | Performance standard is met no less than 99 percent of the time | Alterations and repairs | Random Sampling / Quarterly |
|  |  | Alterations and repairs are performed in accordance with negotiated timeframes (Timeliness) | Performance standard is met no less than 99 percent of the time | Alterations and repairs | Random Sampling / Quarterly |
| 3.2.1.2.1 | Manage Space Allocation/ Assignment | Key plans are accurate and complete (Quality) ( | Performance standard is met no less than 90 percent of the time | Key plans | 100% Inspection / Semi-annually |
|  |  | As-built drawings are accurate and complete (Quality) | Performance standard is met 100 percent of the time | As-built drawings | Random Sampling / As-needed |
|  |  | As-built drawings are revised within 5 work days of completed construction (Timeliness) | Performance standard is met 100 percent of the time | As-built drawings | 100% Inspection / Semi-annually |
|  |  | All sets of Key Plans are updated in March and August to coincide with Budget process (Timeliness) ( | Performance standard is met 100 percent of the time | Key plans | Random Sampling / As-needed |
|  |  | Update portion of key plans needed as required for presentations (Timeliness) | Performance standard is met no less than 100 percent of the time | Key plans | 100% Inspection / Semi-annually |
| 3.2.1.2.2 | Manage Space Utilization | Reports are accurate (Quality) | Performance standard is met no less than 95 percent of the time | Quarterly space utilization reports | Management Information System Report / Semi-annually |
|  |  | Comply with GSA regulations regarding space (Quality) | Performance standard is met no less than 100 percent of the time | Quarterly space utilization reports | Periodic Inspection / Semi-annually |
|  |  | Reports prepared quarterly and are updated and available for budget process (Timeliness) ( | Performance standard is met no less than 100 percent of the time | Quarterly space utilization reports | 100% Inspection / Quarterly or As-needed |
| 3.2.1.2.3 | Develop Space Analyses | Management presentations are accurate and complete (Quality) | Performance standard is met no less than 95 percent of the time | Management presentations prepared | Random Sampling / As-needed |
|  |  | Management requests are completed within negotiated timeframe (Timeliness) | Performance standard is met no less than 95 percent of the time | Management presentations prepared | Random Sampling / As-needed |
| 3.2.1.2.4 | Provide Space Planning | Space studies and construction documents are accurate and complete (Quality) | Performance standard is met no less than 95 percent of the time | Space studies and construction documents | Random Sampling, Review of Validated Customer Complaints / As-needed |
|  |  | Compliance to regulations (Quality) | Performance standard is met 100 percent of the time | Space studies and construction documents | Random Sampling / As-needed |
|  |  | Designs* less than $2,000 will be completed within 1-7 days (Timeliness) ( * - Designs to include space studies developed and construction documents prepared | Designs are completed within maximum timeframe (7 days) 100 percent of the time | Requisitions, space studies developed, construction documents prepared, total amount of space designed (Sq Ft) annually | Random Sampling / Weekly |
|  |  | Designs* for alterations costing $2,000-25,000 will be completed 15-30 days (Timeliness) ( * - Designs to include space studies developed and construction documents prepared | Designs are completed within maximum timeframe (30 days) 100 percent of the time | Requisitions, space studies developed, construction documents prepared, total amount of space designed (Sq Ft) annually | Random Sampling / Weekly |
|  |  | Designs* costing $25,000-100,000 will be completed 30-60 days (Timeliness) * - Designs to include space studies developed and construction documents prepared | Designs are completed within maximum timeframe (60 days) 100 percent of the time | Requisitions, space studies developed, construction documents prepared, total amount of space designed (Sq Ft) annually | Random Sampling / Weekly |
|  |  | Designs* costing greater than $100,000 will be completed 60-90 days (Timeliness) * - Designs to include space studies developed and construction documents prepared | Designs are completed within maximum timeframe (90 days) 100 percent of the time | Requisitions, space studies developed, construction documents prepared, total amount of space designed (Sq Ft) annually | Random Sampling / Weekly |
| 3.2.1.2.5 | Provide Federal Leasing Services | No more than 30 complaints per building per week (Quality) ( | Performance standard is met no less than 90 percent of the time | Leases acquired, leases administered, leases disposed | Periodic Inspection / Quarterly |
|  |  | Respond to customer complaints within 15 minutes of receipt of complaint (Timeliness) | Performance standard is met no less than 95 percent of the time | Leases acquired, leases administered, leases disposed | Periodic Inspection / Quarterly |
| 3.2.1.2.6 | Provide General Management Services for Space Management Program | Reports, services and advice are provided in accordance with Space Management Team requirements and specifications (Quality/Timeliness) | Performance standard is met no less than 95 percent of the time | Customer complaints | Review of Validated Customer Complaints / As-needed |
| 3.2.1.3.1 | Perform Operation & Maintenance and Repair of Heating, Ventilation, Air Conditioning, and Refrigeration Systems and Associated Controls | Service calls and repairs are performed accurately (Quality) ( | Performance standard is met no less than 95 percent of the time | Service calls, repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | All PM is performed in compliance with applicable guidelines (Quality) ( | Performance standard is met 99 percent of the time | PM hours | Periodic Inspection / Weekly |
|  |  | Respond to routine calls within 24 hours (e.g., hot and cold complaints) (Timeliness) | Performance standard is met no less than 99 percent of the time | Service calls and repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | Respond to emergency calls within 15 minutes (e.g., mechanical system leak or malfunction) (Timeliness) | Performance standard is met no less than 90 percent of the time | Service calls and repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | Respond to emergency calls within 45 minutes (e.g., mechanical system leak or malfunction) (Timeliness) | Performance standard is met no less than 100 percent of the time | Service calls and repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | All PM is in compliance with GSA scheduled timeframes (Timeliness) | Performance standard is met no less than 90 percent of the time | PM hours | Periodic Inspection / Weekly |
|  |  | Repairs are completed within prescribed timeframes based on DOE HQ SOPs (Timeliness) | Performance standard is met no less than 90 percent of the time | Repair tickets | Periodic Inspection / Weekly |
|  |  | Perform tours and watches 24 hours, 7 days a week (Quality) | Performance standard is met no less than 100 percent of the time | Equipment logs, Daily Tour and Watch Logs, Monitor Tours | Random Sample / As-needed |
|  |  | All mechanical equipment is operated in a safe and efficient manner (Quality) ( | Performance standard is met 98 percent of the time | Service calls, work orders, PM hours | Periodic Inspection / Daily |
| 3.2.1.3.2 | Provide Plumbing and Pipefitting Services | Service calls and repairs are performed accurately (Quality) ( | Performance standard is met no less than 95 percent of the time | Service calls and repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | All PM is performed in compliance with applicable guidelines (Quality) ( | Performance standard is met no less than 99 percent of the time | Service calls and repair tickets | Periodic Inspection / Weekly |
|  |  | Respond to routine calls within 24 hours (e.g., leaking faucet) (Timeliness) | Performance standard is met no less than 99 percent of the time | Service calls and repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | Respond to emergency calls within 15 minutes (e.g., plumbing system leak or malfunction) (Timeliness) | Performance standard is met no less than 90 percent of the time | Service calls and repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | Respond to emergency calls within 45 minutes (e.g., plumbing system leak or malfunction) (Timeliness) | Performance standard is met no less than 100 percent of the time | Service calls and repair tickets | Periodic Inspection / Weekly |
|  |  | PM is in compliance with GSA scheduled timeframes (Timeliness) | Performance standard is met no less than 90 percent of the time | PM hours | Periodic Inspection / Weekly |
|  |  | Repairs are completed within prescribed timeframes based on DOE HQ SOPs (Timeliness) | Performance standard is met no less than 90 percent of the time | Repair tickets | Periodic Inspection / Weekly |
|  |  | All plumbing systems are operated in a safe and efficient manner (Quality) ( | Performance standard is met 98 percent of the time | Service calls, work orders, PM hours | Periodic Inspection / Daily |
| 3.2.1.3.3 | Provide Electrical Services | Service calls and repairs are performed accurately (Quality) ( | Performance standard is met no less than 95 percent of the time | Service calls, repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | All PM is performed in compliance with applicable guidelines (Quality) ( | Performance standard is met 99 percent of the time | Service calls and repair tickets, PM hours | Periodic Inspection / Weekly |
|  |  | Respond to routine calls within 24 hours (e.g., replace lamp) (Timeliness) | Performance standard is met no less than 99 percent of the time | Service calls and repair tickets, PM hours | Review of Validated Customer Complaints / As-needed |
|  |  | Respond to emergency calls within 15 minutes (e.g., loss of power) (Timeliness) | Performance standard is met no less than 90 percent of the time | Service calls and repair tickets, PM Hours | Review of Validated Customer Complaints / As-needed |
|  |  | Respond to emergency calls within 45 minutes (e.g., loss of power) (Timeliness) | Performance standard is met no less than 100 percent of the time | PM hours | Periodic Inspection / Weekly |
|  |  | All PM is in compliance with GSA scheduled timeframes (Timeliness) | Performance standard is met 90 percent of the time | PM hours | Periodic Inspection / Weekly |
|  |  | Repairs are completed within prescribed timeframes based on DOE HQ SOPs (Timeliness) | Performance standard is met no less than 90 percent of the time | Repair tickets | Periodic Inspection / Weekly |
|  |  | Perform tours and watches 24 hours, 7 days a week (Quality) | Performance standard is met no less than 100 percent of the time | Equipment logs, Daily Tour and Watch Logs, Monitor Tours | Random Sample / As-needed |
|  |  | All electrical systems are operated in a safe and efficient manner (Quality) ( | Performance standard is met 98 percent of the time | Service calls, work orders, PM hours | Periodic Inspection / Daily |
| 3.2.1.3.4 | Perform Carpentry Services | Service calls and repairs are performed accurately (Quality) ( | Performance standard is met no less than 95 percent of the time | Service calls and repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | All PM is performed in compliance with applicable guidelines (Quality) ( | Performance standard is met no less than 100 percent of the time | PM hours | Periodic Inspection / Weekly |
|  |  | Respond to routine calls within 24 hours (e.g., replace ceiling tiles) (Timeliness) | Performance standard is met no less than 99 percent of the time | Service calls and repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | Respond to emergency calls within 15 minutes (e.g., occupant locked out of office) (Timeliness) | Performance standard is met no less than 90 percent of the time | Service Calls and repair tickets | Review of Validated Customer Complaints / As-needed |
|  |  | Respond to emergency calls within 45 minutes (e.g., occupant locked out of office) (Timeliness) | Performance standard is met no less than 100 percent of the time | PM hours | Periodic Inspection / Weekly |
|  |  | PM is in compliance with GSA scheduled timeframes (Timeliness) | Performance standard is met no less than 90 percent of the time | PM hours | Periodic Inspection / Weekly |
|  |  | Repairs are completed within prescribed timeframes based on DOE HQ SOPs (Timeliness) | Performance standard is met no less than 90 percent of the time | Repair tickets | Periodic Inspection / Weekly |
|  |  | Cyclical painting is performed according to GSA schedule (Timeliness) | Performance standard is met 90 percent of the time | Hours of cyclical painting | Periodic Inspection / Weekly |
| 3.2.1.3.5 | Operate Heating/ Refrigeration Plant | All boiler and chiller related equipment is operated and maintained in a safe and efficient operating condition (Quality) ( | Performance standard is met 100 percent of the time | Service calls, work orders, PM hours | Periodic Inspection / Daily |
|  |  | All PM is in compliance with guidelines (Quality) ( | Performance standard is met 100 percent of the time | PM hours | Periodic Inspection / Weekly |
|  |  | PM is performed according to GSA scheduled timeframes (Timeliness) | Performance standard is met 100 percent of the time | PM hours | Periodic Inspection / Weekly |
|  |  | All repairs are performed such that the heating/ refrigeration plant is never off-line (Timeliness) | Performance standard is met 100 percent of the time | Repair tickets | Periodic Inspection / Weekly |
|  |  | Perform tours and watches 24 hours, 7 days a week (Quality) | Performance standard is met no less than 100 percent of the time | Equipment logs, Daily Tour and Watch Logs, Monitor Tours | Random Sample / As-needed |
| 3.2.2.1.1 | Provide Administration and Management of Travel Management Team | Customer satisfaction (Quality) ( | Performance standard is met no less than 98 percent of the time (i.e., no more than 2 validated complaints per 100 requests) | PCS and third party relocations | Review of Validated Customer Complaints and User Surveys / As-needed |
|  |  | Regulatory compliance (Quality) | Performance standard is met 100 percent of the time | PCS and third party relocations | Periodic Inspection / Quarterly |
|  |  | PCS requests are reviewed within 24 hours (Timeliness) | Performance standard is met no less than 95 percent of the time | PCS and third party relocations | Periodic Inspection / Monthly; Review of Validated Customer Complaints / As-needed |
|  |  | Third party relocations requests are reviewed within 3 business days (Timeliness) | Performance standard is met no less than 99 percent of the time | PCS and third party relocations | Periodic Inspection / Quarterly, Review of Validated Customer Complaints / As-needed, Management Information System Report / Monthly |
| 3.2.2.1.2 | Monitor Activities of Full-Service Domestic and International Travel Operations | Level of customer satisfaction (Quality) ( | Performance standard is met no less than 98 percent of the time (i.e., no more than 2 validated complaints per 100 requests) | Domestic travel requests, international travel requests | Review of Validated Customer Complaints and User Surveys / Per travel request or complaint |
|  |  | Compliance with regulations (Quality) | Performance standard is met no less than 100 percent of the time | Domestic travel requests, international travel requests | Periodic Inspection / Quarterly |
|  |  | Turn-around of domestic and international travel requests are completed within a reasonable timeframe (i.e. immediate for same day request versus several business days for non-immediate requests) (Timeliness) ( | Performance standard is met no less than 95 percent of the time | Domestic travel requests, international travel requests | Periodic Inspection / Quarterly; Review of Validated Customer Complaints / As-needed |
| 3.2.2.1.3 | Manage Official US Passports and Visas for DOE Personnel | Level of customer satisfaction (Quality) ( | Performance standard is met no less than 98 percent of the time (i.e., no more than 2 validated complaints per 100 items handled) | Passports and visas | Periodic Inspection / Quarterly; Review of Validated Customer Complaints / As-needed |
|  |  | Compliance with regulations (Quality) | Performance standard is met no less than 100 percent of the time | Passports and visas | Periodic Inspection / Quarterly |
|  |  | Turn-around of passports and visas issue requests are completed within a prescribed timeframe (i.e. immediate for same day request versus several business days for non-immediate requests) (Timeliness) | Performance standard is met no less than 98 percent of the time | Passports and visas | Periodic Inspection / Quarterly; Review of Validated Customer Complaints / As-needed |
| 3.2.2.2.1 | Manage U-Drive Program | Vehicles are accurately tracked (log-in/log-out, fuel) and accounted for daily (Quality) ( | Performance standard is met no less than 100 percent of the time | Log-outs, vehicles in fleet | Periodic Inspection / Quarterly |
|  |  | Availability of fleet vehicles (Quality) | Performance standard is met no less than 80 percent of the time | Log-outs, vehicles in fleet | Periodic Inspection / Quarterly |
|  |  | Response time is within 1 hour of receipt of request (Timeliness) | Performance standard is met no less than 98 percent of the time | Log-outs, vehicles in fleet | Review of Validated Customer Complaints / As-needed |
| 3.2.2.2.2 | Provide Ground Transportation Services | Availability of fleet vehicles and drivers (Quality) | Performance standard is met no less than 95 percent of the time | Trip requests completed (for executives) | Periodic Inspection / Quarterly |
|  |  | Level of customer satisfaction (Quality) ( | Performance standard is met no less than 98 percent of the time (i.e., no more than 2 validated complaints per 100 requests) | Trip requests completed (for executives) | Review of Validated Customer Complaints / As-needed |
|  |  | Compliance with all applicable regulations (security, procedures etc) (Quality) | Performance standard is met no less than 100 percent of the time | Trip requests completed (for executives) | Periodic Inspection / Quarterly |
|  |  | Respond to customer requests immediately upon receipt of requests (Timeliness) | Performance standard is met no less than 95 percent of the time | Trip requests completed (for executives) | Review of Validated Customer Complaints / As-needed |
| 3.2.2.3.1 | Provide Transportation-Area Systems Support | Systems are operating and available (Quality) ( | Performance standard is met at least 95 percent of the time | Transportation-Area Systems | Periodic Inspection / Semi-annually |
|  |  | Respond to issues and problems within one business day (Timeliness) | Performance standard is met at least 95 percent of the time | Transportation-Area Systems | As Needed based on level of activity |
| 3.2.2.3.2 | Provide Management and Administrative Services | Accuracy of analyses and data (Quality) | Performance standard is met no less than 95 percent of the time | Analyses and data collected | Random Sampling / As-needed |
|  |  | Compliance with regulations (classified) (Quality) | Performance standard is met no less than 100 percent of the time | Level of effort | Periodic Inspection / Monthly |
|  |  | Turn-around time for requested data is within negotiated timeframe (Timeliness) ( | Performance standard is met at least 95 percent of the time | Validated Customer Complaints | Review of Validated Customer Complaints / As-needed |
| 3.2.2.4.1 | Monitor and Track Fleet Activity | Accuracy of reports (Quality) | Performance standard is met no less than 95 percent of the time | Vehicles monitored | Periodic Inspection / Semi-annually |
|  |  | Accuracy of database system (FMIS) (Quality) ( | Performance standard is met no less than 95 percent of the time | Vehicles monitored | Periodic Inspection / Semi-annually |
|  |  | Updated and available accurate information (Timeliness) ( | Performance standard is met no less than 95 percent of the time | Vehicles monitored | Random Sampling / Semi-annually |
|  |  | Reports are produced within prescribed deadlines (Timeliness) | Performance standard is met no less than 90 percent of the time | Vehicles monitored | Review of Validated Customer Complaints / As-needed |
| 3.2.2.4.2 | Conduct Headquarters Fleet Management Activities | Accuracy of inventories (Quality) ( | Performance standard is met no less than 100 percent of the time | Quarterly inventories, vehicle registrations, licensing and renewals (combined), annual reports, investigations | Periodic Inspection / Semi-annually |
|  |  | Accuracy of OMB/GSA reports (Quality) | Performance standard is met no less than 95 percent of the time | Quarterly inventories, vehicle registrations, licensing and renewals (combined), annual reports, investigations | Periodic Inspection / Semi-annually |
|  |  | Accuracy of registrations / licensing (Quality) ( | Performance standard is met no less than 100 percent of the time | Quarterly inventories, vehicle registrations, licensing and renewals (combined), annual reports, investigations | Periodic Inspection / Semi-annually |
|  |  | Accuracy of investigations (Quality) | Performance standard is met no less than 95 percent of the time | Quarterly inventories, vehicle registrations, licensing and renewals (combined), annual reports, investigations | Periodic Inspection / Semi-annually |
|  |  | Compliance (Quality) | Performance standard is met no less than 98 percent of the time | Quarterly inventories, vehicle registrations, licensing and renewals, annual reports, investigations | Periodic Inspection / Monthly |
|  |  | Reports, registrations / licensing, and investigation filings etc. are submitted within prescribed deadlines (Timeliness) | Performance standard is met no less than 98 percent of the time | Quarterly inventories, vehicle registrations, licensing and renewals (combined), annual reports, investigations | Periodic Inspection / Semi-annually |
|  |  | Response time to technical issues within 3 business days (Timeliness) | Performance standard is met no less than 95 percent of the time | Quarterly inventories, vehicle registrations, licensing and renewals (combined), annual reports, investigations | Review of Validated Customer Complaints / As-needed |
| 3.2.2.4.3 | Manage Vehicle Maintenance Program | Availability of fleet vehicles (Quality) ( | Performance standard is met no less than 80 percent of the time | Vehicles in fleet | Periodic Inspection / Quarterly |
|  |  | Vehicles managed in compliance with regulations (Quality) | Performance standard is met no less than 98 percent of the time | Vehicles in fleet | Periodic Inspection / Quarterly |
|  |  | Vehicle maintenance is within GSA schedules (Timeliness) ( | Performance standard is met no less than 95 percent of the time | Vehicles in fleet | Periodic Inspection / Quarterly |
|  |  | Vehicles are rotated within GSA schedules (Timeliness) | Performance standard is met no less than 98 percent of the time | Vehicles in fleet | Periodic Inspection / Quarterly |
| 3.2.3.1.1 | Receive and Secure Personal Property Prior to Distribution | All items are tagged, secured, and held until distribution (Quality) ( | Performance standard is met no less than 99 percent of the time | Requisitions processed (annual) | Random Sampling / As-needed |
|  |  | Items are responded to immediately (Timeliness) | Performance standard is met no less than 99 percent of the time | Requisitions processed (annual) | Random Sampling / As-needed |
| 3.2.3.1.2 | Provide Procurement Support Services | Regulatory compliance (Quality) | Performance standard is met no less than 100 percent of the time | Property items purchased | Periodic Inspection / Monthly |
|  |  | Accuracy of data (Quality) ( | Performance standard is met no less than 98 percent of the time | Property items purchased | Periodic Inspection / Monthly |
|  |  | Response time to requisitions is within one business day (Timeliness) ( | Performance standard is met no less than 90 percent of the time | Property items purchased | Periodic Inspection / Quarterly |
|  |  | Orders are filled within determined timeframes (Timeliness) | Performance standard is met no less than 90 percent of the time | Property items purchased | Periodic Inspection / Quarterly |
| 3.2.3.1.3 | Provide Inventory Management | Regulatory compliance (Quality) | Performance standard is met no less than 100 percent of the time | Inventories and property items inventoried | Periodic Inspection / Semi-annually |
|  |  | Accuracy of data (Quality) ( | Performance standard is met no less than 98 percent of the time | Inventories and property items inventoried | Periodic Inspection / Semi-annually |
|  |  | Physical Inventories completed within five business days (Timeliness) | Performance standard is met no less than 90 percent of the time | Inventories and property items inventoried | Periodic Inspection / Quarterly |
|  |  | Reconciliation process completed within 15 business days (Timeliness) | Performance standard is met no less than 95 percent of the time | Inventories and property items inventoried | Periodic Inspection / Quarterly |
| 3.2.3.1.4 | Provide Management and Administration of Property Disposition | Accuracy of work (for transfers) (Quality) ( | Performance standard is met no less than 95 percent of the time | Items transferred, donated, excesses, or exchange sale | Random Sampling / Quarterly |
|  |  | Turn-around of transfers or disposal is within 24 business days after GSA decision (Timeliness) | Performance standard is met no less than 95 percent of the time | Items transferred, donated, excesses, or exchange sale | Random Sampling / Quarterly |
| 3.2.3.1.5 | Provide Property Management Training to Accountable Property Representatives and Administrative Officers | Accuracy of training based on relevant material (Quality) | Performance standard is met no less than 95 percent of the time | User surveys | Review Of Training Class User Surveys / As-needed |
|  |  | Overall performance of all APRs and AOs meets defined performance standards of property management task areas (i.e. receive and secure personal property, provide inventory management) (Quality) ( | Performance standard is met no less than 95 percent of the time | Customer complaints | Periodic Inspection / Quarterly; Review of customer complaints / As-needed |
|  |  | Customer prescribed time requirements are met (Timeliness) | Performance standard is met no less than 95 percent of the time | Furniture and office equipment | Review of Validated Customer Complaints / As-needed |
| 3.2.3.1.6 | Manage Furniture Reutilization Services | Compliance to Regulations (Quality) | Performance standard is met no less than 98 percent of the time | Furniture processed | Periodic Inspection / Quarterly |
|  |  | Customer satisfaction (Quality) ( | Performance standard is met no less than 95 percent of the time (i.e., no more than 5 validated complaints per 100 items handled) | Furniture processed | Periodic Inspection / Quarterly |
|  |  | Completeness of furniture processing (Quality) ( | Performance standard is met no less than 95 percent of the time | Furniture processed | Review of Validated Customer Complaints / As-needed |
|  |  | Response times to requests are within negotiated timeframe with customer (Timeliness) | Performance standard is met no less than 95 percent of the time | Furniture processed | Periodic Inspection / Quarterly |
|  |  | Furniture items processed within 5 business days (Timeliness) | Performance standard is met no less than 90 percent of the time | Furniture processed | Periodic Inspection / Quarterly |
|  |  | Furniture items processed and disposed of within GSA prescribed schedule (Timeliness) | Performance standard is met no less than 95 percent of the time | Furniture processed | Periodic Inspection / Quarterly |
|  |  | Furniture items processed and refurbished within 30 days of receipt (Timeliness) | Performance standard is met no less than 95 percent of the time | Furniture processed | Periodic Inspection / Quarterly |
| 3.2.3.2.1 | Provide Printing Services | Customer satisfaction based on the number of validated customer complaints received (Quality) ( | Performance standard is met no less than 98 percent of the time (i.e., no more than 2 validated complaints per 100 requests) | Print jobs processed | Review of Validated Customer Complaints / As-needed |
|  |  | Compliance to regulations (Quality) | Performance standard is met 100 percent of the time | Print jobs processed | Review of Validated Customer Complaints / Daily |
|  |  | No reprints due to incorrect specs (Quality) | Performance standard is met no less than 98 percent of the time | Print jobs processed | 100% Inspection, Review of Validated Customer Complaints, User Surveys/ Daily, As Needed |
|  |  | Response time is within 24 hours (Timeliness) | Performance standard is met no less than 95 percent of the time | Print jobs processed | Review of Validated Customer Complaints / As-needed |
|  |  | Production time is within set timeframe (Timeliness) | Performance standard is met no less than 98 percent of the time | Print jobs processed | Review of Validated Customer Complaints / Daily |
| 3.2.3.2.2 | Manage Printing Services Operations | No more than one penalty per year due to incorrect payments (Quality) ( | Performance standard is met no less than 95 percent of the time | Print jobs processed | Periodic Inspection / Quarterly |
|  |  | Vendor performance meets relationship goals and requirements (Quality) | Performance standard is met no less than 95 percent of the time | Print jobs processed | Periodic Inspection / Quarterly |
|  |  | OPAC filings are submitted on or before required dates (Timeliness) ( | Performance standard is met no less than 98 percent of the time | Print jobs processed | Periodic Inspection / Quarterly |
|  |  | Response time (of vendor) to project requests requirements (Timeliness) | Performance standard is met no less than 95 percent of the time | Print jobs processed | Other / As-needed |
| 3.2.3.3.1 | Conduct Inventory of Copier Supplies and Equipment | Inventories are accurate (Quality) ( | Performance standard is met no less than 98 percent of the time | Inventories | 100% Inventories / Quarterly |
|  |  | Meter readings are accurate (Quality) ( | Performance standard is met no less than 99 percent of the time | Meter readings | Random Sampling / As-needed |
|  |  | Inventories are conducted prior to quarterly reviews (Timeliness) ( | Performance standard is met 100 percent of the time | Inventories | 100% Inventories / Quarterly |
|  |  | Meter readings are completed prior to vendor report (Timeliness) | Performance standard is met no less than 98 percent of the time | Meter readings | Random Sampling / As-needed |
| 3.2.3.3.2 | Provide Copier Performance Support and Analysis | Surveys and analyses are complete and thorough (Quality) ( | Performance standard is met no less than 95 percent of the time | Surveys and analyses | Periodic Inspection / Annually; Review of Validated Customer Complaints / As Needed |
|  |  | Surveys and analyses are completed in accordance with department timeframes (Timeliness) | Performance standard is met no less than 95 percent of the time | Surveys and analyses | Periodic Inspection / Annually; Review of Validated Customer Complaints / As Needed |
| 3.2.3.3.3 | Provide Copier Support, Logistics, and Disposition Services | Level of customer satisfaction is satisfactory or above, where satisfactory is no more than 5 validated complaints per year (Quality) ( | Performance standard is met no less than 95 percent of the time | Copiers, service contracts, copier acquisitions, copier relocations, copier trade-ins, training sessions | Review of Validated Customer Complaints / Annually; User Survey / As-needed |
|  |  | Copier acquisitions - Response time to office or organization needs is within 1 business day of request (Timeliness) | Performance standard is met no less than 95 percent of the time | Copiers, service contracts, copier acquisitions, copier relocations, copier trade-ins, training sessions | Review of Validated Customer Complaints / Annually; User Survey / As-needed |
|  |  | Copier relocations - Response time to office or organization needs is within 1 business day of request (Timeliness) | Performance standard is met no less than 95 percent of the time | Copiers, service contracts, copier acquisitions, copier relocations, copier trade-ins, training sessions | Review of Validated Customer Complaints / Annually; User Survey / As-needed |
|  |  | Copier trade-ins - Response time to office or organization needs is within one business day of request (Timeliness) | Performance standard is met no less than 95 percent of the time | Copiers, service contracts, copier acquisitions, copier relocations, copier trade-ins, training sessions | Review of Validated Customer Complaints / Annually; User Survey / As-needed |
|  |  | Copier maintenance service calls - Response time to office or organization needs is within one hour of request (Timeliness) | Performance standard is met no less than 95 percent of the time | Copiers, service contracts, copier acquisitions, copier relocations, copier trade-ins, training sessions | Review of Validated Customer Complaints / Annually; User Survey / As-needed |
|  |  | Training sessions - Response time to office or organization needs is upon receipt of new copier or on an as-needed basis (Timeliness) | Performance standard is met no less than 95 percent of the time | Copiers, service contracts, copier acquisitions, copier relocations, copier trade-ins, training sessions | Review of Validated Customer Complaints / Annually; User Survey / As-needed |
| 3.2.3.3.4 | Provide Copier Operations Management and Administrative Services | Monthly reports and job tracking systems are accurate (Quality) ( | Performance standard is met no less than 95 percent of the time | Monthly reports | Periodic Inspection / Quarterly |
|  |  | Database system is updated within one business day of receipt of new data (Timeliness) ( | Performance standard is met no less than 95 percent of the time | Database and related reports | Periodic Inspection / Semi-annually |
|  |  | Customer requested reports are provided within one business day of request (Timeliness) | Performance standard is met no less than 98 percent of the time | Customer complaints | Review of Validated Customer Complaints / As-needed |
|  |  | Management requested reports are provided within negotiated timeframe (Timeliness) | Performance standard is met no less than 98 percent of the time | Customer complaints | Review of Validated Customer Complaints / As-needed |
| 3.2.3.3.5 | Provide Copier Supply Services | Product Availability, products are in stock and available at time of customer request (Quality) ( | Performance standard is met no less than 98 percent of the time | Customer complaints | Review of Validated Customer Complaints / As-needed |
|  |  | Level of customer satisfaction (Quality) | Rated satisfactory or above, where satisfactory is no more than 5 validated complaints per year | Customer complaints | Review of Validated Customer Complaints / As-needed |
|  |  | Availability of service provider (Timeliness) | Performance standard is met no less than 98 percent of the time | Customer complaints | Review of Validated Customer Complaints / As-needed |
|  |  | Response time for submitting requests to fulfill out-of-stock item requests within one hour (Timeliness) | Performance standard is met no less than 98 percent of the time | Customer complaints | Periodic Inspection / Monthly |
|  |  | Update Copier Job Tracking System within by COB for any transactions (Timeliness) | Performance standard is met no less than 98 percent of the time | Copier Job Tracking System and Reports | Periodic Inspection / Monthly |

ALBANY RESEARCH CENTER

| Reference | Function Title | Performance Standard (Quality/ Timeliness) | Acceptable Quality Level (AQL) | Lot | Method of Surveillance/ Frequency |
| --- | --- | --- | --- | --- | --- |
| 3.3.1.1.1 | Provide Direct Facilities Electrical Support Services | Work orders are responded to accurately the first time, with all others completed through re-work. Task AQL metrics are met. (Quality) ( | Performance standard is met no less than 95 percent of the time. Environment, Safety and Health (ES&H) standards must be met 100 percent or the time. | Work orders, meeting AQL metrics | Periodic Inspection / Monthly; Review of Validated Customer Complaints / As-needed |
|  |  | Service calls are responded to within time period specified in the Maximum Response Time (MRT) metrics specified for each task. Tasks with no specified MRT metric will be based on priority (high-med-low): High priority calls are responded to within 1 hour. Medium priority calls are responded to within 3 business days. Low priority calls are responded to within 7 business days (Timeliness) | Performance shall be met 95 percent of the time. ES&H standards must be met 100 percent of the time. | Work orders, meeting MRT metrics | Periodic Inspection / Monthly; Review of Validated Customer Complaints / As-needed |
| 3.3.1.1.2 | Provide Direct Electrician Support Services to Research Activities/ Projects | Work orders are responded to accurately the first time, with all others completed through re-work. Task AQL metrics are met. (Quality) ( | Performance standard is met no less than 95 percent of the time Environment, Safety and Health (ES&H) standards must be met 100 percent or the time. | Work orders, meeting AQL metrics | Periodic Inspection / Monthly; Review of Validated Customer Complaints / As-needed |
|  |  | Service calls are responded to within time period specified in the Maximum Response Time (MRT) metrics specified for each task. Tasks with no specified MRT metric will be based on priority (high-med-low): High priority calls are responded to within one hour. Medium priority calls are responded to within three business days. Low priority calls are responded to within seven business days (Timeliness) | Performance standard is met no less than 95 percent of the time. ES&H standards must be met 100 percent of the time. | Work orders, meeting MRT metrics | Periodic Inspection / Monthly; Review of Validated Customer Complaints / As-needed |
| 3.3.1.1.3 | Provide Contractor Oversight (Electrical) | Review of work performed by contractors is timely, accurate and AQL metric is met. (Quality) ( | Performance standard is met no less than 95 percent of the time. ES&H standards must be met 100 percent of the time. | AQL and MRT metric is met. | Periodic Inspection / Monthly; Review of Validated Customer Complaints / As-needed |
| 3.3.1.2.1 | Perform General Facility Maintenance | Work orders are responded to accurately the first time, with all others completed through re-work. Task AQL metrics are met. (Quality) ( | Performance standard is met no less than 95 percent of the time. ES&H standards must be met 100 percent of the time. | Work orders, AQL metric is met | Periodic Inspection / Monthly; Review of Validated Customer Complaints / As-needed |
|  |  | Service calls are responded to within the specified Maximum Response Time (MRT) metrics specified for each task. Tasks with no specified MRT metric will be time period based on priority (high-med-low): High priority calls are responded to within one hour. Medium priority calls are responded to within three business days. Low priority calls are responded to within seven business days (Timeliness) | Performance standard is met no less than 95 percent of the time. ES&H standards must be met 100 percent of the time. | Work orders, meeting MRT metrics | Periodic Inspection / Monthly; Review of Validated Customer Complaints / As-needed |
| 3.3.1.2.2 | Maintain and Support Research Projects and Programs | Work orders are responded to accurately the first time, with all others completed through re-work. Task AQL metrics are met. (Quality) ( | Performance standard is met no less than 95 percent of the time. ES&H standards must be met 100 percent of the time. | Work orders, AQL metric is met | Periodic Inspection / Monthly; Review of Validated Customer Complaints / As-needed |
|  |  | Service calls are responded to within the time period specified in the Maximum Response Time (MRT) metrics specified for each task. Tasks with no specified MRT metric will be based on priority (high-med-low): High priority calls are responded to within one hour. Medium priority calls are responded to within three business days. Low priority calls are responded to within seven business days (Timeliness) | Performance standard is met no less than 95 percent of the time. ES&H standards must be met 100 percent of the time. | Work orders, meeting MRT metrics | Periodic Inspection / Monthly; Review of Validated Customer Complaints / As-needed |
| 3.3.1.2.3 | Provide Contractor Oversight Support for Facility Maintenance | Review of work performed by contractors is timely, accurate and AQL metric is met (Quality) ( | Performance standard is met no less than 95 percent of the time. ES&H standards must be met 100 percent of the time. | AQL and MRT metric is met | Periodic Inspection / Monthly; Review of Validated Customer Complaints / As-needed |
| 3.3.2.1.1 | Provide GSA Liaison Services and Maintain Fleet for Albany Research Center | Vehicles are in operable condition and AQL metric is met (Quality) ( | Performance standard is met 100 percent of the time | Vehicles, AQL and MRT metric is met | Periodic Inspection / Quarterly; Review of Validated Customer Complaints /As-needed |
| 3.3.3.1.1 | Support Overall Property Program Management | All property management is conducted in accordance with applicable operating procedures, regs, etc. and AQL metric is met (Quality) ( | Performance standard is met 100 percent of the time | AQL and MRT metric is met | Periodic Inspection / Semi-annually |
| 3.3.3.1.2 | Acquire Property and Supplies for Use at the Albany Research Center | All property acquisitions are conducted in accordance with applicable operating procedures, regs, etc. and AQL metric is met (Quality) ( | Performance standard is met 100 percent of the time | Purchase requisitions, AQL and MRT metric is met | Periodic Inspection / Semi-annually |
| 3.3.3.1.3 | Maintain Property and Supplies for Use at the Albany Research Center | All property maintained in accordance with applicable operating procedures, regs, etc. and AQL metric is met (Quality) ( | Performance standard is met 100 percent of the time | Items entered and maintained, AQL metric is met | Periodic Inspection / Annually |
|  |  | Property requiring entry into PAMS is bar coded within two business days of receipt. MRT metric specified for this task. (Timeliness) | Performance standard is met 95 percent of the time | Items entered and maintained | Periodic Inspection / Quarterly |
| 3.3.3.1.4 | Excess or Disposes of Property for the Albany Research Center | All property is excessed in accordance with applicable operating procedures, regulations, etc. and AQL metric is met (Quality) ( | Performance standard is met 100 percent of the time | Scrap metal sales, Excess Personal Property (SF-120s), Retirement Work Orders, Transfers (SF-122s), AQL and MRT metric is met | Periodic Inspection / Annually |
| 3.3.3.1.5 | Provide Shipping and Receiving of Property and Supplies for Use at the Albany Research Center | All shipments are shipped and received in accordance with applicable operating procedures, regs, etc. and AQL metric is met (Quality) ( | Performance standard is met 100 percent of the time | Incoming shipments, AQL metric is met | Periodic Inspection / Annually |
|  |  | Personnel will be available at all times during normal working times. MRT metric specified for this task (Timeliness) ( | Performance standard is met 100 percent of the time | Incoming shipments, MRT metric is met | Periodic Inspection / Monthly |

Technical Exhibit 3-3:  Required Reports

FORRESTAL HEADQUARTERS COMPLEX

| PWS Reference Number | Task Title | Name of Report | Frequency | Recipient | Reference |
| --- | --- | --- | --- | --- | --- |
| 3.1.1.1.1 | Perform Inspection of Daily and Periodic Custodial Work | GSA SF-64 | As-needed | Buildings Manager and COR | GSA Delegation Agreement |
| 3.1.1.1.1 | Perform Inspection of Daily and Periodic Custodial Work | GSA SF-1181A | Daily | Buildings Manager and COR | GSA Delegation Agreement |
| 3.1.1.1.1 | Perform Inspection of Daily and Periodic Custodial Work | Daily Man-hours Monitoring of Custodial Contractor | Weekly | Buildings Manager and COR | Forrestal Custodial Contract |
| 3.1.1.1.2 | Perform Inspection of Operations & Maintenance and Repair Performance | O&M and Repair Performance End-of-Month Report | Monthly | Buildings Manager and COR | GSA Delegation Agreement and NFPA 101 |
| 3.1.1.1.2 | Perform Inspection of Operations & Maintenance and Repair Performance | Daily Tour and Watch Log | Daily | ME-411.1 | DOE HQ SOPs |
| 3.1.1.1.2 | Perform Inspection of Operations & Maintenance Performance | GSA Form 350 Unfired Vessels Inspection | As-needed | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.1.1.2.1 | Manage Space Allocation/ Assignment | Key Plan Report | Bi-weekly | Director – Space Management and Facilities Development Group | DOE HQ Working Capital Fund Building Occupancy Business Line |
| 3.1.1.2.1 | Manage Space Allocation/ Assignment | Significant Item Report | Weekly | Director – Space Management and Facilities Development Group | DOE HQ Working Capital Fund Building Occupancy Business Line |
| 3.1.1.2.2 | Manage Space Utilization | Reports on Square Feet per Person Statistics: By Program by Location, By Program by Building, By Program Headquarters-wide | Quarterly and semi-annually to coincide with budget process | Director – Space Management and Facilities Development Group | 41 CFR 101 and DOE HQ Working Capital Fund Building Occupancy Business Line |
| 3.1.1.2.2 | Manage Space Utilization | Organizational Assignment by Locations | Quarterly and semi-annually to coincide with budget process | Director – Space Management and Facilities Development Group | 41 CFR 101 and DOE HQ Working Capital Fund Building Occupancy Business Line |
| 3.1.1.2.2 | Manage Space Utilization | Vacant Space Report | Weekly | Director – Space Management and Facilities Development Group | 41 CFR 101 and DOE HQ Working Capital Fund Building Occupancy Business Line |
| 3.1.1.2.2 | Manage Space Utilization | Organizational Personnel Assignments by Fiscal Year | Quarterly and semi-annually to coincide with budget process | Director – Space Management and Facilities Development Group | 41 CFR 101 and DOE HQ Working Capital Fund Building Occupancy Business Line |
| 3.1.1.2.3 | Develop Space Analyses | Management Presentations | As-needed | Management | DOE HQ SOPs |
| 3.1.1.2.3 | Develop Space Analyses | Significant Items Report | Weekly | ME-40, ME-41 and ME-412 | DOE HQ SOPs |
| 3.1.1.2.3 | Develop Space Analyses | Move Schedules Report | Weekly | ME-41 Staff, IM Staff and End Customers | DOE HQ Working Capital Fund Building Occupancy Business Line |
| 3.1.1.2.4 | Provide Space Planning | Programming Report | As-needed | End Customer | DOE HQ SOPs |
| 3.1.1.2.4 | Provide Space Planning | Work/ Status Activity Report | Weekly | End Customer | DOE HQ SOPs |
| 3.1.1.2.4 | Provide Space Planning | Schedules, Space Studies, and Construction Documents | Weekly | ME-41 Staff, IM Staff and End Customers | DOE HQ SOPs |
| 3.1.1.2.5 | Provide General Management Services for Space Management Program | Move Schedule | Weekly | ME-41 Staff, IM Staff and End Customers | DOE HQ SOPs |
| 3.1.1.3 | Facilities Operations & Maintenance and Repair | Inventory Report by Trade | Quarterly | ME-411.1 | DOE HQ SOPs |
| 3.1.1.3 | Facilities Operations & Maintenance and Repair | GSA Form 1736 Equipment Inventory List | As-needed (based on additions or deletions of inventory items) | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings and GSA Delegation Agreement |
| 3.1.1.3 | Facilities Operations & Maintenance and Repair | GSA Form 1737 Operator Assignments | As-needed | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings and GSA Delegation Agreement |
| 3.1.1.3 | Facilities Operations & Maintenance and Repair | GSA Form 1738 PM Control | As-needed | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings and GSA Delegation Agreement |
| 3.1.1.3 | Facilities Operations & Maintenance and Repair | GSA For 1739 Equipment History | As-needed | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings and GSA Delegation Agreement |
| 3.1.1.3 | Facilities Operations & Maintenance and Repair | GSA Form 2103 Annual Man-hour Requirements | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings and GSA Delegation Agreement |
| 3.1.1.3 | Facilities Operations & Maintenance and Repair | GSA Form 2103a Annual Man-hour Requirements | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings and GSA Delegation Agreement |
| 3.1.1.3 | Facilities Operations & Maintenance and Repair | GSA Form 2103b Annual Man-hour Requirements | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings and GSA Delegation Agreement |
| 3.1.1.3 | Facilities Operations & Maintenance and Repair | GSA Form 2104 Man-hour Watch Requirements | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings and GSA Delegation Agreement |
| 3.1.1.3 | Facilities Operations & Maintenance and Repair | GSA Form 2104a Man-hour Watch Requirements | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.1.1.3 | Facilities Operations & Maintenance and Repair | GSA Form 2105 Annual Man-hours Preventive Maintenance Requirements | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.1.1.3 | Facilities Operations & Maintenance and Repair | GSA Form 2106 Annual Man-hours Service Call Requirements | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.1.1.3 | Facilities Operations & Maintenance and Repair | GSA Form 2107 Annual Building Craft Operations And Maintenance Requirements | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.1.1.3 | Facilities Operations & Maintenance and Repair | GSA Form 2109 Annual Field Office Craft Requirements | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.1.1.3 | Facilities Operations & Maintenance and Repair | GSA Form 3532 Asbestos Record | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.1.1.3 | Facilities Operations & Maintenance and Repair | Equipment Operating Schedule | (Semi-annually) and upon new updates | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.1.1.3 | Facilities Operations & Maintenance and Repair | PM Guides | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.1.1.3 | Facilities Operations & Maintenance and Repair | GSA Form 1736 Equipment Inventory List | As-needed (based on additions or deletions of inventory items) | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.1.1.3.1 | Perform Operation & Maintenance and Repair of Heating, Ventilation, Air Conditioning, and Refrigeration Systems and Associated Controls | GSA Form 350 Unfired Vessels Inspection | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings and GSA Delegation Agreement |
| 3.1.1.3.1 | Perform Operation & Maintenance and Repair of Heating, Ventilation, Air Conditioning, and Refrigeration Systems and Associated Controls | Daily Utility Meter Readings Report | Weekly | ME-411.1 | DOE HQ SOPs |
| 3.1.1.3.1 | Perform Operation & Maintenance and Repair of Heating, Ventilation, Air Conditioning, and Refrigeration Systems and Associated Controls | EMCS Printouts | Daily | ME-411.1 | DOE HQ SOPs |
| 3.1.1.3.1 | Perform Operation & Maintenance and Repair of Heating, Ventilation, Air Conditioning, and Refrigeration Systems and Associated Controls | Virgin Refrigerant Report | Quarterly | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.1.1.3.1 | Perform Operation & Maintenance and Repair of Heating, Ventilation, Air Conditioning, and Refrigeration Systems and Associated Controls | Refrigerant Equipment/ Refrigerant In Use Report | Quarterly | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.1.1.3.3 | Provide Electrical Services | GSA Storage Battery Monthly Record | Monthly | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings and GSA Delegation Agreement |
| 3.1.1.3.3 | Provide Electrical Services | Summary of GSA Form 2523 Lampist Daily Call Record | Monthly | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.1.1.3.3 | Provide Electrical Services | GSA Form 2543 Low Voltage Circuit Breaker Test Record | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.1.1.3.3 | Provide Electrical Services | GSA Form 2543a Network Protector Test Record | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.1.1.3.3 | Provide Electrical Services | GSA Form 2543b Protective Relay Test Record | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.1.1.3.3 | Provide Electrical Services | GSA Form 1003 Storage Battery Monthly Record | Monthly | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.1.2.1.1 | Provide Administration and Management of Travel Management Team | Management Report | Monthly | ME-42 | DOE HQ SOPs |
| 3.1.2.1.1 | Provide Administration and Management of Travel Management Team | Customer Report | As-needed | ME-42 and End Customer | DOE HQ SOPs |
| 3.1.2.1.2 | Coordinate Activities of Full-Service Domestic and International Travel Operations | Customer Itineraries | As-needed | End Customer | DOE HQ SOPs |
| 3.1.2.1.3 | Manage Official US Passports and Visas for DOE Personnel | Management Report | Monthly | ME-42 | DOE HQ SOPs |
| 3.1.2.2.1 | Manage U-Drive Program | GSA Mileage Report | Monthly | ME-42 and GSA | 41 CFR 109-38.5001 |
| 3.1.2.2.1 | Manage U-Drive Program | Budget and Utilization Reports- FAST Report | Annually | ME-42 | DOE HQ SOPs |
| 3.1.2.2.2 | Provide Executive Fleet Transportation Services | GSA Mileage Report | Monthly | ME-42 and GSA | 41 CFR 109-38.5001 |
| 3.1.2.3.2 | Provide Management and Administrative Services | Analytical Studies Reports | As-needed | ME-42 | DOE HQ SOPs |
| 3.1.2.4.1 | Monitor and Track Fleet Activity | Fuel Reports | Weekly | ME-42 | DOE HQ SOPs |
| 3.1.2.4.1 | Monitor and Track Fleet Activity | Mileage Report | Monthly | ME-42 and GSA | 41 CFR 109-38.5001 |
| 3.1.2.4.2 | Conduct Headquarters Fleet Management Activities | Reports to GSA and OMB | Annually | ME-42, OMB and GSA | 41 CFR 109 |
| 3.1.2.4.2 | Conduct Headquarters Fleet Management Activities | Procedural Guides and Instructions | As-needed | End Customer | DOE HQ SOPs |
| 3.1.2.4.3 | Manage the Vehicle Maintenance Program | Fleet Acquisitions and Retirements Report | Annually | ME-63 | OMB Circular A-11, Section 33 |
| 3.1.3.1.1 | Receive and Secure Personal Property Prior to Distribution | Output Indicators Report | Weekly, Monthly, Annually | ME-40, ME-41, ME-413 | DOE HQ SOPs |
| 3.1.3.1.3 | Provide Inventory Management | Inventory Report | Annual | ME-413 and End Customer | 41 CFR 109, DOE Order 580.1 |
| 3.1.3.1.3 | Provide Inventory Management | Discrepancy Reports | As-needed / As Requested | End Customer | 41 CFR 109, DOE Order 580.1 |
| 3.1.3.1.3 | Provide Inventory Management | Loss and Gain Reports | Monthly or As-needed | ME-413 and End Customer | DOE Order 580.1 |
| 3.1.3.1.4 | Provide Management and Administration of Personal Property Disposition | GSA Report | Weekly | GSA, ME-413 | 41 CFR 109, DOE Order 580.1 |
| 3.1.3.1.4 | Provide Management and Administration of Personal Property Disposition | Output Report | Annually | ME-40, ME-41, ME-413 | DOE HQ SOPs |
| 3.1.3.1.5 | Provide Property Management Training to Accountable Property Representative and Administrative Officers | Management Report | Weekly | ME-40, ME-41, ME-413 | DOE HQ SOPs |
| 3.1.3.1.6 | Manage Furniture Reutilization Services | Output Report/ Stock Replenishment Report | Weekly | ME-40, ME-41, ME-413 | DOE HQ SOPs |
| 3.1.3.2.1 | Provide Printing Services | Customer Invoice Reports (Working Capital Fund) | Monthly | ME-42, Chief Financial Officer (CFO) and End Customer | Working Capital Fund Printing Business Line, DOE HQ SOPs |
| 3.1.3.2.1 | Provide Printing Services | Management Reports | Monthly | ME-42 | DOE HQ SOPs |
| 3.1.3.2.2 | Manage Printing Services Operations | Customer Invoice Reports (Working Capital Fund) | Monthly | ME-42, CFO and End Customer | Working Capital Fund Printing Business Line, DOE HQ SOPs |
| 3.1.3.2.2 | Manage Printing Services Operations | Management Reports | Monthly | ME-42 | DOE HQ SOPs |
| 3.1.3.2.2 | Manage Printing Services Operations | OPAC Payment Directing Report | Weekly | ME-42 and CFO | DOE HQ SOPs |
| 3.1.3.2.2 | Manage Printing Services Operations | Cost Accrual Report | Quarterly | ME-42, CFO and Working Capital Fund | Working Capital Fund Printing Business Line, DOE HQ SOPs |
| 3.1.3.2.2 | Manage Printing Services Operations | Update of Working Capital Fund 5-Year Plan | Annually | ME-42 and Working Capital Fund | Working Capital Fund Printing Business Line, DOE HQ SOPs |
| 3.1.3.3.1 | Conduct Inventories Of Copier Supplies and Equipment | Vendor Report | Monthly | ME-42 | DOE HQ SOPs |
| 3.1.3.3.1 | Conduct Inventories Of Copier Supplies and Equipment | Inventory Report | Quarterly | ME-42 | DOE HQ SOPs |
| 3.1.3.3.1 | Conduct Inventories Of Copier Supplies and Equipment | Financial Report | Monthly | ME-42, Working Capital Fund and End Customer | Working Capital Fund Copier Business Line, DOE HQ SOPs |
| 3.1.3.3.1 | Conduct Inventories Of Copier Supplies and Equipment | Cost Accrual Report | Quarterly | ME-42, CFO and Working Capital Fund | Working Capital Fund Copier Business Line, DOE HQ SOPs |
| 3.1.3.3.1 | Conduct Inventories Of Copier Supplies and Equipment | Meter Reading Report | Monthly | ME-42 and Copier Vendors | DOE HQ SOPs |
| 3.1.3.3.2 | Provide Copier Performance Support and Analysis | Update of Working Capital Fund 5-Year Plan | Annually | ME-42 and Working Capital Fund | Working Capital Fund Copier Business Line, DOE HQ SOPs |
| 3.1.3.3.4 | Provide Copier Operations Management and Administrative Service | Customer Invoice Reports (Working Capital Fund) | Monthly | ME-42 and Working Capital Fund | Working Capital Fund Copier Business Line, DOE HQ SOPs |
| 3.1.3.3.4 | Provide Copier Operations Management and Administrative Service | Management Report | Monthly | ME-42 | DOE HQ SOPs |
| 3.1.3.3.5 | Provide Copier Supply Services | Management Report | Monthly | ME-42 | DOE HQ SOPs |
| 4.0 | Personnel | Update Significant Items Reports (4 total) | Weekly | ME-411, ME-412, ME-413, ME-42 | DOE HQ SOPs |

GERMANTOWN HEADQUARTERS COMPLEX

| PWS Reference Number | Task Title | Name of Report | Frequency | Recipient | Reference |
| --- | --- | --- | --- | --- | --- |
| 3.2.1.1.1 | Perform Inspection of Daily and Periodic Custodial Work | GSA SF-64 | As-needed | Buildings Manager and COR | GSA Delegation Agreement |
| 3.2.1.1.1 | Perform Inspection of Daily and Periodic Custodial Work | GSA SF-1181A | Daily | Buildings Manager and COR | GSA Delegation Agreement |
| 3.2.1.1.1 | Perform Inspection of Daily and Periodic Custodial Work | Daily Man-hours Monitoring of Custodial Contractor | Weekly | Buildings Manager and COR | Germantown Custodial Contract |
| 3.2.1.1.3 | Perform Inspection of Operations and Maintenance (O&M) and Repair Performance | O&M and Repair Performance End-of-Month Report | Monthly | Buildings Manager and COR | GSA Delegation Agreement and NFPA 101 |
| 3.2.1.1.3 | Perform Inspection of Operations & Maintenance and Repair Performance | Daily Tour and Watch Log | Daily | ME-411.1 | DOE HQ SOPs |
| 3.2.1.1.3 | Perform Inspection of Operations & Maintenance and Repair Performance | GSA Form 349 Boiler Inspection Report | Annually | GSA/OSHA | GSA’s Maintenance Practices and General Information for Federal Buildings and GSA Delegation Agreement |
| 3.2.1.1.3 | Perform Inspection of Operations and Maintenance Performance | GSA Form 350 Unfired Vessels Inspection | Annually | GSA/OSHA | GSA’s Maintenance Practices and General Information for Federal Buildings and GSA Delegation Agreement |
| 3.2.1.2.1 | Manage Space Allocation/ Assignment | Key Plan Report | Bi-weekly | Director – Space Management and Facilities Development Group | DOE HQ Working Capital Fund Building Occupancy Business Line |
| 3.2.1.2.1 | Manage Space Allocation/ Assignment | Significant Item Report | Weekly | Director – Space Management and Facilities Development Group | DOE HQ Working Capital Fund Building Occupancy Business Line |
| 3.2.1.2.2 | Manage Space Utilization | Reports on Square Feet per Person Statistics: By Program by Location, By Program by Building, By Program Headquarters-wide | Quarterly and semi-annually to coincide with budget process | Director – Space Management and Facilities Development Group | 41 CFR 101 and DOE HQ Working Capital Fund Building Occupancy Business Line |
| 3.2.1.2.2 | Manage Space Utilization | Organizational Assignment by Locations | Quarterly and semi-annually to coincide with budget process | Director – Space Management and Facilities Development Group | 41 CFR 101 and DOE HQ Working Capital Fund Building Occupancy Business Line |
| 3.2.1.2.2 | Manage Space Utilization | Vacant Space Report | Weekly | Director – Space Management and Facilities Development Group | 41 CFR 101 and DOE HQ Working Capital Fund Building Occupancy Business Line |
| 3.2.1.2.2 | Manage Space Utilization | Organizational Personnel Assignments by Fiscal Year | Quarterly and semi-annually to coincide with budget process | Director – Space Management and Facilities Development Group | 41 CFR 101 and DOE HQ Working Capital Fund Building Occupancy Business Line |
| 3.2.1.2.3 | Develop Space Analyses | Management Presentations | As-needed | Management | DOE HQ SOPs |
| 3.2.1.2.3 | Develop Space Analyses | Significant Items Report | Weekly | ME-40, ME-41 and ME-412 | DOE HQ SOPs |
| 3.2.1.2.3 | Develop Space Analyses | Move Schedules Report | Weekly | ME-41 Staff, IM Staff and End Customers | DOE HQ Working Capital Fund Building Occupancy Business Line |
| 3.2.1.2.4 | Provide Space Planning | Programming Report | As-needed | End Customer | DOE HQ SOPs |
| 3.2.1.2.4 | Provide Space Planning | Work/ Status Activity Report | Weekly | End Customer | DOE HQ SOPs |
| 3.2.1.2.4 | Provide Space Planning | Schedules, Space Studies, and Construction Documents | Weekly | ME-41 Staff, IM Staff and End Customers | DOE HQ SOPs |
| 3.2.1.2.5 | Provide Federal Leasing Services | Log of Customer Complaints | Weekly | ME-41, ME-412 | DOE HQ SOPs |
| 3.2.1.2.6 | Provide General Management Services for Space Management Program | Move Schedule | Weekly | ME-41 Staff, IM Staff and End Customers | DOE HQ SOPs |
| 3.2.1.3 | Facilities Operations and Maintenance | GSA Form 1736 Equipment Inventory List | As-needed (based on additions or deletions of inventory items) | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings and GSA Delegation Agreement |
| 3.2.1.3 | Facilities Operations and Maintenance | GSA Form 1737 Operator Assignments | As-needed | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings and GSA Delegation Agreement |
| 3.2.1.3 | Facilities Operations and Maintenance | GSA Form 1738 PM Control | As-needed | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings and GSA Delegation Agreement |
| 3.2.1.3 | Facilities Operations and Maintenance | GSA For 1739 Equipment History | As-needed | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings and GSA Delegation Agreement |
| 3.2.1.3 | Facilities Operations and Maintenance | GSA Form 1897 Maintenance Authorization | As-needed | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings and GSA Delegation Agreement |
| 3.2.1.3 | Facilities Operations and Maintenance | GSA Form 2103 Annual Man-hour Requirements | As-needed | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings and GSA Delegation Agreement |
| 3.2.1.3 | Facilities Operations and Maintenance | GSA Form 2103a Annual Man-hour Requirements | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings and GSA Delegation Agreement |
| 3.2.1.3 | Facilities Operations and Maintenance | GSA Form 2103b Annual Man-hour Requirements | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings and GSA Delegation Agreement |
| 3.2.1.3 | Facilities Operations and Maintenance | GSA Form 2104 Man-hour Watch Requirements | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings and GSA Delegation Agreement |
| 3.2.1.3 | Facilities Operations and Maintenance | GSA Form 2104a Man-hour Watch Requirements | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.2.1.3 | Facilities Operations and Maintenance | GSA Form 2105 Annual Man-hours Preventive Maintenance Requirements | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.2.1.3 | Facilities Operations and Maintenance | GSA Form 2106 Annual Man-hours Service Call Requirements | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.2.1.3 | Facilities Operations and Maintenance | GSA Form 2107 Annual Building Craft Operations And Maintenance Requirements | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.2.1.3 | Facilities Operations and Maintenance | GSA Form 2109 Annual Field Office Craft Requirements | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.2.1.3 | Facilities Operations and Maintenance | GSA Form 3532 Asbestos Record | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.2.1.3 | Facilities Operations and Maintenance | Equipment Operating Schedule | (Semi-annually) and upon new updates | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.2.1.3 | Facilities Operations and Maintenance | PM Guides | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.2.1.3.1 | Perform Operation & Maintenance of Heating, Ventilation, Air Conditioning, and Refrigeration Systems and Associated Controls | Virgin Refrigerant Report | Quarterly | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.2.1.3.1 | Perform Operation & Maintenance of Heating, Ventilation, Air Conditioning, and Refrigeration Systems and Associated Controls | Refrigerant Equipment/ Refrigerant In Use Report | Monthly | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.2.1.3.3 | Provide Electrical Services | GSA Form 1003 Storage Battery Monthly Record | Monthly | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings and GSA Delegation Agreement |
| 3.2.1.3.3 | Provide Electrical Services | GSA Form 2523 Lampist Daily Call Record | Daily | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.2.1.3.3 | Provide Electrical Services | GSA Form 2543 Low Voltage Circuit Breaker Test Record | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.2.1.3.3 | Provide Electrical Services | GSA Form 2543a Network Protector Test Record | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.2.1.3.3 | Provide Electrical Services | GSA Form 2543b Protective Relay Test Record | Annually | ME-411.1 | GSA’s Maintenance Practices and General Information for Federal Buildings |
| 3.2.2.1.1 | Provide Administration and Management of Travel Management Team | Management Report | Monthly | ME-42 | DOE HQ SOPs |
| 3.2.2.1.1 | Provide Administration and Management of Travel Management Team | Customer Report | As-needed | ME-42 and End Customer | DOE HQ SOPs |
| 3.2.2.1.2 | Coordinate Activities of Full-Service Domestic and International Travel Operations | Customer Itineraries | As-needed | End Customer | DOE HQ SOPs |
| 3.2.2.1.3 | Manage Official US Passports and Visas for DOE Personnel | Management Report | Monthly | ME-42 | DOE HQ SOPs |
| 3.2.2.2.1 | Manage U-Drive Program | GSA Mileage Report | Monthly | ME-42 and GSA | 41 CFR 109-38.5001 |
| 3.2.2.2.1 | Manage U-Drive Program | Budget and Utilization Reports- FAST Report | Annually | ME-42 | DOE HQ SOPs |
| 3.2.2.2.2 | Provide Ground Transportation Services | GSA Mileage Report | Monthly | ME-42 and GSA | 41 CFR 109-38.5001 |
| 3.2.2.3.2 | Provide Management and Administrative Services | Analytical Studies Reports | As-needed | ME-42 | DOE HQ SOPs |
| 3.2.2.4.1 | Monitor and Track Fleet Activity | Fuel Reports | Weekly | ME-42 | DOE HQ SOPs |
| 3.2.2.4.1 | Monitor and Track Fleet Activity | Mileage Report | Monthly | ME-42 and GSA | 41 CFR 109-38.5001 |
| 3.2.2.4.2 | Conduct Headquarters Fleet Management Activities | Reports to GSA and OMB | Annually | ME-42, OMB and GSA | 41 CFR 109 |
| 3.2.2.4.2 | Conduct Headquarters Fleet Management Activities | Procedural Guides and Instructions | As-needed | End Customer | DOE HQ SOPs |
| 3.2.2.4.3 | Manage the Vehicle Maintenance Program | Fleet Acquisitions and Retirements Report | Annually | ME-63 | OMB Circular A-11, Section 33 |
| 3.2.3.1.1 | Receive and Secure Personal Property Prior to Distribution | Output Indicators Report | Weekly, Monthly, Annually | ME-40, ME-41, ME-413 | DOE HQ SOPs |
| 3.2.3.1.3 | Provide Inventory Management | Inventory Report | Annual | ME-413 and End Customer | 41 CFR 109, DOE Order 580.1 |
| 3.2.3.1.3 | Provide Inventory Management | Discrepancy Reports | As-needed / As Requested | End Customer | 41 CFR 109, DOE Order 580.1 |
| 3.2.3.1.3 | Provide Inventory Management | Loss and Gain Reports | Monthly or As-needed | ME-413 and End Customer | DOE Order 580.1 |
| 3.2.3.1.4 | Provide Management and Administration of Personal Property Disposition | GSA Report | Weekly | GSA, ME-413 | 41 CFR 109, DOE Order 580.1 |
| 3.2.3.1.4 | Provide Management and Administration of Personal Property Disposition | Output Report | Annually | ME-40, ME-41, ME-413 | DOE HQ SOPs |
| 3.2.3.1.5 | Provide Property Management Training to Accountable Property Representative and Administrative Officers | Management Report | Weekly | ME-40, ME-41, ME-413 | DOE HQ SOPs |
| 3.2.3.2.1 | Provide Printing Services | Customer Invoice Reports (Working Capital Fund) | Monthly | ME-42, CFO and End Customer | Working Capital Fund Printing Business Line, DOE HQ SOPs |
| 3.2.3.2.1 | Provide Printing Services | Management Reports | Monthly | ME-42 | DOE HQ SOPs |
| 3.2.3.2.2 | Manage Printing Services Operations | Customer Invoice Reports (Working Capital Fund) | Monthly | ME-42, CFO and End Customer | Working Capital Fund Printing Business Line, DOE HQ SOPs |
| 3.2.3.2.2 | Manage Printing Services Operations | Management Reports | Monthly | ME-42 | DOE HQ SOPs |
| 3.2.3.2.2 | Manage Printing Services Operations | OPAC Payment Directing Report | Weekly | ME-42 and CFO | DOE HQ SOPs |
| 3.2.3.2.2 | Manage Printing Services Operations | Cost Accrual Report | Quarterly | ME-42, CFO and Working Capital Fund | Working Capital Fund Printing Business Line, DOE HQ SOPs |
| 3.2.3.2.2 | Manage Printing Services Operations | Update of Working Capital Fund 5-Year Plan | Annually | ME-42 and Working Capital Fund | Working Capital Fund Printing Business Line, DOE HQ SOPs |
| 3.2.3.3.1 | Conduct Inventories Of Copier Supplies and Equipment | Vendor Report | Monthly | ME-42 | DOE HQ SOPs |
| 3.2.3.3.1 | Conduct Inventories Of Copier Supplies and Equipment | Inventory Report | Quarterly | ME-42 | DOE HQ SOPs |
| 3.2.3.3.1 | Conduct Inventories Of Copier Supplies and Equipment | Financial Report | Monthly | ME-42, Working Capital Fund and End Customer | Working Capital Fund Copier Business Line, DOE HQ SOPs |
| 3.2.3.3.1 | Conduct Inventories Of Copier Supplies and Equipment | Cost Accrual Report | Quarterly | ME-42, CFO and Working Capital Fund | Working Capital Fund Copier Business Line, DOE HQ SOPs |
| 3.2.3.3.1 | Conduct Inventories Of Copier Supplies and Equipment | Meter Reading Report | Monthly | ME-42 and Copier Vendors | DOE HQ SOPs |
| 3.2.3.3.2 | Provide Copier Performance Support and Analysis | Update of Working Capital Fund 5-Year Plan | Annually | ME-42 and Working Capital Fund | Working Capital Fund Copier Business Line, DOE HQ SOPs |
| 3.2.3.3.4 | Provide Copier Operations Management and Administrative Service | Customer Invoice Reports (Working Capital Fund) | Monthly | ME-42 and Working Capital Fund | Working Capital Fund Copier Business Line, DOE HQ SOPs |
| 3.2.3.3.4 | Provide Copier Operations Management and Administrative Service | Management Report | Monthly | ME-42 | DOE HQ SOPs |
| 3.2.3.3.5 | Provide Copier Supply Services | Management Report | Monthly | ME-42 | DOE HQ SOPs |

ALBANY RESEARCH CENTER

| PWS Reference Number | Task Title | Name of Report | Frequency | Recipient | Reference |
| --- | --- | --- | --- | --- | --- |
| 3.3.1.1.1 | Provide Direct Facilities Electrical Support Services | Daily Logs | Daily | Worker | ARC Operating Procedure |
| 3.3.1.1.1 | Provide Direct Facilities Electrical Support Services | Work Order Completions | As Necessary | ARC Coordinator | ARC Operating Procedures |
| 3.3.1.1.1 | Provide Direct Facilities Electrical Support Services | Environmental Safety and Health Report on Safety-Related Items | When discovered | ES&H Coordinator | ARC Corrective Action Management Plan |
| 3.3.1.1.2 | Provide Direct Electrician Support Services to ARC Research Activities/ Projects | Daily Logs | Daily | Worker | ARC Operating Procedure |
| 3.3.1.1.2 | Provide Direct Electrician Support Services to ARC Research Activities/ Projects | Work Order Completions | As Necessary | ARC Coordinator | ARC Operating Procedures |
| 3.3.1.1.3 | Provide Oversight of Electrical Contractors | Daily Logs | Daily | Worker | ARC Operating Procedure |
| 3.3.1.1.3 | Provide Oversight of Electrical Contractors | Work Order Completions | As Necessary | ARC Coordinator | ARC Operating Procedures |
| 3.3.1.1.3 | Provide Oversight of Electrical Contractors | Environmental Safety and Health Report on Safety-Related Items | When discovered | ES&H Coordinator | ARC Corrective Action Management Plan |
| 3.3.1.2.1 | Perform General Facilities Maintenance | Daily Logs | Daily | Worker | ARC Operating Procedure |
| 3.3.1.2.1 | Perform General Facilities Maintenance | Work Order Completions | As Necessary | ARC Coordinator | ARC Operating Procedures |
| 3.3.1.2.1 | Perform General Facilities Maintenance | Environmental Safety and Health Report on Safety-Related Items | When discovered | ES&H Coordinator | ARC Corrective Action Management Plan |
| 3.3.1.2.2 | Maintain and Support Research Projects and Programs | Daily Logs | Daily | Worker | ARC Operating Procedure |
| 3.3.1.2.2 | Maintain and Support Research Projects and Programs | Work Order Completions | As Necessary | ARC Coordinator | ARC Operating Procedures |
| 3.3.1.2.2 | Maintain and Support Research Projects and Programs | Environmental Safety and Health Report on Safety-Related Items | When discovered | ES&H Coordinator | ARC Corrective Action Management Plan |
| 3.3.1.2.3 | Provide Contractor Oversight Support for Facilities Maintenance | Daily Logs | Daily | Worker | ARC Operating Procedure |
| 3.3.1.2.3 | Provide Contractor Oversight Support for Facilities Maintenance | Work Order Completions | As Necessary | ARC Coordinator | ARC Operating Procedures |
| 3.3.1.2.3 | Provide Contractor Oversight Support for Facilities Maintenance | Environmental Safety and Health Report on Safety-Related Items | When discovered | ES&H Coordinator | ARC Corrective Action Management Plan |
| 3.3.2.1.1 | Provide GSA Liaison Services and Maintain Fleet for ARC | Vehicle Usage | Monthly | NETL | 41 CFR, Ch. 109-38, Part 7 (with NETL Guidance) |
| 3.3.2.1.1 | Provide GSA Liaison Services and Maintain Fleet for ARC | GSA Mileage Report | Monthly | NETL | 41 CFR, Ch. 109-38, Part 7 (with NETL Guidance) |
| 3.3.2.1.1 | Provide GSA Liaison Services and Maintain Fleet for ARC | Accident Report | As Needed | NETL | 41 CFR, Ch. 109-38, Part 7 (with NETL Guidance) |
| 3.3.2.1.1 | Provide GSA Liaison Services and Maintain Fleet for ARC | Lost Credit Card Report | As Needed | NETL | 41 CFR, Ch. 109-38, Part 7 (with NETL Guidance) |
| 3.3.2.1.1 | Provide GSA Liaison Services and Maintain Fleet for ARC | GSA Reimbursement Report | As Needed | NETL | 41 CFR, Ch. 109-38, Part 7 (with NETL Guidance) |
| 3.3.3.1.2 | Acquire Property and Supplies for Use at the ARC | Visa Card Log and Monthly Statements | Monthly | Fed. Gov., DOE | Federal Acquisition Regulations |
| 3.3.3.1.2 | Acquire Property and Supplies for Use at the ARC | Transfer Order Excess Personal Property (SF-122) | As needed | Fed. Gov., DOE | DOE Property Management Regs. Part 7,109-38. |
| 3.3.3.1.2 | Acquire Property and Supplies for Use at the ARC | Recycling Report | Annually | Fed. Gov., DOE | EO 13101 |
| 3.3.3.1.2 | Acquire Property and Supplies for Use at the ARC | Purchase Requisitions | As needed | Fed. Gov., DOE | Federal Acquisition Regulations |
| 3.3.3.1.3 | Maintain Property and Supplies for Use at the ARC | Annual Property Inventory | Annually | NETL | 41 CFR, Ch. 109-38, Part 7 (with NETL Guidance) |
| 3.3.3.1.3 | Maintain Property and Supplies for Use at the ARC | Custodial Report | As needed | ARC | 41 CFR, Ch. 109-38, Part 7 (with NETL Guidance) |
| 3.3.3.1.3 | Maintain Property and Supplies for Use at the ARC | Loan and Pass Report | As needed | ARC | 41 CFR, Ch. 109-38, Part 7 (with NETL Guidance) |
| 3.3.3.1.4 | Excess or Dispose of Property for the ARC | Report of Excess Personal Property (SF-120) | As needed | Fed. Gov., DOE | 41 CFR, Ch. 109-38, Part 7 (with NETL Guidance) |
| 3.3.3.1.4 | Excess or Dispose of Property for the ARC | Transfer Order Excess Personal Property (SF-122) | As needed | Fed. Gov., DOE | 41 CFR, Ch. 109-38, Part 7 (with NETL Guidance) |
| 3.3.3.1.4 | Excess or Dispose of Property for the ARC | Retirement Work Order (FETC form 4410.2-1) | As needed | Fed. Gov., DOE | 41 CFR, Ch. 109-38, Part 7 (with NETL Guidance) |
| 3.3.3.1.5 | Provide Shipping and Receiving of Property and Supplies for Use at the ARC | Record of Incoming Shipments Log | Daily | Receiving personnel | ARC Procedure |

Technical Exhibit 3-4: DOE Security Clearance Requirements

FORRESTAL HEADQUARTERS COMPLEX

| Reference | Function | L Clearance* | Q Clearance | Building Access Only |
| --- | --- | --- | --- | --- |
| 3.1.1.1.1 | Perform Inspection of Daily and Periodic Custodial Work | X |  |  |
| 3.1.1.1.2 | Perform Inspection of Operations & Maintenance and Repair Performance | X |  |  |
| 3.1.1.2.1 | Manage Space Allocation/Assignment | X |  |  |
| 3.1.1.2.2 | Manage Space Utilization | X |  |  |
| 3.1.1.2.3 | Develop Space Analyses | X |  |  |
| 3.1.1.2.4 | Provide Space Planning | X |  |  |
| 3.1.1.2.5 | Provide General Management Services for Space Management Program |  |  | X |
| 3.1.1.3.1 | Perform Operations & Maintenance of all Heating, Ventilation, Air Conditioning, and Refrigeration Systems and Associated Controls | X |  |  |
| 3.1.1.3.2 | Provide Plumbing and Pipefitting Services | X |  |  |
| 3.1.1.3.3 | Provide Electrical Services | X |  |  |
| 3.1.1.3.4 | Provide Carpentry Services | X |  |  |
| 3.1.2.1.1 | Provide Administration and Management of Travel Management Team |  |  | X |
| 3.1.2.1.2 | Monitor Activities of Full-Service Domestic and International Travel Operation | X |  |  |
| 3.1.2.1.3 | Manage Official US Passports and Visas for DOE Personnel |  |  | X |
| 3.1.2.2.1 | Manage U-Drive Program |  |  | X |
| 3.1.2.2.2 | Provide Executive Fleet Transportation and Dispatching Services | X | X** |  |
| 3.1.2.3.1 | Provide Transportation-Area Systems Support |  |  | X |
| 3.1.2.3.2 | Provide Management and Administrative Services |  |  | X |
| 3.1.2.4.1 | Monitor and Track Fleet Activity |  | X | X |
| 3.1.2.4.2 | Conduct Headquarters Fleet Management Activities |  | X | X |
| 3.1.2.4.3 | Manage Vehicle Maintenance Program |  |  | X |
| 3.1.3.1.1 | Receive and Secure Personal Property Prior to Distribution |  |  | X |
| 3.1.3.1.2 | Provide Procurement Support Services |  |  | X |
| 3.1.3.1.3 | Provide Inventory Management |  | X |  |
| 3.1.3.1.4 | Provide Management and Administration of Property Disposition |  |  | X |
| 3.1.3.1.5 | Provide Property Management Training to Accountable Property Representatives and Administrative Officers |  |  | X |
| 3.1.3.1.6 | Manage Furniture Reutilization Service |  |  | X |
| 3.1.3.2.1 | Provide Printing Services |  | X*** | X |
| 3.1.3.2.2 | Manage Printing Services Operations |  |  | X |
| 3.1.3.3.1 | Conduct Inventories of Copier Supplies and Equipment |  |  | X |
| 3.1.3.3.2 | Provide Copier Performance Support and Analysis |  |  | X |
| 3.1.3.3.3 | Provide Copier Logistics, Support and Disposition Services |  |  | X |
| 3.1.3.3.4 | Provide Copier Operations Management and Administrative Services |  |  | X |
| 3.1.3.3.5 | Provide Copier Supply Services |  |  | X |

GERMANTOWN HEADQUARTERS COMPLEX

| Reference | Function | L Clearance* | Q Clearance | Building Access Only | None |
| --- | --- | --- | --- | --- | --- |
| 3.2.1.1.1 | Perform Inspection of Daily and Periodic Custodial Work | X |  |  |  |
| 3.2.1.1.2 | Manage Helpdesk |  |  | X |  |
| 3.2.1.1.3 | Perform Inspection of Operations & Maintenance and Repair Performance | X |  |  |  |
| 3.2.1.1.4 | Perform Grounds Maintenance Oversight |  |  | X |  |
| 3.2.1.1.5 | Perform Buildings Operations Management Function | X |  |  |  |
| 3.2.1.2.1 | Manage Space Allocation/Assignment | X |  |  |  |
| 3.2.1.2.2 | Manage Space Utilization | X |  |  |  |
| 3.2.1.2.3 | Develop Space Analyses | X |  |  |  |
| 3.2.1.2.4 | Provide Space Planning | X |  |  |  |
| 3.2.1.2.5 | Provide Federal Leasing Services |  |  | X |  |
| 3.2.1.2.6 | Provide General Management Services for Space Management Program |  |  | X |  |
| 3.2.1.3.1 | Perform Operations & Maintenance of all Heating, Ventilation, Air Conditioning, and Refrigeration Systems | X |  |  |  |
| 3.2.1.3.2 | Provide Plumbing and Pipefitting Services | X |  |  |  |
| 3.2.1.3.3 | Provide Electrical Services | X |  |  |  |
| 3.2.1.3.4 | Perform Carpentry Services | X |  |  |  |
| 3.2.1.3.5 | Operate Boiler Plant |  |  | X |  |
| 3.2.2.1.1 | Provide Administration and Management of Travel Management Team |  |  | X |  |
| 3.2.2.1.2 | Monitor Activities of Full-Service Domestic and International Travel Operations | X |  |  |  |
| 3.2.2.1.3 | Manage Official US Passports and Visas for DOE Personnel |  |  | X |  |
| 3.2.2.2.1 | Manage U-Drive Program |  |  | X |  |
| 3.2.2.2.2 | Provide Ground Transportation Services |  |  | X |  |
| 3.2.2.3.1 | Provide Transportation-Area Systems Support |  |  | X |  |
| 3.2.2.3.2 | Provide Management and Administrative Services |  |  | X |  |
| 3.2.2.4.1 | Monitor and Track Fleet Activity |  |  | X |  |
| 3.2.2.4.2 | Conduct Headquarters Fleet Management Activities |  |  | X |  |
| 3.2.2.4.3 | Manage Vehicle Maintenance Program |  |  | X |  |
| 3.2.3.1.1 | Receive and Secure Personal Property Prior to Distribution |  |  | X |  |
| 3.2.3.1.2 | Provide Procurement Support Services |  |  | X |  |
| 3.2.3.1.3 | Provide Inventory Management |  | X |  |  |
| 3.2.3.1.4 | Provide Management and Administration of Property Disposition |  |  | X |  |
| 3.2.3.1.5 | Provide Property Management Training to Accountable Property Representatives and Administrative Officers |  |  | X |  |
| 3.2.3.1.6 | Manage Furniture Reutilization Operations |  |  | X |  |
| 3.2.3.2.1 | Provide Printing Services |  | X*** | X |  |
| 3.2.3.2.2 | Manage Printing Services Operations |  |  | X |  |
| 3.2.3.3.1 | Conduct Inventory of Copier Supplies and Equipment |  |  | X |  |
| 3.2.3.3.2 | Provide Copier Performance Support and Analysis |  |  | X |  |
| 3.2.3.3.3 | Provide Copier Logistics, Support and Disposition Services |  |  | X |  |
| 3.2.3.3.4 | Provide Copier Operations Management and Administrative Services |  |  | X |  |
| 3.2.3.3.5 | Provide Copier Supply Services |  |  | X |  |

ALBANY RESEARCH CENTER

| Reference | Function | L Clearance* | Q Clearance | Building Access Only | None |
| --- | --- | --- | --- | --- | --- |
| 3.3.1.1.1 | Provide Direct Facilities Electrical Support Services |  |  | X |  |
| 3.3.1.1.2 | Provide Direct Electrician Support Services to ARC Research Activities/Projects |  |  | X |  |
| 3.3.1.1.3 | Provide Oversight of Electrical Contractors |  |  | X |  |
| 3.3.1.2.1 | Perform General Facility Maintenance |  |  | X |  |
| 3.3.1.2.2 | Maintain and Support Research Projects and Programs |  |  | X |  |
| 3.3.1.2.3 | Provide Contractor Oversight Support for Facility Maintenance |  |  | X |  |
| 3.3.2.1.1 | Provide GSA Liaison Services and Maintain Fleet for Albany Research Center |  |  | X |  |
| 3.3.3.1.1 | Support Overall Property Program Management |  |  | X |  |
| 3.3.3.1.2 | Acquire Property and Supplies for Use at the Albany Research Center |  |  | X |  |
| 3.3.3.1.3 | Maintain Property and Supplies for Use at the Albany Research Center |  |  | X |  |
| 3.3.3.1.4 | Excess or Dispose of Property for the Albany Research Center |  |  | X |  |
| 3.3.3.1.5 | Provide Shipping and Receiving of Property and Supplies for Use at the Albany Research Center |  |  | X |  |

Technical Exhibit 6-1: Government Provided Facilities

FORRESTAL HEADQUARTERS COMPLEX

| Description | Count | Furnished Square Footage | Facility Use | Location | Site | Security Level |
| --- | --- | --- | --- | --- | --- | --- |
| Plumbing Storage | 1 | 35 | Storage | Room #GF-196 | HQ- Forrestal | Building Access Only (BAO) |
| Misc. Storage | 1 | 1,390 | Storage | Room #GF-214 | HQ- Forrestal | BAO |
| Plumbing Shop | 1 | 1,055 | Shop Work | Room #GF-179 | HQ- Forrestal | BAO |
| Storage | 1 | 300 | Shop | Room #GL-089 | HQ- Forrestal | BAO |
| Carpenter Shop | 1 | 2,220 | Shop | Room #GF-101 | HQ- Forrestal | BAO |
| Office | 1 | 1,800 | Locker Room | Room #GL-073* | HQ- Forrestal | BAO |
| Office | 1 | 1,000 | Office | Room #GM-174* | HQ- Forrestal | BAO |
| Storage | 1 | 400 | Storage | Room #GA-205 | HQ- Forrestal | BAO |
| Storage | 1 | NA | Storage | Room #GJ-082 | HQ- Forrestal | BAO |
| Filter Storage | 1 | 600 | Filter Room | Room #1G-100/ MER 10 | HQ- Forrestal | BAO |
| Plumbing Storage | 1 | 160 | Plumbing | Room #GJ-073 | HQ- Forrestal | BAO |
| Storage | 1 | 1,000 | Eng. & Plumbing | MER 9 | HQ- Forrestal | BAO |
| Electrical Storage | 1 | 125 | Pipe Room | Room # GE-062 | HQ- Forrestal | BAO |
| Misc. Storage | 1 | 100 | Plumbing | Room # GE-182 | HQ- Forrestal | BAO |
| Electrical Storage | 1 | 80 | Electrical Storage | Room #GB-245 | HQ- Forrestal | BAO |
| Movers | 1 | 955 | Furniture Storage | Room #GF-175 | HQ- Forrestal | BAO |
| Office | 2 | 100 | Space Management | Room #1F-027 | HQ- Forrestal | BAO |

GERMANTOWN HEADQUARTERS COMPLEX

| Description | Count | Furnished Square Footage | Facility Use | Location | Site | Security Level |
| --- | --- | --- | --- | --- | --- | --- |
| R-014 General Office Space | 1 | 544 | General Office | R-014 | HQ- Germantown | BAO |
| R-014 Electric & Plumbing Shop & Warehouse Area | 1 | 2598.42 | Electric & Plumbing Shop & Storage Area | R-014 | HQ- Germantown | BAO |
| R-014 Lunch Room | 1 | 260.8 | Lunch & Break Area | R-014 | HQ- Germantown | BAO |
| R-014 Locker Room Area | 1 | 172.78 | Changing Area | R-014 | HQ- Germantown | BAO |
| R-014 Carpentry Shop | 1 | 1632 | Carpentry Work Area | R-014 | HQ- Germantown | BAO |
| R-014 Paint Shop | 1 | 552 | Painting and Tool storage | R-014 | HQ- Germantown | BAO |
| Office | 2 | 100 | Space Management | E-063A | HQ- Germantown | BAO |

ALBANY RESEARCH CENTER

| Description | Count | Furnished Square Footage | Facility Use | Location | Site | Security Level |
| --- | --- | --- | --- | --- | --- | --- |
| Building # 5 | 1 | 2592 | Facility Maintenance Function | Rooms 107 through 110 only | Albany Research Center | BAO |
| Building # 6 | 1 | 793 | Facility Maintenance Function | One half of building | Albany Research Center | BAO |
| Building # 7 | 1 | 1654 | Electrical Function | All of building | Albany Research Center | BAO |
| Building # 8 | 1 | 924 | Electrical Function | All of building | Albany Research Center | BAO |
| Building # 9 | 1 | 1963 | Facility Maintenance Function | All of building | Albany Research Center | BAO |
| Building # 10 | 1 | 1087 | Facility Maintenance Function | All of building | Albany Research Center | BAO |
| Building # 11 | 1 | 2306 | Facility Maintenance Function | All of building | Albany Research Center | BAO |
| Building # 12 | 1 | 482 | Facility Maintenance Function | All of building | Albany Research Center | BAO |
| Building # 13 | 1 | 224 | Facility Maintenance Function | All of building | Albany Research Center | BAO |
| Building # 14 | 1 | 224 | Facility Maintenance Function | All of building | Albany Research Center | BAO |
| Building # 16 | 1 | 310 | Facility Maintenance Function | All of building | Albany Research Center | BAO |
| Building # 21 | 1 | 6200 | Supply Management Function | All of building | Albany Research Center | BAO |
| Building # 22 | 1 | 7804 | Supply Management Function | All of building except rooms 104,105,106 | Albany Research Center | BAO |

Technical Exhibit 6-2: Government Provided Equipment

FORRESTAL HEADQUARTERS COMPLEX

| Item | Description | Quantity | Model Number | Serial Number | Condition | Geographical Location | Location |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Rigid 535 | Pipe Threading Machine | 1 | 535 | Not Available (NA) | Good | Forrestal | GF-179 |
| Rigid | Pipe Vise | 1 | NA | NA | Good | Forrestal | GF-179 |
| Welder | Arc Welder | 1 | NA | NA | Good | Forrestal | GF-179 |
| Bench Grinder | Bench Grinder | 1 | NA | NA | Fair | Forrestal | GF-179 |
| Sawsall | Reciprocating Saw | 1 | NA | NA | NA | Forrestal | GF-179 |
| Rigid K-50 | Drain Snake | 1 | K-50 | NA | Good | Forrestal | GF-179 |
| Rigid 1500 | Drain Snake | 1 | K-1500 | NA | Excellent | Forrestal | GF-179 |
| Hand Drill | Black & Decker 9.6 Volt Drill | 1 | NA | NA | Fair | Forrestal | GF-179 |
| Wet Pick Up | Wet Vacuum | 1 | NA | NA | Good | Forrestal | GF-179 |
| Prestolite | Acetylene Torch | 1 | NA | NA | Good | Forrestal | GF-179 |
| Torches Oxy & Acetylene | Oxygen Acetylene Torch | 1 | NA | NA | Good | Forrestal | GF-179 |
| Vacuum Pump | NA | 1 | GOH48C17D44B | NA | Good | Forrestal | GM-174 |
| Refrigerant Recovery Equipment | NA | 1 | 7500 | P1037 | Good | Forrestal | GM-174 |
| Pressure Washer | Gas Powered | 1 | Dayton 57 | 037453/ 0787 | Good | Forrestal | GF-214 |
| Air Compressor | NA | 1 | Challenge Air | A4041294 | Good | Forrestal | GF-214 |
| Duct Jack | NA | 1 | Vermette 512M | NA | Good | Forrestal | GF-214 |
| Engine (Motor) Lift | NA | 1 | Sunex 5217A | NA | Good | Forrestal | GF-214 |
| Hi Jack Lift | 15 Foot SkyJack | 3 | SJP-I15 | 04568 | Good | Forrestal | MER 5 & 2 |
| Hi Jack Lift | 40 Foot | 1 | 068003-001 | 18257 | Excellent | Forrestal | NA |
| Ladders | 6 & 8 Foot | 6 | NA | NA | NA | Forrestal | GM-174 |
| Hilti Hammers | Electric | 1 | TE232 | NA | NA | Forrestal | GM-174 |
| Sawzall | Electric | 1 | 6527 | 0774224897 | Good | Forrestal | GM-174 |
| Hand Held Drill | Electric | 1 | NA | NA | NA | Forrestal | GM-174 |
| Pressure Washer | Electric Power | 1 | Cam Spray | 29980 | Good | Forrestal | GF-214 |
| Spot Coolers | NA | 3 | 20HFUL | 48400-0600 | NA | Forrestal | GF-214 |
| Shop Vac- Wet & Dry | NA | 2 | 97 OC | NA | NA | Forrestal | GF-214 |
| Table Saw | Rockwell | 1 | 34-765 | 3220-60-853-0604 | Good | Forrestal | GF-101 |
| Mitre Chop Saw | Dewalt | 1 | DW 708 | 241251 | Good | Forrestal | GF-101 |
| Band Saw | Rockwell | 1 | 28-350 | 1495894 | Good | Forrestal | GF-101 |
| Drill press | Power Matic | 1 | 1150 | 91501109 | Good | Forrestal | GF-101 |
| Grinder | Porter cable | 1 | 547 | 4307210 | Good | Forrestal | GF-101 |
| Band Saw | Milwaukee | 1 | 6225 | 045712684 | Good | Forrestal | GM-174 |
| Generator | Honda | 1 | 4300H | H0005549 | Good | Forrestal | GA-205 |
| Flow Hood | Alnor Airflow measuring device | 1 | 534-513-303 | 3079 | Good | Forrestal | GM-174 |
| Multimeter | Fluke electrical metering device | 1 | 23III | 70621309 | Excellent | Forrestal | GM-174 |
| Temperature/Humidity Meter | Check-it Electronics Temperature/Humidity measuring device | 1 | 401 | 005719 | Good | Forrestal | GM-174 |
| Xerox 8830 Productivity Center (Plotter and Scanner) | Devices for producing construction drawings* | 1 | 8830 | NA | Good | Forrestal | 1F-027 |
| Data Logger | Amprobe Electrical power monitoring device* | 1 | DM-11 Pro | 004280 | NA | Forrestal | GM-174 |
| Digital Camera | Nikon Cool Pix* | 1 | 990 | 3116445 | Good | Forrestal | 1F-039 |
| Scanners | Symbol Barcode Scanners* | 10 | 8100 | SA0103544D, SA0103547C, SA0103544B, SA0103547W, SA0103519D, SA0103547I, SA0103544E, SA0103544V, SA0103544W, SA0103547L | Excellent | Forrestal | 1F-039 |
| Laptop | Dell Laptop Computer for EMCS * | 2 | Dell PP01X | 37728791749 35552009413 | Excellent | Forrestal | GM-174 GL-073 Locker Room |

GERMANTOWN HEADQUARTERS COMPLEX

| Item | Description | Quantity | Model Number | Serial Number | Condition | Geographical Location | Location |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Hand Tools, Tool Boxes, & Replacement Tools | Various Hand Tools Selections (By Trade) | 22 | NA | NA | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Oven Microwave | Magic Chef | 1 | DM5H3 | SO1262 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Air Conditioner Unit | Adapt, Inc. | 1 | 105FU1 | SO4172 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Cabinet Drum Safety | Justrite Mfg. Co. | 1 | 25661 | SO5982 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Vacuum Wet/Dry Stainless Steel | Shop Vac | 1 | 8040 | SO5997 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Vacuum Wet/Dry Stainless Steel | Vacuum Wet/Dry Stainless Steel | 1 | SHOP-VAC | SO5998 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drain Cleaner | Ridgid/Kollman | 1 | K38 | S08011 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drain Cleaner | Ridgid/Kollman | 1 | K1500B | SO8365 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Sprayer, Paint W/Air Control Unit | Sharpe Manufacturing Co. | 1 | 975HVLP | SO8995 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Radio, Portable Analog | Motorola | 1 | HT1000 | SO9454 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Radio, Portable Analog | Motorola | 1 | HT1000 | SO9455 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Radio, Portable Analog | Motorola | 1 | HT1000 | SO9456 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Saw | Black & Decker | 1 | 3103 | S13323 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Saw Electric 2 Speed | Porter-Cable | 1 | 739 | S14257 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Saw Electric 2 Speed | Porter-Cable | 1 | 739 | S14258 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Lockers | 70" X 17" X 15" | 26 | NA | NA | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Power Source, Smart U.P.S. | Apc | 1 | S1400NET | S15156 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Power Source, Smart U.P.S. | Apc | 1 | S1400NET | S15157 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Power Source, Smart U.P.S. | Apc | 1 | S1400NET | S15161 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Saw 15amp 12" Compound | Delta International K9740 | 1 | 36235 | S18162 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Vacuum Wet/Dry Heavy Duty | Milwaukee | 1 | 893820 | S21035 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 12 Volt | Dewalt | 1 | DW972 | S30187 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 12 Volt | Dewalt | 1 | DW972 | S30188 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 12 Volt | Dewalt | 1 | DW972 | S30189 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 12 Volt | Dewalt | 1 | DW972 | S30190 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 12 Volt | Dewalt | 1 | DW972 | S30191 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 12 Volt | Dewalt | 1 | DW972 | S30277 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 12 Volt | Dewalt | 1 | DW972 | S30278 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 12 Volt | Dewalt | 1 | DW972 | S30279 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 12 Volt | Dewalt | 1 | DW972 | S30280 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 12 Volt | Dewalt | 1 | DW972 | S30281 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill 1/2" | Dewalt | 1 | DW235G | S30282 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill 1/2" | Dewalt | 1 | DW235G | S30283 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 12 Volt | Dewalt | 1 | DW972 | S30806 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Jigsaw Variable Speed | Dewalt | 1 | DW313 | S32706 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Jigsaw Variable Speed | Dewalt | 1 | DW313 | S32707 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 12 Volt | Dewalt | 1 | DW972 | S32708 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 12 Volt | Dewalt | 1 | DW972 | S32709 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 12 Volt | Dewalt | 1 | DW972 | S32710 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 12 Volt | Dewalt | 1 | DW972 | S32711 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 12 Volt | Dewalt | 1 | DW972 | S32712 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 12 Volt | Dewalt | 1 | DW972 | S32713 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Radio, Portable Analog | Motorola | 1 | HT1000 | S34430 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Radio, Portable Analog | Motorola | 1 | HT1000 | S34431 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Radio, Portable Analog | Motorola | 1 | HT1000 | S34432 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Radio, Portable Analog | Motorola | 1 | HT1000 | S34433 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Radio, Portable Analog | Motorola | 1 | HT1000 | S34434 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Radio, Portable Analog | Motorola | 1 | HT1000 | S34435 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Radio, Portable Analog | Motorola | 1 | HT1000 | S34436 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Radio, Portable Analog | Motorola | 1 | HT1000 | S34437 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Radio, Portable Analog | Motorola | 1 | HT1000 | S34438 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Radio, Portable Analog | Motorola | 1 | HT1000 | S34439 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Radio, Portable Analog | Motorola | 1 | HT1000 | S34440 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Radio, Portable Analog | Motorola | 1 | HT1000 | S34441 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Vacuum Wet/Dry | Dayton Electric Manufacturing Co. | 1 | 32711G | S40815 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Computer | Dell | 1 | DHM | S45630 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Computer | Dell | 1 | DHM | S45640 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Computer | Dell | 1 | DHM | S45654 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Computer | Dell | 1 | DHM | S45655 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Saw Reciprocating | Dewalt | 1 | DWOO8K | S47274 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, Hammer Elect. | Dewalt | 1 | DW505 | S47275 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, Hammer Elect. | Dewalt | 1 | DW505 | S47276 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Compressor Air 30 Gal. | Craftsman | 1 | 919167300 | S47277 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Vacuum Canister | Eureka | 1 | 6999 | S51636 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Alignment Belt Tool | Skf | 1 | TMEB1 | S51637 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Alignment Belt Tool | Skf | 1 | TMEB1 | S51638 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Tool, Bearing Vibration | Skf | 1 | CMVL3600IS | S51639 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Rpm Pocket Tachometer | Monarch Instrument | 1 | NA | S51640 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Saw Circular | Porter Cable | 1 | 3681 | S60503 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Cutter, Pipe | Ridgid/Kollman | 1 | 32855 | S61201 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Cutter, Bolt | Ridgid/Kollman | 1 | 99010 | S61202 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Extractor, Pipe Screw | Ridgid/Kollman | 1 | 35590 | S61203 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Welder W/Gas Protection Or Flexcore Wire | Daytona Mig Corp. | 1 | IP21 | S61413 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill 1/2", Cap. Max No Load Speed | Skil | 1 | 6345 | S63292 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill 1/2", Cap. Max No Load Speed | Skil | 1 | 6345 | S63293 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill 1/2", Cap. Max No Load Speed | Skil | 1 | 6345 | S63295 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill 1/2", Cap. Max No Load Speed | Skil | 1 | 6345 | S63296 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill 1/2", Cap. Max No Load Speed | Skil | 1 | 6345 | S62906 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Grinder, 5" Guard Portable Hand Tool | Bosch | 1 | 1348 | S63333 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Saw Reciprocating | Black & Decker | 1 | 7580 | S67069 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Saw Reciprocating | Black & Decker | 1 | 7580 | S67070 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Planner | Buss | 1 | H | S67071 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Machine, Mortise | Lighting Manufacturer | 1 | 510E | S67072 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Sander Grinder | Skil | 1 | 9410 | S67147 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Sander Grinder | Skil | 1 | 9410 | S67148 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill 1/2", Cap. Max No Load Speed | Skil | 1 | 7554 | S67368 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Tool, Power Actuated | Hilti | 1 | DX36M | S67631 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Sander, Oscillating Rotary | Gothenburg | 1 | 2026 | S67697 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, Right Angle | Porter Cable | 1 | 7557 | S68549 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, Right Angle | Porter Cable | 1 | 7557 | S68550 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Compressor Air Portable | Ingersol-Rand | 1 | TID750 | S69698 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Saw Circular Heavy Duty | Milwaukee | 1 | CK JP | S72489 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Blower, Portable | Fasco | 1 | 400XLH | S73255 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Radio, Portable | General Electric | 1 | 72945 | S73276 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Tester -Voltage | Ideal | 1 | 61249 | S73294 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Walkie Talkie | Ritron | 1 | RPB15 | S73295 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Walkie Talkie | Ritron | 1 | JBC20 | S73296 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Walkie Talkie | Ritron | 1 | JBC20 | S73297 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Tester-Voltage | Ideal | 1 | 61249 | S73298 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Tester -Voltage | Ideal | 1 | 61249 | S73300 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Welder Flexcored And Mig Process | Lincoln Electric | 1 | SP100 | S73319 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Welder | Lincoln Electric | 1 | SP50 | S73320 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Hammer Demolition | Black & Decker | 1 | 5121 | S73547 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Hammer Brecker | Black & Decker | 1 | 5027 | S73548 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Sander Finisher | Porter Cable | 1 | 505 | S73986 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Sander Belt With Dust Bag | Porter Cable | 1 | 360 | S73987 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Saw Concrete | Bosch | 1 | 1333 | S74300 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Refrigerant Recovery/Recycling | Robinair | 1 | 17500B | S74501 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Mixer Concrete | Best | 1 | 4CM | S74583 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Refrigerant Recovery/Recycling | Robinair | 1 | 17600A | S75505 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Recorder, Temp/Humidity | Honeywell | 1 | 310612 | S75508 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Core Drilling System With Pump | Hilti | 1 | DCM15 | S76995 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Pumpout System With Squeege | Hako Minuteman | 1 | 39175 | S79229 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Meter Air Velocity With Portable Printer | Tsi Inc. | 1 | 8360 | S79607 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill 1/2" Chuck, Hand Tool | Porter Cable | 1 | 632 | S80015 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill 1/2" Chuck, Hand Tool | Porter Cable | 1 | 632 | S80018 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Sprayer, Paint | Graco | 1 | EM390 | S80706 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill Cordless With Charger | Skil | 1 | 2735 | S80707 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Saw Reciprocating | Black & Decker | 1 | 3105 | S80793 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Sander | Skil | 1 | 7582 | S80795 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill Press | Delta International | 1 | 20 | S83633 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Multimeter | Fluke | 1 | 12 | S83081 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Multimeter | Fluke | 2 | 10 | S83653, S83655 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Ice Maker With Dispenser | Manitowoc | 1 | SER450 | S84215 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Saw, Bench 10" | Delta International | 1 | 36540 | S84250 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 3/8 Hand Tool | Black & Decker | 1 | 1575 | S84329 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 3/8 Hand Tool | Black & Decker | 1 | 1575 | S84330 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 3/8 Hand Tool | Black & Decker | 1 | 1575 | S84331 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 3/8 Hand Tool | Black & Decker | 1 | 1575 | S84332 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 3/8 Hand Tool | Black & Decker | 1 | 1575 | S84333 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 3/8 Hand Tool | Black & Decker | 1 | 1575 | S84334 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, Hammer Elect. | Hitachi | 1 | TE14 | S84336 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Labelizer, Label & Sign Making Machine | W.H.Brady Co. | 1 | LABALIZERPLUS | S88257 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Saw, Variable Speed | Porter Cable | 1 | 637 | S88339 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, Hammer Elect. | Porter Cable | 1 | 7751 | S88340 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, Rotary Hammer W/ Dust Removal | Hilti | 1 | TE5 | S90008 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Saw Circular Cordless | Makita | 1 | 5090D | S90109 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Wrench, Pneumatic 1/2" Drive | Snap On Tool | 1 | 1M510B | S90132 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Riveter, Pneumatic | Snap On Tool | 1 | H302 | S90133 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Shaper, Woodworking 3ph, 3hp, W/Push | Delta International | 1 | 43372 | S90311 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Range, Electric 30" Self Cleaning | Westinghouse | 1 | GW30SPEW2 | S91111 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Range, Electric 30" Self Cleaning | Westinghouse | 1 | GW30SPEW2 | S91112 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Router, Underscribing | Bosch | 1 | 601608034 | S93538 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, Rotary Hammer W/ Dust Removal | Hilti | 1 | TE5 | S93556 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Router, Plunge, 3hp | Bosch | 1 | 1615 | S93760 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Router | Porter Cable | 1 | 1001 | S93862 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Router | Porter Cable | 1 | 1001 | S93899 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Recorder, Ventilation, Carbon Dioxide | Dickson | 1 | CO2X | S93946 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Refrigerator | Westinghouse | 1 | WRT18DGCWO | S97867 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, Hammer Elect. | Hilti | 1 | TE74 | S98731 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Sander, Drywall | Porter Cable | 1 | 7800 | S99297 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Vacuum, Dry Pick-Up | Euroclean | 1 | UZ932 | S99545 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Heater, Portable Oil Fired 55,000 Btu | Dayton Electric Manufacturing Co. | 1 | 2E511D | S99593 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 1/2" High Torque Variable Speed | Skil | 1 | 6650 | S99806 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 1/2" High Torque Variable Speed | Skil | 1 | 6650 | S99807 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, 1/2" High Torque Variable Speed | Skil | 1 | 6650 | S99808 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Air Conditioning System | Air Flow Co. | 1 | 24G2PC | 1008 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Air Conditioning System | Air Flow Co. | 1 | 24G2PC | 1009 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Air Conditioning System | Air Flow Co. | 1 | 24G2PC | 1010 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Air Conditioning System | Air Flow Co. | 1 | 24G2PC | 1011 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Air Conditioning System | Air Flow Co. | 1 | 24G2PC | 1012 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Machine, Threading | Ridgid/Kollman | 1 | 1224 | 1182 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Air Conditioner, Chilled Water | Liebert | 1 | CV068C | 1566 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Pressure Water Jetter Drain Cleaning | Aquablast | 1 | NA | 1755 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Generator, Portable, Load Bank | Avtron Mfg. | 1 | K696 | 44194 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Generator, Voltage Used To Control | Avtron Mfg. | 1 | K575 | 44195 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Generator, Voltage Used To Control | Avtron Mfg. | 1 | K575 | 44196 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Cabinet Blast | Skat Blast Inc. | 1 | 8481 | 46283 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Pump Gas W/7.5 Hp | Marlow | 1 | 3MLT | 46285 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Jointer Woodworking | Delta Rockwell | 1 | NA | 46814 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Saw, Band | Delta Rockwell | 1 | 283X5 | 46818 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Saw, Tilting | Dewalt | 1 | NA | 46819 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Sprayer, Exhaust System | Devilbiss | 1 | SPEC | 46820 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Shaker, Paint | Red Devil | 1 | SF33 | 46821 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Machine, Bending/Forming | Chicago | 1 | NA | 46824 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Generator, Portable, | Marquette | 1 | JG225L | 46826 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Pump, Centrifugal | Homelite | 1 | 121TPT | 46828 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Cleaner, Drain | Ridgid/Kollman | 1 | KM1500 | 46830 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill, Press Electric | Delta Rockwell | 1 | NA | 46831 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Cutter, Die Stock Thread | Ridgid Tools | 1 | 535 | 46833 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Grinder, Portable | Standard Electric | 1 | 101 | 46834 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Welder, Electric | Air Products | 1 | THFC3 | 46836 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Shears, Metal | Peckstow-Wik | 1 | G42A | 46839 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Lathe, Metal | South Bend Lathe Works | 1 | NA | 46840 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Press, Hydraulic | Otc Tool | 1 | NA | 46841 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Vacuum, Pump | Kinny | 1 | KC15 | 46845 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Meter, Volt, Combination | Simpson | 1 | 260 | 46872 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Machine, Pipe Bender | Greenlee | 1 | 775 | 46873 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Sander, Hand Block | Porter Cable | 1 | 330 | 46877 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Sander, Chain Drive | Porter Cable | 1 | 503 | 46880 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Saw, Jig | Bosch | 1 | H1582 | 46881 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Compressor, Air, With Spray Gun | Dayton Electric Manf. Co. | 1 | 5Z032A | 46888 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Saw, Scroll, 24" | Delta Rockwell | 1 | 40406 | 47328 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Drill Press 20" | Delta Rockwell | 1 | 20 | 47356 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Saw, Band | Delta Rockwell 14" | 1 | NA | 47357 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Machine, Floor Series 1 175 Rpm 20" | Pullman Holt | 1 | A20E | 47361 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Hoist, Electric Chain | Duff-Norton | 1 | EC2016 | 47362 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Vacuum, Asbestos | Hako Minuteman | 1 | C80315 | 47425 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Saw, Band | Greenlee | 1 | 1304 | 48652 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Saw, Band | Greenlee | 1 | 1304 | 48664 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Wrench, Pneumatic Impact | Black & Decker | 1 | 2298 | 48666 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Wrench, Impact | Ingersol-Rand | 1 | 2705A1 | 49116 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Vacuum Cleaner | Advance | 1 | S112 | 49129 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Router | Porter Cable | 1 | 5182 | 49133 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Router | Black & Decker | 1 | TYPE 2 | 49134 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Saw, Band, Harizon | Kalamazoo | 1 | H9AW | 49181 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Toolbox Non Powered Tools | American Kal Enterprises | 1 | NA | 49917 | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Various Size Ladders | Werner (Fiberglass) 6', 8', 10', 12', | 5 Each | NA | NA | Fair | Germantown, MD 20874 | 19901 Germantown Rd. |
| Digital Camera | Olympus | 1 | NA | 131104201 | Good | Germantown | R-006 |
| Oce Plotter and Scanner | Devices for producing construction drawings | 1 | 9000 | NA | Good | Germantown | E Corridor |

ALBANY RESEARCH CENTER

| Item | Description | Quantity | Model Number | Serial Number | Condition | Geographical Location | Location |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Plasma ARC Cutting System | NA | 1 | NA | L3837 | Good | Albany, Oregon | Building 11, RM 101 |
| Drying Oven | Materials preparation | 1 | NA | NA | Good | Albany, Oregon | Building 11, RM 101 |
| Varestraint Tester | NA | 1 | NA | 565FJ3099 | Good | Albany, Oregon | Building 11, RM 101 |
| Welding Package | NA | 1 | 300SM | 3M273585 | Good | Albany, Oregon | Building 11, RM 101 |
| Inverter power source | NA | 1 | XTRON 300 | KB001545 | Good | Albany, Oregon | Building 11, RM 101 |
| Oxygen Generator | NA | 1 | Aris | AS-45-1763 | Good | Albany, Oregon | Building 11, RM 101 |
| Industrial Welder | Welder | 1 | NA | 903-329-01 | Good | Albany, Oregon | Building 11, RM 101 |
| Industrial Welder | Sychrowave welder | 1 | NA | LA181957 | Good | Albany, Oregon | Building 11, RM 101 |
| Extreme Pressure Washer | Pressure washing | 1 | PW2000 | 268 | Good | Albany, Oregon | Building 12 |
| Welder & Undercarriage | Welding | 1 | DC-180-AS | A401107 | Good | Albany, Oregon | Building 12, RM000 |
| Steam Cleaner | Cleaner | 1 | NA | NA | Good | Albany, Oregon | Building 12, RM 000 |
| Threading Machine | Pipe threader | 1 | Rigid 800 | 8100193 | Good | Albany, Oregon | Building 5, RM 109 |
| Pressure Washer | Portable | 1 | NA | NA | Good | Albany, Oregon | Building 5, RM 108 |
| Sewer Sampler | Whitney Equipment | 2 | GLS | 201L01103, 201K01581 | Very Good | Albany, Oregon | Building 5, RM 109 |
| Core Drilling Machine | Core drill | 1 | NA | HOOD558133 | Good | Albany, Oregon | Building 5, RM 109 |
| Drilling Machine | Drilling holes | 1 | NA | NA | Good | Albany, Oregon | Building 5, RM 111 |
| Composite sampler | NA | 3 | 1580 | B-3137-29, 32, 33 | Good | Albany, Oregon | Building 5, RM 111 |
| Miller Winch System | Winch | 1 | 52-50G | 53462Y | Good | Albany, Oregon | Building 5, RM 111 |
| Personnel work platform | NA | 1 | NA | F0602553 | Excellent | Albany, Oregon | Building 6, RM 100 |
| Micro-volt Ammeter | Electrical meter | 1 | 153 | 38261 | Good | Albany, Oregon | Building 7, RM 000 |
| Oscilloscope | Electrical meter | 1 | 45 | 20789 | Good | Albany, Oregon | Building 7, RM 000 |
| Endcor receivers | NA | 1 | ST3B | NA | Good | Albany, Oregon | Building 7, RM 000 |
| Autoranging Digital Meter | Impedance meter | 1 | 253 | 45062 | Good | Albany, Oregon | Building 7, RM 000 |
| Electricity Monitor | Kilowatt hour | 1 | NA | 832607 | Good | Albany, Oregon | Building 7, RM 000 |
| Nanao Flexsca Monitor | NA | 1 | MA-1760-USM | C7384083 | Good | Albany, Oregon | Building 7, RM 000 |
| Biddle Megohmeter | Electrical meter | 1 | NA | 18677 | Good | Albany, Oregon | Building 7, RM 000 |
| Microvolt-Ammeter | Electrical meter | 1 | NA | 002-02526 | Good | Albany, Oregon | Building 7, RM 000 |
| Dell Computer | Computer | 1 | 166MHZ Pentium | 79HZP | Good | Albany, Oregon | Building 8, RM 102 |
| Hoist | 1 ton | 1 | NA | LW3312PS | Good | Albany, Oregon | Building 9, RM 100 |
| Infrared Temperature Meter | Weston Inc. | 1 | NA | 6 | Good | Albany, Oregon | Building 9, RM 101 |
| Electric Cart | Burden carrier | 4 | B | 62556, 14993 | Good, Excellent | Albany, Oregon | Building 9, RM 101& Building 5, RM 111 |
| Forklift | Toyota, Allis-Chalmbers | 2 | FP40-24 | 43250000 | Fair | Albany, Oregon | Buildings 22 & 11 |
| Desktop PC system | Dell (w/ Monitor) | 6 | Pentium | BY3Q201, 3082511,9XPV201,5HBZ201,79hZP, 3562591 | Very Good | Albany, Oregon | Buildings 8,9,11 |
| Hickok tube tester | Tube tester | 1 | 539-c | 396-01192 | Good | Albany, Oregon | Building 7, RM 000 |

Technical Exhibit 6-3: Government Provided Software and Systems

FORRESTAL HEADQUARTERS COMPLEX

| PWS Reference Number | Name of Program | Description |
| --- | --- | --- |
| 3.1.1.2 | AUTOCAD Architect Desktop 2000 | An electronic drafting software |
| 3.1.1.2.6 | Facility Information Management System (FIMS) | A facility and space database and management tool |
| 3.1.1.2.6 | Xerox Local Area Network (LAN) | A computer networking system in use within the Space Management Program |
| 3.1.1.3 | QBIC | A preventive maintenance database software program |
| 3.1.1.3 | APPLIX | A service call tracking software program |
| 3.1.1.3 | Siemens Building Technology Insight Apogee | A DDC energy management and control system for the HVACR systems |
| 3.1.2.1.2 | Trip Planner | A program used to plan and schedule travel itineraries |
| 3.1.2.1.3 | Travel Office Database (no name) | A database used to track the expiration of passports and visas |
| 3.1.2.2.2 3.1.2.4.3 | Fleet Management Information System (FMIS) | A program used to track vehicle preventative maintenance and process daily vehicle trip logs |
| 3.1.2.3.1 | Courier Electronic Signature Data System (CESDS) | A system used in support of the transportation area operations |
| 3.1.3.3.1, 3.1.3.1.3, 3.1.3.1.6, 3.1.3.2.2 | SUNFLOWER | A personal property inventory and management database system |
| 3.1.3.3.1 | Job Tracking System (JTS) | A database program used to track the status, performance dates, and other elements of printing jobs |

GERMANTOWN HEADQUARTERS COMPLEX

| PWS Reference Number | Name of Program | Description |
| --- | --- | --- |
| 3.2.1.1.3 | Maintenance Service Tracking System (MSTS) | A program used to monitor, update, and track facility problems and facility related complaints |
| 3.2.1.1.6 | Alterations/Renovations Tracking System (ARTS) | A facility information management and tracking program |
| 3.2.1.2 | AUTOCAD Architect Desktop 2000 | An electronic drafting software |
| 3.2.1.2.5, 3.2.2.4.1 - 3.2.2.4.3 | Facility Information Management System (FIMS) | A facility and space database and management tool |
| 3.2.1.2.5 | Xerox Local Area Network (LAN) | A computer networking system in use within the Space Management Program |
| 3.2.1.3 | QBIC | A preventive maintenance database software program |
| 3.2.1.3 | MSTS Tracking System | A maintenance service tracking system |
| 3.2.1.3 | Johnson Controls METASYS Network Control Unit System | A DDC energy management and control system for the HVACR systems |
| 3.2.2.3.1 | Courier Electronic Signature Data System (CESDS) | A system used in support of the transportation area operations |
| 3.2.2.3.1 | ETA Time and Attendance System | A system used to monitor labor hours and work statistics for DOE employees |
| 3.2.3.1.1, 3.2.3.1.3 - 3.2.3.1.6 | SUNFLOWER | A personal property inventory and management database system |
| 3.2.3.3.1 | Job Tracking System (JTS) | A database program used to track the status, performance dates, and other elements of printing jobs |

ALBANY RESEARCH CENTER

| PWS Reference Number | Name of Program | Description |
| --- | --- | --- |
| 3.3.3.1.1, 3.3.3.1.3, 3.3.3.1.4 | Property Acquisition Management System (PAMS) | A property data management program located at the NETL |

# Footnotes

The Siemens System is a proprietary system requiring the Service Provider to use the manufacturer’s representative service, components and materials.

The Siemens System is a proprietary system requiring the Service Provider to use the manufacturer’s representative service, components and materials.

The Johnson Controls METASYS EMCS system is a proprietary system requiring the Service Provider to use the manufacturer’s representative service, components and materials.

The Johnson Controls METASYS EMCS system is a proprietary system requiring the Service Provider to use the manufacturer’s representative service, components and materials.

F – Forrestal Building, CDC – Forrestal Child Development Center, S – Forrestal Satellite Sites (i.e. 950 – 950 L’Enfant Plaza, 955 – 955 L’Enfant Plaza, W – Ardmore-Ardwick Warehouse (Landover, MD))

Covers both Forrestal and Germantown – breakout is not possible.

G –Germantown Complex, CDC –Germantown Child Development Center, S –Germantown Satellite Sites (i.e., 20300 Century Blvd. and 20400 Century Blvd.), C- Cloverleaf Center 4 (20400 Century Blvd., Germantown, MD), and 270 – 270 Corporate Center (20300 Century Blvd., Germantown, MD).

Included in count from Forrestal on page 3-1-8.

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

( Priority Performance Standard

* The Service Provider shall possess an L Clearance upon Contract start date and shall be able to obtain a Q Clearance.

** For drivers of the four vehicles with classified phones (quantity of vehicles subject to change).

*** A Q Clearance is required for one staff member only.

* The Service Provider shall possess an L Clearance upon Contract start date and shall be able to obtain a Q Clearance.

* The Service Provider shall possess an L Clearance upon Contract start date and shall be able to obtain a Q Clearance.

*** A Q Clearance is required for one staff member only.

* The Service Provider shall possess an L Clearance upon Contract start date and shall be able to obtain a Q Clearance.

* Dual use – shared with the Government.

* Dual use – shared with the Government.

# Text boxes

* The Service Provider shall possess an L Clearance upon Contract start date and shall be able to obtain a Q Clearance.

*** A Q Clearance is required for one staff member only.