Topic List:

- Electrocoagulation and Passive Filtration -  Jim Mothersbaugh of Water Tectonics

Topic Summary:

Electrocoagulation and Passive Filtration - Jim Mothersbaugh of Water Tectonics

Jim has an extensive professional background in wastewater and storm water treatment technology including exploring tertiary treatment in the Tahoe Basin in 1970.  He founded the Seattle firm Water Tectonics, Inc. in 1999 which specializes in developing new storm water treatment technology to comply with strict federal and state discharge requirements in the state of Washington.  The goals of Water Tectonic, Inc. are to develop and produce user friendly, low maintenance treatment technology packages to meet specific needs.  Electrocoagulation is a storm water treatment technology that uses electrification of specific media plates within a treatment cell to cause coagulation of targeted dissolved metals, nutrients, and sub-micron particles by creating positively charged molecules to drawn negatively charged pollutant molecules into a larger coagulated solid mass.

Field studies of this technology reduced turbidity (from sediment) in storm water runoff from large construction sites (8.3 and 23 acres) to below 10 and frequently 5 NTUs. Electrocoagulation is used as part of a treatment train that removes course sediment prior to electrocoagulation and provides settling or filtering of coagulated particles after electrocoagulation.  An electrocoagulation cell can operate 24/7 without an operator because has totally computerized system controls to respond to varying flow rates (25 to 500 gpm) and total conductivity.  Unlike chemical coagulation, electrocoagulation requires less electricity to treat higher concentrations of target pollutants and electrocoagulation works well through a range of pH (pH insensitive). The challenge of treating low conductivity storm water may be improved by recycling a portion of the waste stream with higher conductivity through the electrocoagulation cell with the influent storm water.  No ecological toxicity is created in storm water treated with electrocoagulation based on bioassays with rainbow trout.  Examination of the coagulant produced by electrocoagulation, show that it is a tightly formed mass that has good stability.  The following total treatment train cost estimates were provided for a 300 gpm system:  electrocoagulation cell system = $250,000, solids separation system = $100,000 (for a total capital improvement cost of $350,000), and maintenance costs of $1.80 per 1000 gallons.  The maintenance cost is based on cell plate replacement costs with the assumption of a 500,000 gallon total cell life. While it is an electrical process, the actual demand is low, and typically runs 2 kilowatts per 1000 gallons (or 16¢/1000 gallons). The land requirements for such a system would include space for an 8’ by 20’ trailer to house the electrocoagulation cells and space for pre- and post- treatment settling basins (and/or sand filter).  Numerous collection and treatment train configurations of possible for utilizing electrocoagulation and Jim encourages interested parties to contact Water Tectonics, Inc for treatment option recommendations.

Jim also presented two other Water Tectonic’s/Royal Environmental Systems products, the pHat Box for providing automated pH treatment for regulations compliance, and the EcoStorm for treating collected storm water runoff for sediment and phosphorus.  The EcoStorm treats storm water by sedimentation (hydrocyclonic separator), adsorption to the modified porous concrete surface, chemical precipitation driven by the pH adjustment provided by the alkaline composition of the filter, and filtration.  The upward flow of storm water through the EcoStorm allows for gravity enhanced filter back flushing.  EcoStorm is designed to tie into drainage inlets (DIs) for storm water collection.  Jim informed us that the analysis standard for total suspended solids (TSS) is changing to reflect a better chemistry based understanding.  The presentation ended with treatment demonstrations of both electrocoagulation of a dissolved pollutant and sediment laden water through the EcoStorm.

For more information on the new technologies presented, go to: http://www.watertectonics.com/index.html, or contact Jim Mothersbaugh at: jim@watertectonic.com.

In Attendance:

Jay Aldean, HDR*

Nancy Alvarez, USGS- WRD*

Scott Brown, NTCD

Scott Carrol, CTC

Scott Cecchi, CTC

Jeff Curtis, ECO:LOGIC

Charlie Danohue, NDSL

Mike Elam, TRPA

Brendan Ferry, EDOT

Steve Goldman, CTC

Kim Gorman, Lahontan*

Elizabeth Harrison, NDSL

Mark Hoefer, JWA

Shannon Horgan, TRPA

Christine Kirick, Wood Rodgers

Erik Larson, TRPA*

Jason Kuchnicki, NDEP

Charlie Miller, Entrix

Steve Peck, Entrix

Greg Porter, CDM*

Dave Rios, NTCD*

Tim Rowe, USGS

Andrew Ryan, Pastor Ryan

Catherine Schoen, USFS*

Jessica Schwiwg, TRPA

Laurie Scribe, Lahontan

Mark Sedlock, CTC

Penny Stewart, CTC

Chuck Taylor, NRCS

Chris Twomey, c2me

Matt Vitale, NTCD

Rita Whitney, TRPA*

Russ Wigart, CTC

Next Agenda*:

# Text boxes

Total: 33 people, 18 affiliations

The next meeting will take place in the TRPA conference rooms on Wednesday January 7, 2007 at 9 AM.  Meetings are normally held on the first Wednesday morning of every month.

- Sand filter monitoring program and pilot test results

- Cattlemans Basin final USGS report

*subject to change – Please send agenda suggestions to cschoen@fs.fed.us

Important Announcement:

Round 7 Science proposal are due January 26, 2007.  For the detailed proposal criteria see the request for proposals (RFP) at: http://www.fs.fed.us/psw/ltb_rfp/RFP_5_Dec_06_.pdf.  Please be aware that the proposals do not have to relate to a current EIP listed project, but must relate to one of the six theme areas described in the RFP. Proposals must arrive at the Pacific Southwest Research Station, in Albany on or before 4:00 pm, Friday, January 26th, 2007.  All proposals must be submitted as Microsoft Word documents or as an Adobe Acrobat

(.pdf) files. Submit 1 digital copy of all documents via email and 3 hard copies of all

documents via overnight courier to:

Lake Tahoe Basin Research

c/o Imogene Holmes

USDA Forest Service

Pacific Southwest Research Station

800 Buchanan St.

West Annex Building

Albany, CA 94710

E-mail address: iholmes@fs.fed.us

Telephone contact for courier service (510) 559- 6377