Software Interface Specification (SIS) for the Lunar Prospector Spectrometer Planetary Data System Files, Version V002.2

Los Alamos National Laboratory Report LAUR-99-2754

D. J. Lawrence1, S. Maurice2, and W. C. Feldman1

1Los Alamos National Laboratory, Los Alamos, NM, USA

2Observatoire Midi-Pyrénées, Toulouse, France

This document describes the file formats and data processing used for the version 2.2 submission of Lunar Prospector Gamma-Ray Spectrometer (GRS), Neutron Spectrometer (NS) and Alpha Particle Spectrometer (APS) data to the Planetary Data System (PDS).  The complete Version 2 submission will be described in a future SIS document.

1.  Gamma-Ray Spectrometer (GRS) Calibration Data

1.1  Calibration Set up

Four isotopic sources of gamma rays were used for the calibration.   These sources, their strengths on the day of calibration (6 Nov., 1996), their distance to the center of the BGO crystal, and the rate of gamma-rays incident on the crystal (area = Ad) are given in Table I.

# Table I

Gamma-Ray Sources used for Calibration of the LPGRS on 11/6/96

Source			Source Strength (S)		Distance (d)		Sad/(4(d2)

Co-60			3.695 x 105 s-1			100 cm			8.57 s-1

Cs-137			3.928 x 105 s-1			100 cm			9.11 s-1

Yt-88			1.30 x 104 s-1			  50 cm			0.302 s-1

Na-22			2.875 x 105 s-1			100 cm			6.67 s-1

The calibrations using the Co-60 and Yt-88 sources were conducted with the GRS symmetry axis oriented perpendicular to the source direction, and those using Cs-137 and Na-22 were oriented at angles spanning -90o to +90o to the perpendicular at 15o  intervals.

1.2  Calibration Data Files

There are 32 data files in ASCII column format which contain the LP GRS calibration data.  The column format is as follows:

column 1:  channel number (0 – 511)

column 2:  calibrated energy in MeV

column 3:  number of accepted counts normalized to counts per 32 seconds

column 4:  number of rejected counts normalized to counts per 32 seconds

Definitions of accepted and rejected are given in references [1] and[2].

The file names have the following format:  run#_source_##_deg.dat, where

run#:  designating run number

source:  signifies which radioactive source was used

##_deg:  ## gives the angle of the source location—this angle ranges from -90 to +90.

2.	Neutron Spectrometer (NS)

The Version 2.2 NS data contains one primary data file:  NS_high2_V001.cdf.  This NS data file contains counting rate data for thermal and epithermal neutrons from Oct. 7, 1998 to Dec. 19, 1998.  This file is the completion of the high altitude NS data and contains data from the post-flip portion of the mission.  Descriptions of the NS data format, processing, and mission phase are given in the previous Version 1 and Version 2 SIS documents (references [3] and[4]).

3.	Alpha Particle Spectrometer (APS)

3.1  APS Data Contents

Since one purpose of the APS is to look for time variable lunar gas release events, the APS data is sorted by time instead of averaging into lunar latitude/longitude pixels.  The number of records is therefore not fixed, but is determined by the number of measured alpha particle counts.  Table 4 lists the contents of the APS data.  A description of each variable is given below.

sf:  The sf variable is an integer variable.  sf give the face number that was triggered by each alpha particle.  Figure 1 shows a diagram of how each APS face is orientated relative to the LP spacecraft.

lat:  Spacecraft longitude to the nearest 32-seconds.

lon:  Spacecraft height to the nearest 32-seconds.

hgt:  Spacecraft height to the nearest 32-seconds.

| Variable | Type | Unit | Description |
| --- | --- | --- | --- |
| sf | integer | <none> | APS face number having values from 1 to 5 |
| lat | float | degrees | Spacecraft latitude for nearest 32-seconds. |
| lon | float | degrees | Spacecraft longitude for nearest 32-seconds. |
| hgt | float | kilometers | Spacecraft height for nearest 32-seconds. |
| ERT | float | seconds since Jan 1, 1970 | Earth receive time for each alpha particle count. |
| ph | integer | channel | Pulse height value for each alpha particle count. |
| phi | float | degrees | Look angle from the orbital plane for each alpha particle count. |
| aps_acc | float | counts per 32-seconds | Number of accepted counts between ph channels 1 – 126 |
| aps_buffer | float | counts per 32-seconds | Number of counts in the event mode buffer for faces 1 – 5. |
| APS_scalar | integer | counts per 32-seconds | APS counting rate for the nearest 32-seconds. |

Table 4:  Contents of the APS.cdf file.

ERT:  Earth receive time for to the nearest 0.5 second for each of the alpha particle counts.  ERT is measured in seconds since January 1, 1970.

ph:  Pulse height value of each alpha particle count.  The ph variable is measured as a channel number having values from 0 to 127.  The channels cover an alpha particle energy range of roughly 4.5 – 6.6 MeV.

phi:  The phi variable gives the de-spinned phase angle of each face for each alpha particle count.  This angle is defined as the angle between normal of each face and the orbital plane.

aps_acc:  The aps_acc variable gives the number of counts, regardless of face, that occur for ph values of 1 – 126.

aps_buffer:  The aps_buffer variable gives the number of counts that are measured in the APS event buffer.  Since the event buffer can only measure up to 294 counts (see [2]), aps_buffer is never any larger than 294.

aps_scalar:  The aps_scalar variable gives the total number of APS events in the nearest 32-second data frame.

3.2  APS Data Processing

The main processing carried out with the APS data is to correct for the spacecraft spin using sunpulse and ephemeris data.  The result is a time series data set consisting of data for each alpha particle count.  These data include:  the pulse height value for each count (ph), the face where the count occurred (sf), and the direction the face was pointing (phi) relative to the plane of the spacecraft orbit.  Note, the top and bottom faces (faces 2 and 5) do not have a changing phi angle.  The orientation of these faces change with respect to the Moon only as a function of latitude.  These faces are therefore given phi angles of +1 (top face 2) and –1 (bottom face 5).  A description of the APS instrument can be found in reference [2].

3.3  APS Data Format

The APS data are stored as one file per day.  The naming convention for each file is as follows:

aps_YY_DOYstart_HHMMstart_DOYend_HHMMend.cdf

where

YY         = two digit year designation (i.e. 1998 = 98)

DOYstart     = three digit day of year for the start time of the file

HHMMstart = four digit hours/minutes for the start time of the file

DOYend     = three digit day of year for the end time of the file

HHMMend = four digit hours/minutes for the end time of the file.

The APS data is currently stored in Common Data Format (CDF).  This format has been described in a previous SIS [1].  A listing of the file contents is given aps-info.txt.  While the files have different lengths, each file contains the same variables.  CDF data files can be read from a variety of platforms using a variety of software languages.  The Interactive Data Language (IDL) procedure called load_cdf.pro (written by the LP spectrometer team and submitted to the PDS) can read the APS data files inside the IDL environment.  For example, to read the ph and phi CDF variables into the PH and PHI IDL variables from the file aps_98_180_0000_98_181_0000.cdf, do the following commands:

IDL>  load_cdf,’aps_98_180_0000_98_181_0000.cdf’,’ph’,PH

IDL>  load_cdf,’aps_98_180_0000_98_181_0000.cdf’,’phi’,PHI

4.  Summary of Data Files

The following files make up the Version V002.2 LP spectrometer data submission:

Data files:

- Gamma-ray calibration data		run##_source_angle.dat

- Thermal and epithermal neutron data	NS_high2_V002.cdf

- Alpha particle data		aps_YY_DOYstart_HHMMstart_DOYend_HHMMend.cdf

Content of data files:

## Neutron data 						NS_high2_V002-info.txt

## Alpha particle data					APS-info.txt

5.  References

[1]   W. C. Feldman, B. L. Barraclough, K. R. Fuller, D. J. Lawrence, S. Maurice, M. C. Miller, T. H. Prettyman, and A. B. Binder, The Lunar Prospector Gamma-Ray and Neutron Spectrometers, Nuclear Instruments and Methods in Physics Research A, 422, 562 – 566, 1999.

[2]  W. C. Feldman, D. J. Lawrence, S. Maurice, B. L. Barraclough, K. R. Fuller, R. Belian, Lunar Prospector Spectrometers Instrument Description Document, Los Alamos National Laboratory Report, LAUR-99-2752, 1999.

[3]  D. J. Lawrence, S. Maurice, and W. C. Feldman, Software Interface Specification (SIS) for the Lunar Prospector Spectrometer Planetary Data System Files, Version V001, Los Alamos National Laboratory Report LAUR-99-2753, 1999.

[4]  D. J. Lawrence, S. Maurice, and W. C. Feldman, Software Interface Specification (SIS) for the Lunar Prospector Spectrometer Planetary Data System Files, Version V002, Los Alamos National Laboratory Report LAUR-99-2754, 1999.

# Text boxes

face 4

face 3

face 2 (top)

face 5 (bottom)

To spacecraft

face 1

Figure 1:  APS Detector view from top spin axis of the Lunar Prospector spacecraft.