# SOP 20

RESEARCH INVOLVING INVESTIGATIONAL DEVICES

## 1.0	PURPOSE AND SCOPE

1.0	To establish a policy for the use of investigational devices at the Ralph H. Johnson VA Medical Center.

2.0 	POLICY

2.1	The Department of Veterans Affairs clinical investigations of medical devices are subject to Federal regulations and unless exempted under certain specified conditions, are required to comply with Investigational Device Exemption (IDE) regulations as outlined in 21CFR812. VA investigators are expected to fulfill all of the responsibilities delineated in the FDA regulations. Investigational devices in use at this institution must be stored, secured, and dispensed in accordance with specific device requirements and as outlined in the research project. Principal Investigators are responsible for the appropriate storage, security, dispensing, and use of investigational devices. Investigational devices may only be used at the Ralph H. Johnson VA Medical Center after the research project and associated documentation have been approved by the Institutional Review Board (IRB) and the Research & Development Committee (R&D), excluding exceptions for the emergency use of an unapproved medical device as outlined in this policy.

3.0	DEFINITIONS:

3.1	An Investigational Device as defined by the FDA is a device that is the object of an investigation [21CFR812.3(g)]. Investigational devices include transitional devices (21CFR812.3(r)) that are objects of investigations. According to VHA Handbook 1200.5, July 15, 2003, (3.j.), an investigational device may be an approved device that is being studied for an unapproved use or efficacy.

3.2	An Unapproved Device is defined as a device that is used for a purpose or condition for which the device requires, but does not have, an approved application for pre-market approval under section 515 of the Federal Food, Drug, and Cosmetic (FD&C) Act [21 U.S.C. 360 (e)]. An unapproved device may be used in human subjects only if approved for clinical testing under an approved application for an Investigational Device Exemption (IDE) under section 520 (g) if the Act [21 U.S.C. 360(j)(g)] and 21CFR part 812. Medical devices that have not received marketing clearance under section 510(k) of the FD&C Act are also considered unapproved devices.

3.3	A Non-significant Risk Device is one that does not present significant risk to the human subjects.

3.4	A Significant Risk Device is one that presents a potential for serious risk to the health, safety or welfare of the human subjects. [21CFD812.3(m)] Such a device is:

(1) Intended for use as an implant;

(2) Used in supporting or sustaining human life;

(3) Intended for a use that is of substantial importance in diagnosing, curing, mitigating or treating disease, or otherwise preventing impairment of human health; or

(4) One that otherwise presents a potential for serious risk to the health, safety, or welfare of subjects.

4.0	 RESPONSIBILITIES:

4.1	The Associate Chief of Staff for Research & Development is responsible for developing and managing policies and procedures related to the use of investigational devices at the RHJVAMC.

4.2	The Research and Development Committee is responsible for the initial and continuing review of the scientific quality and appropriateness of and approving or disapproving the research projects involving investigational devices with human subjects.

4.3	The Institutional Review Board is responsible for approving or disapproving research projects involving investigational devices in accordance with the procedures outlined in 5b below.

4.4	Principal Investigators are responsible for:

(1) Submitting the scientific protocol and all required documentation, including the informed consent form and the Investigational Device Information Sheet D to the IRB and R&D Committee review prior to beginning the study.

(2) Submitting continuing review documentation and all adverse events to the IRB and R&D in a timely manner.

(3) Using the investigational device only after notification of IRB and R&D approval and informed consent is obtained.

(4) Adhering to the Investigational Device Exemption regulations at 21CFR812. Research projects involving non-significant risk devices must adhere to the abbreviated requirements at 21CFR812.2 (d).

(5) Providing secure storage for all investigational devices according to their storage requirements.

(6) Ensuring proper dispensing and utilization of the investigational devices as defined in the research project proposal.

5.0	 PROCEDURES:

5.1	A research project proposal must be submitted to and approved by both the IRB and R&D prior to use of the investigational device. An IDE must be obtained from the sponsor for significant risk devices prior to project review.

(1) Submit all of the required documentation to the IRB and R&D for review.

(2) Store the investigational device in a locked and secured area as outlined in the research protocol.

(3) Dispense and use of the investigational device is limited to appropriate personnel as outlined in the research protocol.

(5) Obtain and document informed consent for each individual prior to using the investigational device.

(6) Maintain the appropriate research records and tracking of the investigational device per 21 CFR812.140.

(7) Report the protocol modifications to the IRB immediately.

5.2	IRB and R&D Review of Medical Devices

(1) The IRB and/or R&D Committee must determine whether an investigational device is either of Significant Risk (SR) or Non-Significant Risk (NSR).

(a) The determination of level of risk of the device is based on the proposed use of the device and not on the device alone.

(b) The designation of NSR for a device is independent of the designation of a study as minimal risk.

(c) The IRB and/or the R&D Committee makes its decision of significant or non-significant risk level of the device based on the review and evaluation of the following:

i. the risk evaluation provided by the sponsor or sponsor-investigator;

ii. investigator’s brochure, if applicable;

iii. federal regulations;

iv. the MUSC IRB Device Information Sheet D

v. any additional correspondence regarding the device that may be from the FDA, sponsor, and/or investigator;

(d) The IRB and/or R&D may determine a device to be SR even if the sponsor considers the device to be NSR. If the sponsor indicates that the device is NSR, but the IRB or R&D determines it to be SR, then the sponsor must obtain an Investigational Device Exemption from the FDA.

(e) Because NSR studies do not require an IDE, a clinical investigation involving an investigational device classified by the sponsor as NSR may be submitted to an IRB for review without an IDE. The sponsor should provide the IRB and or R&D with a risk assessment and the rationale used in making its NSR risk determination.

(f) If the sponsor or FDA has determined a device to be SR, the IRB must also consider the device to be SR during the IRB review.

(g) The rationale for the IRB’s and/or R&D Committee NSR/SR determination must be documented in the IRB/R&D minutes.

(2) The IRB and/or R&D Committee must initially review the risk/benefit ratio of all non-significant and significant risk devices compared to alternative devices and procedures.

(3) Expedited Review

(a) Research projects involving significant risk devices do not qualify for expedited review during the initial review.

(b) Research projects involving significant risk devices may be considered for expedited review during the continuing review, if the IRB determines it to be consistent with the research categories published in the Federal Register, Vol. 63, No.216, 11/09/1998: Expedited review of significant risk device studies is allowed at continuing review under certain specified

conditions.

(4) The IRB must determine the frequency of review for research projects involving investigational devices.

(5) The IRB and/or R&D Committee must review the risk/benefit ratio of the device compared to alternative devices and procedures and approve or disapprove on a continual basis, research projects involving investigational devices.

(6) The IRB and/or R&D Committee may only approve significant risk device studies only after an IDE approval is obtained by the sponsor. In instances where the sponsor has appropriately obtained a 510(k) or Humanitarian Use Device designation, the IRB and/or R&D Committee may only approve these studies once these approvals have been obtained and verified with the IRB and/or R&D Committee.

(7) The IRB and/or R&D Committee will notify the investigator and/or sponsor of the review decisions, actions and any needed modifications regarding the research project.

(a) If a device study is submitted as SR and the IRB and/or R&D Committee verifies that IDE approval has been obtained by the sponsor, the IRB and/or R&D Committee does not have to notify the sponsor or investigator of the SR determination.

(b) If the IRB and/or R&D Committee determines the investigational device to be significant risk and the sponsor has not obtained IDE approval from the FDA, the IRB and/or R&D Committee will notify the sponsor and investigator of its determination in writing.

(8) The IRB and/or R&D Committee must maintain records for reviewed research project in accordance with the IRB Standard Operating Procedures, which is in accordance with 21CFR56.

M. Rita I. Young

Associate Chief of Staff for Research