# Overview of MuTr FEE System

## FEE Connections:

## Channel and Board Counts—South Arm

|  | 1S |  | 2S |  | 3S |  | South Total, 2 gaps in St 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| cathode strips | 96 | strips per oct per plane | 160 | strips per oct per plane | 256 | strips per oct per plane |  |
|  | 4608 | strips-1S | 7680 | strips-2S | 8192 | strips-3S-2gp | 20480 |
| cables, 16 strips read per cable | 6 | cables per oct per plane | 10 | cables per oct per plane | 16 | cables per oct per plane |  |
|  | 288 | cables-1S | 480 | cables-2S | 512 | cables-3S-2gp | 1280 |
| CROC | 10 | CROC/oct | 16 | CROC/oct | 16 | CROC/oct-2gp |  |
|  | 20 | CROC/qu |  |  |  |  |  |
|  | 80 | CROC-1S | 128 | CROC-2S | 128 | CROC-3S-2gp | 336 |
| chassis | 5 | per quad | 4 | per oct | 6 | per oct-2gp |  |
|  | 20 | chass-1S | 32 | chass-2S | 48 | chass-3S-2gp | 100 |
| backplane | 5 | per quad | 4 | per oct | 6 | per oct-2gp |  |
|  | 20 | chass-1S | 32 | chass-2S | 48 | chass-3S-2gp | 100 |
| Controller | 10 | per quad | 8 | per oct | 8 | per oct-2gp |  |
|  | 40 | Controller-1S | 64 | Controller-2S | 64 | Xtrollr-3S-2gp | 168 |
| Glink2Clink module | 2 | G2C module per quad | 2 | G2C module per oct | 2 | G2C mod/oct | 40 |
| (fans out 1(5) | (8 total) |  | (16 tot.) |  | (16 tot.) |  |  |
| T+FC | 2 | per quad | 2 | per oct | 2 | per oct | 40 |
| GTM fanout | 1 mod. |  | 2 mod. |  | 2 mod. |  | 5 modules |
| (8 chan./mod.) |  |  |  |  |  |  |  |
| ARCNet fibers | 3 | per station | 4 | per station | 5 | per station | 12 |
| ARCNet hub |  |  |  |  |  |  | 1 |
| Clink2Glink module | 1 | C2G module per quad | 1 | C2G module per oct | 1 | C2G mod/oct, 2 or 3 gp | 20 |
| (5 tx/rx pairs/board) |  |  |  |  |  |  |  |
| LVDC | 1 | per quad | 1 | per oct | 1 | per oct | 20 |
| distn. Cards |  |  |  |  |  |  |  |

## Channel and Board Counts—North Arm

|  | 1N |  | 2N |  | 3N |  | North Total, 2 gaps in St 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| cathode strips | 96 | strips per oct per plane | 192 | strips per oct per plane | 320 | strips per oct per plane |  |
|  | 4608 | strips-1N | 9216 | strips-2N | 10240 | strips-3N-2gp | 24064 |
| cables, 16 strips read per cable | 6 | cables per oct per plane | 12 | cables per oct per plane | 20 | cables per oct per plane |  |
|  | 288 | cables-1N | 576 | cables-2N | 640 | cables-3N-2gp | 1504 |
| CROC | 10 | CROC/oct | 18 | CROC/oct | 20 | CROC/oct-2gp |  |
|  | 20 | CROC/qu |  |  |  |  |  |
|  | 80 | CROC-1N | 144 | CROC-2N | 160 | CROC-3N-2gp | 384 |
| chassis | 5 | per quad | 5 | per oct | 7 | per oct-2gp |  |
|  | 20 | chass-1N | 40 | chass-2N | 56 | chass-3N-2gp | 116 |
| backplane | 5 | per quad | 5 | per oct | 7 | per oct-2gp |  |
|  | 20 | chass-1N | 40 | chass-2N | 56 | chass-3N-2gp | 116 |
| Controller | 10 | per quad | 9 | per oct | 10 | per oct-2gp |  |
|  | 40 | Controller-1N | 72 | Controller-2N | 80 | Xtrollr-3N-2gp | 192 |
| Glink2Clink module | 2 | G2C module per quad | 2 | G2C module per oct | 2 | G2C mod/oct | 40 |
| (fans out 1(5) | (8 total) |  | (16 tot.) |  | (16 tot.) |  |  |
| T+FC | 2 | per quad | 2 | per oct | 2 | per oct | 40 |
| GTM fanout | 1 mod. |  | 2 mod. |  | 2 mod. |  | 5 modules |
| (8 chan./mod.) |  |  |  |  |  |  |  |
| ARCNet fibers | 2 | per station | 4 | per station | 4 | per station | 10 |
| ARCNet hub |  |  |  |  |  |  | 1 |
| Clink2Glink module | 1 | C2G module per quad | 1 | C2G module per oct | 2 | C2G mod/oct, 2 or 3 gp | 28 |
| (5 tx/rx pairs/board) | 4 total |  | 8 total |  | 16 total |  |  |
| LVDC | 1 | per quad | 1 | per oct | 1 | per oct | 20 |
| distn. Cards |  |  |  |  |  |  |  |

### Chassis

Each chassis contains up to 4 CROCs, 2 Controller boards, and one backplane. This is the equivalent of 2 FEMs, with 1 FEM being comprised of 1 Controller board and 2 CROC boards.  Half-chassis contain 2 CROCs, 1 Controller board and one backplane.

South arm:

- 5 chassis / quadrant at station 1

- 4 chassis / octant at station 2

- 6 chassis / octant at station 3

North arm:

- 5 chassis / quadrant at station 1

- 5 chassis / octant at station 2

- 7 chassis / octant at station 3

### Glink2Clink

Each Glink2Clink board will fan 1 T+FC optical fiber signal into 5 copper signals.  One T+FC signal is required for each Controller Board.  For ease of installation, have an integral number of Glink2Clink boards per quadrant or octant (North is listed in parentheses):

- Station 1: 10 controller boards/quadrant ( 2 Glink2Clink board/quadrant

- Station 2: 8(9) controller boards/octant ( 2 Glink2Clink board/octant

- Station 3: 8(10) controller boards/octant ( 2 Glink2Clink boards/octant

Total = 8 + 16 + 16 = 40 Glink2Clink boards.

The locations of these boards is in Glink/Clink crates mounted on the back of the magnet and on the ledges of the magnet on the South Arm. One Glink/Clink crate has been determined to hold 4 Glink2Clink cards and 2 Clink2Glink cards.  This will service 1 station 2 plus 1 station 3 octant or half of station 1.

### T+FC

Timing and Fast Control signal goes to the Glink2Clink boards, which fan the signal out to the controller boards—one signal per controller board.  This signal will come from the GTM fanout modules which ONCS will provide

### GTM fanout

We need up to 200 copies of the T+FC signal for our controller boards.  The Glink2Clink fanout boards reduce this to 40 according to the above calculation under Glink2Clink.  According to ONCS, they can fanout up to 64 signals and this is done with modules which have 8 channels per module (do they daisy-chain between modules?), so one fanout from them will be enough for the South arm, 5 modules in the fanout (6 if they daisy-chain between modules).

### ARCNet fibers, ARCNet hubs

We require one ARCNet fiber for each controller board, or up to 200 fibers.  ONCS says that we can daisy-chain up to 16 fibers together.  This means that we need the following numbers of fibers for the three stations:

- Station 1: 40 controller boards/16 = 3 fibers

- Station 2: 64(72) controller boards/16 = 4 fibers

- Station 3: 64(80) controller boards (depending on the number of chassis populated)/16 = 4 fibers

Total = 3 + 4 + 4 fibers = 11 fibers.  ONCS says that one ARCNet hub can provide up to 14 fibers which will be enough to cover the three South arm stations, so we need one ARCNet hub for the South Arm.

### Clink2Glink

Each Clink2Glink board contains 5 pairs of receiver/transmitters to turn cathode data to optical fiber for the DCMs.  For “Day 1” we will daisy-chain 2 controller boards together and send the data from the pair to one DCM, which means that 1 Clink2Glink board can service 10 Controller Boards.  For ease of installation, have integral number of Clink2Glink boards per quadrant or octant:

- Station 1: 5 chassis/quadrant ( 1 Clink2Glink board/quadrant

- Station 2: 4(5) chassis/octant ( 1 Clink2Glink board/octant

- Station 3: 6(7) chassis/octant ( 1 Clink2Glink boards/octant for South, 2 boards/octant for North

South Total = 4 + 8 + 8 = 20 Clink2Glink boards.  These boards will be in Glink/Clink crates which hold 4 Glink2Clink boards and 2 Clink2Glink boards.  Therefore, 1 crate will service 1 station 2 octant plus 1 station 3 octant, or 1/2 of station 1.

North Total = 4 + 24 = 28 Clink2Glink boards if 3 boards are used for each St. 2/3 octant pair.

### LVDC

The low voltage power supplies for the Controller Cards, CROCs, Glink/Clink Cards will be located on the platform.  Distribution cards will also be located on the platform racks, and have the capability of fanning an input voltage out to 10 output voltages.  One LVDC input is required for each Controller Board, which distributes the power also to two CROCs.  This means that the number of LVDC channels required for the FEMs is:

South:

- Station 1: 40 controller boards, 40/10 = 4 low voltage distribution cards

- Station 2: 64 controller boards, 64/10 = 8 low voltage distribution cards (8 to give 1 per octant)

- Station 3: 64 controller boards, = 8 low voltage distribution cards

North:

- Station 1: 40 controller boards, 40/10 = 4 low voltage distribution cards

- Station 2: 72 controller boards, 72/10 = 8 low voltage distribution cards (8 to give 1 per octant)

- Station 3: 80 controller boards, = 8 low voltage distribution cards

The above total is 20 low-voltage distribution cards.

The Glink/Clink crates will require 5 power supply lines per crate.  There will be 8 crates to service Stations 2 and 3 and 2 crates for Station 1.   This means that the Glink/Clink cards will require (5 lines)*(10 crates)/(10 lines per distribution board) = 5 distribution boards.

The North arm Glink/Clink crates will require 3 power supply lines per station 2 crate, 4 power supply lines for station 3 crates, and 10 lines for the 2 station 1 crates.  This gives a total of 7*8 + 10 = 66 lines required for the North arm.  In order to keep station 2 and 3 separated, this should come from 1 distribution card for station 1, 3 distribution boards for station 2 and 4 distribution boards for station 3(?).

The number of channels required for the alignment system is 56/10 = 6 distribution cards.

The total number of LV distribution cards required for the SOUTH ARM is therefore 20 + 5 + 6 = 31 cards.

The total number of LV distribution cards required for the NORTH ARM is therefore 20 + 8 + 6 = 34 cards.

## Rack Space and Power Requirements

### Rack Specs

Default ¾ rack size is 1400 x 600 x 1000 mm (height x width x depth).  We can assume that out of the 1400mm height, 48” (1219mm) of rail space will actually be available.  Each rack will contain one Power Bucket  The Power Bucket is the size of a NIM bin:  273mm deep x 220 mm (8.75”) high.  This leaves 39.25” of vertical spaced available in each rack.  For each crate in a rack, you must also have one fan unit and one radiator.  Each of these are 1U size (1.75”).

### High Voltage Power Supplies

There will be 4 HV inputs per octant-plane at Stations 2 and 3 and 8 HV inputs per octant-plane at Station 1, or  4*(8*3 + 8*2) + 8*8*3 = 352 channels of HV for the South arm.  Each HV card can provide 24 channels of HV( we need 15 cards of HV.  This apparently fits into 1 rack which is at least 100 cm deep and is 14” high.

### ARCNet Hub

This requires 6” of vertical space and is ½ crate in width.

### T+FC Fanout

One 6U card contains 8 channels.  We need 40 copies which means 5 (6 if daisy-chaining between fanouts) cards would be sufficient. This easily fits in one 6U crate which is 10.5” high.  These cards will share the VME crate that is used for the calibration system since the calibration system does not require all the slots in the crate.

### LVDC Power requirements and Space

FEMS:

Recent results from the FEM prototype indicate that 3 amps is sufficient per FEM, ~200 FEMs ( 600 amps required.  Voltage required is 5 volts, but ~7.5 volts needed when you take into account IR drops and LDO input of 5.5 Volts.  This means (600 amps)*(7.5 volts) = 4.5 kW of power for FEM modules.  Using our distribution cards, this should come from 20 channels of LVDC.

#### Glink2Clink

Power estimate from Manny is 5.66 watts per channel on the Glink2Clink boards.  There are 5 channels on a board, giving 28.3 watts per board.  We need 40 boards, giving a total power requirement of 1.13 kW which should come from 5 channels of power supply if we use our LVDC distribution cards. 5 volts is required at board, supply should be ~6 volts.

#### Clink2Glink

Power estimate from Manny is 5.47 watts per channel on the Clink2Glink boards.  There are 5 channels on a board, giving 27.4 watts per board.  We need 20 boards, giving a total power requirement of 0.55 kW which should come from 3 channels of power supply if we use our LVDC distribution cards.  5 volts is required at board, supply should be ~6 volts.

North Glink/Clink crates:

For Station 2, one crate will require one Rx board, one Arcnet board and 2 Tx boards and the power required by these boards is one 6V, ~3.3Amp line to supply 5V to the Rx board, one 6V line to supply 5V for the ARCNet and Tx boards, and one 6V line to supply 3.3V.  Assume ~3.3amps per line gives (3.3amps)*(6volts)*(3 lines) ~ 60 Watts of power.  For Station 3, 2 Rx boards, 2 Tx boards and 1 ARCNet board are required.  The power lines required would be one 6V line for each of the Rx boards, one 6V line to provide 5V for the Tx boards and one 6V line to provide 3.3V.  This would give a total power requirement of approximately (3.3 amps)*(6 volts)*(4 lines) = 80 Watts per Station 3 crate.  The total number of 3.3Amp lines required would be 7*8 + 2*5(for station 1) = 66 lines.  This would come from 8(?) distribution boards.

#### Alignment Cameras

The cameras draw ~210 mA per camera (per Jiro, Aug. 99).  We need 56/10 = 6 channels worth of power to go to our distribution cards, and a total of ~15 Amps at 12 Volts (0.18 kW).

We need space to hold power supplies for the above, plus LVDC distribution cards which will be 6U size (10.5”).  Power supply size is 6U = 10.5” high, and 537 mm (21.1") deep.

### LV Distribution Crate

The low-voltage distribution cards will be made to fit into a 6U VME crate (10.5" high) and the current design for the board requires a depth of 36 cm (14.2").  Two of these crates will be required to provide power for the FEMs, Glink/Clink crates, and alignment cameras.

### Slow Controls VME Crate

This crate will receive analogue and binary ancillary-systems input. 14” high (?)

### Alignment System

The CCD cameras of the alignment system will go into a Keithley switching system which will allow the analysis software to look at one camera output at a time.  This switching module (7001) is a box that is 8.9 cm high x 21.6 cm wide x 37.5 cm deep (3.56" x 8.5" x 14.76")

### Optical Fiber Patch Panel

One ONCS patch panel will hold 144 fibers, and it is 7” high and the width of a rack.  We will need one fiber for each chassis for DCM connections, or 100 fibers.  We need 2 copies (?) of the T+FC signal, and we need ARCNet connections for the FEMs and for the HV system.  Ethernet connections and connections to the ADAMs in the racks will also be provided through this patch panel.

### Nitrogen and Water maninfolds

Located on the back of the magnet(no rack space required

### Chamber Gas System

This will be located on the back of the magnet, lower western corner.

### Calibration System

One 6U VME crate will be used to hold the calibrations system cards.  The number of cards in this system is___ and it will be combined with the T+FC modules into one 6U crate.  A patch panel is also required for the calibration system.  It will be ___ x ___ x ___ in size and will be put into the same rack as the calibration crate.

## Summary

Table 1 summarizes the rack space required.  If High Voltage, ARCNet and T+FC are put into one crate (requires 1041 mm) with the patch panel in the back of the crate, 2 LVDC crates and a LVDC distribution card crate are put in a second rack (1111 mm), and a Slow Controls crate, calibration crate and the camera switching are put into a third rack (889 mm), it appears that 3 racks will be sufficient.

The figures below show the expected rack layout for the North Muon Arm:

The figures below show the expected rack layout for the South Muon Arm: