OMB Approval 2700-0042

|  | 1. CONTRACT ID CODE | PAGE OF PAGES |
| --- | --- | --- |
| AMENDMENT OF SOLICITATION/MODIFICATION OF CONTRACT |  | 1 | 2 |
| 2. AMENDMENT/MODIFICATION NO. | 3. EFFECTIVE DATE | 4. REQUISITION/PURCHASE REQ. NO. | 5. PROJECT NO. (If applicable) |
| 2 | Ref. Block 16C. | N/A |  |
| 6. ISSUED BY | CODE | 64 | 7. ADMINISTERED BY (If other than Item 6) | CODE |  |
| NASA/OFFICE OF PROCUREMENT JOHN C. STENNIS SPACE CENTER STENNIS SPACE CENTER, MS 39529-6000 | SAME AS BLOCK 6 |
| 8. NAME AND ADDRESS OF CONTRACTOR (No. Street, county, State and ZIP: Code) | (() | 9A. AMENDMENT OF SOLICITATION NO. |
|  |  | RFO 13-SSC-O-02-28 |
| TO ALL RECIPIENTS OF RFO 13-SSC-O-02-28 | X | 9B. DATED (SEE ITEM 11) |
|  |  | APRIL 18, 2002 |
|  |  | 10A. MODIFICATION OF CONTRACT/ORDER NO. |
|  |  | 10B. DATED (SEE ITEM 13) |
| CODE | FACILITY CODE |  |  |
| 11. THIS ITEM ONLY APPLIES TO AMENDMENTS OF SOLICITATIONS |
| The above numbered solicitation is amended as set forth in Item 14. The hour and date specified for receipt of Offers is extended, is not extended. Offers must acknowledge receipt of this amendment prior to the hour and date specified in the solicitation or as amended, by one of the following methods: (a) By completing Items 8 and 15, and returning one (1) copy of the amendment; (b) By acknowledging receipt of this amendment on each copy of the offer submitted; or (c) By separate letter or telegram which includes a reference to the solicitation and amendment numbers. FAILURE OF YOUR ACKNOWLEDGMENT TO BE RECEIVED AT THE PLACE DESIGNATED FOR THE RECEIPT OF OFFERS PRIOR TO THE HOUR AND DATA SPECIFIED MAY RESULT IN REJECTION OF YOUR OFFER. If by virtue of this amendment you desire to change an offer already submitted, such change may be made by telegram or letter, provided each telegram or letter makes reference to the solicitation and this amendment, and is received prior to the opening hour and data specified. |
| 12. ACCOUNTING AND APPROPRIATION DATA (If required) |
| N/A |
| 13. THIS ITEM APPLIES ONLY TO MODIFICATIONS OF CONTRACTS/ORDERS, IT MODIFIES THE CONTRACT/ORDER NO. AS DESCRIBED IN ITEM 14. |
| (() | A. THIS CHANGE ORDER IS ISSUED PURSUANT TO: (Specify authority) THE CHANGES SET FORTH IN ITEM 14 ARE MADE IN THE CONTRACT ORDER NO. IN ITEM 10A. |
|  | B. THE ABOVE NUMBERED CONTRACT/ORDER IS MODIFIED TO REFLECT THE ADMINISTRATIVE CHANGES (such as changes in paying office, appropriation date, etc.) SET FORTH IN ITEM 14, PURSUANT TO THE AUTHORITY OF FAR 43.103(b). |
|  | C. THIS SUPPLEMENTAL AGREEMENT IS ENTERED INTO PURSUANT TO AUTHORITY OF: |
|  | D. OTHER Specify type of modification and authority) |
| E. IMPORTANT: Contractor is not, is required to sign this document and return copies to the issuing office. |
| 14. DESCRIPTION OF AMENDMENT/MODIFICATION (Organized by UCF section headings, including solicitation/contract subject matter where feasible.) The purpose of this amendment is to provide answers to questions received from potential offerors and extend the closing date for receipt of offers. Accordingly, RFO 13-SSC-O-02-28 is amended as follows: "The closing date for receipt of offers is extended through May 10, 2002." 2. "Answers to questions are provided." |
| Except at provided herein, all terms and conditions of the document referenced in Item 9A or 10A, as heretofore changed, remains unchanged and in full force and effect. |
| 15A. NAME AND TITLE OF SIGNER (Type or print) | 16A. NAME AND TITLE OF CONTRACTING OFFICER (Type or print) |
|  | James D. Huk II Contracting Officer |
| 15B. CONTRACTOR/OFFEROR | 15C. DATE SIGNED | 16B. UNITED STATES OF AMERICA | 16C. DATE SIGNED |
| ________________________________________________ (Signature of person authorized to sign) |  | BY _____________________________________________ (Signature of Contracting Officer) |  |

NSN 7540-01-152-8070		30-105	STANDARD FORM 30 (REV. 10-83)

PREVIOUS EDITION UNUSABLE		Computer Generated	Prescribed by GSA

FAR (48 CFR) 53.243

RFO13-SSC-O-02-28

Page 2 of 2

ANSWERS TO QUESTIONS

| No. | Question | Response |
| --- | --- | --- |
| 1 | Section 2.0: Is a copy of SSC Drawing 54000-GP11, Packaging and Preservation of Cleaned Components” available? | An electronic copy in PDF format is enclosed for review. |
| 2 | Section 6.0: Does the Contractor provide tubing and isolation valves? | Both gas tube trailers shall be configured with a 6,000-psig isolation valve on each cylinder. These valves shall be removed for cylinder cleaning and temporarily packaged per 54000 GP11 to maintain their cleaning level. After cylinder cleaning, the Contractor shall re-install the valves on each cylinder and provide the 20-psig-gas blanket as per the transportation requirements of paragraph 7.B. |
| 3 | Section 6.0: Is the Contractor responsible for leaking testing each tube to 6,000 psig | NASA shall leak test the cylinders and new manifold to 6,000 psig at SSC. The Contractor is not responsible for leaks or leak testing at 6,000 psig or any components installed by NASA. |
| 4 | Section 7.0. Who is responsible for the cost of transporting the equipment from Stennis to the Contractor facility? | The Contractor is responsible for transporting both gas tube trailers (TT-216-HE and TT-217-HE) to the Contractor’s facility and back to Stennis. Both trailers were certified to be road worthy per DOT requirements September, 2001 |
| 5 | What is the weight and dimensions of one of the gas tube trailer? | The skid length is 37’-4”, width is 8’-0”, and its height is 8’-0”. Electronic drawings are not available. The skid weight is approximately 53,000 lbs |
| 6 | Will SSC provide a crane for loading the skid? | A crane is not necessary to move these trailers. Both trailers were certified to be road worthy per DOT requirements September, 2001 |
| 7 | Is external coating removal and re-painting included in the scope of work? | Paint shall be removed from areas where surface pitting or corrosion is suspect. Repaint cylinder with a finish coat. |
| 8 | Are there any drawings showing the exact configuration of the gas tube trailers? | Drawings and pictures of the gas tube trailers are attached. |
| No. | Question | Response |
| 10 | Is there information on the cylinder outlet? | NASA does not have manufacturing drawings on each tube. However, the outlet on the cylinders appears to be 1-inch NPT. |
| 11 | Are there any solvents not listed in the SSC Standard 79-001 that are approved for use to meet Level 1 Cleanliness Levels? | Ensolv was recently added to the list of approved solvents for precision cleaning and verification for this Skid. |

All potential offerors shall provide the following with their offers:

- Proposed project schedule with start and stop dates.

- Location where the skid shall be cleaned.

- Copies of detailed cleaning procedure that meets SSC Standard 79-001 Level 1 requirements.