Guidelines for submission of Genomic DNA to the DOE Joint Genome Institute

The JGI is committed to successfully completing your project and from many years experience has learned that DNA quality (molecular weight and concentration) and quantity are two of the most critical components in the success of sequencing projects.

To aid in the success of your project, we mail you a Standards Kit & Protocol for performing the DNA gel QC procedure REQUIRED before submitting DNA to the JGI for sequencing. The protocol, “Genomic DNA QC” will accompany the kit, or you may refer to it here: http://my.jgi.doe.gov/general/index.html

The instructions that accompany the kit include a protocol for performing the DNA gel QC, examples of acceptable and unacceptable DNA preps, and the procedure for having your DNA approved for submission to the JGI.

If you questions or concerns about JGI specifications for DNA, please contact jgi_project_management@lanl.gov and your project manager.

JGI Starting Material Specifications: Purity

For prokaryotes, the starting culture should be axenic, strain pure, and started from a single colony or from a culture diluted to extinction.  It may not be possible to assemble a genome that is not derived from an axenic and strain pure culture.  If an axenic and strain pure culture is not possible, description and justification is required.

For eukaryotes, the starting DNA should be free of contaminants and/or symbionts, should have < 5% organelle DNA, and < 1% polymorphism wherever possible. If a haploid form for the organism exists this is preferable.   It may not be possible to assemble a genome that is derived from a contaminated or polymorphic sample.

Uncontaminated – RNA blobs and discrete bands

require clean-up. Please refer to recommended RNAse I clean-up protocol: http://my.jgi.doe.gov/general/index.html

JGI Starting Material Specifications: Quantity

- 75 – 100 ug of high molecular weight genomic DNA (HMW gDNA) for whole genome shotgun projects. If the organism’s genome size is > 200MB, then 200 ug HMW gDNA is required.

Quantity of gDNA should be measured by agarose gel using the DNA standards kit provided. Please refer to the “Genomic DNA QC” protocol: http://my.jgi.doe.gov/general/index.html

JGI Starting Material Specifications: Quality

- High molecular weight – The bulk of the gDNA prep must be larger than the 23KB lambda Hind III marker on an agarose gel. In order to construct a fosmid library the majority of the gDNA should be ~40kb.

- The concentration of resuspended gDNA must be >= 100 ng / ul as judged by agarose gel / mass markers.  See the “Genomic DNA QC” protocol for more information.

JGI Starting Material Specifications: Shipping

Prior to shipping samples to the JGI, the gDNA prep must first be reviewed & approved. Complete the appropriate RI (http://my.jgi.doe.gov/general/gettingstarted.html) and email it along with a well-labeled gel image of your gDNA prep to your project manager. See the “Genomic DNA QC” protocol for detailed instructions on running the QC gel or find the complete JGI protocol: http://my.jgi.doe.gov/general/index.html.

Format for shipping in order of preference:

- Resuspended in TE (10 mM Tris, ph 7.5 – 8, EDTA 0.1 mM) at >= 100 ng/ul shipped on dry ice

- Ethanol pellet shipped at RT or on wet ice.  Note some ethanol pellets the JGI has received will not spin down and resuspend.

- Dry pellet shipped at RT or on wet ice.  Note most dry pellets the JGI has received will not resuspend.

DNA should be shipped to the JGI in one tube.  The tube should be legibly labeled with

- Genus, species, strain,

- Name of PI on Proposal,

- Concentration,

- prepped date, and

- Name or initials of primary contact (primary contact indicated in “JGI Required Information” form).

If the DNA prepared in multiple preps, each prep should be QC’ed separately, and good preps pooled into one tube for shipping to the JGI.

Please Note: JGI procedures such as (CTAB) for isolating prokaryotic HMW gDNA and various eukaryotic HMW protocols are available on the following website: http://my.jgi.doe.gov/general/index.html

Elution of genomic gDNA from Qiagen columns often yields gDNA that is sheared to a MW of ~ 20KB and is therefore not recommended for whole genome shotgun sequencing projects.

Beware of poor quality enzymes as they are sometimes contaminated with genomic DNA from enzyme source microbes.

Quality control-gel electrophoresis conditions:

http://my.jgi.doe.gov/general/index.html

please see: “Genomic DNA QC.doc”

To determine MW, mass and concentration, run a 0.75 - 1% agarose gel at 1-3 v/cm for 3 hrs - overnight, using the narrowest comb available.  Use lambda / Hind III markers and mass standards (mass standards can be lambda markers if they are quantified, although dilutions of uncut lambda are probably best).  The gDNA should be > 23 KB lambda marker with some gDNA held up in the well.  Smearing below the 23 KB marker is bad. RNA blobs are bad. Please see examples of passing & failed DNA below A picture of this gel should be emailed to the JGI contacts prior to shipment of the DNA.  A standards kit will be provided.

You are ready for the next step: http://my.jgi.doe.gov/general/gettingstarted.html

Step 3: Required Information Spreadsheets.

# Text boxes

1

2

3

7

8

9

5

4

6

Lane 1: 15ng standard (5ul)

Lane 2: 31ng standard (5ul)

Lane 3: 63ng standard (5ul)

Lane 4: Marker 2 (5ul)

Lane 5: DNA sample (1ul loaded: 300ul total volume)

Lane 6: Marker 2 (5ul)

Lane 7: 125ng standard (5ul)

Lane 8: 250 ng standard (5ul)

Lane 9: 500ng standard (5ul)

Appendix 1:

1

2

3

7

8

9

5

4

6

10

11

12

Lane 1: Marker 2 (3ul)

Lane 2: 15ng standard (5ul)

Lane 3: 31ng standard (5ul)

Lane 4: 63ng standard (5ul)

Lane 5: Marker 2 (3ul)

Lane 6: Organism #1 (1ul loaded: 200ul total volume)

Lane 7: Organism #2 (1ul loaded: 350ul total volume)

Lane 8: Marker 2 (3ul)

Lane 9: 125ng standard (5ul)

Lane 10: 250ng standard (5ul)

Lane 11: 500ng standard (5ul)

Lane 12: Marker 2 (3ul)

Appendix 2:

Appendix 3:

DNA that Failed JGI DNA QC: RNA, Bad Quality, LMW

RNA contamination present, can treat with RNAse I to remove

MW of DNA must be >40kb

23kb

DNA degraded and/or sheared

Some smearing present, but bulk of DNA >23kb band

DNA passed JGI DNA QC:

HMW, No RNA, Good Quality, Sufficient Quantity