CHEMICAL SAFETY

1.0	Objective

The objective of this surveillance is to ensure that practices for handling, storing, and using  chemicals provides effective protection for the health and safety of employees.  The surveillance includes evaluation of compliance with chemical safety standards and requirements applicable to operations at DOE facilities.

2.0	References

DOE 5480.4, Environmental Protection, Safety and Health Protection Standards

DOE O 440.1A, Worker Protection Management for DOE Federal and Contractor Employees

DOE G 440.1-1, Worker Protection Management for DOE Federal and Contractor Employees Guide

DOE G 440.1-3, Occupational Exposure Assessment Implementing Guide

DOE-HDBK-1100-96, Chemical Hazard Analysis

DOE-HDBK-1101-96, Process Safety Management for Highly Hazardous Chemicals

29 CFR 1910.106, Flammable and Combustible Liquids

29 CFR 1910.119, Process Safety Management of Highly Hazardous Chemicals

29 CFR 1910.1200, Hazard Communication

29 CFR 1910.1450, Occupational Exposures to Hazardous Chemicals in Laboratories

29 CFR 1910.132, Personal Protective Equipment, General Requirements

48 CFR 970.5204-2, Integration of Environment, Safety, and Health Into Work Planning and Execution

10 CFR 830.120, Quality Assurance

National Fire Protection Association, Standard 45, Fire Protection for Laboratories Using Chemicals

American Conference of Governmental Industrial Hygienists, Threshold Limit Values for Chemical Substances and Physical Agents and Biological Exposure Indices

For PHMC facilities the following additional references could be used:

HNF-PRO-587, Laboratory Safety

HNF-PRO-368, Laboratories

HNF-PRO-578, Hazard Communication

HNF-PRO-699, Receiving, Storing, and Handling Chemicals

HNF-PRO-2258, Chemical Management

HNF-PRO-580, Process Safety Management

HNF-PRO-360, Fire Protection/Prevention for Construction, General Occupancy, and Demolition Activities

HNF-PRO-079, Job Hazard Analysis

3.0	Requirements Implemented

This surveillance is conducted to implement the requirements of the RL Functions, Responsibilities, and Authorities Manual (FRAM), number 1561, and DOE O 440.1A and DOE 5480.4

4.0	Surveillance Activities

This surveillance involves separate activities relating to the hazard communication program, storage of chemicals, and evaluation of field work.

Activity 1 -  Evaluate the general hazard communication program, including documentation and training, MSDS availability, worker exposure control, etc.

Activity 2 - Observe chemical storage locations and storage practices.

Activity 3 - Observe work activities involving handling or use of chemicals.

Surveillance Guideline

CHEMICAL SAFETY

Surveillance No.:

Facility:

Date Completed:

Activity 1:	Evaluate the general hazard communication program, including documentation and training, MSDS availability, worker exposure control, etc.

Yes  No  N/A

___  ___  ___  1.	Is there a written hazard communication program which addresses labeling and other forms of warning, material data safety sheets (MSDS), and employee information and training?  29 CFR 1910.1200(e)(1)

___  ___  ___ 2.    Is there a list of hazardous chemicals known to be present that also provides a reference to appropriate MSDSs?  29 CFR 1910.1200(e)(1)(i); 29 CFR 1910.1200(h)(2)(iii)

___  ___  ___ 3. 	Is the hazard communication program available to all employees?  29 CFR 1910.1200(e)(4)

___  ___  ___ 4.	Are MSDSs readily available during each work shift to employees in their workplace for each hazardous chemical?  29 CFR 1910.1200(g)(1); 29 CFR 1910.1200(e)(8); 29 CFR 1910.1450(h)(1)(ii)

___  ___  ___ 5.	Do employees receive effective information and training on hazardous chemicals in their work area or with which they work?  29 CFR 1910.1200(h)(1); 29 CFR 1910.1450(f)(1)

- Does the training include the physical and health hazards of the chemicals including exposure limits?  29 CFR 1910.1200(h)(3)(ii); 29 CFR 1910.1450(f)(3)(iii); 29 CFR 1910.1450(f)(4)(i)(B)

- Does the training include measures employees can take to protect themselves from the chemical hazards (procedures, work practices, and PPE)?  29 CFR 1910.1200(h)(3)(iii); 29 CFR 1910.1450(f)(4)(i)(C)

- Does the training include the details of the hazard communication program, including an explanation of the labeling system, MSDSs, and how employees can obtain and use hazard information?  29 CFR 1910.1200(h)(3)(iv); 29 CFR 1910.1450(f)(3)(v)

___  ___  ___ 6.	Have the employees been informed of the location and availability of the written hazard communication program, the required list of chemicals, and the location of MSDSs?  29 CFR 1910.1200(e)(1)

___  ___  ___ 7.	Do employers ensure that employees do not exceed OSHA Permissible Exposure Levels (PEL) or American Conference of Governmental Industrial Hygienist Threshold Limit Values (TLV), whichever is more restrictive?  29 CFR 1910.1450(c); DOE O 440.1A, Section 4.l; DOE O 440.1A, Attachment 2, Section 12.g

___  ___  ___ 8.	Do employers measure employee exposure to chemicals if it is believed that action levels or PELs may have been exceeded?  29 CFR 1910.1450(d)(1); 29 CFR 1910.1450(d)(2)

___  ___  ___ 9.	Do employers notify employees of monitoring results within 15 workdays of receipt of such information?  29 CFR 1910.1450(d)(4)

___  ___  ___ 10.	Do employers have a Chemical Hygiene Plan for laboratory use of chemicals (laboratory use - laboratory scale, multiple chemicals/procedures, non-production chemical use, standard laboratory protective practices)?  29 CFR 1910.1450(e)(1)

- Is the Chemical Hygiene Plan capable of protecting employees from health hazards associated with hazardous chemicals?  29 CFR 1910.1450(e)(1)(i)

- Does the Chemical Hygiene Plan provide provision for keeping exposures below limits?  29 CFR 1910.1450(e)(1)(ii)

- Is the Chemical Hygiene Plan readily available to employees?  29 CFR 1910.1450(e)(2)

- Does the Chemical Hygiene Plan identify standard operating procedures relevant to safety and health considerations for handling chemicals?  29 CFR 1910.1450(e)(3)(i)

- Does the Chemical Hygiene Plan provide criteria used to determine and implement control measures to reduce employee exposure the hazardous chemicals?  29 CFR 1910.1450(e)(3)(ii)

- Does the Chemical Hygiene Plan provide requirements that fume hoods and other protective equipment function properly?  29 CFR 1910.1450(e)(3)(iii)

- Does the Chemical Hygiene Plan contain provisions for employee information and training relative to chemical hazards?  29 CFR 1910.1450(e)(3)(iv)

___  ___  ___ 13.	Do training records substantiate that workers have received required training on hazard recognition and control related to chemical safety?  29 CFR 1910.1200(h)(3)(i); 29 CFR 1910.1450(f)(1)

Activity 2:	Observe chemical storage locations and storage practices.

Yes  No  N/A

___  ___  ___ 14.	Is each container containing a hazardous chemical labeled, tagged or marked with the identity of the chemical, and appropriate hazard warnings?  (Labels are not required on portable containers into which chemicals are transferred from labeled containers and which are intended only for the immediate use of the employee who made the transfer.)  29 CFR 1910.1200(f)(5); 29 CFR 1910.1200(f)(7); 29 CFR 1910.1450(h) (1)(i)

___  ___  ___15.	Are the labels on containers legible and prominently displayed?  29 CFR 1910.1200(f)(9); 29 CFR 1910.1450(h)(1)(i)

___  ___  ___ 16.	Do containers and portable tanks containing flammable and combustible liquids meet 29 CFR 1910.106(d), Table H-12 size requirements?  29 CFR 1910.106(d)(2)(iii)

___  ___  ___ 17.	Is each portable tank containing flammable/combustible liquid provided with a means of venting to limit internal pressure to less than 10 psig?  29 CFR 1910.106(d)(2)(ii)

___  ___  ___ 18.	Do flammable storage cabinets contain less than 60 gallons of Class I or Class II liquids, or less than 120 gallons of Class III liquids?  29 CFR 1910.106(d)(3)(i)

___  ___  ___ 19.	Are flammable storage cabinets conspicuously labeled "Flammable Keep Fire Away"?  29 CFR 1910.106(d)(3)(ii)

___  ___  ___ 20.	Does the flammable storage cabinet meet the design requirements of 29 CFR 1910.106(d)(3)(ii)(a)?

___  ___  ___ 21.	Do flammable storage rooms meet the requirements of 29 CFR 1910.106.(d)(4) for room design, quantity of liquid stored, ventilation, storage spacing requirements, electrical wiring, etc.?

___  ___  ___ 22.	Are suitable fire control devices, such as fire extinguishers, available at locations where flammable or combustible liquids are stored?  29 CFR 1910.106(d)(7)(i)

___  ___  ___ 23.	Are incompatible chemicals/materials segregated to prevent accidental contact with one another?  NFPA Standard 45, 7-2.3.4

___  ___  ___ 24.	Is the minimum amount of hazardous chemical necessary for work stored in the open in the laboratory work area?  NFPA Standard 45, 7-2.3.1

___  ___  ___ 25.	Are safety showers and/or an eyewash stations provided within the work area for immediate emergency use? 29 CFR 1910.151(c)

Activity 3:	Observe work activities involving handling or use of chemicals.

Yes  No  N/A

___  ___  ___ 26.	Are users of flammable/combustible liquids familiar with the hazard classification of the liquid?  29 CFR 1910.1200(h)(3)(ii)

___  ___  ___ 27.	Is bonding used when transferring Class I flammable liquids between two conductive containers of greater volume than 1.1 gallon?  29 CFR 1910.106(e)(6)(ii); NFPA Standard 45, 7-2.2.8

___  ___  ___ 28.	Has the maintenance work package or work activity been reviewed by representatives of the safety and/or environmental organizations for appropriate safety and environmental controls? 29 CFR 1910.132(d)(2); 48 CFR 970.5204-2(b)(5)

___  ___  ___ 29.	Was an appropriate job safety analysis performed for the work activity, identifying the hazards and implementing controls? 29 CFR 1910.132(d)(1); 48 CFR 970.5204-2(b)(5)

___  ___  ___ 30.	Do the work instructions address use of specific personnel protective equipment such as safety glasses with side shields, rubber gloves, aprons, etc.? 29 CFR 1910.132(d)(1)(i); 29 CFR 1910.1200(h)(3)(iii); 29 CFR 1910.1450(f)(4)(ii)

___  ___  ___ 31.	Do the work instructions include procedures in sufficient detail to ensure the safety and health of the workers? 29 CFR 1910.1200(h)(3)(iii); 29 CFR 1910.1450(e)(3)(i); 48 CFR 970.5204-2(b)(6)

___  ___  ___ 32.	Were potential chemical hazards discussed with workers during the pre-job brief? 29 CFR 1910.1200(h)(3)(ii)

___  ___  ___ 33.	Are workers using the personal protective equipment specified in the work instructions or procedures while performing the activity? 29 CFR 1910.132(a); 10CFR 830.120(c)(2)(i)

___  ___  ___ 34.	Do workers follow instructions/procedures prescribed in the work package? 10CFR 830.120(c)(2)(i)

___  ___  ___ 35.	Can workers describe the chemical hazards associated with the work they are performing? 29 CFR 1910.1200(h)(3)(ii); 29 CFR 1910.1450(f)(4)(i)(B)

___  ___  ___ 36.	Were workers provided the opportunity to review and understand the MSDSs for chemicals associated with the activity? 29 CFR 1910.1200(h)(1); 29 CFR 1910.1200(h)(2)(iii)

___  ___  ___ 37.	Can workers describe the correct response to an emergency involving chemical hazards? 29 CFR 1910.1200(h)(2)(iii); 29 CFR 1910.1450(f)(4)(i)(C)

NOTE

The Facility Representative should avoid interrupting maintenance personnel performing work on systems containing hazardous chemicals.  The Facility Representative should wait for opportune times to conduct business with Facility Operators.

OTHER:

NOTES/COMMENTS:

PERSONNEL CONTACTED:

PROCEDURES REVIEWED:

FINDINGS:

Finding No.:

Description:

OBSERVATIONS:

Observation No.:

Description:

FOLLOWUP ITEMS:

CONTRACTOR MANAGEMENT DEBRIEFED AND RESULTS:

Signature:  ___________________________________	Date: _____/_____/_____

Facility Representative