# Home Enteral Nutrition

# Standards for Patient Education

Patient and/or caregiver will receive education and provide a return demonstration for the following: Feeding product preparation and administration. Sanitation techniques for preparation, storage, infusion. Use and maintenance of equipment and infusion methods. Cleaning techniques for tube handling and site care. Recognition of and appropriate response to complications. Patients and/or caregivers will receive education materials. Process will include periodic reassessment and retraining.

# Home Enteral Nutrition Education Checklist

PURPOSE AND INSTRUCTION:	This Checklist will:

1.	Assist in identifying instructional responsibilities.

2.	Aid in teaching patients and caregivers the skills needed to perform Home Enteral Nutrition.

Clinical staff (nurses, physicians, dietitians) will collaborate to teach the patient about tube feeding administration and care of tubing and equipment.

Date & initial each section when instruction/demonstration is completed.  
Document all education on the shared Patient Education template.

# Implementation of Home Enteral Nutrition Education

The Registered Nurse will educate the patient in the following:

|  | Discuss | Demonstrate | Return Demonstration by Patient/Caregiver |
| --- | --- | --- | --- |
| Give Home Tube Feeding Guide to patient and/or caregiver |  |  |  |
| Complete page 1 in Guide |  |  |  |
| Discuss the purpose of tube feeding |  |  |  |
| Instruct in how to administer tube feedings and check residuals |  |  |  |
| Instruct in how to administer medications through feeding tube |  |  |  |
| Instruct in skin care, oral care, and trouble shooting tips. |  |  |  |
| Feeding tube care |  |  |  |
| Feeding bag care |  |  |  |
| Syringe care (if used) |  |  |  |
| Feeding pump care (if used) |  |  |  |

# Feeding product & Fluids

# The Registered Dietician will educate the patient in the following:

Inform patient of the type of feeding product to be provided

Discuss purpose, type, amount, feeding product  and concentration

Discuss fluid needs

Discuss preparation of feeding product

Discuss administration schedule

Discuss weight exceptions

Discuss possible complications and when to contact the doctor.

HOME TUBE FEEDING GUIDE Michael E. DeBakey VA Medical Center Houston, Texas

| Patient Name |  |
| --- | --- |
| Feeding Product Name |  |
| Type of feeding tube | G-tube PEG PEJ NGT J-tube |
| Date tube was placed |  |
| Description of tube placed |  |
| Length of tube (from insertion site to end) |  |
| Total Amount to be given daily | cans/units |
| Daily nutritional content of feeding | calories |
|  | protein |
| Amount/rate of feeding product |  |
| Feeding times |  |
| Total Amount of Water to be Given Daily |  |
| Amount of Water for flushing tube |  |

Directions: Flush feeding tube with 30 ml of warm water before and after each feeding or medication given through the feeding tube. Flush the tube with 25-35ml (1/8 cup) of warm water every ___ hours during feeding. For PEGs only, check residuals every ___hours. Mixing Directions (if any) ______ _______________________ Doctor: __________________________________________________________ Dietitian: Dial the main hospital number 713-791-1414, request extensions: Mary J. Carr, MS, RD, Extension 3976 Nancy Baker, RD, CDE, Extension 4295 Alicia Merritt, RD, Extension 6166 TeleCare: 1-800-639-5137 Extension 2458 to speak to a registered nurse. Community Support: The Oley Foundation for Home Parenteral and Enteral Nutrition (800) 776-OLEY www.oley.org

WHAT IS TUBE FEEDING?

During the normal eating process, food passes through the mouth into the esophagus and then goes into the stomach.  The mouth and esophagus are bypassed during a TUBE FEEDING.  The liquid tube feeding product goes directly into either the stomach or the jejunum.

Tubes placed in the STOMACH are either gastrostomy tubes or percutaneous endoscopic gastrostomies (also referred to as PEG).  Tubes sometimes must be placed in the jejunum which is a section of the small intestine.  These tubes are called jejunostomy tubes (also referred to as J-tubes or PEJ).  If tube feeding is needed for a short time period, feeding tubes placed through the nose are used.  These are called nasoenteric tubes and can be placed in either the stomach or the jejunum.

The feeding tube stays in your 
stomach or jejunum all the 
time.  The picture shows 
where a G-tube (or PEG) and J-tube 
(or PEJ) are placed.

# HOW TO PREPARE TUBE FEEDING

- Always wash your hands with soap and warm water.

- Gather all the equipment you will need:

| room temperature feeding product | wall hook or clothes hanger |
| --- | --- |
| feeding bag | clean cloth, towel, or paper towel |
| syringe (if needed) | 1 cup warm (tepid) water |

- Prepare the feeding product as directed by your health care provider.

- Wash the top of the can with hot water and shake the can well

- Cover any unused feeding product, write the date on the container, and place it in the refrigerator.  Once container is opened, throw away refrigerated feeding product after 24 hours.

# Common Measurements

When measuring water and tube feeding product, you can use the following chart to convert milliliters to cups or ounces.

| milliliters (ml) | Cups | Ounces |
| --- | --- | --- |
| 30 | 1/8 | 1 |
| 60 | 1/4 | 2 |
| 120 | 1/2 | 4 |
| 240 | 1 | 8 |

WHERE TO DO THE TUBE FEEDING

# Somewhere comfortable and safe:

- Sitting in a chair

- Propped up in bed or on a couch in a

- Half-sitting position with head raised 30 
degrees or more (equivalent to 2 pillows)

WARNING!! DO NOT lie flat during your feeding. WAIT at least one (1) hour after your feeding before you lie down.

# GIVING YOUR TUBE FEEDING

Most tube feedings given in the home setting are by gravity which means there is no need to have a feeding pump.  This is preferred because it  allows people to continue normal daily activities when feeding is done.

(	Gravity Feedings

- Using a hanger or hook, hang the feeding bag above head level.

- Flush the feeding tube with warm water in the amount specified by your health care provider.  Do this by placing water in the feeding bag (or syringe if recommended by the healthcare professional).

- Remove the protective cap from the end of the feeding bag.

- Insert the tip of the feeding bag tubing into the feeding tube.

- Open the clamp on the feeding bag. Allow water to infuse and then close the clamp (or gently push in water with syringe).

- Add feeding product to bag as instructed by your nurse.

- Slowly open the clamp on the feeding bag. Use the clamp to adjust the flow rate if needed.

- Close the clamp when finished.

- Repeat steps 2 and 3 to flush the tube with additional warm water.

- Disconnect the feeding bag and clamp or plug the feeding tube.

- Wash bag with liquid soap and warm water, rinse well, & air dry.

- Store in a clean covered container or wrap in a clean towel until next use.  Discard bag every 3-4 days and replace with new.

- Pump Feeding

- When there is a possibility you will be away from home when you need to receive your tube feeding, take your feeding pump and at least a 24 hour supply of feeding product.

- Check the feeding bag to make sure it is attached to the pump properly.

- Add only enough feeding product for 4-6 hours.

- Remove the protective cap from the end of the feeding set.

- Insert the tip of the feeding bag into the feeding tube.

- If the bag has a clamp, open the clamp.

- Turn on the pump and set the rate according to directions.

- Start the pump.

- Stop the pump once the feeding container is empty.

- Flush the tube with warm tap water in the feeding container. See page 2 for specific instruction about amount and frequency.

- Turn on the pump and let the water flow into the tube.

- Stop the pump and disconnect the feeding bag from the feeding tube.

- For Intermittent Feedings

- Use a syringe to flush the tube with 30 ml (1/8 cup) of warm water.

- Close the feeding tube until the next feeding.

- Wash bag with liquid soap and warm water, rinse well, & air dry.

- Store in a clean covered container or wrap in a clean towel until next use.  Change bag at least 2 times per week.

# For Continuous Feedings

- Disconnect the feeding container from the PEG tube and feeding pump.

- Rinse the feeding container (bag) and tubing set with warm water before adding more feeding product.

- Place new feeding product into the feeding container and repeat the feeding procedure.

- Flush the tube with warm water several times daily as directed by your health care provider.

CHECKING RESIDUALS

The amount of feeding product remaining in your stomach since your last feeding is commonly called a “residual.”  If your feeding tube is placed in the stomach (example: PEG, g-tube, NGT), then the residual should be monitored.    For feeding tubes placed in the jejunum, this process is not indicated.  To properly check residuals, follow the instructions listed below:

- Remove the cap from the end of your feeding tube and insert the tip of the syringe into the end.

- Remove clamp if there is one.

- Pull back slowly on the syringe plunger to withdraw the contents of your stomach.

- Place the contents in a large measuring cup to determine 
the amount of residual.

- Repeat steps 1-4 until no more fluid can be withdrawn 
from the stomach.

- Push the fluid back into the stomach if the amount is less than 100ml or 1/3 cup.

- If the stomach residual is more than about 8 ounces (250ml), or you feel unusually full, DO NOT administer the feeding.

- Measure residuals again in one (1) hour.  If the residual is not decreasing in volume (or if you still feel full or nauseated), contact your home care nurse or the TeleCare nurse.

- Flush the feeding tube with 30ml (1/8 cup or 2 ounces) of warm water through the tube using the syringe.

CHECKING G-TUBE AND J-TUBE PLACEMENT: MEASURING TUBE LENGTH

Since the feeding tube may move from the original location, you should check to be sure it remains secure and in place.  Problems can occur if the end of the tube doesn’t remain in place.  To check this, you should take the following steps:

- If the tube has a scale with numbers on it, be sure you record the correct number to be sure there is no change before beginning each feeding.  Check the position of the tube at least daily.

- If the feeding tube does not have a number scale, use a ruler to measure the distance from your skin where the tube is inserted to the end of the tube. It is helpful to mark the site with a permanent marker.

- Each day, record this measurement in a journal or notebook. Compare this figure with previous measurements.  If the distance has changed, hold the tube feeding and call your home health nurse or TeleCare.

IMPORTANT THINGS TO REMEMBER PLAN AHEAD! When you will be away from home, take equipment, supplies and tube feeding product IF there is a possibility you may not return when it’s time to give your feeding. Always wash your hands before handling your feeding tube, product or supplies. Always verify placement of your feeding tube. DO NOT feed if you are in doubt of the tube placement. Flush your tube with warm water before and after feeding. Brush your teeth at least twice daily as if you were using them to eat. Be sure you are sitting at an incline of 30-45 degrees when taking your tube feeding. NEVER give tube feeding while lying flat in bed.

# GIVING MEDICATIONS THROUGH THE FEEDING TUBE:

# INSTRUCTIONS

- Flush tube with 60ml of water before and after administering medications.

- Do not crush enteric-coated or time-released medications.  Do not dilute medications unless specified by your physician or pharmacist.

- Do not add medications directly to the tube feeding product.

- Administer each medication according to directions.

- Flush tube with 20 ml of water between each medication and after giving all the medications.

- Ask your pharmacist about the availability of liquid forms of your medications.

- You may use a crushing device if needed.  After crushing, dissolve in up to 20 ml water and push into feeding tube.

- If you have any questions or concerns about how to give medications, contact your physician or pharmacist.

If you experience any ADVERSE SIDE EFFECTS with the medication(s) contact your physician immediately.

HELPFUL TIPS REGARDING MEDICINE Proper flushing of the tube will prevent residue buildup inside the tube. Gastric irritation may be caused by crushing enteric-coated and time-released medications. These medications may cause adverse effects or become ineffective if crushed. Medications that are thick (viscous) may cause your tube to clog or may lead to discomfort. To prevent this, use an adequate amount of fluid to dilute and flush your medication down the tube. Using liquid or alternative forms of medication will help prevent your tube from clogging and minimize discomfort. Always WASH your hands BEFORE and AFTER handling the feeding tube.

Feeding Tube Maintenance:

- Check placement daily by measuring the length of the tube protruding from the abdomen.  If no external markings are on the tube, a mark can be made on the tube using a permanent marker to check the correct tube position.

- Rotate the tube 360º daily by gently pushing in tube about ½ to 1 inch to prevent balloon or internal bumper from adhering to the gastric wall.

- Flush tubes routinely as instructed.

- Maintain good oral hygiene.  Even when patients are not eating, their teeth should be brushed at least twice a day.

- Each day, check the tube site for redness, drainage, swelling, rash or any type of skin damage.  Initially a small amount of drainage can be expected.  Foul smelling drainage is a sign of infection and you should contact your primary care provider for an evaluation.

- If the tube has a balloon, check the water in the balloon at least once a week.  While ensuring that the tube is held safely in place, the water should be withdrawn from the balloon in a sterile syringe and any volume deficit should be replaced by sterile water. Check manufacturer’s directions for further instructions.

- Clean the skin around the tube site daily with pH-balanced soap and water (or normal saline).  Rinse well, pat dry.  A cotton-tipped applicator (Q-tip) is helpful.

- Remove any dry or crusted drainage using a solution of 25% hydrogen peroxide mixed with water.  Rinse well, pat dry.

- Dressings are commonly used for 48 hours after initial placement. A Split gauze can be used to absorb excessive drainage, and use petrolatum based ointment such as A&D Ointment™) on surrounding skin to protect it.  (Generally gauze is not needed)

- Retaining devices, such as external bumpers, should be just above skin level and not tight against the skin.  This may need to be adjusted if you gain or lose weight.

- Stabilizing a tube can reduce the risk of tube displacement, pain and enlargement of the tract.  Consult the Enterostomal Therapy nurses for recommendations.

- Unless otherwise instructed by your health care provider, it is acceptable to shower with enteral devices, be sure and dry your skin beneath the external bumper.

- Gastrostomy tubes (G-tubes) should be replaced when they show signs of degradation, balloon breakage, malfunction, or irreversible occlusion.

|  | Trouble Shooting Tips |
| --- | --- |
| Pump malfunction or Alarms | 1. Read screen on the pump. It should tell you what is wrong and how to correct the problem. Most pumps have the manufacturer’s toll free number on the device you can call for assistance or you may contact your home health care nurse. 2. If the above measures fail, call the TeleCare nurse. |
| Feeding tube clogged | Withdraw any feeding product remaining in the tube. Flush with warm water. Insert 5-10 ml of warm water into tube using syringe and clamp for 5 minutes. Flush with water until clear and flow is restored. Mix 1 teaspoon baking soda in 5 ml warm water. Using a syringe, insert mixture into tube. Clamp for 5 minutes. Flush with water until clear. If the above measures fail, call the TeleCare nurse. |
| Feeding tube Falls out | Stomach: Get medical care immediately, either your home care nurse or Emergency Room visit. The hole can close very quickly, sometimes within hours Nose: Contact your home health care nurse immediately for replacement. If you do not have home care services, go to the emergency room to have it replaced. |
| Vomiting | If patient in bed, position on side lying position. Stop tube feeding. Check the residuals (G-tubes in stomach only). Verify position of the tube. Encourage walking. If no further vomiting after 8 hours, check residual again. If less than 250 ml, resume feeding. If vomiting continues, contact your home health care nurse or TeleCare. |
| Diarrhea | Slow down the rate of feeding as tolerated. Avoid formula hanging for longer than 6-8 hours. Check for correct placement of tube, if tube has moved from stomach to jejunum this can cause diarrhea if bolus feedings are used. Increase water to prevent dehydration. Use only feeding product at room temperature. If diarrhea persists longer than 24 hours, call home healthcare nurse or TeleCare. |

|  | Trouble Shooting Tips - continued |
| --- | --- |
| Leakage of feeding from around opening in stomach | Check residual. Check to be sure tube is in correct position and secure in stomach. Decrease feeding rate If problem persists, contact TeleCare or your home health nurse. |
| Hole in tubing or Internal Balloon breaks | Get medical care immediately, either your home care nurse or go to the Emergency Room to have the tube replaced. |
| Skin Breakdown | For minor irritation, apply Vaseline™ (petrolatum-based product) around site. For severe irritation, apply zinc-based paste around insertions (ex: zinc oxide or A&D Ointment™, CriticAide™) If no improvement; contact your home health care nurse or TeleCare. |

# Approved by the Patient & Family Education Committee on 10/30/2002

# Revised April 2007

# Comments

This page should include more detail about the individual regimen.   I think we could improve the document by changing the order of the statements to divide out what’s provided with amounts and instructions about how to administer the TF.  C Nelson 10/1/06

Check this fact , to 250-500 depending what your ada source tells you

In reading several chapters on HEN from both ADA and ASPEN, it appears the recommendations are contradictory.  One source does say the amount should be 150ml.  Another says that in HEN, checking residuals isn’t needed generally.  We need to decide on this.  C Nelson

Does the residual need to be discarded?

I have not yet  edit. Our goal here is to make sure the instructions are clear and complete  AND that they are consistent with both the TeleCare guidelines and the ASPEN/ADA standards.  C Nelson

We will be reviewing other sources to assure the wording in this section makes sense.  Chan

I have not yet  edit. Our goal here is to make sure the instructions are clear and complete  AND that they are consistent with both the TeleCare guidelines and the ASPEN/ADA standards.  C Nelson

Do pts know what this is?

# Text boxes

# Nasoenteric

Mouth

Throat

Esophagus

G-tube, PEG

Jejunum

(j-tube)