Authorized Worker Requirements

- The PNWD Lockout/Tagout Program is a lockout program. For the benefit of this program, the term “lockout” is defined to include the applied lock and associated Danger- Do Not Operate or Danger tag.

- If the requirements of this program cannot be met, a job-specific local plan must be written. The plan must be approved by the PNWD Lockout/Tagout Committee and the Controlling Organization, and communicated to the authorized workers prior to performing work.

- Each authorized worker installs and removes only their locks and Danger tags (form # 54-6001-955) on the isolation device(s) for their own safety in accordance with this lockout program.

- No one may authorize another person to ignore or violate this program.

- No one may operate any device on which a lockout is installed.

- No authorized worker may remove their lockout if doing so creates an unsafe condition.

- No authorized worker may install a lockout on any system without the approval of the Controlling Organization except in an emergency situation. This is to make sure that the Controlling Organization knows the status of its equipment/systems.

- The authorized worker performs the safe-to-work check before performing service and maintenance or if the authorized worker believes the configuration has changed, to verify that hazardous energy and materials are adequately controlled for their personal protection. Where an authorized worker is not qualified to perform the necessary inspection or test, he may witness it being performed by an authorized worker who is qualified. Where work is performed inside a radiation area, confined space, flash protection boundary, or similar hazardous environments, an authorized worker(s) may perform the safe-to-work check (witnessed or not) on behalf of others with their consent. Consent must be documented in the JPP or written lockout/tagout instructions.

- Only keyed locks are authorized for lockout.

- The locks used for lockout must be green in color and green locks must not be used for any other purpose.

- The key to authorized worker assigned locks must remain under the control of the authorized worker.

- Authorized workers making lockout/tagout decisions must have an understanding of the operation and configuration of the equipment to fully identify and evaluate its hazards.

- If an isolating device can be locked out, it must be locked out. If the isolating device cannot be physically locked out, it must be tagged out in full compliance with all provisions of the OSHA standard while meeting the following requirements:

- Protection equivalent to that provided by a lock must be established with a Danger and/or Danger-Do Not Operate tag.

Note: Examples of measures that could be used to provide protection equivalent to locks and prevent a system from being energized include removing an isolating circuit element or fuse, opening extra circuit disconnects, physical blocking of mechanical systems, or removing valve handles.

- The tagout devices, including their means of attachment, must be durable and substantial enough to prevent inadvertent or accidental removal. If possible, the lock should be placed through the grommet on the tag. Otherwise, use of an environmentally-tolerant nylon cable tie or equivalent having a minimum unlocking strength of not less than 50 pounds (22.7 kg) is recommended as the means of tagout attachment.

Note: If at all reasonable, the machine or equipment should be modified to accept a lockout device at the energy isolating point as soon as possible. Also, whenever new machines or equipment are installed, energy isolating devices for such equipment must be designed to accept a lockout device.

- Equipment with attached lockouts or tagouts are not to be removed from their installed location.

- Hazardous energy/material control boundaries established by Controlling Organization lockout/tagout (Danger-Do Not Operate tags) must be locked out by the authorized worker while performing service and maintenance.