SHSD Operation Environmental Evaluation

Environmental Management System ISO 14001 (IH50900)

| SOEE# SHSD-EMS-01 | Title: HEPA Filter Testing | Revision: 1 Date: 09/19/06 |
| --- | --- | --- |
|  |  | Approved by: R. Selvey, IH Manager |
| Operation Description: 100 -500 cc of Emery 3004 (poly-alpha-olefin) is injected into a HEPA filtered exhaust ventilation system during testing. Penetration of this challenge agent through the filter is measured downstream of the injection site and filter. |
| Frequency of Operation: 2-3 times per month |
| Environmental impact: The IHG operation converts all the Emery 3004 into an aerosol with compressed air. In a test of a passing filter, the aerosol is trapped on the filter. In a system with a failed filter, some or all of the aerosol is discharged to the environment up the exhaust stack. The concentration of aerosol in the exhaust air has negligible environmental consequences. The Emery 3004 purchased by the IHG is used until it is all consumed in testing. If needed, the Emery 3004 would be disposed of as a hazardous liquid via ESWMD. The filter testing policy is documented in approved SOPs IH62300 and IH62350. |
| Waste Disposal: Emery 3004 is used until it is all consumed in testing. It can be used over and over without spoilage. It does not have an expiration date. If needed, the Emery 3004 would be disposed of as a hazardous liquid via ESWMD. |
| Qualitative Environmental Impact Risk Assessment: Negligible Acceptable Moderate Substantial Intolerable |
| OSH Job Risk Assessment: SHSD-JRA-01 |
| Revision History: Rev1: Converted from old IH50900 Attachment 9.1 format. No content change. |