Division of AIDS

LABORATORY ASSESSMENT VISIT REPORT

Protocol Title:

Study Number:

Name & Location of Laboratory:

Laboratory Director:

Biosafety Level of Laboratory:

(as applicable)

Date Last Monitored:

Grant Principal Investigator:

Grant Number:

DAIDS Program Officer:

DAIDS Medical Officer:

Date(s) of Visit:

Conducted by:

Table of Contents

Summary of Laboratory  DEBRIEFING, SIGNIFICANT FINDINGS and recommendations

STATUS OF PAST FINDINGS

Delete if this is first pre-trial site visit

LABORATORY ASSESSMENT

signature Page

SUMMARY OF LABORATORY DEBRIEFING, SIGNIFICANT FINDINGS, AND RECOMMENDATIONS

Suggested format for standardizing style - document summary of findings with headings that are ordered and correspond to Table of Contents and sections of the report.

For Pre-trial assessments, use the following format:

- LABORATORY ASSESSMENT

- Major Deficiencies that must be corrected prior to trial initiation.

1.

2.

3.

- Minor Deficiencies that can be addressed on an ongoing basis.

1.

2.

3.

For all other assessments, use this format:

- LABORATORY ASSESSMENT

Summarize findings

Recommendations or Corrective Actions

Note these individually

STATUS OF PAST FINDINGS

Delete this section if this is the first laboratory assessment

DIVISION OF AIDS

CLINICAL RESEARCH OPERATIONS AND MONITORING CENTER

LABORATORY ASSESSMENT

Instructions:  Indicate if the tasks and topics listed were reviewed and assessed and are adequate.  Provide detailed comments as applicable.  Indicate items that were not reviewed or assessed by checking ‘No’ or by leaving the fields blank; describe in the Comments sections. Indicate items that are not applicable in the Comments sections.

| I. GENERAL OVERVIEW | YES | NO |
| --- | --- | --- |
| Introductions (Please list participants in Section III) |  |  |
| Sign Site Monitoring Log |  |  |
| Overview of Agenda |  |  |
| Has a DAIDS Laboratory Module been completed? |  |  |
| a. If “Yes”, is the document available for review? |  |  |
| Describe the proximity of the laboratory to the clinic or research site. |  |
| Describe the hours of operation (including holidays and weekends). |  |
| Is there a copy of the approved protocol and amendments (if applicable) on file? |  |  |

| II. Laboratory ASSAYs/Activities |
| --- |
| Hematology | Yes No Comments N/A |
| Flow Cytometry/ Immunophenotyping | Yes No Comments N/A |
| Chemistry | Yes No Comments N/A |
| Urine Analysis | Yes No Comments N/A |
| Microbiology | Yes No Comments N/A |
| Virology | Yes No Comments N/A |
| PBMC Processing | Yes No Comments N/A |
| Immunology/Serology | Yes No Comments N/A |
| Specimen Storage | Yes No Comments N/A |
| Specimen Shipping | Yes No Comments N/A |
| Other | Yes No Comments N/A |
| Please list the SPECIFIC tests and activities that the lab will perform for the STUDY: |

| III. List Laboratory Personnel Involved with the Study: |
| --- |
| NAME | TITLE | MET WITH MONITOR (Y/N) |
|  | Laboratory Director |  |
|  | Laboratory Manager |  |
|  | Laboratory Technician |  |
|  | Revise Titles and add additional rows, as necessary |  |

| IV. Organization and Personnel |
| --- |
| A. Is an Organizational Chart for laboratory personnel present? | Yes No Comments |
| B. Is the Laboratory Director’s CV on file? | Yes No Comments |
| C. Are the Job Description/Delegation of Duties documents present? | Yes No Comments |
| 1. Are they applicable to the work performed for the study? | Yes No Comments |
| D. Are education records maintained for all laboratory employees? | Yes No Comments |
| E. Are training records for personnel kept on file? | Yes No Comments |
| F. Has the laboratory staff had Good Laboratory Practices (GLP) or Good Clinical Laboratory Practices (GCLP) training? | Yes No Comments |
| G. Have the staff had Good Clinical Practices (GCP) training? | Yes No Comments |
| H. Is documentation maintained indicating the laboratory has assessed the competency of each employee to perform his or her assigned duties? List the frequency that competency is assessed. | Yes No Comments |
| I. Is the Laboratory Signature Sheet on file and up-to-date? | Yes No Comments |
| J. Has the laboratory been certified by any regulatory agency? If yes, please list the agency, date of certification, and requirements for certification. | Yes No Comments |
| Regulatory Agency: Dates of Certification: Certification Requirements: |
| Comments: |

| V. FACILITIES and Equipment |
| --- |
| A. Describe the laboratory space. (Designated areas for specimen receipt, accessioning, analysis, administration, waste disposal, sample storage, microbiological isolation, radioactivity, etc. Note square footage and what work groups adjoin the lab. Also note cleanliness, presence of A/C, fire protection, security features, etc.) |
| B. Inventory/Location of Laboratory Equipment *Check ‘Yes’ if the equipment is present and suitable for the study. Check ‘N/A’ if the equipment is present, but not used in the study. |
| 1. Freezers | Yes No Comments N/A |
| 2. Refrigerators | Yes No Comments N/A |
| 3. Liquid Nitrogen Freezers | Yes No Comments N/A |
| 4. Incubators | Yes No Comments N/A |
| 5. Water Baths | Yes No Comments N/A |
| 6. Centrifuges | Yes No Comments N/A |
| 7. Laminar Air Flow Hoods | Yes No Comments N/A |
| Chemistry Instrumentation Manufacturer/Model: | Yes No Comments N/A |
| Hematology Instrumentation Manufacturer/Model: | Yes No Comments N/A |
| Flow Cytometer Manufacturer/Model: | Yes No Comments N/A |
| Pipettors | Yes No Comments N/A |
| Clean water source, such as deionized water (DI) equipment. | Yes No Comments N/A |
| Autoclave | Yes No Comments N/A |
| 14. Microscopes | Yes No Comments N/A |
| 15. Other (additional equipment used for protocol-related assays) | Yes No Comments N/A |
| 16. Are operator’s manuals available for all laboratory equipment? | Yes No Comments N/A |
| Comments: |

| C. Daily Documentation of temperatures for temperature sensitive equipment: If documented by use only, please note in Comments section. |
| --- |
| 1. Freezers | Yes No Comments N/A |
| 2. Refrigerators | Yes No Comments N/A |
| 3. Liquid nitrogen freezer (and/or level of nitrogen) | Yes No Comments N/A |
| 4. Incubators | Yes No Comments N/A |
| 5. Waterbaths | Yes No Comments N/A |
| 6. Ambient room temperature | Yes No Comments |
| Is there a written policy/procedure in place explaining how temperatures are monitored, including during the absence of laboratory staff? | Yes No Comments |
| Comments: |

| D. Have acceptable ranges been defined for all temperature dependent equipment? | Yes No Comments |
| --- | --- |
| E. Is there is a procedure to explain what to do when monitoring results are found to be out of specification? | Yes No Comments |
| Is there documentation of corrective actions taken in response to values that are out of specification? | Yes No Comments |
| Comments: |

| F. Have all non-certified thermometers been checked against an appropriate certified thermometric device? | Yes No Comments |
| --- | --- |
| Comments: |

| G. Are there documented PM plans for the laboratory’s equipment? | Yes No Comments |
| --- | --- |
| I. Are there documented calibration plans for the laboratory’s equipment? | Yes No Comments |
| Comments: |

| H. Check the appropriate box to indicate the presence of Preventative Maintenance (PM), repair and/or calibration records for laboratory equipment: *Check NA if it was not assessed and explain in the Comments section. |
| --- |
| 1. Freezers | PM Repair Calibration NA |
| 2. Refrigerators | PM Repair Calibration NA |
| 3. Incubators | PM Repair Calibration NA |
| 4. Balances | PM Repair Calibration NA |
| 5. Centrifuges (must have annual calibration) | PM Repair Calibration NA |
| 6. Laminar Flow Hoods (must have annual certification record) | PM Repair Calibration NA |
| 7. Pipettors (must have semi-annual calibration and quarterly testing) | PM Repair Calibration NA |
| Clinical Chemistry instrumentation a List each instrument and associate check boxes | PM Repair Calibration NA |
| Hematology instrumentation a List each instrument and associate check boxes | PM Repair Calibration NA |
| 10. Flow Cytometry instrumentation | PM Repair Calibration NA |
| 11. DI Water equipment | PM Repair Calibration NA |
| 12. Autoclave | PM Repair Calibration NA |
| 13. Back-up generator | PM Repair Calibration NA |
| 14. Other (any other equipment used for protocol related testing) | PM Repair Calibration NA |
| 15. Supervisor or designee has reviewed and signed maintenance, repair, calibration records monthly? | Yes No Comments |
| Comments: |

| J. Are calibration materials stored as required by the manufacturer? | Yes No Comments N/A |
| --- | --- |
| K. Are calibration materials properly labeled indicating content and calibration value? | Yes No Comments N/A |
| L. Is there a log of calibration materials, lot numbers with expiration and use dates? | Yes No Comments N/A |
| Comments: |

| M. Are there plans/procedures for use of the backup generator? | Yes No Comments N/A |
| --- | --- |
| 1. If no backup generator is available, is critical equipment backed up by an uninterrupted power source (UPS) system? | Yes No Comments N/A |
| N. Are there back-up plans/procedures for laboratory equipment failure or malfunction? | Yes No Comments |
| Comments: |

| VI. Testing Facilities Operation |
| --- |
| A. Is there a list of all testing activities to be performed for the study? | Yes No Comments |
| Comments: |

| B. Have any assay validation programs been implemented? If yes, please list the assays in the Comments section. | Yes No Comments |
| --- | --- |
| 1. If “Yes”, are validation data present? | Yes No Comments |
| Comments: |

| C. Written Laboratory Procedures/ SOPs for all study-specific assays and activities *Please replace the text with the exact titles of these SOPs,and/or obtain a copy of the Master SOP List for the laboratory. |
| --- |
| Written Procedure/ SOP Name | Present | Annual Review Complete by Lab Director/Designee | Lab Director/Designee Signature Present |
| 1. Biohazard Safety & Containment | Yes No Comments | Yes No Comments | Yes No Comments |
| 2. Lab Data Management & Storage | Yes No Comments | Yes No Comments | Yes No Comments |
| 3. Occupational Safety | Yes No Comments | Yes No Comments | Yes No Comments |
| 4. Specimen Acquisition, Processing, Labeling, Tracking & Storage | Yes No Comments | Yes No Comments | Yes No Comments |
| 5.Specimen Transport | Yes No Comments | Yes No Comments | Yes No Comments |
| 6. Study-specific tests being performed in the laboratory | Yes No Comments | Yes No Comments | Yes No Comments |
| 7. add extra lines as needed | Yes No Comments | Yes No Comments | Yes No Comments |
| D. Does the laboratory have a system of documenting that all personnel have read all the laboratory’s SOPs? | Yes No Comments |
| 1. Is the documentation up-to-date? | Yes No Comments |
| E. Are current laboratory SOPs available in the work area? | Yes No Comments |
| F. Are old versions (retired) of SOPs archived in the laboratory? | Yes No Comments |
| Comments: |

| G. Normal Values or Reference Intervals/Ranges |
| --- |
| 1. Is there a list of reference intervals for all analytes tested in the laboratory? If “Yes” please list how they were established/obtained in the Comments section. | Yes No Comments |
| 2. Is there a list of critical/panic or life-threatening values for safety tests? | Yes No Comments N/A |
| 3. Are there protocol-specific tests that do not have normal (reference intervals) values? If ‘Yes’, please list in the Comments section. | Yes No Comments |
| 4. Do the reportable ranges for all required safety tests span those listed in the DAIDS table for grading severity of adverse experiences? | Yes No Comments N/A |
| Comments: |

| VII. Test and Control Articles |
| --- |
| A. Qualitative/Quantitative Tests |
| Name of assay | QC Frequency |
| Complete Blood Count (CBC)/Full Blood Count (FBC) |  |
| Clinical Chemistry Analytes (Group by instrument and control type used) |  |
| Urinalysis |  |
| Pregnancy tests (urine and/or serum) |  |
| Please list all study-specific tests being performed |  |
| 1. Are logs present documenting control results assayed with each test as described in the specific assay procedure? | Yes No Comments |
| 2. Does the technologist performing the QC initial the logs? | Yes No Comments |
| 3. Are Levy Jennings charts utilized to document QC data? | Yes No Comments |
| 4. Has a supervisor/designee reviewed and signed Levy Jennings charts? | Yes No Comments N/A |
| 5. Has a supervisor/designee reviewed and signed all QC logs? | Yes No Comments |
| 6. Are all QC documents available for the past two years? | Yes No Comments |
| Comments: |

| B. Is there an approved QA Plan on file? If “yes”, who is it approved by? | Yes No Comments |
| --- | --- |

| C. Quality Control Failure/Corrective Action |
| --- |
| 1. Is there a written Corrective Action Plan? | Yes No Comments |
| 2. Is there a Corrective Action log present for QC failures? | Yes No Comments |
| 3. Has a supervisor/designee reviewed and signed the Corrective Action log? | Yes No Comments |
| 4. What is the follow-up plan to Corrective Actions? How are future errors prevented? |
| Comments: |

| D. QC materials |
| --- |
| 1. Are there inventory records of QC materials with lot numbers, use dates and expiration dates? | Yes No Comments |
| 2. If the lab makes its own QC materials, are they properly labeled with the ingredients, date prepared, and expiration date? | Yes No Comments N/A |
| a. If yes, is there an SOP for the preparation, source, description, storage and record keeping for laboratory prepared QC material? | Yes No Comments N/A |
| 3. Are all quality control materials currently in use dated within the manufacturers assigned expiration dates? | Yes No Comments |
| 4. Are all quality control materials currently in use properly stored as required by the manufacturer (or the lab if homemade)? | Yes No Comments |
| Comments: |

| E. Reagent/Testing Kits |
| --- |
| 1. Are all reagents/testing kits currently in use within the manufacturers assigned expiration dates? | Yes No Comments |
| 2. Are all reagents/testing kits currently in use properly stored as described by the manufacturer? | Yes No Comments |
| 3. Are all reagents/solutions properly labeled to indicate identity, lot number, storage requirement, date prepared/reconstituted and exp. date? | Yes No Comments |
| 4. Is there a reagent log to document receipt, preparation, and expiration dates? | Yes No Comments |
| 5. Are aliquotted reagents (if applicable) prepared properly and labeled correctly? | Yes No Comments N/A |
| 6. Is there documentation showing that all reagents/kits are lot-to-lot tested prior to use? | Yes No Comments |
| Comments: |

| F. Parallel Testing (Check N/A for tests not performed in this laboratory.) |
| --- |
| 1. HIV EIA Assay – Is there documentation that three known control samples are tested with each new lot of reagents with reproducible results? | Yes No Comments N/A |
| 2. HIV RNA PCR – Is there documentation that three known samples (negative, low-positive, and high positive) are tested with each new lot? Are results within a prescribed range of the results obtained with the previous lot number? | Yes No Comments N/A |
| 3. Qualitative PCR Assays – Documentation that appropriate controls are tested with each new lot of reagents with reproducible results? | Yes No Comments N/A |
| 4. CBC/ FBC – Are new lot controls run in parallel with the previous lot before being put into use? | Yes No Comments N/A |
| 5. Chemistry Controls – Are new lots of controls run in parallel with the previous lot of controls to establish a mean and acceptable standard deviation? | Yes No Comments N/A |
| 6. CD4/CD8 – Are at least two known control specimens (CD4:CD8 ratio <1.0 and >1.0) run in parallel with reproducible results? | Yes No Comments N/A |
| Does a Supervisor or Director sign validity checks for each parallel test? Please describe how parallel test records are stored in the Comments section. | Yes No Comments N/A |
| Comments: |

| G. Culture Media N/A (not used in this lab for the study) |
| --- |
| 1. Is a media QC log present? | Yes No Comments |
| 2. Does a technologist initial the media QC log? | Yes No Comments |
| 3. Is a QC Failure/Corrective Action log present for media? | Yes No Comments |
| 4. Are both logs (QC and QC Failure/Corrective Action) reviewed and signed by supervisor/designee monthly? Please describe the follow-up procedure in the Comments section. | Yes No Comments |
| 5. Is the media in use within the expiration date? | Yes No Comments |
| Comments: |

| H. Microscopy Staining Procedures N/A (not used in this lab for the study) (prepare a checklist for each direct staining technique used for the study (AFB, Gram, KOH etc) |
| --- |
| 1. Is a control slide stained each day with documented observations initialed by a technologist? | Yes No Comments |
| 2. Is a corrective action log present for stain QC? | Yes No Comments |
| 3. Are logs reviewed and signed by supervisor/designee monthly? Please describe the follow-up procedure in the Comments section. | Yes No Comments |
| Comments: |

| VIII. Records and Reports |
| --- |
| A. Are copies of Project-specific lab manuals, Study Specific Procedures, Protocols and Appendices available to laboratory personnel? | Yes No Comments N/A |
| Comments: |

| B. Specimen Tracking Forms/Requisitions |
| --- |
| Walk through the specimen tracking process and describe in detail. (Include whether a manual or electronic system, logs and forms used, etc.) |
| 1. Does the SOP or Manual of Procedures correctly reflect the process? | Yes No Comments |
| 2. Are sample tracking forms retrievable for the entire protocol? | Yes No Comments |
| 3. Are the forms archived following the study? If so, for how long? | Yes No Comments |
| Comments: |

| C. Result Modifications |
| --- |
| 1. What process is used to ensure that there are no errors in recording or reporting of test results? |
| 2. How will errors detected/reported by the data center be corrected? (Response to queries? In study data and in source documents) |
| 3. Is there a log kept for result modifications/corrective actions? | Yes No Comments |
| 4. Does the Laboratory Director/Designee review and sign the log monthly? | Yes No Comments |
| 5. How does the Laboratory Director address consistent corrective actions? |
| Comments: |

| D. Reporting |  |
| --- | --- |
| 1. Is there a list of places to which laboratory results are reported? | Yes No Comments |
| 2. Where appropriate, are analyte results reported with accompanying reference intervals? | Yes No Comments |
| 3. Do the laboratory reports identify the laboratory performing the testing, and the time & date the test was performed? | Yes No Comments |
| 4. How are test results reported to clinicians? |
| 5. How are critical/panic or life-threatening values reported to clinicians? |
| 6. How is communication of test results and panic values recorded? |
| Comments: |

| E. Archiving Data |
| --- |
| 1. Does the laboratory archive result data (instrument printouts, etc.)? If “Yes”, please explain in the Comments section how archiving is accomplished, and how long data is archived. | Yes No Comments |
| 2. Are the archived records accessible only to authorized personnel? | Yes No Comments N/A |
| 3. Are archived records stored in a secured location? | Yes No Comments N/A |
| Comments: |

| F. Record Review Performed Not performed/ Not applicable |
| --- |
| Records Reviewed | From Visit: | To visit (inclusive): |

| IX. Transportation of Samples |
| --- |
| A. Specimen Transport |
| 1. Is there an SOP to address transport of specimens from the clinic(s) to the lab, between off-site clinics, and within the lab? | Yes No Comments |
| 2. Are the containers used for sample transport sturdy non-breakable closable containers labeled “biohazard”? | Yes No Comments |
| a. Are the containers IATA-certified? | Yes No Comments |
| 3. How does the lab confirm that specimens were received at their destination? |
| 4. How does the lab address monitoring of temperature conditions during transportation of specimens? |
| Comments: |

| B. Does the SOP on receiving specimens explain sample identification and assessing the quality of specimens? | Yes No Comments |
| --- | --- |
| C. Are wet specimens (blood, urine, body fluids etc.) retained for potential re-evaluation? If “Yes” explain in the Comments section. | Yes No Comments |
| 1. Is there an SOP explaining this? | Yes No Comments |
| Comments: |

| D. Shipping Certification/Training N/A (The lab does not ship samples.) |
| --- |
| 1. Is there a training plan in place for shipping certification? | Yes No Comments |
| 2. Is there documentation of persons trained for shipping? *In the Comments section, please list all personnel with IATA- certification and the dates of certification. | Yes No Comments |
| 3. Are shipping certifications renewed as required? | Yes No Comments |
| 4. Is there a policy in place for shipping samples internationally? | Yes No Comments |
| Comments: |

| X. Personnel Safety |
| --- |
| A. Is there a written safety program? | Yes No Comments |
| B. Does the lab maintain a log of all safety-related incidents? | Yes No Comments |
| 1. Does the Lab Director or designee review and sign this log? | Yes No Comments |
| Comments: |

| C. Material Safety Data Sheets (MSDS) or equivalent |
| --- |
| 1. Are MSDS or equivalent on file? | Yes No Comments |
| 2. Are MSDS or equivalent readily available to all laboratory personnel? | Yes No Comments |
| 3. Is there documentation that laboratory personnel have reviewed the MSDS or equivalent? | Yes No Comments |
| Comments: |

| D. Is there documentation of participation in safety training? If yes, list the training provider. | Yes No Comments |
| --- | --- |
| Comments: |

| E. Safety Precautions |
| --- |
| 1. Is a written Standard/Universal Precautions Policy available? | Yes No Comments |
| 2. Are laboratory personnel vaccinated for Hepatitis B? | Yes No Comments |
| 3. Is there safety equipment such as eyewashes, safety showers, fire extinguishers, fire blankets and sharps containers present in the lab? Please describe in the Comments section. | Yes No Comments |
| a. Is the safety equipment maintained? | Yes No Comments |
| 4. Is Personal Protective Equipment (PPE) utilized by laboratory staff? If “No” explain in Comments section. | Yes No Comments |
| Comments: |

| F. Is there a written policy for the disposal of biohazardous materials and “sharps”? (If “No”, explain in Comments.) Please describe how biohazardous waste is disposed of in the Comments section. | Yes No Comments |
| --- | --- |
| 1. If the lab autoclaves its own waste, is a biological autoclave indicator used to assure proper autoclave function and complete sterilization of material with each run, or at least weekly? | Yes No Comments N/A |
| Comments: |

| XI. External Quality Assurance (EQA)/ Proficiency testing |
| --- |
| A. Does the laboratory participate in any external proficiency testing? (If yes, list the each test involved, frequency, proficiency program provider and where the results are reported.) | Yes No Comments |
| B. Describe the remedial action plans for poor EQA performance. |
| C. Describe the back-up testing plans available in case of persistent poor EQA performance. |
| Comments: |

| XII. Laboratory Information Systems (LIS) |
| --- |
| A. Is a LIS utilized in this laboratory (if “No” the rest of section IX is N/A)? | Yes No Comments |
| Comments: |

| B. LIS |
| --- |
| 1. Is documented validation data present? | Yes No Comments |
| 2. Can accurate and complete copies be generated by the LIS? | Yes No Comments |
| 3. Are computer time-stamped audit trails used by the LIS? | Yes No Comments |
| 4. Is system access limited to authorized individuals? | Yes No Comments |
| 5. Is system access updated to account for staffing changes? | Yes No Comments |
| 6. Is there a written SOP for the operation of the LIS present? | Yes No Comments |
| Comments: |

| XIII. Laboratory DATA Management Systems (LdmS) |
| --- |
| Does this laboratory facility use a LDMS? If “No” disregard the rest of section IX and explain how specimen storage/shipping data is maintained in the Comments section. | Yes No Comments |
| B. LDMS reports obtained by the monitor: |
| 1. Primary Specimens Received Report | Yes No Comments |
| 2. Storage Detail Report | Yes No Comments |
| 3. Shipping Report | Yes No Comments |
| Comments: |

| C. Specimen Verification |
| --- |
| 1. Can the PID, date, protocol, derivative and additive for specimens be verified with the LDMS? | Yes No Comments |
| 2. Is the laboratory staff able to demonstrate specimen storage locations in LDMS? | Yes No Comments |
| 3. Does the LDMS report accurately reflect the number, type, and volume of all specimen aliquots as well as their storage location and shipping record? | Yes No Comments |
| 4. Can the physical presence of specimens be verified with the LDMS Storage Detail Report? | Yes No Comments |
| Comments: |

| D. LDMS manual available in laboratory? | Yes No Comments |
| --- | --- |
| Comments: |

| E. LDMS Back Up |
| --- |
| 1. Is the LDMS backed up weekly? | Yes No Comments |
| 2. Is the LDMS backup disk stored in different location than LDMS computer? | Yes No Comments |
| 3. Are storage media properly labeled, stored, and protected from damage or unauthorized use? | Yes No Comments |
| Comments: |

SIGNATURE PAGE

Prepared by:		Date:

Reviewed by:  		Date:

(Signature DAIDS Representative)