SEWS 9.1.2 (1 of 4)	Sheet 1 of ______

SCREENING EVALUATION WORK SHEET (SEWS)

Equipment ID No.:

Equipment Class: Horizontal Tanks and

Heat Exchangers

Equipment description:

Equipment Location: Bldg.

Floor El.

Room, Row/Col.

Manufacturer, model, etc.:

Approximate weight:

Drawing No.:

Performance Category:

Functionality Requirement

q	Contact Lead Relay Reviewer to determine if item contains Essential Relays

q	For components whose function or structural integrity is required, complete all sections of this form.

q	For all other components, only anchorage evaluation is required.

Caveats (Section 9.1.2)

(Identify with an asterisk (*) those steps which are met by intent without meeting the specific wording of the step and explain the reason for this conclusion in the COMMENTS section below)

Step 1 	Parameters and values within range of applicable parameters	Y	N	U	N/A

Step 2	Anchor bolt tension and shear load allowables determined 	Y	N	U	N/A

Step 3	Base plate bending strength reduction factor (RB) determined 	Y	N	U	N/A

Step 4	Base plate weld strength reduction factor (RW) determined 	Y	N	U	N/A

Step 5	Anchorage tension allowable determined using strength
	   reduction factors 		Y	N	U	N/A

Step 6	Ratios and values calculated 		Y	N	U	N/A

Step 7	Acceleration capacity of tank anchorage determined 	Y	N	U	N/A

Step 8	Flexibility of tank in transverse and vertical directions determined 	Y	N	U	N/A

Step 9	Flexibility of tank in longitudinal direction determined 	Y	N	U	N/A

Step 10	Capacity acceleration exceeds seismic demand acceleration 	Y	N	U	N/A

Step 11	Saddle stresses checked 		Y	N	U	N/A

SEWS 9.1.2 (2 of 4)	Sheet 2 of ______

SCREENING EVALUATION WORK SHEET (SEWS) (Cont.)

Equipment ID No.:

Equipment Class: Horizontal Tanks and

Heat Exchangers

Equipment description:

Anchorage (Chapter 6)

1.	Type of anchorage:

q 	expansion anchor

q 	cast-in-place bolt or headed stud anchor

q 	cast-in-place J-bolt

q 	grouted-in-place bolt

q 	welds to embedded steel on exposed steel

q 	lead cinch anchors

q	Other

q 	N/A (no further anchorage considerations)

2.	Appropriate characteristics for anchorage type checked

(size, location, equipment characteristics)	Y	N	U

3.	Gap at threaded anchor less than 1/4 inch	Y	N	U	N/A

4.	Base stiffness and no significant prying action requirements met	Y	N	U

5.	Equipment base strength and structural load path adequate	Y	N	U

6.	Embedment steel and pads requirements met	Y	N	U	N/A

7.	Embedment length requirements met	Y	N	U

8.	Anchor spacing requirements met	Y	N	U

9.	Edge distance requirements met	Y	N	U

10.	Concrete strength requirements met	Y	N	U

11.	Concrete crack requirements met	Y	N	U

12.	Equipment with essential relays requirements met	Y	N	U	N/A

13.	Installation adequacy requirements met	Y	N	U	N/A

14.	No other concerns	Y	N	U

Does anchorage capacity exceed demand?	Y	N	U

Reference:

Interaction Effects (Chapter 7)

1.	Soft targets free from impact by nearby equipment

or structures	 		Y	N	U	N/A

2.	If equipment contains sensitive essential relays, equipment free

from all impact by nearby equipment or structures 	Y	N	U	N/A

3.	Attached lines have adequate flexibility  	Y	N	U	N/A

4.	No collapse of overhead equipment, distribution systems,
	   or masonry walls 		Y	N		N/A

5.	Equipment is free from credible and significant
	   seismic-induced flood and spray concerns	Y	N		N/A

SEWS 9.1.2 (3 of 4)	Sheet 3 of ______

SCREENING EVALUATION WORK SHEET (SEWS) (Cont.)

Equipment ID No.:

Equipment Class: Horizontal Tanks and

Heat Exchangers

Equipment description:

Interaction Effects (Cont.)

6.	No credible seismic-induced fire concerns	Y	N		N/A

7.	No other Òtwo over oneÓ concerns as defined in DOE-STD-1021	Y	N		N/A

8.	No other concerns 		Y	N	U	N/A

Is equipment free of interaction effects? Y N U

Comments

SEWS 9.1.2 (4 of 4)	Sheet 4 of ______

SCREENING EVALUATION WORK SHEET (SEWS) (Cont.)

Equipment ID No.:

Equipment Class:  Horizontal Tanks and

Heat Exchangers

Equipment description:

Comments (Cont.)

Screening Walkdown(s):

Date	Time	Team Members

Recommend Resolution

q	Maintenance action:

q	Further evaluation:

q	Retrofit design:

q	Other:

q	No further action required.  Equipment is seismically adequate.

All aspects of the equipment's seismic adequacy have been addressed.

Evaluation by: 			Date:

(All team members)