Hurricane Gustav Situation Report # 13

September 9, 2008 (12:00 PM EDT)

http://www.oe.netl.doe.gov/emergency_sit_rpt.aspx

Summary

Total state customers are based on 2006 EIA Customer Data. Data obtained from State agencies and company websites.

Note: due to a large number of service providers, including investor owned utilities and cooperatives, the number of customer outages reported may not be comprehensive.

Source:

Crude Oil and Natural Gas Production Data from Minerals Management Service.

Refinery Status confirmed by company or on company web site and through various trade press sources.

* % capacity out represents percent of production capacity in the Gulf of Mexico.

Highlights:

- In the States of Louisiana and Mississippi, as of approximately 8:00 AM EDT September 9, there are 191,473 customers reported without power, including 191,158 in Louisiana, and 315 in Mississippi.  This represents a decrease of 75,874 customers without power from Situation Report #12 when 267,347 customer outages were reported. Since that report, power has been restored to 75,469 customers in Louisiana and 405 customers in Mississippi. See Restoration Updates below.

- As of 5:00 AM EDT, September 8, Entergy’s Waterford 3 and River Bend nuclear power plants remain shut down. Entergy reports that repairs of the extensive wind damage to River Bend’s turbine building siding are being expedited through special arrangements with the manufacturer. Bringing the two nuclear plants online will be closely coordinated with utility company personnel to maintain the reliability of the power grid.

- As of 10:00 AM September 9, the U.S. Coast Guard reports that in the New Orleans area, there is a safety zone in from the locks of the Inner Harbor Navigation Canal to mile marker 11 East of Harvey Locks.  The Lower Mississippi River is open with regular draft restrictions to mile marker 303.  A safety zone has been established restricting vessels with drafts greater than 30 feet above Mile Marker 175 to mile marker 301 for daylight transit only.  The Morgan City - Port Allen alternate route is open including through the Bayou-Sorrel Pontoon Bridge

ESF 12 Actions:

- ESF-12 personnel began staffing the FEMA Region VI Regional Response Coordination Center (RRCC) today, September 9, in preparation for Hurricane Ike. ESF-12 is also staffing the FEMA Region VI Joint Field Office (JFO) in Baton Rouge, LA, the FEMA Region IV RRCC in Atlanta, GA, and the National Response Coordination Center (NRCC) in Washington, DC. The FEMA Region III RRCC in Philadelphia, PA has been demobilized.

Situation Report Detail

Petroleum & Gas Information

Source:   Minerals Management Service

- As of 12:30 PM EDT, September 8, the Minerals Management Service (MMS) reports 4,748 million cubic feet per day of the Gulf’s natural gas production remains shut-in, equivalent to 64.2 percent of the Gulf production. MMS reports 1,032,612 barrels/day of the Gulf’s crude production remains shut-in, equivalent to 79.4 percent of the Gulf’s crude production. A total of 200 production platforms, or 27.9 percent of the Gulf’s 717 manned platforms, have been evacuated. Personnel from 15 rigs, representing 12.4 percent of those operating in the region, have been removed.

- Plantation and Colonial pipelines are both operating on reduced flows

- On the evening of September 8, 2008, DOE initiated the delivery of 250,000 barrels of oil from the Strategic Petroleum Reserve to Marathon Petroleum Company’s Midwest refineries along the Capline pipeline system. The oil was requested by Marathon because of disruptions in supply caused by Hurricane Gustav.

- As of 10:00 AM EDT September 9, three refineries have restarted – Motiva Convent, Shell Saint Rose, and Alon Krotz Springs. Only one refinery remains shut down in the Gulf Coast due to Hurricane Gustav. (See table below).

Note: The table does not include all refineries in the PADD III, Gulf Coast Region.

Sources:  Confirmed by company or on company web site. Various trade press sources.

- As of  7:00 AM EDT September 9, there are three natural gas pipelines reporting no gas flow from offshore points and the pipelines’ force majeure remains in effect for:

  - Mississippi Canyon Pipeline (restart estimated Sep. 10),

  - Venice Gathering System (restart TBD), and

  - Offshore points along Destin Pipeline Co.

- As of 10:00 AM EDT September 9, there four processing plants that are ready to operate (capable to restart) once power is restored and/or gas flow from upstream commences service. Currently, 21 plants that have resumed operations either at reduced or normal levels (12 plants reporting reduced levels and 9 plants that are operating at normal levels).   There are six plants that are shut down which includes one plant that remains shut down due to scheduled maintenance, the latter expects to restart by September 10.  The number of shut downs is an increase over yesterday’s report due to one plant experiencing restart problems. There is no timeline of when the other shut down facilities will return to service. See table below.

- As of 10:00 PM EDT, September 8, Nautilus Pipeline Co. lifted the force majeure and will begin to flow gas at all points today (September 9).

- As of 3:00 PM EDT, September 8, Trunkline Gas Pipeline was notified that the Calumet Processing Plant operated by Enterprise Products Operating, LLC and the Patterson II Plant operated by CDM Max LLC have commercial power restored and are ready to accept gas flow today (September 9).

- As of 4:48 PM EDT September 8, Sea Robin Pipeline notified its customers that the Sea Robin natural gas processing plant operated by Hess Corporation commenced processing at reduced levels.

1 The capacity in each column represents the design capacity of the plants and does not represent the actual gas flow through these plants.

2 Those plants that are capable to restart after electricity is restored or when upstream gas flow commences service.

Sources:  Confirmed by company or on company web site. Various trade press sources.

Restoration Updates:

- As of 6:00 AM EDT September 9, Entergy has restored power to more than 808,000 customers in Louisiana, Mississippi, and Arkansas who lost power due to Hurricane Gustav. Power has been restored to all Entergy customers in Arkansas and Mississippi.  See table below on restoration progress in Louisiana.  Entergy reports that its restoration rate surpasses that accomplished following either Katrina or Rita.

Restoration Progress in Louisiana as of September 9, 2008 7:00 AM EDT*

| Utility Name | Peak Outages | Customers Restored | Current Outages | Percent Restored |
| --- | --- | --- | --- | --- |
| Entergy Gulf States, Entergy Louisiana, and Entergy New Orleans (combined) | 828,982 | 673,990 | 154,992 | 81% |
| CLECO Power | 246,092 | 245,567 | 525 | 99 % |
| SWEPCO | 8,562 | 8,562 | 0 | 100% |
| All Cooperatives | 272,327 | 236,688 | 35,641 | 87% |
| Totals | 1,355,963 | 1,164,805 | 191,158 | 86% |

*Peak totals based on LA State PSC reports with the exception of Entergy. Entergy outages are based on Entergy’s website

- Entergy reports as of 6:30 AM EDT September 9, most of the remaining outages are in heavily damaged areas requiring more extensive repairs. The pace of restoration will likely be slower from this point forward as crews address these hard-hit areas.

- Entergy reports as of 6:30 AM EDT September 9, remaining damage to the transmission system includes 47 lines and 28 substations, down from a peak of 241 transmission lines and 352 substations immediately following the storm.  More than 8,200 poles, 12,500 spans of wire and 1,900 transformers have been confirmed as damaged or destroyed.

- Entergy currently has nearly 13,000 workers continuing restoration work in Louisiana.

- Restoration estimates for all Entergy customers are shown in the table below.

Electric Power Restoration Estimates for Entergy Customers

| Estimated date for 100% restoration | Parishes |
| --- | --- |
| September 9 | Jefferson (upper portion, including Metairie and Kenner), Livingston, St. Helena, St. Tammany, Tangipahoa, Washington |
| September 10 | Ascension (except Donaldsonville), St. James, St. John the Baptist |
| September 12 | Pointe Coupee, West Baton Rouge, West Feliciana |
| September 15 | Jefferson (lower portion only), Plaquemines, St. Bernard, St. Charles |
| September 16 | East Feliciana |
| September 24 | Ascension (Donaldsonville only), Assumption, East Baton Rouge, Iberville, St. Martin |
| October 1 | Terrebonne, Lafourche |