| Name(s) of Risk Team Members: P. Micca, E. Whittle, M.Miura, R. Colichio, A. Emrick Conducted: 9/13/06 | Point Value → Parameter ↓ | 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- | --- | --- |
| Job Title: Work with laboratory chemicals Job Number or Job Identifier: DJ-JRA17 | Frequency (B) | <once/year | <once/month | <once/week | <once/shift | >once/shift |
| Job Description: Working with hazardous chemicals in the following hazard classes: Carcinogens, Highly Acute Toxin, Reproductive Toxins, Corrosives, Strong Oxidizers, Highly Reactive Materials, Peroxide forming chemicals, Pyrophoric Materials, Flammables/Combustible Materials and working with sharps | Severity (C) | First Aid Only | Medical Treatment | Lost Time | Partial Disability | Death or Permanent Disability |
|  | Likelihood (D) | Extremely Unlikely <<1x/20yrs | Unlikely 1x/10-20yrs | Possible >1x/10-20yrs | Probable 1x/yr | Multiple >1x/yr |
| Training and Procedure List (Optional): Laboratory Standard |  |  |  |  |  |  |
| Approved by: R. Colichio Date:9/30/06 Rev. #: |  |  |  |  |  |  |
| Stressors (if applicable, please list all): | Reason for Revision (if applicable): | Comments: |

|  | Before Controls |  | After Initial Controls |  | After Additional Controls |
| --- | --- | --- | --- | --- | --- |
| Job Step / Task | Hazard | Stressors Y/N | # of People A | Frequency B A | Severity C | Likelihood D | Risk* AxBxCxD | Initial Controls | # of People A | Frequency B | Severity C | Likelihood D | Risk* AxBxCxD | Control(s) Added to Reduce Risk | # of People A | Frequency B | Severity C | Likelihood D | Risk* AxBxCxD | % Risk Reduction |
| Storing containers of hazardous materials | SPILL: due to container failure may result in explosion or fire from flammable/combustible materials coming in contact with an ignition source or chemical reaction | N | 1 | 5 | 5 | 4 | 100 | Segregation of incompatibles, chemical storage cabinets, PPE, work planning/experimental review, ventilation, secondary containment, spill response, use of safer substitutes, Tier 1 inspections, container labeling, area posting, shelf-life monitoring, containers specific for the hazard and operation, training, applicable subject areas | 1 | 5 | 3 | 2 | 30 |  |  |  |  |  |  |  |
|  | SPILL: due to container failure may result in exposure to toxic materials or corrosive splash | N | 1 | 5 | 5 | 4 | 100 | chemical storage cabinets, work planning/experimental review, ventilation, secondary containment, use of safer substitutes, Tier 1 inspections, container labeling, area posting, shelf-life monitoring, containers specific for the hazard and operation, training, applicable subject areas, PPE | 1 | 5 | 3 | 2 | 30 |  |  |  |  |  |  |  |
|  | Reaction: Chemical reaction of hazardous materials stored in a refrigerator during a power failure | N | 1 | 1 | 4 | 3 | 12 | Emergency power generator, work planning/experimental review, use of safer substitutes, Tier 1 inspections, container labeling, area posting, shelf-life monitoring, containers specific for the hazard and operation, training, applicable subject areas, PPE, secondary containment | 1 | 1 | 3 | 2 | 6 |  |  |  |  |  |  |  |
| Moving containers within the department | SPILL: due to dropping container may result in explosion or fire from flammable/combustible materials coming in contact with an ignition source | N | 1 | 5 | 4 | 3 | 60 | work planning/experimental review, spill response, Tier 1 inspections, container labeling, containers specific for the hazard and operation, training, applicable subject areas, secondary containment | 1 | 5 | 3 | 2 | 30 |  |  |  |  |  |  |  |
|  | SPILL: due to dropping container may result in exposure to toxic materials or corrosive splash | N | 1 | 5 | 4 | 3 | 60 | work planning/experimental review, PPE, spill response, Tier 1 inspections, container labeling, containers specific for the hazard and operation, training, applicable subject areas, secondary containment | 1 | 5 | 3 | 2 | 30 |  |  |  |  |  |  |  |
| Measuring chemicals- pipeting, preparing sample cells, etc. | SPILL: due to dropping container may result in explosion or fire from flammable/combustible materials coming in contact with an ignition source | N | 1 | 5 | 4 | 3 | 60 | spill pads, work planning/experimental review, PPE, use of small volumes, fume hood, secondary containment, spill response, use of safer substitutes, Tier 1 inspections, container labeling, area posting, containers specific for the hazard and operation, applicable subject areas, safety showers, eyewashes | 1 | 5 | 3 | 2 | 30 |  |  |  |  |  |  |  |
|  | SPILL: due to dropping container may result in exposure to toxic materials or corrosive splash | N | 1 | 5 | 4 | 3 | 60 | spill pads, work planning/experimental review, PPE, use of small volumes, fume hood, secondary containment, spill response, use of safer substitutes, Tier 1 inspections, container labeling, area posting, containers specific for the hazard and operation, applicable subject areas, safety showers, eyewashes | 1 | 5 | 3 | 2 | 30 |  |  |  |  |  |  |  |
|  | GENERAL USE: Exposure to toxic materials including inhalation, absorption, ingestion and injection | N | 1 | 4 | 4 | 5 | 80 | work planning/experimental review, PPE, use of small volumes, fume hood, use of safer substitutes, container labeling, area posting, applicable subject areas, area and/or personnel monitoring, eng. Controls- safety showers, eyewashes | 1 | 5 | 3 | 2 | 30 |  |  |  |  |  |  |  |
| Mixing and reacting hazardous materials | SPILL: due to dropping container may result in explosion or fire from flammable/combustible materials coming in contact with an ignition source | Y | 1 | 4 | 3 | 4 | 48 | spill pads, work planning/experimental review, PPE, use of small volumes, fume hood, secondary containment, training, spill response, use of safer substitutes, Tier 1 inspections, container labeling, area posting, containers specific for the hazard and operation, applicable subject areas, secondary containment, safety showers, eyewashes | 1 | 4 | 2 | 3 | 24 |  |  |  |  |  |  |  |
|  | SPILL: due to dropping container may result in exposure to toxic materials or corrosive splash | N | 1 | 4 | 4 | 5 | 80 | spill pads, work planning/experimental review, PPE, use of small volumes, fume hood, secondary containment, spill response, use of safer substitutes, Tier 1 inspections, container labeling, area posting, containers specific for the hazard and operation, applicable subject areas, safety showers, eyewashes | 1 | 4 | 3 | 2 | 24 |  |  |  |  |  |  |  |
|  | General Use: Exposure to toxic materials including inhalation, absorption, ingestion and injection | Y | 1 | 4 | 3 | 4 | 48 | work planning/experimental review, training, PPE, use of small volumes, fume hood, use of safer substitutes, container labeling, area posting, applicable subject areas, area and/or personnel monitoring, safety showers, eyewashes | 1 | 4 | 2 | 3 | 24 |  |  |  |  |  |  |  |
|  | Exothermic reaction (pressure/heat—solution bubbles out) | Y | 1 | 2 | 4 | 5 | 40 | work planning/experimental review, PPE, use of small volumes, use of safer substitutes, container labeling, area posting, reactions vessels specific for the hazard, applicable subject areas, safety showers, eyewashes | 1 | 2 | 4 | 2 | 16 |  |  |  |  |  |  |  |
| Working with peroxide forming compounds | Rupture of container, exposure to vapors, explosion | N | 1 | 3 | 4 | 4 | 48 | Periodic testing as per SBMS, CMS, work planning/experimental review, PPE, use of small volumes, secondary containment, spill response, use of safer substitutes, Tier 1 inspections, container labeling, containers specific for the hazard and operation, applicable subject areas, safety showers, eyewashes | 1 | 3 | 4 | 2 | 24 |  |  |  |  |  |  |  |
| Working with pyrophoric compounds | Rupture of container, exposure to vapors, dust, mists, fire resulting from loss of inerting atmosphere | Y | 1 | 1 | 2 | 5 | 10 | Applicable subject areas, work planning/experimental review, PPE, use of small volumes, secondary containment, spill response, use of safer substitutes, Tier 1 inspections, container labeling, containers specific for the hazard and operation | 1 | 1 | 2 | 3 | 6 |  |  |  |  |  |  |  |
| Working with sensitizers, acute toxins, carcinogens & reproductive toxins | Exposure to vapors, dust, mists, fumes, fire | Y | 1 | 4 | 5 | 3 | 60 | Applicable subject areas, work planning/experimental review, PPE, area monitoring, personnel monitoring, use of small volumes, secondary containment, spill response, use of safer substitutes, Tier 1 inspections, container labeling, area posting, containers specific for the hazard and operation, fume hood | 1 | 4 | 1 | 2 | 8 |  |  |  |  |  |  |  |
| Working with flammables and combustible materials | Exposure to vapors, dust, mists, fumes, fire | Y | 1 | 5 | 3 | 3 | 45 | Applicable subject areas, work planning/experimental review, PPE, area monitoring, personnel monitoring, use of small volumes, secondary containment, spill response, use of safer substitutes, Tier 1 inspections, container labeling, area posting, containers specific for the hazard and operation, fume hood | 1 | 5 | 3 | 2 | 30 |  |  |  |  |  |  |  |
| Working with corrosives, strong oxidizers, highly reactive materials | Exposure to vapors, dust, mists, fumes, fire | Y | 1 | 5 | 3 | 3 | 45 | applicable subject areas, work planning/experimental review, PPE, area monitoring, personnel monitoring, use of small volumes, secondary containment, spill response, use of safer substitutes, Tier 1 inspections, container labeling, area posting, containers specific for the hazard and operation, fume hood | 1 | 5 | 3 | 2 | 30 |  |  |  |  |  |  |  |
| Use of sharps | Cuts, puncture wounds, exposure to hazardous materials | N | 1 | 5 | 2 | 3 | 30 | Sharp containers, area posting, tier I, applicable subject areas, work planning/experimental review | 1 | 5 | 2 | 2 | 30 |  |  |  |  |  |  |  |
| Transporting of chemicals | See Transporting Hazardous Materials JRA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Further Description of Controls Added to Reduce Risk: Recommendation to post chemical storage areas with a common incompatibles list (does not have to be all inclusive) |
| *Risk: | 0 to 20 Negligible | 21 to 40 Acceptable | 41-60 Moderate | 61 to 80 Substantial | 81 or greater Intolerable |