Development of Optically Enhanced Back Reflectors and Improved Deposition Processes for Amorphous Silicon-Based Photovoltaic Technologies

ANNUAL TECHNICAL STATUS REPORT

June 15 2002 - September 15 2003

Scott J. Jones (Principal Investigator), Greg Demaggio, Masat Izu

Tongyu Liu, David Tsu, Jeff Steele and Rey Capangpangan

Energy Conversion Devices, Inc.

NREL Technical Monitor

Bolko von Roedern

Prepared under Subcontract No. ZDJ-2-30630-22

Preface

This Annual Subcontract Report covers the work performed by Energy Conversion Devices, Inc. for the period June 15, 2002 to September 15, 2003 under DOE/NREL Subcontract No. ZDJ-2-30630-22.  The following personnel participated in the research program.

R. Capangpangan, G. Demaggio, M. Izu, S. Jones, T. Liu, S.R. Ovshinsky, J. Steel and D. Tsu.

We would like to specially thank Professors Hellmut Fritzsche and Joe Doehler for the many discussions and input he has made in advancing this program.

Executive Summary

Objectives

In this program, we plan to improve the module efficiencies through development of a new optically enhanced Al/ZnO back reflector and improved i-layer deposition process.   In the case of the back reflector development, a multi-layered thin film structure consisting of films with contrasting indices of refraction placed between the Al and ZnO layers of the back reflector will be developed to improve the reflectivity of the back reflector structure. The ultimate goal is to achieve the high currents and cell efficiencies typically obtained with the Ag/ZnO back reflector with a new optically enhanced back reflector that can be used in the solar module products.  Ag/ZnO back reflectors are presently used only in R&D applications due to long term instabilities related to electromigration of Ag.  For the multi-layered structure, focus will be on preparing the layers using sputtering techniques so that this technology might be quickly applied to ECD’s present back reflector fabrication process that uses sputtering techniques.

In the case of the i-layer, focus will be on preparing microcrystalline silicon based intrinsic layers for low cost, high stable efficiency solar cells through the use of high intensity (decomposition rate) plasmas.  In these studies, the effects of such deposition conditions as ion bombardment, substrate temperature and etchant gases on the grain size and film transparency will be studied and correlated with cell performance.

Achievement of the goals of this program and application of these advancements to ECD’s joint venture company’s production lines would lead to an immediate improvement in module efficiencies.  These advances along with ECD’s participation in the NREL a-Si teams with other development programs will contribute to the ultimate goal of achieving stable efficiencies of 15% using a low-cost, scalable, manufacturable techniques and inexpensive substrates.

Approach

To improve the back reflector performance, a new multi-layer Al/(low index layer)/(high index layer)/(low index layer)/ZnO structure is being developed in this program.  Fabrication of the back reflector layers is initially being done using the dc sputtering technique presently used in the production plant.  As a first step to development of the back reflector structure, a number of materials are being developed.  In particular, deposition conditions for a transparent conductor with an index of refraction of 1.6 or less is being devised.  We are first testing different ZnO alloys as a low index material with ZnOMgF and ZnOSi alloys already developed.  Also the conditions used to make the high index materials (n>3.0) are being determined with doped a-Si and a-SiGe as the first two candidates.

Having developed the necessary materials, a number of Al/(low index layer)/(high index layer)/(low index layer)/ZnO structures are being made to optimize the reflectivity of the stack through variation of the layer thicknesses.  Low bandgap a-SiGe nip semiconductor stacks will be deposited on the back reflector structures followed by top TCO/Al contacts to fabricate small area solar cells to test device performance.  With these cells, we will be looking for improvements in short circuit currents and cell efficiencies with the use of these new types of back reflector structures.  Besides testing for reflectivity, we will also test the use of different layer texturing schemes to obtain light scattering properties which enhance the probability of photon absorption and increase the short circuit currents.

Microwave techniques are being used to prepare microcrystalline Si nip cells to achieve high performance at i-layer deposition rates near 15 Å/s.   This is a continuation of previous studies in which 7.0% stable efficiencies were obtained for single-junction cells using these high deposition rates.  The i-layers are presently being made in a single chamber system while the doped layers are prepared by the standard 13.56 MHz PECVD technique in a second multi-chamber system. Deposition conditions are being varied to optimize small area cell performance.

Results/Status

The following has thus far been achieved during this program:

- We have refurbished a sputtering machine to complete the back reflector depositions,

- We have developed conditions to make transparent, conductive ZnO layers with index of refraction values near 1.8,

- We have developed conditions to make transparent, conductive ZnOSi and ZnOMgF alloys with index of refraction values between 1.6 and 1.7,

- We have tested the reflectivity of Al/ZnO/ ZnOSi/doped Si/ ZnOSi/ZnO back reflector structures and found it to be lower than that for Al/MgF/Si/MgF structures in the 600-1000nm range (the range of interest for back reflectors).  The reflectivity for Al/MgF/Si/MgF is similar to that for Ag/ZnO in the 600-1000 nm range.  We are presently determining the reason for the low reflectivity for Al/ZnO/ ZnOSi/doped Si/ ZnOSi/ZnO structure.  Because of the low reflectivity, improvement in the cell performance has yet to be obtained.

- We have found that replacing doped a-Si with doped a-SiGe in the multi-layer structure does lead to a significant improvement in the reflectivity of the back reflector.

- We have tested the use different SiH4+SiF4 total gas flows during microcrystalline Si i-layer depositions to increase the degree of etching during growth but no improvement in cell performance was obtained.

Publications

Listed below are articles in which these works were published during the entire program.

S.J. Jones, G. Demaggio, J. Doehler, T. Liu and D. Tsu, “Development of Optically Enhanced Back Reflectors for Amorphous Silicon-Based Photovoltaic Technologies. ”, Program and Proceedings: NCPV and Solar Program Review Meeting 2003, March 24-26, Denver, CO, 823.

Table of Contents

Title Page											        1

Preface												        2

Executive Summary										        3

Table of Contents										        5

List of Figures											        6

List of Tables											        7

Introduction											        8

Experimental											       10

Results												       11

Back Reflector Studies									       11

Back Reflector Deposition Equipment Upgrade					       11

###### Single layer material studies							  	       12

ZnO alloys									       13

Doped SiOx									       17

Al/Multi-layer/ZnO results								       17

Solar Cells										       18

Discussion and Future Work								       20

Microcrystalline Si studies								       21

List of Figures

Figure 1.  ECD/United Solar’s triple-junction solar cell structure.				     8

Figure 2. Cell structure using the new type of back reflector.				     9

Figure 3. Test structures used for optimizing back reflectors.				    10

## Figure 4.  Depiction of dc sputtering system.							    12

Figure 5. New back reflector structure.  							    12

Figure 6. Effect of index of refraction of layers on reflectivity.				    13

Figure 7. Quantum efficiency data for Al/ZnO and Al/ZnO/Si/ZnO structures with room temperature Al.										    14

Figure 8. Index of refraction for ZnO made at different temperatures.			    14

Figure 9. Index of refraction for ZnOSi with different Si contents.			 	    15

Figure 10. Index of refraction for ZnOMgF with different MgF contents.			    16

Figure 11. Resistivity vs. index of refraction for ZnO alloys.					    16

Figure 12. Reflectance spectra for various structures.					    18

Figure 13. New deposition chamber for microcrystalline Si deposition.			    22

List of Tables

Table I. Properties for cells with Al/ZnO and Al/ZnO/Si/ZnO back reflectors.		    14

Table II.  a-SiGe cell performance for devices made with different back reflectors. 		    19

Table III.  Data for (c-Si cells made by the Gas Jet technique.				    21

Introduction

Over the past 15 years [6-8], ECD has pioneered and continued the development of several key a-Si PV technologies. An a-Si/a-SiGe/a-SiGe triple junction, spectrum splitting cell structure has been developed to achieve high efficiencies for a-Si based solar modules. This structure is depicted in Figure 1.  With this design, ECD and United Solar have set several light-to-electricity efficiency records including United Solar’s world record 10.5% stable triple junction a-Si alloy solar panel with over 1 ft2 area and a 13% stable active area efficiency for a 0.25 cm2 cell.  To market this technology, a roll-to-roll manufacturing process was developed through ECD’s machine division. This inexpensive process uses a 14”, ½ mile long steel web as a substrate material on which the light absorbing layers is deposited.  ECD has developed the process through several generations of manufacturing machines with the out come of a production process which offers significant economy-of-scale advantages and results in dramatic cost savings as the volume of production increases.  This technology is presently being used in United Solar’s 25 MW production line in Auburn Hills, MI.

Figure 1.  ECD/United Solar’s triple-junction solar cell structure.

While several advances have been made on the R&D level to increase small area cell and module efficiencies, the stable efficiencies presently obtained for the large area modules made in Uni-Solar’s production machine are between 8.0 and 8.5%, roughly 20% lower than the 10.5% value obtained for the 1 sq. ft. module in R&D.  The deficiencies in the module performance in production are in part related to the following alterations to the fabrication process from that used in R&D:

- Use of deposition rates of 3 Å/s as compared with the 1 Å/s rate used in R&D – in order to use gas utilization rates which make the process economically feasible, conditions must be used that increase the i-layer deposition rates to roughly 3 Å/s.  This leads to poorer i-layer and cell performance.

- Use of Al/ZnO back reflectors rather than the Ag/ZnO used in R&D – because of poor long term yield issues, the Ag/ZnO layer is not presently used in production, instead a sturdier Al/ZnO structure is used.  Because of the poorer reflectance properties of Al as compared with Ag, roughly a 10% drop in current and cell efficiency is observed with the use of the Al/ZnO back reflector.

In terms of addressing these issues in order to improve the module efficiencies obtained in production, several research and development programs have been undertaken.  To improve the performance of cells made using i-layer deposition rates of 3-10 Å/s, both United Solar and ECD, through the Thin Film Partnership Program, have carried out studies of i-layers made at high rates using the standard 13.56MHz PECVD technique and VHF PECVD techniques using frequencies between 70 and 100 MHz[9,10]. While some progress has been made, the efficiencies for the cells made at the higher deposition rates remain lower than those made using the 1 Å/s conditions.

In contrast to the high deposition rate issue, little work has recently been done on improving the back reflector used in the manufacturing of the solar modules.  Considering the potential 10% increase in module performance if an environmentally stable back reflector that has similar performance capabilities to Ag/ZnO is developed, it is important that some research efforts be undertaken in this area.  Some attempts have been made to using barrier layers to improve the stability of the Ag/ZnO back reflectors[4].  While some short term improvement of the cell yields have been observed, the long term air exposure issue has yet to be solved without substantial decreases in cell efficiency.

As part of this NREL supported program, we plan to improve the currents of the modules through development of a new optically enhanced Al/ZnO based  back reflector.   In the case of the back reflector development, a multi-layered thin film structure consisting of films with contrasting indices of refraction (n) placed between the Al and ZnO layers of the back reflector will be developed (See Figure 2). The addition of the multi-layer structure will improve the reflectance properties of the back reflector.  In this program, these new types of back reflectors will be tested in amorphous silicon based single junction and multi-junction devices.  The differences in n of the different layers of the multi-layered back reflector and electrical conduction through the multi-layered structure will be optimized to obtain the highest reflection values, highest currents and best cell performance.  The ultimate goal is to achieve the high currents and cell efficiencies typically obtained with the Ag/ZnO back reflector with an Al/(multi-layered structure)/ZnO back reflector that can be used in the solar module products.  For the multi-layered structure, focus will be on preparing the layers using sputtering techniques so that this technology might be quickly applied to ECD’s present back reflector fabrication process that uses sputtering techniques.

Figure 2. Cell structure using the new type of back reflector.

##### Experimental

For the back reflector development, the layers were primarily made using the dc sputtering technique.  The system used to prepare the layers contains four different sputtering cathodes to deposit four different types of materials in one system pumpdown.  A movable substrate and rail system are used to move the substrate past the targets at a fixed speed during film deposition to simulate the roll-to-roll deposition process.  Presently, back reflector layers are deposited on six 2” x 2” substrates during each run, however substrates as large as 1’ x 1’ can be used with the existing hardware.  During materials development, films were deposited on 7059 glass and/or quartz substrates for various optical and electrical measurements to determine such properties as reflectivity, conductivity, index of refraction, absorption and film thicknesses.  To fabricate the Si layer, a P doped Si target (200ppm) was used while a ZnAl alloy target with 5% Al was used to fabricate the ZnO alloys.

For multi-layer back reflector fabrication, multi-layer stacks were deposited on 5 mil stainless steel substrate typically used in Uni-solar’s manufacturing facility.  To initially characterize the back reflector performance, nip amorphous silicon germanium semiconductor structures were deposited on the back reflectors followed by top contacts to create 0.25 cm2 solar cells (depicted in Figure 3).  The nip structures were fabricated using a research scale, multi-chamber load locked deposition system and the standard 13.56 MHz Plasma Enhanced Chemical Vapor Deposition (PECVD) technique. Both the ITO and Al layers are prepared using standard evaporation techniques.  For promising back reflector conditions, a-Si:H/a-SiGe:H/a-SiGe:H triple-junction cells will be made.

a-SiGe:H Cells

Figure 3. Test structures used for optimizing back reflectors.

To characterize the solar cells, standard IV and spectral response (quantum efficiency) measurements are made.  Since our goal is to use the back reflectors to enhance the currents for the a-SiGe:H  middle and bottom cells in the triple-junction cells, the AM1.5 light for the IV measurements of the a-SiGe:H cells is filtered using 630nm cutoff filters to simulate the absorption due to a top a-Si:H cell.  To complete light soaking studies, the cells are subjected to 600-1000 hrs. of one sun light with the cell temperature fixed at 50ºC.  The i-layer thicknesses are determined using standard capacitance techniques.

For the microcrystalline Si growth studies, single-junction nip microcrystalline Si solar cells are being fabricated to characterize the microcrystalline Si quality.  The Si materials have been prepared using microwave techniques to achieve high decomposition and growth rates.  Since our goal is to create cells for red-light absorption, cells are again characterized using unfiltered AM1.5 light and AM1.5 light filtered using 630nm cutoff filters to complete IV measurements.  Light soaking of the cells are also completed using the method used for the a-SiGe:H cells for the back reflector characterization.

Results

Back Reflector Studies

In devising the new back reflector structure, one should consider two properties the present Ag/ZnO back reflectors provide.  First is the high reflectivity of the Ag metal and second is the texture surface at the ZnO top surface which provides light scattering properties to enhance the probability of light collection and higher solar cell currents.  The textured surface is typically obtained by using high deposition temperatures during metal growth and/or thick layers (metal and/or ZnO).  With the new Al/ML/ZnO structure, the addition of the multi-layered structure should lead to enhanced reflectivity.  The exact source for light scattering (surface texturing or particle scattering) in this new back reflector structure has yet to be determined.

Back Reflector Deposition Equipment Upgrade

Prior to beginning the back reflector studies, the equipment used to make the back reflectors required significant upgades.  The system has been used in the past for fabricating back reflector layers on 14” stainless steel webs, however it has not been in operation for three years and several key fixtures need to be repaired.  These included:

- Repair of substrate heating system,

- Repair of diffusion pumping system,

- Repair of sputtering power supply,

- Installation of additional gas lines including those for oxygen incorporation for reactive sputtering,

- Replacement of web drive system with rail system for 14” x 14” substrate holder.

In particular, construction of the rail system was imperative and required a significant amount of time.  The existing web drive system was obsolete and in need of significant repair.  Also the drive system was built to move web in only one direction and because of this would not have been desirable for this program.  All of the parts for this new rail system were fabricated in ECD’s model shop.

A depiction of the system after completion of the repairs is shown in Figure 4.  With this system, one is able to deposit with four different targets in one system pumpdown.  Between two targets is a gas manifold that allows for uniform Argon or reactive gas flows (such as Oxygen) across two of the targets.  The substrate rail system allows for movement of one 1’ x 1’ substrate or six 2” x 2” substrates across the deposition areas to simulate the web movement presently used in the production machines built by ECD.

## Figure 4.  Depiction of dc sputtering system.

###### Single layer material studies

The multi-layer structure to be optimized in this program is depicted in Figure 5.  The multi-layer consists of a high index conductive material (n =3.2 or greater) sandwiched between two low index materials (n<2.0).  Both of the materials need to be somewhat transparent and conductive.  Early results from modeling of the reflectivity suggest that more focus should be spent on developing the low index material than increasing the index of the high index materials.  Figure 6 shows the dependence of absorption of the structure as a function of the low n and high n values.  This absorption value is roughly inversely proportional to the reflection from the back reflector structure.  From this data, it was determined that lowering n for the two low n layers would be more effective in increasing the reflection form the back reflector than raising the index of refraction for the high n material.  Thus we have spent the initial portion of this program developing the low index, transparent conductive oxide.  As figure 3 shows, we have chosen to initially use doped a-Si as the high index material because of minimal light absorption in the red portion of the solar spectrum, a reasonably high conductivity when doped, and an index of refraction of 3.2.

Figure 5. New back reflector structure.

Figure 6. Effect of index of refraction of layers on reflectivity.

ZnO alloys

As a first attempt to prepare the desired low index materials, a number of, ZnO films were deposited under a variety of dc reactive sputtering deposition conditions.  The conditions were varied to observe if the index of refraction could be significantly altered without the addition of other elements to the ZnO alloy.  The deposition conditions varied included chamber pressure, substrate temperature, applied power and oxygen flow.  Of the conditions varied, oxygen flow and substrate temperature had the greatest effect.  With a fixed moderate substrate temperature of 150°C, at low oxygen flows, the films were Zn-rich and metallic in nature, as one would expect, and became low absorbing, TCO-like when a certain oxygen threshold was reached.  Throughout this range of oxygen flow, we were not able to find conditions where the index of refraction was less than 1.8 and reasonable transparency and conductivity values were obtained.

Using conditions which gave an n=1.8 value, an Al/ZnO(1.8)/Si/ZnO(1.8) stack was made and compared with an Al/ZnO back reflector stack. For these initial studies, specular Al layers with little texture were used.  To characterize the back reflectors, a-SiGe:H nip stacks were deposited onto the back reflectors and ITO/Al top contacts subsequently deposited onto the semiconductor stack to create small area (0.05 cm2) solar cells.  In Figure 7, quantum efficiency spectra for devices made using the two different types of back reflectors are displayed.  Enhanced quantum efficiency in the red portion of the spectrum for the cell with the Al/ZnO/Si/ZnO back reflector can be seen from the figure.  This increased collection was confirmed with IV measurements (see Table I) where increases in Jsc values of 0.5-1.0 mA/cm2 have been observed for the Al/ZnO/Si/ZnO cells.  However, the currents are still low partially due to the specular surface of the Al layer.  To obtain the desired large increases in Jsc, the index of reflection of the low n material must further be reduced.

Figure 7. Quantum efficiency data for Al/ZnO and Al/ZnO/Si/ZnO

structures with room temperature Al.

Table I. Properties for cells with Al/ZnO and Al/ZnO/Si/ZnO back reflectors.

| Type of Back reflector | Jsc (mA/cm2) | Voc (V) | FF | Pmax (mA/cm2) |
| --- | --- | --- | --- | --- |
| Al/ZnO | 15.1 | 0.683 | 0.395 | 4.07 |
| Al/ZnO/Si/ZnO | 15.8 | 0.687 | 0.416 | 4.52 |

Lowering the index of refraction below n=1.8, the effect of substrate temperature on the ZnO film growth was also studied.  Figure 8 displays the change in n with light wavelength for films deposited at 25°C and 250°C.  The back reflector is only effective in the region between

Figure 8. Index of refraction for ZnO made at different temperatures.

roughly 550nm and 1000nm, as depicted in the figure.  Below 550nm, top and middle cells absorb most of the light while the a-SiGe:H bottom cell typically does not contain enough Ge to absorb light beyond 1000nm.  One can see from the figure that as the substrate temperature is increased from 25 to 250°C, n is decreased from roughly 1.90 to 1.73.  The conductivities of the films deposited at 250°C were actually higher than those deposited at the lower substrate temperature (resistivity of 230 ohms/cm2 as compared with 5x104 ohms/cm2).  With further alterations in other deposition parameters, we have been able to obtain ZnO films with average index of refractions in the region of interest of 1.65 however the films did not have the desired transparency.

To obtain TCOs with n<1.7, we studied the addition of other elements to the ZnO alloy.  Figure 9 displays optical data for ZnOSi alloys.  Specifically, the index of refraction is plotted as a function of wavelength for three different ZnOSi films with different Si contents.  Si was added to the process by placing Si wafers on the Zn target.  For this material’s use as a component layer of the back reflector structure, the wavelength region of interest is roughly between 550 and 1000 nm, as is identified in the figure.  In this wavelength region, one can see a favorable decrease in the index of refraction with increasing Si content.   We have also explored a second alloy, ZnOMgF.  Figure 10 displays variation of the index of refraction as a function of wavelength for three ZnOMgF films with different concentrations of MgF2 placed on the Zn target.  The red curve has the largest amount of MgF2 and one can see that in the region of interest for its use as a back reflector material, the average n is roughly around 1.64.

Figure 9. Index of refraction for ZnOSi with different Si contents.

Wavelength (nm)

0	   250    500    750   1000  1250   1500  1750   2000  2250 2500

Figure 10. Index of refraction for ZnOMgF with different MgF contents.

In terms of the conductivity of these materials, Figure 11 displays the trends in resistivity with index of refraction changes with alloying of ZnO with Al, Si and MgF2.  For both alloys with Si and MgF2, under certain deposition conditions, we have been able to prepare materials with high conductivity ((o<10-3 (cm), high transparency (96-97%, see numbers on figure) and n

Figure 11. Resistivity vs. index of refraction for ZnO alloys.

between 1.6 and 1.7 through alloying ZnO with Si and MgF2.   As n is decreased from 1.88 to 1.65 with the addition of more Si or MgF2, a slight rise in resistivity is observed as Si is increased while virtually no change in resistivity as more of MgF2 is added to the alloy.  Increasing the amount of Si and MgF2 further such that n<1.6, the resistivity increases to values of 15 x 10-3 (cm or greater (in the case of ZnOMgF, the resistivity values are greater than 20 x 10-3 (cm).  Doping of the materials to increase the conductivity will likely be required for these n<1.6 materials to achieve the desired performance.  When Al is added to the ZnOSi alloy, no improvement in the conductivity was observed and when the amounts of Al became excessive, AlOx formation dominated the structure leading to high resistivity values and fixed indices of refraction near 1.7, the value typically obtained for Al2O3.

Doped SiOx

As an alternative to the ZnO alloys, we have completed a small number of experiments (less than 10) to fabricate conductive doped SiOx films.  The layers were made by dc sputtering of a Si target with W pieces placed on top of the target in an Ar + O2 atmosphere.  Unfortunately, we have yet to prepare the correct W doping level to obtain a transparent conductive layer.  Because of the small number of experiments, obtaining the desired film characteristics may be a matter of further optimization of deposition conditions or it could be related to an inability to dope the sputtered films due large defect densities.  Preparing these layers by PECVD techniques might lead to less defective, dopable materials.  Adding a PECVD process to the present dc sputtering back reflector fabrication method would make the process significantly more complex but could be done.  In the coming months, we will decide whether to further pursuit of doped SiOx is worth our team’s efforts.

Al/Multi-layer/ZnO results

Prior to testing the back reflectors with nip solar cell stacks, a number of Al/multi-layer/ZnO structures have been fabricated for reflectivity measurements.  Since there was no nip stack on top of the back reflector and the ZnO interfaced with atmosphere (n=1), these measurements were used not to determine the thicknesses of the various layers comprising the back reflectors.  They were used to determine if the multi-layer structure does lead to a significant increase in reflection in the red region of the light spectrum.  To eliminate the possibility of different degrees of texturing affecting the reflectance, the Al layers were deposited at room temperature leading to a surface that is close to specular.  Figure 12 compares reflectivity data for four different structures, 1) a single Al layer made in the same dc sputtering system used to make the ZnO alloys, 2) Al/ZnO/ZnOSi/Si/ZnOSi/ZnO, 3) Al/ZnO/ZnOSi/SiGe/ZnOSi/ZnO, and 4) Al/MgF2/Si/MgF2.   For structures 2-4, the layer thicknesses were varied to obtain the highest reflection in the region of interest (600-100nm) where light is absorbed by the bottom and middle component cells of the triple-junction a-Si/a-SiGe/a-SiGe structure.  The Al//MgF2/Si/MgF2 structure was made in an earlier program with the MgF2 layers made using evaporation techniques.  It was demonstrated that this stack has similar reflectivity properties to specular Ag/ZnO in the 600-100nm region.  In this region, one can see that on average the reflectance for the Al/ZnO/ZnOSi/Si/ZnOSi/ZnO structure is slightly lower that that for the bare Al.  This was unexpected since modeling suggested that the structure would lead to improved total reflectance.  The lower values for the Al/ZnO/ZnOSi/Si/ZnOSi/ZnO structure could be related to some source of absorption that has yet to be determined or a textured surface (interface) which would lead to a scattering source not taken into account by our modeling.  In an attempt to increase the reflectance, we have just recently fabricated a structure with an a-SiGe layer as the high index layer of the multi-layer structure.  This will lead to an increase in n of the high index layer and thus an increase in (n between the high index and low index (ZnOSi) layers.  As would be expected, the reflectance increased with the replacement of Si with SiGe and the new structure has reflectivity properties significantly higher than for the Al layer.  While the reflectance is higher, use of a-SiGe leads to higher red light absorption and thus may not be desirable for this application.  We are also now in the process of re-checking the optical properties of the sputtered Si.

Figure 12. Reflectance spectra for various structures.

Solar Cells

A number of a-SiGe solar cells were fabricated with the back reflector structures to demonstrate the back reflector performance.  To optimize the performance, the various layer thicknesses were altered to obtain the high solar cell currents and efficiencies.  In particular, focus was on cell performance in the red portion of the light spectrum where the back reflector quality is of importance. The amount of Ge in the a-SiGe layer for these cells is higher than what is typically used for the bottom cells of the triple-junction structure in order to more closely monitor the back reflector performance.  The Al/ZnO/ZnOSi/Si/ZnOSi/ZnO back reflector structure is the only structure yet to be optimized using the nip solar cells.  There is some question as to whether the Al should be textured for current enhancement as is typically done with the Al/ZnO back reflectors or if the Al should be specular to obtain the most benefit from the addition of the ML structure.  Thus we have fabricated cells with both textured (high substrate temperature) and specular (low substrate temperature) surfaces for the Al layer.

Table II compares data for cells with Al/ML/ZnO back reflectors with those for cells with standard Al/ZnO and Ag/ZnO back reflectors.  All of the back reflectors were made in the same deposition system except for the Al/ZnO made in United Solar’s production machine (labeled as from production machine).   The amorphous semiconductor and ITO depositions for each of the back reflectors were made using the same R&D deposition systems using nominally the same deposition parameters.  Comparing the cells with Al/ML/ZnO having textured Al to those with specular Al, the cell current and overall performance is significantly higher for the cells with the textured Al surface.  This demonstrates the improvement one is able to obtain with the textured surface.  Comparing the performance of the Al/ML/ZnO back reflector having the textured Al with Al/ZnO structures made using both the R&D and Production machines, the overall performance is quite similar.  There are some differences in the Voc, Jsc, FF and Rs values, but the Pmax values are all in the 2.5-2.7 mW/cm2 range.  The 2-3 Ohms cm2 difference in the series resistance for the Al/ML/ZnO and the Al/ZnO may suggest a slight problem with the Al/ML/ZnO back reflector, however the difference may also reflect slight variations in the Ge contents in the i-layers.  The performance of all of the Al based back reflectors are still significantly poorer than that for the Ag/ZnO back reflectors, as is shown in the table.

Table II.

a-SiGe cell performance for devices made with different back reflectors.

Cell properties obtained using AM1.5 light filtered with 630nm cutoff filter.

(ML structure is ZnO/ZnOSi/Si/ZnOSi/ZnO)

| Type of Back Reflector | Voc (V) | Jsc (mA/cm2) | FF | Rs (Ohms cm2) | Pmax (mW/cm2) |
| --- | --- | --- | --- | --- | --- |
| Al/ML/ZnO from R&D BR machine (Textured Al) | 0.519 | 9.47 | 0.527 | 14.5 | 2.59 |
| Al/ML/ZnO from R&D BR machine (Textured Al) | 0.538 | 9.05 | 0.527 | 15 | 2.57 |
| Al/ML/ZnO from R&D BR machine (Specular Al) | 0.538 | 7.03 | 0.511 | 18.9 | 1.93 |
| Al/ZnO from R&D BR machine (Textured Al) | 0.520 | 9.50 | 0.545 | 12.1 | 2.69 |
| Al/ZnO from R&D BR machine (Textured Al) | 0.509 | 9.29 | 0.538 | 12.2 | 2.54 |
| Al/ZnO from Production machine (Textured Al) | 0.541 | 9.63 | 0.477 | 20.9 | 2.49 |
| Al/ZnO from Production machine (Textured Al) | 0.520 | 9.66 | 0.492 | 18 | 2.47 |
| Ag/ZnO from R&D BR machine (Textured Ag) | 0.573 | 11.4 | 0.541 | 13.6 | 3.53 |
| Ag/ZnO from R&D BR machine (Textured Ag) | 0.556 | 11.4 | 0.515 | 18.4 | 3.26 |

Discussion and Future Work

The fact that the addition of the multi-layer stack to the Al/ZnO structure has yet to lead to increased back reflector performance may be attributed to two reasons.  First the reflectance data suggests that the addition of the ZnOSi/Si/ZnOSi structure has yet to lead to an increase in reflection which is surprising since simulations that use optical data for single layers of these films to simulate the reflectivity from the multi-layer structure suggest that we should exceed the values for the Al/ZnO structure.  Possibly there is some source of absorption or light scattering (textured surface?) that we have not taken into account.  The fact that we can obtain increased reflectivity by substituting the Si layer with an a-SiGe layer suggests that there are avenues to achieve the desired reflectivity.  An improvement in the back reflector performance  with the addition of the ML stack may also be related to the fact that the comparisons made thus far between Al/ZnO and Al/ML/ZnO have been with those having textured Al surfaces.  Deposition of the ML structure on the textured Al surface may minimize the affect of ML structure where the reflectivity is dependent on the thicknesses of the layers comprising the ML.

Considering these issues, there are few tests we will complete during the next year:

- Fabricate cells with Al/ML/ZnO back reflectors having doped a-SiGe layers replacing the doped Si layer.  We have shown that the reflectivity will increase with the use of a-SiGe and thus may lead to improved back reflector performance.  However increased absorption by the a-SiGe layer may lead to similar or even lower currents and solar cell performance.  We will test this with a variation of Ge contents.

- Fabricate Al/ZnO stacks with a specular Al surface with the same R&D system used in these studies to compare cell performance with that for Al/ML/ZnO.  It is important that we set this baseline so that any improvement in solar cell performance with the addition of the ML stack can be observed.  Since texturing the Al surface could minimize the effect of the ML stack, it is important that we do this with a specular Al surface by using low substrate temperatures during Al growth.  The Al/ZnO back reflector made with specular Al whose data is shown in Figure 7 was made under unoptimized conditions and the cells made with different semiconductor processing conditions and thus can not be used for comparison with the optimized Al/ML/ZnO.

- Fabricate Al/ML/ZnO structures using ZnOMgF rather than ZnOSi as the low index layer.  We have shown that indices of refraction near 1.6, high transparency and conductivity values can be obtained for the ZnOMgF alloys.  The deposition process is more difficult than for the ZnOSi alloys, but there performance could be better.

- Fabricate Al/ML/ZnO structures with a specular Al surface and thick ZnO top layers. If a textured surface is required for light scattering, there is some question as to whether this should be the Al surface that is textured or the top ZnO surface should be the textured surface.  Texturing the Al surface could minimize the effect of the ML while texturing the top ZnO will scatter the light in various angles and again possibly minimizing the effect of the ML structure.  We plan to test both scenarios.

- Explore the use of different light scattering sources such as layers having low density regions or voids.    Finding alternative light scattering source to layer texturing might be required.  We plan on testing a number of different materials in a attempt to achieve the light scattering from a layer that is still transparent, highly conductive and when added does not disturb the enhanced reflectivity of the ML structure.

- Continue development of materials with n=1.6 or less that are transparent and conductive.

In addition to the Al/ML/ZnO studies, we plan on pursuing the development of potential diffusion barriers for Al and Cu.  In particular, we plan on testing the use of high density a-SiC materials which previously have been used to successfully limit Cu diffusion.

Microcrystalline Si studies

Improving the performance of the back reflectors used for the solar panels fabricated with our machines is presently one of the major goals of ECD.  Also other members of the team are developing the microcrystalline Si cells while little work is being done on the back reflector issue.  Thus in this program we are focusing on the back reflector development and are spending less time on the microcrystalline Si development.  During this reporting period, we have fabricated some microcrystalline Si single-junction cells in an attempt to improve the performance of the cells fabricated at high i-layer deposition rates (15-20 Å/s) over the efficiencies obtained in previous studies.  As in these earlier studies, the i-layers were made in a single chamber system using microwave techniques.  The doped layers were deposited in a separate system using the standard 13.56MHz technique and deposition rates near 1 Å/s.  During transport between the deposition systems, air exposure of the samples was minimized through the use of a mobile evacuated chamber.  The nip structures were deposited on Ag/ZnO coated stainless steel substrates and ITO/Al were deposited on top of the nip structures to complete the solar cell structures.

Table III compares data from our previous studies (8/01) with the studies completed in this program.  Prior to 8/01, we were able to obtain red light efficiencies of 2.8-2.9 mW/cm2 using a technique in which a Gas Jet was subjected to high intensity microwaves.  Using the same system, we have altered the SiH4/SiF4 ratio in the deposition process in an attempt to improve the FF of the single-junction devices.  The idea was to increase the degree of etching by increasing the amount of SiF4 used while maintaining a deposition rate of around 15 Å/s by increasing the amount of SiH4.  As can be seen from the data in the table, on average the cells with high SiH4 + SiF4 total flows have slightly poorer performance.

Table III.

Data for (c-Si cells made by the Gas Jet technique.

IV data taken using AM1.5 light filtered with 630nm cutoff filter (red light).

| Report Date | SiF4+SiH4 flow | Voc (V) | Jsc (mA/cm2) | FF | Rs (ohmcm2) | Pmax (mW/cm2) |
| --- | --- | --- | --- | --- | --- | --- |
| 8/01 | Low | 0.483 | 10.32 | 0.570 | 8.1 | 2.84 |
| 8/01 | Low | 0.475 | 10.92 | 0.559 | 7.8 | 2.90 |
| 8/01 | Low | 0.452 | 11.47 | 0.528 | 7.8 | 2.74 |
| 8/01 | Low | 0.458 | 11.70 | 0.514 | 8.4 | 2.75 |
| 8/03 | High | 0.461 | 10.40 | 0.571 | 8.0 | 2.74 |
| 8/03 | High | 0.436 | 10.55 | 0.574 | 7.7 | 2.64 |
| 8/03 | High | 0.460 | 10.63 | 0.544 | 8.4 | 2.66 |
| 8/03 | High | 0.425 | 11.26 | 0.524 | 8.7 | 2.51 |
| 8/03 | High | 0.418 | 11.50 | 0.516 | 8.7 | 2.48 |

There is some concern that the results we obtain from the single chamber system are restricted to a certain level of performance because of the exposure of the doped/intrinsic interfaces to atmosphere.  Thus, we are presently adding a new process chamber (see Figure 13) to our load lock system which will be dedicated to microwave high growth rate processes in the milli-torr pressure regime.  This load lock system presently consists of three other chambers dedicated to n, i or p-layer PECVD depositions that are separated by gate valves. Thus in this system, we will be able to prepare microcrystalline Si nip structures using high i-layer deposition rates without breaking vacuum.

Figure 13. New deposition chamber for microcrystalline Si deposition.

# Text boxes

Target

Target

TCO (low n)

Substrate

Target

Target

Heaters

Substrate movement

Substrate

# H

Heaters

Al

high n material (a

-

Si

)

TCO (low n)

ZnO

(if needed)

Multi

-

layered

structure to

enhance reflection

Proven metal layer

-

stable, no diffusion

Proven good interface

With a

-

Si

Stainless Steel Substrate

250ºC

25ºC

Region of interest

for reflection

Region of interest

Increased alloying (Si)

N=1.65

Region of interest

94

96

94

97

96