# Transducer Types

## Transducer type descriptions

The standard defines the behavior of three transducer types. Attributes are then used to further define the characteristics of the transducer. There is a forth type allowed by the standard but not defined. This is the general transducer type.  The transducer types are:

- Sensor

- Actuator

- Event sensor

- General transducer

The term transducer as used in this document refers to the physical transducer and all electronics in the path that connects the transducer to the communications functions. This is a broader definition of the term transducer than is normally used. In its basic definition a transducer converts energy from one form to another. So a sensor would be a transducer that converts energy form one form, temperature, pressure,etc, to electrical energy. An actuator is a transducer that converts energy form an electrical form to some other form. A heater is a simple example of an actuator. However, for the purposes of this document we are including the signal conditioning, analog-to-digital conversion and any other electronics used to interface the energy-converting element with the Transducer Bus in the term "transducer." This allows us to add characteristics to the devices that go far beyond the conversion of energy from one form to another.

In the IEEE standard 1451.2 the definition of the transducer type defined its characteristics. This is useful but it did not allow as much flexibility as the 1451.3 working group desired. For example in 1451.2 you could have a sensor or a buffered sensor. The transducer type was determined by the manufacturer and could not be changed. However, the basic difference between the two types could be as simple as a single register. With processor based sensors it could be just a slightly different set of software. The 1451.3 working group chose to define fundamental transducer types and to allow attributes to define or change the characteristics of the transducer. The use of attributes allow a sensor to be designed and manufactured that can be used in several different ways by programming the attributes. A device can also be built that does not allow programming the attributes so it becomes fixed much like a 1451.2 STIM. Table 1 shows the comparison between the IEEE 1451.2 sensor types with the IEEE P1451.3 sensor type with the applicable attributes. The IEEE P1451.3 standard allows the attributes to be either programmable or fixed. That is the manufacturers choice. Note that the streaming attribute is not available in IEEE 1451.2. However the streaming operation can be achieved by using a data sequence sensor and running the appropriate software in the NCAP.

Table 1 IEEE 1451.2 sensor types compared with IEEE P1451.3

| IEEE 1451.2 Transducer Type | IEEE P1451.3 Transducer Type | Sampling attribute | Buffers attribute | Streaming attribute |
| --- | --- | --- | --- | --- |
| Sensor | Sensor | Trigger initiated attribute | Off | Not available in IEEE 1451.2 |
| Buffered Sensor | Sensor | Trigger initiated attribute | On |  |
| Data Sequence Sensor | Sensor | Free running attribute | Off |  |
| Buffered Data Sequence Sensor | Sensor | Free running attribute | On |  |

## Data sets

All IEEE P1451.3 transducers operate with "data sets."  Three fields within the Transducer Specific TEDS define a data set. They are the Channel Data Repetitions, Series Units and Series Increment. The Channel Data Repetitions field defines the maximum number of individual data samples in a data set.  The actual number of samples in a data set can be made lower than the number in the Channel Data Repetitions field by the appropriate control command.  However, when reset or powered up the unit will default to the value in the TEDS.  The Series units and the Series Increment fields are closely related. The Series Increment field defines the interval between samples. The Series Units define the units for the Series Increment. For example if you want a sensor to take samples 1000 times per second. The value in the Series Increment would be 0.001 and the entry in Series Units field would be seconds. However if you wanted a sensor to take a reading every time the temperature changed by five degrees Kelvin the value in the Series Increment would be 5.0 and the entry in the Series Unit field would be degrees Kelvin. This latter example creates some interesting situations for the system designer. In traditional data acquisition systems data is sampled either in uniform time intervals or on command from the controller. This makes it relatively simple for the controller to know when to read a sample because both the data sampling sub-system and the controller could use the same variable, time, to determine when to take a sample. With the capability as described in IEEE P1451.3 a common variable may not exist between the controller and the data acquisition sub-system. This means that the controller does not know when the TBIM has a new sample available or requires a new sample for output. Exactly how the system designer solves this problem, if it exists in a system, is not mandated by the standard. The standard provides status words that allow the controller to find out what the condition of the TBIM but it does not mandate how they are used.

The size of a data set may be lowered from the number in the Channel Data Repetitions field on the Transducer Specific TEDS. What this field defines is the amount of memory available in the TBIM that can be used to store data samples of this variable. This number is fixed by design and cannot be readily changed in the field. The Series Units field is also something that is designed into the TBIM and is not normally changed in the field. If time is the Series Units variable a clock source is identified and the appropriate hardware or software is incorporated to use the output of this source to determine the interval between samples. However, if the Series Units are degrees Kelvin a temperature measurement is included within the TBIM and the output of that device is used to determine when to take a sample. Since a clock is not normally used to measure temperature once the TBIM is manufactured with Series Units of time it cannot be changed to have Series Units of temperature or vice versa. Thus while these three TEDS fields define the limits of a data set at least some of them can be modified by the appropriate control commands or the use of virtual actuators. See ?? for the details of the control commands.

## Enabling and disabling transducers

Transducers may exist in one of two states. They can be either enabled or disabled. A transducer that is disabled is not acquiring or applying data sets. When it is in this state it will not respond to read or write data commands or triggers. However, it will retain its setup and be able to respond to other commands such as status reads and read or write TEDS commands. It will also accept setup commands. A transducer that has been enabled will respond to all commands. However, it will not normally begin acquiring or applying data until after the first trigger. How it responds after that is determined by the attributes.

## Sensors

A sensor measures a single physical parameter and return a digital data set containing values representing that parameter. In general the sensor shall start the collection and storing of a data set within the TBIM on the receipt of a trigger. The timing of the individual samples in the data set is controlled by the TBIM and is a function of the operating mode of the sensor and the TEDS fields described in 1.2. A sensor responds to a read command by returning the appropriate data set as determined by the Buffered Attribute.  If a new data set is not available the sensor responds with the same data that was returned on the previous read command. The data transmitted in response to a read command may be transmitted using the Bus Management communications channel, the TBIM communications channel or a Data Transfer communications channel. An exception to this general characteristic is for a sensor being operated in the streaming mode.  In the streaming mode the data set is not held in the TBIM waiting for a read command but is transmitted immediately to the TBC. This requires that a dedicated Data Transfer Communications channel be available to the TBIM at the time that the data set is ready to be transmitted.

## Event sensor

An event sensor is intended to provide information about changes of state for the input(s) that the event sensor is designed to monitor. For example lets assume that we have a sensor on a door that detects the door being opened or closed. Lets also assume that the door opening gives a rising transition and the door closing gives a falling transition. If the event sensor is set up to report rising transitions it will tell the system when the door was opened. It will not tell the system if the door is open or closed. The same is true if it is reporting falling transitions. It will tell the system when the door was closed but not whether it is closed or open. If the event sensor is set up to report both transitions it will report when the door has been opened or closed but not if it is open or closed. Assuming that the system can some how be set up to know the initial condition the system can infer whether the door is closed or open from the state transitions as long as no transition is missed. All this is said to emphasize that all an event sensor reports is that a change of state for some input has occurred. If it is desirable to know the present state then a sensor needs to be included in the system that measures the state using a sensor as described in 1.4. Both sensor types can be included within the same TBIM and used on the same input but they have different purposes. Time-of-day sensors or time interval sensors may be used in conjunction with event sensors to determine the time of occurrence of an event.

An event is defined as a transition of state. There only two allowed states, one or zero. The event sensor may be configured to report rising transitions (from zero to one), falling transitions (from one to zero) or both. The time of the event is the point of completion of a selected transition type. A control command specified in ?? allows the TBC to select which transitions the TBIM should report as events, according to the enumeration in Table 2. The default condition is to report both transitions.

Table 2—Enumeration of event sensor configurations

| Value | Meaning |
| --- | --- |
| 0 | reserved |
| 1 | rising transitions reported |
| 2 | falling transitions reported |
| 3 | both transitions reported |
| 4-255 | reserved |

The input to an event sensor can be as complicated or as simple as the manufacturer wants it to be as long as it can be boiled down to something that can be defined as a change of state for a single state variable. The example above for a sensor that detected the door being opened or closed could be a switch and this could be the input to the event sensor. The designer would need to include some way of eliminating switch bounce but that is a relatively simple task. It could also be a temperature-sensing device with a threshold being crossed whenever the temperature went through the threshold. More complex devices are also possible. For example a device could be built to report a change of state every time that the temperature changed by five degrees. Or perhaps it is desirable to report an event only if two or more of three inputs report that the threshold has been crossed. The complexity of the conditions that define the state are not the subject of the standard they are a problem for the designer of the event sensor. The definitions in the standard of what constitutes a change of state are useful for simple event sensors but are not intended to limit the designs that can be implemented.

The input to an event sensor may physically consist of one or more digital or analog inputs. For a digital event sensor, a rising transition is when the inputs match a specific digital pattern without change for a fixed period of time, determined by the manufacturer. A falling transition is when the inputs cease to match the pattern for some fixed time. For an analog event sensor, upper and lower thresholds are defined. The lower threshold differs from the upper by a quantity called hysteresis. A rising transition is when the analog input value passes successively through the lower and upper thresholds without recrossing either. A falling transition shall be when the analog input value passes successively through the upper and lower thresholds without recrossing either.

There are two types of information that may be obtained using an event sensor. One is the fact that an event has occurred and the other is the time of the event. When an event occurs on a triggered event sensor the TBIM will transmit a frame of data. As a minimum the frame of data will contain the source address of the event sensor. The frame may include other data such as the output of an associated Time Interval or Time-of-Day sensor. If the TBIM does not use a Time Interval Sensor or a Time-of-Day Sensor, and the time of the event is desired, then the TBC must be able to detect the time of arrival of the frame of data and use that to determine the time of the event. If the time of occurrence of the event is to be determined by the TBC from the time of arrival of the data frame, the TBIM should have immediate access to a communications channel. This communications channel should be dedicated to this one task at the time of the event  otherwise variations in the time of arrival of the signal at the TBC will occur.

If a dedicated data transfer communications channel exists in the TBIM an event sensor may be operated with the streaming attribute active. In the streaming mode (see ??) it will transmit a data frame each time an event occurs after it is triggered until it is disabled.

If there are only a few event sensors on a bus event reporting could be accomplished by assigning a dedicated data transfer communications channel to each TBIM containing an event sensor. This would allow the event sensor to be operated in a triggered mode or in the streaming mode. In the triggered mode the event sensor will report one event for each trigger it received. In the streaming mode it would report every event it detected after an initial trigger. However, if there are a large number of these devices on a bus, assigning a dedicated data transfer communications channel for each TBIM quickly drives up cost and complexity. To allow multiple event sensors to acknowledge events using a common data communications channel requires that collision detection be to put into the TBC. The TBIM would expect an acknowledgement of some sort, possibly a data or status read, as a result of sending out the event. If it did not receive that acknowledgement in a predefined period of time it would retransmit the event. In the case of a collision the TBC would detect a garbled message and broadcast a NAK that could cause a back-off and retransmit in the TBIMs. However with this approach a TBIM that is close to the TBC might override the transmission from a more distant TBIM and the TBC might not detect the collision. In this case, since one got through, the TBC would not transmit the NAK but the distant TBIM would not receive the expected acknowledgement so it would retransmit.

Virtual actuators and sensors within a TBIM may be associated with an event sensor to allow changing analog setpoints, hysteresis, or reading the value being sensed. For example, virtual actuators could be used to set the trip point and hysteresis for an event sensor. The advantage of using virtual actuators for this purpose rather than control commands is that a virtual actuator has TEDS associated with it. This association is communicated to the TBC through the grouping information in the Module Meta-TEDS. This is useful when the operator wants to change the set-point or hysteresis. If the TBIM contains a calibration TEDS this allows the operator to specify the changes in engineering units and the system, or even the TBIM, can convert the engineering units values to the appropriate form using the information in the TEDS. Another advantage of using virtual actuators is that they can be set up at one time and then applied by the application of a trigger.

It is possible for the TBIM to perform consistence checks on changes in its setup inputs. If the event sensor is comparing a set of discrete inputs to a bit pattern then the only check that can be made is that the bit pattern is a legal input. What constitutes a legal input is up to the manufacturer to define. For an analog input event sensor with either the threshold or the hysteresis changeable the situation is a little more complicated. The following relationship defines the checks that can be made for an analog event sensor:

maximum sensed input > threshold >= (threshold - hysteresis) > minimum sensed input value.

The standard requires that if consistency checks are to be made they should be made after each setting is changed. This leads to the problem that if both the threshold and the hysteresis are being changed it is possible that changing the first parameter may cause the hardware error status bit to be set but the problem will be cleared up by changing the second parameter. For example suppose that both the threshold and the hysteresis were to be changed. The new setting for the threshold is such that subtracting the old value of the hysteresis will put the lower threshold below the minimum sensed value. This will cause the hardware error status bit to be set. However, when a new lower value of hysteresis is entered the problem will no longer exist. Since other problems could also set the hardware error status bit it cannot be just cleared when the second input is changed and the problem goes away. The simplest fix for this problem is that if an analog event sensor allows both the threshold and the hysteresis to be changed then it should only do consistency checking on command.

The minimum time between events which can be detected by the transducer shall be specified in the Transducer specific TEDS field, Transducer Sampling Period, ??.

## Actuator

In its simplest form an actuator accepts a single data sample from the bus and stores it in the TBIM. Then after the receipt of a trigger it applies the new data to its output in the appropriate form. The "appropriate form" being determined by the TBIM designer. However, the standard allows actuators to work on data sets as described in 1.2. The data set can contain one or more samples to be applied to the output. If the series unit for the data set is seconds then the operation is to apply each sample in the data set after the period given in the Series increment field until the entire data set is output. Since time cannot decrease this operation always proceeds in one direction. However, if the series units are something other than seconds it may very well be possible to have the direction through the data set reverse itself. For example if a TBIM was built that used an actuator to implement a temperature correction circuit. A data set could be sent to the actuator that defined the temperature correction and then the actuator could change whatever it needed to change in the TBIM as the temperature went up and down.

Actuators could also be built that did not wait for the trigger before applying the data to its output. This would be normal for virtual actuators that are used for control or setup functions that are not time critical. These devices would respond to a trigger with a trigger acknowledge immediately, if a trigger acknowledge is required, and the trigger would not change anything within the TBIM. Another application where the data is applied without waiting for a trigger is an actuator being operated in the streaming mode. In this mode the actuator would begin outputting data as soon as the first trigger is received and following that it would output each sample as it was received until it was disabled. Actuators can also be built that do not require the receipt of a data set. These devices would have a built-in data set or sequence of operations that they would perform when triggered. A simple example might be a display that incremented by one for each trigger received. A more complex example might be an actuator that implemented an emergency shutdown sequence upon the receipt of a trigger.

## General transducer

The working group writing the standard did not feel that it had covered every possible combination of operating modes and timing that manufacturers might want to build. The general transducer is a way to allow a transducer to be built that uses many of the features of the standard but is not compliant with one of the operating modes or the timing defined in the standard. This type of device cannot be guaranteed to work with a standard compliant TBC without software changes to the TBC. It must however be capable of working with a standard compliant TBC without hardware modifications.

## Attributes

Attributes are used to define and/or control the mode of operation of a transducer. They may be either built into the transducer and not be changeable or they can be changed by means of control commands. There are four classes of attributes defined in the standard. The sampling attributes define the relationship of the data set and the trigger. The buffers attribute defines whether or not multiple buffers exist on the bus interface to the device. The end-of-data-set operation attribute defines what an actuator does when it reaches the end of a data set. The streaming attribute identifies whether or not the transducer can be operated in the streaming mode.

### Sampling attributes

The sampling attributes determine the relationship between the trigger and the sampling of the data by a sensor or the application of a sample to the output of an actuator. There are two possible sampling attributes allowed by the standard. They are the Trigger Initiated attribute and the Free Running attribute. These two attributes cannot both be active at the same time. However, it is possible to build transducers that can be switched between these two operating modes. Table 3 lists the enumeration's that are used in the TEDS to identify the sampling attributes that the transducer can use.

Table 3 Sample initiated attributes

| Enumeration | Description |
| --- | --- |
| 0 | Not applicable (only useful in general transducers) |
| 1 | This transducer is capable of being operated in the Trigger Initiated Mode as described in 1.8.1.1 |
| 2 | This transducer is capable of being operated in the Free Running Mode as described in 1.8.1.2 |
| 3 | This transducer can be operated in either the Trigger Initiated mode or the Free Running mode. However, these two modes are mutually exclusive. |
| 4 - 255 | Reserved |

#### Trigger initiated attribute

A sensor being operated with the Trigger Initiated attribute true will begin acquiring a data set immediately upon receipt of a trigger. An actuator operated with this attribute true will begin applying the appropriate data set to its output immediately following a trigger. If the data set contains more than one data sample the timing of the remaining samples are under the control of the logic within the TBIM. A typical example of this type of device would be a sensor that uses a sample-and-hold (S/H) circuit followed by a successive approximation or flash type A/D converter.  When the trigger is received the S/H would be pulsed to store a sample of the data.  At this time the trigger acknowledge would be sent to the TBC.  The A/D would then convert the data to a digital form and store it in the data set memory in the TBIM.  After an interval specified in the Transducer Specific TEDS the process of sampling, converting and storing a second sample would occur.  This process continues until all samples required for the data set are available.  At this time the sampling stops until another trigger is received.

This attribute is useful for sensor systems that require a number of devices to acquire samples nearly simultaneously. A global or group trigger applied to a number of sensors would cause them to take a single sample of data. The TBC can then read the data from each of the sensors and know that it was taken at approximately the same time. Differences will occur based in the distance between the TBIM and the TBC (trigger signal propagation delay) and the difference in response times that different sensors have to the trigger but for many systems this will be adequate. It is also useful for actuators that need to operate at the same time. The data is first written to the actuators and a global or group trigger is issued to cause the data to be applied. For systems that use multiple sample data sets the Synchronization communications channel allows multiple TBIMs to be operated with a common clock.

#### Free running attribute

A sensor with this attribute active measures some physical parameter autonomously and continuously when enabled. The data being acquired and converted is discarded until a trigger is received.  Once a trigger has been received the next sample converted is stored in the TBIM as the first word in the data set.  Consecutive samples are stored in the TBIM until the entire data set is completed.  At this point the transducer returns to discarding samples until the next trigger is received. A typical example of this type of device would be a sensor that uses an oversampling A/D converter such as a Sigma-Delta A/D converter.  This type of A/D converter must be operated continuously because the output is built up by combining many samples in a digital filter. Any interruption of the sampling will cause erroneous data.  When the trigger is received the sensor waits until the next sample is available from the A/D converter.  At this time the trigger acknowledge is sent to the TBC if a trigger acknowledgement is required.  The transducer will then read the data from the A/D converter and store it as the first sample in the data set. When the next sample is available from the A/D converter it will be stored as the second sample in the data set. This process continues until all samples required for the data set are available.  At this time the sensor stops storing samples and begins discarding them until another trigger is received.

An actuator with this attribute active is armed to apply the data set previous sent to when it receives a trigger. The actual time of application of the data sample is under control of a clock within the actuator. The clock can be derived from the Synchronization communications channel or be independent of any other clock in the system.

#### Buffers attribute

A transducer that allows a data set to contain more than one sample has a buffer in it large enough to hold the entire data set. A transducer that is capable of being operated in the buffered mode must have at least two buffers available that can hold a complete data set. The TBC can determine by reading the TEDS if the Transducer has more than one buffer but not the number of buffers available. A sensor uses these buffers to store the data from the time that the TBIM acquires it and the TBC reads it. An Actuator uses the buffers to store the data sets between the time that they are sent to the TBIM and when they are applied to the output. Table 4 shows the enumeration used in the TEDS to define whether or not buffers are available.

A sensor with this attribute active must have at least two buffers available for storing data sets that have been acquired as the result of triggers. Normally a sensor operated in this mode will have only two buffers. One to store the data set acquired as the result of the previous trigger and a second buffer to store the data set being acquired as the result of the most recent trigger. However, if the system cannot always get around to reading the data set before a new data set is available more than two buffers can be used to cover this possibility. If more than two buffers are used then it will become more difficult for a TBC to determine the time that a sample was taken and most TBC's are not expected to have this capability.

An actuator with the buffers attribute set has at least two buffers available to store data sets being received from the bus. The data is intended to be taken from these buffers in the order they were received but the standard does not require this method of operation. The order that the buffers are read and output is under the control of the TBIM. The TBC can determine by reading the TBIM status that buffers are available to be written but not which buffers are available or how many.

Table 4 Buffers attribute

| Enumeration | Description |
| --- | --- |
| 0 | The transducer has no more than one buffer available |
| 1 | The transducer has multiple buffers available. |
| 2 - 255 | Reserved |

#### End of data set operation attributes

These attributes determine the action that an actuator will take when it reaches the end of a data set. Table 5 lists the enumerations that are available from the TEDS. The standard allows actuators to be built that can only be operated in one of these modes. It also allows this attribute to be programmable. Note that this attribute performs no useful function if only a single sample is included in the data set.

##### Hold attribute

This attribute may only be used with actuators.  An actuator with this attribute active shall apply all of the samples in a data set and then continue to apply the last word in the data set until a new trigger is received. This attribute can be used when it is desired for the actuator to change to a new state and then hold that state indefinitely. If a data set is used with more than one entry the change of state can be made to follow some prescribed waveform when changing states. A type of actuator that might use this attribute would be a valve controller that had only two states. It can be commanded to either state and it will remain in that state until another data set is received followed by a trigger. However, if the data set contained more than one data point this same actuator could be caused to change states several times in some sequence defined by the data set.

##### Recirculate attribute

This attribute may only be used with actuators.  An actuator with this attribute active shall apply all of the samples in a data set to the output, then return to the beginning of the data set and repeat the application of that data set, repeating this operation until another trigger is received.  When another trigger is received the transducer shall switch to the new data set when it reaches the end of the current data set. This attribute would be useful for actuators that are used to output a repetitive waveform. The waveform is described in the data set which the actuator reads and outputs continually until another data set is received or until it is disabled.

Table 5 End of data set operation attributes

| Enumeration | Description |
| --- | --- |
| 0 | Not applicable |
| 1 | This transducer will hold the last value in the data set until another trigger is received as described in 1.8.1.4.1 |
| 2 | This transducer will recirculate through the last data set until another trigger is received as described in 1.8.1.4.2 |
| 3 | This transducer can be operated with either the hold mode or the recirculate mode. These two modes are mutually exclusive. |
| 4 - 255 | Reserved |

#### Streaming attribute

A transducer with this attribute active will begin to acquire data or to apply data when the trigger is received.  Additional triggers are not required to cause more data sets to be acquired or applied. Table 6 shows the enumerations that the TEDS uses to identify the capability that a particular transducer has with regard to this attribute.

After the first trigger a sensor will transmit a new sample as soon as it is acquired.  This requires a dedicated data communications channel be available to the TBIM.  Multiple sensors within a single TBIM may share this data channel but sensors in another TBIM cannot use it. A sensor with the buffers attribute active will collect data sets and transmit them as soon as they are filled. The buffers would be useful in this case only if the time required to transmit a data set was longer than the time between samples. Using data sets with more than one sample in them avoids the overhead associated with single word transmissions.

An actuator with the streaming attribute active shall apply the data written to it at the appropriate time after it has been received.  An actuator with the buffers attribute active shall immediately switch to the next buffer after applying all of the data in the current buffer.

Table 6 Streaming attribute

| Enumeration | Description |
| --- | --- |
| 0 | This transducer is not capable of being operated in the streaming mode |
| 1 | This transducer is capable of being operated in the streaming mode |
| 2 - 255 | Reserved |

Stuff to be moved but still included.

Transducers and/or TBIMs may be operated synchronously through use of synchronized clock sources. In this mode, the synchronization communications channel may be used to generate synchronized clocks in the TBIMs. The synchronized operating mode is defined in (paragraph number tbd).

Action Item - types#1 (Synchronization Subgroup) Define a method of operating multiple TBIMs synchronously.