Brookhaven National Laboratory

AGS Booster Applications Facility

Potential Impacts to Groundwater Quality

Prepared by:

Douglas E. Paquette, PG

Hydrogeologist

Environment, Safety and Health Services Division

December 22, 1999

Brookhaven National Laboratory is Operated by Brookhaven Science Associates for the US Department of Energy

Brookhaven National Laboratory

AGS Booster Applications Facility - Potential Impacts to Groundwater Quality

Table of Contents

1.0	Introduction ............................................................................................................................... 1

2.0	General Hydrogeology of the BNL Site and Groundwater Quality ........................................... 1

2.1	Upper Pleistocene (Glacial) Deposits ........................................................................... 1

2.2	Upper Glacial Aquifer .................................................................................................. 2

2.3	Groundwater Quality and Classification ....................................................................... 4

3.0	AGS Booster and Booster Applications Facilities ..................................................................... 5

3.1	Potential Soil Activation Areas .................................................................................... 5

3.1.1	Activation of Soils at the AGS Booster............................................................ 6

3.1.2	Potential Activation of Soils at the Booster Applications Facility.................... 7

3.2	General Hydrogeology of the AGS Booster Area ......................................................... 7

3.3	Current Groundwater Monitoring Program ...................................................................8

3.4	Proposed Groundwater Monitoring Program  ............................................................... 9

4.0	Well Installation Methods .......................................................................................................... 9

5.0	Sample Collection and Analysis ................................................................................................ 10

5.1	Data Quality Objectives ................................................................................................10

6.0	References ..................................................................................................................................11

Brookhaven National Laboratory

AGS Booster Applications Facility - Potential Impacts to Groundwater Quality

List of Figures

Figure 1	Generalized Hydrogeologic Cross Section

Figure 2	Location of Glacial Terminal Moraines

Figure 3	Regional Water Table Map

Figure 4	BNL Site Water Table Map for March 1997

Figure 5	BNL Site Water Table Map for August 1997

Figure 6	Map of the AGS Complex

Figure 7	Schematic of the AGS Booster.

Figure 8	Schematic of Proposed AGS Booster Modifications and New BAF Tunnel

Figure 9	Schematic of the BAF

Figure 10	Cross Sectional View of the BAF Target Hall and Beam Stop

Figure 11	Proposed Groundwater Monitoring Wells at the AGS Booster and BAF

Brookhaven National Laboratory

AGS Booster Applications Facility - Potential Impacts to Groundwater Quality

List of Tables

Table 1	Hydrogeologic Units

Table 2	Proposed Groundwater Monitoring Wells for BAF Area

Table 3	Proposed BAF Groundwater Sampling Schedule for FY 1999

Table 4	AGS Complex Groundwater Sampling Schedule for FY 1998 and FY 1999

1.0	Introduction

The Department of Energy (DOE), the National Aeronautical and Space Administration (NASA) and the Department of Defense (DOD) have identified a need for the creation of a research facility that could conduct space radiation research.  Simulation of space radiation effects requires the capability to produce protons and electrons at relatively low energies, and heavy and light ions at energies in the GeV per nucleon range (BNL 1998a). In response to a July 1992 Memorandum of Understanding between NASA and the DOE and a subsequent agreement between NASA and Brookhaven National Laboratory (BNL), a high energy, heavy ion irradiation facility is to be constructed at the BNL site.  This facility is will use a beam line diverted from the existing Alternating Gradient Synchrotron (AGS) Booster facility.  Beam line interaction with test materials (i.e., targets) at the proposed Booster Application Facility (BAF) will produce secondary particles that may interact with the soils that will surround the BAF target room and associated beam stop.  These interactions will likely result in the production of tritium and sodium-22 in the soils.  Because the BNL site is located over an EPA designated sole-source aquifer system, an analysis of the potential impact to groundwater quality is provided below.

2.0	General Hydrogeology of the BNL Site and Groundwater Quality

The BNL site is underlain by approximately 1,300 feet of unconsolidated Pleistocene and Cretaceous sediments overlying Precambrian bedrock (Table 1).  The unconsolidated sediments, subdivided from youngest to oldest, are as follows:

- Upper Pleistocene deposits (Upper Glacial aquifer),

- Gardiners Clay (confining unit),

- Magothy Formation (Magothy aquifer), and

- Raritan Formation (Raritan Clay confining unit and Lloyd aquifer)

A description of the geologic and hydraulic properties of the Upper Pleistocene deposits are provided below.  New monitoring wells required for improved facility monitoring under this Groundwater Monitoring Improvements Plan will installed within the shallow sections of the Upper Glacial aquifer.   Detailed discussions on Gardiners Clay, Magothy and Raritan formations can be found in deLaguna (1963), Faust, 1963, Warren et al. (1968), and the BNL Regional Groundwater Model Report (Geraghty and Miller, 1996).  A generalized hydrogeologic cross section for the BNL site is presented in Figure 1.

2.1	Upper Pleistocene (Glacial) Deposits

The Upper Pleistocene deposits on Long Island were deposited during two Wisconsin glaciation events (Lubke, 1964).  At BNL, the glacial deposits range from 130 to 200 feet in thickness, and can be divided into three distinctive units.  From oldest to youngest, the units are: the basal "Unidentified Unit"; sand and gravel outwash and moraine deposits; and near surface silt and clay deposits.

Basal Unidentified Unit:  The basal "Unidentified Unit" (first described by deLaguna, 1963), is between 25 to 50 feet thick, and appears to be restricted to the central and southern portions of the site.  This unit is characterized by light green, fine to medium-grained sand and sandy clay (with 5 to 10% glauconitic clay).  The Unidentified Unit is generally less permeable than the overlying coarse-grained glacial moraine and outwash deposits.

Outwash and Moraine Deposits:  The Upper Pleistocene deposits at BNL primarily consist of 130 to 200 feet of broadly stratified glacio-fluvial outwash deposits composed of silica-rich medium to coarse-grained sand and gravel.  Thin layers of silt and clay have been observed within the outwash deposits, but do not represent significant barriers to groundwater flow.  Along the southwest border of BNL, the Ronkonkoma terminal moraine is recognized as a series of discontinuous hills which reach a maximum elevation of 130 feet above sea level (Figure 2).

Near Surface Silt and Clay:  Near surface silt and clay deposits are located along the lowlands of the Peconic River watershed.  Although the full areal extent of these deposits has not been determined, their presence is inferred beneath marshes and areas of ponded water, which are wide-spread in the eastern portion of the site (see Warren et al., 1968).  Recent drilling within the BNL Sewage Treatment Plant (STP) area and the Relativistic Heavy Ion Collider (RHIC) area has revealed that fine sand, silt and clay deposits occur within 30 feet of land surface.  These low permeability deposits retard groundwater recharge, and are responsible for creating perched or semi-perched water table conditions. In the STP area, a broad groundwater mound has formed below the plant's filter beds, where it is estimated that up to 0.1 MGD of STP effluent is recharged directly to Upper Glacial aquifer.

2.2	Upper Glacial Aquifer

The Upper Glacial aquifer is widely used on Long Island for both private and public water supply.  Drinking water and process water supplies at BNL are obtained exclusively from the Upper Glacial aquifer.  The Laboratory currently operates six potable water supply wells that can be pumped at rates of 1,200 gpm, and five process supply wells that can be pumped at rates between 50 and 1,200 gpm.  During maximum water usage at BNL, up to 6 MGD are pumped from the Upper Glacial aquifer.  Most of this water is returned to the aquifer by way of recharge basins or discharge of STP effluent to the Peconic River.  Groundwater in the Upper Glacial aquifer beneath BNL generally exists under unconfined conditions.  However, in the areas along the Peconic River where low permeability near surface silt and clay deposits exist, semi-confined conditions may occur. Depth to groundwater varies from several feet below land surface within the lowlands near the Peconic River, to as much as 75 feet in the higher elevation areas located in the central and western portions of the site.

A main east-west trending regional groundwater divide is located approximately 0.5 miles north of BNL (Figure 3).  A second groundwater divide, which transects portions of the BNL site during periods of high water table position (i.e., during periods of inflow from the aquifer to the stream bed), defines the southern boundary of the area contributing groundwater to the Peconic River watershed (Scorca et al., 1996, Scorca et al., 1997).  Shallow groundwater flow directions across the BNL site are influenced by natural drainage systems, varying between being eastward along the Peconic River, southeastward toward the Forge River, and southward toward the Carmans River (Figures 3, 4 and 5).  Additionally, pumping and recharge induced stresses on the aquifer system are considerable in the central area of the site.   Due to variable supply well pumping schedules and rates, considerable variations in groundwater flow directions and velocities occur (compare Figures 4 and 5).  Groundwater flow directions in the southwest corner of the site are also influenced by pumpage at the Suffolk County Water Authority well field located on the west side of the William Floyd Parkway.

Aquifer pumping tests conducted at BNL indicate that the horizontal hydraulic conductivity of the Upper Glacial aquifer is approximately 1,300 gpd/ft2 (or 175 ft/d based upon an aquifer thickness of 145 feet) and a specific yield (effective porosity) of 0.24 (Warren et al., 1968; H2M/Roux Associates, 1985; CDM, 1995; P.W. Grosser, P.C., 1997).  Total porosity value for the Upper Glacial is estimated to be 0.33 (Warren et al., 1968).  Data from aquifer pumping tests and infiltration tests conducted at BNL by the USGS indicate that the vertical to horizontal anisotropy within the Upper Glacial aquifer is between 1:4 to 1:18 (Warren et al., 1968).  The average vertical to horizontal anisotropy within the Upper Glacial aquifer on Long Island has been estimated to be 1:10 (Smolensky et al., 1989).  The hydraulic properties of the basal Unidentified Unit cannot be determined with any degree of certainty using the current well network.  Since the Unidentified Unit contains significant clay and silt, it is expected that these deposits are less permeable than the overlying glacial outwash and morainal sand and gravel.

The horizontal hydraulic gradient at BNL is typically 0.001 feet per foot (ft/ft).  However, in recharge and pumping areas, the hydraulic gradient can steepen to 0.0024 ft/ft or greater.  In most areas of the site, the natural groundwater flow velocity is estimated to be approximately 0.75 feet per day (ft/d).  However, flow velocities in recharge areas may be as high as 1.45 ft/d, while velocities up to 28 ft/d have been calculated for areas near BNL potable and process supply wells (Woodward-Clyde Consultants, 1993).  Water-level measurements taken from paired water table and deep Upper Glacial wells located along the northern site boundary (near the regional groundwater divide) indicate significant deep-flow recharge conditions, with downward vertical hydraulic gradients of up to 0.006 ft/ft.  Head differences become negligible in paired wells located in the central and southern areas of the site, indicating that groundwater flow within the Upper Glacial aquifer is predominantly horizontal in these areas. The BNL site is, however, located within a SCDHS designated deep-flow recharge area (Hydrogeologic Zone III) for the Magothy and Lloyd aquifers (Koppleman, 1978; SCDHS, 1987).  Comparison of water level measurements from Glacial aquifer and Magothy aquifer wells indicate significant downward flow across the BNL site (BNL, 1998b).

2.3	Groundwater Quality and Classification

In Nassau and Suffolk Counties of Long Island,  New York, drinking water supplies are obtained exclusively from groundwater aquifers (e.g., the Upper Glacial aquifer, the Magothy aquifer, and to a  limited extent the Lloyd aquifer). The Long Island aquifer system has been designated by the U.S. EPA as a Sole Source Aquifer System, pursuant to Section 1424(e) of the Safe Drinking Water Act.  Groundwater in the sole source aquifers underlying the BNL site is classified as "Class GA Fresh Groundwater" by the State of New York (6NYCRR Parts 700-705).  The best usage of Class GA groundwater is as a source of potable water supply.  As such, federal drinking water standards, NYS Drinking Water Standards (NYS DWS), and NYS Ambient Water Quality Standards (NYS AWQS) for Class GA groundwater are used as groundwater protection and remediation goals.

For drinking water supplies, the federal maximum contaminant levels (MCLs) set forth in 40 CFR 141 (primary MCLs) and 40 CFR 143 (secondary MCLs) apply.  The Laboratory maintains six wells and two water-storage tanks for supplying potable water to Laboratory community.   In NYS, the SDWA requirements pertaining to the distribution and monitoring of public water supplies are promulgated under Part 5 of the NYS Sanitary Code, which is enforced by the SCDHS as an agent for the NYS Department of Health.  These regulations are applicable to any water supply which has at least five service connections or regularly serves at least 25 individuals.  The Laboratory supplies water to a population of approximately 3,500 employees and visitors and must, therefore, comply with these regulations.  In addition, DOE Order 5400.5, Radiation Protection of the Public and Environment, establishes Derived Concentration Guides (DCGs) for radionuclides not covered by existing federal or state regulations.

The BNL groundwater surveillance program uses wells (which are not utilized for drinking water supply) that are designed to monitor research and support facilities where there is a potential for environmental impact, or in areas where past waste handling practices or accidental spills have already degraded groundwater quality.   BNL evaluates the potential impact of radiological and non-radiological levels of contamination by comparing analytical results to NYS and DOE reference levels.  Non-radiological data from groundwater samples collected from surveillance wells are usually compared to NYS AWQS (6 NYCRR 703.5).  Radiological data are compared to the NYS DWS (for tritium, strontium-90 and gross beta), NYS AWQS (for gross alpha and radium-226/228) and 40 CFR 141/DOE DCGs (for determining the 4 mrem/year dose for other beta/gamma-emitting radionuclides).

3.0	AGS Booster and Booster Applications Facility

The AGS Booster is a circular accelerator with a circumference of nearly 660 feet (200 meters), and is connected to the northwest portion of the main AGS ring and the LINAC (Figure 6).  The Booster, which has been in operation since 1994, receives either a proton beam from the LINAC or heavy ions from the Tandem Van de Graaff.  The Booster accelerates protons and heavy ions prior to injection into the main AGS ring.  In order to dispose of the beam during studies, a beam scraper system consisting of a beam kicker and an absorber block was constructed at the 10/11 o’clock (or D-6) portion of the Booster (Figure 7).  The beam scraper consists of  a one meter long cylinder surrounding the beam pipe.  It has a radial thickness of 19 cm, and is shielded by an additional 20 cm of iron in order to reduce the activation of nearby soil outside the tunnel enclosure (Lessard, 1991).

The BAF will consist of a new beam tunnel branching from the AGS Booster ring, a target room and beam stop, and a number of associated support buildings.  The facility will receive a proton beam from the AGS Booster.  Once the beam is diverted out of the Booster, it will travel through an 88 foot (27 meter) beam line tunnel where it will be diverted 20 degrees.  The beam will then be directed down a 282 foot (80 meter) long beam line tunnel where it will enter the BAF target room (Figures 8 and 9).  In order to absorb beam during studies, a 26 foot long concrete beam stop will be located at the north end of the target room. Up to 15 feet of earthen shielding will be added over the tunnel, target room and beam stop (Figure 10).

3.1	Potential Soil Activation Areas

Secondary particles are created near AGS beam loss points, beam targets, scrapers and stops, and have the potential to escape into the soils surrounding the accelerator tunnels (e.g., Booster beam scraper, and BAF target hall beam stop) or into the soils underlying target and beam stop areas in the experimental hall areas (e.g., Building 912).   Beam stops (or dumps) are the sinks used to absorb the energy and associated radiation from beams which have completed their utility.  The beam stops are typically made up of ilmenite loaded concrete or iron.  The length and dimensions of the beam stops are designed to assure that the radiation generated is attenuated to the greatest extent practicable.   Beam scrapers are typically used to remove or “scrape” protons that wobble out of acceptable pathways.  The Booster beam scraper is constructed of steel.

Although considerable effort is taken to design appropriate shielding and other engineering controls into these systems, many secondary particles will still interact with soils surrounding the tunnels and underlying floors.  In the soils, these secondary particles interact with the Si and O atoms which make up most of the quartz-rich sands and gravels that are native to the BNL site.  The types of radionuclides created include tritium, beryllium-7, carbon-11, nitrogen-13, oxygen-15, and sodium-22 (Beavis et al., 1993).  Estimates on the concentration of radionuclides produced in soils are made by using the computer code CASIM.  Once present in the soils, these radionuclides can be leached downward into groundwater by means of rainwater percolation.  These leaching processes are usually quite slow and, therefore, only radionuclides with long half-lives such as tritium (t1/2 = 12.3 years) and sodium-22 (t1/2 =  2.6 years) are likely to be detected in the groundwater below the AGS.  The production of these radionuclides has been measured in experiments using soils native to BNL that were exposed to the AGS beam line (Gollon et al., 1989).  Leaching tests on these soils showed the tritium to be 100% leachable whereas sodium-22 is 7.5% leachable.

3.1.1	Activation of Soils at the AGS Booster Beam Scraper

The AGS Booster beam scraper is an area where the interaction of secondary particles and soil surrounding the Booster tunnel may result in production of tritium and sodium-22 (Lessard, 1991).  In addition to internal shielding, the Booster tunnel was covered with sand derived from the BNL site.  Although the internal shielding around the beam scraper was designed to keep radiation levels in soils below DOE ALARA guidelines, a liner was constructed over the scraper to provide an extra margin of protection.  The cap, constructed of 15 mil plastic, was designed to extend 15 feet upstream and 45 feet downstream of the beam scraper and is covered with soil (Figure 7).

If the cap was not in place over the Booster beam scraper and approximately one-half the total annual average precipitation (55 cm) was able to percolate through the soils overlying the beam scraper, the predicted annual average tritium and sodium-22 concentrations in soil pore water immediately below the Booster beam scraper would be 100,000 pCi/l and 50,000 pCi/l, respectively (Lessard, 1991).  If the cap, in concert with the overlying soil-crete cover, is effective at preventing water from leaching through the activated soils, the radioactivity will be confined to the region immediately outside the Booster tunnel, allowing for the radioactivity to decay in place.  However, it is important to note that even if water was able to infiltrate the activated soils as a result of a significant cap failure, the maximum volume of water having high tritium and sodium-22 concentrations would likely be less than 400 gallons annually (Lessard, 1998).  There would also be significant dilution of this contaminated water during the 25 feet of migration through the vadose zone and upon entering the aquifer system.

In order to provide space for the BAF transfer magnets and tunnel, the present Booster beam scraper will be relocated from its existing (D-6 Section) location to the south side (B-6 Section) of the Booster ring (Figure 8).  A landfill-type geomembrane cap will be placed over the new beam scraper location (BNL, 1997).  The existing cap located over present beam scraper location shall remain in place to prevent water infiltration through any presently activated soils.

3.1.2	Potential Activation of Soils at the Booster Applications Facility

Although the shielding around the BAF target room and beam stop has been designed to minimize the potential for secondary particles to interact with soils, some small amount of radionuclides could still be created in soil within the first meter of soil surrounding the downstream portion of the target hall and the beam stop.  To prevent surface water from leaching through these activated soils, a landfill-type geomembrane cap will be constructed over the BAF beam target and beam stop area (Figure 10).

A conservative estimate on potential radionuclide concentrations in soil pore water can be made by assuming that the geomembrane cap was not in place, and that approximately one-half the total annual average precipitation (55 cm) was able to percolate through the activated soils underlying the target and beam stop.  The predicted annual average tritium and sodium-22 concentrations in soil pore water immediately below the BAF target and beam stop area would be 100 pCi/l and 307 pCi/l, respectively (E. T. Lessard, personal communication).  (It should be noted that the typical analytical detection limit for tritium is approximately 400 pCi/l.)  Therefore, the maximum predicted tritium concentration is well below the federal and state drinking water standard of 20,000 pCi/l, and the maximum sodium-22 concentration is predicted to be 77 percent of the 4% DOE Derived Concentration Guide limit of 400 pCi/L.  (4% DCG is based upon a 4 mrem/yr dose required under 40 CFR 141.)  However, it is important to note that if water is able to infiltrate the activated soils as a result of a significant failure of the proposed capping system, the maximum volume of water that would leach through the activated soils would likely be very small, and there would be significant dilution of this contaminated water upon entering the aquifer system.

3.2	General Hydrogeology of the Booster Area

The predominant groundwater flow direction in the AGS Booster area is to the south-southeast (Figure 11).   Until recently, groundwater flow directions in the Booster area were influenced by the operations of AGS cooling water supply wells 101, 102, and 103, which are located 1,200 to 2,000 feet to the west of the Booster.  During periods of continuous use, pumpage totaling nearly 1,200 gpm resulted in a more southerly groundwater flow direction in the Booster area.  However, in July 1998 the AGS supply wells were decommissioned, and the AGS’s cooling water is now supplied by the BNL potable water system.  It is now expected that the groundwater flow directions in the BAF area will be consistently to the south-southeast.  The closest BNL potable water supply well (Number 10) is located approximately 2,100 feet to the east of the BAF.  Results from supply well capture zone modeling indicates that under certain (sustained) pumping conditions, approximately 8 to 10 years would be required for groundwater to travel from the BAF to supply well 10.  The depth to groundwater in the BAF area is approximately 25 feet below land surface.  Available geologic data collected during the installation of nearby wells, indicates that the Booster and BAF area is underlain by predominantly medium to coarse-grained sand and fine gravel.

3.3	Current Groundwater Monitoring Program

The AGS Booster area is currently monitored by one upgradient (54-08) and two downgradient (64-02 and 64-03) surveillance wells (Figure 11).  The three wells were installed in August 1993, and are screened within the uppermost 20 feet of the Upper Glacial aquifer.  Well 54-08 is located downgradient of the proposed BAF target room and beam stop area.

Although tritium and sodium-22 have been routinely detected in downgradient well 64-02 since its installation in August 1993, the tritium concentrations have been well below the NYS DWS of 20,000 pCi/l, with concentrations generally <1,400 pCi/l.  Likewise, sodium-22 concentrations have been <25 pCi/l, well below the 4% DCG guideline of 400 pCi/l.  However, analytical results from samples collected in February 1998 indicated elevated tritium concentrations of 14,100 pCi/l and 44 pCi/l for sodium-22.

Because initial beam operations within the Booster did not occur until almost one-half year after the installation of well 64-02, the routine detection of tritium and sodium-22 in groundwater suggested that these contaminants originated from another nearby source.  In an effort to determine the source of the tritium contamination, BNL recently conducted a groundwater investigation that focussed on the Brookhaven LINAC Isotope Producer  (BLIP) facility located upgradient of well 64-02. Operations at the BLIP were predicted to result in the activation of soils outside of the BLIP’s target vessel (Mausner, 1985; Alessi et al., 1998).  During this investigation, tritium and sodium-22 were detected in the shallow groundwater directly downgradient of the BLIP facility.  In temporary Geoprobe wells installed approximately 50 feet downgradient of the BLIP target vessel, tritium was detected at a maximum concentration of 52,000 pCi/l and sodium-22 detected up to 151 pCi/l.  Neither tritium or sodium-22 were detected in Geoprobe wells installed immediately upgradient of the BLIP, or in a temporary well installed directly downgradient of the AGS Booster.

Following confirmation that the BLIP facility was the source of the tritium and sodium-22 contamination, BNL immediately implemented a number of corrective actions to limit further environmental impact.  In an effort to control water from infiltrating through the activated soils surrounding the BLIP target vessel: 1) the BLIP facility roof drains were repaired and routed away from the facility foot print; 2) penetrations and cracks in adjacent paved areas were repaired; and 3) a cement (gunnite) cap was installed over the remaining non-paved areas surrounding the building.  For future source control, BNL will be evaluating the use of a liquid viscous barrier technique to reduce the permeability of the activated soils outside of the BLIP target vessel.

Although, the solvent TCA has been routinely detected above the NYS AWQS of 5 μg/l in well 64-03, with a maximum observed concentration of  62 μg/l, only trace amounts of tritium (up to 452 pCi/l) and sodium-22 (up to 2.8 pCi/l) have been detected in this well.   Neither tritium or sodium-22 have ever been detected in upgradient well 54-08.  The TCA is likely to have originated from the discharge of solvents to cesspools associated with Buildings 914 and 919.

3.4	Proposed Groundwater Monitoring Program

The current groundwater monitoring network is inadequate to properly monitor BAF operations.  Therefore, one upgradient (MW-BAF-01) and two downgradient groundwater monitoring wells (MW-BAF-02 and -03) will be installed south of the BAF target room and beam stop (Figure 11, Table 2).  The wells will be screened from five feet above to ten feet below the water table.  BNL will install the wells following construction of the building structures and geomembrane cap, and soil cover.  It is anticipated that existing well 54-08 will be utilized as a downgradient well for the BAF.  However, if construction activities requires the removal of well 54-08, it will be replaced with a new well (proposed well MW-BAF-04).   It should also be noted that four new monitoring wells will be installed south of the AGS Booster the fall of 1998 as part of the BNL “Groundwater Monitoring Improvements Plan for FY 1998 and 1999."   Two wells (MW-AGS-02 and MW-AGS-03) will be installed directly downgradient of the AGS Booster, and two wells (MW-AGS-04 and MW-AGS-05) will be installed directly downgradient of the Booster to AGS Ring transfer line (Figure 11).  Wells MW-AGS-02 and MW-AGS-03 will be located immediately downgradient of the new Booster beam scraper location.

Once installed, the four BAF wells and the Booster wells will be monitored four times per year by the BNL ES&H Services Division as part of the EM Program for the AGS facility (Tables 3 and 4).  The groundwater samples will be analyzed for tritium and gamma spectroscopy (which is used for the detection of radionuclides such as sodium-22 and beryllium-7).  The monitoring program will begin prior to the start-up of the BAF in order to fulfill DOE pre-operational environmental surveillance requirements.

4.0	Well Installation Methods

The groundwater monitoring wells installed as part of this plan shall be constructed in accordance with the BNL “Technical Guide for the Installation of Monitoring Wells and Piezometers” (BNL, 1996).  This specification is consistent with the well installation guidelines required by the USEPA and the NYSDEC for both CERCLA and RCRA groundwater investigations.  Since the wells installed under this plan will be located in close proximity to a suspected source areas, the wells will be screened across the water table.  Recent data collected during detailed tritium plume investigations at the BNL HFBR and BLIP facilities indicate that the highest tritium levels will occur close to the water table in wells located directly downgradient of the source area.  The short distance traveled and lack of density differences between tritium and fresh water are the likely cause.

Once installed the wells will be  surveyed by a N.Y. State licensed surveyor from the BNL Plant Engineering Division to determine their vertical and horizontal positions.   All new wells will be surveyed, using the BNL bench mark control system, to a horizontal accuracy of 0.50 feet and to a vertical accuracy of 0.01 feet.

5.0	Sample Collection and Analysis

All permanent groundwater monitoring wells installed for the EM program will be sampled by the BNL ES&H Services Division using Standard Operating Procedure EM-SOP-25.  Each new well will be completed with a new dedicated Geoguard® bladder purge pump (Master-Flo Model 57200M - constructed of NSF rated PVC and Teflon®).  Dedicated pumping systems eliminate the need to decontaminate pumps between well sampling events, and prevent potential cross contamination problems if the same pump is used in multiple wells.

The wells will be sampled in accordance with the schedule presented in Table 5. All gross alpha and beta (Method 900), gamma spectroscopy (Method 901.1), and tritium analyses (Method 906) will be performed by the ES&H Services Division’s Analytical Services Laboratory (ASL).

The ASL is certified by the New York State Department of Health Services for each of the analyses performed.  The ASL also participates in the DOE Environmental Measurements Laboratory (EML) QA Program and the EPA National Exposure Research Laboratory Performance Evaluation Study.  All contractor labs used for groundwater analyses are also NYSDOH certified.  The BNL ASL and contractor labs have established standard operating procedures to calibrate instruments, analyze samples, and check quality control.  Depending upon the analytical method, quality control checks include the analysis of blanks or background concentrations, use of Amersham or National Institute for Standards and Technology (NIST) traceable standards, and analysis of reference standards, spiked samples, and duplicate samples.  All analytical results are reviewed by BNL ASL supervisors for completeness and accuracy.  Quality assurance procedures for the EM Program are described in detail by Schroeder et al. (1998).

5.1	Data Quality Objectives

Data Quality Objectives (DQOs) are the statements specifying the quality of data needed to support decisions relative to various stages of environmental surveillance or remedial actions.  They are based upon the concept that different data uses require different levels of data quality with respect to the precision, accuracy, and completeness of the data.  DQOs must be in place to ensure that the data obtained from the groundwater monitoring program are of sufficient quality, are scientifically defensible, and have the requisite levels of precision and accuracy to support any decisions regarding the assessment of potential impacts of facility operations on groundwater quality.  The US EPA (1994) developed a six step DQO evaluation process which is intended to clarify monitoring program objectives, define data needs, and determine data precision and tolerance levels to support decision making. The seven steps are: 1) describe the problem to be studied; 2) identify the decision by determining questions to be answered and actions that may result; 3) identify the data inputs to the decision; 4) define study boundaries; 5) develop a decision rule that describes the logical basis for choosing alternative actions; 6) specify tolerable limits on decision errors; and 7) optimize the data collection process design by evaluating information gathered during steps 1 through 6.  Although the information and proposed groundwater monitoring improvements provided above satisfy a number of these DQO steps, a more rigorous review must be performed to establish appropriate decision rules and decision errors for the BAF groundwater surveillance program.

As noted above, all sample analyses are performed using standardized US EPA methods, and all data generated as part of the EM Program have full quality control documentation and data validation conducted by BNL and/or contractor personnel using standardized USEPA protocols.  Quality assurance procedures for the EM Program are described in detail by Schroeder et al. (1998).

6.0	References

Alessi, J., Lessard, E., and Mausner, L., 1998. Soil Activation Computation for BLIP: Memorandum to P. Paul dated May 7, 1998.

Beavis, D., Bennett, G., Frankel, R., Lessard, E.T., and Plotkin, M. (Eds.). 1993, AGS Final Safety Analysis Report, August 11, 1993.

BNL, 1996.  Brookhaven National Laboratory - Technical Guide for the Installation of Monitoring Wells and Piezometers, July 24, 1996.

BNL, 1997.  Conceptual Design Report, Booster Applications Facility (BAF), October 1997.

BNL, 1998a.  Environmental Assessment for Proposed Booster Applications Facility (BAF) at Brookhaven National Laboratory, Upton, New York, January 1998.  DOE/EA-1232.

BNL, 1998b.  1997 Environmental Restoration Division Sitewide Groundwater Monitoring Report, June 1998.

CDM Federal Programs Corporation, 1995. Technical Memorandum, Pre-Design Aquifer Test, October 10-20, 1995, Brookhaven national Laboratory, December 1995.

DeLaguna, W., 1963.  Geology of Brookhaven National Laboratory and Vicinity, Suffolk County, New York: U.S. Geological Survey Bulletin 1156-A. 35 p.

Faust, G.T., 1963.  Physical Properties and Mineralogy of Selected Sediments form the Vicinity of the Brookhaven National Laboratory, Long Island, New York: U.S. 	Geological Survey Bulletin 1156-B, 34 p.

Geraghty and Miller, Inc., 1996.  Regional Groundwater Model, Brookhaven National Laboratory, Upton, New York (November 1996).

Gollon, P.J., Rohrig, N., Hauptmann, M.G., McIntyre, K., Miltenberger, R., and Naidu, J., 1989.  Production of Radioactivity in Local Soil at AGS Fast Neutrino Beam.  BNL-43558.

Grosser, P.W. (Consulting Engineer and Hydrogeologist, P.C.), 1997. Operable Unit III Pump Test Report.

Grosser, P.W. (Consulting Engineer and Hydrogeologist, P.C.), 1998. Preliminary Assessment / Site Inspection - 1997 Facility Review Report (June 1998 Draft).

Holzmacher, McLendon and Murrel, P.C. (H2M), and Roux Associates, Inc., 1985. Waste Management Area, Aquifer Evaluation and program Design for Restoration.  Volumes I and II.

Koppelman, L.E. (Ed.), 1978.  The Long Island Comprehensive Water Treatment 	Management Plan (Long Island 208 Study): Nassau-Suffolk Regional Planning Board.  Hauppague, New York (July 1978).  Volumes I and II.

Lessard, E.T. (Ed.), 1991.  AGS Booster Final Safety Analysis Report, February 27, 1991.

Lessard, E.T., 1998.  Subject: Estimated quantities of activated water near AGS beam dumps: Informal e-mail messages to D.E. Paquette dated July 27 and 28, 1998.

Lubke, E.R., 1964.  Hydrogeology of the Huntington-Smithtown Area, Suffolk County, New York: U.S. Geological Survey Water-Supply Paper 1669-D, p. D1-D68.

Mausner, L. F., 1985.  BNL BLIP II Safety Analysis Report (January 20, 1985).

Schroeder, G.L., Paquette, D.E., Naidu, J.R., Lee, R.J. and Briggs, S.L.K., 1998.	Brookhaven National Laboratory Site Environmental Report for Calendar Year 1996 (January 1998).  BNL-52543.

Scorca, M.P., Dorsch, W.R., and Paquette, D.E., 1996.  Water-Table Altitude Near  the Brookhaven National Laboratory, Suffolk County, New York, in March 1995. U.S. Geological Survey Fact Sheet FS-128-96, December 1996.

Scorca, M.P., Dorsch, W.R., and Paquette, D.E., 1997.  Water-Table Altitude Near  the Brookhaven National Laboratory, Suffolk County, New York, in August 1995. U.S. Geological Survey Fact Sheet FS-233-96, April 1997.

Smolensky, D.A., Buxton, H.T., and Shernoff, P.K., 1989.  Hydrogeologic Framework of Long Island, New York: U.S. Geological Survey, Hydrogeologic Investigations Atlas 709, 3 Sheets.

Suffolk County Department of Health Services, 1987.  Suffolk County Comprehensive Water Resources Management Plan.  Division of Environmental Quality.  	Hauppague, New York (January 1987).  Volumes I and II.

US EPA, 1994.  Guidance for the Data Quality Objectives Process (September 1994).  US EPA Washington, D.C.,  EPA QA/G4.

Warren, M.A., deLaguna, W., and Lusczynski, N.J., 1968.  Hydrogeology of Brookhaven National Laboratory and Vicinity, Suffolk County, New York: U.S. Geological Survey Bulletin 1156-C, 127 p.

Woodward-Clyde Consultants, 1993.  Potable Well Study, Brookhaven National 	Laboratory, Upton, Long Island, New York.  10 p.

BNL Groundwater Monitoring Program

Proposed Groundwater Monitoring Wells for the Booster Applications Facility

Table 2

| Well | Area | Land Surface (MSL) | Water Table (MSL) | Screen Interval (BLS) | Total Depth (BGS) |
| --- | --- | --- | --- | --- | --- |
| MW-BAF-01 | BAF (U) | 70' | 44' | 21'-36' | 41' |
| MW-BAF-02 | BAF (D) | 70' | 44' | 21'-36' | 41' |
| MW-BAF-03 | BAF (D) | 70' | 44' | 21'-36' | 41' |
| MW-BAF-04* | BAF (D) | 70' | 44' | 21'-36' | 41' |

U = Upgradient Well      D = Downgradient Well     MSL = Feet Relative to Mean Sea Level     BLS = Below Land Surface

* = MW-BAF-04 will be installed if existing well 54-08 has to be abandoned.

Brookhaven National Laboratory

Groundwater Monitoring in the AGS Booster Applications Facility Area

for FY 1999

Table 3

Wells: 54-08*, MW-BAF-01, MW-BAF-02, MW-BAF-03.

Contaminants of Concern

Tritium and Sodium-22

Sample Periods for CY 1999

January/February, April/May, July/August, October/November

____________________________________________________________________________________________

Sample Period CY 1999		1st Qtr.		2nd Qtr.		3rd Qtr.		4th Qtr.

Laboratory			ES&H		ES&H		ES&H		ES&H

Analysis

VOCs

(EPA 624)			X				X

Semi-VOCs

(EPA 625)

Pesticides/PCBs

(EPA 608)

Metals

(EPA 200 Series)

Radionuclides

Tritium(EPA 906)			X		X		X		X

Strontium-90 (EPA 905)

Gross alpha/beta (EPA 900)

Gamma (EPA 901.1)		X		X		X		X

Anions - Water Quality

(EPA 300)

pH and conductivity (Field)		X		X		X		X

* Well 54-08 also serves as an upgradient well for the AGS Booster groundwater monitoring program.

Brookhaven National Laboratory

Groundwater Monitoring Plan

for FY 1998 and FY 1999

Table 4

AGS Research Areas

Wells:  44-02, 53-01, 54-01, 54-03, 54-07, 54-08, 54-10, 64-01, 64-02, MW-AGS-01,  MW-AGS-02,  MW-AGS-03,  MW-AGS-04,  MW-AGS-05,  MW-AGS-06, MW-AGS-07,  MW-AGS-08,  MW-AGS-09,  MW-AGS-10,  MW-AGS-11, MW-AGS-12,  MW-AGS-13,  MW-AGS-14,  MW-AGS-15,  MW-AGS-16,  MW-AGS-17,  MW-AGS-18,  MW-AGS-19, MW-AGS-20,  MW-AGS-21,  MW-AGS-22,  MW-AGS-23, MW-AGS-24, MW-AGS-25, MW-AGS-26, MW-AGS-27, MW-AGS-28, MW-AGS-29, MW-AGS-30, MW-AGS-31, MW-AGS-32, MW-AGS-33, MW-AGS-34.

Contaminants of Concern

Tritium, Sodium-22, 1,1,1-trichloroethane, trichloroethylene, 1,1-dichloroethane, 1,1-dichloroethylene

Sample Periods for CY 1998

October/November

Sample Periods for CY 1999

January/February, April/May, July/August, October/November

____________________________________________________________________________________________

Sample Period CY 1999		1st Qtr.		2nd Qtr.		3rd Qtr.		4th Qtr.

Laboratory			ES&H		ES&H		ES&H		ES&H

Analysis

VOCs

(EPA 624)			X				X

Semi-VOCs

(EPA 625)

Pesticides/PCBs

(EPA 608)

Metals

(EPA 200 Series)					X				X

Radionuclides

Tritium(EPA 906)			X		X		X		X

Strontium-90 (EPA 905)

Gross alpha/beta (EPA 900)				X				X

Gamma (EPA 901.1)		X		X		X		X

Anions - Water Quality

(EPA 300)

pH and conductivity (Field)		X		X		X		X