## AMS Change Request Number:	Date Received: October 2, 2001

Title:

# NAME: Brenda Carignan

BRANCH: ASU-140

PHONE: 78392

TYPE OF CHANGE REQUEST:  Guidance

Lease Clause

Submit Alternate Lease Clause

DESCRIPTION OF REQUEST:  These changes and submissions modify existing guidance for real estate security implementation by incorporating language found in FAA Orders 1600.72 and 1600.73.  Detailed changes are provided in the specific documents attached to this email.

REASON FOR CHANGE: This change is in response to newly written FAA Order 1600.72 policy published as of April 2001.

EXTENT OF DEVELOPMENT & REVIEW:  ASU140, all regional logistics offices (real estate personnel), AGC, and ACP

TARGET AUDIENCE: Logistics, Airway Facilities, and Private Industry

POTENTIAL FAST LINKS:

See highlighted links in guidance submission for specific origin and destination locations:

Link 1 - TO http://security2.awa.faa.gov

Other links - first, insert establish new title in Table of Contents @ III, Space Forms.  The new title will be Alternative Security Clause for Existing Leases and this title will become #11 under this list.  The remaining forms, 11 through 14 will be moved down one number, i.e., 12, 13, 14, and 15.  Then a link must be established for the new title.

I will identify where these links are to be placed.

ATTACHMENTS: guidance, lease clause, alternative lease clause

BRIEFING PLANNED: No

ASAG RESPONSIBILITIES:  None

| FEDERAL AVIATION ADMINISTRATION LEASE FOR REAL PROPERTY | LEASE NUMBER DTFA__-___-_______ Date of Lease:_____________ |
| --- | --- |
| 1. THIS LEASE, entered into by and between _________________________ whose interest in the property hereinafter described is that of _________________________, hereby referred to as LESSOR OR CONTRACTOR, and the United States of America, hereinafter referred to as the GOVERNMENT OR FAA: WITNESSETH: The Parties hereto, and for the consideration hereinafter mentioned, covenant and agree as follows (9/98): |
| 2. DESCRIPTION - The Lessor/Contractor hereby leases to the GOVERNMENT the following described premises: (10/96) |
| 3. TERM - To have and to hold, for the term commencing on_______________ and continuing through______________ inclusive, PROVIDED, that adequate appropriations are available from year to year for the payment of rentals. The GOVERNMENT may terminate this lease at any time, in whole or in part on or after ______________giving at least _____________days notice in writing to the Lessor/Contractor. No rental shall accrue after the effective date of termination. Said notice shall be computed commencing with the day after the date of mailing. (10/96) This lease succeeds lease number DTFAXX-XX-L-00000, which expires on ______________. (1/01) |
| 4. RENTAL |
| Rent in the amount of $_______________ per __________shall be payable to the Lessor/Contractor in arrears and will be due on the first workday of each _______________, without the submission of invoices or vouchers. Subject to available appropriations. Rent shall be considered paid on the date a check is dated or an electronic funds transfer is made. Rent for a period of less than a __________ shall be prorated. Checks will be made payable to: (10/96) |
| 5. STANDARD CONDITIONS AND REQUIREMENTS |
| In this lease the term “Lessor/Contractor shall provide” means the Lessor/Contractor shall furnish and install at the Lessor/Contractor’s expense, unless specified otherwise. Also, in this lease the term “Lessor/Contractor shall maintain” means the Lessor/Contractor shall maintain the premises at the Lessor/Contractor’s expense, including the building, grounds, and all equipment, fixtures, and appurtenances furnished by the Lessor/Contractor under this lease, in good repair and tenantable condition, unless specified otherwise. (11/97) The following standard conditions and requirements shall apply to any premises offered for lease to the UNITED STATES OF AMERICA: The premises offered shall have a valid Occupancy Permit, issued by the local jurisdiction, for the intended use of the GOVERNMENT, or the offeror shall complete and provide a certified copy of “FAA Safety & Environmental Checklist ” form, in lieu of an occupancy permit, at the contracting officer’s discretion. The leased premise, all accesses to the leased premises, building operations, equipment, services, or utilities furnished by the Lessor/Contractor, and activities of other occupants, shall be free of safety, health, and fire hazards. When such hazards are detected, they must be promptly corrected at the Lessor/Contractor's expense. The Building and the leased premises shall be accessible to the handicapped in accordance with the Uniform Federal Accessibility Standards (41 CFR 101-19.6, App. A) And all applicable state and local accessibility laws and regulations. The leased premises shall be free of all asbestos-containing material, PCB’s, Radon, and other environmentally hazardous substances. If environmentally hazardous substances or conditions are found, the Lessor/Contractor shall immediately correct such conditions, at no cost to the GOVERNMENT. Services, utilities, and maintenance will be provided daily, extending from __________ a.m. to __________ p.m. except Saturday, Sunday, and Federal holidays. Services supplied to technical equipment shall be supplied 24 hours, a day, and seven days a week. The GOVERNMENT shall have access to the leased premises at all times, including the use of electrical services, toilets, lights, elevators, and GOVERNMENT office machines without additional payment. The Lessor/Contractor shall prepare the premises with all due diligence to meet the GOVERNMENT’S requested start date. The Lessor/Contractor shall paint all surfaces designated by the contracting officer, and fully clean all leased areas. The Lessor/Contractor shall complete all requested alterations within ____days of receipt of approved layout drawings, and shall notify the contracting officer when the premises is ready. The Contracting officer or his representative shall promptly inspection the premises and determine if the premises is ready for the beneficial occupancy of the GOVERNMENT. Rent shall commence upon the date of the GOVERNMENT’S acceptance of the premises for beneficial occupancy. |
| 6. SERVICES AND UTILITIES (To be provided by Lessor/Contractor as part of rent. Services shall be Building Standard, unless level of service is prescribed elsewhere in the lease.) (10/96) |
| ( HEAT ONLY - _______ DEG. | ( TRASH REMOVAL | GROUNDS MAINT. | ( INITIAL & REPLACEMENT | ( OTHER |
| ( ELECTRICITY | ( CHILLED DRINKING WATER | ( WINDOW WASHING | LAMPS, TUBES & BALLASTS | (Specify below) |
| ( SPECIAL POWER - NOTED BELOW) | ( HVAC - _________DEG. F | Frequency | ( PAINTING FREQUENCY | ____________________________________ |
| ( WATER (Hot & Cold) | ( DAILY TOILET SUPPLIES & CLEANING | ( CARPET CLEANING | Space | __________________ |
| ( SNOW REMOVAL | ( DAILY JANITORIAL SERV. & SUPPLIES | Frequency | Public Areas | __________________ |

FAA LEASE FOR REAL PROPERTY

7. GENERAL CLAUSES

A. INSPECTION - The GOVERNMENT reserves the right, at any time after the lease is signed and during the term of the lease, to inspect the leased premises and all other areas of the building to which access is necessary to ensure a safe and healthy work environment for the GOVERNMENT tenants and the Lessor/Contractor's performance under this lease. The FAA shall have the right to perform sampling of suspected hazardous conditions. (10/96) B. DAMAGE BY FIRE OR OTHER CASUALTY - If the building or structure is partially or totally destroyed or damaged by fire or other casualty or if environmentally hazardous conditions are found to exist so that the leased premises is untenantable as determined by the GOVERNMENT, the GOVERNMENT may terminate the lease, in whole or in part, immediately by giving written notice to the Lessor/Contractor and no further rental will be due. (10/96) C. MAINTENANCE OF THE PREMISES - The Lessor/Contractor shall maintain the demised premises, including the building, grounds, and all equipment, fixtures, and appurtenances furnished by the Lessor/Contractor under this lease, in good repair and tenantable condition. (10/96) D. FAILURE IN PERFORMANCE - In the event the Lessor/Contractor fails to perform any service, to provide any item, or meet any requirement of this lease, the GOVERNMENT may perform the service, provide the item, or meet the requirement, either directly or through a contract. The GOVERNMENT may deduct any costs incurred for the service or item, including administrative costs, from the rental payments. No deduction of rent pursuant to this clause shall constitute default by the GOVERNMENT on this lease. (10/96) E. DEFAULT BY LESSOR/CONTRACTOR - (1) Each of the following shall constitute a default by Lessor/Contractor under this lease: (a) If the Lessor/Contractor fails to perform the work required to deliver the leased premises ready for occupancy by the GOVERNMENT with such diligence as will ensure delivery of the leased premises within the time required by the lease agreement, or any extension of the specified time. (b) Failure to maintain, repair, operate or service the premises as and when specified in this lease, or failure to perform any other requirement of this lease as and when required provided such failure which shall remain uncured for a period of time as specified by the Contracting Officer, following Lessor/Contractor’s receipt of notice thereof from the Contracting Officer. (c) Repeated failure by the Lessor/Contractor to comply with one or more requirements of this lease shall constitute a default notwithstanding that one or all failures shall have been timely cured pursuant to this clause. (2) If default occurs, the GOVERNMENT may, by written notice to the Lessor/Contractor, terminate the lease in whole or in part. (10/96) ALTERATIONS - The GOVERNMENT shall have the right during the existence of this lease to make alterations, attach fixtures, and erect structures or signs in or upon the premises hereby leased, which fixtures, additions or structures so placed in, on, upon, or attached to the said premises shall be and remains the property of the GOVERNMENT and may be removed or otherwise disposed of by the GOVERNMENT. It is mutually agreed and understood, that no restoration rights shall accrue to the Lessor/Contractor for any alterations to the leased premises under this lease, and that the GOVERNMENT shall have the option of abandoning alterations in place, when terminating the lease, at no additional cost. (10/96) G. OFFICIALS NOT TO BENEFIT - No member of or delegate to Congress, or resident commissioner, shall be admitted to any share or part of this contract, or to any benefit arising from it. However, this clause does not apply to this contract to the extent that this contract is made with a corporation for the corporation's general benefit. (10/96) H. COVENANT AGAINST CONTINGENT FEES - The Contractor warrants that no person or agency has been employed or retained to solicit or obtain this contract upon an agreement or understanding for a contingent fee, except a bona fide employee or agency. For breach or violation of this warranty, the GOVERNMENT shall have the right to annul this contract without liability or, in its discretion, to deduct from the contract price or consideration, or otherwise recover the full amount of the contingent fee. (10/96) I. ANTI-KICKBACK - The Anti-Kickback Act of 1986 (41 U.S.C. 51-58) (the Act), prohibits any person from (1) Providing or attempting to provide or offering to provide any kickback; (2) Soliciting, accepting, or attempting to accept any kickback; or (3) Including, directly or indirectly, the amount of any kickback in the contract price charged by a prime Contractor to the United States or in the contract price charged by a subcontractor to a prime Contractor or higher tier subcontractor. (10/96) J. PROTEST AND DISPUTES - All contract disputes arising under or related to this contract or protests concerning awards of contracts shall be resolved under this clause, and through the Federal Aviation Administration (FAA) Dispute Resolution System. Judicial review, where available, will be in accordance with 49 U.S.C. 46110 and shall apply only to final agency decisions. The decision of the FAA shall be considered a final agency decision only after a contractor or offeror has exhausted their administrative remedies for resolving a contract dispute under the FAA Dispute Resolution System. Protests must be filed with the Office of Dispute Resolution within 5 calendar days of the date that the protester was aware, or should reasonably have been aware, of the agency action or inaction, which forms the basis of the protest. Unless otherwise stated in this contract, a contract dispute by the contractor against the GOVERNMENT shall be submitted to the Contracting Officer within 1 year after the accrual of the contract dispute. The Contracting Officer, upon request will provide information relating to submitting a protest or dispute. (10/96) K. EXAMINATION OF RECORDS - The Comptroller General of the United States, the Administrator of FAA or a duly authorized representative from either shall, until 3 years after final payment under this contract have access to and the right to examine any of the Contractor’s directly pertinent books, documents, paper, or other records involving transactions related to this contract. (10/96)

L. ELECTRONIC FUNDS TRANSFER (EFT) – Payments by the GOVERNMENT under this contract will be made by electronic funds transfer (EFT). At the option of the GOVERNMENT payments may be made by check or other means. When payment is made by EFT, the GOVERNMENT may, at its option, also forward the associated payment information by electronic transfer. EFT refers to funds transfer and information transfer. The GOVERNMENT is not required to make any payment under this contract until after receipt, by the Contracting Officer of the correct EFT payment information. However, in the event the contractor certifies in writing to the Contracting Officer that the contractor does not have an account with a financial institution or an authorized payment agent, payment may be made by other than EFT. Prior to the first payment under this contract, the contractor (vendor) shall provide the information required to make contract payment by EFT, directly to the GOVERNMENT payment office named in this contract. A single bank or financial agent must be designated; capable of receiving and processing the electronic funds transfer using the method below. In the event that the EFT information changes, the contractor shall be responsible for providing the changed information to the designated payment office. The contractor shall pay all fees and charges for receipt and processing of EFTs. The GOVERNMENT will make payments by EFT through an Automated Clearinghouse (ACH) however; the Federal Reserve Wire Transfer System may be used at the GOVERNMENT’S option. The attached form “Vendor/Miscellaneous Payment Information Form” must have the sections “Payee/Company Information” and “Financial Institution Information” completed prior to award. Do not complete the Vendor/Miscellaneous Payment Information Form until instructed to do so. The Contractor agrees that the Contractor’s bank or financial agent may notify the GOVERNMENT of a change to the routing transit number, contractor account number, or account type. (11/97) M. SEISMIC SAFETY FOR EXISTING BUILDINGS AND NEW CONSTRUCTION - Unless it is determined by the GOVERNMENT’S Contracting Officer that seismically conforming premises is not available, all existing buildings leased by the GOVERNMENT under this contract must meet the minimum acceptable performance seismic standard of ‘Substantial Life Safety’ defined as, in ICSSC RP4 Standards of Seismic Safety for Existing Federally Owned or Leased Buildings and Commentary All offers received in response to screening information request will be evaluated to determine whether they are in compliance with “Substantial Life Safety”. If at least one offeror is fully compliant, all offerors who are not fully compliant will be considered non-responsive and ineligible for award. In the event the building with a certification of seismic compliance is occupied by the FAA and is later determined to not meet the standard indicated on the certification form, the FAA at its discretion may require the Lessor/Contractor to meet the agreed upon standard or may terminate this lease upon giving written notice, with no cost accruing to the FAA, not withstanding any other agreements contained in this lease. COMPLIANCE of SUBSTANTIAL LIFE SAFETY Buildings designed and constructed in compliance with the seismic requirements of the building codes delineated in the following matrix and that also comply with the nonstructural, geologic/site, and adjacency compliance categories are considered to fully meet the GOVERNMENT’S minimum seismic requirement. The offeror shall provide proof of compliance in the form of a written certification [CERTIFICATION OF SEISMIC COMPLIANCE] by an independent licensed structural engineer that the building was designed and built to a specific code set out in the matrix below. If the building cannot be certified in accordance with the matrix below, the structural engineer must evaluate the building using FEMA-178, NEHRP Handbook for the Seismic Evaluation of Existing Buildings and attach the FEMA-178 evaluation to the Certification of Seismic Compliance. Buildings meeting the requirements of FEMA-178 are considered to structurally meet the GOVERNMENT’S minimum requirement of ‘Substantial Life Safety’. Model Building Seismic Design Provisions FEMA 178(a) BUILDING TYPE BOCA SBCC UBC ANSI 1,2 Wood Frame, Wood Shear Panels ** ** 1949 ** 3 Steel Moment Resisting Frame (MRF) 1987 1991 1976 1982 4 Steel Braced Frame 1990 1991 1988 * 5 Light Metal Frame * * * * 6 Steel Frame w/ concrete Shear Walls 1987 1991 1976 1982 8 Reinforced Concrete Moment Resisting Frame 1987 1991 1976 1982 9 Reinforced Concrete Shear Walls w/o MRF 1987 1991 1976 1982 10.7 Steel or Concrete Frame w/URM Infill * * * * 11 Tilt-up Concrete 1987 1991 1973 1982 12 Precast Concrete Frame * * * * 13,14 Reinforced Masonry 1987 1991 1976 1982 15 Unreinforced Masonry URM) * * * * (a) The tabulated numbers refer to the 15 common building types as they are defined in FEMA 178. * Indicates no benchmark year (No comprehensive seismic requirements for these buildings exist. Therefore, the buildings must be evaluated using FEMA 178). ** In order to determine seismic compliance, buildings built under local provisions for wood construction need to be compared to the 1949 UBC or evaluated under FEMA 178. BOCA - Building Officials and Code Administrators, National Building Code. SBCC - Southern Building Code Congress, Standard Building Code. UBC - International Conference of Building Officials, Uniform Building Code. ANSI - American National Standards Institute, A58.1, Minimum Design Loads for Buildings and Other Structures LESS THAN SUBSTANTIAL LIFE SAFETY Existing buildings, which cannot achieve substantial life safety, will require documentation to describe their lower level of seismic compliance. Therefore, the offeror will provide the following written documentation from an independent licensed structural engineer: 1) a statement that the building has adequate strength to resist the appropriate evaluation earthquake defined in FEMA 178 without significant failure and 2) an analysis that describes in detail, with appropriate calculations, all exceptions to compliance of Substantial Life Safety with the seismic design provisions of one of the building model codes in the table above or the FEMA 178 requirements. The FAA will compare one offeror against another to determine whose building is closest to the seismic criteria for “Substantial Life Safety” and make an award to the offeror who best meets the Model Building Code Seismic Design Provisions and the other requirements of this screening for information. (9/98) Seismic Safety For New Construction All construction performed under this contract must, as a minimum, be in accordance with current Acceptable Model Codes. The contractor shall provide, prior to the GOVERNMENT’S acceptance of the building(s), a written certification from an independent licensed structural engineer that the building(s) conforms to a seismic safety standard equivalent to either the current National Earthquake Hazards Reduction Program (NEHRP) recommendations [current as of the date of the solicitation or the screening information request] or a version of the following building codes which has been determined by the Interagency Committee on Seismic Safety in Construction (ICSSC) to meet the NEHRP recommendations: 1) International Conference of Building Officials (ICBO) Uniform Building Code, 2) Building Officials and Code Administrators International (BOCA) National Building Code or 3) Southern Building Code Congress (SBCC) Standard Building Code. The structural engineer certification shall be in the format of the enclosed CERTIFICATION OF SEISMIC. When a code equivalency study is required it shall be attached to the structural engineer’s certification. During the design and development stages of construction, all design and engineering documents, including structural engineering calculations, shall be made available within twenty-four hours, after a verbal request from GOVERNMENT personnel to review said documents, or in another time frame agreed to in writing by the GOVERNMENT’S Contracting Officer. The sole purpose of this clause is to certify that the end product of this contract meets the seismic standards of the Department of Transportation. This clause does not in any way change the requirements of the statement of work, which may require seismic standards higher than those required by this clause. In the event the building with a certification of seismic compliance is occupied by the FAA and is later determined to not meet the standard indicated on the form “Certification of Seismic Compliance Form”, the FAA at its discretion may require the Lessor/Contractor to meet the agreed upon standard or may terminate this lease upon giving written notice, with no cost accruing to the FAA, not withstanding any other agreements contained in this lease. (9/98) SECURITY SCREENING OF PERSONS OR INDIVIDUALS EMPLOYED OR HIRED BY LESSOR/CONTRACTOR – (10/01/01) The Lessor/Contractor shall provide a level of security, which reasonably deters unauthorized entry to the premises leased by the GOVERNMENT during non-duty hours, and deters loitering or disruptive acts in or upon the leased premises during hours of operation by the GOVERNMENT. If the Lessor/Contractor provides janitorial, construction, maintenance, property management, or alteration/repair services under the terms of this lease, the GOVERNMENT may investigate any person(s) or individual(s) employed or to be hired by the Lessor/Contractor to perform work or provide services in or upon the premises leased by the GOVERNMENT. Note: No person or individual employed or hired by the Lessor/Contractor will be permitted access to perform work or provide services in or upon the leased premises until the FAA Servicing Security Element (SSE) has received the paperwork required below and provided written authorization for the individual to begin work or provide the services. Upon acceptance and execution of this lease and prior to the effective date of the occupancy by the GOVERNMENT, the Lessor/Contractor shall provide within ten (10) calendar days to the designated GOVERNMENT representative, personnel security information as outlined in subparagraphs 1 and 2 below for each person employed by the Lessor/Contractor, or individuals, or agency personnel hired by the Lessor/Contractor to perform work or provide services in or upon the premises leased by the GOVERNMENT under the terms of this lease. For all Lessor/Contractor personnel (i.e., janitorial, construction, maintenance or repair personnel, including subcontractors, consultants, and designated representatives, etc.) requiring access to perform work or provide services in or upon the premises leased by the GOVERNMENT, the Lessor/Contractor shall provide to the designated GOVERNMENT representative the following: An initial listing and subsequent quarterly listing (i.e., based on effective lease date), the full name (alphabetically), date and place of birth (city, state or country), and position title of all individuals hired and/or employed by the Lessor/Contractor who will have or may require access to the premises leased by the GOVERNMENT during the calendar quarter-year period. Note: If the FAA SSE determines certain position(s) to be exempt from further investigative requirements, personnel employed in those positions would not have to complete b, c, or d below. All other non-exempt personnel employed will meet the requirements below. A completed FBI Fingerprint Card, FD-258, for each person identified and listed in 1 a) above. The GOVERNMENT designated representative or FAA Servicing Security Element will provide information pertaining to the location of fingerprint facilities. Each fingerprint card shall be printed in black ink or typewritten with all answerable question blocks completed and shall be signed and dated by the individual. The Lessor/Contractor will be responsible for all expenses associated with fingerprinting person(s) or individual(s) employed or to be hired by the Lessor/Contractor; A completed Card/Credential Application, DOT Form 1681 with appropriate picture of applicant; and If requested by the designated GOVERNMENT representative, a completed Questionnaire for Public Trust Position, Standard Form 85P, shall be completed and signed in accordance with the applicable instructions. The designated GOVERNMENT representative shall notify the Lessor/Contractor when listed personnel are approved to access the facility. If any person identified and listed by the Lessor/Contractor in subparagraph 1 a) is determined to be exempted from the investigative requirement by the GOVERNMENT, that person shall be escorted at all times in or upon the leased premises by FAA personnel located on-site or by an individual or person employed or hired by the Lessor/Contractor, who has been properly investigated, favorably adjudicated, and authorized to escort individuals. The Lessor/Contractor and ALL persons or individuals employed by the Lessor/Contractor shall display a GOVERNMENT-issued identification badge when visiting or performing work or providing services in or upon the premises leased by the GOVERNMENT, and shall abide by all facility security measures as required by the designated GOVERNMENT representative. For all new persons or individuals hired or employed to perform work or provide services in or upon the leased premises the Lessor/Contractor will provide, within ten (10) calendar days of their employment, the personnel security information in subparagraph 1 a) and b) to the designated GOVERNMENT representative. The Lessor/Contractor will immediately remove from the leased premises any person(s) or individual(s) who the GOVERNMENT has determined to be unsuitable to perform any work or provide any services under the terms of the lease. The Lessor/Contractor shall notify the designated GOVERNMENT representative within one (1) day after any employee listed on the quarterly listing referenced in paragraph 1 a) above, is terminated from performance on this lease. Foreign Nationals as Lessor/Contractor Employees Each employee of the Lessor/Contractor shall be a citizen of the United States of America, or an alien who has been lawfully admitted for permanent residence as evidenced by Alien Registration Receipt Card Form I-151, or who presents other evidence from the United States Immigration and Naturalization Service that employment will not affect his/her immigration status. (b) Aliens and foreign nationals employed or hired by the Lessor/Contractor under this contract must have resided within the United States for three (3) consecutive years of the last five (5) years unless a waiver of this requirement.

OTHER REQUIREMENTS See herein attached - Attachment A

| PART III - AWARD (To be completed by GOVERNMENT) |
| --- |
| IN WITNESS WHEREOF, the parties hereto have signed and sealed their presents: |
| 8a. NAME AND TITLE OF OWNER (Type or Print) | 8b. SIGNATURE OF OWNER | 8c. DATE (10/96) |
| THIS DOCUMENT IS NOT BINDING ON THE GOVERNMENT OF THE UNITED STATES OF AMERICA UNLESS SIGNED BELOW BY AUTHORIZED CONTRACTING OFFICER. |
| 9a. NAME OF CONTRACTING OFFICER (Type or Print) | 9b. SIGNATURE OF CONTRACTING OFFICER | 9c. DATE (10/96) |