A Stand-alone Heavy Flavor Tracker for STAR

hft-12-17-2005.doc

This page intentionally left blank

A Stand-alone Heavy Flavor Tracker

for STAR

Z. Xu

Brookhaven National Laboratory, Upton, New York 11973

Y. Chen, S. Kleinfelder, A. Koohi, S. Li

University of California, Irvine, California

H. Huang, A. Tai

University of California, Los Angeles, California 90095

V. Kushpil, M. Sumbera

Nuclear Physics Institute AS CR, 250 68 Rez/Prague, Czech Republic

C. Colledani, W. Dulinski, A. Himmi, C. Hu, A. Shabetai, M. Szelezniak, I. Valin, M. Winter

Institut de Recherches Subatomique, Strasbourg, France

M. Miller, B. Surrow, G. Van Nieuwenhuizen

Massachusetts Institute of Technology, Cambridge, MA 02139

L. Greiner,  H.S. Matis, M. Oldenburg, H.G. Ritter,  F. Retiere, A. Rose, K. Schweda, E. Sichtermann,  J.H. Thomas, H. Wieman, N. Xu, and more STARs!

Lawrence Berkeley National Laboratory, Berkeley, California 94720

I. Kotov

Ohio State University, Columbus, Ohio 43210

Contents

1	Executive Summary	13

1.1	Scientific Motivation	13

1.2	Detector Concept	14

2	The Physics of the HFT	16

2.1	Introduction	16

2.2	Initial Heavy Quark Production	18

2.2.1	The Need for Direct Topological Reconstruction of Open Charm	21

2.3	Probing Medium Thermalization: Charm Quark Re-interactions	23

2.3.1	Elliptic Flow	24

2.3.2	Charm Hadro-Chemistry	26

2.4	Probing the Density of the Medium: Heavy Quark Energy Loss	28

2.4.1	RAA and Energy Loss	28

2.4.2	Charm Angular Correlations	30

2.4.3	Baryon – Meson Ratios	32

2.4.4	B Jet Tagging	33

2.5	Measuring Vector Mesons with Dileptons	34

2.6	Spin Measurements	38

3	HFT Conceptual Design and Performance	40

3.1	Overview of the Experiment	40

3.2	Design of the HFT	41

3.3	Expected HFT Performance	42

3.4	Monte Carlo Simulations	44

3.5	Simulated HFT Performance	49

3.5.1	An example: Open Charm and Beauty Reconstruction	52

3.7	Additional Issues that Relate to the Performance of the HFT	66

3.7.1	Measured Hit Density at 6 cm Radius in STAR	68

4	CMOS Sensors	69

4.1	Introduction	69

4.2	Main Features and Performance of CMOS Active Pixel Sensors	72

4.3	MIMOSTAR Sensor Design	74

4.3.1	Thinning	76

4.4	Additional R&D	76

5	Data Acquisition and Readout	81

5.1	Requirements	81

5.2	Architecture	82

5.3	Data Synchronization, Readout and Latency	84

5.4	Data Rates	86

5.5	Prototypes	87

6	Integration with the Experiment	90

6.1	Mechanical Introduction	90

6.2	Support Carriage for Rapid Installation and Removal	90

6.2.1	Position Alignment and Calibration	94

6.3	Ladder Design and Fabrication	95

6.3.1	Detector Radiation Length	96

6.3.2	Expected Radiation Exposure	96

6.4	Ladder Mechanical Tests	97

6.4.1	Load Distortion Tests	97

6.4.2	Thermal Distortion Tests	99

6.4.3	Cooling Measurements	99

6.5	Cabling	100

6.6	Beam Pipe	102

6.6.1	Minimum Beam Pipe Radius Consistent with Injected Beam	103

6.6.2	Supporting Section	104

6.6.3	Central Beam Pipe Thin Window Section	105

6.6.4	RF Background from the Wake Field	105

6.6.5	Beam Pipe Insertion and Removal	105

6.6.6	Bake Out	105

6.7	Compatibility with the SSD and other cone mounted detectors	106

6.8	Compatibility with an Upgraded Inner Si Tracker  Barrel	106

7	Cost, Schedule and Manpower	107

7.1	Cost and Schedule	107

8	Summary	108

9	Appendix I – MIMOSTAR II Specifications	109

10	Appendix II – MIMOSTAR II Users Guide	109

11	References	110

List of Figures

Figure 1:  Masses of the six quark flavors. The current and constituent masses are shown by blue- and yellow-boxes, respectively.  The figure is adapted from Ref. [12].	18

Figure 2: Contributions to charm production at RHIC energies include the initial gluon fusion and q annihilation phase (solid line), a pre-thermal phase characterized by scattering between free-streaming partons, and a thermal phase that assumes parton equilibration.  The distributions were calculated with an energy density of 3.2 GeV/fm3 at the moment of thermal equilibration.  As a reference, the faint dotted line is the thermal production of charm due to an initial fully equilibrated QGP. The figure is from Ref. [15].	20

Figure 3:  Total c production cross-sections per nucleon-nucleon collision vs. collision energy.  The dashed line depicts a PYTHIA calculation.  The dot-dashed line depicts a NLO pQCD calculation with MRST HO, mc = 1.2 GeV/c2, µF = 2mc, µR = 2mc.  The figure is adapted from Ref. [17, 19].	20

Figure 4: Solid- and dashed-curves represent the charm- (red) and beauty-hadron (blue) spectra from Blast-Wave and Pythia model calculations, respectively. The corresponding heavy flavor decayed electron spectra are shown as black curves.  The data are the measured single electron distributions measured in 10% central Au+Au collisions at 130 GeV by the PHENIX collaboration.  The figure is adapted from Ref. [20].	22

Figure 5: Nuclear modification factor RAA of D-mesons assuming the measured spectrum from d+Au collisions scales as the light charged hadrons in central Au+Au collisions (blue line, I)  and from a hydro-dynamically inspired parameterization assuming a collective flow velocity of <(r> = 0.4c for D-mesons (red line, II);  the corresponding electron decay-spectra are shown by the blue dashed (I) and red dashed (II) lines.	22

Figure 6: Elliptic flow of strange hadrons at RHIC as measured by the STAR detector. The top panel demonstrates typical hydro-dynamical mass ordering up to a momentum pT < 2GeV/c and saturation at larger momentum. The bottom panel shows the scaling of elliptic flow with the number n of constituent quarks in the saturation region (baryons, n=3; mesons, n= 2).	25

Figure 7:  Non-photonic electron elliptic flow at RHIC.  Blue and Red symbols are data of non-photonic electron v2 from PHENIX and STAR. Only statistical errors are shown for both results.  The dashed-dotted-line represents the input D-meson v2 distributions, assuming the scaling of constituent quarks for meson v2. The corresponding decayed electron v2 are shown as the hatched band. The dashed-line represents the results from Greco et al.  In this coalescence calculation, similar v2 distributions for c- and u-quarks are assumed.	26

Figure 8: The ratio of suppression factors in hot matter for charm (H) and light (L) quarks. The solid line represents results from calculations with unrestricted gluon radiation, while the dashed line is based on calculations with a cut on gluon energies ( > 0.5 GeV.  The size of the static medium traversed by the fast quark is assumed to be 5 fm.  The figure is from Ref. [51].	29

Figure 9: Non-photonic electron RAA in central Au+Au collisions from STAR (open-symbols, top 5%) and PHENIX (filled-symbols,  top 10%) from Refs. [58,59,60].  Theoretical predictions for charmed-hadron and charm and beauty-hadron decayed electrons are shown as blue- and yellow-bands, respectively. In these calculations, the initial gluon density was assumed to be unrealistically large: ~3500,  see Ref [63] .	30

Figure 10: D-meson correlation functions for 200 GeV p+p collisions.  Default parameters in the Pythia model were used in these calculations.  A clear back-to-back correlation in the angular distribution of charmed mesons is observed (shown by the open circles).  The Solid-line and the diamonds represent the results with angular smearing for ((( and(, respectively.	31

Figure 11: Distance of  the B+ decay position from the primary vertex.  Full circles are from high-momentum simulated B+ ( e+ + X decays, open triangles show the distribution of combinatorial background.  The arrow indicates a cut at 250 (m optimizing the signal to background ratio.	34

Figure 12:  Left top: TPC dE/dx vs p in d+Au collisions.  Left bottom: TPC dE/dx vs p after TOFr PID selection of | 1-( | < 0.03.   Clean electron identification is achieved.  Right: dE/dx from the TPC after TOFr PID selection for 1.0 < p < 1.5 GeV/c.	35

Figure 13:  Electron pT spectra from ( conversions reconstructed by requiring TPC tracking alone, a track in the TPC and 2 SVT hits, or a TPC track and 2 SVT hits and 2 HFT hits.  The rejection factor with an additional SVT hit (2 hits) is 3 and with an additional HFT hit is 50.	36

Figure 14: Di-electron invariant mass spectrum.  The solid black curve is a prediction  from R. Ralf Ref. [78] using the full STAR acceptance. The red curve at the top is the total di-electron invariant mass spectrum seen with the 2004 configuration of STAR but assuming electron PID from Full TOF coverage. The gray curve is the charm e+e- pair invariant mass distribution after a cut on the HFT DCA < 80um.  The dot dashed line is the Dalitz decays from (0 and ( after rejection from TPC.	38

Figure 15: The STAR detector at RHIC.  The primary detector elements at mid-rapidity are shown in this cut-away view of the detector.  For scale, the TPC is 4.2 meters long and 4 meters in diameter. Heavy Ion beams enter from the left and right while collisions take place at the centerline under the Silicon trackers.	40

Figure 16:  Left - Schematic view of the HFT detector ladder arrangement with 6 ladders forming the inner layer and 18 ladders forming the outer layer.  The width of the ladders (the dimension seen in this view) is 19 mm.  The shingled layers provide cross calibration of the ladders and provide an open geometry for ease of installation.  Right - The HFT is shown embedded inside the SVT+SSD.	42

Figure 17: Probability of getting the correct hit on the outer HFT layer, given two different SVT geometries and a search window of 640 (m	43

Figure 18: HFT efficiency and ghost rate: (a) projected track error. The projection starts from TPC (radius from 60 cm to 189 cm) through SSD (23 cm) to the second layer of HFT (5 cm). (b) and (d) are pT dependence of HFT efficiency and ghost rate, respectively. (c) and (e) are luminosity dependence for efficiency and ghost rate, respectively. Finite and infinite search window are represented by solid- and dashed- line, respectively. The vertex, SSD, TPC resolution are 100um, 20um, 575um, respectively. In the hand calculation, 3( detector resolutions are used. At nominal RHIC luminosity 1(1027/cm2s, pile-up hits density is 22.5 hits/cm2.	44

Figure 19: Simulation block flow diagram.	47

Figure 20: DCA of tracks to the Primary vertex. Geometric signed distance of closest approach between all tracks (pt>200MeV/c) and the vertex for two cases. a) DCA to the vertex defined by TPC+SSd tracks; the non-zero mean is used to correct the vertex coordinate. b) Vertex after iterative correction using TPC+SSD+HFT tracks, with a significant improvement in the mean of the offset and the distribution shape.	48

Figure 21: Mean and sigma of the geometric – signed DCA distribution as a function of the number of iterations used to correct the vertex.	48

Figure 22: Vertex resolution (MC Vertex Position – Reconstructed Vertex position) as a function of collision centrality. The HFT Refit vertex shows an order of magnitude improvement over the previously reconstructed primary vertex. a) Vertex resolution in X vs. Nch . Resolution follows a/sqrt(N), expected from fitting statistics. b) Vertex resolution along the beam direction. Problems in the vertex fit in the z direction drive the distribution wider than in the transverse direction.	49

Figure 23:  The efficiency for finding tracks in central Au+Au collisions in the STAR TPC, SSD, and the HFT.	51

Figure 24: Left – The number of ghost tracks and reconstructed tracks passing through the pixels of the HFT as a function of pT.   Right - The ratio of ghost tracks to good tracks.	51

Figure 25:  The decay topology for a D0 decaying to a kaon and a pion.   Isolation cuts to identify the D0 from the background tracks are described in the text.	54

Figure 26: The distance of closest approach (dca) distributions for D0  (triangles) and D+ (circles).  The results of the dca distribution for primary tracks are shown in squares.	55

Figure 27: The absolute yield of D0 into the TPC+SSD+HFT divided by the input D0 yield.  In the SVT-1 configuration, the innermost layer of the SVT has been removed in order to allow more room for the HFT.  And finally, Tthe Alice geometry assumes thick Si detectors that are similar to the wafers used in the ALICE vertex detector.  The D0 reconstruction cuts were optimized using the program MINUIT.	57

Figure 28: The number of central Au+Au events needed as a function of the Si ladder thickness and the position resolution of the detector (left).  Results from Monte Carlo Simulations and full tracking in all sub-detectors including TOF and the proposed HFT (right).	57

Figure 29:  Left:  SVT-1 configuration without TOF.  Right:  SVT-1 configuration plus TOF.  The estimated statistical uncertainties are shown on the top line.	58

Figure 30: The D+ decayed tracks decay-length, dca, and cos(() distributions (triangles). The same distributions for primary tracks are also shown (squares).	59

Figure 31: The absolute yield of D0 into the TPC+SSD+HFT divided by the input D0 yield.  In the SVT-1 configuration, the innermost layer of the SVT has been removed in order to allow more room for the HFT.  And finally, Tthe Alice geometry assumes thick Si detectors that are similar to the wafers used in the ALICE vertex detector.  The D0 reconstruction cuts were optimized using the program MINUIT.	60

Figure 32: Invariant mass distributions for D+ for several pT windows. Lines are the Polynomial (up to 2nd order)+ Gaussian fit.	60

Figure 33: D-meson efficiencies as a function of transverse momentum. Dashed-lines are the fits.	61

Figure 34:  Ds reconstruction efficiency as a function of transverse momentum	62

Figure 35: Flow results if charmed quarks flow, or do not flow.	63

Figure 36: D-meson rates estimates: (a) dN/dpT distributions for D-meson. The integrated yield dN/dy = 0.03 as measured in p+p collisions at 200 GeV [Ref. 17]. Number of binary Nbin = 950, corresponding to the top 10% most central Au+Au collisions, is used to scaled the Au+Au collisions; (b) 3-( significance D0 efficiency with TPC+SSD+HFT.  Dashed-line is the fit to the simulated result; (e) D0 meson rates from p+p and top 10% central Au+Au collisions at 200 GeV.	64

Figure 37: D-meson v2 rate estimates: (a) dN/dpT distributions for D-meson. The integrated yield dN/dy = 0.03 as measured in p+p collisions at 200 GeV [Ref. 17]. Number of binary Nbin = 290, corresponding to the minimum bias Au+Au collisions, is used to scaled the Au+Au collisions. Power-shape from p+p collisions is assumed; (b) Assumed v2 distributions for D-mesons. The solid-line is the results of fit to the measured Kaon v2 [Ref. 23].  Both circle- and diamond-symbols are from [Ref. 48] for the case with and without charm quark flow, respectively. Error bars shown are from 15% systematic errors; (c) 3-( significance D0 efficiency with TPC+SSD+HFT.  Dashed-line is the fit to the simulated result; (d) D0 meson v2 rates from minimum bias Au+Au collisions at 200 GeV. The small and large error bars are for 15% and 30% systematic errors, respectively.  For the v2 analysis, 12 bins in ( are used.	65

Figure 38: Epitaxial Silicon used as a sensor.  In this design, a primary ionizing particle creates free charges in the epitaxialy grown Si layer that is a few tens of microns thick and a few electrons from the bulk layers.  The liberated charges are then free to diffuse towards a potential well structure at the top of the sensor where they are extracted and readout into a DAQ system.	72

Figure 39:   Wafer of reticle size sensors (left) and zoomed-in view of individual chips (right).	73

Figure 40: An APS Sensors developed by the LBNL/UIC group.  The picture shows 16 separate test structures.   Each structure has a 36 x 36 array of 20 µm pixels.	77

Figure 41: This graph shows  the results of  one event taken with 1.5 GeV electrons. Each bin represents one pixel and the height is proportional to the measured charge.  Several electrons can be identified in the plot.	77

Figure 42:  Ladder Layout -  sketch of the readout-topology on a detector ladder.  This figure shows the ten APS and the corresponding current to voltage conversion and driver electronics. The drivers will be located out of the low mass region of the detector and may require additional cooling.	82

Figure 43:  DAQ Layout: schematic of DAQ system for a single ladder.  Analog data is carried as differential current on the low mass cable at 50 MHz. The signals are driven in parallel over short (~1m) twisted pair cables to the motherboard. Analog to digital conversion, CDS and data reduction are performed in the Motherboard / Daughter cards. The reduced hit data is transferred digitally to the SIU and carried to linux based readout PCs via an optical fiber. Control, synchronization and event ID tagging are accomplished in the Synch/Trigger FPGA on the motherboard.	83

Figure 44: A simple cluster finding algorithm  for the HFT detector. ADC data from two MIMOSTAR detector columns + 3 pixels are stored sequentially in an 8-bit wide shift register. The senter pixel of a 3 x 3 pixel window is compared to a high threshold with each clock. If  the threshold is exceeded, the ADC data for the 3 x 3 pixel and the address are stored as a cluster word into a readout FIFO. This method is extendable to allow for multiple simultaneous thresholds and geometric pattern triggers.	84

Figure 45: Multiple event FIFOs are fed in parallel from the cluster finder. A separate Event FIFO is enabled for one frame upon the receipt of a trigger from the TCD. The resulting separate complete frames are then passed to STAR DAQ as they are completed in the Event FIFOs.	85

Figure 46: Data rates at the various stages of the HFT readout chain.	87

Figure 47: A prototype ladder showing low mass PCB, MIMOSA5 detectors and driver electronics bonded to a mechanical carbon fiber and reticulated vitreous carbon foam based carrier.	87

Figure 48: Functional component diagram of the prototype readout system constructed for the readout on a MIMOSA5 based ladder.	88

Figure 49: Prototype motherboard and daughter card used for reading out MIMOSA5 detectors.	89

Figure 50:  The HFT is shown integrated with the STAR inner detectors cone assembly.	91

Figure 51:  Close up view of the HFT ladders.	92

Figure 52:  Detector support structure with kinematic mounts to insure repeatable detector positioning.	92

Figure 53:  Kinematic mount structure.	93

Figure 54:  The HFT is shown integrated with the STAR inner detectors cone assembly.	94

Figure 55:  Ladder assembly.  The current ladder is composed of a row of 10 thinned APS detectors on top of a matching row of thinned readout chips and a three-layer aluminum Kapton cable.  The silicon cable structure is bonded to a carbon composite v, closing the beam to make a rigid structure.	96

Figure 56: A cross-section of the prototype detector ladder showing its structure and materials composition.	97

Figure 57: A cross-section of the prototype detector ladder showing its structure and materials composition.	98

Figure 58: Measured bend of a silicon/carbon composite ladder test structure and the calculated bend shape.  The ladder was rigidly supported at one end with a 10 gram weight placed on the other.	98

Figure 59:  TV Holography system viewing test ladder in a small transparent wind tunnel.  Inset shows diffraction pattern with color map of the surface displacement.	99

Figure 60: A prototype readout cable for the HFT.	100

Figure 61: Mechanical Prototype with 4 MIMOSA-5 detectors glued to the Kapton cable assembly.	101

Figure 62:  Beam pipe structure with outer support barrel in the center.	102

Figure 63: View of the beampipe mid-section.	103

Figure 64:  End view showing the HFT ladders between spokes to the inner beam pipe support.	104

List of Tables

Table 1: Cross section for the production of charm and beauty.	19

Table 2:  Charm quark fragmentation functions.  The left column is from Ref. [46,47].  The right column is from Ref. [45].  The D+ and D0 yields include feed-down from D*+ and D*0 decays.	27

Table 3:   Number of central Au + Au events required to observe a 3-( signal for ( and ( in their leptonic decay channels under different detector configurations.	37

Table 4:   Selected HFT parameters.	42

Table 5: Open charm hadron properties	52

Table 6: Cuts applied for D-meson reconstruction	53

Table 7: The cuts for D0 and D+ reconstructions and efficiency analysis.  The exponential pT spectrum, with <pT> = 1.3 GeV/c, was used as input.	56

Table 8: Cuts applied for Ds+ reconstruction	58

Table 9: Cuts applied for Ds+ reconstruction	61

Table 10: Number of estimated events for 10% statistical errors for the spectra measurements of 200 GeV p+p collisions and 0-10%/ 0-80% Au+Au collisions. A power-law shape pT distribution from the p+p collision has been assumed with the mid-rapidity dN/dy = 0.03 [Ref. 17]. The number of binary collisions is from the Glaubor calculations [Ref. 23].	64

Table 11:  Number of estimated events for 10% statistical errors for D0 v2 measurements of 200 GeV 0-80% Au+Au collisions (Nbin=290). A power-law shape pT distribution from the p+p collision has been assumed with the mid-rapidity dN/dy = 0.03 [Ref. 17]. The # of binary collisions is from the Glabour calculations [Ref. 23].	66

Table 12:  Luminosity and other parameters that determine the particle flux on the HFT.	67

Table 13:  Integrated hit loading on the HFT and associated pileup.	67

Table 14:  Hit loading on the HFT from Au+Au central collisions and associated pileup.	68

Table 15: Table – Chart of APS chips that the IReS group has produced  []	71

Table 16:  Comparison between MIMOSA-5 characteristics and HFT specifications.	74

Table 17:  Requirement Summary - constraints for the APS, due to signal expectation, available design process, and mechanics	81

Table 18: Data rate calculation parameters	86

Table 19:  Materials in the beam pipe and the first detector layer with their radiation length fractions.  For details see Ref. []	96

# Executive Summary

We propose to construct a Heavy Flavor Tracker (HFT) for the STAR experiment at RHIC. The HFT will bring new physics capabilities to STAR and it will significantly enhance the physics capabilities of the STAR detector at central rapidities.

## Scientific Motivation

The primary motivation for the HFT is to extend STAR’s capability to measure heavy flavor production down to very low transverse momentum by the measurement of displaced vertices.  This is a key measurement for the continuing heavy ion and spin physics programs at RHIC.  Heavy quark measurements will facilitate the heavy ion program as it moves from the discovery phase to the systematic study of the dense medium created in heavy ion collisions as well as the nucleon spin structure in polarized p+p collisions.  The primary physics topics to be addressed by the HFT include open charm measurements, thermalization, flow, and heavy quark energy loss.

A precise measurement of the spectra of D meson states will shed light on several open questions in heavy ion collisions. From the spectra and the production ratios of D states we will be able to extrapolate to the total yield for charm quark production.  Furthermore, the open charm production rate is high enough at RHIC that the coalescence process becomes relevant for Charmonium production.  Knowledge of the total production cross section for charm quarks is also essential as a baseline for J/( measurements.  A meaningful answer to the question of whether the J/( mesons are suppressed or enhanced at RHIC requires knowledge of the charm production in heavy ion reactions.

The most exciting prospective measurement with the pixel detector is to perform a measurement of the elliptic flow of D mesons down to very low pT values. It is a generally accepted fact that elliptic flow is established in the partonic phase. If charm quarks, with a mass much larger than the temperature of the system, elliptic flow then it has to arise from many collisions with the abundant light quarks.  Thus, flow of charm quarks can be taken as a probe for frequent re-scatterings of light quarks and is an indication of thermalization that may be reached in the early stages of heavy ion collisions at RHIC.  Proof of thermalization requires additional measurements such as thermal photons and low mass dilepton spectra.  We believe that proof of thermalization constitutes the last step towards the establishment of the QGP at RHIC and this measurement requires a very thin detector.

Re-scattering with light quarks is an important process because it will affect the D meson transverse momentum spectrum. Re-scattering at the hadronic level, mainly (-D interactions, will also affect the D meson transverse momentum spectrum.  We will measure the effects of re-scattering by comparing transverse mass spectra measured in d+Au and Au+Au collisions.

The HFT detector will allow us to measure the ratio of different D meson states with high precision. This measurement can be used to test if the different states are produced in the same ratio as in elementary particle collisions or if the ratios are established according to chemical equilibrium. The heavy quark can also be used to probe the properties of the medium created in heavy ion collisions. The production of gluons is kinematically suppressed for heavy flavors (due to the dead cone effect) and as a consequence heavy flavors should lose less energy in the dense medium.

The pixel detector offers the possibility of measuring e+e- pairs down to the vector meson mass region by removing the gamma conversion background, while electrons and positrons are identified in the TPC and TOF.   Vector mesons reconstructed in the dilepton channel may have decayed at any stage of the systems evolution, since leptons are very unlikely to re-interact. Thus, studying the low mass e+e- spectrum may yield crucial insights into the nature of the system before it reaches the low-density hadronic freeze-out stage.  Measuring the low-mass vector mesons through their leptonic decay channel may also yield information about the onset of chiral symmetry restoration.

With the current STAR detector configuration, heavy quark production has been measured in p+p and d+Au collisions through the observation of single electrons and the use of the event-mixing technique.  These methods are limited in their accuracy due to the systematic uncertainties resulting from large background subtractions. Furthermore, these methods require large amounts of data to overcome a poor signal to background ratio.  The HFT detector will bring extremely high precision tracking capabilities to STAR with a point resolution of less than 10 µm, over a large pseudo-rapidity range, and complete azimuthal angle coverage.  The HFT will enable STAR to perform high precision measurements of heavy-quark production over the broadest range of phase space, colliding system sizes and energies.

## Detector Concept

The proposed HFT detector will sit inside the STAR TPC and it will surround the interaction vertex. It will exploit all of STAR’s unique features including full azimuthal coverage and tracking from the lowest to the highest pT.  The HFT has two tracking layers composed of monolithic CMOS pixel detectors using 30 (m ( 30 (m square pixels.  These critical innermost tracking layers lie at radii of 1.5 cm and 5 cm, respectively, and these layers are active over 20 cm in Z and have ~ 100 million pixels. The HFT will provide tracking information for decaying particles that are displaced by only a few tens of microns from the primary vertex.  The silicon chips for the detector will be thinned to 50 (m and will be mounted on low mass carbon fiber structures to minimize pointing errors generated by multiple Coulomb scattering.  In this respect, the STAR HFT is unique.  No other Si detector at RHIC combines this kind of extreme pointing accuracy and is effective for all particles down to 150 MeV/c.

# The Physics of the HFT

## Introduction

The goal of high-energy nuclear physics is to understand Quantum Chromodynamics (QCD) at extreme temperatures and energy densities. Under these extraordinary conditions, we believe that the fundamental symmetries of QCD will reveal themselves: quarks and gluons will be the relevant degrees of freedom, color will be deconfined and chiral symmetry will be restored.  Calculations within the framework of regularized lattice QCD predicts a fast cross-over from ordinary nuclear matter into a deconfined and locally thermalized state of quarks and gluons called the Quark-Gluon Plasma (QGP).

High-energy nuclear collisions can be characterized by three distinct phases: the initial phase where hard interactions between the partons of the incoming nuclei dominate, an intermediate phase where re-interactions between the constituents in the matter result in collectivity, and a final stage where hadronization, and chemical and thermal freeze-out occur.  The matter produced in high-energy nuclear collisions can be investigated by studying the dynamics of the collective expansion of the bulk of the produced particles and by studying the interaction of the medium with penetrating probes such as leading particles and jets. In particular, the measurement of large elliptic flow, and the observation of strong modifications of high pT particle production as measured by the ratio RAA, and the disappearance of the away side jet  have provided evidence for a high density and strongly interacting state of matter at RHIC.  The goal of our research program is to elucidate the nature of this matter and to determine if it is dominated by hadronic or partonic degrees of freedom.

Rare processes provide new ways to probe the medium generated in high-energy nuclear collisions.  Bjorken proposed that hard scattered partons (quarks and gluons) drawn from the incoming nuclei will interact with the medium in a density-dependent way.  Bjorken’s initial energy loss mechanism (elastic scattering) did not provide effects large enough to be observed but medium-induced radiation (gluonic bremsstrahlung) can generate significant energy loss effects,.  For example, hard parton scatterings can be experimentally reconstructed in elementary particle collisions ( e++ e(,   +p ) because the outgoing parton fragments into a collimated spray of energetic hadrons at large transverse angles with respect to the beam. The cluster of hadrons, from the parton fragmentation, is known as a jet.  Jets can also be identified in high energy nuclear collisions on a statistical basis; the modification of their properties may signal novel flavor dependent energy loss mechanisms in a dense medium by the parton that initiated the jet. Full jet reconstruction in heavy ion collisions is exceedingly difficult but leading hadrons (i.e. high pT hadrons, which typically carry a large fraction of the jet energy) and their correlations with other hadrons may provide the essential signals of partonic interactions in the medium.

Collective flow measurements have played a prominent role in understanding the physics of nuclear collisions because the magnitude and pattern of the collective motion is closely related to the equation of state (EOS) of the produced matter.

If local equilibrium is achieved, we will be able to use hydrodynamic models to study the EOS and understand the degrees of freedom relevant for the basic constituents of the matter. Heavy quark (c,b) production provides some of the most important observables. Due to their large masses, c and b quarks are produced dominantly by the interactions of the initial incoming partons whereas lighter quarks are produced throughout the later stages of the evolution of a heavy ion collision.  Thus, the total yields of c and b quark production provide a direct connection to the initial state.

Due to their heavy mass and presumably small hadronic cross sections, charmed quarks are a sensitive probe for the frequency of interaction and therefore the degree of thermalization with constituents before hadronization. At high pT, heavy quarks may be less suppressed than light quarks due to the "dead cone" effect and so high pT probes are an additional way to study partonic energy loss. If charmed quarks participate sufficiently in re-scattering processes, they will develop flow (i.e. transverse radial and elliptic flow) which can be observed in charmed hadron momentum distributions.  Finally, charmed quarks might achieve thermal equilibrium with the surrounding medium leading to statistical hadronization. In this case, the relative abundances of charmed hadrons are significantly modified.

The study of the structure of the nucleon is an important frontier in strong interaction physics. Despite considerable experimental and theoretical progress over the past several decades, many open questions remain.  A striking example is the spin structure of the proton which has been of key interest ever since the European Muon Collaboration published their data on the spin structure function g1(x,Q2),.  The EMC data and subsequent data indicate that the quark helicity contribution to the proton spin is remarkably small.  The natural question regarding the fraction of the nucleon spin carried by gluon helicities remains basically unanswered. Unlike previous nucleon spin measurements, STAR will observe processes where the polarized gluon distribution function (G(x,Q2) contributes at leading order via a hadronic, not electromagnetic, probe.  Heavy quark production is expected to provide direct access to gluons in the proton with a large analyzing power for longitudinal spins.

## Initial Heavy Quark Production

Quarks are elementary particles and, depending on the energy scale, there are two mechanisms that generate their masses with different degrees of importance: current quark masses are generated by the electroweak symmetry breaking mechanism (Higgs mass) and spontaneous chiral symmetry breaking leads to the constituent quark masses in QCD (QCD mass). The QCD interaction affects only the light quarks (u, d, s) while the heavy quark masses(c, b, t) are determined by the Higgs mechanism, see Figure 1.  In high-energy nuclear collisions at RHIC, heavy quarks are produced through gluon fusion and q annihilation.   Heavy quark production is also sensitive to the parton distribution function.  Unlike the light quarks, heavy quark masses are not modified by the surrounding QCD medium (or the excitations of the QCD medium) and the value of their masses are much higher than the initial excitation of the system.  It is these differences between light and heavy quarks in a medium that make heavy quarks an ideal probe to study the properties of the hot-dense medium created in high-energy nuclear collisions.

Figure 1:  Masses of the six quark flavors. The current and constituent masses are shown by blue- and yellow-boxes, respectively.  The figure is adapted from Ref. [12].

Understanding the yield of charmed hadrons in hadron-hadron collisions requires a knowledge of the projectile and target parton distribution functions, the cross section for parton-parton interactions which generate charm quarks and the fragmentation functions for c(b) quarks into charmed (bottom) hadrons.  The parton distributions within the proton can be extracted from electron-proton collisions while the cross-sections for gluon fusion and q annihilation are calculated in a perturbative QCD framework up to next-to leading-order (NLO).  However, the parton and gluon distribution functions within the nucleus, relevant to the charm and bottom quark production at RHIC energies, are poorly understood and thus leave room for precise measurements of charm cross sections in p+p, d+Au and Au+Au collisions. Perturbative QCD predictions for the cross section ((c) and ((b) in p+p collisions at √sNN = 200 GeV may be found in the literature13 and they are in reasonably good agreement with the cross-sections measured at RHIC given that some of the theoretical calculations are uncertain by as much as 50%.

Theory: (NN (c ) = 900 - 1400 µb Experiment: (NN (c ) = 289 - 445 µb 20 - 30 c pairs per central Au+Au collision at √sNN = 200 GeV

Theory : (NN (b) = 1.64 - 2.16 µb 0.04 - 0.06 b pairs per central Au+Au collision at √sNN = 200 GeV

Table 1: Cross section for the production of charm and beauty.

The uncertainty in the theoretical cross-sections arise from a reasonable variation of quark masses (mc = 1.2-1.8 GeV, mb = 4.5-5.0 GeV), factorization and renormalization scales ((R and (F), and parton distribution functions (MRST, CTEQ, GRV).  The cross section values are normalized by the number of underlying binary nucleon-nucleon collisions.  (Approximately 1000 binary nucleon-nucleon scatterings per central Au+Au collision.)

In heavy ion collisions, final state interactions may also enhance charm production relative to the binary scaling of initial parton collisions and may also lead to additional production of charm via “thermal” processes.  An analogous mechanism dominates strangeness production.  The heavy quark channels should be greatly suppressed by the thermal factor due to the heavy quark mass (mc ≈ 1.2 to 1.8 GeV, mb ≈ 4.5 to 5.0 GeV), making heavy quark production rates primarily sensitive to the dynamics of the initial collisions.  This is especially true for the b quark.  Figure 2 shows the calculated contributions to the total charm production at y = 0 for √sNN = 200 GeV, with an energy density of 3.2 GeV/fm3 at the moment of thermal equilibration.

STAR and PHENIX have made measurements of charm production in Au+Au, d+Au, and p+p collisions at RHIC.  The PHENIX data for Au+Au collisions suggests that the cross-section for open charm production is consistent with the expectations of pQCD.  These results were derived from non-photonic single electron spectra as shown in Figure 3. The STAR results show that the cross-section for open charm production in d+Au  and Au+Au is consistent with binary collision scaling but the total yield may be larger than NLO pQCD models. Both the pT integrated yield of dN/dy and the value of <pT> of the measured D-meson spectrum are larger than the pQCD model predictions. The STAR results are obtained from a direct reconstruction of the open charm hadrons as well as through single electron spectra.

Figure 2: Contributions to charm production at RHIC energies include the initial gluon fusion and q annihilation phase (solid line), a pre-thermal phase characterized by scattering between free-streaming partons, and a thermal phase that assumes parton equilibration.  The distributions were calculated with an energy density of 3.2 GeV/fm3 at the moment of thermal equilibration.  As a reference, the faint dotted line is the thermal production of charm due to an initial fully equilibrated QGP. The figure is from Ref. [15].

Figure 3:  Total c production cross-sections per nucleon-nucleon collision vs. collision energy.  The dashed line depicts a PYTHIA calculation.  The dot-dashed line depicts a NLO pQCD calculation with MRST HO, mc = 1.2 GeV/c2, µF = 2mc, µR = 2mc.  The figure is adapted from Ref. [17, 19].

### The Need for Direct Topological Reconstruction of Open Charm

The first direct measurements of D-meson spectra were seen in d+Au collisions17 at RHIC by  reconstructing the D meson from its  – K decay topology in the STAR TPC.  These were challenging measurements due to the large multiplicity of pions, kaons, and protons and the rather small  production cross section for charmed hadrons.  The combinatorial background in the invariant mass distributions is roughly 1000 times larger than the signal.  This large combinatorial background led to systematic uncertainties on the extracted charm-hadron yields of the order of 30%.  In the future, extending the particle identification by using the new STAR time of flight barrel (due to be completed in 2008) will improve the statistical significance by a factor of five.  This leaves room for optimism, but for comparison, elliptic flow modulates particle yields with respect to the reaction plane on the order of 10% so further improvements are needed.

When direct measurements of heavy flavor hadrons are not possible, non-photonic electrons from heavy flavor decays can be used to study charm production.  However,  there are serious limitations in such situations. As shown by Batsouli, Kelly, Gyulassy and Nagle in Ref. [], the decayed electron distributions are insensitive to the intrinsic shape of the D-meson transverse momentum distribution. Due to the decay kinematics and the light mass of the electrons and positrons, the dynamical information in the primary spectrum is washed out.  This is shown in Figure 4.  There is a clear difference between the zero mean free path hydrodynamic flow prediction (solid) and the infinite mean free path pQCD Pythia calculations (dashed-line) for D-mesons; but the resulting electron spectra are nearly indistinguishable. In order to extract useful information about heavy flavor production in heavy ion collisions, we have to measure the charm and beauty-hadrons by direct topological reconstruction. Single electron spectra are not sufficient.

The same conclusion is reached when doing the analysis of RAA for heavy flavor spectra. Recall that RAA is the ratio of the charm yield measured in heavy ion collisions relative to the yield in p-p or d-Au. The nuclear modification factor, RAA, for D-mesons is shown in Figure 5.  Two vastly different models are shown.  The figure shows that there are large differences in  the two D-meson RAA ratio curves but the corresponding decayed-electron RAA curves  are essentially identical for all pT.  These are theoretical curves without error bars which suggests that the decayed electron RAA curve is impossible to measure; additionally, any electron measurement will have large systematic uncertainties at low momentum due to the large background from photonic electron production16,17.  At higher pT, electrons from B-meson decays will become more abundant making the electron measurement for charm physics even less realistic.  In order to avoid these difficulties, and for a precise measurement of charm quark flow, a direct reconstruction of D ( π + K is required.  This clearly calls for a  direct measurement of heavy flavor hadrons, i.e. D- and B-mesons.

Figure 4: Solid- and dashed-curves represent the charm- (red) and beauty-hadron (blue) spectra from Blast-Wave and Pythia model calculations, respectively. The corresponding heavy flavor decayed electron spectra are shown as black curves.  The data are the measured single electron distributions measured in 10% central Au+Au collisions at 130 GeV by the PHENIX collaboration.  The figure is adapted from Ref. [20].

The proposed Heavy Flavor Tracker (HFT) will make these and other measurements by the direct topological reconstruction of the various charmed hadrons, including the D+, D(, D0, Ds+ and possibly (c+.  Thus the HFT will enable us to  dramatically reduce the systematic uncertainties that are inherent in single electron spectra.

Figure 5: Nuclear modification factor RAA of D-mesons the from a hydro-dynamically inspired parameterization assuming a collective flow velocity of <(r> = 0.4c (solid-black line) and 0.6c (dashed-black line). The corresponding electron decay-spectra are shown by the blue dotted- and blue-dashed lines.

## Probing Medium Thermalization: Charm Quark Re-interactions

RHIC data on light flavor hadrons strongly suggests that partonic collectivity has been achieved in heavy ion collisions. The successful measurement of partonic collectivity is a necessary step toward the discovery of a QGP, however, it is not  sufficient information to claim a discovery until we address the issue of thermalization and  collectivity, together.

Collectivity in heavy ion reactions is addressed by studying flow. Many important measurements of transverse radial and elliptic flow of identified hadrons, containing light quark flavors (q = u, d, s), have been performed at RHIC.  The main conclusions from these studies are that the systems created in ultra-relativistic Au+Au collisions exhibit strong collective expansion.  Compared to measurements at lower SPS energies, the degree of collectivity is stronger.  In addition, measurements of the spectra of multi-strange hadrons (( and () at RHIC suggest that they freeze-out at a higher temperature and lower collective velocity than the lighter hadrons; however a significant amount of elliptic flow is also observed for multi-strange baryons.  The elliptic flow of the multi-strange baryons is comparable to the amount of flow observed for the non-strange baryons and is in good accord with the number of constituent quarks (ncq – scaling) hypothesis that describes the non-strange quark bearing mesons and baryons so well.  These results have been interpreted as an indication that sizeable partonic collectivity develops at RHIC.  Details of these studies can be found in the literature2,,,,.

The key question, then, is whether or not charm quarks flow.  If the elliptic flow of charm is comparable to the elliptic flow of the lighter quarks, then this would be a clear indication of a thermalized state of matter at RHIC because it takes many interactions with lighter quarks, and gluons, to cause a heavy quark to acquire the collective motion of the bulk matter.

Theoretical calculations indicate that thermalization may be reached at RHIC at temperatures Teq ( 0.3-0.5 GeV and that the duration of the equilibrium period is on the order of 5-10 fm/c,.  Thermal production of c pairs is suppressed due to their large masses (mc = 2.2 – 2.3 GeV/c2), however, charmed hadrons may still be produced in a thermalized fashion if the c and  quarks become embedded in a thermalized bath of light quarks. The relative probability of creating different charmed hadrons will be driven by the properties of the medium which is providing the additional quarks necessary to form the hadrons. The relative yield of various charmed hadrons is thus sensitive to the properties (temperature and chemical potentials) of the light quark medium and these hadron yields must be measured in order to achieve a full understanding of the medium.

The transverse momentum distributions of these hadrons are particularly important.  The pT distributions reflect the dynamical evolution of the system and yield indirect information about different stages of the collision.  After hadronization is complete and inelastic collisions cease, then the particle abundances are fixed: this is commonly referred to as chemical freeze-out.  Later when elastic interactions cease, the particle momentum spectra become fixed; this is referred to as kinetic freeze-out.  The evolution of the system is recorded in the pT spectra because, for most particle species, transverse radial flow is accumulated throughout the whole collision history while transverse elliptic flow is believed to saturate at early times in the collision sequence.

In summary, charmed hadron flow is potentially an indicator of thermalization due to the heavy quark interactions with light quarks and gluons. If thermalization takes place, it is reached during the partonic stage of the collision.  In order to test the question of thermalization experimentally, we propose to measure the charmed hadron transverse radial and elliptic flow using the STAR HFT detector.  The combination of the open charm spectra and v2 will allow us to determine the collective properties of the charm quarks and the probable degree of thermalization of the light quarks.

### Elliptic Flow

In non-central heavy ion collisions, the overlap of the colliding nuclei is spatially deformed and has an ellipsoidal shape.  The build-up of pressure and pressure gradients cause collective motion of the constituents of the medium if the matter produced in the reaction zone re-scatters sufficiently, and in this way the initial state spatial anisotropy can be transformed into a final state momentum space anisotropy. Notice that re-scattering is a sufficient condition for the development of these anisotropies and thermalization is not required.  Theoretically, the largest momentum anisotropies are obtained in the hydrodynamic limit where there is a zero mean free path; this leads to instantaneous local thermal equilibrium.

These momentum space anisotropies lead to a dependence of the transverse-momentum distribution on the emission angle relative to the reaction plane.  The anisotropy can be quantified by the coefficients of a Fourier decomposition of the distribution in azimuth. The largest contribution comes from the second Fourier coefficient v2(pT, y), the elliptic flow coefficient.  In the evolution of elliptic flow, the strong and early spatial deformation decreases because the matter begins to expand more rapidly in the direction of the shorter axis of the ellipsoid. As the spatial deformation disappears, the build-up of flow due to pressure gradients ceases and the elliptic flow saturates. For this reason, elliptic flow is thought to be a signal that develops in the early stages of a collision.  RHIC data2,, show that in semi-central Au+Au collisions, elliptic flow reaches the hydrodynamic limit for transverse momenta up to 2 GeV/c and this suggests early thermalization30 at a time of  = 0.6 fm/c since the collision began.  Thus, information about the equation of state can be determined. If all hadron species experience the same anisotropic flow, their v2 coefficients should obey simple hydrodynamic relations34 and exhibit a characteristic mass dependence. As an example, Figure 6 (top) shows the measured elliptic flow of strange hadrons up to, and including, the multiply-strange cascade baryon.  At low momentum, all particles exhibit a linear rise in v2 and a clear mass ordering appears; from the lower mass kaon to the heavier cascade. The bottom plot in Figure 6 shows the measured elliptic flow versus transverse momentum; where both axes are scaled with the number of constituent quarks. Quark coalescence models predict a universal scaling of v2/n versus pT/n at intermediate momentum where quark recombination is (supposedly) the dominant hadron production mechanism.  In these models, collectivity – the elliptic flow of constituent quarks – is intrinsically built in and supports the idea of partonic collectivity.  These analyses demonstrate that collectivity is established at the partonic level.

Figure 6: Elliptic flow of strange hadrons at RHIC as measured by the STAR detector. The top panel demonstrates typical hydro-dynamical mass ordering up to a momentum pT < 2GeV/c and saturation at larger momentum. The bottom panel shows the scaling of elliptic flow with the number n of constituent quarks in the saturation region (baryons, n=3; mesons, n= 2).

At RHIC energies, charm quarks are abundantly produced.  Due to their high mass and small interaction cross section, the strength of elliptic flow of heavy flavor hadrons may be a good indicator of thermalization occurring at the partonic level.  If heavy flavor hadrons flow together with the light flavor hadrons, this indicates frequent interactions between the light and heavy quarks. Hence, thermalization of light quarks is likely to have been reached through partonic re-scattering.

Figure 7 shows the first indication of charm particle elliptic flow at RHIC measured in the inclusive electron channel35,36.  The predictions assume elliptic flow for the light quarks as determined by fits to experimental data.  Presently, the data support the idea that the heavy charm quarks flow.  As shown in the figure, the uncertainties are rather large especially at low transverse momentum where hydrodynamic behavior should occur. A precise measurement of directly reconstructed open charm hadrons to low momentum is essential to confirm and further quantify elliptic flow of the charm quarks.

Figure 7:  Non-photonic electron elliptic flow at RHIC.  Blue and Red symbols are data of non-photonic electron v2 from PHENIX and STAR. Only statistical errors are shown for both results.  The dashed-dotted-line represents the input D-meson v2 distributions, assuming the scaling of constituent quarks for meson v2. The corresponding decayed electron v2 are shown as the hatched band. The dashed-line represents the results from Greco et al.  In this coalescence calculation, similar v2 distributions for c- and u-quarks are assumed.

### Charm Hadro-Chemistry

Hadronic yields and their ratios have been measured from AGS to RHIC energies and have been successfully described by statistical models,. The relevant parameters are the chemical freeze-out temperature Tch, and the chemical potentials (i for conserved quantum numbers, i.e. net strangeness, charge, and baryon number conservation.  The extracted chemical freeze-out temperature Tch is higher than the kinetic freeze-out temperature Tfo extracted from momentum spectra and this suggests that chemical freeze-out occurs before kinetic freeze-out, as expected.

Charm quarks are dominantly produced in initial parton-parton scatterings19 and the thermal production of charm quarks is suppressed due to their large mass.  In the case of sufficient re-scatterings, initially produced charm quarks might thermally (but not chemically) equilibrate with the surrounding medium. This means their momentum distribution can be described by a temperature parameter consistent with the spectra of light quarks; while the total abundance of charm quarks is determined by the initial parton collision dynamics.

These arguments lead to the idea of statistical hadronization of charm quarks,.  Statistical coalescence scenarios predict large changes in open (regarding relative abundances, e.g. the D0 / Ds+ ratio) and hidden charm production with a strong centrality dependence. Statistical coalescence implies that charm quarks travel over significant distances, e.g. in a QGP. Therefore, we believe that a consistent description of precision data by these models would be an indication of deconfinement45.

Measuring the total charm and bottom yields requires measuring the yields of several different hadrons.  Indeed, charm quarks may fragment into a variety of hadrons as shown in the first column of Table 2.  These fragmentation ratios have recently been compiled, using e-p and e+-e- collision data.  The ratios are found to be independent of the collision energy and the collision system (e-p or e+-e-).  They are likely to be the same in p-p collisions at mid-rapidity where the HFT can be used to detect charmed particles at RHIC.  Note that the ratios calculated using PYTHIA, shown in the third column of Table 2, differ significantly from the measured ratios.  To avoid any uncertainties in the charge yield measurement, these ratios will have to be measured in p+p collisions at RHIC energies.

|  | e-p and e+-e( average | Pythia | Statistical coalescence |
| --- | --- | --- | --- |
| ((c ( D + ) | 0.232 | 0.162 | 0.21 |
| ((c ( D 0 ) | 0.549 | 0.639 | 0.483 |
| ((c ( Ds+ ) | 0.101 | 0.125 | 0.182 |
| ((c ( (c+ ) | 0.076 | 0.066 | 0.080 |
| ((c ( J/( ) |  | 0.006 | 0.057 |

Table 2:  Charm quark fragmentation functions.  The left column is from Ref. [46,47].  The right column is from Ref. [45].  The D+ and D0 yields include feed-down from D*+ and D*0 decays.

The effect of statistical coalescence is shown in the last column of Table 2 (see Ref. 45).  The calculation assumes that charm quarks statistically coalesce with the lighter quarks, (i.e. according to the temperature and chemical potential of the light-quark system) so the temperature and chemical potential are set so that the light hadron yields measured at RHIC are reproduced. In addition, the number of charm quarks present in the system is set by pQCD calculations and this is reflected by a charm-chemical potential in the statistical coalescence model.  The results of the model show that statistical coalescence increases the yield of the Ds+ meson by 80% and the J/( yield by a factor of 10 compared to PYTHIA while the yield of D0 and D+ decrease slightly.  Thus, the ratios Ds+/ D0, Ds+/D+ and J/( / D0 are very sensitive probes of thermal charm hadron production.

Experimentally, we will be able to precisely measure the ratio of Ds+ to D+ yields because most of the systematic errors in the individual spectra cancel out when they are reconstructed in very similar decay channels: D+ ( K( π+ π+ and Ds+ ( K( π+ K+.

A precise measurement of the total charm production (mostly carried by open charm mesons) will also serve as a baseline for J/( enhancement/suppression measurements which have been suggested as a possible signature for QGP formation.

## Probing the Density of the Medium: Heavy Quark Energy Loss

In order to develop collective flow in heavy ion collisions, there must be frequent interactions between the constituents of the medium.  These interactions will cause energy loss for the energetic partons which are traversing the medium and the amount of energy loss will depend on the distance traveled in the medium.

Results reported at the recent QM05 conference on the nuclear modification factor RAA indicate that the rate of energy loss for heavy-quarks in central Au+Au collisions is surprisingly similar to that for the light-quarks (u, d, s). This experimental observation contradicts our early understanding of the pQCD interactions of energetic partons in a hot and dense medium where much less energy loss was expected for heavy-quarks compared to the light ones,,.  Since there have been no directly reconstructed heavy-quark hadron distributions from RHIC experiments so far, non-photonic electrons in the transverse momentum range 4 < pT < 10 GeV/c were used for these heavy-quark studies.  When analyzing the data with only no-photonic electron pT distributions, the data are complicated by an unknown mixture of charm and beauty contributions. Therefore, the only way to disentangle these effects is by a direct topological reconstruction of  charmed-hadron distributions and a measurement of charmed hadron angular correlations at RHIC.

### RAA and Energy Loss

The discovery of a factor of 4 to 5 suppression of high pT hadrons (5 < pT < 10 GeV/c) produced in Au+Au collisions at RHIC and the disappearance of the away-side jet has been interpreted as evidence for jet quenching3,,,.  This effect was predicted to occur due to radiative energy loss of high energy partons that propagated through a dense and strongly interacting medium.  Heavy quarks are also predicted to lose energy as they traverse the medium, however, their energy loss is predicted to be significantly less because of a suppression of gluon radiation at angles ( < MQ /E ; where  MQ is the heavy quark mass and E is the heavy quark energy.  This kinematic effect is known as the “dead cone” effect. The suppression of small angle radiation has the advantage that the heavy quark fragmentation function and the spectrum of light particles produced in association with the heavy quarks can be calculated perturbatively.

Figure 8 shows the result for the ratio of charm (H) to light (L) quark suppression from QCD calculations assuming a size of about 5 fm for the static medium traversed by the fast quark.  For transverse momentum pT > 7.5 GeV/c this ratio is predicted to be about 2.0 due to the smaller energy loss of the heavy quark.  In the case where heavy quarks suffer the same amount of energy loss as light quarks, this ratio would be 1.0. This ratio is exponentially sensitive to the density of color charges in the medium, and so the measurement of nuclear modification factors of open charm mesons at large pT is a promising tool for the study and further characterization of QCD matter at RHIC.

Figure 8: The ratio of suppression factors in hot matter for charm (H) and light (L) quarks. The solid line represents results from calculations with unrestricted gluon radiation, while the dashed line is based on calculations with a cut on gluon energies ( > 0.5 GeV.  The size of the static medium traversed by the fast quark is assumed to be 5 fm.  The figure is from Ref. [51].

Figure 9 shows RAA for non-photonic electrons,, from STAR and PHENIX.  The data extend up to pT ~ 10 GeV/c.  The figure shows that the suppression factor for single electron spectra is in the range of 0.2-0.3 which is almost exactly the same as the suppression factor observed for charged hadrons and pions, (i.e. light quarks).  Using an unrealistically large initial gluon density of dNg/dy = 3500, Djordjevic, Gyulassy, Vogt and Wicks have done a pQCD calculation, including gluon radiative energy-loss, which can barely reproduce the electron RAA (see the blue-line in Figure 9).  The model ignores the contributions from beauty-hadrons, and when beauty is added to the model, the resulting prediction for RAA cannot describe the data at all (see the yellow band in Figure 9 ); the model with beauty over-predicts the data by a factor of 2-3.   Note that for light-quark hadrons, like pions, a gluon density of ~1000 has been used to  reproduce the observed RAA.  These results raise a serious challenge to our understanding of both the mechanism for heavy-quark production and the mechanism for energy-loss in a hot and dense medium. In order to resolve these important issues, we have to do direct topological reconstruction of open charm.  It is experimentally and theoretically too difficult to make definite conclusions from the single-electron measurements due to the complications from the mixing of the electrons from D-meson decay and electrons from bottom hadron decay as well as the smearing of the decay kinematics.

Figure 9: Non-photonic electron RAA in central Au+Au collisions from STAR (open-symbols, top 5%) and PHENIX (filled-symbols,  top 10%) from Refs. [58,59,60].  Theoretical predictions for charmed-hadron and charm and beauty-hadron decayed electrons are shown as blue- and yellow-bands, respectively. In these calculations, the initial gluon density was assumed to be unrealistically large: ~3500,  see Ref [63] .

### Charm Angular Correlations

Correlations between charmed hadrons are another way to separate charm and beauty physics at RHIC.  Let the correlation between D mesons be defined as the normalized pair distribution  C((() = N(p1,p2)/N0 where p1 and p2 are the momenta of the charmed hadrons, and N0 is the total number of pairs.

Similar to jet production, heavy-quark production requires a large momentum transfer and so we expect a distinct back-to-back topology  for the quarks (and mesons) as shown by the open-circles in Figure 10.  In this calculation, the Pythia (v6.2) event generator was used with the default sets of parameters. As one can see in the figure, there is a clear back-to-back correlation for the D-mesons.  We propose to utilize this distinct correlation to study the charm-quark energy loss in high-energy nuclear collisions.

Figure 10: D-meson correlation functions for 200 GeV p+p collisions.  Default parameters in the Pythia model were used in these calculations.  A clear back-to-back correlation in the angular distribution of charmed mesons is observed (shown by the open circles).  The Solid-line and the diamonds represent the results with angular smearing for ((( and(, respectively.

Now lets consider a few potential observables.  For example, when a charm-quark interacts with the medium, it will lose energy and the original angular correlation pattern, as shown in the figure, will be modified.   We have  tried angular smearings of ((( and(.  In addition, the changes in the angular correlation depends on the nature of the interaction. Most of the (semi)elastic scatterings are directed in a narrow cone in the forward direction, while the inelastic scatterings, such as the gluon radiative energy loss50 will lead to a much wider smearing in the final correlation.   In the inelastic scattering scenario50,52, the energy-loss occurs deep inside the plasma and the final correlation function reflects the hot/dense properties of the medium.  On the other hand, the resonant scattering happens near Tc64.  Although both scenarios lead to sizable energy-loss, the angular correlations may allow us to distinguish these two different mechanisms in high-energy nuclear collisions. In order to perform the measurement, a large acceptance for the reconstructed charmed hadrons is required.  The proposed HFT, plus STAR TPC and TOF, will be necessary for this study.

Recently, the measurements on charm production by the Belle Collaboration show a surprisingly large cross-section for J/( production in (s = 10.6 GeV e++e- collisions. Even more surprising is the fact that more than half of the observed J/(’s are accompanied by c  pairs. This result contradicts our current understanding for J/( production in the pQCD framework, such as those discussed in Refs. [18,,,], and implies a different production mechanism for heavy-quarks in elementary collisions.  As proposed in Ref. [70], gluon fragmentation is increasingly important for collisions at higher bombarding energies and so RHIC energies are very interesting.  In elementary collisions, the main difference between the new and conventional processes lies in the angular correlation of the produced charmed hadrons.  With the proposed HFT and STAR EMC (Electro-Magnetic Calorimeter), we will be able to study the correlation of D mesons to further understand pQCD in p+p collisions.  We will also study the correlation of D mesons in high-energy nucleus-nucleus collisions, were the gluon density is high,, and this might enhance the effects observed in elementary p+p collisions. These studies will certainly shed light on the production mechanisms for charm and charmonium at RHIC.

As mentioned earlier, heavy-quark production leads to a back to back correlation between particle and  anti-particles.  This correlation is also reflected in their decay products, such as the electron pairs.  In this case, it causes the background in the intermediate mass region 1 < mee < 3 GeV/c2 to have a correlation, too.  (Here mee is the invariant mass of the electron pair.)  This creates a significant background for a low mass vector meson analysis.  Using the HFT to measure the correlated electron pairs will greatly reduce the background for vector meson and charm measurements via non-photonic electron spectra.

### Baryon – Meson Ratios

In the intermediate pT region 2 < pT < 6 GeV/c, light-quark baryon yields are known to be enhanced compared to meson yields in Au+Au collisions at RHIC. The enhancement is found to be proportional to the collision centrality.  These observations have been confirmed by both RAA and v2 measurements.  The results are usually explained by a hadronization mechanism involving collective multi-parton coalescence rather than by independent vacuum fragmentation .  The success of the coalescence approach implies deconfinement and possibly thermalization of the light quarks prior to hadronization.  Since (c is the lightest charmed-baryon and its mass is not far from the other D-mesons, it will be very interesting to measure the RAA of (c and compare it with the RAA of the other charmed mesons in order to see if there is a meson-baryon difference.  Theories about heavy quark deconfinement and collectivity can be tested with these comparisons.  In addition, due to the different branching ratios for the semi-leptonic decays, the measurement of (c spectra will help us understand the surprising suppression observed in the non-photonic electrons.  In this case, even if charmed quark production scales with the number of binary collisions, an increase in the ratio (c/D-mesons similar to that seen for the (/Kaon ratio will lead to a ~20% suppression in non-photonic electrons ( 1 < pT < 5 GeV/c ) for central  Au+Au collisions.

### B Jet Tagging

It is also interesting to note that a significant fraction of B (~10%) and D (6-17%) meson decays include an electron or positron in the final state. The STAR electromagnetic calorimeter will allow us to trigger on these high transverse momentum electromagnetic showers.  Since the only source of high transverse momentum electrons and positrons are D and B decays, the D and B transverse momentum distribution can be directly inferred from the data above a carefully chosen momentum threshold applied to the observed electron and positron spectra.

If an electromagnetic shower can be matched to a track that is reconstructed in the TPC, it will be tagged as an electron or positron. But there are many background processes that can decrease the hadron rejection power of the EMC and at high pT, the EMC+TPC hadron rejection power is  not sufficient to cleanly identify electrons. The only measurable difference between an electron or positron from D and B decay and a high transverse momentum pion is their spatial origin near the vertex and so a high pT charged pion will come directly from the primary vertex while electrons and positrons from heavy meson decays will come from the decay vertex which is typically displaced from the primary vertex by a few hundred (m.  Thus, these different decay locations can be selected by the HFT.

The CDF collaboration has shown that B jet tagging can be achieved by associating the electron or positron with one of the other charged hadron decay products.  Figure 11 shows a feasibility study where we applied a topological technique to RHIC data, similar to what can be done with the HFT, that imitates the CDF technique to remove background. The channels they studied include  and .  The positron is matched with either a kaon or a pion from the D meson decay, but only if the distance of closest approach is less than 150 microns. The B decay vertex is then located at the mid-point between both points of closest approach on each helix. The variable shown in Figure 11 is the distance between the B and the primary vertex as found by the HFT.  The sign is given by the scalar product of the electron momentum with the vector constructed from the primary vertex to the reconstructed decay vertex.  The background is simulated by embedding high transverse momentum tracks into events that match the momentum distribution measured in 200 GeV central Au(Au collisions below 3 GeV/c. The relative normalization between the background and B decay distribution is arbitrary, since the charge-exchange cross-section is not well known. By applying a signed-decay-length cut of more than 250 (m, the background is suppressed by a factor 200 while keeping 60% of the signal.

Thus, adding the decay vertex information from the HFT will significantly reduce the background in the high transverse momentum electron/positron spectra and substantially increase the statistical significance of the measurements.  We note that the charm and bottom decay lengths differ substantially, thus improving the statistical significance of the measurements based on decay length.

Figure 11: Distance of  the B+ decay position from the primary vertex.  Full circles are from high-momentum simulated B+ ( e+ + X decays, open triangles show the distribution of combinatorial background.  The arrow indicates a cut at 250 (m optimizing the signal to background ratio.

## Measuring Vector Mesons with Dileptons

In addition to the direct measurement of open-charm hadrons, the HFT will serve as a powerful device to discriminate primordial electrons from background electrons in the measurement of electromagnetic probes.

Photons and leptons emitted from the early stages of heavy ion collisions suffer few interactions with their surroundings since they interact electromagnetically instead of via the strong force.  Therefore, electromagnetic probes are ideal tools to study the properties of matter created by relativistic heavy ion collisions.

On the other hand, processes which produce photons and leptons are rare and are overwhelmed by photons and leptons from electromagnetic decays of hadrons and subsequent ( conversions to leptons.  In addition, the final state electrons and positrons are the integrated yield of radiation over the whole evolution of the colliding system.  Despite all the experimental difficulties, the low and intermediate mass dileptons have been measured at the CERN-SPS and an excess of radiation above the hadron cocktail has been observed in the invariant mass region of 0.2 < Mee < 0.6 GeV/c2 in semi-central Pb+Au collisions,.  Also, new and exciting results from the first three RHIC runs indicate that jets have lost a large fraction of their energy in dense matter and the hadronic phase is relatively short.  We believe that these observations at RHIC favor experimental measurements of photons and dileptons due to thermal radiation and will result in a clearer signature than from lower energy heavy ion collisions.

At STAR, electron identification is made possible by a combination of two measurements: a measurement of the energy lost by charged particles due to ionization in the TPC gas (dE/dx), and a velocity measurement with the time-of-flight system.  The relativistic rise of the electron dE/dx separates the electron dE/dx from those of hadrons except at the crossovers with pions at a momentum of  ~ 0.2 GeV/c, kaons at ~ 0.6 GeV/c, protons at ~ 1.1 GeV/c and deuterons at  ~ 1.5 GeV/c.  A time-of-flight measurement, using a requirement that |1-(| < 0.03, eliminates slow hadrons and cleans up the crossovers.  This results in clean electron identification, as shown in Figure 12. The top plot on the left shows the conventional dE/dx measurement in the TPC gas as a function of particle momentum. The bottom plot on the left shows the same dE/dx measurement but now requiring |1-(| < 0.03 from the TOF detector.  The upper electron band is clearly separated from the lower pion band. Heavier particles (e.g. kaons and protons) are completely removed by the TOF requirement.  The right hand plot of Figure 12 shows a dE/dx projection in the transverse momentum range pT = 1.0-1.5 GeV/c.  Even at this rather large momentum, the distribution of electrons is clearly separated from the distribution of charged hadrons.

Figure 12:  Left top: TPC dE/dx vs p in d+Au collisions.  Left bottom: TPC dE/dx vs p after TOFr PID selection of | 1-( | < 0.03.   Clean electron identification is achieved.  Right: dE/dx from the TPC after TOFr PID selection for 1.0 < p < 1.5 GeV/c.

These electrons are, to a large extent, from photons converting into electron-positron pairs ( ( e+ e- in the detector material.  The HFT detector will reduce the background of electrons and positrons from these ( conversions.  By requiring hits in the HFT, electrons from photon conversion outside the HFT, i.e. the SSD, and TPC inner field cage, are rejected. Figure 13 shows the resulting yield from pure Monte Carlo simulations (no tracking involved) of conversion electrons when requiring hits in the TPC only (open circles), hits in the TPC and hits in the TPC+SSD+HFT (closed circles). The requirement of hits in the HFT reduces the detected yield of conversion electrons by a factor of 50.  Full simulations with appropriate pile-up events show that the rate of random ghost tracks is 5%. This means that we can achieve a maximum ( rejection by a factor of 20. To estimate the signal-to-background ratio in the vector meson measurements, we take a reasonably conservative approach and assume that the HFT can reject ( conversions by a factor of 10.  Another source of electron background comes from the semi-leptonic decays of heavy quark hadrons.  The dominant source at intermediate mass, is from the semi-leptonic decay of open charm.  Due to the large charm yield at RHIC energies, the number of e+e- pairs from charm-anti-charm decays is comparable to that from ( conversion and ( and ( Dalitz decays after the HFT rejection factor, described above, is applied.  Due to the lifetime of ~ 100 (m of heavy-flavor hadrons, this charm semi-leptonic decay background can be greatly reduced by measuring the displaced decay vertex with high resolution as can be provided by the HFT detector.  Detailed simulations show that HFT is capable of rejecting 75% of e+e- pairs from the D0 decay while preserving 50% of the primordial e+e- pairs. This increases the signal-to-background ratio by a factor of 2.

Figure 13:  Electron pT spectra from ( conversions reconstructed by requiring TPC tracking alone, a track in the TPC and 2 SVT hits, or a TPC track and 2 SVT hits and 2 HFT hits.  The rejection factor with an additional SVT hit (2 hits) is 3 and with an additional HFT hit is 50.

The large reduction in photonic-electron background will enable us to observe electromagnetic decays of short-lived vector meson, e.g. (, ( ( e+e(, and intermediate mass dileptons with a few hundred thousand central Au+Au events in STAR.  The rejection of π0 and ( Dalitz decays by a factor of 3 (single track) can be achieved by measuring both electrons, of a pair, which is possible because of the large acceptance of the STAR TPC.  Table 3 shows our estimate of central Au+Au collisions needed in order to observe a signal with a statistical significance of 3(. Compared to measurements incorporating only the TPC and TOF, the HFT will enhance the sensitivity to electro-magnetic vector meson decay by a factor 20-40.

| Detectors | ( | ( |
| --- | --- | --- |
| TPC+TOF | 8M | 2M |
| TPC+TOF+SVT+HFT | 200K | 100K |

Table 3:   Number of central Au + Au events required to observe a 3-( signal for ( and ( in their leptonic decay channels under different detector configurations.

Figure 14 shows the di-electron invariant mass distribution for various signals plus the background. The signals for vector mesons and thermal radiation, are shown as a black curve78 and have been calculated using the full acceptance of the STAR detector. The red curve, at the top, is the total di-electron invariant mass yield using the STAR configuration in 2004.  This is obtained from single inclusive electron spectrum measurements in 200 Au+Au collisions with the assumption of electron PID from Full TOF coverage. The pink dashed line is the e+e- pair invariant mass spectrum for charm semi-leptonic decays derived from the non-photonic single electron spectra measured in Au+Au collisions. The gray curve is the e+e- pair invariant mass distribution for charm after a cut on the HFT DCA < 80(m. The dot dashed line show the Dalitz decays from ( and ( after rejection from the TPC. The standard method of dealing with the residual background is by a mixed-event method. This method has been used in CERES and NA52/NA60 at the SPS, and will be used in both PHENIX and STAR.

Figure 14: Di-electron invariant mass spectrum.  The solid black curve is a prediction 
from R. Ralf Ref. [78] using the full STAR acceptance. The red curve at the top is the total di-electron invariant mass spectrum seen with the 2004 configuration of STAR but assuming electron PID from Full TOF coverage. The gray curve is the charm e+e- pair invariant mass distribution after a cut on the HFT DCA < 80um.  The dot dashed line is the Dalitz decays from (0 and ( after rejection from TPC.

## Spin Measurements

The European Muon Collaboration10 discovered that the spin of the quarks only contributes a small fraction to the total spin of the proton and this has motivated, and continues to motivate, considerable experimental and theoretical activity to further unravel the mystery of the nucleon spin structure.  At present, only the total quark spin contribution is known with reasonably good precision.  The most prominent unknown is the spin-dependent gluon density, (G.

The main goal of the RHIC spin program is to precisely determine (G by measuring double spin asymmetries in longitudinally polarized proton-proton collisions for a series of complementary reaction channels and over a broad range of the gluon momentum fraction xg and transverse momenta pT.  One of the promising reaction channels in STAR is the production of prompt photons and jets with high transverse momenta.

The production of charm and bottom quarks proceeds, in leading order in the strong coupling constant (s, through gluon-gluon fusion and quark anti-quark annihilation.  The gluon-gluon fusion process is known to be dominant in the spin averaged case for all experimentally relevant kinematic regions.  In the spin dependent case both processes have large analyzing powers, as measured by the parton-parton spin asymmetry aLL, which approaches -1 for asymptotically large transverse momenta.  The masses of the heavy quarks lead to large modifications of the parton-parton spin asymmetry in the kinematic region accessible with STAR.  Next-to-leading order corrections are available and predict relatively sizable changes in the observed asymmetry as compared to leading order expectations.

These properties make charm and bottom production a good test to advance the current understanding of the nucleon spin (unless (G is found to be vanishingly small).

As is the case for the study of heavy quark energy loss described in this proposal, the relative smallness of the production cross section at large transverse momenta requires triggering with the STAR electromagnetic calorimeters.  In spin measurements, the trigger serves to relate the event to the RHIC beam bunch crossing, which determines the spin orientations of the colliding protons.  Commonly used parameterizations of the deep-inelastic scattering data lead us to expect measurable, and negative, double longitudinal spin asymmetries at the level of –5*10-3 in heavy flavor production in STAR. These asymmetries originate from gluon polarization at intermediate momentum fractions xg and are expected to grow in size with increasing pT of the decay electron or positron.

In order to make these measurements, fast external pointing with high-rate capability is required to distinguish collisions from different bunch crossings and, hence, different spin orientations.

# HFT Conceptual Design and Performance

## Overview of the Experiment

STAR is a suite of detectors that surround the 6 o’clock collision region at RHIC (see Figure 15). The primary goal of the experiment is to provide momentum analysis and particle identification over a wide range of rapidities, over the full azimuth, and over a broad range of momenta.   In this respect, STAR is unique.  It is the only experiment at RHIC whose primary detectors cover the full azimuth in (, cover ±1.5 units in rapidity, and track particles from 100 MeV/c to 20 GeV/c.   The Heavy Flavor Tracker (HFT) will extend these unique capabilities even further by providing particle identification for hadrons containing charm and beauty.

Figure 15: The STAR detector at RHIC.  The primary detector elements at mid-rapidity are shown in this cut-away view of the detector.  For scale, the TPC is 4.2 meters long and 4 meters in diameter. Heavy Ion beams enter from the left and right while collisions take place at the centerline under the Silicon trackers.

The important tracking elements at mid-rapidity will be the Silicon Strip Detector (SSD) and the Time Projection Chamber (TPC). The SSD is installed at a radius of 23 cm around the center of the beam pipe while the TPC tracking begins at a radius of approximately 60 cm.  The TPC tracking system extends out to a radius of 190 cm and yields a total of 45 position measurements along the track.  At the time of HFT installation, a complete Time of Flight detector will surround the TPC barrel (( = 2().  This detector will replace the Central Trigger Barrel (CTB) which is an array of scintillators.  The TOF surrounds the outer field cage of the TPC. By the time the HFT is installed in STAR, the existing Silicon Vertex Detector (SVT), will be decommissioned.

The goal of the STAR detector is to start measuring a particle’s trajectory as close as possible to the interaction vertex and then to follow it continuously to a large radius as it traverses a uniform magnetic field up to 0.5 T.  The STAR tracking philosophy, on the other hand, is to start from the outside where the hit density is lowest and to follow the track inwards. This design allows us to measure the collision vertex with great precision.  Using this information we can identify a short-lived particle whose decay is displaced from the vertex by a significant distance. The KS0 is one example.  It decays into two pions with a mean lifetime of 0.896 ( 10-10 seconds and it has a characteristic decay distance of 2.68 cm.  It is relatively easy to identify this non-vertex decay using the TPC, alone, because the TPC has a vertex pointing accuracy of approximately 5 mm.

After including the SSD in the analysis, the vertex resolution is approximately 2 mm, which substantially improves the efficiency for finding topologically complex strange decays such as the ( baryon.

The HFT improves upon these capabilities even further because it will be placed between the beam pipe and the SSD detector.  It will have two layers of silicon pixel detectors; one at 1.5 cm radius and the other at 5 cm radius.  Each layer will be composed of 30 (m ( 30 (m pixels and the pointing accuracy of the system (including multiple coulomb scattering in the beam pipe and Si layers) will then be 25 (m for 1 GeV/c tracks.  The primary reason we need the HFT is because the charmed mesons have a characteristic decay length on the order of 125 (m.  Thus, the HFT is the enabling technology for making direct charm and beauty measurements at STAR.

## Design of the HFT

The parameters for the HFT are summarized in Table 4 and the detector is shown schematically in Figure 16.  The innermost layer of the detector lies at a mean radius of 1.5 cm radius and it is composed of 6 detector ladders.  The outer layer lies at a mean radius of 5 cm and it is composed of 18 ladders.  Each ladder contains a row of 10 monolithic CMOS detector chips and each ladder has an active area of 19.2 cm ( 1.92 cm.  Each CMOS detector chip contains a 640 ( 640 array of 30 (m square pixels. We will thin down each chip to a total thickness of 50 (m to minimize the multiple coulomb scattering (MCS) between layers of the detector. The HFT is designed to be as close as possible to the interaction point.  This will require a new, smaller radius, beam pipe. The beam pipe must also be made thinner (0.5 mm) to reduce scattering in front of the HFT. This smaller, thinner, beam pipe is an essential part of the proposal and is discussed in section 6.6.

| Number of pixels | 98,304,000 |
| --- | --- |
| Pixel dimension | 30 (m ( 30 (m |
| Detector Chip active area | 19.2 mm ( 19.2 mm |
| Detector Chip pixel array | 640 ( 640 |
| Number of ladders | 24 |
| Ladder active area | 192 mm ( 19.2 mm |
| Number of barrels | 2 |
| Inner barrel (6 ladders) | r = 1.5 cm |
| Outer barrel (18 ladders) | r = 5.0 cm |
| Frame read time | 4 ms |
| Pixel read rate, after zero suppression | 63 MHz |
| Ladder (w/Al cable) % X0 | 0.282 % |
| Pointing Accuracy, ( | 14 (m + 12 (m (GeV/c) / p |
| Beam Pipe Thickness | 0.5 mm or 0.14% X0 |

Table 4:   Selected HFT parameters.

Figure 16:  Left - Schematic view of the HFT detector ladder arrangement with 6 ladders forming the inner layer and 18 ladders forming the outer layer.  The width of the ladders (the dimension seen in this view) is 19 mm.  The shingled layers provide cross calibration of the ladders and provide an open geometry for ease of installation.  Right - The HFT is shown embedded inside the SVT+SSD.

## Expected HFT Performance

The physics program outlined previously defines clear criteria for the Heavy Flavor tracker. The requirement for a thin detector positioned close to the interaction dominates the design considerations.

    - Pixel size, resolution, MSC

Hand calc of efficiency and ghosting vsusu momentum. These results are in good agreement with hand calculations of the same quantities.  The analytical estimate of the tracking efficiency for various geometries has been studied.  The pile-up hit density, ρ, is set to 30 hits/cm2.  The probability to pick up the correct hit is described by the following equation:

where ( is the uncertainty in the track extrapolation from the SSD to the HFT layer and ‘a’ is the search cone radius. The quantity ( includes contributions from multiple Coulomb scattering and the position uncertainty in the hits used on the track. The calculation matches the data fairly well at momenta > 1 GeV/c. While the calculations can reproduce the shape of the distribution, the efficiency below 1 GeV/c is systematically overestimated. This is most likely due to details in the full tracking reconstruction algorithm, which are not considered in these hand calculations. The calculation uses a straight line technique to estimate the projection error, where only the two closest points on the track are used to determine σ when extrapolating to the HFT. The uncertainties from previous measurements on the track, therefore, are not accounted for in the calculation and may account for differences between Monte-Carlo results and the calculation.

The overall efficiency of the tracker and the number of ghost tracks affects the efficiency for finding charmed mesons with the HFT.  We have performed a complete set of simulations of the TPC+SSD+HFT tracking system and the results are given in the next section.

Figure 18: HFT efficiency and ghost rate: (a) projected track error. The projection starts from TPC (radius from 60 cm to 189 cm) through SSD (23 cm) to the second layer of HFT (5 cm). (b) and (d) are pT dependence of HFT efficiency and ghost rate, respectively. (c) and (e) are luminosity dependence for efficiency and ghost rate, respectively. Finite and infinite search window are represented by solid- and dashed- line, respectively. The vertex, SSD, TPC resolution are 100um, 20um, 575um, respectively. In the hand calculation, 3( detector resolutions are used. At nominal RHIC luminosity 1(1027/cm2s, pile-up hits density is 22.5 hits/cm2.

## Monte Carlo Simulations

The STAR experiment makes use of an extensive simulation framework to accurately predict the performance of the physical detector. This framework involves many software packages working in tandem to produce the final results. Details of the design and use of this package are available elsewhere, but a general overview is useful to place the results and predictions contained in this document in a broader context.

The simulation framework has three stages: first, the simulation of the physics under study, for example a Au-Au interaction; second, the simulation of the interaction of the produced particles with the detector and physical structures of the experiment, and finally the simulation and digitization of signals in the detector. The goal of such a package is to use the same analysis package on both simulated and real data, both to predict performance and optimize analysis methods.

For the event generation stage, the simulations presented here separate the charm mesons and baryons from the rest of the event. This has the benefit of greatly increased speed on the analysis side in algorithm development. This method has been used previously (ref: ALICE).  For charm production, events with a single signal particle were simulated. The background for these measurements is simulated as a cocktail of pion, kaon, and protons at the multiplicity expected from the highest top 10% centrality collisions, produced with the MEVSIM package developed for use in STAR (ref: MEVSIM STAR note). The ‘signal’ and ‘background’ events are analyzed using the same reconstruction and analysis code, with the same cuts and tracking parameters.

Physics interactions between daughter particles and the material of the detector, as well signal digitization, are simulated using the implementation of the GEANT simulation package (ref: GEANT CERN writeup, papers) for the STAR experiment. This package is used by STAR as a standard analysis tool. A detailed understanding of the TPC is included in these simulations including dead areas and realistic detector resolutions and response.

For both SSD and HFT detectors, the exact crossing point of the particle through the detector is reported by GEANT to the track reconstruction package. Realistic detector resolutions are used to smear the perfect position information, and the resulting simulated hits are used in tracking. For the SSD, the hits were smeared with 20um in ( and 750 um in z, in agreement with the SSD specifications (ref: SSD Nim). For the HFT, hits were smeared with 6 (m in both ( and z. Such a method neglects the effects of cluster overlap. We expect such effects to be minimal in the case of the HFT.

For these simulations, a new algorithm was added to our analysis software. With the original algorithm, the tracker follows a series of hits in the TPC and SSD, refitting after every hit is added. These tracks (called “global” tracks) are then passed to the vertex finder, which reconstructs the event vertex. The global tracks are extended to the resulting reconstructed vertex, and, if the fit is successful, the new track is stored and labeled a primary track. The new algorithm simply takes these primary tracks (weighted with the vertex) and refits the track, this time with the HFT hits available. The tracks with added HFT hits are then stored. The success of the algorithm depends on the precision of finding the primary vertex, which is centrality dependent (see fig. 22).

Figure XX: Vertex Reconstruction with Simulated Events. The vertex reconstruction resolution over a range of centralities in global x,y, and z.

Figure YY: Track Residue width at the surface of the inner HFT Layer. The track residue as various layers of detectors are added. The TPC and SSD track error is clearly not sufficient to reliably determine HFT hits (see hand calcs., previous section). Addition of the vertex information to the track aids in determination of the correct HFT hits.

    - Reconstruction

Reconstruction of the generated event, after simulation of the STAR detector response, is handled through the tracking framework currently implemented in STAR to unite the various tracking detectors. We use this package, along with a detailed GEANT simulation, to provide an estimate to the expected performance of the real detector.

As demonstrated in the analytic calculations, a vertex constraint used in conjunction with the TPC and SSD detectors should provide acceptable reconstruction efficiency and purity. Such an algorithm was implemented. In this algorithm, the STAR vertex finder package uses tracks defined with only the TPC and SSD to determine a primary vertex. If no vertex is found for a cocktail event, the event is lost. Since the signal events contain one signal particle per event, the Monte Carlo vertex is used, but smeared with a resolution typical for events of these centralities (100m).

Tracks identified as belonging to the primary vertex are again tracked through the detector tree, and HFT hits are identified and added at this time (see figure 3.3.2.1). A refit of the track, with the added HFT hits, is performed by the Kalman fitter as the new hits are added.

Figure 19: Simulation block flow diagram.

The dramatic improvement of the track fit at this stage allows for a more accurate primary vertex reconstruction. A simplified vertex algorithm was adopted for this refit. The distance of closest approach for each HFT track to the TPC+SSD primary vertex (see fig. XXX) shows a distinct offset from zero, as well as a non—gaussian shape. This offset (calculated in three dimensions) is used as a correction to the primary vertex position. It was found that iterating on this procedure produced the best resolution. A final vertex position resolution of 8um was achieved for the highest multiplicity events, and the resolution follows the functional form:

Figure 20: DCA of tracks to the Primary vertex. Geometric signed distance of closest approach between all tracks (pt>200MeV/c) and the vertex for two cases. a) DCA to the vertex defined by TPC+SSd tracks; the non-zero mean is used to correct the vertex coordinate. b) Vertex after iterative correction using TPC+SSD+HFT tracks, with a significant improvement in the mean of the offset and the distribution shape.

Figure 21: Mean and sigma of the geometric – signed DCA distribution as a function of the number of iterations used to correct the vertex.

Figure 22: Vertex resolution (MC Vertex Position – Reconstructed Vertex position) as a function of collision centrality. The HFT Refit vertex shows an order of magnitude improvement over the previously reconstructed primary vertex. a) Vertex resolution in X vs. Nch . Resolution follows a/sqrt(N), expected from fitting statistics. b) Vertex resolution along the beam direction. Problems in the vertex fit in the z direction drive the distribution wider than in the transverse direction.

Application of a vertex constraint before adding detector hits is new in STAR, and required minor modification of the STAR reconstruction code. The performance of this algorithm has been studied in terms of the efficiency and the expected rate of false associations.

The efficiency of the reconstruction package to find and correctly associate HFT hits is defined as:

Where the reconstructed tracks are matched to their corresponding Monte Carlo track at the hit level. Tracks that do not match, or which only partially match to a Monte Carlo track, do not contribute to the efficiency. Hit matching requirements are set to 33% in the TPC (15 hits), 100% in the SSD (1 hit) and 100% in the HFT (2 hits). Tracks with one or more non-matched HFT hit are designated ‘ghost’ tracks. The determined efficiency as a function of pT is about 50% for pT >1GeV/c (see fig. XXX). The level of ghosting is 12% in the same range.

## Simulated HFT Performance

The performance of the HFT has been simulated using tracks from √sNN = 200 GeV central Au+Au collisions generated by the “MEVSIM” code.  We have also studied the performance of the detector by using single particle tracks.  The simulated tracks and simulated events were processed through GEANT and, finally, a detailed response function for the Time Projection chamber (TPC) and a response function for the Silicon Drift Detector (SSD) were applied to the data. These response functions carefully take into account physical effects in the detector and the subsequent electronics. For the HFT, we smeared the Monte Carlo hits by a Gaussian function with a width of (=6 (m in the x-y-plane and in the z-direction. This simulates the finite hit resolution we expect for the HFT. The limited read-out speed of the 1st generation HFT will lead to pile-up of up to 120 Au+Au collisions in the HFT at four times the RHIC design luminosity. We account for that by randomly uploading hits on top of the Monte Carlo generated hits in the HFT. The topic of pile-up is discussed in detail in section 3.6.

Tracks with at least 15 hits in the TPC, 1 hit in the SSD and 2 hits in the HFT detector were reconstructed with the STAR inner-tracker code.  Figure 23 shows the efficiency for tracking pions with |y| < 0.5  in various detector configurations.  The TPC results are designated by the open circles (red), TPC+SSD by triangles (green), and the TPC+SSD+HFT detector by filled dots (blue).  Note that the TPC tracking efficiency limits the efficiency of the SSD at low transverse momentum and, in addition, the efficiency of the HFT at low momentum is affected by ghost tracks and event pileup. But at high momentum, the acceptance of the detectors is quite uniform and the overall efficiency for the HFT tracking system is 50% or above at a transverse momentum larger than 500 MeV/c. Simulations using mono-energetic pions show that the efficiency stays approximately constant up to 20 GeV/c.

Figure 23:  The efficiency for finding tracks in central Au+Au collisions in the STAR TPC, SSD, and the HFT.

In the high multiplicity environment of a central Au+Au collision, there can be ambiguities in finding the next hit on a track while following a track along its path.  A ghost track is defined to be a reconstructed track with at least one hit from a different track.  With the present tracking algorithm, the number of ghost tracks in the TPC is less than 1% compared to all reconstructed tracks.  The HFT, however, is more complicated because it is continuously read out and events can pile up between successive reads of the pixel chips which occur every 4 ms.  So we have studied the influence of the ghost tracks in the HFT detector by using simulated central Au+Au collisions in the TPC+SSD+SVT+HFT.  At low momentum, ghost tracks dominate due to multiple Coulomb scattering.

Figure 24: Left – The number of ghost tracks and reconstructed tracks passing through the pixels of the HFT as a function of pT.   Right - The ratio of ghost tracks to good tracks.

Figure 24 shows the number of ghost tracks observed in the full HFT tracking system.  The bulk of the ghost tracks appear below 0.5 GeV/c and the effect of these miss-identified tracks can be seen in Figure 23; the tracking efficiency for the HFT is steeply dropping below 0.5 GeV/c.  The ratio of ghost tracks to good tracks is 10% at 0.5 GeV/c and saturates at 4% above 2 GeV/c (see the right hand panel of Figure 24).

### An example: Open Charm and Beauty Reconstruction

Charm and beauty quarks occur in a wide variety of hadrons and these hadrons decay into a number of different channels.  We have investigated a few specific channels, including:  D0 ( K( π+ and  Ds+ ( K( π+ K+.  These decays represent a crucial sample of the physics capabilities that can be achieved with the HFT detector.

| particle | Daughters | c( ((m) | Mass (GeV) |
| --- | --- | --- | --- |
| D0 | K-(+ (3.8%) | 123 | 1.8646 |
| D± | K-(+(+ (9.2%) | 312 | 1.8694 |
| Ds | K+K-(+ (4.4%) (+ (+ (- (1.0%) | 147 | 1.9683 |
| (c | p K-(+ (5.0%) | 59.9 | 2.2849 |

Table 5: Open charm hadron properties

Signal and background events for this study were generated separately.  The signal consists of one D0 or Ds+ per event.  The transverse momentum distribution of the charmed hadrons follow a Boltzmann distribution which reproduce the <pT> of D-mesons as measured by STAR in d+Au collisions at √sNN = 200 GeV and the rapidity distribution suggested by perturbative QCD calculations applying the program code Pythia18.  The background is simulated using the MevSim event generator parameterized to reproduce the experimentally measured particle multiplicities in Au+Au collisions at √sNN = 200 GeV.  Our parameterization is accurate for particles below 3 GeV/c.  It may underestimate the background above this momentum.  The distributions of reconstructed D-meson signal and background were scaled to match the expected D-meson production per central Au+Au collision45.  Also, the higher track reconstruction efficiency in single (D0 signal) events compared to central Au +Au collisions (background) was taken into account.

The HFT detector allows us to identify a D0 decay-vertex by reconstructing the trajectory of its two daughters.  The following selection criteria were used to separate the D0 signal from background, also see Figure 25.

- The decay length l, with l the distance between the primary vertex and the D-meson vertex

- The difference, (m, between the reconstructed invariant mass and the D0 rest mass

- The distance of closest approach DCAK, between the two daughter tracks

- Isolation cuts on cos((), with ( being the angle between the D0 momentum (vector sum of the two daughter momenta) and the vector joining the primary vertex to the D-meson decay vertex

- Isolation cuts on cos((*), with (* being the angle between the kaon in the D-meson center of mass frame and the D-meson momentum

Table 6 lists the values of the cuts applied for D-meson reconstruction.

| Decay length l | > 200 m |
| --- | --- |
| m | ( 40 MeV/c2 |
| DCAK | < 50 m |
| cos(() | ( < 5.0 degrees |
| cos((*) | (* > 37.0 degrees |

Table 6: Cuts applied for D-meson reconstruction

Charged decay daughters were identified by their specific energy loss in the TPC gas; for example, to identify pions, we used a 3 ( cut around the expected band for pions with a momentum dependent width extracted from experimental data. With that method, pions can be separated from kaons up to 700 MeV/c.  In addition, a time of flight PID selection criteria was applied.  We assume that the pions and kaons can be separated up to 1.8 GeV/c; as demonstrated from existing STAR data with a small version of the full TOF detector.  Tracks with a momentum above the range of the selected PID method entered the reconstruction algorithm twice, once under a pion mass assumption, once assuming a kaon.

Figure 25:  The decay topology for a D0 decaying to a kaon and a pion.   Isolation cuts to identify the D0 from the background tracks are described in the text.

The applied cuts for D0 reconstruction were determined by using the program MINUIT in order to achieve the highest statistical significance of the reconstructed D0 yield.  This is a tradeoff between  the reconstructed D0 yield and background.

Figure 26: The distance of closest approach (dca) distributions for D0  (triangles) and D+ (circles).  The results of the dca distribution for primary tracks are shown in squares.

      - D0 Efficiencies

To demonstrate the performance of the proposed STAR HFT, we will show the reconstruction efficiencies for D0 (c( ~ 123) and D+ (c( ~ 312) via the hadronic decay channels K((( and K-(+(+, respectively.  Because of the TPC large acceptance for secondary charge particles, the STAR detector system is ideal for the measurement. The cuts used in the study are shown in Table 7.

| cuts | D0 | D+ |
| --- | --- | --- |
| nFit > | 15 | 15 |
| ¦(¦ < | 1.0 | 1.0 |
| HFT hits = | 2 | 2 |
| dca(global) ( |  | 100 (m |
| dca(V0) ( | 35 (m | 100 (m |
| decay length ( | 150 (m | 150 (m |
| cos(() > | 0.996 | 0.85 |
| (m ( | 40 MeV |  |

Table 7: The cuts for D0 and D+ reconstructions and efficiency analysis.  The exponential pT spectrum, with <pT> = 1.3 GeV/c, was used as an input distribution.

The resulting yield of D0s divided by the input D0 yield, as a function of transverse momentum is shown in Figure 27.  This is the overall reconstruction efficiency taking into account acceptance, single track efficiency and D0 reconstruction efficiency.  At low momentum, the selected D0 decay length of ~100 (m dominates, leading to a rather small number of reconstructed D0s. The overall reconstruction efficiency increases with increasing momentum and seems to saturate above 3 GeV/c at a value of about 10%. From the single track efficiency of the HFT, the maximum D0 reconstruction efficiency can be estimated to 0.5*0.5 (tracks) = 25%, not taking into account the D0 acceptance effects, i.e. at least one of the decay daughters does not reach the TPC volume.  Replacing the thinned Si wafers of the HFT by sensor similar to those used in the ALICE detector (3 times thicker) results in the D0 reconstruction efficiency dropping by a factor 8, independent of momentum. This would require an 8 times longer data taking period..  As a result, we have exclude the ALICE detector technology from consideration.

Figure 27: The D0 reconstructionefficiecncy with the TPC+SSD+HFT configuration. The blue- and red-circvles represent the efficiencies with and witout the smearing of the primary vertex resolution, respectively. The open-triangles show the efficiency with a much thicker Si-detector that are similar ones used in the ALICE vertex detecotor. The D0 reconstruction cuts were optimized using the program MINUIT.

We have studied the influence of different HFT hit resolutions and Si ladder thicknesses.  As a figure of merit we use the number of central Au+Au collisions required to measure a D0 signal with a statistical significance of 3(.  Figure 28 shows the number of central Au+Au collisions needed to make the D0 measurement as a function of the HFT hit resolution for different Si ladder thicknesses.  The curve is almost flat between 0 and 10 (m and then rises linearly.   With increasing ladder thickness, multiple-Coulomb scattering leads to larger distortions of the reconstructed tracks and therefore requires more and more events. In the following, we choose a position resolution of 6 (m and a total ladder thickness of 240 micron Si-equivalent (0.3% X0) and with these assumptions we present projected statistical errors on D-meson spectra and elliptic flow.

Figure 28: The number of central Au+Au events needed as a function of the Si ladder thickness and the position resolution of the detector (left).  Results from Monte Carlo Simulations and full tracking in all sub-detectors including TOF and the proposed HFT (right).

For the first year of data taking with the HFT, we assume a total of 50 M central Au+Au collisions at 200 GeV.  (A similar number of events were taken by STAR during the RHIC Run IV in 2004.)  Figure 29 shows the anticipated D0 spectrum from pQCD calculations (no flow) and a Blast wave prediction (0.4 (T).  The main differences between the spectra fall below 3 GeV/c.  The top line shows the estimated statistical uncertainty in the measured spectrum with dE/dx PID (left) and additional TOF PID (right). At D0 momenta below 1 GeV/c, the estimated uncertainties are similar while at higher momentum the TOF measurement of D0 daughters leads to smaller uncertainties.  This is due to the reduced background due to PID at larger momentum with the TOF.  Even without the TOF measurements (the TOF detectors are expected to be fully installed before the HFT is complete) we can clearly distinguish flow from the non-flow case in the D0 spectrum.

      - The strange open charm meson Ds+

We performed a similar study for the Ds+  (  +  and  ( K+ + K-.  Here the goal was to measure the Ds yield and integrate over all pT to extract the dN/dy for hadro-chemistry studies. The Ds+ has a lifetime of ~ 100 m while the -meson decays immediately at the secondary decay vertex. Table 8 lists the cuts used in our studies. These cuts have been optimized using the program MINUIT analogous to the D0 studies.

| L | > 200 m |
| --- | --- |
| m, Ds+ | ( 50 MeV/c2 |
| m,  | ( 20 MeV/c2 |
| DCA | < 60 m |
| cos(() | ( < 5.7 degrees |
| cos((*) | (* > 44.0 degrees |

Table 8: Cuts applied for Ds+ reconstruction

The dca-distribution, cos((), and decay-length distribution for both primary tracks (open-squares) and D+ decayed tracks are shown in Figure 30. Clearly the decayed tracks are well separated from the primary track. For D+ reconstruction, a slightly different method was used compared to that of the D0. The ‘signal event’ and ‘background event’ were mixed together. The distribution of the invariant mass from K and two ( tracks is then formed. The number of tracks used in the background events is consistent with that of top 10% central Au+Au collisions at RHIC. The resulting invariant mass distributions for several pT bins are shown in Figure 32. For all studied pT bins, the figure of merit S/(S+B) are better than 3.

Figure 30: The D+ decayed tracks decay-length, dca, and cos(() distributions (triangles). The same distributions for primary tracks are also shown (squares).

The acceptance for Ds reconstruction is shown in Figure 31. Due to the large background in a 3-body decay reconstruction, Strange D-mesons can be detected only above 1.0 GeV/c with a saturation in efficiency of 2% starting at 4 GeV/c. The rather low efficiency compared to D0 is also due to the larger acceptance losses of the three daughter particles.

Figure 32: Invariant mass distributions for D+ for several pT windows. Lines are the Polynomial (up to 2nd order)+ Gaussian fit.

The final reconstruction efficiencies for D0 and D+ mesons are shown in Figure 33.  Below pT ~ 0.5 GeV/c, the efficiency is very low since slow charged particles do not make it to TPC. Above pT ~ 1 GeV/c, both efficiencies increases as a function of the transverse momentum. The large difference between D0 and D+ efficiencies is caused by the topological cuts used for the reconstruction. Although the numbers are yet to be optimized in the near future, these efficiencies are already usable for data analysis.

Figure 33: D-meson efficiencies as a function of transverse momentum. Dashed-lines are the fits.

We performed a similar study for the Ds+  (  +  and  ( K+ + K-.  Here the goal was to measure the Ds yield and integrate over all pT to extract the dN/dy for hadro-chemistry studies. The Ds+ has a lifetime of ~ 100 m while the -meson decays immediately at the secondary decay vertex. Table 9 lists the cuts used in our studies. These cuts have been optimized using the program MINUIT analogous to the D0 studies.

| L | > 200 m |
| --- | --- |
| m, Ds+ | ( 50 MeV/c2 |
| m,  | ( 20 MeV/c2 |
| DCA | < 60 m |
| cos(() | ( < 5.7 degrees |
| cos((*) | (* > 44.0 degrees |

Table 9: Cuts applied for Ds+ reconstruction

The acceptance for Ds reconstruction is shown in Figure 34. Due to the large background in a 3-body decay reconstruction, Strange D-mesons can be detected only above 1.0 GeV/c with a saturation in efficiency of 2% starting at 4 GeV/c. The rather low efficiency compared to D0 is also due to the larger acceptance losses of the three daughter particles.

Figure 34:  Ds reconstruction efficiency as a function of transverse momentum

The momentum range 1.0-3.0 covers roughly 60% of the total Ds yield. The statistical uncertainty of the measured yield is estimated to be about 25%.  However, extrapolation of the Ds spectrum in the momentum range not covered by measurement is model dependent and introduces systematic uncertainties. Studies to further optimize Ds reconstruction especially at lower momentum are a work in progress.

  - Rate Estimation

In the following, we make estimations of the needed number of events for both D-meson spectra and v2 measurements. We start with the D-meson transverse momentum distribution generated from 200 GeV p+p collisions in Pythia48.  The shape is power-law like. The integrated yield is fixed as the measured at mid-rapidity at RHIC17: dN/dy = 0.03 . The default value of dN/dy in Pythia is about a factor of 3 lower.

For the 10% central and 0-80% minimum bias Au+Au collisions, the number of binary collisions 950 and 290 were used as the scaling factors, respectively. The resulting distributions are shown in Figure 36(a). The D0 efficiency with the fit is shown in (b) and the final counts versus pT are shown in (c). Assuming 10% statistic errors at given pT bin, the number of required events are shown in Table 10.  At pT ~ 10 GeV/c, a decent RAA measurement requires about 7.5 billion p+p events and 10 million Au+Au 10% central events. Those number of events are achievable with the designed RHIC luminosity*,  and current STAR detector system within a week of RHIC running.

* A 60% duty factor is assumed here.

Figure 36: D-meson rates estimates: (a) dN/dpT distributions for D-meson. The integrated yield dN/dy = 0.03 as measured in p+p collisions at 200 GeV [Ref. 17]. Number of binary Nbin = 950, corresponding to the top 10% most central Au+Au collisions, is used to scaled the Au+Au collisions; (b) 3-( significance D0 efficiency with TPC+SSD+HFT.  Dashed-line is the fit to the simulated result; (e) D0 meson rates from p+p and top 10% central Au+Au collisions at 200 GeV.

| pT (GeV/c) | (pT (GeV/c) | # of Events (p+p) | # of Events 0-10% Au+Au (Nbin = 950) | # of Events 0-80% Au+Au (Nbin = 290) |
| --- | --- | --- | --- | --- |
| 1.0 | 0.5 | 44 x106 | 0.45 x106 | 1.75 x106 |
| 2.0 | 0.5 | 70 x106 | 0.45 x106 | 1.75 x106 |
| 3.5 | 1.0 | 70 x106 | 0.45 x106 | 1.75 x106 |
| 5.5 | 1.0 | 350 x106 | 0.75 x106 | 3 x106 |
| 7.5 | 1.0 | 1200 x106 | 3.5 x106 | 11 x106 |
| 10.5 | 1.5 | 7500 x106 | 9 x106 | 30 x106 |

Table 10: Number of estimated events for 10% statistical errors for the spectra measurements of 200 GeV p+p collisions and 0-10%/ 0-80% Au+Au collisions. A power-law shape pT distribution from the p+p collision has been assumed with the mid-rapidity dN/dy = 0.03 [Ref. 17]. The number of binary collisions is from the Glaubor calculations [Ref. 23].

In order to make any rate estimation for v2 measurement, we need to make further assumptions about the pT dependence of the anisotropy.  We choose them from Ref. 38 in which the authors considered two extreme cases: charm quark do / do not flow.  The corresponding distributions are shown in Figure 37 (b).  In the same figure, the K0 v2 is shown as the line. With these assumptions and the know efficiency (Figure 37(c)), the estimated rates per event are shown in plot-(d). To keep the statistical uncertainties within 10%, the required number of minimum bias events for the D0 v2 measurement is listed in Table 11 for given pT bins. As one can see, within 500 million events, D0 v2 (pT) can be  well measured up to pT 1~ 3 GeV/c, with the proposed STAR HFT.

Figure 37: D-meson v2 rate estimates: (a) dN/dpT distributions for D-meson. The integrated yield dN/dy = 0.03 as measured in p+p collisions at 200 GeV [Ref. 17]. Number of binary Nbin = 290, corresponding to the minimum bias Au+Au collisions, is used to scaled the Au+Au collisions. Power-shape from p+p collisions is assumed; (b) Assumed v2 distributions for D-mesons. The solid-line is the results of fit to the measured Kaon v2 [Ref. 23].  Both circle- and diamond-symbols are from [Ref. 48] for the case with and without charm quark flow, respectively. Error bars shown are from 15% systematic errors; (c) 3-( significance D0 efficiency with TPC+SSD+HFT.  Dashed-line is the fit to the simulated result; (d) D0 meson v2 rates from minimum bias Au+Au collisions at 200 GeV. The small and large error bars are for 15% and 30% systematic errors, respectively.  For the v2 analysis, 12 bins in ( are used.

| pT (GeV/c) | (pT (GeV/c) | # of Events qc does flow | # of Events qc does not flow |
| --- | --- | --- | --- |
| 0.6 | 0.2 | 260 x106 | 525 x106 |
| 1.0 | 0.5 | 70 x106 | 140 x106 |
| 2.0 | 0.5 | 53 x106 | 125 x106 |
| 3.0 | 1.0 | 105 x106 | 175 x106 |
| 5.0 | 1.0 | 210 x106 | 440 x106 |

Table 11:  Number of estimated events for 10% statistical errors for D0 v2 measurements of 200 GeV 0-80% Au+Au collisions (Nbin=290). A power-law shape pT distribution from the p+p collision has been assumed with the mid-rapidity dN/dy = 0.03 [Ref. 17]. The # of binary collisions is from the Glabour calculations [Ref. 23].

As mentioned earlier, the assumptions in the model38 are extreme cases. In order to test the thermodynamic behavior of the D-meson, the most important region is pT < 3 GeV/c as in higher pT region, other dynamical effects like jet correlation will become important. The proposed STAR HFT detector will be able to make precise v2 measurement in the transverse momentum region 0.7< pT <3 GeV/c. Finally the combined analysis of the D-meson spectra, v2 distributions and ratios, as we have been doing with the hadrons from the light-flavor sector5, will allow us to determine the charm quark collectivity and the thermodynamic nature of the medium created in heavy ion collisions at RHIC.

## Additional Issues that Relate to the Performance of the HFT

This section addresses several issues that may affect the performance of the proposed detector.  The HFT is not triggered and is continually active, recording all particles that pass through it.  This means that in tracking the events of interest there will be extraneous hits and pileup in the detector due to other collisions at an earlier or later time, tracks from beam gas showers, and other background sources.  The arial density of extraneous hits that can be tolerated depends on the tracking precision projected onto the HFT surface and on details of the particle reconstruction algorithms; while the extraneous hit density depends on the HFT frame readout speed, beam luminosity, interaction cross sections and background rates from additional sources.  Reasonable limits on these processes have been included in the simulations. The focus of this section is to discuss and quantify these and other background issues that go into the simulations.

To set the scale of the problem, consider the extraneous hit density from normal interactions.  The parameters used in the calculation are shown in Table 12 and an estimate of the hit density is shown in Table 13.

| Au+Au Luminosity | 1 x 1027 cm-2s-1 |
| --- | --- |
| dN/d( (min bias) | 170 |
| Min bias cross section | 10 barns |
| Interaction diamond size, σ | 30 cm |

Table 12:  Luminosity and other parameters that determine the particle flux on the HFT.

|  | HFT Outer Layer | HFT Inner Layer |
| --- | --- | --- |
| Radius | 5 cm | 1.5 cm |
| Hit Flux | 4,300 Hz/cm2 | 18,000 Hz/cm2 |
| Hit Density 4 ms Integration | 17/cm2 | 72/cm2 |
| Projected Tracking Window Area | 0.6 mm2 | 0.15 mm2 |
| Probability of Tracking Window Pileup | 10 % | 10 % |
| HFT Hit Resolving Area | 0.001 mm2 | 0.001 mm2 |
| Probability of HFT Pileup | 0.14% | 0.58% |

Table 13:  Integrated hit loading on the HFT and associated pileup.

As shown in the table, the accumulated hit density from the integrated Au+Au collisions is 17/cm2 in the outer layer and 72/cm2 in the inner layer of the HFT.  This produces a pileup probability in the track search window of 10% at both the inner and outer HFT barrels.. The area of the track search window in this case is based on the projection resolution for 1 GeV/c pions as determined from GEANT simulations.  For comparison the unresolved hit pileup intrinsic to the HFT detector is much less, 0.14% and 0.58%,%, for the outer and inner barrel respectively.  This meets our specifications.

The luminosity applied in this case is the maximum instantaneous luminosity that was recorded during the Au+Au run in 2004 (1(1027 cm-2s-1).  This is 5 times the nominal “design luminosity”.  (Design luminosity is defined to be 2 ( 1026 cm-2s-1 averaged over a 10 hour fill.  And for future reference, an instantaneous luminosity of 2(1026 cm-2s-1 is equivalent to an instantaneous ZDC coincidence rate of 2000 Hz.).)  It should be noted that the RHIC beam luminosity starts high and drops with time over the course of a fill. During the RHIC II era, the most important improvements in RHIC luminosity will be longer decay times during the fill, but we also expect an increase in peak luminosity by about a factor of 4. This is important, and so under RHIC II conditions we will have to improve the readout time of the HFT in order to limit pileup in the tracking search window to about 10%.

Table 14 gives the same loading information resulting from a single central Au+Au collision86.  The numbers for a single collision is a factor of 10 less then the integrated load, which demonstrates that an isolated collision is easily tracked by the HFT.

|  | HFT Outer Layer | HFT Inner Layer |
| --- | --- | --- |
| Radius | 5 cm | 1.5 cm |
| Hit Density Au+Au Central Collision | 1.8/cm2 | 7.4/cm2 |
| Projected Tracking Window Area | 0.6 mm2 | 0.15 mm2 |
| Probability of Tracking Window Pileup | 1% | 1.1% |
| HFT Hit Resolving Area | 0.001 mm2 | 0.001 mm2 |
| Probability of HFT Pileup | 0.014% | 0.06% |

Table 14:  Hit loading on the HFT from Au+Au central collisions and associated pileup.

### Measured Hit Density at 6 cm Radius in STAR

We have used SVT data to actually measure the hit density that will contribute to pileup in the HFT.  The SVT is the innermost detector currently available in STAR and it gives the best hit density information close to the interaction point.  This is of interest because it can identify potential background contributions including very low momentum tracks.  As it turned out the measured hit density at the SVT inner layer for central collision triggers is 1 hit/cm2.  This is consistent with the expected track density for central Au+Au collisions with dN/d( = 700, so we see no evidence of additional background beyond the pileup of normal Au+Au events.  This measurement was done at B = 0.25 T, half the normal STAR magnet field, to open the acceptance to lower momentum particles. It would be desirable to use SVT events with a zero bias trigger to have a measure of other background sources such as beam gas showers, but so far our noise suppression filters for the SVT are not sufficient for this task.

Although we do not have a direct measure of beam showering, we do know from studies of space charge distortions in the STAR TPC that at larger radii, 65 cm to 200 cm, the ionization density due to normal Au+Au interactions is larger than other contributions such as beam gas.

# CMOS Sensors

## Introduction

The future STAR physics program requires a fast, thin, detector that can operate in a relatively high radiation dose environment. Our goal is to measure rare charmed decays and to measure flow in the charmed sector.  Since flow is a soft process, the HFT will measure transverse momenta down to 150 MeV/c and this requires a very thin detector in order to maintain precise tracking without degradation by multiple Coulomb scattering. It is difficult to meet all of these requirements using the “usual” techniques currently employed in high energy physics experiments.

One possible technology choice for a vertex detector is Charged Coupled Devices (CCD).  They provide the necessary granularity and can be thinned down to the desired thickness, but these detectors are slow, radiation sensitive and complex to operate.  On the other hand, Hybrid Pixel Sensors, and other sensor concepts, are fast and radiation tolerant but suffer from modest granularity problems and are usually too thick for our application.

The emergence of CMOS sensor technology offers a new perspective on high precision charged particle tracking and vertex finding. This technology can provide the performance parameters required by the HFT.  Recent developments have shown that CMOS technology is capable of excellent spatial resolution and charge collection efficiency, together with satisfactory radiation tolerance.

    - Choice of technology

At this time, there are three good technologies that can be used for a thin vertex detectors: Charge Coupled Devices (CCD), Active Pixel Sensors (APS), and DEPleted Field Effect Transistor structure (DEPFET).  Each of these devices has strengths and weaknesses.  In the process of preparing this proposal, we have evaluated each and selected APS as our choice for the first generation detector.

      - CCDs

At SLAC, the SLD collaboration built and successfully operated a pixel vertex detector, VXD3, based on CCD technology.  As silicon is damaged by radiation and CCDs require that the charge be transferred from one pixel to another, CCDs are more susceptible to radiation than other vertex devices.  Charge in the end row of a CCD chip, for example a 1000 ( 1000 array, must be transferred through more than 1000 pixels before being digitized.  Therefore, any small loss in charge transfer produces large signal loss and signal sharing.  As the SLD vertex detector ran at the relatively low radiation intensity of the SLAC Linear electron Collider (SLC), it could tolerate the radiation environment.  In addition, the complexity of the clocking makes the readout slow.  This was suitable for the SLC where it only had to be operated at 2 Hz.

Because of the high radiation environment and need to have the vertex detector in the trigger, CCDs were not the appropriate choice at the LHC (Large Hadron Collider) at CERN, which has a much higher radiation background than SLC.  At the LHC, the three major experiments decided to use a hybrid technology where the sensor is bump bonded to a read-out chip. The hybrid technology has the disadvantage that the pixel size is much greater than a CCD pixel and that two chips have to be assembled.  The two chips and their interconnection are much thicker than can be done in CCD technology.

CCDs require significant power to clock the charge around the chip.  Consequently, liquid cooling has been required.  For instance, VXD3 used LN2 gas to cool the device.  Because of the ladders operated at a much lower temperature than they were constructed, elaborate mechanical and alignment systems were needed to achieve the excellent resolution of about 30 µm for determining the impact parameter.  An outer heated jacket was needed to prevent condensation.  This cooling system adds extra complication and mass.

Finally, to fabricate CCDs requires a very special process.  This process requires specialized knowledge, is expensive, and requires a long learning curve to become familiar with its details.  Currently, there is a group studying whether the limitations of the process can be overcome to use this technology it at a future electron collider.

      - DEPFET

The MPI Semicondcutor Laboratory has recently invented and has been the pioneering leader in the use of DEPFETs.  Its concept is based on the combination of the sideward depletion, as used in the semiconductor drift detector with a field effect transistor to collect the charge.  The MPI Group has a concept for a detector for the Linear Collider but much development is needed to make a realistic device.  DEPFETs require a very special process and MPI is the only producer of this device so any development must be done with that institute.  It has both the advantage and disadvantage that its process is controlled by physicists.  There has been significant testing in the last years.  This technology is very promising and will be carefully considered for the design of the silicon upgrade to the HFT for RHIC II.

      - Active Pixel Sensors

APS devices have been used as photon detectors since late 1960s.  They have recently surpassed CCDs in the photography market because of their lower cost and less demand for power.  Power consumption is important in a particle detector applications because  a detector that can be air cooled is thinner, by definition, than a detector that requires water cooling.  The IReS group in Strasbourg France has done a great deal of research on these detectors; taking them from small prototypes to large arrays of successful detector elements.  See Table 15.   APS technology is our preferred technology for the HFT and we propose to work with the Strasbourg group to design and build the detector.  The technology will be described in more detail in the next section.

| Chip | Year | Process (µm) | Epi. (µm) | Pitch (µm) | Pixels | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| MIMOSA-1 | 1999 | AMS 0.6 | 14 | 20 | 4k | thick epitaxial layer |
| MIMOSA-2 | 2000 | MIETEC 0.35 | 4.2 | 20 | 4k | thin epitaxial layer |
| MIMOSA-3 | 2001 | IBM 0.25 | 2 | 8 | 32k | deep sub-mm |
| MIMOSA-4 | 2001 | AMS 0.35 | no | 20 | 4k | low dopant substrate |
| MIMOSA-5 | 2001 | AMS 0.6 | 14 | 17 | 1M | real scale 1M pixels |
| MIMOSA-6 | 2002 | AMIS 0.35 | 4.2 | 28 | 3k | fast column parallel readout internal data sparsification |
| MIMOSA-7 | 2003 | AMS 0.35 | no | 25 | 1k | fast column parallel readout internal data sparsification. (photoFET) |
| MIMOSA-8 | 2003 | TSMC 0.25 | ~8 | 25 | 4k | fast column parallel readout internal data sparsificaton |
| MIMOSA-9 | 2004 | AMS 0.35 opto | ~14 | 20 30 40 | 7k | tests diodes/pitch/leakage current |  |
| MIMOSA-9 (no epi) | 2004 | AMS 0.35 opto | no | 20 30 40 | 7k | tests diodes/pitch/leakage current |  |
| MIMOSA-10 (MIMOSTAR-1) | 2004 | TSMC 0.25 | ~8 | 30 | 16k | first prototype for STAR HFT |  |
| MIMOSA-11 | 2005 | AMS 0.35 opto | ~14 | 30 | 7k | radiation tolerant structure |  |
| MIMOSA-12 (Mosaic 1) | 2005 | AMS 0.35 high resistive | no | 35 | 0.6k | multi-memory pixels (FAPS) |  |
| MIMOSA-13 (Mosaic 2) | 2005 | AMS 0.35 high resistive | no | 20 | 1.4k | fast column readout |  |
| MIMOSA-14 (MIMOSTAR-2) | 2005 | AMS 0.35 opto | no | 30 | 16k | second prototype STAR HFT |  |
| MIMOSA15 | 2005 | AMS 0.35 opto | ~14 | 20 30 | 7k | multi-purpose tracker-imager |  |
| SUC 1 | 2003 | AMIS 0.35 | 4.2 | 25 35 | 4k | radiation tolerant structure (SUCIMA project) |  |
| SUC 2 | 2003 | AMS 0.35 | no | 40 | 2k | low dopant substrate (SUCIMA project) |  |
| SUC 3 | 2003 | AMIS 0.35 | 4.2 | 20 | 8k | radiation tolerant structure (SUCIMA project) |  |
| SUC 4 Mtera | 2004 | AMS 0.35 | 14 | 150 | 12.5k | hadrontherapy/beam monitor. (SUCIMA project) |  |
| SUC 5 | 2004 | AMIS 0.35 | 4.2 | 30 | 65k | proton dosimetry (SUCIMA project) |  |

Table 15: Table – Chart of APS chips that the IReS group has produced  []

## Main Features and Performance of CMOS Active Pixel Sensors

CMOS sensors are manufactured in industry-standard CMOS technology.  This offers low fabrication costs and fast turn-around times in their development.  The key element of this technology, for our purposes, is the use of an n-well/p-epi diode to collect the charge, through thermal diffusion, which is generated by the impinging particles in the thin epitaxial layer underneath the read-out electronics (See Figure 38).  An attractive feature of these sensors is that they allow fabrication of System-on-Chips (SoC) by integrating signal processing micro-circuits (amplification, pedestal correction, digitization, discrimination, etc.) on the detector substrate.  Moreover, a CMOS substrate can be thinned down to a few tens of microns because the active region is less than 20 (m thick.

Figure 38: Epitaxial Silicon used as a sensor.  In this design, a primary ionizing particle creates free charges in the epitaxialy grown Si layer that is a few tens of microns thick and a few electrons from the bulk layers.  The liberated charges are then free to diffuse towards a potential well structure at the top of the sensor where they are extracted and readout into a DAQ system.

The ability of these sensors to provide charged particle tracking is now well established and several prototypes, called MIMOSA, have been built by the IReS group in Strasbourg.  The LBL/UCI group has also built and successfully tested these sensors.  The prototype detectors have explored different fabrication processes and key parameters of the charge sensing system, and the results demonstrated that a detection efficiency of ~ 99% and a single point resolution of ~2 (m can be achieved using a pixel pitch of 20 (m.  The prototypes also show that digitizing the charge with a small number of ADC bits does not degrade the resolution significantly (the measured reduction was ~ 2.5–3 (m) and the double hit resolution is ~ 30 (m.

The radiation tolerance of the sensors to bulk damage was also investigated.  No significant performance loss was observed up to fluences close to 1012 neq cm-2.  As far as ionizing radiation damage is concerned, the real potential of this technology is still being explored, but it is already established that it stands up to more than 100 kRad.

Most of the R&D at IReS was performed with small prototypes (a few mm2) containing a few thousand pixels.  Figure 30 shows a full size prototype (i.e. ~3.5 cm2) called MIMOSA-5.  It is composed of ~ 1 million pixels per chip, and it was fabricated on a 6 inch wafer, as shown in Figure 39.  The wafers were thinned down to 120 (m before the chip was cut and diced into individual, reticle sized, detector elements.

Tests at the CERN-SPS confirmed that MIMOSA-5 performed as well as the smaller prototypes: a 99% detection efficiency was observed with ~ 2 (m single point resolution.  The prototypes were operated with a read-out time of 25 ms, which was limited by the maximum operation frequency of the read-out board (i.e. 10 MHz).  The chip was actually designed for about 4 times faster read-out speed.  We have recently tested the chip at the ALS and have measured the expected Landau spectrum.

Figure 39:   Wafer of reticle size sensors (left) and zoomed-in view of individual chips (right).

Table 16 shows how the measured performance of the MIMOSA-5 sensors compare to the specifications of the HFT detector for STAR.

Most of the requirements (granularity, radiation tolerance, thinning, read-out speed, power dissipation, and sensor size) are already satisfied with MIMOSA-5. Some effort is still needed to achieve a higher read-out speed and higher yield during thinning.  Moreover, since the sensors will be operated at room temperature, special attention has to be given to the magnitude of the leakage current in order to keep the corresponding noise at an acceptable level.  This issue has consequences for the read-out time and on the choice of the fabrication technology.

| Parameter | HFT specifications | MIMOSA-5 performance |
| --- | --- | --- |
| Detection efficiency | ( 98% at 30 – 40( C | ~99% ( 20( C |
| Single point resolution | < 10 (m | ~2 (m |
| Granularity (pixel pitch) | 30 (m | 17 (m |
| Read-out time | 4 ms | 24 ms (( 20 ms possible) |
| Ionizing radiation tolerance | 3.7. kRad/yr | ( 100 kRad |
| Fluence tolerance | 2 ( 1010 neq/cm2 | ( 1012 neq/cm2 |
| Power dissipation | ( 100 mW/cm2 | ~10 mW/cm2 |
| Chip size | ~2 ( 2 cm2 | 1.9 ( 1.7 cm2 |
| Chip thickness | (50 (m | 120 (m |

Table 16:  Comparison between MIMOSA-5 characteristics and HFT specifications.

## MIMOSTAR Sensor Design

Based on the results of MIMOSA-5, a new series of chips, MIMOSTAR, have been fabricated  Its most significant design parameters are summarized below:

- Pixel pitch: 30 (m.

- Pixel array: 640 ( 640, i.e. active area of 19.2 ( 19.2 mm2.

- Side band devoted to FEE:  ~ 1.5–1.7 mm wide.

- Chip dimension:  ~ 21 ( 20 mm2.

- Additional details can be found in Ref. [].

Since the read-out speed requirement is modest, the chip’s architecture is based on relatively slow signal processing at the pixel level.  This feature favors moderately low noise and modest power consumption.  On the other hand, high speed signal processing is needed at the chip level (i.e. after amplification and multiplexing) due to the need for short integration times and limited shot noise.   In order to achieve these goals, the chip is subdivided into 10 groups of 64 ( 640 pixels.  Each group is split into two equal size sub-groups, and each of these sub-groups is connected to a common amplifier, which is placed on the outer edge of the chip.  The 2 ( 10 amplifiers operate in parallel in order to achieve a pixel read-out frequency of 2.5 MHz.  A fast multiplexer, driven at a frequency of 50 MHz, will receive the outputs of each of the 10 groups.  As a result, the chip read-out time is approximately 8 ms.

A more ambitious version of the chip is under consideration, where the read-out and multiplexing frequencies are 5 and 100 MHz respectively, thus allowing us to readout the chip in only 4 ms.

The chip is foreseen to include JTAG based remote control functionality (e.g. bias setting, test settings, etc.). The power dissipation of this architecture is estimated to be slightly more than 50 mW (i.e. less than 15 mW/cm2), which can easily be cooled with air flow.

Last year MIMOSTAR-1 was fabricated in the TSMC 0.25 µm process.  The Strasbourg group has shown that the conventional controls work (via the JTAG controller), and that the bias circuits work and exhibit linear response via their DACs.  Finally, the analog performance of the chips has been tested and the gain on the pre-amplifiers is about 3.5 at the two 10 MHz outputs.  However, due to the inherent properties of the TSMC process, the charge collected on the n-diode could hold the collected charge long enough for it to be read out.  We observed a similar effect with another chip designed in collaboration with UCI, which also was fabricated in the TSMC 0.25 process.

Consequently, we decided to switch to the AMS 0.35 process, in which this Active Reset Circuit has already been demonstrated to work.  The new chip, MIMOSTAR-2, has been fabricated, passed 55Fe tests, and then tested in DESY’s 5 GeV electron beam.  A radiation tolerant design and a standard design showed an efficiency greater than 99.7% at a temperature of 40 C  The radiation tolerant design showed a very small increase in noise at 40 C when it was exposed to 23 kRad of 60Co,..

The specifications used to design the chip are shown in Appendix I – MIMOSTAR II Specifications and a detailed guide to using the chip has been completed and is included in Appendix II – MIMOSTAR II Users Guide

We plan to learn from the MIMOSTAR architecture and there will be at least one more prototype run before trying to produce the final chips to be used in the HFT.

Meanwhile, several fabrication processes will be explored, aiming to find the process providing the smallest leakage current.  In general, several parameters underlying the sensor performance parameters depend on features specific to each fabrication process and so the process specific characteristics of the chips need to be explored in parallel with the development of the chip architecture. For instance, a new fabrication technology, relying on a lightly doped substrate but exhibiting no epitaxial layer was investigated with two different prototypes chips.  The IReS tests show that a detection efficiency of 99.9% can be achieved, as well as a single point resolution of about 2.5 (m.  A major advantage of this technology is that a large signal can be generated because the charges are collected from several tens of microns of Si instead of from ~ 10 µm in an epitaxial layer.  This makes it well suited to applications where one experiences substantial electronic noise.

### Thinning

Up to now, tested MIMOSA-5 chips have been thinned down to 120 (m thickness.  This operation was successful and we have not found any degradation of the sensor parameters. In the HFT design, the MIMOSTAR thickness will be 50 (m.  Thinning a 6 or 8 inch wafer down to this thickness is not expected to be a problem since the process is an industry standard technique. We have demonstrated that 50 µm sensors are mechanically stable and can be assembled into ladders.  We have used low-yield MIMOSA-5 wafers to make these investigations and have successfully thinned detectors to 50 µm.

Our colleagues at the LBL light source have just characterized several MIMOSA-5 chips in the ALS’s 1.5 GeV/c electron beam.  These chips will shortly be thinned.  Afterwards, they will be compared with the original test results.

.

## Additional R&D

CMOS sensors have been developed in Strasbourg since 1999 for various applications, which range from vertex detectors for subatomic physics, to bio-medical imaging (e.g. beam monitoring for oncotherapy, dosimeters for brachyotherapy) and operational dosimetry (e.g. control of ambient radon and neutron radiation levels in nuclear plants).

Several application domains call for SoCs providing fast read-out speed (meaning signal treatment and data flow reduction integrated on the chip), high radiation tolerance, minimal material budget and low power dissipation.  Developments for the STAR upgrade will thus benefit from the synergy with the R&D for other applications, in terms of fabrication process exploration, development of fast signal processing architectures, radiation tolerance investigations and improvements.  More information on the activities and achievements of the Strasbourg research team are available in Ref. [].

Starting with a IReS design, the LBNL/UCI group has built several generations of APS sensors.  These devices were built in the 0.25 µm process at TSMC.  These ICs have been tested using different sources, i.e. 55Fe, 1.5 GeV accelerator electrons and a scanning electron microscope.  Figure 40 shows one of the sensors that has 16 different test structures.

Figure 40: An APS Sensors developed by the LBNL/UIC group.  The picture shows 16 separate test structures.   Each structure has a 36 x 36 array of 20 µm pixels.

Our measurements have confirmed the IReS results that APS sensors can measure charged particles with excellent spatial resolution,.  Figure 41 shows several 1.5 GeV electrons recorded at LBNL’s Advanced Light Source.

Figure 41: This graph shows  the results of  one event taken with 1.5 GeV electrons. Each bin represents one pixel and the height is proportional to the measured charge.  Several electrons can be identified in the plot.

To study the effects of radiation, we have exposed the chips to protons at LBNL’s 88” Cyclotron.  Afterwards, we measured the change in leakage current and pulse height.  These results show that there was a modest change with an irradiation of 300 krad.  What was most interesting is that after 6 months, the device self annealed. Therefore, the effect of gradual radiation is much less than that of an acute exposure.  These radiation measurements are complementary to the neutron exposures measured by the IReS group.

We also completed a study on the effects of varying the pixel pitch.  We built and tested a sensor with 5, 10, 20 and 30 µm spacing.  Our tests show that to first order the charge collection was identical when comparing the central pixel to the charge collected on its neighbors..  As the pixel spacing decreases, more total charge is collected.  This observation can be explained by the fact that as pixel spacing becomes smaller, the charge is collected by the diode faster, so there is less time for it to recombine.  This result implies that we can easily extrapolate our measurements at 20 µm spacing to the selected spacing of 30 µm for MIMOSTAR.

While the current design of MIMOSTAR is suitable for this proposal, our group has been looking at several other techniques for a next generation detector.  It is clearly desirable to speed up the readout and reduce the signal spread.

We can increase the fraction of charge collected by a single pixel using the photo-gate technology. In principle, this technology allows us to use a large area photo-gate for charge collection, while not increasing the capacitance, because the charge is collected through a small size gate.  Even though we have demonstrated the sensitivity of the photo-gate structure to X-rays, we have not achieved the expected performance of the device. The transfer time required for moving electrons from the photo-gate to the drain appears to be very long (several ms). We believe this undesirable signal delay is probably consistent with surface traps at the Si02 silicon boundary.  Studies to find a way to avoid this delay are in an SBIR proposal that is currently being considered.

Correlated double sampling (CDS) is a standard technique that is used to remove the fixed pattern noise introduced by the reset transistor. Its main drawback is to require reading out at least two frames, hence doubling the power consumption. To avoid doing CDS, we have produced a clamp circuit that reduces the reset noise by a factor of 3.

Two generations of “active reset chips” have been fabricated and tested.  In this approach the pixel voltage is reset to the empty level with a feed back amplifier potentially reducing fixed pattern noise and the KTC noise associated with a passive reset switch.  Preliminary testing shows some noise reduction, but not the full potential improvement.  We will be making some changes to this circuit and fabricating this in a new sensor design.

To explore how charge is collected on a sensor as a function of position, we tested a device at LBNL’s National Center for Electron Microscopy. Using the scanning electron microscope, we have been able to position the beam on a pixel with precision of about 1 µm.  This allows us to explore algorithms for determining the position of an incoming particle by relating how charge is shared among neighboring pixels.  The results show that we can easily obtain the position of the incoming electron by weighting the charge collected from nearby pixels.

We have also been collaborating with colleagues at UC San Diego on the suitability of using an APS sensor in an electron microscope.  We have been studying the response of electrons from energies of 100 keV to 300 keV.  Results show that single electrons can be detected with a good single to noise ratio.  This technique is well suited for this application overcoming problems with traditional CCDs that suffer radiation damage.  Using APS devices are very appealing for this different type of application.

We have several ideas on how to further improve our device.  We have fabricated a sensor with different diode sizes.  We have used this device to understand the effect of diode size on signal to noise.  The results show that the smallest diode that meets the design rules produces the best signal to noise.  Recently, we submitted an IC design without an epi-layer.  We should be receiving it shortly.  Simulations show that we should be able to collect more charge from the process.  In addition, we are studying ways to reduce the sampling time.   In the current MIMOSTAR design, the sensor is always sensitive to radiation.  We will study a sample-and-hold circuit to see if we can reduce the time window of sensitivity.  If we could gate such a sensor, then pile-up effects of out of time interactions would be eliminated.

Table X Silicon requirements for maximum average Au + Au RHIC luminosity of 7.0 ( 1027 Hz/cm2 or 2.5 nb-1/week

| Ladder active area | 2 cm ( 20 cm |
| --- | --- |
| Pixel size | 30 (m ( 30 (m |
| ~Pixel mapping on the ladder | 640 ( 6400 |
| Minimum operating distance from beam | 1.5 cm |
| Power | (100 mW/cm2 |
| Operating temperature | (30 (C |
| Integration time | (0.2 ms |
| Mean silicon thickness | (100 (m |
| Readout time | (1 ms |
| Efficiency (min I) | (98% |
| Accidental cluster density | (50/cm2 |
| Binary readout, number of threshold bits | 1 or 2 |
| Radiation tolerance | (171 kRad |
| Number of conductors supporting the ladder (10 chips/ladder) | (140 |
| Triggered readout, maximum trigger delay | 2 (s |

These new APS designs are promising but still speculative.  These R&D studies will be done concurrently with the construction of the HFT detector.  If any of these ideas leads to significant improvements, then they can be added to a second-generation vertex detector.

A second generation IC is needed to meet the requirements of RHIC II.  At the higher lumonosities, we need to read-out the chip much faster and have the chip sensitive for a much shorter time.  The goal of our current R&D is to find a sensor that can meet the specifications listed in Table X.

# Data Acquisition and Readout

## Requirements

The data acquisition system is designed to read out the large body of data from the individual sensors, to digitize the signals, to perform data compression, and to deliver the sparsified data to an event building and storage device.  A summary of the requirements is provided in Table 17.

| Total number of pixels | 98 ( 106 |
| --- | --- |
| Number of pixels per chip | 640 ( 640 |
| Pixel Readout rate | 10 ns (100 MHz) 2 x 50MHz / chip |
| Readout time per frame | 4 ms |
| Dynamic range of the ADC | 10 bits |
| Raw data from one sensor using a 10 bit ADC | 1 Gb/s |
| Fixed pattern noise | 2000 e( |
| Noise after Correlated Double Sampling | 10 e( |
| Maximum signal | 900 e( |
| Dynamic range after Correlated Double Sampling | 8 bits |
| Total power consumption | 90 W |

Table 17:  Requirement Summary - constraints for the APS, due to signal expectation, available design process, and mechanics

Digitizing the analog signal on each pixel into a 10 bit digital signal yields approximately 1 Gb/s per sensor chip when read out in 4 ms. Thus, the total front end data rate is ~240 Gb/s.  Clearly the volume of data must be reduced before being passed to the DAQ event builder and written to storage.

Data compression is achieved by performing correlated double sampling (CDS) and then leakage current subtraction, i.e. subtraction of two consecutive frames followed by zero suppression.  CDS cancels out fix pattern and reset noises and reduces 1/f noise. The fixed pattern noise corresponds to the spread of the baseline voltage in all pixels. It has been measured on the MIMOSA-5 chip to be 2000 electrons.   The noise remaining after CDS must be on the order of 10 e( to guarantee an efficiency of greater than 99%.  The maximum signal is estimated from dE/dx calculation and by measuring how the charge spreads over pixels.  The signal can be truncated above 900 e( without compromising either the efficiency or the position resolution, so 8 bits is a sufficient dynamic range for signal storage.  Hit finding and the reduction of the data to addressed clusters then reduces the data to a manageable rate. The use of forced air-cooling on the low mass region of the ladder limits the total power dissipation to about 100 - 150 mW/cm2.

## Architecture

The basic flow of a ladder data path starts with the APS sensors. An HFT ladder has 10 MIMOSTAR MAPS chips with 640 by 640 pixels on each chip.  Each chip is divided in half with two parallel analogue, differential current output buffers.  The chips are continuously clocked at 50 MHz rastering repeatedly through all the pixels connecting them to the output buffer. This operation is continuous during the operation of the MIMOSTAR detectors on the HFT ladder. Analog data is carried from the two 50 MHz outputs in each sensor in parallel on a low mass ladder flex printed circuit board to discrete electronics at the end of the ladder and out of the low mass detector region. This electronics performs current to voltage conversion and contains buffers and drivers for the clocks and other control signals needed for ladder operation. Each MIMOSTAR detector requires a JTAG connection for configuration of the chip, power, ground and a 50 MHz readout clock. These signals and power as well as the analog outputs from the detectors are carried via a low mass twisted pair cable from the discrete electronics at the end of the ladder to the readout electronics located about 1 meter from the HFT ladders. Each ladder and associated readout board are the same and there is one readout board per HFT ladder. A functional diagram of an HFT ladder and a description of the data flow is shown in Figure 42.

Figure 42:  Ladder Layout -  sketch of the readout-topology on a detector ladder.  This figure shows the ten APS and the corresponding current to voltage conversion and driver electronics. The drivers will be located out of the low mass region of the detector and may require additional cooling.

The readout electronics consist of a motherboard and daughter card configuration. A functional block diagram is shown in Figure 43. There are 5 daughter cards per motherboard and each daughter card services 2 of the MIMOSTAR sensors on the ladder. The analog signals are carried to the daughter cards where they are digitized with a 10 bit ADC at 50 MHz. Following digitization, the 10 bit ADC values are passed synchronously to an FPGA for CDS.  Performing CDS and pedestal subtraction requires a data sample to be stored for each pixel of the detector. This drives the need for external RAM on the daughter cards. After CDS and pedestal subtraction, the data can be represented by 8 bits.  The data is then transferred to the motherboard for hit finding and data reduction.

Figure 43:  DAQ Layout: schematic of DAQ system for a single ladder.  Analog data is carried as differential current on the low mass cable at 50 MHz. The signals are driven in parallel over short (~1m) twisted pair cables to the motherboard. Analog to digital conversion, CDS and data reduction are performed in the Motherboard / Daughter cards. The reduced hit data is transferred digitally to the SIU and carried to linux based readout PCs via an optical fiber. Control, synchronization and event ID tagging are accomplished in the Synch/Trigger FPGA on the motherboard.

We are currently investigating methods of hit finding and data reduction for use on the motherboard. A simple high threshold hit read out with the surrounding 8 pixels is our default approach. This can be implemented in an FPGA and run as a pipeline filling the output buffer with ADC and address values. A simple example of an FPGA logic diagram that accomplishes this can be found in Figure 44. Additional methods currently under investigation include summing algorithms around different thresholds and centroid determination by geometric pattern with high and low thresholds. An implementation document using this method of hit finding but saving only the center pixel address of the cluster is attached as an appendix.

Figure 44: A simple cluster finding algorithm  for the HFT detector. ADC data from two MIMOSTAR detector columns + 3 pixels are stored sequentially in an 8-bit wide shift register. The senter pixel of a 3 x 3 pixel window is compared to a high threshold with each clock. If  the threshold is exceeded, the ADC data for the 3 x 3 pixel and the address are stored as a cluster word into a readout FIFO. This method is extendable to allow for multiple simultaneous thresholds and geometric pattern triggers.

The reduced data is then buffered and transferred to the STAR DAQ system over a high speed bi-directional fiber link.  We intend to use the Source Interface Unit (SIU) and Readout Receiver Cards (RORC) developed for ALICE as our optical link hardware to transfer data to and from the STAR DAQ system. These links have been chosen as the primary readout connections for the new STAR TPC FEE. Leveraging existing hardware and expertise in STAR allows for a faster and more reliable design than developing our own custom solution. The complete system consists of a parallel set of ladder readouts consisting of 24 separate chains.

## Data Synchronization, Readout and Latency

The readout of the HFT sensors is continuous and hit and cluster finding is always in operation during the normal running of the detector. The receipt of a trigger initiates the saving of the found clusters into a FIFO for 1 frame (204,800 pixels). The HFT detector as a whole will be triggered via the standard STAR TCD module. Since 4 ms are required to read out the complete frame of interest, the data will be passed to DAQ for event building ~ 4 ms after the trigger is received. In order to service multiple triggers within that 4 ms readout time we will provide multiple buffers that will allow the capture of temporally overlapping complete frames. A functional block diagram of this system is shown in Figure 45.  In this system, the cluster data is fanned out to 5 Event FIFOs. A separate Event FIFO is enabled for a duration of one frame upon the receipt of a trigger from the TCD. Subsequent triggers enable additional Event FIFOs until all of the event FIFOs are full and the system goes busy. The resulting separate complete frames are then passed to STAR DAQ as they are completed in the Event FIFOs. This multiple stream buffering gives a system that can be triggered up to the expected rate of the STAR TPC (approximately 1 KHz) after the DAQ1K upgrade.   This will result in the duplication of some data in frames that overlap in time, but our data rate is low and the duplication of some data allows for contiguous event building in the STAR DAQ, which greatly eases the offline analysis. In addition, synchronization between the ladders/boards must be maintained. The HFT will receive a clock via the standard STAR TCD and will derive it’s internal clocks from the RHIC strobe. We will provide functionality to allow the motherboards to be synchronized at startup and any point thereafter.

Figure 45: Multiple event FIFOs are fed in parallel from the cluster finder. A separate Event FIFO is enabled for one frame upon the receipt of a trigger from the TCD. The resulting separate complete frames are then passed to STAR DAQ as they are completed in the Event FIFOs.

## Data Rates

| Item | number |
| --- | --- |
| bits/address | 18 |
| inner ladders | 6 |
| outer ladders | 18 |
| MIMOSTAR sectors per ladder | 20 |
| ave hits/sector, inner, L = 1027 | 200 |
| ave hits/sector, outer, L = 1027 | 40 |

Table 18: Data rate calculation parameters

We have determined that 10 bits of dynamic range is required to give us sufficient signal to noise given the expected signal sizes and noise. The data rate from each 640 x 640 MIMOSTAR2 detector is thus approximately 1 Gb / sec. The total rate of raw data entering the processing chain in the detector is thus approximately 240 Gb / sec. After CDS, the data can be represented by 8 bits. Pixel addressing within a sector requires 18 bits. The sector-in-ladder address will be accomplished as address words in the data stream. Ladder address will be added at the DAQ receivers. This covers the  address space to map the detector pixel space. Each cluster word stored in the FIFO contains 9 x 8-bit ADC values + 18 address bits for a total of 90 bits. Combining this with the occupancy per layer and the readout rate of 1 KHz gives an event size of 450KB and data rate from the detector of 450 Mb/sec. This is shown graphically in Figure 46. After the ADC data with center cluster addresses for each pixel are read into the DAQ structure, further reductions in the data rate are possible. Centroid fitting on the DAQ receiver processors can significantly reduce the rate at which data is saved to RCF. If the centroid is fit, the ADC data can be discarded and the saved data can be reduced to just a geometric point, reducing the data rate to the order of 90 MB/sec Each HFT frame sent to DAQ for event building will have the data rate shown below.

Figure 46: Data rates at the various stages of the HFT readout chain.

## Prototypes

Several different prototype readout electronics boards have been constructed and tested  that  are very similar to the proposed readout electronics described above. In Figure 47 one can see the prototyping results of a low mass flex PCB on a  prototype ladder with MIMOSA5 detectors.

Figure 47: A prototype ladder showing low mass PCB, MIMOSA5 detectors and driver electronics bonded to a mechanical carbon fiber and reticulated vitreous carbon foam based carrier.

A prototype readout system for reading the MIMOSA5 detectors was also constructed and used. A functional schematic is shown below in Figure 48.

Figure 48: Functional component diagram of the prototype readout system constructed for the readout on a MIMOSA5 based ladder.

One can see the great similarity between what we have constructed for this test and the final readout design. The basic data flow is the same. The details of hit finding and final readout to DAQ are not present in this system but the motherboard / daughter card concept and the ADC FPGA and SDRAM for CDS are present and, for the most part, implemented and working. A photograph showing the motherboard with a daughter card attached is shown in Figure 49.

Figure 49: Prototype motherboard and daughter card used for reading out MIMOSA5 detectors.

This system is working and the basic elements of FPGA based control and de-serialization of the ADC outputs, SDRAM memory interface and CDS are implemented on the daughter cards seen above. These VHDL elements will be used in our final design. The daughter card design above is quite flexible and the same physical boards may be suitable for the HFT readout system.

# Integration with the Experiment

## Mechanical Introduction

Simulations have shown that for good D meson identification in the high track density environment of Au+Au collisions, it is important to minimize the scattering thickness of the beam pipe and the first detection layer.  This requirement has been the primary driver of the current design.  By using APS technology we can use thinned silicon with modest connection requirements to minimize the support electronics and cable thickness. In addition, the low power nature of these devices allows a mechanical design that is air-cooled which helps to minimize scattering material in the track path. Several conceptual  designs have been considered. We present the design that is currently the focus of our investigations.

In recognition of difficulties encountered in a variety of experiments, we are adopting design requirements for rapid insertion and removal of the vertex detector, rapid calibration and calibration transfer and multiple detector copies. By addressing these issues early in the design cycle the requirements can be met without major cost impact.

Our mechanical design makes significant use of carbon composite material, which has nearly the same radiation length as beryllium.  This allows us to take advantage of the extensive work going on at LBNL for the ATLAS pixel detector. This will be a significant advantage when we move into the production phase of the project.

Since the design of the original STAR detector system, there has been significant progress in tools available for mechanical work. Very powerful low cost 3D CAD programs are now available which allow complex modeling with moving parts and direct interfacing to CNC machines and rapid prototyping.  These tools provide the means to tackle the more complex mechanical designs required for rapid insertion and alignment.  The tools are much easier to learn than older software, but because of their newness, there is still a limited base of experienced users to talk to.  The R&D effort to develop fabrication and fixturing methods is allowing us to gain the required expertise with these new tools.

## Support Carriage for Rapid Installation and Removal

We have started to evaluate our design with test structures, detector carrier support elements, and digitizing and readout electronics boards.

A conceptual design has been developed for the support carriage that will permit rapid insertion and removal without moving other detector components.  This system is shown in Figure 50 as it will be positioned for operation in the STAR detector system.  The HFT is a small detector at the center of the STAR system.  An additional layer of tracking (not shown), the SSD, lies out side of the HFT.  Room is left for another detector between the SSD and the HFT that can be added at a later date for improved performance.  As shown, the mechanical support and electronic service for the HFT is located on one end only.  The light weight guide track and support bridge are permanent elements of the HFT design.  The detector system permits shown in the figure allows for rapid removal and replacement while maintaining reproducible position through the use of fully defined kinematic mounts.

Figure 50:  The HFT is shown integrated with the STAR inner detectors cone assembly.

For simplicity several existing STAR structures are not shown.  The SSD and one of the cone supports that is integral to its support  is not shown

A close up view in Figure 51 shows the HFT ladder arrangement.  There are two tracking layers: one at 1.5 cm radius and the other at 5 cm radius.  The ladder design shown in the figure consists of a single thin gull shaped carbon fiber beam with a flex PC cable plus multiple thinned silicon APS detector chips.  Other two layer carbon fiber laminates are being developed which are simpler to construct but pose additional challenges in terms of mechanical integration.

Figure 51:  Close up view of the HFT ladders.

The detector support structure illustrated in Figure 51 shows elements of the kinematic position control assembly.  The detector ladders are arranged in 6 modules with 3 outer layer ladders and 1 inner ladder on each module.  The module is supported on a long structure, shown in green.  The long green structure allows stable support of the ladder while avoiding contact with cabling and other structures that are part of the intermediate tracking system  The brass colored structures provide common tie points for coupling the detector system in a reproducible manner.  A more detailed view of this support system appears in Figure 53 showing the three identical frames (brass colored) that are kinematically joined around the beam pipe using ball on cylinder contacts.

Figure 52:  Detector support structure with kinematic mounts to insure repeatable detector positioning.

The system provides three point kinematic mounts for each of the detector module stalks.  This allows opening of the ladders to pass over the large radius region of the beam pipe during detector insertion and removal. The three multi coupling structures are joined with each other (a total of 6 contact points joining the three structures) again providing a defined reproducible assembly in lockdown while allowing separation for disassembly from around the beam pipe.  Finally there is an additional 3 point kinematic mount on the 3 fold multi coupler to lock it to the STAR support cone.  All the contacts use commercially available balls on cylinder pairs.  Releasable capture mechanisms are required to load the kinematic mounts.  These devices are not shown in the illustrations.

Figure 53:  Kinematic mount structure.

The common tie point joining the HFT detector system to the STAR support cone is illustrated in Figure 54.  The blue-grey piece is the final common tie point for critical mating parts.  It supports the beam pipe wheel structure, the kinematic detector frame, the roll-in rails and joins the HFT detector assembly as a whole to the existing STAR support cone.  This design will allow preassembly and testing of the critical matching pieces prior to final installation into the STAR system.  The final installation requires simply securing the blue-grey piece to the STAR support cone using existing bolt holes.  Note, the card barrel is loosely coupled to the detector cluster giving freedom for the kinematic mount to define final precision positioning.

Figure 54:  The HFT is shown integrated with the STAR inner detectors cone assembly.

For simplicity several existing STAR structures are not shown.  Both the SSD and the cone support are not shown.

### Position Alignment and Calibration

The required position resolution of better than 10 microns is a significant challenge for calibration and alignment.  The detector system is small and so it permits a design with a single kinematic support to define a reproducible position centered on the STAR system.  With the proposed mechanical design the detector system can be moved as a unit between the visual coordinate measuring system and the docking support in the STAR experiment without disturbing the relative HFT ladder positions.  The brass colored structures shown in Figure 53 can be separated and reassembled without changing their relative alignment.  This opening of the structure is necessary both for installation around the beam pipe and for visually accessing the inner layer detector surfaces with the visual coordinate measuring machine.  The detector silicon will be patterned with a fiducial grid in the top aluminum connection layer.  This fine-grained grid will be mapped in 3D with the visual coordinate measuring machine.

The pixel-to-pixel mapping will be preserved through transfer and docking in the middle of the STAR detector system.  The calibration burden by track matching will be limited to determining the 6 parameters defining the location of the vertex detector unit within the other STAR detectors. It is expected that success of this approach will require careful temperature control. Further analysis and measurements will quantify this requirement.

## Ladder Design and Fabrication

One of the ladder designs currently under evaluation is shown in Figure 55.  This structure must be stiff enough to be supported at one end, only, and maintain reliable position stability to better than 10 µm.  The ladder is made up of a 150 µm two ply carbon composite open beam, which is closed with the detector sandwich to make a rigid structure.  The bottom layer of the detector sandwich is an aluminum Kapton cable.  Wire bonds will provide connections between the APS chip and the cable.

It was found with test structures that it is relatively straightforward to make wire bonds on these thinned devices where vacuum chucks maintain the sandwich as a flat firm surface.  Alternate carrier designs are also being investigated.

A method to bond the silicon sandwich has been developed using DuPont Pyralux LF thermally activated acrylic sheet adhesive.  Advantages of using sheet adhesive include fixed bondline thickness and ease of handling. Other bonding methods including low viscosity epoxies are also under investigation.

A complete ladder using silicon-sandwiches has not been produced yet but we have tested fabrication methods that use a uni-layer silicon structure. We have used vacuum chuck fixturing to butt-join chips side by side against a straight edge and have then bonded to Kapton with Pyralux.  This bonded structure was then bonded at room temperature to the carbon beam using Hysol EA9396 aerospace epoxy.  75 µm glass spacer beads were added to the epoxy for the initial test structure to control the bondline thickness. Prior to bonding, both the sandwich and carbon beam are quite flexible and their shape is defined during bonding with vacuum chucks.

A few µm protective polymer, Parylene, will be used to protect the exposed wire bonds and to control the spread of carbon dust. The Parylene coating process is available in the electronics industry.  The coating material is applied at the molecular level by a vacuum deposition process at ambient temperature.  The thickness is well controlled and it is uniform without pinholes, so protection can be achieved without compromising detector thickness.  Application at room temperature avoids introducing stresses that distort the ladder shape.

Figure 55:  Ladder assembly.  The current ladder is composed of a row of 10 thinned APS detectors on top of a matching row of thinned readout chips and a three-layer aluminum Kapton cable.  The silicon cable structure is bonded to a carbon composite v, closing the beam to make a rigid structure.

### Detector Radiation Length

Multiple scattering in the beam pipe and the first inner layer of the vertex detector sets the intrinsic limit of precision for vertex resolution.  The radiation thickness for an inner ladder and the beam pipe is given in Table 19.  The detector ladder is placed at an angle and is quite close to the interaction point so particles pass through the material at varying angles.  This results in path length through the materials that is greater than the thickness.  The average effective thickness is represented in Table 19.

| Material | X0 (cm) | Material thickness ((m) | % X0 |
| --- | --- | --- | --- |
| Beryllium beam pipe | 35 | 500 | 0.14 |
| Aluminum | 9.0 | 10 | 0.007 |
| Silicon | 9.4 | 55 | 0.06 |
| Kapton | 35 | 170 | 0.05 |
| Adhesive | 35 | 85 | 0.024 |
| Carbon Composite | 28 | 174 | 0.062 |
| Total for one ladder |  | 490 | 0.20 |

Table 19:  Materials in the beam pipe and the first detector layer with their radiation length fractions.  For details see Ref. []

### Expected Radiation Exposure

RHIC luminosity projected to 2008 with the assumptions of a 21 week running period and a 60% operating efficiency for Au + Au give a radiation dose of approximately 3.7 kRad/year. This calculation may be found on the web.  The materials that we anticipate using in the HFT detector are the same as used in much higher radiation environments like the Atlas pixel detector. One exception is the acrylic adhesive, which exhibits excellent radiation resistance (Radiation Index ~5). Our structure should not exhibit any mechanical degradation from the absorbed dose.

## Ladder Mechanical Tests

### Load Distortion Tests

Figure 55, and Figure 57 show a prototype of the ladder and detector carrier that we have built.  Figure 56 shows a cross-sectional view of the ladder. The mechanical tests have shown that the stiffness and bending characteristics of the assembly are acceptable.  For these and similar tests, the ladder’s mechanical structure was supported on one end and the surface contours were measured using the vision measuring machine at LBNL with and without a 10 gram end load.  The deflection profile is shown in Figure 58 along with the calculated deflection for a simple triangular closed beam.  The stiffness is within 20% of expectations from an engineering model. The measured fundamental frequency of the ladder is 140 Hz while the engineering model gives a resonant frequency of 135 Hz.  We have also measured the vibrational environment at the STAR detector and it is dominated by low frequencies, ~ 1 Hz, and so we anticipate that the ladder will maintain its position to better than a few microns.

Figure 56: A cross-section of the prototype detector ladder showing its structure and materials composition.

Figure 57: A cross-section of the prototype detector ladder showing its structure and materials composition.

Figure 58: Measured bend of a silicon/carbon composite ladder test structure and the calculated bend shape.  The ladder was rigidly supported at one end with a 10 gram weight placed on the other.

### Thermal Distortion Tests

We are in the process of measuring thermally generated deflections using TV holography.  This tool, available to us, courtesy of the ATLAS Pixel project, provides a rapid visual distortion map on the sub micron scale.  This is proving to be a useful tool for identifying and understanding different design parameters.  Measurements are done on structures thermally isolated in a transparent box (see Figure 59).  This tool will also be used to test the stability of the final detector.

Figure 59:  TV Holography system viewing test ladder in a small transparent wind tunnel.  Inset shows diffraction pattern with color map of the surface displacement.

### Cooling Measurements

In the interest of low mass, the detector system is being designed to use air-cooling for the detector structure in the active tracking volume.  A small wind tunnel has been constructed (see Figure 59) to evaluate the cooling capacity of air and the design of the system.  Measurements with resistive heated ladder test structures and thermocouple readouts show that air velocities on the order of 1 m/s are sufficient to handle power levels of 150 mW/cm2. This setup, with its thermal camera, will be used to check operating silicon-ladder-devices to evaluate localized heating issues.  In addition to cooling tests the wind tunnel is being used to evaluate the vibration stability of the ladder design under the required wind flow conditions.  The amplitude of cooling air driven vibrations in the ladder is measured with non-contact capacitive probes and if necessary specific vibration modes can be monitored with the TV holography system.  The vibration induced by the air cooling gives an acceptable positional location ( of 1.6 µm.  The low mass ladder structure is the critical design element requiring vibration testing, but the full detector structure will be evaluated with this system as well.  Additional information on the cooling studies is available on the web.

## Cabling

Connection to the detector readout chips will be done with an aluminum Kapton cable.  We have recently found a commercial vendor that makes aluminum cables with vias.

Fabrication tests have been done with 0.35 mil aluminum with 1 mil Kapton plus two 1 mil acrylic adhesive layers. Wire bonding tests with this material have been successful.

The cable is part of the ladder and is located underneath the APS detector..  It will carry power, clock, analogue signals and control.

Figure 60 shows the prototype for a HFT readout cable. The prototype is an active cable with a buffer and differential amplifier for each sector of 10 MIMOSA detectors for use in testing the MIMOSA-5 detectors. The final detector readout cable will not have the components shown but will narrower and will be sized to be slightly wider than the detectors themselves to allow wire bonding. The cable in the figure uses a copper conductor on a 25 µm Kapton insulator. The final cable will be a 4-layer low-mass aluminum conductor cable with a radiation length equivalent of 84 µm of Si. The prototype has been successfully tested and is working in our prototype ladder readout system. Additional and more recent information on cable and ladder developments may be found on the web.

Figure 60: A prototype readout cable for the HFT.

Figure 61 shows a mechanical Prototype with 4 MIMOSA-5 detectors glued to the Kapton cable assembly with a thin acrylic film adhesive. The adhesive has a bond line of 50 µm. The MIMOSA is relatively flat in horizontal direction but has a “dish” shape in vertical (y) direction. The magnitude of these distortions is, however, quite small.  The largest deviation from a linear fit in y is only ( 6 µm. This low rate of deformation will allow us to make a minimum number of measurements of the detector positions on the ladders in order to locate the individual pixel position to the required accuracy by a parameterized location function.

Figure 61: Mechanical Prototype with 4 MIMOSA-5 detectors glued to the Kapton cable assembly.

## Beam Pipe

The vertex detector extends the measurement radius to 15 mm from the interaction axis and will require a new small radius beam pipe for STAR.  The design concept for this pipe is shown in Figure 62.

Figure 62:  Beam pipe structure with outer support barrel in the center.

The beam pipe is constructed from 60 mm diameter aluminum tubes that taper down to a 29 mm diameter beryllium beam pipe with 1 mm thick walls.  The central region where the HFT is located is a 29 mm diameter beryllium pipe with a 0.5 mm thick wall.  An exoskeleton made up of an outer tube and the two spoked wheels carries the support load, isolating the thin central tube such that it only has to carry vacuum load.  Central support of the beam pipe system against gravity is provided by securing the exoskeleton structure.  The central portion with the exoskeleton structure is shown more clearly in Figure 63.  The outer shell has been made transparent in the figure to show the inner structure.

Figure 63: View of the beampipe mid-section.

### Minimum Beam Pipe Radius Consistent with Injected Beam

We have chosen a minimum radius for the beam pipe which, now that the RHIC optics have stabilized, is reasonable conservative.  From the standpoint of beam pipe interaction with beam optics, the beam pipe wall should, according to accelerator physicists at BNL, have a minimum radius of 6 ( while 10 ( is very conservative.  ( is the beam envelope at injection.  For STAR at injection the beam emittance is 15 π mrad(mm, (* is 10 m, (( is 10.52 which gives ( = 1.5 mm plus a 5 mm beam offset at injection123,,.  For protons injection ( is smaller and therefore less of a constraint.  We have chosen an inner beam pipe radius of 14.5 mm or ~ 7 (.  This is satisfactory for RHIC operation, however, depending on focusing details this could be the limiting aperture, leaving the HFT vulnerable to uncontrolled beam dumps126.

Beam Pipe Radius - Vacuum Considerations

The dimensions of the beam pipe sets limits on pumping speed and the expected pressure at the center of the interaction region in STAR.  The 1600 mm long central section with a 28 mm diameter joins a larger 58 mm diameter pipe, which extends 3000 mm to the pumping section.  A simple analysis was performed,, which gives a pressure increase at the center in the interaction region of ~ 10-11 torr.  This is the pressure increase above the pressure at the pumping station and it is based on a surface out-gassing rate of 5.3 ( 10-11 W/m2 and a conservative estimate of the pipe conductance128.  This is well within the requirements.  The greatest uncertainty in this estimate is the out-gassing rate, but a factor of 10 greater value is still tolerable.  If an Active NEG coating is used the inner section will be a pumping surface rather than an out gassing surface.

### Supporting Section

The central supporting section will be attached to the existing carbon cone in STAR and will provide the support for the center portion of the beam pipe.  The outer cylinder and spoke section, made of either carbon composite or beryllium, is designed to support the pipe sections extending from either end and constrain them sufficiently that a very thin beam pipe structure can be used in the center region.  This outer cylinder with spokes plus flex sections will isolate the thin central pipe from outside forces so that the central pipe only has to support the vacuum load.  The spokes that couple the extended beam pipe to the outer cylinder are shaped to allow free insertion of the vertex detector into the enclosed center region.  The end view in Figure 64 shows how the detector ladders mesh with the support spokes.

Figure 64:  End view showing the HFT ladders between spokes to the inner beam pipe support.

### Central Beam Pipe Thin Window Section

The current plan for the thin central region is to use a beryllium pipe with a 0.5 mm wall thickness.  It is believed that this will provide the minimum coulomb scattering while maintaining a reasonable structural safety margin.  Preliminary analysis indicates a 50:1 safety margin for buckling.  There is a structure failure limit imposed by the degree of roundness of the cylinder.  A stress analysis indicates that a 1 mm deviation from a cylinder (1 mm difference between major and minor axis of an ellipse) sets a 20:1 safety margin for material failure.

### RF Background from the Wake Field

It is believed that the beam pipe in STAR will be sufficient to suppress wake field signals in the detector to well below the expected signal.  The evidence for this belief comes from experience with the gas jet polarimeter and carbon strip polarimeter located at the 12 o’clock intersection region of RHIC.  These polarimeters have silicon detectors located inside the beam pipe close to the beam and it has been found that a few microns of conductor are sufficient to shield these detectors from the wake field.

The HFT will be located outside the beam pipe and will benefit from the RF shielding this pipe provides.  The pipe will be constructed from at least 500 microns of beryllium.  The maximum beam in RHIC will be 1 ( 109 gold ions per bunch.  This gives a wake field current of 110 mA (counting both beams), which with a 1 µm skin depth will generate a resistive potential drop of only 7 mV.  A more sophisticated calculation should include induction, rise time and skin depth and detector filtering,  since our bandwidth cutoff will be closer to the wake field GHz frequency than the polarimeter detector cutoff.

### Beam Pipe Insertion and Removal

We are currently investigating the removal and insertion of the beampipe. We anticipate replacing the current center section of the STAR beampipe with the components described above.  This will likely entail a period of refit and installation to install the new beampipe after which removal and reinsertion should not be necessary during the normal course of running and detector repair.

### Bake Out

Beam pipe bake out is still under discussion.  It is expected that the same matter NEG coating will be used and there are two possibilities in how this will be treated.   It may either be a minimum bake out to remove primarily water as it is done now with a hot dry nitrogen scrub gas at 150 C to 110 C or it could be a full activation of the NEG coating turning it into a pumping surface.  This later case requires baking at 150 C to 200 C with vacuum.  This could impose additional constraints on beam pipe materials and would require additional thermal isolation from the other detectors.  If it is decided that the less aggressive bake out procedure is adequate then carbon composites can be used in the construction of the beam pipe exoskeleton.  In either case the HFT will be withdrawn during bake out from the operating location to isolate it from the heated beam pipe.

## Compatibility with the SSD and other cone mounted detectors

The HFT will be supported and installed from one end only.  There will be no other detectors requiring support or access at this end.  Other detectors requiring cone support will be outside of the HFT space.  The FTPC on one end will have to be removed to accommodate the HFT and support electronics as shown in Figure 50.

## Compatibility with an Upgraded Inner Si Tracker  Barrel

If the SVT is replaced with a new inner Si Tracker barrel and forward disks for the tracking outside of the SVT then the support structure for the new tracker will be installed from one end of STAR and the HFT will be supported and installed from the opposite end.  This approach is being further developed by our group and the MIT Si barrel group.

# Cost, Schedule and Manpower

## Cost and Schedule

An estimate has been made for the cost and the technically-driven schedule for the HFT.

# Summary

Probing charm quark flow and thermal equilibration at RHIC may prove to be the final step towards the discovery of a Quark Gluon Plasma.  Furthermore, measuring the energy lost by high transverse momentum heavy (c,b) quarks while traversing the medium will help disentangle between energy loss scenarios in cold nuclear matter and in partonic matter.  The HFT is designed to tackle both tasks by precisely measuring open charm hadron yields, spectra and elliptic flow (v2) as well as tagging the electrons produced by high transverse momentum beauty hadrons. The design requirements are fulfilled by having two thin ( ≤ 0.36% radiation length) layers of Active Pixel Sensors (APS) with a position resolution better than 10 (m.  APS technology is the only option that fits these requirements while compromising neither the efficiency nor the readout speed.  Indeed, an APS can be thinned down to 50 (m and their low power consumption allows using air-cooling.  Matching the readout speed required at RHIC will be achieved in two steps, first by building two separate chips, one readout chip mounted on a purely analog sensor, and then by designing one chip combining both analog and digital features.  The mechanical support has been carefully designed so that the detector can be easily retracted.  This feature allows the detector to be externally aligned, repaired and upgraded.  By combining cutting edge sensor and readout technologies with a flexible and robust mechanical design, the HFT will provide the high precision data on heavy flavor hadrons that are crucial to understand the nature of the medium formed in Au+Au collisions at RHIC.

# Appendix I – MIMOSTAR II Specifications

Attached.

# Appendix II – MIMOSTAR II Users Guide

Attached.

# References

# Footnotes

Estimate based on RHIC achieving an average Au + Au luminosity of 1.0 ( 1027 cm-2s-1 for 21 weeks at 60% efficiency.  T. Roser, W. Fischer, A. Drees, H. Huang, V. Ptitsyn, “RHIC Collider Projections (FY2006-FY2008).  July 19, 2005. http:///www.agsrhichome.bnl.gov/AP/RHIC2004/RhicProjections.pdf

The time that a pixel is sensitive to tracks, this determines amount of pileup.

Efficiency after cluster filter on binary threshold information from the detector

To satisfy both the efficiency and accidental requirements it is expected that some off chip cluster analysis will be required.  Depending on signal to noise either one or two thresholds will be needed.

4 year operation at maximum RHIC luminosity for a running period of 21 weeks/year see: W. Fisher, T. Roser, I. Ben-Zvi, A Fedotov, –16-Mar-2005
http://www.phenix.bnl.gov/phenix/WWW/publish/leitch/rhicii-forward/RHIC_II_Luminosity_Roser.pdf

This requirement addresses the radiation thickness of the flex cable that is part of the thin ladder structure.  The current proto-type ladder that uses the MIMOSA5 chips has this many conductors.  At the end of the ladder there can be additional mass for cables, drivers and cooling.

The short integration time allows operation of the pixel detector like any other STAR detector, namely one frame associated with one interaction event only.  The STAR trigger is delivered 1.6 micro seconds following the collision.

# Comments

Add PHENIX reference, here.

We lost the solid line on this figure.  Ask Nu or Ramona.

These are cross references and really should be the primary references, not cross.  Put the cross refs in the figure captions.

We need to update these numbers with noSVT results.  Also update figure 10.

Fabrice suggests that we point out that B Baryons can be tagged with the HFT + TOF (electron +proton.)  Doesn’t work for B meson due to B baryon to B meson decay contamination

Update this figure, if possible.

All of the numbers in this paragraph need to be revised.

Plot needs to be redone and figure caption relabelled with uptodate information.

This table needs to be updated.

This table needs to be updated.  Check with XZB.

We need to present a conclusion to this discussion.  Do we see a signal, or not?  Conclusion about rates or a measurment?

What is this?

Delete this part, incomplete.

Define “search area” here.

Add reference.

Reference!

For now, it is Figure 22.

Add legend to the plot and center the axis labels.

Need to update these numbers

Update table

Update single track efficiency

This argument needs to be recalculated.

Replace with the current number.

Redo the plot

What does the saturation mean?

Update tracking numbers for this plot

Update numbers.

Update numbers.

Why 6 cm? Radius of HFT is 5 cm.

Need to include SVT here.  Probably will need to expand discussion a little.  Need to make sure that SVT was used as a test of the hits but will not be in.

This paragraph is weak.  Howard W. should revise.

This must be checked.

Insert new preprint.

Update to MIMOSTAR-2

Is this statement true?

Update with new information from MINOSTAR-2

Update with new information from MINOSTAR-2

Nerd to give table a real numbe

Need to put in proper table number

Figure needs to be redrawn without the SVT

Will this support be in when the SVT is removed?  Should the SSD be shown in  this figure?

Remove readout chip from the material

Describe how the SSD will be supported and whether things are compatible.

# Endnotes

F. Karsch,. Nucl. Phys. A699, 199c (2002).

K.H. Ackermann et al., Phys. Rev. Lett. 86, 402 (2001).

J. Adams et al., Phys. Rev. Lett. 91, 172302 (2003).

C. Adler et al., Phys. Rev. Lett. 90, 082302 (2003).

J. Adams et al. (STAR Collaboration), Nucl. Phys. A 757, 102 (2005).

J. D. Bjorken, FERMILAB-Pub-82/59-THY.

X. N. Wang, M. Gyulassy, I. Vitev, and B. Zhang, nucl-th/0302077.

D. Schiff, R. Baier, and B. Zakharov, Ann. Rev. Nucl. Part. Sci., 50, 37 (2000).

J. Ashman et al., Phys. Lett. B206, 364 (1988).

J. Ashman et al., Nucl. Phys. B328, 1 (1989).

B.L. Combridge, Nucl. Phys. B151, 429 (1979).

B. Mueller, nucl-th/0404015.

R. Vogt, hep-ph/0203115.0203151.

K.J. Eskola, V.J. Kolhinen and R. Vogt.

P. Levai, B. Mueller, and X.N. Wang, Phys. Rev. C51, 3326 (1995) : P. Levai and R. Vogt, Phys. Rev. C56, 2707 (1997).).

K. Adcox et al., Phys. Rev. Lett. 88, 192303 (2002).

J. Adams et al. (STAR Collaboration), Phys. Rev. Lett. 94, 062301 (2005);  nucl-ex/0407006.

T. Sjostrand et al., Computer Physics Commun. 135, 238 (2001).  PYTHIA 6.152 was used with the parameter settings: MSEL=1, CTEQ5M1. Bottom contribution was estimated to be 20-30% in pT=2-3 GeV/c, 40-50% in 3-4 GeV/c to the total non-photonic electrons, and negligible at lower pT.

R. Vogt, Private Communication.

Batsouli et al., Phys. Lett. B557, 26 (2003).  nucl-th/0212068.

X. Dong,  “Open Charm Production at RHIC” QM2005, nucl-ex/0509038.

J. Adams et al. (STAR Collaboration), Phys. Rev. Lett. 95, 122301 (2005).

J. Adams et al. (STAR Collaboration)., Phys. Rev. Lett. 92, 052302 (2004).

K. Schweda et al., J. Phys. G 30, S693 (2004).

J. Castillo et al., J. Phys., G 30, S1207 (2004).

J. Adams et al., (STAR Collaboration) Phys. Lett. B 616, 8 (2005)

E. Shuryak, Phys. Lett. B78, 150 (1978).

R. Rapp and J. Wambach, Adv. Nucl. Phys. 25, 1 (2000).

R. Rapp, Phys. Rev. C 63, 054907 (2001); R. Rapp, hep-ph/0201101; R. Rapp and J. Wambach, hep-ph/9909229.

U. Heinz and P.F. Kolb, Nucl. Phys. A702, 269c (2002).

H. Sorge, Phys. Rev. Lett. 78, 239 (1997); H. Sorge, Phys. Rev. Lett. 82, 2048 (1999).

C. Adler  et al., (STAR Collaboration), Phys. Rev. Lett. 87, 262301 (2001).

C. Adler  et al., (STAR Collaboration), Phys. Rev. Lett. 89, 132301 (2002).

P. Huovinen et al., Phys. Lett. B503, 58 (2001).

M. Kaneta, J. Phys. G: Nucl. Part. Phys. 30, S1217 (2004).

F. Laue et al. (STAR Collaboration), nucl-ex/0411007, (2004).

X. Dong et al., Phys. Lett.  B597, 328(2004)

Greco, Ko, Rapp, Phys. Lett. B595, 202(2004)

J. Stachel, Nucl. Phys. A654, 119c (1999).

P. Braun-Munzinger, D. Magestro, K. Redlich, and J. Stachel, Phys. Lett. B518, 41 (2001).

P. Braun-Munzinger, K. Redlich, and J. Stachel, nucl-th/0304013.

E. Schnedermann, J. Sollfrank, and U. Heinz, Phys. Rev. C48, 2462 (1993).

P. Braun-Munzinger and J. Stachel, Phys. Lett. B490, 196 (2000).

P. Braun-Munzinger and J. Stachel, Nucl. Phys. A690, 119c (2001).

A. Andronic, P. Braun-Munzinger, K. Redlich, and J. Stachel,. Phys. Lett. B571, 36 (2003).

http://www-h1.desy.de/psfiles/confpap/EPS2003/H1prelim-02-076.ps

http://www-zeus.desy.de/physics/phch/conf/eps03/564/paper.pdf

T.Sjöstrand,. Comp. Phys. Commun. 82, 74 (1994).

A. Andronic et al., Phys. Lett. B571, 36 (2003).

M. Djordjevic, M. Gyulassy, and S. Wicks, Phys. Rev. Lett. 94, 112301(2005); hep-ph/0410372.

Y.L. Dokshitzer and D.E. Kharzeev, Phys. Lett. B519, 199(2001).

N. Armesto, A. Dainese, C.A. Salgado, U. Wiedemann, Phys. Rev. D71, 054027(2005); hep-ph/0501225

S. S. Adler et al (STAR Collaboration),., Phys. Rev. Lett. 91, 072301 (2003).

S. S. Adler et al (STAR Collaboration)., Phys. Rev. Lett. 91, 241803 (2003).

C. Adler et al (STAR Collaboration)Phys. Rev.., Lett. 90, 082302 (2003).

M. Gyulassy and M. Plümer, Nucl. Phys. A527, 641c (1991).

Y. L. Dokshitzer and D. E. Kharzeev, Phys. Lett. B519, 199 (2001).

H. Buesching, (Phenix Collaboration), QM05 proceedings.

J. Dunlop, (STAR Collaboration), QM05 proceedings.

X. Dong, charm production overview, QM05 proceedings.

J. Adams, et al. (STAR Collaboration), Phys. Rev. Lett. 91 (2003) 072304.

S.S. Adler et al. (Phenix Collaboration), Phys. Rev. Lett. 91, 072301(2003).

M. Djordjevic, M. Gyulassy, R. Vogt, and S. Wicks, nucl-th/0507019.

- H. van Hees, V. Greco, and R. Rapp,  nucl-th/0508055.

[Tai1 – ask Nu Xu]

- K. Abe, et al. (Belle Collaboration), Phys. Rev. Lett. 89, 142001(2002).

- S. Baek, P. Ko, J. Lee, and H.S. Song, J. Korean Phys. Soc. 33, 97 (1998).

P.L.Cho and A.K. Leibovich, Phys. Rev. D54, 6690(1996).

F. Yuan, D.F. Aiao, and K.T. Chao, Phys. Rev. D56, 321(1997).

- B.L. Ioffe and D.E. Kharzeev, Phys. Rev. D69, 014016(2004).

M. Djordjevic, M. Gyulassy, R. Vogt, S. Wicks, nucl-th/0507019.

D.E. Kharzeev and K. Tuchin, Nucl. Phys. A753, 316(2005).

- R. Rapp, Phys. Rev. C63, 054907(2001).

X. Dong, P. Sorensen, N. Xu, in preparation, Sept. 2005.

T. Affolder et al., Phys. Rev. D 64, 032002 (2001).

A. Marín et al., J. Phys. G: Nucl. Part. Phys. 30, S709 (2004).

D. Adamova et al. (CERES Collaboration), Phys. Rev. Lett. 91 (2003) 042301

R. Rapp, Phys. Rev. C63, 054907 (2001).

R. Rapp, Pramana 60, 675 (2003).

G. Bunce, N. Saito, J. Soffer, and W. Vogelsang, Annu. Rev. Nucl. Part. Sci. 49, 303 (1999).

M. Karliner and R.W. Robinett, Phys. Lett. B 324, 209 (1994).

I. Bojak and M. Stratmann Phys. Rev. D 67, 034010 (2003).

M. Gluck, E. Reya, M. Stratmann, and W. Vogelsang Phys. Rev. D 63, 094005 (2001).

http://www.star.bnl.gov/protected/spectra/macross/glauber/flow/FlowGlauberCalculations.htm

W. Fischer, RHIC-II workshop, http://www.bnl.gov/panic05%5Fsatellite/

Technical report,  http://www-rnc.lbl.gov/~wieman/HitDensityMeasuredLuminosity.htm

Technical report, http://www-rnc.lbl.gov/~wieman/TrackDensityApr2004.htm

Jim Thomas, Private Communication.

K. Abe, A. Arodzero, C. Baltay, J.E. Brau, M. Breidenbach, P.N. Burrows et al., “Design and performance of the SLD vertex detector: a 307 Mpixel tracking system,” Nucl. Instrum. Methods, vol. A400, pp. 287-343, 1997.

J. Janesick, Scientific Charge-Coupled Devices, SPIE Press, Bellingham, WA, 2001.

C.J.S. Damerell, “Charge coupled devices as particle tracking detectors,” Rev. Sci. Instr., vol. 69, pp. 1549-1573, 1998.

C.J.S. Damerell, “Charge coupled devices as particle tracking detectors,” Rev. Sci. Instr., vol. 69, pp. 1549-1573, 1998.

K.D. Stefanov, “CCd-based vertex detector for the future linear collider”, Nucl. Instru. and Meth. A 549, 93 (2005).

J. Kemmer and G. Lutz, Nucl. Instr. and Meth. A 253, 365 (1987).

G. Lutz, “DEPFET development at the MPI semiconductor laboratory”, Nucl. Instr. and Meth. A 549, 103, (2005).

E. R. Fossum, “CMOS Image Sensors: Electronic Camera-On-A-Chip”, IEEE Trans. On Electron Devices, 44, 1689 (1977).

http://ireswww.in2p3.fr/ires/recherche/capteurs/

R. Turchetta et al., Nucl. Inst. and Meth. A458, 677 (2001).

M. Winter et al., Proc. of the 8th ICATPP, Como Italy (2003).

MIMOSA: Standing for Minimum Ionizing particle MOS Active pixel sensor.

M. Devaux et al., Nucl. Inst. and Meth. A512, 71 (2003).

Technical report, http://www-lepsi.in2p3.fr/~huch/MimoStar181203.pdf

W. Dulinski et al., Proc. IEEE Nuclear Science Symposium, Portland OR. Trans. Nucl. Sci. (2003).

http://www.lbnl.leog.org/thinned_mimosa_testing.htm

Technical report, http://ireswww.in2p3.fr/ires/recherche/capteurs/index.html

H. S. Matis, F. Bieser, S. Kleinfelder, G. Rai, F. Retiere, H.G. Ritter, K. Singh, S.E. Wurzel, H.H. Wieman, and E. Yamamoto, IEEE Trans. on Nucl. Sci. 50, 1020 (2003).

S. Kleinfelder, H. Bichsel, F. Bieser, H. S. Matis, G. Rai, F. Retiere, H. Weiman, and E. Yamamoto,  Proceedings of the SPIE, Hard X-Ray and Gamma Ray Detector Physics IV, July 2002, Vol. 4784, pp 208.

H.S. Matis, F. Bieser, Y. Chen, R. Gareus, S. Kleinfelder, M. Oldenburg, F. Retiere, H.G. Ritter, H.H. Wieman, S.E. Wurzel, E Yamamoto, Nucl. Instr. And Meth. A549, 130 (2005).

S. Kleinfelder, S. Li, F. Bieser, R. Gareus, L. Greiner, J. King, J. Levesque, H.S. Matis(, M. Oldenburg,, H.G. Ritter, F. Retiere, A. Rose, K. Schweda, A. Shabetai, E. Sichtermann, J.H. Thomas, H.H. Wieman, H. Bichsel, LBNL 59121. Submitted to  the Proceedings of Pixel 2005, Bonn, Germany (2005).

S. Kleinfelder, F. Bieser, Y. Chen, R. Gareus, H.S. Matis, M. Oldenburg, F. Retiere, H.G. Ritter, H.H. Wieman, E. Yamamoto, IEEE Trans. Nucl. Sci. 51, 2328 (2004).

N.H. Xuong, A.-C. Milazzo, P. LeBlanc, F. Duttweiler, J. Bouwer, S. Peltier, M. Ellisman, P. Denes, F. Bieser, H.S. Matis, H. Wieman, S. Kleinfelder, In “Sensors and Camera Systems for Scientific, Industrial, and Digital Photography Applications V”SPIE 5301 242, (2004).

http://www-rnc.lbl.gov/~wieman/ADCrange.htm

Technical report, http://www-rnc.lbl.gov/~wieman/RadiationLengthsProposal.htm

http://www-rnc.lbl.gov/~wieman/radiationdoseinapsDulinskiValue.htm

http://doc.cern.ch/yellowrep/2001/2001-006/p1.pdf

http://www.lbnl.leog.org/writeup.htm

Technical report, http://www-rnc.lbl.gov/~wieman/StiffnessLadder1.htm

TV Holography System at LBNL, courtesy of Eric Andersen and the ATLAS project.

Technical report, http://www.lionprecision.com/modular/probes.html

Technical report, http://www.lbnl.leog.org/writeup.htm

Technical report, http://www.lbnl.leog.org/ir prelim writeup.htm

Technical report, http://www.lbnl.leog.org/cable constraints.htm

Technical report, http://www.lbnl.leog.org/crossing_lines_measurement_first_look.htm

Steve Peggs and Steve Tepikian, Private Communication.

S. Tepikian,. Twiss functions and beam sizes of the RHIC intersection. RHIC/AP25 (1994).

Technical report, http://www-rnc.lbl.gov//~wieman/BeamPipeRadiusLimitsRHICAP25.htm

Technical report, http://www-rnc.lbl.gov/~wieman/WolframFisherApertureNote.htm

Technical report, http://www-rnc.lbl.gov/~wieman/BeamPipeVacuumShortAns.htm

John O’Hanlon, A User’s Guide to Vacuum Technology.  John Wiley and Sons, second edition (1989).

Seth Wieman, Private Communication.

Technical report, http://www-rnc.lbl.gov/~wieman/TopThinPipeAnalysis.htm

Sandro Bravar, Private Communication.

Dan Weiss, Private Communication 30-Nov-2004.