# Review of Content Standard

# Quantities and Units
(ISO 31:1992)

# September, 2005

  - This review is intended to assess the potential utility of content standards for use and potentially for inclusion in an ISO 11179-based metadata registry. The review is directed primarily toward the utility of the standard itself, rather than to matching the standard with specific agency programs. The review covers issues such as the subject area, currency, quality, authority, and acceptance of the standards. These are factors that need to be taken into account no matter what the programmatic application of the standard may be.

## 1. Summary

International Standard ISO 31 (Quantities and units, International Organization for Standardization, 1992) is the most widely respected style guide for the use of units of measurement, and formulas involving them, in scientific and educational documents worldwide. In most countries, the notations used in mathematics and science textbooks at schools and universities follow exactly the guidelines given by ISO 31.

This standard gives general information about principles concerning physical quantities, equations, quantity and unit symbols, and coherent unit systems, especially the International System of Units, SI, including recommendations for printing symbols and numbers. Annex A includes a guide to terms used in names for physical quantities, Annex B a guide to the rounding of numbers, Annex C international organizations in the field of quantities and units.

## 2. Identification of Standard

### 2.1. Title

Quantities and units

### 2.2. Acronym

ISO 31:1992

### 2.3. Web page(s), Identifier, or Contact Information:

### 2.3.1 Web page(s)

http://www.iso.ch/iso/en/CatalogueDetailPage.CatalogueDetail?CSNUMBER=3621&ICS1=1&ICS2=60&ICS3=&scopelist=

### 2.3.2 Identifier

ISO 31:1992

### 2.3.3 Contact Information

International Organization for Standardization (ISO)

http://www.iso.org/iso/en/ISOOnline.frontpage

### 2.4 Authority

2.4.1 Creator

International Organization for Standardization (ISO)

TC 12, Quantities, units, symbols, conversion factors

Secretariat: SIS

Secretary: Mr. Anders J. Thor

Chair: Mr. Gunnar Petersson (Sweden) until end 2006

2.4.2. Acceptance as authoritative

The International System of Units (abbreviated SI from the French phrase, Système International d'Unités) is the most widely used system of units. It is the most common system for everyday commerce in the world, and is almost universally used in the realm of science.

In 1960, SI was selected as a specific subset of the existing Metre-Kilogram-Second systems of units (MKS), rather than the older Centimetre-Gram-Second system (CGS). Various new units were added with the introduction of the SI and at later times. SI is sometimes referred to as the metric system, especially in the United States, which has not widely adopted it, and in the United Kingdom, where conversion is only partial. SI is a specific canon of measurements derived and extended from the Metric system; however, not all metric units of measurement are accepted as SI units.

### 2.5 Publisher

International Organization for Standardization (ISO)

Much of the material in ISO 31 comes originally from Document IUPAP-25 of the Commission for Symbols, Units and Nomenclature (SUN Commission) [3] of the International Union of Pure and Applied Physics

Some of the material in ISO 31 originates from the Interdivisional Committee on Terminology, Nomenclature and Symbols [4] of the International Union of Pure and Applied Chemistry

### 2.6 Language(s)

### This standard is available in both French and English.

### 3. Content description

### 3.1 Subject area of content and area of application

ISO 31 covers only physical quantities used for the quantitative description of physical phenomena. It does not cover conventional scales (e.g., Beaufort scale, Richter scale, colour intensity scales), results of conventional tests, currencies, or information content. The presentation here is only a brief summary of some of the detailed guidelines and examples given in the standard.

Physical quantities can be grouped into mutually comparable categories. For example, length, width, diameter and wavelength are all in the same category, which is they are all quantities of the same kind. One particular example of such a quantity can be chosen as a reference quantity, called the unit, and then all other quantities in the same category can be expressed in terms of this unit, multiplied by a number called the numerical value. For example, if we write

the wavelength is λ = 6.982 × 10−7 m

then "λ" is the symbol for the physical quantity (wavelength), "m" is the symbol for the unit (metre), and "6.982 × 10−7" is the numerical value of the wavelength in metres.

More generally, we can write

A = {A} · [A]

where A is the symbol for the quantity and {A} symbolizes the numerical value of A if it is expressed using the unit [A]. Both the numerical value and the unit symbol are factors and their product is the quantity.

The value of a quantity is independent of the unit chosen to represent it. It must be distinguished from the numerical value of the quantity that occurs when the quantity is expressed in a particular unit. The above curly-bracket notation could be extended with a unit-symbol index to clarify this dependency, as in {λ}m = 6.982 × 10−7 or equivalently {λ}nm = 698.2. In practice, where it is necessary to refer to the numerical value of a quantity expressed in a particular unit, it is notationally more convenient to simply divide the quantity through that unit, as in

λ/m = 6.982 × 10−7

or equivalently

λ/nm = 698.2.

This is a particularly useful and widely used notation for labeling the axes of graphs or for the headings of table columns, where repeating the unit after each numerical value can be typographically inconvenient.

3.2 Kind of content

## Typographic conventions

### Symbols for quantities

- Quantities are generally represented by a symbol formed from single letters of the Latin or Greek alphabet.

- Symbols for quantities are set in italic type, independent of the type used in the rest of the text.

- If in a text different quantities use the same letter symbol, they can be distinguished via subscripts.

- A subscript is only set in italic type if it consists of a symbol for a quantity or a variable. Other subscripts are set in upright (roman) type. For example, write Vn for a "nominal volume" (where "n" is just an abbreviation for the word "nominal"), but write Vn if n is a running index number.

### Names and symbols for units

- If an internationally standardized symbol exists for a unit, then only that symbol should be used. See the SI article for the list of standard symbols defined by the International System of Units. Note that the distinction between uppercase and lowercase letters is significant for SI unit symbols. For example, "k" is the prefix kilo and "K" stands for the unit kelvin. The symbols of all SI units named after a person start with an uppercase letter, as do the symbols of all prefixes from mega on upwards. All other symbols are lowercase; the only exception is litre, where both l and L are allowed.

- Symbols for units should be printed in an upright (roman) typeface.

### Numbers

- Numbers should be printed in upright (roman) type.

- Numbers consisting of long sequences of digits can be made more readable by separating them into groups, preferably groups of three, separated by a small space. ISO 31-0 specifies that such groups of digits should never be separated by a comma or point, as these are reserved for use as the decimal sign.

- ISO 31-0 specifies that the decimal sign is the comma on the baseline, but recognizes that in English documents a dot on the line is also commonly used.

- For numbers whose magnitude is less than 1, the decimal sign should be preceded by a zero.

### Expressions

- Unit symbols follow the numerical value in the expression of a quantity.

- Numerical value and unit symbol are separated by a space. This rule also applies to the symbol "°C" for degrees Celsius, as in "25 °C". The only exceptions are the symbols for the units of plane angle degree, minute and second, which follow the numerical value without a space in between (for example "30°").

- Where quantities are added or subtracted, parenthesis can be used to distribute a unit symbol over several numerical values, as in

T = 25 °C − 3 °C = (25 − 3) °C

P = 100 kW ± 5 kW = (100 ± 5) kW

(but not: 100 ± 5 kW)

d = 12 × (1 ± 10−4) m

- Products can be written as ab, a b, a⋅b, or a×b. The sign for multiplying numbers is a cross (×) or a half-heigh dot (⋅). The cross should be used adjacent to numbers if a dot on the line is used as the decimal separator, to avoid confusion between a decimal dot and a multiplication dot.

- Division can be written as , a/b, or by writing the product of a and b−1, for example a⋅b−1. Numerator or denominator can themselves be products or quotients, but in this case, a solidus (/) should not be followed by a multiplication sign or division sign on the same line, unless parentheses are used to avoid ambiguity.

Mathematical signs and symbols

A comprehensive list of internationally standardized mathematical symbols and notations can be found in ISO 31-11.

### 3.3 Audience(s)

Scientists and researchers worldwide.  In most countries, the notations used in mathematics and science textbooks at schools and universities follow exactly the guidelines given by ISO 31.

### 3.4 Related Standards/3.5 Standards Dependencies

See CMAP “Relationships of Standards and Guidance Documents for SI Units”

3.6 Content Quality

High.

### 4. Currency of Content

### 4.1 Date

1992

### 4.2 Versions, Updates

The last published version was published in 1992.  The current revision has reached the decision review stage (90.92) as of 1999-12-22.

### 4.3 Currency

The wikipedia states: “A second, older and today less widely known international standard on quantities and units is IEC 27. There are plans to merge these two standards in the next edition of ISO 31.”  ref: http://en.wikipedia.org/wiki/ISO_31

5. Acceptance

International Standard ISO 31 (Quantities and units, International Organization for Standardization, 1992) is the most widely respected style guide for the use of units of measurement, and formulas involving them, in scientific and educational documents worldwide. In most countries, the notations used in mathematics and science textbooks at schools and universities follow exactly the guidelines given by ISO 31.

### 6. Content details

### 6.1 Size statistics (estimated)

The standard comes in 14 parts:

ISO 31-0: General principles

ISO 31-1: Space and time

ISO 31-2: Periodic and related phenomena

ISO 31-3: Mechanics

ISO 31-4: Heat

ISO 31-5: Electricity and magnetism

ISO 31-6: Light and related electromagnetic radiations

ISO 31-7: Acoustics

ISO 31-8: Physical chemistry and molecular physics

ISO 31-9: Atomic and nuclear physics

ISO 31-10: Nuclear reactions and ionizing radiations

ISO 31-11: Mathematical signs and symbols for use in the physical sciences and technology

ISO 31-12: Characteristic numbers

ISO 31-13: Solid state physics

Numbers of pages varies.

### 6.2 Format / Schemas(s)

Paper and pdf versions are available.

### 6.3 Media / Download

Available as a pdf file from http://www.iso.ch/iso/en/CatalogueDetailPage.CatalogueDetail?CSNUMBER=3621&ICS1=1&ICS2=60&ICS3=&scopelist=

### 6.4 Licensing Issues/6.5 Documentation

ISO standards are available for purchase online. ISO 1000 along with all parts of ISO 31 are available in book form as

ISO Standards Handbook: Quantities and units. 3rd ed., International Organization for Standardization, Geneva, 1993, 345 p., ISBN 92-67-10185-4, 182.00 CHF. http://www.iso.ch/iso/en/prods-services/otherpubs/Handbooks.PublicationList?CLASSIFICATION=HANDBOOKS

| Quantities and units -- Part 0: General principles Edition: 3 (Monolingual) Number of pages: 21 Technical committee / subcommittee: TC 12; ISO Standards ICS: 01.060 Status: Published standard Current stage: 90.92 Stage date: 1999-12-22 Size Price ISO 31-0:1992 PDF version (en) 4738 KB CHF 99,00 ISO 31-0:1992 PDF version (fr) 2950 KB CHF 99,00 ISO 31-0:1992 paper version (en) CHF 99,00 ISO 31-0:1992 paper version (fr) CHF 99,00 |  |  |
| --- | --- | --- |