# PART I - THE SCHEDULE

SECTION C - STATEMENT OF WORK (SOW)

Table of Contents

PART I - THE SCHEDULE	1

BACKGROUND:	3

1.0	BASELINE REQUIREMENTS	4

1.1	CONTRACT MANAGEMENT	4

1.1.1	 Financial Management	4

1.1.2	Configuration Management	5

1.1.3	Property Management	5

1.1.4	Data Management	5

1.1.5	Technical Data Management	6

1.1.6	Performance Measurement and Reporting	6

1.2	FACILITY MAINTENANCE AND OPERATION	6

1.2.1	Facility Maintenance	7

1.2.2	Facility Operations	7

1.3	DATA AND SOFTWARE SYSTEMS	7

1.3.1	Information Technology (IT)	8

1.3.2	Software Tools System Administration	8

1.4 	SAFETY AND MISSION ASSURANCE	8

1.4.1	Safety and Environmental Health	8

1.4.2	Reliability and Maintainability	9

1.4.3	Electrical, Electronic, and Electromechanical (EEE) Parts Control Plan	9

1.4.4 	Quality and Product Assurance	9

1.4.5	Government Source Inspection	9

1.4.6	Reserved	9

1.4.7	Traceability	10

1.4.8	Product Identification	10

1.4.9	Calibration	10

1.4.10	Pressure Vessels and Pressurized Systems	10

1.4.11	Government and Industry Data Exchange Program (GIDEP) and NASA Advisory Problem Data Sharing and Utilization Program Documentation and Reporting	10

1.4.12	 Problem Reporting and Corrective Action (PRACA)	11

1.4.13	Software Quality Assurance	11

1.4.14	Nonconformance Records	11

1.5 	LOGISTICS	11

2.0	INDEFINITE DELIVERY INDEFINTE QUANTITY (IDIQ) REQUIREMENTS	12

2.1	TECHNICAL SERVICES	12

2.1.1  Testing and Training	12

2.1.2 	Engineering Assessments	12

2.1.3 	Facility Modifications	12

2.1.4 	Website Development	12

2.1.5	Database Development	13

2.1.6   Astromaterials Research and Exploration Science	13

2.2	ANALYSIS	14

2.2.1 Analytical Capability	15

2.2.2	Analytical Products	15

2.3	HARDWARE AND SOFTWARE PRODUCTS	15

2.3.1 	Product Development	16

2.3.2  Flight Hardware and Software Certification	16

2.4	SAFETY AND MISSION ASSURANCE	16

2.5	EDUCATION, COMMERCIALIZATION, AND TECHNOLOGY OUTREACH	16

3.0	LEVEL-OF-EFFORT (LOE) REQUIREMENTS	17

3.1 TECHNICAL SERVICES	17

3.1.1	First Article Development	17

3.1.2	Engineering Tasks	17

3.1.3 	Flight Experiments	18

3.1.4	Mission Support	18

3.1.5	Technical Reviews, Boards and Panels	18

3.1.6 	Anomaly Analysis	18

3.2	ASTROMATERIALS CURATION	18

3.3	RESEARCH AND DEVELOPMENT	19

3.3.1  Special Projects	19

ENGINEERING AND SCIENCE CONTRACT (ESC)

STATEMENT OF WORK (SOW)

# BACKGROUND:

The Engineering and Science Contract (ESC) is a contract for support of the broad range of activities in the Engineering Directorate (EA) and the Astromaterials Research and Exploration Science Office (ARES) at the Johnson Space Center (JSC).

The Engineering Directorate provides products and technical services related to human operations in space through development and integration of a broad spectrum of engineering requirements. This includes providing technical expertise, investigative and analytical skills, and program experience. Co-location of laboratories, test, simulation, and manufacturing facilities provides for:

- Human Spacecraft Flight and Flight Development products

- Human Exploration Mission Planning for the Agency

- Institution Support Services

- Technology Development, Application and Transfer

ARES is part of JSC's Space and Life Sciences Directorate and provides curatorial services for astromaterials collections.

ARES develops and operates world-class state-of-the-art laboratories, conducts extensive research on planetary materials and processes, as well as on the space environment, and provides dissemination of data to the scientific and academic communities through various media forums. ARES participates in a variety of NASA planetary missions, involving scientific interaction with other NASA Centers, in addition to supporting the Space Shuttle and Space Station programs at JSC.

The following statement of work defines the tasks to be performed by the contractor.  The contractor shall be responsible for the overall successful performance of the ESC contract, and shall provide all necessary resources to meet contract requirements.  All work completed under this contract shall comply with requirements contained in the applicable documents delineated in Section J, Attachment J-1, Applicable Documents.

# 1.0	BASELINE REQUIREMENTS

## 1.1	CONTRACT MANAGEMENT

The contractor shall develop and implement management functions to ensure that all Baseline (BL), Indefinite Delivery, Indefinite Quantity (IDIQ), and Level of Effort (LOE) work activities are accomplished in accordance with contract provisions. The contractor shall accomplish these management functions through management approach, organization, and controls that are determined by the contractor to be optimum. The contractor shall provide and maintain management systems for the planning, organization, control, and reporting of all activities required by this contract. These systems shall assure accomplishment of program technical and schedule requirements, and cost objectives.

The contractor shall provide a Contract Management Plan, and shall perform in accordance with Data Requirement Description (DRD) 001, which defines and integrates contract work activities and requirements including BL, IDIQ, and LOE across the contract, including subcontractor effort.  The contractor’s management structure shall fully integrate all related plans, including those of subcontractors and vendors.

The contractor shall provide and maintain a Work Breakdown Structure (WBS) in accordance with DRD 002, Work Breakdown Structure and Dictionary.  This WBS shall serve as the framework for contract planning, budgeting, cost reporting and schedule status reporting to the Government.

The contractor shall conduct monthly Contract Management Reviews (CMRs) to status the contractor’s financial and technical activities under the contract.  Content of CMRs shall include: technical issues and accomplishments, analysis of cost and schedule performance data, and review of corrective actions plans in accordance with DRD 003, Contract Management Report.

### 1.1.1	 Financial Management

The contractor shall provide financial reporting by cost element and include subcontractor financial data.  The contractor shall provide supplemental reporting including: resource planning; cost reporting; geographical economic impacts assessments; invoicing; and disclosure requirements.  The contractor’s financial reporting shall be submitted in accordance with the DRD 004, Financial Management Report.

### 1.1.2	Configuration Management

The contractor shall develop and implement a Facility Configuration Management Plan in accordance with DRD 005, which includes: identification, control, verification, documentation of configuration and accountability for facility systems. The contractor shall develop and implement a Flight Products Configuration Management Plan in accordance with DRD 007 which includes: hardware, software and firmware; engineering drawings; hardware parts lists; as-designed vs. as-built vs. as-qualified hardware accounting and maintenance; limited shelf life; limited operational life; and time cycle life documentation and tracking.  The contractor shall prepare and coordinate configuration control board directives, waivers, and deviations, and maintain accurate, complete, and current configuration management data.

The contractor shall conduct monthly status meetings to review the implementation of the configuration management plan and to status the resolution of configuration management corrective actions or problems.

### 1.1.3	Property Management

The contractor shall provide, and implement, a Property Management Plan in accordance with DRD 008.  The contractor shall perform on-site property management and administration of all property acquired by or in possession of the contractor and subcontractors associated with the execution of this contract.  The contractor shall identify the assets in Attachments J-3 and J-4 that are excess or obsolete, and initiate action for disposition.  The contractor shall provide logistics reporting in compliance with DRD 022.

### 1.1.4	Data Management

The contractor shall develop and implement a Data Management Plan in accordance with DRD 009.  This plan shall describe the management, preparation, control, and dissemination of data required under this contract.  This plan shall define an integrated approach for data management including management of documentation.

The data management plan shall include provisions for electronic on-line access to contractor management systems including access and interface requirements. The contractor shall provide the Government with training required to access and use these systems.

### 1.1.5	Technical Data Management

The contractor shall provide technical data management, which provides for: direct interface with Government systems; real time secure access to contractor technical data; and concurrent engineering capability with real time interaction between NASA and contractor data systems.

### 1.1.6	Performance Measurement and Reporting

The contractor shall develop and implement a Performance Measurement System (PMS) in accordance with DRD 010.  The level of detail for the system shall be consistent with the maturity and stability of the project elements. The contractor shall define specific metrics and the correlation of those metrics to specific contract requirements.  In addition, the contractor’s performance measurement system shall define specific measurements of management effectiveness.  Performance measurement reporting is also required on subcontracts that, based upon risk, schedule criticality, or dollar value, have the potential to impact the successful fulfillment of this contract.  The contractor shall develop, maintain, and report safety, cost, schedule, and technical performance metrics, which effectively indicate the level of the contractor’s performance against the contract requirements.

A summary of the PMS report will be provided at the monthly CMR.  The contractor shall provide NASA direct electronic access to the contractor PMS system. Technical issues and accomplishments, analysis of cost and schedule performance, and corrective actions in problem areas shall be provided.  The PMS shall include and report Earned Value measurements.

## 1.2	FACILITY MAINTENANCE AND OPERATION

The contractor shall maintain and operate the facilities, at the operational status identified in Section J, Attachment J-14, EA/SA Facility Matrix in compliance with EA-WI-024 General Operating Procedures Manual for EA Testing Facilities.  Facility requirements include: flight and non-flight test operations; training; laboratory activities; research activities; curation activities, fabrication, hardware and software development, and certification and processing of prototype and flight hardware.  The contractor shall be responsible for planning and scheduling facility functions to meet the needs of all facilities identified in Section J, Attachment J-14, EA/SA Facility Matrix.

The contractor shall provide all necessary resources required to meet and verify facility operational readiness and production requirements for the contract customer base which includes:  mechanical; electronic; electrical; electromechanical; chemical; structural; vibration; hypervelocity; EMI; thermal (active and passive); human rated thermal vacuum; pyrotechnic; biological; life-cycle; chemical analyses; robotic crew training; materials evaluation, testing and inspection; repair and certification of instrumentation and pressure system hardware; mechanical hardware and electronics fabrication, and operation of unique and complex scientific instruments.

### 1.2.1	Facility Maintenance

The contractor shall provide preventative, routine, and reparative maintenance for property associated with facility systems identified in Section J, Attachment J-14, EA/SA Facility Matrix.

The contractor shall operate, administer and maintain the computational, analytical, data and control systems and Government owned networks in support of facilities. This includes: mainframes; mini computers; servers; workstations (including laptops); software, and applications (including COTS and non-COTS); instrumentation; acquisition and control systems; and associated support equipment as identified in Section J, Attachment J-3, Installation Accountable Equipment and Facilities. The contractor shall assure system readiness to achieve test, laboratory, training, and computational analysis requirements.

### 1.2.2	Facility Operations

The contractor shall perform all necessary facility operations defined in Section J, Attachment J-14, EA/SA Facility Matrix.  Tasks include: integration of requirements; verification of operational readiness; test buildup including flight and non-flight test hardware, preparation of hardware and software interface equipment, instrumentation, and control systems; new procedure and process development; maintenance of facility work instructions, databases and websites; identification and control of hazards, conduct of operations in hazardous environments which include human rated test operations, extreme temperatures, gaseous and liquid oxygen, gaseous hydrogen, carbon monoxide, nitrogen, cryogenics, high pressure gas systems and toxic materials such as anhydrous ammonia; and mitigation of hazardous conditions.  The contractor shall provide test data packages for all test performed.

## 1.3	DATA AND SOFTWARE SYSTEMS

The contractor shall maintain, operate, and secure data and software systems which provide for the management, collection, preparation, publication, control and dissemination of information and technical data required by this contract.  Proprietary or non-standard applications, protocols, or IT systems shall not be utilized without prior NASA contractual authorization.

### Information Technology (IT)

The contractor shall develop and implement uniform IT management and operational approaches for all IT associated with this contract.  The contractor shall develop and implement an IT Capital Planning and Investment Control Process in accordance with DRD 011, Information Technology Capital Planning and Investment Control (CPIC) Document.  IT management shall extend to all IT areas including facility equipment, software, networks, and IT Data.

All contractor IT system administrators shall be certified by receiving a NASA System Administration Security Certificate.  Certification is granted upon achieving a score above the certification level on both an Operating System test and the Network and Internet Security Test.  The Certification earned under this process will be valid for three years.  The NASA Chief Information Officer has established the criteria for this skills assessment.  The objectives and procedures for this certification can be obtained by contacting the IT Security Awareness and Training Center.  For the purposes of this requirement, a system administrator is defined as one who provides IT services, network services, files storage, web services, and takes or assumes the responsibility for the security and administrative controls of that service or machine.

### 1.3.2	Software Tools System Administration

The contractor shall maintain and administer Installation Accountable software as defined in Section J, Attachment J-15 EA/SA Software Tools Matrix.  The contractor shall provide and maintain documentation of software configurations.  The contractor shall provide problem resolution to users of these systems.

## 1.4 	SAFETY AND MISSION ASSURANCE

### 1.4.1	Safety and Environmental Health

The contractor shall ensure the protection of personnel, property, equipment, and the environment.  The contractor shall comply with NASA policies and requirements and federal, state, and local regulations for safety, health, environmental protection, and fire protection.  The contractor shall develop and implement a Safety and Health Plan in accordance with DRD 012.   Health and safety reporting requirements shall include an annual Safety and Health Program Self-Evaluation, Monthly Safety and Health Metrics Report, and Lessons Learned reporting in accordance with DRD 013, DRD 014, and DRD 015.

The contractor shall develop and implement risk management techniques (including risk assessment) to be applied to hazards derived from analyses of activities and products for eliminating or controlling hazards as specified in NASA policies and requirements for hazard reduction.

The contractor shall comply with JPG 1700.1, “JSC Safety and Health Handbook” which provides detailed requirements and instructions regarding safety and health procedures and policies at JSC.

### 1.4.2	Reliability and Maintainability

The contractor shall comply with reliability and maintainability requirements contained in the applicable documents delineated in Section J, Attachment J-1, Applicable Documents.

### 1.4.3	Electrical, Electronic, and Electromechanical (EEE) Parts Control Plan

The contractor shall provide an EEE Parts Control Plan in compliance with SSP 30312 “Electrical, Electronic, and Electromechanical (EEE) and Mechanical Parts Management and Implementation Plan for Space Station Program” as specified in DRD 016.

### 1.4.4 	Quality and Product Assurance

The contractor shall develop and implement a quality management system, which complies with ANSI/ISO/ASQ Q9001-2000, Quality Management Systems.

The contractor shall perform quality assurance and quality engineering for all hardware and software designed, developed, manufactured and tested under this contract.  The contractor shall develop and maintain a Quality Plan in accordance with DRD 017.

For on-site, the contractor shall comply with the JSC Quality Management System as applicable to the activities performed.  The contractor shall respond to JSC internal and ISO Registrar audits and prepare Corrective Action responses.

Workmanship shall be in accordance with the NASA-STD-8739 series, IPC s and ANSI/ESD S20.20-1999.

### 1.4.5	Government Source Inspection

The contractor shall submit procurement documents to the designated NASA quality representative for determination of the need for Government Source Inspection (GSI) prior to release of the procurement.

### 1.4.6	Reserved

### 1.4.7	Traceability

A system shall be in place to ensure identification of all materials/products whether separately produced discrete items, or material produced in batches, to ensure traceability to the original source/manufacturer and to determine verification status (e.g., materials have been tested and inspected as required by material specification).  This system shall be maintained throughout the life of this contract, including: material/product receipt; all stages of production; delivery; and installation.   Manufacturer’s chemical and physical test results shall be provided for all raw materials purchased or the contractor shall obtain those results from the JSC Receiving, Inspection and Testing Facility.    Records of test results shall be maintained and must be traceable to the procured articles.

### 1.4.8	Product Identification

Contractor flight hardware, flight software, and ground support equipment products fabricated, tested, or processed onsite JSC shall be tagged in a manner distinctly different from the JSC 911 tags, prior to government acceptance.  Upon product delivery, the contractor shall replace their tag with a JSC 911 tag.

### 1.4.9	Calibration

The contractor shall have a documented calibration system that meets the requirements of ISO 10012 “Quality Assurance Requirements for Measuring Equipment”. For calibration services utilizing the JSC Measurement Standards and Calibration Laboratory (MSCL), the contractor shall comply with, System Level Procedure 4.11, “Control of Monitoring and Measuring Devices”.

### 1.4.10	Pressure Vessels and Pressurized Systems

The contractor shall implement JHB 1710.13, “Design, Inspection, and Certification of Pressure Vessels and Pressurized Systems,” for all contractor-operated ground based Pressure Vessels/Systems (PV/S) on JSC property and JSC owned PV/S on contractor property.

### Government and Industry Data Exchange Program (GIDEP) and NASA Advisory Problem Data Sharing and Utilization Program Documentation and Reporting

The contractor shall participate in GIDEP in accordance with NPR 8735.1 Procedure for Exchanging Parts, Materials, and Safety Problem Data Utilizing the Government Industry Data Exchange Program and NASA Advisories.  The contractor shall provide GIDEP reporting in accordance with DRD 018.

### 1.4.12	 Problem Reporting and Corrective Action (PRACA)

The contractor shall report problems and corrective action in accordance with JSC 28035, “Program Problem Reporting and Corrective Action (PRACA) Requirements for Johnson Space Center (JSC) Government Furnished Equipment (GFE)” and DRD 019.

### 1.4.13	Software Quality Assurance

The contractor shall develop and implement a Software Quality Assurance (SQA) program in compliance with requirements contained in the applicable documents delineated in Section J, Attachment J-1, Applicable Documents.    SQA is applicable to the following categories of software and firmware: flight software and firmware; critical ground support software and firmware, software and firmware that are an integral part of the operational mission and software support tools used in (1) the development of flight and critical ground support software and firmware; and (2) test and integration of mission critical hardware, software, and firmware.

The contractor shall develop and implement a SQA Plan in accordance with the requirements specified in DRD 020.

### 1.4.14	Nonconformance Records

For off-site, the contractor shall establish and implement a closed loop system that documents all nonconformances in a consistent manner, and ensures the data is included and available as specified in the Nonconformance Record, DRD 021. Data shall be made available per SOW paragraph 1.1.5.

## 1.5 	LOGISTICS

The contractor shall perform all shipping and receiving inspection functions for the ESC in accordance with Section D of this contract.  These functions include: receiving and stocking of materials, mechanical and electronic parts; and inspection and receiving of finished products.  The contractor shall ensure compliance with all applicable government forms and procedures relative to the handling, packaging and transporting of government property.  Property under this contract will include everything from aerospace components, raw stock and piece parts to large, complex and bulky electronic assemblies and metal structures.

# 2.0	INDEFINITE DELIVERY INDEFINTE QUANTITY (IDIQ) REQUIREMENTS

## 2.1	TECHNICAL SERVICES

The contractor shall provide technical services and products per Delivery Orders for NASA programs and special projects.

### 2.1.1  Testing and Training

The contractor shall execute testing and training requirements which include: the execution of plans, the achievement of objectives; design, development, fabrication and integration of hardware, software and instrumentation; conduct of readiness reviews; generation of procedures; scheduling of facilities; collection, reduction and reporting of data and resolution of issues.

### 2.1.2 	Engineering Assessments

The contractor shall provide assessments which include: space flight materials usage; metallographic; fracture control; structural integrity, structural loads; loads model verification; avionics systems integrity; electrical systems integrity; hardware and software integration; hardware and software requirements, change requests, specifications, and test plans; test procedures and results, analyses; crew procedures, flight rules, and flight techniques; critical technologies; software independent verification and validation; and safety products for Government owned and Payload Customer hardware and software.  The contractor shall provide documentation packages as required in Delivery Orders for each type of assessment.

### 2.1.3 	Facility Modifications

The contractor shall perform facility systems performance evaluations and facility systems modernization and upgrades for EA and SA facilities.  The contractor shall transition facility operational readiness conditions for EA and SA facilities.

### 2.1.4 	Website Development

The contractor shall design, develop, modify, test and install Websites.  The contractor shall provide configuration documentation and training on new and modified websites.

### 2.1.5	Database Development

The contractor shall design, develop, test, implement, acquire, and document databases required to support data requirements on this contract.  Technical databases include: real-time data acquisition; data archival; data analysis; requirements development; design criteria data; flight parameters data; and hardware lists.  Management databases include: property records; logistics databases; flight and GSE records; and maintenance databases.

### 2.1.6   Astromaterials Research and Exploration Science

The contractor shall conduct scientific research and peer reviews in space related scientific fields such as astromaterials, astrobiology and Earth science.  The contractor shall provide assessments of geological and planetary science projects in these and other related fields.  Assessments shall include but not be limited to curation of samples, acquisition of analytical data, evaluation of findings, and providing technical data for abstracts, presentations, peer-review publications, and research proposals.

#### 2.1.6.1 Astromaterials, Curation and Sample Handling

The contractor shall perform curation of samples including: Apollo Lunar samples; Antarctic meteorites; cosmic dust collected at high altitude; space exposed hardware as required by NPD 7100.1D; and future returned Lunar, Martian and cosmic returned samples. The contractor shall perform tasks which include: characterize and preserve collections in pristine condition; store them under controlled conditions; maintain security appropriate to the type of samples; distribute information about materials to the scientific and academic communities; prepare and distribute samples for allocation to approved investigators for scientific and educational purposes in accordance with allocation plans developed by NASA panels; and document and inventory such samples in accordance with approved procedures for each collection.

#### 2.1.6.2 	Earth and Space Science

The contractor shall perform Earth and space science research for human space flight and other activities.   The contractor shall collect and catalog data, conduct analyses, update databases, and provide analytical products in the areas of Earth science, image science and analysis, hypervelocity debris impacts of spacecraft and in orbital debris monitoring.

##### 2.1.6.2.1 Earth Science

The contractor shall perform tasks for ongoing real-time and on-call (24/7 as needed) services including: ephemeris planning for the International Space Station’s (ISS’s) Window Observational Research Facility (WORF) and its Earth Science remote sensing payloads; the ISS's Earth Science Toward Exploration Research (ESTER) payload; Crew Earth Observation (CEO) photography (Shuttle & ISS); and other means of photographic and imagery collection for all crewed vehicles.  The contractor shall operate the Earth Observation Laboratory and the JSC Telescience Center. The contractor shall geolocate, interpret, catalog, maintain, and distribute returned WORF, ESTER, CEO and other imagery.  The contractor shall train astronauts in earth science and remote sensing mission objectives for WORF, ESTER, and CEO.

##### 2.1.6.2.2 Image Science and Analysis

The contractor shall perform quantitative engineering image analyses utilizing the Video Digital Analysis System (VDAS) laboratory and other tools for NASA programs for problem solving, mission safety, vehicle maintenance, vehicle performance and the Certification of Flight Readiness Process.  Analyses shall be performed on film (still and motion), video, and electronic imagery acquired from both ground and flight cameras.   The contractor shall provide 24-hour, on-call support for vehicle anomaly investigations and damage assessments.

##### 2.1.6.2.3 Hypervelocity Impact

The contractor shall perform research in the measurement and modeling of orbital debris for NASA Programs. The contractor shall define the orbital debris environment and assess its risks.  The contractor shall maintain and verify orbital debris environmental models, which include long-term prediction models for evaluating debris mitigation practices.  The contractor shall assess short and long term risks to orbiting spacecraft and provide spacecraft and reentry risk assessments for satellite breakups as needed 24/7.  The contractor shall develop debris mitigation techniques and practices to limit the generation of debris.

## 2.2	ANALYSIS

The contractor shall perform engineering and science analysis and tool development for NASA programs, and special projects.

### 2.2.1 Analytical Capability

The contractor shall develop and implement new analytical tools and math models and shall modify existing analytical tools and math models to support evolving engineering and science analysis requirements.  The contractor shall validate the math model implementations and tool configurations using data from bench tests, ground tests, flight tests, and/or crosschecks with other equivalent independently configured tools. The contractor shall develop new computational capabilities and modify existing computational capabilities necessary to support the generation of the engineering and science analysis products.  The contractor shall deliver documentation on the definition, configuration, and verification of the analytical math models.  The contractor shall also deliver documentation on the configuration and verification of the NASA unique and COTS software tools.  The contractor shall provide training on how to use the NASA unique software tools to perform the associated engineering and science analyses.

### 2.2.2	Analytical Products

The contractor shall provide analytical products associated with engineering and science requirements including: aerodynamics and aerothermodynamics; communications and tracking; environmental control and life support; fracture mechanics and fracture analysis; guidance, navigation, and control; imagery; meteoroid and orbital debris; space environments and contamination; structural loads and stress; autonomous flight management; contact dynamics; electronics; fluid dynamics; intelligent systems; kinematics including robotics; mass properties; power management; propellant management; rendezvous, proximity operations, and capture; structural dynamics and vibration; electromagnetic effects; thermal management; and spacecraft shielding designs.

The contractor shall perform flight systems analyses, which include: systems compatibility, software algorithm design, performance, flight reconstruction, and failure modes.  Products shall include analytical math models, and results including data, algorithms and interpretation of results.

## 2.3	HARDWARE AND SOFTWARE PRODUCTS

The contractor shall provide flight certified hardware and software products and development products for NASA programs.

### 2.3.1 	Product Development

The contractor shall provide hardware and software products for NASA Programs. Deliverable end items may include: certified flight hardware and software, flight payloads, flight and non-flight ground support equipment (GSE), prototypes, electronic and computer and camera systems, mockups, test articles, training hardware, laboratory test equipment, and research instruments.

The contractor shall perform tasks associated with product development including: maintenance; repair; hardware and software integration; inter/intra-center integration; pre and post flight processing; training; procedure development; and procedures for operational use for system and subsystem components for NASA program products.

The contractor shall provide formal documentation including: engineering drawings, analysis reports; technical specifications and reports, test procedures and reports, and operations manuals as appropriate for hardware or software type.

### 2.3.2  Flight Hardware and Software Certification

The contractor shall certify flight hardware and software.  The contractor shall perform tasks including: analyses; certification test plan development; certification, verification, and acceptance testing of hardware and software components, subsystems and systems.

## 2.4	SAFETY AND MISSION ASSURANCE

The contractor shall perform safety and mission assurance activities for flight hardware and software including: system safety planning; reliability and maintainability predictions; safety and hazard analysis; Failure Modes and Effects Analysis (FMEA) and development of Critical Item Lists (CIL); life-cycle (wear-out) estimates for orbit maintainable items; Limited Life Items identification; qualitative maintainability assessment; and Acceptance Data Packages for each hardware and software deliverable.

## 2.5	EDUCATION, COMMERCIALIZATION, AND TECHNOLOGY OUTREACH

The contractor shall plan and implement educational, commercialization, and technology outreach activities including special projects, curriculum development, demonstrations, displays, seminars, and presentations.

The contractor shall develop outreach materials including brochures, multi-media products, exhibit materials, and newsletters.  These materials shall be disseminated through activities including web based and educational forums, and other public events.

# 3.0	LEVEL-OF-EFFORT (LOE) REQUIREMENTS

## 3.1 TECHNICAL SERVICES

The contractor shall provide technical services per Task Orders for NASA programs and special projects.

### 3.1.1	First Article Development

The contractor shall perform trade studies; develop requirements and concepts; design, fabricate and assemble prototype, engineering development units, and first build flight hardware and software tools and products.

The contractor shall develop test requirements and plans; perform test bed buildup; develop test equipment for research and advanced hardware and software projects; and perform development, certification, and verification and acceptance testing.

### 3.1.2	Engineering Tasks

The contractor shall provide engineering services for human and robotic missions. These services shall include: mission architecture definition; mission design, and planning; and conceptual vehicle design and analyses for conducting trade studies to establish feasibility. Typical architecture elements include: launch vehicles; human-rated spacecraft; and elements including habitats and rovers used on planetary surfaces to enable human and robotic exploration.

The contractor shall perform engineering studies, analyses and crew training activities.  Crew training activities include: development of mission scenarios; validation of initial conditions; production of visuals and displays; installation of session specific equipment; and verification of operational readiness.

The contractor shall provide engineering evaluation of facility systems and prepare proposals for the upgrade and modernization of facility systems.  The contractor shall develop documentation for new systems including work instructions and hazard analyses.

The contractor shall perform engineering analyses and develop operational procedures for flight hardware and software products and on-orbit operational procedures.

The contractor shall integrate systems and payloads for Government and international partner hardware and software.

The contractor shall provide crew provisioning and manifesting for crew preference items in accordance with existing NASA regulations.

### 3.1.3 	Flight Experiments

The contractor shall develop flight experiment test processes for flying equipment on reduced gravity aircraft.  The contractor shall develop equipment and integrate Detailed Test Objectives (DTO) and flight experiments into the vehicle.

### 3.1.4	Mission Support

The contractor shall provide continuous Mission Evaluation Room (MER) technical services to perform pre-flight timeline reviews and real-time console monitoring during flight.  The contractor shall perform administrative and documentation duties for the MER continuous operation for Space Vehicle missions including preparation before and follow-up after each flight and expedition.  The contractor shall provide MER training and certification for MER mission engineers.

### 3.1.5	Technical Reviews, Boards and Panels

The contractor shall coordinate technical meetings, prepare system documentation, provide mission related products, and provide administrative support to program reviews, design reviews, control boards, and panels.  The contractor shall document all products associated with technical services tasks.

### 3.1.6 	Anomaly Analysis

The contractor shall perform anomaly analyses, propose anomaly issue resolution, implement corrective actions for facilities and laboratories, training and mockup hardware, ground support equipment configurations, and flight hardware and software.  The contractor shall perform anomaly analysis for flight investigations.

## 3.2	ASTROMATERIALS CURATION

The contractor shall develop plans for recovery, receiving, de-integration, and distribution of astromaterials. The contractor shall conduct astromaterials research to advance the understanding of innovative curation techniques and processes.  The contractor shall perform continuous improvement of processing techniques and astromaterials sample handling.  The contractor shall develop requirements for future curatorial facility designs.

## 3.3	RESEARCH AND DEVELOPMENT

The contractor shall perform research and development including: human planetary mission architecture, vehicular design; astromaterials; planetary missions; biological; physical-chemical systems; dexterous robotics; vision and perception technologies; automated systems including rendezvous and mating systems; thermal control systems (passive and active); life support systems; space suit systems; mechanical systems; Microelectromechanical Systems (MEMS); Nanotechnology; Guidance and Navigation control systems; fuel liquefaction and storage systems; on-orbit manufacturing systems; electromagnetic systems; sensor systems; tracking systems; power transmission systems; avionics architecture systems; communication systems; microwave systems; instrumentation and wireless instrumentation; artificial intelligence systems; orbital debris; image analyses; and Earth observations.

### 3.3.1  Special Projects

The contractor shall perform scientific research for planning and execution of special projects. This activity includes developing requirements and plans for special projects and conducting basic research in the fields of astrobiology, astromaterials, geology, planetary sciences, orbital debris, hypervelocity impacts, image analyses, human exploration science, and Earth observation photography.

This page was intentionally left blank.