Guidelines for submission of Genomic DNA to the DOE Joint Genome Institute

The JGI has sequenced over 350 prokaryotic, eukaryotic and metagenomic projects and finished over 100 genomes.  DNA quality (molecular weight and concentration) and quantity are two of the most critical components in the success of sequencing projects.  If you cannot meet the JGI specifications for DNA or have questions or concerns, please contact jgi_project_management@lanl.gov and your project manager.

JGI Starting Material Specifications: Quantity

- 75 – 100 μg of high molecular weight genomic DNA (HMW gDNA) for whole genome shotgun projects.

Quantity of gDNA should be measured by agarose gel QC. Please refer to QC gel protocol: http://my.jgi.doe.gov/general/index.html

Note:  We realize these DNA quantities may not be possible for environmental samples, but the project will have the best chances for success if this amount can be sent.  It is unlikely that a fosmid library can be constructed from less than 40 μg DNA, or that a short-insert (3 kb) library can be constructed from less than 10 μg.  Whole genome amplification is NOT accepted.

JGI Starting Material Specifications: Quality

- High molecular weight – The bulk of the eDNA prep should be larger than the 23KB lambda Hind III marker on an agarose gel. In order to construct a fosmid library the majority of the eDNA should be ~40kb.

- The concentration of resuspended eDNA must be >= 100 ng / μl as judged by agarose gel / mass markers.  See “Quality control-gel electrophoresis conditions” below.

- Uncontaminated – RNA blobs and discrete bands require clean-up. Please refer to recommended RNAse I clean-up protocol: http://my.jgi.doe.gov/general/index.html

JGI Starting Material Specifications: Shipping

Prior to shipping samples to the JGI, the eDNA prep must first be reviewed & approved. Complete the appropriate RI (Step 3 in http://my.jgi.doe.gov/general/gettingstarted.html) and email it along with a well labeled gel image of your eDNA prep to your project manager. See the “Quality control-gel electrophoresis conditions” at the end of this document for detailed instructions on running the QC gel or find the complete JGI protocol: http://my.jgi.doe.gov/general/index.html

Format for shipping in order of preference:

- Resuspended in TE (10 mM Tris, ph 7.5 – 8, EDTA 0.1 mM) at >= 100 ng/ μl shipped on dry ice

- Ethanol pellet shipped at RT or on wet ice.  Note some ethanol pellets the JGI has received will not spin down and resuspend.

- Dry pellet shipped at RT or on wet ice.  Note most dry pellets the JGI has received will not resuspend.

DNA should be shipped to the JGI in one tube.  The tube should be legibly labeled with

- Short description of sample,

- Name of PI on Proposal,

- Concentration,

- prepped date, and

- Name or initials of primary contact (primary contact indicated in “JGI Required Information” form).

If the DNA prepared in multiple preps, each prep should be QC’ed separately, and good preps pooled into one tube for shipping to the JGI.

Please Note: JGI procedures such as (CTAB) for isolating prokaryotic HMW gDNA and various eukaryotic HMW protocols are available on the following website: http://my.jgi.doe.gov/general/index.html

Elution of genomic DNA from Qiagen columns often yields DNA that is sheared to a MW of ~ 20KB and is therefore not recommended for whole genome shotgun sequencing projects.

Beware of poor quality enzymes as they are sometimes contaminated with genomic DNA from enzyme source microbes.

Quality control-gel electrophoresis conditions:

http://my.jgi.doe.gov/general/index.html

To determine MW, mass and concentration, run a 0.75 - 1% agarose gel at 1-3 v/cm for 3 hrs - overnight, using the narrowest comb available.  Use lambda / Hind III markers and mass standards (mass standards can be lambda markers if they are quantified, although dilutions of uncut lambda are probably best).  The gDNA should be > 23 KB lambda marker with some gDNA held up in the well.  Smearing below the 23 KB marker is bad. RNA blobs are bad. A picture of this gel should be emailed to the JGI contacts prior to shipment of the DNA.  A standards kit is available upon request.

| Good gDNA prep | Bad gDNA preps |
| --- | --- |

You are ready for the next step:  http://my.jgi.doe.gov/general/gettingstarted.html

Step 3: Required Information Spreadsheets.