# Rye Anther cDNA Library (D-W Choi, TJ Close lab, UC Riverside, 1 May 2000) (SCcDNA0001; SC024E1X)

Source of RNA:

- Plant: Rye (Secale cereale. cv Blanco)

- Type of tissue: anther

- Growth conditions: from Ed Butler at University of Missouri

- Total RNA purification: hot phenol method. Nucleic Acid Res (1989) 17:2362.

- PolyA purification method: PolyATtrack mRNA Isolation System IV (Promega)

- cDNA synthesis method: cDNA Synthesis Kit (Stratagene)

Name of vector: Uni-ZAP XR

-     Uni-ZAP XR vector allows in vivo excision of the pBluescript phagemid

Description of Inserts:

- cDNAs were directionally cloned with EcoRI on the 5’ and XhoI on the 3’ end

- cDNAs larger than 0.5 kb were selected by size fractionation via gel filtration

Primary ( Phage Library:

- cDNA ligation: 100 ng of cDNA and 1 (g of vector

-	   Packaging: Gigapack III Gold Packaging Extract (Stratagene)

- Lambda ZAP yield: 2.9 x 107 pfu in 0.5 ml

Mass Excision Phagemid Library:

- Complexity: 1 x 106 ( ZAP pfu (18 (l of primary library) added to 982 (l SM Buffer

- Host cells:  XL1-Blue-MRF' (Stratagene), ~ 5 x 107 log-phase cells in 1 ml 10 mM MgSO4

- Helper phage: ExAssist (Stratagene), ~1 x 109 pfu; 100 (l

- Addition of adsorbed mixture of above ingredients to 38 ml LB medium, 37(C

- Mass excision performed for ~3 hrs and centrifuged to create a cell pellet and supernatant

- Supernatant heated at 70(C for 20 min; this is the “Low Amplification” library (L).

- Cell pellet resuspended in 40 ml fresh LB and grown at 37(C for an additional 16 ~ 20 hr.

- Supernatant heated at 70(C for 20 min; this is the “High Amplification” library (H).

- Titered on SOLR (Stratagene) cells:

|  | Low Amplification | High Amplification |
| --- | --- | --- |
| Phagemid yield (cfu/ml) | 7.0 x 105 | 1.5 x 109 |
| Total phagemid yield (cfu/40ml) | 2.8 x 107 | 5.8 x 1010 |
| Amplification (cfu/plaque) | 28.0 | 5.8 x 104 |
| Percent dark blue colonies | ~ 1.4 | ~ 2.8 |

- Non-recombinants: 0 of 33 randomly chosen clones contained no insert

- Insert size distribution: