# Purpose - The purpose of this procedure is to describe the processes for preparing the RNA stocks for the MAQC Main Study.

- References, abbreviations & definitions

  - SUHRR: Stratagene Universal Human Reference RNA

  - HBRR:  Ambion First Choice Human Brain Reference RNA

  - Nanodrop User’s Manual

  - Agilent Bioanalyzer User’s Manual

  - Agilent Bioanalyzer Reagent Kit Guides (RNA 6000 Nano)

  - MAQC:  Microarray Quality Control project, representing a consortium of over 30 organizations.

- Required equipment and reagents

  - Equipment

ITEM

Heat Block or Water Bath set to 37°C

Pre-labeled 0.5 ml, screw cap, o-ring tubes (Axygen part #SCT-060-SS-L-C or equivalent)

Refrigerated Microcentrifuge set to 4°C

Agilent 2100 Bioanalyzer

NanoDrop spectrophotometer or equivalent

Ice bucket trays

Speed-vacuum

Tube racks for 0.5ml screw-caps

Pre-labeled freezer storage boxes

-20(C Freezer (non-frost free)

Ambion, Inc. product boxes

  - Reagents

| ITEM | 1o Source |
| --- | --- |
| Crushed ice | laboratory |
| RNA Storage Solution | Ambion, Inc. Catalog # 7000 |
| RNAse-free water | Ambion, Inc. Catalog # 9932 |
| 100% Ethanol |  |
| RNA 6000 Nano Assay kit | Agilent # 5065-4476 |
| RNA 6000 Ladder | Ambion, Inc. Catalog #7152 |
| SUHRR | Stratagene, lot #1130623 |
| SUHRR RNAse-free water | Stratagene, Catalog #740000-42 |
| HBRR | Ambion, lot# 055201 |

- Stock solutions to be made

  - 70% Ethanol

    - Add 28 ml 100% Ethanol and 12 ml RNAse-free water into a 50-ml conical screw-cap tube.

    - Mix thoroughly.

    - Store at -20°C

- RNA Preparation

  - SUHRR needs to be precipitated, washed and dissolved in RNase-free water provided with RNA.

    - Centrifuge all SUHRR tubes in the microfuge at 4°C for 15-30 minutes at ≥12000Xg.

    - Carefully remove ethanol from precipitated pellet with RNase-free technique and RNase-free tips.

    - Add 1 ml cold 70% ethanol to each tube.

    - Mix thoroughly by vortexing.

    - Centrifuge all SUHRR tubes in the microfuge at 4°C for 15 minutes at ≥12000Xg.

    - Carefully remove ethanol from precipitated pellet with RNase-free technique and tips.

    - Dry remaining ethanol at room temperature open to air for 30 minutes.

    - Dissolve each of the pellets in 190l RNAse-free water provided with RNA.  Mix thoroughly by vortexing each tube for a minimum of 30 seconds. .

    - Allow at least 30 minutes for the RNA to thoroughly dissolve.

    - Take Nanodrop reading of one tube.  The concentration should be 1 ug/ul +/- 10% (0.9-1.1 ug/ul).  If the concentration is too low, place the tubes at 37°C for 10 minutes, vortex thoroughly, and test the concentration of another sample.

    - Mix all dissolved SUHRR samples by combining them in a RNase-free, sterile 50ml conical tube with screw cap.

  - Thaw the stock of HBRR.

    - Place the sample in a 37°C hot plate.

    - Manually mix the sample throughout the thawing time to avoid the formation of  “warm spots” at the interface with the tube.

    - When ice is thawed completely, place the tube on the ice bath.

    - Place tube on the ice for 15-30 minutes.  After 5 minutes, vortex for at least 30 seconds to ensure homogenous mixing of the RNA.

- Procedure

  - Ensure that all manipulations are performed with meticulous RNAse-free pipetting and handling techniques and RNA is stored on ice throughout the procedure.   Only adequately trained and qualified personnel will handle the RNA.

  - Assess RNA concentrations for each stock SUHRR and HBRR using the Nanodrop.

    - Blank the samples with RNA Storage buffer.

    - Take at least 3 independent readings.

  - Calculate the dilution needed to bring the concentration of the more concentrated RNA stock to within 5% of other RNA stock.

  - Add the volume of RNA storage buffer calculated in step 6.3 to the more concentrated  RNA sample.

  - Repeat steps 6.2-4, if necessary until both RNA stock concentrations are within 5% of each other.

  - Record the following from the Nanodrop for each RNA stock:

    - OD 260

    - 260/280

    - 260/230

    - Trace of the wavelength scan

  - Create mixtures of the HBRR and SUHRR stock RNAs according to the table:

| Sample name | SUHRR volume (ml) | HBRR volume (ml) |
| --- | --- | --- |
| Mix C MAQC (25% HBRR / 75% SUHRR) | TBD | TBD |
| Mix D MAQC (75% HBRR / 25% SUHRR) | TBD | TBD |

    - Mix the RNA samples thoroughly; store on ice.

    - Verify the expected final volume of each mixture.  ________ volume

  - Distribute the RNA into 60 labeled tubes.

    - Set up the appropriate number of tubes in racks on ice

    - Separate the tubes for each of the four sample types to be dispensed separately.

    - Dispense 50l of the appropriate RNA into each of the labeled tubes

    - Cap tubes securely.

    - Place all tubes in the appropriate freezer box

  - Quality Control assessment of the RNA after packaging

    - Submit one set of 4 tubes to Ambion for the following testing:

      - Overnight stability testing

      - Nuclease testing

    - RNA quality assessment on Agilent Bioanalyzer. Record 28S/18S ratio and RIN

  - Package sets of four RNA samples in an Ambion product box for shipping

    - Open freezer boxes of tubes are placed in dry ice for the transfer

    - Packaged sets are stored in the specified -80°C freezer

Freezer_________

Rack___________

Slot____________

- Quality Control specifications

  - 28S/18S ribosomal ratio greater than or equal to 1.0

  - Overnight stability: no more than 20% deterioration after overnight storage at 37°C

  - Nuclease testing.