Quality Assurance Plan

for

The Spallation Neutron Source Coupled Cavity Linac (CCL)

Beam Position Monitors (BPMs)

CCL BPM Assembly

Table of Contents

1	Procure the specified materials.	4

2	Fabricate piece parts according to LANL supplied drawings and statement of work.	4

3	LANL to procure and provide the KAMAN vacuum feed throughs.	4

4	Fabricate any fixtures required for brazing.	4

5	Clean parts to be shipped out to the braze facility.	4

6	Procure the specified braze alloys.	4

7	Weld Flange Weld Spacers to BPM Cover.	4

8	Ship the BPM to the Brazing facility.	5

9	Braze the BPM cover to the electrode.	5

10	Ship the BPM back to the Machine shop.	5

11	Weld the mini-conflats onto the Weld Flange Spacers.	5

12	Install Signal pins and pin collars along with feed throughs.	5

13	Ship BPM to LANL for mapping.	5

14	Map the BPM.	5

15	Ship BPM to CCL fabricator for installation in CCL intersegment.	6

16	Install BPM in CCL intersegment.	6

17	Ship CCL to Oak Ridge.	6

Appendices	7

Appendix A – Dimensional Inspection	7

Appendix B – Machining	7

Appendix C – Cleaning	7

Appendix D – Shipping	7

Appendix E – Brazing	8

Appendix F – Leak Checking	8

Appendix G –  Welding	8

Appendix H – DC Resistance Measurement	8

Appendix I – S-Parameter Measurements	9

Appendix J – TDR Measurements	9

Appendix K – CCL BPM Mapping Procedure	9

Description	9

Calibration	10

BPM support	11

Mapping the BPM	12

Data Products	12

Appendix L Check off sheet for CCL BPM	14

This document is a supplement to the Statement of Work for the purpose of documenting the Quality Assurance efforts.  If there is any discrepancy between the two documents the Statement of Work shall govern.

# Procure the specified materials.

Material certification shall be provided to a designated LANL representative (shop liaison or responsible engineer) for the stainless steel (ASTM 304L).

# Fabricate piece parts according to LANL supplied drawings and statement of work.

Fabricate BPM 15.0 mm Radius Cover according to drawing number 155Y520104.

Fabricate BPM 15.0 mm Radius Electrode according to drawing number 155Y520105.

Fabricate BPM 15.0 mm Radius Probe Detail according to drawing number 155Y520102.

Fabricate BPM 15.0 mm Radius Flange Weld Spacer according to drawing number 155Y520106.

Fabricate BPM 15.0 mm Radius Alignment Plug according to drawing number 155Y520107.

Fabricate BPM 12.5 mm Radius Collar according to drawing number 155Y520173.

For each of the above-specified parts, a dimensional inspection shall be performed in accordance with (IAW) Appendix A.

Machining and handling of the specified parts shall be IAW Appendix B.

# LANL to procure and provide the KAMAN vacuum feed throughs.

Los Alamos will provide the specified KAMAN vacuum feed throughs, 853890-001

A certificate of conformance is provide by KAMAN stating that the shipped feed throughs have passed their internal QA checks.

# Fabricate any fixtures required for brazing.

These fixtures are provided by the vendor to facilitate brazing and post-brazing machining operations, there is no QA requirement for the fixturing.

# Clean parts to be shipped out to the braze facility.

Parts shall be cleaned prior to brazing in accordance with standard brazing practice.  The cleaning procedure shall be approved by the LANL representative prior to brazing operations.

The fabricator shall ship the specified parts IAW Appendix D.

# Procure the specified braze alloys.

The brazing facility shall provide certification of the brazing alloys used to the designated LANL representative (shop liaison or responsible engineer).  For the brazing operation specified on “BPM 15.0 mm RADIUS Subassembly” drawing number 155Y520101, the specified alloy is similar or equal to Wesgo Metals Copper (99.99% copper).

# Weld Flange Weld Spacers to BPM Cover.

Assemble the parts shown on “BPM 15.0 mm Radius Subassembly” drawing number 155Y520101.  Use the alignment plugs to locate the “Weld Flange Spacers” and weld the spacers into place.  These four welds must be leak tight.

The joints produced by this operation must be tested to ensure that it is leak tight. Leak testing shall be done IAW Appendix F.

# Ship the BPM to the Brazing facility.

Shipping of the parts shall be IAW appendix D.

# Braze the BPM cover to the electrode.

Again referring to “BPM 15.0 mm Radius Subassembly” drawing number 155Y520101, use the alignment plugs to position the electrodes according to note #904 and the specified dimension.

Braze the parts specified on “BPM 15.0 mm Radius Subassembly” drawing number 155Y520121.

Brazing shall be done IAW Appendix E.

The joint produced by this operation must be tested to ensure that it is leak tight. Leak testing shall be done IAW Appendix F.

A dimensional inspection shall be performed on the location of the electrode fingers IAW Appendix A, to insure that the proper amount of deflection was achieved.

# Ship the BPM back to the Machine shop.

Shipping of the brazed parts shall be IAW appendix D.

# Weld the mini-conflats onto the Weld Flange Spacers.

Referring to “BPM 15.0 mm Radius Assembly” drawing number 155Y520100, weld the Del-Seal Flanges (PN130003) to the weld flange spacers.

Welding shall be done IAW appendix G.

# Install Signal pins and pin collars along with feed throughs.

Referring to “BPM 15.0 mm Radius Assembly” drawing number 155Y520100, install pins, pin collars and KAMAN feed throughs.  Machine pin length until the dimensional requirements of note #902 are satisfied.

A dimensional inspection shall be performed on the location of the electrode fingers IAW Appendix A.

A final leak test of the fully assembled BPM shall be preformed. Leak testing shall be done IAW Appendix F.

Fabrication is complete, payment required to vendor.

# Ship BPM to LANL for mapping.

Shipping of the BPM shall be IAW appendix D.

# Map the BPM.

Map the BPM IAW appendix K.

Perform DC resistance measurement IAW appendix H.

Perform S11 parameter test IAW appendix I.

Perform TDR response measurements IAW appendix J.

# Ship BPM to CCL fabricator for installation in CCL intersegment.

Shipping of the BPM shall be IAW appendix D.

# Install BPM in CCL intersegment.

Perform DC resistance measurement IAW appendix H.

Perform S11 parameter test IAW appendix I.

Perform TDR response measurements IAW appendix J.

# Ship CCL to Oak Ridge.

Perform DC resistance measurement IAW appendix H.

Perform S11 parameter test IAW appendix I.

Perform TDR response measurements IAW appendix J.

# Appendices

## Appendix A – Dimensional Inspection

The fabricator shall perform a 100% dimensional inspection of the specified parts.  A written report of all dimensions shall be provided. Report documents shall be produced in electronic formats such as Microsoft Word, Excel and or Adobe Acrobat PDF. Hard copies of written inspection reports shall be included with each shipment.

## Appendix B – Machining

The fabricator shall not use Sulfur based machining fluids or oils on any parts.

## Appendix C – Cleaning

Cleaning operations on individual parts and sub-assemblies necessary for brazing or electron beam welding shall be done in accordance with standards particular to those industries.  These cleaning procedures shall be submitted to and agreed upon by LANL.

After all qualification tests are performed, all surfaces of the BPM assemblies must be carefully cleaned for a high vacuum environment.  Prior to packaging the BPM assemblies, they must be cleaned according to the following procedure: (Note, vinyl class 100 powder free gloves shall be worn during this entire cleaning process and all wiping will take place with 100% cotton cloth or white cleaning tissues)

- Acetone wipe all surfaces - use a new clean cloth/tissue.

- Isopropyl alcohol (IPA) wipe all surfaces - use a new clean cloth/tissue.

- Acetone wipe all surfaces a second time using grade GC RESOLVE GRADE Acetone and new clean cloth/tissue.

- Isopropyl alcohol (IPA) wipe all surfaces a second time - use a new clean cloth/tissue.

- Change from vinyl gloves to clean white cotton gloves before handling cleaned assembly.

Any deviation in this set of cleaning steps must have prior written approval from the LANL representative. The deviation request must be accompanied with sufficient documented proof that the alternative cleaning process equals or is better than the proposed procedure.

## Appendix D – Shipping

The seller shall be responsible for purchasing or fabricating shipping containers for all transportation of machined components, BPMs, subassemblies and completed assemblies during all stages of fabrication, welding, brazing, and testing. The shipping container(s) shall be designed to provide the contents protection from all damages, scratches, marks and etc. during the packaging and shipping process. Contents shall be stabilized against movement, and prevented from any mechanical or chemical damage during transportation. Wooden, hard shell plastic or metallic containers that prevent impact damage and bending shall be used. The use of any type of plastic materials in the containers requires approval of LANL due to the possible outgassing of such materials and their permanent effect on the copper components.

## Appendix E – Brazing

Furnace braze shall be in accordance with ANSI/AWS C3.6-1990, Class C. Braze using alloy similar or equal to Wesgo Metals Copper (99.99% copper). All dimensions on LANL supplied drawings apply after brazing. Braze symbols on drawings shall be interpreted in accordance with AWS A2.4. Any conflicts or questions related to application or interpretation of weld symbols should be directed to LANL for disposition and clarification. Clean all parts prior to brazing with the accepted process. The cleaning process shall be capable of removing all oxides from the braze joints prior to brazing.

## Appendix F – Leak Checking

All welded and brazed joints, subassemblies, and completed BPM assemblies (155Y520100) shall be leak checked using the following: Final assembly shall be leak tight. All leak testing shall be done using a Mass Spectrometer Leak Detector (MSLD) with a minimum sensitivity to Helium of 9 x 10-10 std cc/sec or lower.  The MSLD shall be calibrated with a standard helium leak source possessing a leak rate of 10-9 std cc/sec or lower. The part being tested will be evacuated to a (total) pressure of not greater than 5 x 10-5 Torr before the leak testing is performed. In addition, all leak testing shall be of the Tracer Probe Type - using a Helium gas probe to introduce the Helium tracer gas to the outside surface of the item being tested. At least one of the tests must consist of placing the part inside a plastic bag with helium gas.  Helium shall be introduced inside the bag so as to bathe the evacuated component in Helium. A component shall be deemed to pass testing if it exhibits NO DETECTABLE LEAKS at or above 2 x 10-9 std cc/sec after it has soaked in Helium for 1 minute. A certificate of compliance traceable to national standards for the equipment being used on this job must be maintained on file at the testing firm’s place of business and/or at the location where the testing is being performed. These certificate(s) must be made available to LANL personnel or their representatives for inspection. The MSLD shall be calibrated before and after each series of tests. Testing shall be done in accordance to ASTM  E - 1603-99. Any exceptions to these instructions must be obtained in writing from LANL.

## Appendix G –  Welding

Weld in accordance with ANSI/AWS D1.1 & D10.4.-1996. Electron Beam (EB) weld in accordance with MIL-STD-1595A. Weld procedures and fixtures shall be selected to control distortion within dimensional limits bounded by University drawings. All dimensions on University supplied drawings apply after welding. Weld symbols on drawings shall be interpreted in accordance with AWS A2.4. Any conflicts or questions related to application or interpretation of weld symbols should be directed to the University for disposition and clarification.

## Appendix H – DC Resistance Measurement

All resistance measurements are to be made to an accuracy of ( 0.001 ( or ( 5%, whichever is greater.  All measurements shall be made with a calibrated voltmeter/current meter, or verified with a second measurement instrument to within ( 5%.  All measurements are to be done using the 4-point measurement technique such that measurement lead contact resistances are not included in the measurements.  If a resistance measurement is made with respect to the center pin of a SMA or other small connector, the correct mating pin is to be used for the connection to the center pin. This mating pin shall have two connecting points, one for the current connection and one for the sense (or voltage) connection.  The sense connection shall be as close as practical to the mating portion of the pin, and the current connection should be further away.  If a resistance measurement is made with respect to the ground/shield side of an SMA or other coaxial connector with a rotating nut, the measurement shall be with respect to the non-rotating body of the connector.  Instrumentation calibration is not required to be traceable to NIST or other calibration laboratories as the data taken is for verification of proper assembly.  This data is not intended to be used for BPM calibration purposes.  The data is for verification of consistency between the four lobe circuits of each BPM.

## Appendix I – S-Parameter Measurements

All S-parameter measurements shall be made with a network analyzer such as a HP 8753C or equivalent-accuracy instrument. The instrument should be calibrated using the appropriate calibration test kit (SMA or 3.5-mm) immediately priorto making the measurements.  All measurements shall be at both 402.5 MHz and at 805 MHz. All data should be recorded with at least 0.01 dB and 0.01 degree resolution.  Instrumentation calibration is not required to be traceable to NIST or other calibration laboratories as the data taken is for verification of proper assembly.  This data is not intended to be used for BPM calibration purposes.  The data is for verification of consistency between the four lobe circuits of each BPM.

## Appendix J – TDR Measurements

All measurements shall be made with a TDR with a rise time of either ≤50 ps, or as short as possible if the combined cable/lobe length is too long for this resolution. If possible, the TDR instrument should be calibrated and normalized data traces recorded.  The data should be averaged by a factor of at least 256. Vertical resolution shall be ≤0.1 ohms.  Cable impedance measurements should be made over the first 1- to 2-ns of cable length from the TDR calibration point, due to the relatively high series loss component of the KAP50-5 cable.  Instrumentation calibration is not required to be traceable to NIST or other calibration laboratories as the data taken is for verification of proper assembly.  This data is not intended to be used for BPM calibration purposes.  The data is for verification of consistency between the four lobe circuits of each BPM.

## Appendix K – CCL BPM Mapping Procedure

CCL BPM Mapping Procedure

### Description

The BPM will be mapped using the LANSCE-1 BPM mapping station. A schematic of the mapping station is shown below.  The station consists of the following equipment:

Hewlett Packard model 8640B signal (This instrument shall have an up to date calibration sticker or certificate).

Boonton 4300 RF Power meter (This instrument shall have an up to date calibration sticker or certificate).

4 Boonton 51075 Power sensors (These devices shall have an up to date calibration sticker or certificate).

Mapping fixture hardware

0.004 inch diameter stainless steel wire (antenna)

2, 8 inch travel, Parker Daedal precision linear bearing tables model number 406008LN

1, 4 inch travel, Parker Daedal precision linear bearing table model number

3 Compumotor 6000 series indexer/driver motor controllers

PC based motion control using LabVIEW software

PC based data acquisition using PCI card running LabVIEW software

Schematic of Mapper System

An RF signal either 402.5 or 805 MHz is generated by the HP 8640.  This signal is transmitted to the taut wire running through the BPM.  The RF signal on the wire is detected by the Boonton 51075 power sensors connected to each electrode (T, B, L, R) of the BPM.  The power on the electrode is detected at the sensors and is read out at the Boonton 4300 power meter.  This reading is acquired by the data acquisition card on the PC under the control of National Instruments LabVIEW software.  The PC based motion control will position the wire at numerous places within the bore of the BPM and a reading is taken at each position.  The positioning of the wire is also accomplished using a LabVIEW program, which commands the Compumotor indexer/driver.  The indexer/driver sends electric pulses to the stepper motors, which drive the Parker/Daedal precision linear bearing tables.  The stepper motor positioning system utilizes linear encoders to provide feedback to the Compumotor controller.  All of this functionality has been wrapped up into a single program that automates the data acquisition process.

While it is expected that the mapping system will use the equipment described herein, it is acceptable to substitute different instruments as long as the absolute accuracy and performance of these are at least as good as that of the original equipment.

### Calibration

There are two items to calibrate during the BPM mapping process.  The first is the Boonton power meter and the second is the wire positioning system.

#### Calibrating the Boonton 4300 RF Power Meter

The power meter comes with an internal calibration system.  You simply set the desired channel to calibrate and connect the calibration line to that channel’s power sensor.  The power meter sends out a series of signals of known power and the sensor’s reading is compared/calibrated to the known value.  The power sensors are calibrated over a range of –75 dB to 0 dB.  Each sensor is in turn calibrated.  This is done once a day prior to the first map.

#### Calibrating the wire positioning system

The mapping fixture has two blocks that have been set square in relation to the motion of the precision linear positioning tables.  These blocks define the X and Y axes of the system.  A precision made standard is used to locate a pin an equal (+/- .0005”) distance from each of the blocks.  This pin defines the coordinates (0,0) of the positioning system.  Two sets of Keyence lasers, aligned with each axis, are used to measure the position of this pin.  The laser system is independent of the positioning system.  Once the laser system reads the pin’s position the value is set to zero.  With the laser system now set to zero the standard is removed and the wire is placed into the fixture.  Again using the LabVIEW program the wire can be placed at the same location as the standard pin was (0,0) and the positioning system is now set to zero.  This calibration can be done as often as desired.  Generally it is done three times for a set of 10 maps.  This gives the operator some sense of the repeatability of the set up.

### BPM support

The BPM support system is shown in the following figure.

BPM Mechanical Support

The BPM is supported by the fiducials provided built in flange of the BPM body.  Four precision made flats with 1/8” holes are located according to top, bottom, left, and right.  These holes correspond to the X and Y BPM axes.  Two support blocks are used to locate the BPM on the mapping station.  The support blocks have been dimensionally inspected on a coordinate measuring machine.

### Mapping the BPM

The procedure for mapping a CCL BPM is as follows:

Calibrate the Boonton RF Power meter as described above.

Calibrate the wire positioning system as described above.

Remove the wire from the mapper.

Install the CCL mechanical support equipment.

Install the CCL BPM.

Install the wire into the mapper.

Connect the cable from the HP 8640B Signal Generator to the wire.

Connect the signal cables from the BPM to the Boonton 51075 Power sensors, taking care to connect the Top, Bottom, Left, and Right electrode cables to the appropriate power sensor.

Set up the data acquisition program by typing in:

The file path/name.

The number of maps to run.

The ID of the BPM.

The current map number.

The number of data points to be taken (size of the positional step).

Select the write to file button.

Select the four data point button.

The diameter of the BPM (use 90% of the BPM bore).

The delay time (time the wire sits at position for acquisition).

Any comments appropriate may be entered as well.

Turn on the RF from the signal generator.

Run the VI.

### Data Products

The data acquired by the system is the detected power level at each sensor.  For each X, Y position there are four data points taken, corresponding to Top, Bottom, Left, and Right electrodes.  The program will also calculate the differences between opposing electrodes as appropriate for the coordinate system being used.  For example Top-Bottom (Y axis) and Left-Right (X axis) would be used for a right-handed coordinate system.  The raw data file will contain the readings from all four sensors as well as the two subtracted values.

Generally ten raw data files are taken for each BPM.  Past practice has been to set up the mapper by  following the steps outlined above, run three maps, break down the system, start over with step 1 from above, run three more maps, break down the system a second time, start over with step 1 again, and finally run the final four maps.  This allows for better statistical analysis and also highlights the repeatability of the system.

Each raw data set is then evaluated separately using the X and Y position data along with the differentiated power data along the X and Y axes, Rx and Ry.  Two different types of 3rd order polynomial fits are done to the data sets.  The first type is a fit done using the X and Y positions to fit the power data in terms of Rx or Ry (forward fit).  The second type of fit uses the X and Y power data to fit to the X or Y position data (reverse fit).   Each of these fits can be done using either 4 coefficients or 10 coefficient functions.  The following table summarizes the different fits used to analyze the data.

| Data Product Table |
| --- |
| Input | Data to fit | Result |
| X and Y position | Rx differentiated power | 4 coefficient polynomial fit (A0 – A3) |
|  |  | 10 coefficient polynomial fit (A0 – A9) |
| X and Y position | Ry differentiated power | 4 coefficient polynomial fit (B0 – B3) |
|  |  | 10 coefficient polynomial fit (B0 – B9) |
| Rx and Ry diff power | X position | 4 coefficient polynomial fit (C0 – C3) |
|  |  | 10 coefficient polynomial fit (C0 – C9) |
| Rx and Ry diff power | Y position | 4 coefficient polynomial fit (D0 – D3) |
|  |  | 10 coefficient polynomial fit (D0 – D9) |

## Appendix L Check off sheet for CCL BPM

BPM serial number ______________:

| Item | Item description | Testing to be done | Date Complete | Initials |
| --- | --- | --- | --- | --- |
| 1 | Material certification | Certification |  |  |
| 2 | Fabricate piece part 155Y520104 | Dim Inspection |  |  |
|  | Fabricate piece part 155Y520105 | Dim Inspection |  |  |
|  | Fabricate piece part 155Y520102 | Dim Inspection |  |  |
|  | Fabricate piece part 155Y520106 | Dim Inspection |  |  |
|  | Fabricate piece part 155Y520107 | Dim Inspection |  |  |
|  | Fabricate piece part 155Y520173 | Dim Inspection |  |  |
| 3 | KAMAN feed through | QA certification (from KAMAN) |  |  |
| 4 | Brazing fixtures | N/A |  |  |
| 5 | Clean parts | Verify |  |  |
| 6 | Braze alloy material certification | Certification |  |  |
| 7 | Weld Flange Weld Spacers to BPM Cover | Vacuum Leak Check |  |  |
| 8 | Ship parts to braze facility | N/A |  |  |
| 9 | Braze the BPM Cover to the Electrode | Vacuum Leak Check |  |  |
|  |  | Dim Inspection |  |  |
| 10 | Ship BPM back to Machine Shop | N/A |  |  |
| 11 | Weld mini-conflats onto the Weld Flange Spacers | Vacuum Leak Check |  |  |
| 12 | Install Signal pins along with feed throughs | Dim Inspection |  |  |
|  |  | Vacuum Leak Check |  |  |
| 13 | Ship BPM to LANL | N/A |  |  |
| 14 | Map assembly | Data from mapping |  |  |
|  |  | DC resistance |  |  |
|  |  | S11 parameters |  |  |
|  |  | TDR response |  |  |
| 15 | Ship BPM to CCL Fabricator for installation in CCL intersegment | N/A |  |  |
| 16 | Install/Align BPM in CCL intersegment | DC resistance |  |  |
|  |  | S11 parameters |  |  |
|  |  | TDR response |  |  |
| 17 | Deliver CCL to Oak Ridge for installation | DC resistance |  |  |
|  |  | S11 parameters |  |  |
|  |  | TDR response |  |  |

# Text boxes

BPM Reference blocks

Downstream beam tube

Upstream beam tube

Set up surfaces