#### Iterative System Impact and Facilities Study

#### Business Procedures

Basin Electric Power Cooperative, Inc. (“Basin Electric”), Heartland Consumers Power District (“Heartland”) and Western Area Power Administration, Upper Great Plains Region (“Western”), the owners of the Integrated System (IS), will provide an iterative system impact and facilities study process under these Business Procedures in accordance with Sections 19.3, 19.4, 32.3 and 32.4 of Western’s Open Access Transmission Tariff (“OATT”).  Capitalized terms in the Business Procedures reflect the definitions in the OATT.  If there is a conflict between these procedures and the OATT provisions, the OATT provisions shall apply.

- Purpose:  The purpose of these Business Procedures is to expedite processing of transmission requests for all OATT Customers and to bring new transmission and generation on-line in a quicker and more efficient manner.  Western, the administrator of the OATT that provides for service over the IS facilities, performs and also directs Basin Electric and Heartland to perform the studies for long-term point-to-point transmission service requests and network transmission service requests involving the IS facilities.

- Implementation:  The IS owners will implement these Business Procedures in a fair and impartial manner to treat all OATT Customers in a non-discriminatory manner.  In accordance with the Federal Energy Regulatory Commission’s (“FERC”) policies, OATT Customers will have exclusive access to any privileged information concerning the status of their own transactions.  Communications between the IS owners and any OATT Customer concerning the status of an outstanding transmission request will include all pertinent information that can be provided at the time of the Customer’s request.  The information provided will be of the same level of detail for any OATT Customer presenting a similar request.  According to FERC policies, these status communications may disclose nonpublic transmission information that: (1) is provided in response to a request for transmission service; (2) pertains to the request for service; and (3) is comparable to the information provided to affiliated and non-affiliated Transmission Customers alike in the context of their requests for transmission service.

- System Impact Study Process:

  - Due Diligence:  The IS owners will use the same due diligence in completing a System Impact Study for a Customer as it uses when completing studies for themselves.  Upon receipt of an executed System Impact Study Agreement, and the applicable fees, the IS owners will use due diligence to complete the required System Impact Study within sixty (60) days.  In the event that the IS owners are unable to complete the required System Impact Study within this time period, Western (on behalf of the IS owners) shall so notify the Customer and provide an estimated completion date along with an explanation of the reasons why additional time is required to complete the studies.

  - Commencement of Study Process:  Upon receipt of a completed transmission service request, and an executed System Impact Study Agreement, the IS owners will normally schedule a working meeting (or conference call) with the  Customer, as necessary, to allow the IS personnel performing the System Impact Study to review and clarify the information submitted in the Customer’s transmission request(s).

  - Weekly Status Update:  A Customer who has a System Impact Study in progress, may contact the IS owners, on a weekly or less frequent basis, to discuss the status and anticipated results of the System Impact Study and the impacts of possible modifications to its transmission request. The IS owners will contact the Customer as necessary to request feedback during the completion of the study.

  - Completed Study:  Western shall notify the Customer immediately upon completion of the System Impact Study if the Transmission System will be adequate to accommodate all or part of a request for service or that no costs are likely to be incurred for new transmission facilities or upgrades.  A copy of the completed System Impact Study and related work papers shall be made available to the Customer.  The System Impact Study shall identify any system constraints and redispatch options, additional Direct Assignment Facilities or Network Upgrades required to provide the requested service.

  - Continuing the Transmission Request:  In order for a request to remain a Completed Application, within fifteen (15) days of completion of the System Impact Study, the Customer must execute a Service Agreement if a Facilities Study is not required under Section 4 below or the Application will be deemed terminated and withdrawn.

- Facilities Study Process:

  - Facilities Study Agreement:  If a System Impact Study indicates that additions or upgrades to the Transmission System are needed to supply the  Customer’s service request, Western (on behalf of the IS owners), within thirty (30) days of the completion of the System Impact Study, shall tender to the Customer a Facilities Study Agreement pursuant to which the Customer shall agree to reimburse the IS owners for performing the required Facilities Study.  For a service request to remain a completed application, the Customer shall execute the Facilities Study Agreement and return it, and the applicable fees, to Western within fifteen (15) days.  If the Customer elects not to execute the Facilities Study Agreement, its application shall be deemed withdrawn.

  - Due Diligence:  Upon receipt of an executed Facilities Study Agreement, and applicable fees, the IS owners will use due diligence to complete the required Facilities Study within sixty (60) days.  If the IS owners are unable to complete the Facilities Study in the allotted time period, Western shall notify the Transmission Customer and provide an estimate of the time needed to reach a final determination along with an explanation of the reasons for the additional time required to complete the study.

  - Weekly Status Update:  A Customer who has a Facilities Study in progress, may contact the IS owners, on a weekly or less frequent basis, to discuss the status and anticipated results of the Facilities Study and the impacts of possible modifications to its transmission request.  The IS owners will contact the Customer as necessary to request feedback during the completion of the study.

  - Completed Study:  When completed, the Facilities Study will include a good faith estimate of (i) the cost of Direct Assignment Facilities to be charged to the Transmission Customer, (ii) the Transmission Customer’s appropriate share of the cost of any required Network Upgrades as determined pursuant to the provisions of the OATT, and (iii) the time required to complete such construction and initiate the requested service.

  - Continuing the Transmission Request:  The Transmission Customer shall provide the IS owners with a letter of credit or other reasonable form of security acceptable to the Transmission Provider equivalent to the costs of new facilities or upgrades consistent with commercial practices as established by the Uniform Commercial Code.  The Transmission Customer shall have thirty (30) days to execute a Service Agreement and provide the required letter of credit or other mutually acceptable form of security or the request will no longer be a Completed Application and shall be deemed terminated and withdrawn.

- Concurrent Studies:  Upon the request of the Customer, the IS owners will complete, on a concurrent basis, the System Impact Study and Facilities Study in order to facilitate faster and efficient processing of the Customer’s transmission request.  Upon the receipt of an executed System Impact Study Agreement and Facilities Study Agreement, the IS owners will complete the studies in accordance with these Business Practices, except that the IS owners will complete those studies concurrently.

- OASIS Posting: These Business Procedures will be posted on the Western  (Upper Great Plains Region) OASIS on behalf of the IS owners.

is-iterative-studies-proc-090601.doc, SCS, 9/6/2001