THIS LISTS THE NUMBER, CURRENT ISSUE DATE AND TITLE OF ALL NRCS KEY REFERENCE AMERICAN SOCIETY FOR TESTING AND MATERIALS (ASTM) STANDARDS

"A" SERIES		Applicable CS or MS

(A6/A6M-05a	Standard Specification for General Requirements for Rolled	APP MS 511, 581

Structural Steel Bars, Plates, Shapes, and Sheet Piling

(A27/A27M-05 	Standard Specification for Steel Castings, Carbon, for	MS 572, 573

General Application

(A29/A996M-05	Standard Specification for Steel Bars, Carbon and Alloy,	APP 581

Hot-Wrought, General Requirements

(A31-04 	Standard Specification for Steel Rivets and Bars for Rivets,	MS 581

Pressure Vessels

(A36/A36M-05	Standard specification for Carbon Structural Steel	MS 511, 571, 572,

573, 581

R A47/A 47M-99 (2004)	Standard Specification for Ferritic Malleable Iron Castings 	CS 83

(Re-approved)

A48/A48M-03	Standard Specification for Gray Iron Castings	MS 571, 572,573

##### (A53/A53M-05	Standard Specification for Pipe, Steel, Black and Hot-Dipped,	MS 554, 591

##### Zinc-Coated, Welded and Seamless

(A82/A82M-05a 	Standard Specification for Steel Wire, Plain, for Concrete Reinforcement	APP MS 53

A90/A 90M-01 	Standard Test Method for Weight [Mass] of Coating on Iron and	APP MS 581

Steel Articles with Zinc or Zinc-Alloy Coatings

(A108-03(1	Standard Specification for Steel Bars, Carbon, Cold Finished,	MS 571, 572, 573

(A116-05	Standard Specification for Metallic-Coated, Steel Woven Wire Fence Fabric	MS 591

A121-99(2004)	Standard Specification for Metallic-Coated Carbon Steel Barbed Wire	CS 91, MS 591

LEGEND

( - Indicates new edition since 12-2-04 Key List

( - Indicates Standard Added in 2005

R - Indicates Re-approved since Dec 2004 Key List

((( - Indicates applicable to other NRCS Programs

BOLD TYPE - Indicates that Project Construction activities should have this ASTM

MS 571 OR CS 31 - Indicates the Material or Construction Specification that lists the ASTM

APP MS 551 OR CS 83 - Indicates not listed in Material or Construction Specs but is applicable Material or Construction Specifications.

"A" SERIES Cont’d.	Applicable CS or MS

A123/A 123M-02	Standard Specification for Zinc (Hot-Dip Galvanized) Coatings on	MS 582

Iron and Steel Products

(A126-04	Standard Specification for Gray Iron Castings for Valves,	MS 571, 572, 573

Flanges and Pipe Fittings

RA134-96(2005)	Standard Specification for Pipe, Steel, Electric- Fusion (Arc)-Welded	MS 554

(Re-approved)	(Arc)-Welded (Size NPS 16 and Over)

# (A135-05	Standard Specification for Electric-Resistance-Welded Steel Pipe	MS 554

(A139/A139M-04	Standard Specification for Electric-Fusion (Arc)-Welded Steel) 	MS 554

Pipe (NPS 4 and Over

(A148/A148M-05	Standard Specification for Steel Castings, High Strength, for	MS 572, 573

Structural Purposes

(A153/A153M-05 	Standard Specification for Zinc Coating (Hot-Dip) on Iron	MS 581,582

and Steel Hardware

RA167-99 (2004)	Standard Specification for Stainless and Heat-Resisting	MS 571, 572, 573

(Re-approved)	Chromium-Nickel Steel Plate, Sheet and Strip

(A184/A184M-05	Standard Specification for Fabricated Deformed Steel Bar	MS 539

Mats for Concrete Reinforcement

(A185/A185M-05a	Standard Specification for Steel Welded Wire Reinforcement,	CS 64, MS 539

Plain, for Concrete

(A242/A242M-04(1	Standard Specification for High-Strength Low-Alloy Structural Steel 	MS 581

(A276-05a	Standard Specification for Stainless Steel Bars and Shapes 	MS 571, 572, 573

A283/A283M-03	Standard Specification for Low and Intermediate Tensile Strength	MS 581

Carbon Steel Plates

(A307-04	Standard Specification for Carbon Steel Bolts and Studs,	CS 83, MS 581

60 000 PSI Tensile Strength

(A325-04b	Standard Specification for Structural Bolts, Steel, Heat Treated,	MS 581

120/105 ksi Minimum Tensile Strength

(A328/A328M-05	Standard Specification for Steel Sheet Piling 	MS 511

(A385-05	Standard Practice for Providing High-Quality Zinc Coatings (Hot-Dip)	APP MS 58

A390-95(2001)	Standard Specification for Zinc-Coated (Galvanized) Steel	MS 591

Poultry Fence Fabric (Hexagonal and Straight Line)

A392-03	Standard Specification for Zinc-Coated Steel Chain-Link Fence Fabric	CS 91

"A" SERIES Cont’d.	Applicable CS or MS

A436-84(2001)	Standard Specification for Austenitic Gray Iron Castings	MS 571

(Re-approved)

(A449-04b	Standard Specification for Quenched and Tempered Steel Bolts and Studs	APP MS 58

(A494/A494M-05	Standard Specification for Castings, Nickel and Nickel Alloy 	MS 571, 572

(A496/A496M-05	Standard Specification for Steel Wire, Deformed, For Concrete	APP CS 31, 32

Reinforcement

(A497/A497M-05a 	Standard Specification for Steel Welded Wire Reinforcement, 	MS 539

Deformed, for Concrete

A501-01	Standard Specification for Hot-Formed Welded and Seamless Carbon	APP MS 581

Steel Structural Tubing

##### A502-03	Standard Specification for Rivets, Steel, Structural	APP MS 581

A563-04a	Standard Specification for Carbon and Alloy Steel Nuts 	APP MS 581

##### (A568/A568M-05a 	Standard Specification for Steel, Sheet, Carbon, and High-Strength, 	APP MS 581

##### Low-Alloy, Hot-Rolled and Cold-Rolled, General Requirements for

A572/A572M-04	Standard Specification for High-Strength Low-Alloy	MS 511

Columbium-Vanadium Structural Steel

A575-96(2002)	Standard Specification for Steel Bars, Carbon, Merchant	MS 571, 572, 573, 581

(Re-approved)	Quality, M-Grades

(A582/A582M-05	Standard Specification for Free-Machining Stainless Steel Bars	MS 571, 572, 573

(A588/A588M-05	Standard Specification for High-Strength Low-Alloy Structural Steel	MS 581

with 50 ksi [345 MPa] Minimum Yield Point to 4-in [100 mm] Thick

A589-96(2001)	Standard Specification for Seamless and Welded Carbon Steel	APP MS 554

Water-Well Pipe

(A615/A615M-05a	Standard Specification for Deformed and Plain Carbon-Steel Bars	MS 539

for Concrete Reinforcement

A641/A641 M-03	Standard Specification for Zinc-Coated (Galvanized) Carbon Steel Wire	CS 64, MS 591

(A648-04a	Standard Specification for Steel Wire, Hard-Drawn for Prestressing	APP CS 41, 42

Prestressing Concrete Pipe

(A653/A653M-05a	Standard Specification for Steel Sheet, Zinc-Coated  	MS 538, 571,573, 581

(Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed)

by the Hot-Dip Process

"A" SERIES Cont’d.	Applicable CS or MS

A690/A690M-00a	Standard Specification for High-Strength Low-Alloy Steel H-Piles	MS 511

and Sheet Piling for Use in Marine Environments

A702-89(2000)	Standard Specification for Steel Fence Posts and Assemblies,	MS 591

(Re-approved	Hot Wrought

A711-04	Standard Specification for Steel Forging Stock 	CS 83

A742/A742M-03	Standard Specification for Steel Sheet, Metallic-Coated and	MS 551

Polymer Precoated for Corrugated Steel Pipe

A760/A760M-01a	Standard Specification for Corrugated Steel Pipe,	CS 51, MS 551

Metallic-Coated for Sewers and Drains

A761/A761M-04	Standard Specification for Corrugated Steel Structural Plate,	MS 551

Zinc-Coated for Field-Bolted Pipe, Pipe-Arches, and Arches

A762/A762M-00	Standard Specification for Corrugated Steel Pipe, Polymer	CS 51, MS 551, 552

Precoated for Sewers and Drains

A775/A775M-04a	Standard Specification for Epoxy-Coated Reinforcing Steel Bars	MS 539

A780-01	Standard Practice for Repair of Damaged and Uncoated Areas	MS 551

of Hot-Dip Galvanized Coatings

(A796/A796M-04a	Standard Practice for Structural Design of Corrugated Steel Pipe,	APP MS 551

Pipe-Arches, and Arches for Storm and Sanitary Sewers and

Other Buried Applications

A798/A798M-01 	Standard Practice for Installing Factory-Made Corrugated Steel	APP MS 551

Pipe for Sewers and Other Applications

RA849-00 (2005)	Standard Specification for Post-Applied Coatings, Pavings, and	CS 51 MS 551, 552

(Re-approved)	Linings for Corrugated Steel Sewer and Drainage Pipe

A854/A854M-98(2003)	Standard Specification for Metallic-Coated Steel Smooth 	MS 591

(Re-approved)	High-Tensile Fence and Trellis Wire

(A857/A857M-05	Standard Specification for Steel Sheet Piling, Cold Formed,	APP MS 511

Light Gage

RA858/A858M-00 (2005)	Standard Specification for Heat-Treated Carbon Steel	MS 554

(Re-approved)	Fittings for Low-Temperature and Corrosive Service

A865-03	Standard Specification for Threaded Couplings, Steel, Black or	MS 554

Zinc-Coated (Galvanized) Welded or Seamless, for Use in Steel Pipe Joints

(A875/A875M-05	Standard Specification for Steel Sheet, Zinc-5% Aluminum	MS 551

Alloy-Coated by the Hot-Dip Process

"A" SERIES Cont’d.		Applicable CS or MS

A885/A885M-96(2002)	Standard Specification for Steel Sheet, Zinc and Aramid	CS 51 MS 551

(Re-approved)	Fiber Composite coated for Corrugated Steel Sewer,

Culvert, and Underdrain Pipe

A924/A924M-04	Standard Specification for General Requirements for Steel Sheet,	MS 571, 573, 581

Metallic-Coated by the Hot-Dip Process

A929/A929M-01	Standard Specification for Steel Sheet, Metallic-Coated by the	MS 551

Hot-Dip Process for Corrugated Steel Pipe

(A996/A996M-05a	Standard Specification for Rail-Steel and Axle-Steel Deformed	MS 539

Bars for Concrete Reinforcement 	(Replaces A 616 and A 617)

##### (A1008/A1008M-05b	Standard Specification for Steel, Sheet, Cold-Rolled, Carbon, Structural,	MS 581

##### High-Strength Low-Alloy, High-Strength Low-Alloy with Improved

Formability, Solution Hardened, and Bake Hardenable	  (Replaces A 611)

*

(A1011/A1011M-05a	Standard Specification for Steel, Sheet and Strip, Hot-Rolled, 	MS 571, 572, 581

Carbon, Structural High-Strength Low-Alloy and High-Strength

Low-Alloy with Improved Formability 	(Replaces A 569 and A 570)

"B" SERIES	Applicable CS or MS

B6-03	Standard Specification for Zinc	APP MS 582

(B21/B21M-01(1	Standard Specification for Naval Brass Rod, Bar, and Shapes 	MS 571, 572, 573

B98/ 98M-03	Standard Specification for Copper-Silicon Alloy Rod, Bar, and Shapes 	MS 571, 572, 573

(B103/103M-04	Standard Specification for Phosphor Bronze Plate, Sheet, Strip,	MS 571, 572

and Rolled Bar

B117-03	Standard Practice for Operating Salt Spray (Fog) Apparatus	CS 64

(B127-05	Standard Specification for Nickel-Copper Alloy (UNS N04400)	MS 571, 572

Plate, Sheet, and Strip

B138/138M-01 	Standard Specification for Manganese Bronze Rod, Bar and Shapes 	MS 571, 572

B139/139M-01 	Standard Specification for Phosphor Bronze Rod, Bar, and Shapes 	MS 571, 572

B152/B152M-00	Standard Specification for Copper Sheet, Strip, Plate, and Rolled Bar 	MS 538

B164-03	Standard Specification for Nickel-Copper Alloy Rod, Bar and Wire	MS 571, 572

B209-04	Standard Specification for Aluminum and Aluminum-Alloy Sheet and Plate 	MS 581

(B210-04	Standard Specification for Aluminum and Aluminum-Alloy Drawn	MS 581

Seamless Tubes

"B" SERIES Cont’d.	Applicable CS or MS

B211-03	Standard Specification for Aluminum and Aluminum-Alloy Bar, Rod, and Wire	MS 581

(B221-05a	Standard Specification for Aluminum and Aluminum-Alloy,	MS 581

Extruded Bars Rods, Wire, Profiles, and Tubes

B241/B241M-02	Standard Specification for Aluminum and Aluminum-Alloy Seamless	(((

Pipe and Seamless Extruded Tube

B308/308M-02	Standard Specification for Aluminum-Alloy 6061-T6 Standard	MS 581

Structural Profiles

B316/ 316M-02	Standard Specification for Aluminum and Aluminum-Alloy Rivet	MS 581

and Cold-Heading Wire and Rods

B418-01	Standard Specification for Cast and Wrought Galvanic Zinc Anodes	APP CS 52

B429-02	Standard Specification for Aluminum-Alloy Extruded Structural Pipe and Tube 	MS 581

(B584-05	Standard Specification for Copper Alloy Sand Castings for	MS 571, 572 573

General Applications

B633-98(1	Standard Specification for Electrodeposited Coatings of Zinc on Iron and Steel	MS 581, 582

B744/B744M-05	Standard Specification for Aluminum Alloy Sheet for Corrugated	MS 552

Aluminum Pipe

RB745/B745M-97(2005)	Standard Specification for Corrugated Aluminum Pipe for	MS 552

(Re-approved)	Sewers and Drains

B746/B746M-02	Standard Specification for Corrugated Aluminum Alloy Structural Plate for	MS 552

Field-Bolted Pipe, Pipe-Arches, and Arches

# B766-86(2003)	Standard Specification for Electrodeposited Coatings of Cadmium	MS 581, 582

(Re-approved)

B790/B790M-00	Standard Practice for Structural Design of Corrugated Aluminum Pipe,	MS 552

Pipe-Arches, and Arches for Culverts, Storm Sewers, and Other Buried Conduits

(C4-04(1	Standard Specification for Clay Drain Tile and Perforated Clay Drain Tile 	MS 544

(C12-04 (1	Standard Practice for Installing Vitrified Clay Pipe Lines 	APP CS 43

(C14-05	Standard Specification for Concrete Sewer, Storm Drain, and Culvert Pipe 	MS 542

(C14M-05	Standard Specification for Concrete Sewer, Storm Drain, and	APP MS 542

Culvert Pipe [Metric]

RC29/C29M-97(2003)	Standard Test Method for Bulk density (‘Unit Weight”) and	CS 36,

(Re-approved)	Voids in Aggregate	APP MS 521522, 523

"C" SERIES		Applicable CS or MS

C31/C31M-03a	Standard Practice for Making and Curing Concrete Test	CS 23,24, 31, 32

Specimens in the Field

C33-03	Standard Specification for Concrete Aggregates 	CS 14, 36, MS 522, 524

(C39/C39M-05	Standard Test Method for Compressive Strength of 	CS 31, 32, 35, 36

Cylindrical Concrete Specimens

C40-04	Standard Test Method for Organic Impurities in Fine Aggregates	APP MS 522

for Concrete

#### (C42/C42M-04	Standard Test Methods for Obtaining and Testing Drilled	CS 31, 32,36

Cores and Sawed Beams of Concrete

C70-94(2001)	Standard Test Method for Surface Moisture in Fine Aggregate	APP MS 522

(Re-approved)

##### (C76-05b	Standard Specification for Reinforced Concrete Culvert, Storm 	MS 542

Drain, and Sewer Pipe

(C76M-05b	Standard Specification for Reinforced Concrete Culvert, Storm Drain,	APP MS 542

and Sewer Pipe [Metric]

C78-02	Standard Test Method for Flexural Strength of Concrete (Using Simple	APP CS 31, 32

Beam with Third-Point Loading)

#### (C88-05	Standard Test Method for Soundness of Aggregates by Use of	MS 521, 523

Sodium Sulfate or Magnesium Sulfate

(C94/C94M-04a	Standard Specification for Ready-Mixed Concrete 	CS 29, 33, 35, 36

(C110-05a	Standard Test Methods for Physical Testing of Quicklime, Hydrated	MS 593

Lime and Limestone

#### (C117-04	Standard Test Method For Materials Finer Than 75-um (No. 200)	MS 521

(No. 200) Sieve In Mineral Aggregates by Washing

# (C118-05	Standard Specification for Concrete Pipe for Irrigation or Drainage	MS 543

(C123-04	Standard Test Method for Lightweight Particles in Aggregate	APP MS 52

C125-03	Standard Terminology Relating to Concrete and Concrete	CS 31, 32, MS 522 APP

Aggregates

(C127-04	Standard Test Method for Density, Relative Density (Specific	CS 36, MS 523 Gravity), and Absorption of Coarse Aggregate

(C128-04a	Standard Test Method for Density, Relative Density (Specific	CS 36, APP MS 522

Gravity) and Absorption of Fine Aggregate

"C" SERIES Cont’d.	Applicable CS or MS

(C136-05	Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates	MS 521

C138/C138M-01a	Standard Test Method for Unit Weight, Yield, and Air 	CS 31, 32, 62

Content (Gravimetric) of Concrete

(RC142-97 (2004)	Standard Test Method for Clay Lumps and Friable Particles	APP MS 522

(Re-approved)	In Aggregates

(C143/C143M-05a	Standard Test Method for Slump of Hydraulic Cement Concrete	CS 31, 32, 36

(C150-05	Standard Specification for Portland Cement 	MS 531

# C171-03	Standard Specification for Sheet Materials for Curing Concrete	CS 31, 32, 36

C172-04	Standard Practice for Sampling Freshly Mixed Concrete	CS 31, 32, 62

C173/C173M-01(1	Standard Test Method for Air Content of Freshly Mixed e	CS 31, 32

Concrete by the Volumetric Method

(C192/C192M-05	Standard Practice for Making and Curing Concrete Test	APP CS 31, 32

Specimens in the Laboratory

(C207-05	Standard Specification for Hydrated Lime for Masonry Purposes	(((

C227-03	Standard Test Method for Potential Alkali Reactivity of Cement-Aggregate	MS 522, 524

Combinations (Mortar-Bar Method)

(C231-04	Standard Test Method for Air Content of Freshly Mixed	CS 31, 32

Concrete by The Pressure Method

(C233-04	Standard Test Method for Air-Entraining Admixtures for Concrete	APP MS 533

C260-01	Standard Specification for Air-Entraining Admixtures for Concrete 	CS 33, MS 533

# C289-03	Standard Test Method for Potential Reactivity of Aggregates 	MS 522, 524

(Chemical Method)

C295-03	Standard Guide for Petrographic Examination of Aggregates for Concrete	APP MS 521

#### (C301-04	Standard Test Methods for Testing Vitrified Clay Pipe	APP CS 43

#### C309-03	Standard Specification for Liquid Membrane-Forming	CS 29,31,32,35 MS 534

(C361-05(1	Standard Specification for Reinforced Concrete Low-Head Pressure Pipe	MS 541

(C361M-05	Standard Specification for Reinforced Concrete Low-Head	MS 541

Pressure Pipe [Metric]

C412-05	Standard Specification for Concrete Drain Tile	MS 543

"C" SERIES Cont’d.	Applicable CS or MS

C425-04	Standard Specification for Compression Joints for Vitrified Clay	CS 43, MS 544

Pipe and Fittings

(C443 05a	Standard Specification for Joints for Concrete Pipe and Manholes,	MS 542

Using Rubber Gaskets

C444-03	Standard Specification for Perforated Concrete Pipe and Fittings	MS 543

C470/C470M-02a	Standard Specification for Molds for Forming Concrete Test	APP CS, 31, 32

Cylinders Vertically

C478-05	Standard Specification for Precast Reinforced Concrete Manhole Sections	APP CS 42

(C494/C494M-05	Standard Specification for Chemical Admixtures 	CS 31, 32, 33, 36

for Concrete 	MS 533 & APP CS 35

(C497-05	Standard Test Methods for Concrete Pipe Manhole Sections or Tile	MS 541

(C505-05	Standard Specification for Nonreinforced Concrete Irrigation Pipe	MS 543

With Rubber Gasket Joints

(C506-05a	Standard Specification for Reinforced Concrete Arch Culvert,	MS 542

Storm Drain and Sewer Pipe

(C507-05a	Standard Specification for Reinforced Concrete Elliptical Culvert, 	S 542

Storm Drain and Sewer Pipe

C566-97(2004)	Standard Test Method for Total Evaporable Moisture Content of 	CS 36, APP CS 31, 32

(Re-approved)	Aggregate by Drying

(C595-05	Standard Specification for Blended Hydraulic Cements 	MS 531

(C618-05	Standard Specification for Coal Fly Ash and Raw or Calcined	CS 29, 33, 62 63

Natural Pozzolan for Use in Concrete 	MS 532

(C655-04(1	Standard Specification for Reinforced Concrete D-Load Culvert,	MS 542

Storm Drain and Sewer Pipe

(C655M-04(1	Standard Specification for Reinforced Concrete D-Load Culvert,	APP MS 542

Storm Drain and Sewer Pipe [Metric]

C666/C666M-03	Standard Test Method for Resistance of Concrete to Rapid	APP CS 31, 32

Freezing and Thawing

C684-99(2003)	Standard Test Method for Making, Accelerated Curing, and	APP CS 3, 32

(Re-approved)	Testing Concrete Compression Test Specimens

C685/C685M-01	Standard Specification for Concrete Made By Volumetric	CS 31, 32 36

Batching and Continuous Mixing

"C" SERIES Cont’d.	Applicable CS or MS

C700-05	Standard Specification for Vitrified Clay Pipe, Extra Strength,	MS 544

Standard Strength and Perforated

C702-98(2003)	Standard Practice for Reducing Field Samples of	APP MS 522

(Re-approved)	Aggregate to Testing Size

(C717-05 a	Standard Terminology of Building Seals and Sealants	APP CS 31, 32, MS 536

C823-00	Standard Practice for Examination and Sampling of Hardened	APP CS 31, 32

Concrete in Constructions

C828-03	Standard Test Method for Low-Pressure Air Test of Vitrified	APP CS 43

Clay Pipelines

(C877-02(1	Standard Specifications External Sealing Bands for Concrete Pipe,	MS 536

Manholes and Precast Box Sections

(C882-05	Standard Test Method for Bond Strength of Epoxy-Resin Systems	CS 35

Used With Concrete By Slant Shear

C913-02	Standard Specification for Precast Concrete Water and Wastewater Structures	(((

(C920-05	Standard Specification for Elastomeric Joint Sealants	MS 536

C924-02	Standard Practice For Testing Concrete Pipe Sewer Lines by	CS 41

Low-pressure Air Test Method

C977-03	Standard Specification for Quicklime and Hydrated Lime for	MS 593

Soil Stabilization

(C989-05	Standard Specification for Ground Granulated Blast-Furnace Slag for	MS 532

Use in Concrete and Mortars)

C990-03a	Standard Specification for Joints for Concrete Pipe, Manholes and	MS 536

Precast Box Sections Using Preformed Flexible Joint Sealants)

#### C1017/C1017M-03	Standard Specification for Chemical Admixture for Use	CS 31, 32, MS 533

#### in Producing Flowing Concrete

(C1040-05	Standard Test Methods for In-Place Density of Unhardened and Hardened	CS 33, 36

Concrete, Including Roller Compacted Concrete, By Nuclear Methods

(C1064/C1064M-05 	Standard Test Method for Temperature of Freshly 	CS 31, 32

Mixed Hydraulic-Cement Concrete

(C1077-05a	Standard Practice for Laboratories Testing Concrete and Concrete	APP CS 31, 32

##### Aggregates for Use in Construction and Criteria for 	Laboratory Evaluation

"C" SERIES Cont’d.	Applicable CS or MS

C1103-03	Standard Practice for Joint Acceptance Testing of Installed Precast	CS 41, 42

Concrete Pipe Sewer Lines

C 1116-03	Standard Specification for Fiber-Reinforced Concrete and Shotcrete	APP CS 31, 32, 33

C 1140-03a	Standard Practice For Preparing and Testing Specimens from Shotcrete Test panels	CS 33, 36

C 1141-01 	Standard Specification for Admixtures for Shotcrete 	APP CS 33

C1170-91(1998) (1	Standard Test Methods for Determining Consistency and Density	CS 36

(Re-approved)	of Roller-Compacted Concrete Using a Vibrating Table

C1176-92(1998) 	Standard Practice for Making Roller-Compacted Concrete in 	CS 36

Cylinder Molds Using a Vibrating Table

(C1193-05a	Standard Guide for Use of Joint Sealants 	APP CS 31, 32

(C1262-05a	Standard Test Method for Evaluating the Freeze-Thaw Durability of	(((

Manufactured Concrete Masonry Units and Related Concrete Units

C1330-02	Standard Practice For Cylindrical Sealant Backing for use with Cold	APP CS, 42

Liquid Applied Sealants

(C1433-04e1	Standard Specification for Precast Reinforced Concrete Box	MS 542

Sections for Culverts, Storm Drains, and Sewers

(Replaces C 789 and C850)

(C1433M-04e1	Standard Specification for Precast Reinforced Concrete Box	MS 542

Sections for Culverts, Storm Drains, and Sewers [Metric]

(Replaces C 789 and C850)

(C1435/C1435M-05	Standard Practice for Molding Roller-Compacted Concrete in 	CS 36

Cylinder Molds Using a Vibrating Hammer

"D" SERIES		Applicable CS or MS

D4-86 (2004)	Standard Test Method of Bitumen Content	MS 583

(Re-approved)

RD25-99(2005)	Standard Specification for Round Timber Piles	MS 512

(Re-approved)

D75-03	Standard Practice For Sampling Aggregates	CS 36, APP  MS 521, 522

RD79-86 (2004)	Standard Specification for Zinc Oxide Primer	CS 51

(Re-approved)

(D98-05	Standard Specification for Calcium Chloride	CS 33, APP CS 31

"D" SERIES Cont’d.	Applicable CS or MS

D235-02	Standard Specification for Mineral Spirits (Petroleum Spirits)	CS 84

(Hydrocarbon Dry Cleaning Solvent)

(D244 04	Standard Test Methods for Emulsified Asphalts 	(((

D245-00 (2002)(1	Standard Practice for Establishing Structural Grades and	MS 584

(Re-approved)	Related Allowable Properties for Visually Graded Lumber

D360-89(2001)	Standard Specification for Shellac Varnish	CS 84

D395-03	Standard Test Methods for Rubber Property—Compression Set	MS 537

D412-98a (2002)(1	Standard Test Methods for Vulcanized Rubber and Thermoplastic	CS 64, MS 537

(Re-approved)	Rubbers and Thermoplastic Elastomers-Tension

D413-98(2002)(1	Standard Test Methods for Rubber Property—Adhesion to	MS 594

(Re-approved)	Flexible Substrate

D420-98 (2003)	Standard Guide for Site Characteristics for Engineering, Design	(((

(Re-approved)	and Construction Purposes

RD520-00(2005)	Standard Specification for Zinc Dust Pigment 	CS 51

(Re-approved)

RD545-99(2005) 	Standard Test Methods for Preformed Expansion Joint Fillers for 	APP MS 535

(Re-approved)	Concrete Construction (Nonextruding and Resilient Types

(D558-04	Standard Test Methods for Moisture-Density Relations of	CS 29

Soil-Cement Mixtures

D559-03	Standard Test Methods for Wetting and Drying Compacted	CS 29

Soil-Cement Mixtures

D560-03	Standard Test Methods for Freezing and Thawing Compacted	CS 29

# Soil-Cement Mixtures

D570-98	Standard Test Method for Water Absorption of Plastics	MS 537

D638-03	Standard Test Method for Tensile Properties of Plastics 	CS 64, MS 537, 594

(D653-05	Standard Terminology Relating To Soil, Rock and Contained Fluids	APP CS 25, 61, 62

D698-00a (1	Standard Test Methods for Laboratory Compaction Characteristics	CS 23,24,28

of Soil Using Standard Effort (12,400 ft-lbf/ft3 (600 kN-m/m3))

##### D746-04	Standard Test Method for Brittleness Temperature of Plastics and	CS 64, MS 537

##### Plastics and Elastomers by Impact

"D" SERIES Cont’d.	Applicable CS or MS

##### D746-04	Standard Test Method for Brittleness Temperature of Plastics and	CS 64, MS 537

##### Plastics and Elastomers by Impact

(D751-00(1 	Standard Test Methods for Coated Fabrics 	MS 594

D792-00 	Standard Test Methods for Density and Specific Gravity 	CS 64, MS 537, 594

(Relative Density) of Plastics by Displacement

D882-02	Standard Test Method for Tensile Properties of Thin Plastic Sheeting 	MS 594

D883-00	Standard Terminology Relating to Plastics 	APP CS 45, 95

(D977-05	Standard Specification for Emulsified Asphalt	CS 6

D994-98(2003)	Standard Specification for Preformed Expansion Joint Filler	MS 535

(Re-approved)	for Concrete (Bituminous Type)

D1004-03	Standard Test Method for Initial Tear Resistance of Plastic Film	MS 594

D1186-01	Standard Test Methods for Nondestructive Measurement of Dry Film	MS 583

Thickness of Nonmagnetic Coatings Applied to a Ferrous Base

D1204-02 	Standard Test Method for Linear Dimensional Changes of Nonrigid	MS 594

Thermoplastic Sheeting or Film at Elevated Temperature

D1241-00	Standard Specification for Materials for Soil-Aggregate, Subbase,	APP MS 521, 522

Base and Surface Courses

D1242-95a	Standard Test Method for Resistance of Plastic material	CS 64

to Abrasion)	WITHDRAWN 2004 --NO REPLACEMENT

D1452-80(2000)	Standard Practice for Soil Investigation and Sampling by Auger Borings	(((

(Re-approved)

D1505-03	Standard Test Method for Density of Plastics by the Density-Gradient Technique	MS 594

R D1527-99 (2005)	Standard Specification for Acrylonitrile-Butadiene-Styrene	MS 547

(Re-approved)	(ABS),Plastic Pipe, Schedules 40 and 80

D1556-00	Standard Test Method for Density and Unit Weight of Soil in	CS 23

Place by the Sand-Cone Method

D1557-02(1	Standard Test Methods for Laboratory Compaction Characteristics of	CS 23, 36

Soil Using Modified Effort (56,000 ft-lbf/ft3 (2,700 kN-m/m3))

D1558-99(2004) (1	Standard Test Method for Moisture Content Penetration	(((

(Re-approved)	Resistance Relationships of Fine-Grained Soils

D1586-99	Standard Method for Penetration Test and Split-Barrel Sampling of Soils	(((

"D" SERIES Cont’d.	Applicable CS or MS

D1587-00 	Standard Practice for Thin-Walled Tube Sampling of Soils for	(((

Geotechnical Purposes

# D1593-99	Standard Specification for Nonrigid Vinyl Chloride Plastic Sheeting	(((

D1603-01 	Standard Test Method for Carbon Black In Olefin Plastics	MS 594

#### D1751-04	Standard Specification for Preformed Expansion Joint Fillers	MS 535

For Concrete Paving and Structural Construction

(Nonestruding and Resilient Bituminous Types)

#### D1752-04a	Standard Specification for Preformed Sponge Rubber Cork and	MS 535

#### Recycled PVC Expansion Joint Fillers for Concrete Paving and Structural Construction

D1760-01	Standard Specification for Pressure Treatment of Timber Products	MS 585

D1784-03	Standard Specification for Rigid Poly (Vinyl Chloride) (PVC)	APP MS 747

Compounds and Chlorinated Poly (Vinyl Chloride) (CPVC) Compounds

(D1785-05	Standard Specification for Poly (Vinyl Chloride) (PVC) Plastic	MS 547

Pipe, Schedules 40, 80, and 120

D1790-02 	Standard Test Method for Brittleness Temperature of Plastic	MS 594

Sheeting by Impact

D2103-03	Standard Specification for Polyethylene Film and Sheeting	(((

D2104-03	Standard Specification for Polyethylene (PE) Plastic Pipe, Schedule 40	MS 547

RD2122-98(2004)	Standard Test Method for Determining Dimensions of 	MS 547

(Re-approved)	Thermoplastic Pipe and Fittings

D2136-02	Standard Test Method for Coated Fabrics—Low-Temperature Bend Test	MS 594

D2152-95(2003)	Standard Test Method for Adequacy of Fusion of Extruded Poly	APP MS 547

(Re-approved)	(Vinyl Chloride)(PVC) Pipe and Molded Fittings by Acetone Immersion

#### D2167-94(2001)	Standard Test Method for Density and Unit Weight of Soil	CS 23

(Re-approved)	in Place by the Rubber Balloon Method

(D2216-05	Standard Test Method for Laboratory Determination of Water

(Moisture) Content of Soil and Rock by Mass	CS 23, 36

(D2235-04	Standard Specification for Solvent Cement for	CS 45

Acrylonitrile-Butadiene- Styrene (ABS) Plastic Pipe and Fittings

# D2239-03	Standard Specification for Polyethylene (PE) Plastic Pipe	MS 547

(SIDR-PR) Based on Controlled Inside Diameter

"D" SERIES Cont’d.	Applicable CS or MS

(D2240-05	Standard Test Method for Rubber Property-Durometer Hardness 	MS 537

( D2241-05	Standard Specification for Poly (Vinyl Chloride) (PVC)	MS 547

Pressure-Rated Pipe (SDR Series)

RD2282-99(2005)	Standard Specification for Acrylonitrile-Butadiene-Styrene (ABS)	MS 547

(Re-approved)	Plastic Pipe

(D2290-04	Standard Test Method for Apparent Hoop Tensile Strength of Plastic or	APP MS 547

Reinforced Plastic Pipe by Split Disk Method

(D2321-05	Standard Practice for Underground Installation of Thermoplastic	APP MS 547

Pipe for Sewers and Other Gravity-Flow Applications

# (D2397-05	Standard Specification for Cationic Emulsified Asphalt	(((

D2412-02	Standard Test Method for Determination of External Loading	APP MS 547

Characteristics of Plastic Pipe by Parallel-Plate Loading

D2415-98(2003)	Standard Test Method for Ash in Coal Tar and Pitch	MS 583

(Re-approved)

R D2444-99(2005)	Standard Test Method for Determination of the Impact Resistance	APP MS 547

(Re-approved)	of Thermoplastic Pipe and Fittings by Means of a Tup (Falling Weight)

D2447-03	Standard Specification for Polyethylene (PE) Plastic Pipe,	MS 547

Schedules 40 and 80 Based on Outside Diameter

# D2464-99(1	Standard Specification for Threaded Poly (Vinyl Chloride) (PVC)	APP MS 547

Plastic Pipe Fittings Schedule 80

(D2466-05	Standard Specification for Poly (Vinyl Chloride) (PVC) Plastic 	MS 547

Pipe Fittings Schedule 40

(D2467-05	Standard Specification for Poly (Vinyl Chloride) (PVC) Plastic,	APP MS 547

Pipe Fittings Schedule 80

D2487-00 	Standard Classification of Soils for Engineering Purposes 	(((

(Unified Soil Classification System)

D2488-00	Standard Practice for Description and Identification of Soils 	(((

(Visual-Manual Procedure)

(D2564-04	Standard Specification for Solvent Cements For Poly (Vinyl Chloride)	APP MS 547

(PVC) Plastic Piping Systems

D2573-01	Standard Method for Field Vane Shear Test in Cohesive Soil	(((

D2609-02	Standard Specification for Plastic Insert Fittings for Polyethylene (PE)	APP MS 547

Plastic Pipe

"D" SERIES Cont’d.	Applicable CS or MS

D2657-03	Standard Practice for Heat Fusion Joining of Polyolefin Pipe and Fittings	MS 547

D2661-02	Standard Specification for Acrylonitrile-Butadiene-Styrene (ABS)	MS 547

Schedule 40 Plastic Drain, Waste, and Vent Pipe and Fittings

##### (D2665-04a(2	Standard Specification for Poly(Vinyl Chloride) (PVC) Plastic 	MS 547

##### Drain, Waste, and Vent Pipe and Fittings

D2672-96a (2003)	Standard Specification for Joints For IPS PVC Pipe Using	MS 547

(Re-approved)	Solvent Cement

D2680-01	Standard Specification for Acrylonitrile-Butadiene-Styrene (ABS)	MS 547

and Poly (Vinyl Chloride) (PVC) Composite Sewer Piping

(D2683-04	Standard Specification for Socket-Type Polyethylene Fittings for	APP MS 547

Outside Diameter-Controlled Polyethylene Pipe and Tubing

D2729-03	Standard Specification for Poly (Vinyl Chloride)(PVC) Sewer	APP MS 547

Pipe and Fittings

D2737-03	Standard Specification for Polyethylene (PE) Plastic Tubing 	APP MS 547

###### (D2751-05	Standard Specification for Acrylonitrile-Butadiene-Styrene (ABS)	MS 547

Sewer Pipe and Fittings

D2774-04	Standard Practice for Underground Installation of Thermoplastic	APP CS 45

Pressure Piping

D2852-95(2002)	Standard Specification for Styrene-Rubber (SR) Plastic Drain Pipe	(((

(Re-approved)	and Fittings

D2855-96(2002)	Standard Practice For Making Solvent-Cemented Joints With	C 45

(Re-approved)	Poly (Vinyl Chloride) (PVC) Pipe and Fittings

(D2922-05	Standard Test Methods for Density of Soil and Soil-Aggregate	CS 23

in Place by Nuclear Methods (Shallow Depth)

(D2937-04 	Standard Test Method for Density of Soil in Place by the Drive-Cylinder Method	CS 23

(D2949-01a(1 	Standard Specification for 3.25-in. Outside Diameter Poly(Vinyl Chloride)	APP MS 547

Poly (Vinyl Chloride) (PVC) Plastic Drain, Waste, and Vent Pipe and Fittings

D3017-04	Standard Test Method for Water Content of Soil and Rock in	CS 23, 36

D3017-05	Place by Nuclear Methods (Shallow Depth)

(D3034-04a	Standard Specification for Type PSM Poly(Vinyl Chloride) (PVC)	MS 547

Sewer Pipe and Fittings

D3035-03a	Standard Specification for Polyethylene (PE) Plastic Pipe (DR-PR)	MS 547

Based on Controlled Outside Diameter

"D" SERIES Cont’d.	Applicable CS or MS

D3122-95(2002)	Standard Specification for Solvent Cements For Styrene-Rubber	APP MS 547

(Re-approved)	(SR) Plastic Pipe and Fittings

(D3138-04	Standard Specification for Solvent Cements for Transition Joints	APP MS 547

Between Acrylonitrile-Butadiene-Styrene (ABS) and Poly Vinyl

Chloride) (PVC) Non-Pressure Piping Components

RD3139-98 (2005)	Standard Specification for Joints for Plastic Pressure Pipes Using	APP MS 547

(Re-approved)	Flexible Elastomeric Seals

(D3212-96a (2003) (1	Standard Specification for Joints for Drain and Sewer Plastic,	APP MS 547

(Re-approved)	Pipes Using Elastomeric Seals

D3261-03	Standard Specification for Butt Heat Fusion Polyethylene (PE)	APP MS 547

Plastic Fittings for Polyethylene (PE) Plastic Pipe and Tubing

(D3350-05	Standard Specification for Polyethylene Plastics Pipe and Fittings Materials	MS 547

D3441-98	Standard Test Method for Mechanical Cone Penetration Tests of Soil 	(((

D3517-04	Standard Specification for "Fiberglass"	(((

(Glass-Fiber-Reinforced-Thermosetting-Resin)Pressure Pipe

(D3740-04a 	Standard Practice for Minimum Requirements for Agencies Engaged	(((

in the Testing and/or Inspection of Soil and Rock as Used

in Engineering Design and Construction

D3754-04	Standard Specification for "Fiberglass"(Glass-Fiber-Reinforced-	(((

# Thermosetting-resin) Sewer and Industrial Pressure Pipe

D3776-96(2002)	Standard Test Methods for Mass Per Unit Area (Weight) of Fabric	MS APP 595

(Re-approved)

D3786-01	Standard Test Method for Hydraulic Bursting Strength of Textile	APP MS 592

Fabrics – Diaphragm Bursting Strength Tester Method

D3963/3963M-01	Standard Specification for Fabrication and Jobsite Handling of	APP CS 34

Epoxy-Coated Steel Reinforcing Bars

D4083-89(2001)(1	Standard Practice for Description of Frozen Soils 		(((

(Visual-Manual Procedure)

D4146-96(2003)	Standard Test for Formability of Zinc Rich Primer/Chromate	CS 51

(Re-approved)	Complex Coatings on Steel

(RD4161-01 (2005)	Standard Specification for Fiberglass (Glass-Fiber-Reinforced-	(((

(Re-approved)	Thermosetting-Resin) Pipe Joints Using Flexible Elastomeric Seals

D4220-95(2000)	Standard Practice for Preserving and Transporting Soil Samples	(((

(Re-approved)

"D" SERIES Cont’d.	Applicable CS or MS

D4318-00	Standard Test Methods for Liquid Limit, Plastic Limit, and 	APP CS 23

Plasticity Index of Soils

(D4355-05	Standard Test Method for Deterioration of Geotextiles by Exposure to	MS 592

Light, Moisture and Heat in a Xenon Arc Type Apparatus

D4437-99	Standard Practice for Determining the Integrity of Field Seams Used in	CS 97 MS 594

Joining Flexible Polymeric Sheet Geomembranes

# RD4491-99a (2004)	Standard Test methods for Water Permeability of Geotextiles	MS 592

(Re-approved)	by Permittivity

D4549-03	Standard Specification for Polystyrene and Rubber-Modified	(((

Polystyrene Molding and Extrusion Materials (PS)

RD4581-86(2005)	Standard Guide for Measurement of Morphologic Characteristics	(((

(Re-approved)	Studies of Water Bodies

D4632-91(2003)	Standard Test Method for Grab Breaking Load and Elongation	MS 592

(Re-approved)	of Geotextiles

D4643-00	Standard Test Method for Determination of Water (Moisture)	CS 23, 36

Content of Soil by the Microwave Oven Method

D4647-93(1998)(1	Standard Test Method for Identification and Classification of	(((

(Re-approved)	Dispersive Clay Soils by the Pinhole Test

(D4718-87(2001)	Standard Practice for Correction of Unit Weight and Water 	CS 23

Content for Soils Containing Oversize Particles

(D4751-04	Standard Test Method for Determining Apparent Opening Size of a Geotextile	MS 592

##### (D4791-05 	Standard Test Method for Flat Particles, Elongated Particles, or Flat and	MS 524

##### Elongated Particles in Coarse Aggregate

D4833-00e1	Standard Test Method for Index Puncture Resistance of Geotextiles,	MS 592, 594

Geomembranes and Related Products

D4873-02	Standard Guide for Identification, Storage, and Handling of Geosynthetic	CS 95, MS 592

Rolls and Samples

D4884-96(2003)	Standard Test Method for Seam Strength of Sewn or Thermally	CS 95

(Re-approved)	Bonded Seams of Geotextiles

D4914-99	Standard Test Methods for Density of Soil and Rock in Place by the	APP S 23

Sand Replacement Method in a Test Pit

"D" SERIES Cont’d.	Applicable CS or MS

(D4944-04	Standard Test Method for Field Determination of Water (Moisture)	CS 23, 36

Content of Soil by the Calcium Carbide Gas Pressure Tester

(Speedy Moisture Meter)

D4959-00	Standard Test Method for Determination of Water (Moisture)	CS 23, 36

Content of Soil By Direct Heating

# D4992-94(2001)	Standard Practice for Evaluation of Rock to be used for	MS 523

(Re-approved)	Erosion Control

D5030-04	Standard Test Method for Density of Soil and Rock in Place by the	APP CS 23, 25

##### Water Replacement Method in a Test Pit

##### (REPLACED D5030-89(1994)e1 that was withdrawn in 2003)

D5079-02	Standard Practice for Preserving and Transporting Rock Core Samples	APP MS 523

# D5121-90(2001)	Standard Practice for Preparation of Rock Slabs for Durability Testing	MS 523

(Re-approved)

D5240-04	Standard Test Method for Testing Rock Slabs to Evaluate Soundness	MS 523

of Riprap by Use of Sodium Sulfate or Magnesium Sulfate

D5249-95(2000)	Std Spec for Backer Material for Use with Cold and Hot-Applied	APP CS 31,32 &

(Re-approved)	Hot-Applied Joint Sealants in Portland Cement and Asphalt Joints	APP MS 536

RD5299-99 (2005)	Standard Guide for Decommissioning of Ground Water Wells	(((

(Re-approved)	Vadose Zone Monitoring Devices, Boreholes, and Other

Devices for Environmental Activities

D5519-94(2001)	Standard Test Method for Particle Size Analysis of Natural and	CS, 62, MS 523

(Re-approved)	Man-Made Riprap materials

D5596-03	Standard Test Method for Microscopic Evaluation of the Dispersion of	MS 594

Carbon Black in Polyolefin Geosynthetics

D5641-94(2001)(1	Standard Practice for Geomembrane Seam Evaluation by 	CS 97

(Re-approved)	Vacuum Chamber

(D5820-95(2001) (1	Standard Practice for Pressurized Air Channel Evaluation of	CS 97

(Re-approved)	Dual Seamed Geomembranes

D5884-04a	Standard Test Method for Determining Tearing Strength of Internally	MS 594

Reinforced Geomembranes

D5887-04	Standard Test Method for Measurement of Index Flux Through Saturated	MS 595

Geosynthetic Clay Liner Specimens Using a Flexible Wall Permeameter

D5890-02	Standard test method for Swell Index of Clay Mineral of	MS 595

Geosynthetic Clay Liners

"D" SERIES Cont’d.	Applicable CS or MS

D5891-02	Standard Test Method for Fluid Loss of Clay Component of	MS 595

Geosynthetic Clay Liners

RD5993-99(2004) 	Standard Test Method for Measuring Mass Per Unit of	MS 595

(Re-approved)	Geosynthetic Clay Liners

D6092-97(2003)	Standard Practice for Specifying Standard Sizes of Stone	APP CS 61, 62

(Re-approved)	For Erosion Control

D6214-98(2003)	Standard Test Method for Determining the Integrity of Field 	MS 594

(Re-approved)	Seams Used in Joining Geomembranes by Chemical Fusion Methods

D6392-99 	Standard Test Method for Determining the Integrity of Nonreinforced	CS 97, MS 594

Geomembrane Seams Produced Using Thermo-Fusion Methods

D6690-01	Standard Specification for Joint and Crack Sealants, Hot Applied, for	MS 536

Concrete and Asphalt Pavements

"E" SERIES 		Applicable CS or MS

E11-04	Standard Specification for Wire-Cloth Sieves for Testing Purposes	APP MS 521, 522

(E96/E96M-05	Standard Test Methods for Water Vapor Transmission of Materials	(((

E1547-99(2003)	Standard Terminology Relating to Industrial and Specialty Chemicals	(((

(Re-approved)

"F" SERIES	.	Applicable CS or MS

# (F405-05	Standard Specification for Corrugated Polyethylene (PE) Pipe	MS 548

and Fittings

F412-01a(1	Standard Terminology Relating to Plastic Piping Systems 	APP CS 45

F449-02(1	Standard Practice for Subsurface Installation of Corrugated	APP FOTG STD 606

Polyethylene Pipe for Agricultural Drainage or Water Table Control

F477-02(1	Standard Specification for Elastomeric Seals (Gaskets) for Joining Plastic Pipe	MS 547

Joining Plastic Pipe

F480-02	Standard Specification for Thermoplastic Well Casing Pipe and Couplings	FOTG STD 642

Made in Standard Dimension Ratios (SDR), SCH 40 and SCH 80

F593-02(2	Standard Specification for Stainless Steel Bolts, Hex Cap Screws, and Studs	APP MS 581

F594-02	Standard Specifications Stainless Steel Nuts	APP MS 581

F626-96a (2003)	Standard Specification for Fence Fittings	CS 91

(Re-approved)

"F" SERIES Cont’d.	Applicable CS or MS

F628-01	Standard Specification for Acrylonitrile-Butadiene-Styrene (ABS)	APP MS 547

Schedule 40 Plastic Drain, Waste, and Vent Pipe With a Cellular Core

F656-02	Standard Specifications for Primers for use in Solvent Cement Joints of	APP MS 547

Poly(Vinyl Chloride) (PVC) Plastic Pipe and Fittings

F667-97	Standard Specifications for Large Diameter Corrugated Polyethylene	MS 548

Polyethylene Pipe and Fittings

F668-04	Standard Specification for Polyvinyl Chloride (PVC) and Other Organic 	CS 91

Polymer-Coated Steel Chain-Link Fence Fabric

# F679-03	Standard Specification for Poly(Vinyl Chloride) (PVC) Large- Diameter	MS 547

Plastic Gravity Sewer Pipe and Fittings

F690-86(2003) (2	Standard Practice For Underground Installation of	APP CS 45 & APP FOTG

(Re-approved)	Thermoplastic Pressure Piping Irrigation Systems	IRRIG. PRACTICES

(F714-05	Standard Specification for Polyethylene (PE) Plastic Pipe (SDR-PR)	MS 547

Based on Outside Diameter

F758-95(2000)	Standard Specification for Smooth-Wall Poly (Vinyl Chloride) (PVC) 	MS 547

(Re-approved)	Plastic Underdrain Systems for Highway, Airport, and Similar Drainage

RF771-99(2005)	Standard Specification for Polyethylene (PE) Thermoplastic	FOTG 430 DD

(Re-approved)	High-Pressure Irrigation Pipeline Systems

F789-95a	Type PS-46 Poly (Vinyl Chloride) (PVC) Plastic Gravity	MS 547

Flow Sewer Pipe and Fittings	WITHDRAWN 2004, NO REPLACEMENT

F794-03	Standard Specification for Poly (Vinyl Chloride) (PVC) Profile	MS 547

Gravity Sewer Pipe and Fittings Based On Controlled Inside Diameter

F810-01	Standard Specification for Smooth-wall Polyethylene (PE) Pipe	APP FOTG DRAINAGE

for use in Drainage and Waste Disposal Absorption Fields	PRACTICES

(F894-05	Standard Specification for Polyethylene (PE) Large Diameter Profile	MS 548

Wall Sewer and Drain Pipe

(F900-05	Standard Specification for Industrial and Commercial Swing Gates	CS 91

F949-03	Standard Specification for Poly (Vinyl Chloride) (PVC) Corrugated 	MS 547

Sewer Pipe With a Smooth Interior and Fittings

(F1043-04	Standard Specification for Strength and Protective Coatings on Metal 	CS 91

Industrial Chain Link Fence Framework

F1083-04	Standard Specification for Pipe, Steel, Hot-dipped Zinc-Coated	CS 91

(Galvanized) Welded, for Fence Structures

"G" SERIES		Applicable CS or MS

(G152-05	Standard Practice for Operating Open Flame Carbon Arc Light 	CS 64

Apparatus for Exposure of Nonmetallic Materials

(Replaced G 23 in 2000)

(G153-04	Standard Practice for Operating Enclosed Carbon Arc Light	APP CS 64

Apparatus for Exposure of Nonmetallic Materials

(Replaced G 23 in 2000)

BOOKLETS

SI10-02 	IEEE/ASTM SI 10	American National Standard for Use of the International System of Units (SI): The Modern Metric System

This replaces - IEEE/ASTM SI 10-1997	Standard Practice for use of the International Metric System