TRANSITIONAL FLOW AT THE VENOUS ANASTOMOSIS OF AN ARTERIOVENOUS GRAFT UNDER STEADY FLOW CONDITIONS

Francis Loth1, Nurullah Arslan2, Paul F. Fischer3, Christopher D. Bertram4,

Seung E. Lee5, Thomas J. Royston6, Ruo-Hua Song7, Hisham S. Bassiouny8

1 Assistant Professor, Department of Mechanical Engineering, The University of Illinois at Chicago, Chicago, Illinois, floth@uic.edu

2 Assistant Professor, Department of Industrial Engineering, Fatih University Istanbul, Turkey, narslan@yahoo.com

3 Research Scientist, Mathematics and Computer Science Division, Argonne National Laboratory, Argonne, Illinois, fischer@mcs.anl.gov

4 Associate Professor, Graduate School of Biomedical Engineering, University of New South Wales, Sydney, Australia, c.bertram@unsw.edu.au

5 MS student, Department of Mechanical Engineering, The University of Illinois at Chicago, Chicago, Illinois, slee48@uic.edu

6 Associate Professor, Department of Mechanical Engineering, The University of Illinois at Chicago, Chicago, Illinois, troyston@uic.edu

7 ?title, Department of Surgery, The University of Chicago, Chicago, Illinois, ?ename@surgery.bsd.uchicago.edu

8 Associate Professor, Department of Surgery, The University of Chicago, Chicago, Illinois, hbassiou@surgery.bsd.uchicago.edu

# Abstract

We present experimental and computational results that describe the level, distribution, and importance of velocity fluctuations within the venous anastomosis of an arteriovenous (AV) graft.  The motivation of this work is to better understand the importance of biomechanical forces in the development of intimal hyperplasia within these grafts.  Steady flow in vitro studies (Re=1060 and 1820) were conducted within a graft model that represents the venous anastomosis using laser Doppler anemometry to measure velocity.  Numerical simulations with the same geometry and flow conditions were conducted employing the spectral element technique.  As flow enters the vein from the graft, the velocity field exhibits flow separation and coherent structures that originate from the separation shear layer.   We also report results of a porcine animal study in which the distribution and magnitude of vein wall vibration on the venous anastomosis was measured at the time of graft construction.  Preliminary biology studies indicate an increased level of activity of mitogen-activated protein kinases (MAPKs) and intimal thickening at regions of increased vein wall vibration.  These findings implicate velocity fluctuations and the associated vein wall vibration in the development of intimal hyperplasia in AV grafts. However, further research is necessary in order to differentiate the vibration effect from that of flow separation.

# INTRODUCTION

Individuals with end-stage renal disease would die within a few weeks or months if not sustained by some form of dialysis therapy or a kidney transplant.  An AV graft (Figure 1) is constructed from an artery to a vein to provide an access site for hemodialysis patients.  By bypassing the high resistance vessels (arterioles and capillaries), high flow rates can be achieved that are necessary for efficient hemodialysis. A synthetic graft material Polytetrafluoro-ethylene (PTFE) is often used for these grafts. More than half of the AV grafts fail and require surgical reconstruction within three years [1]. The majority of these graft failures are caused by occlusive venous anastomotic intimal hyperplasia (VAIH) which is a stenosis or narrowing of the vein downstream of the graft. The use of AV grafts as hemodialysis access grafts is expected to rise.  Therefore, there is significant interest in finding treatments that stop/reduce the development of VAIH in AV grafts.

While the natural healing response after surgery causes some intimal thickening, the biomechanical environment appears to be responsible for occlusive VAIH. Biomechanical forces in the AV graft are unique, with generally high wall shear stress (WSS) acting on the vein, a region of flow separation, and pressure fluctuations that vibrate the vein wall and surrounding tissue.  Kanterman et al. have shown that hyperplastic stenoses occur predominantly in the proximal venous segment (PVS), downstream of the graft-to-vein junction [1].  This suggests the possible involvement of disturbances to flow created in the graft-to-vein junction and advected downstream.  In an AV graft canine animal model, Fillinger et al. [2-5] measured perivascular tissue vibration and intimal thickening in AV graft venous anastomoses, investigating in separate studies the results of varying both flow-rate and geometric details.  They found the highest tissue vibration and intimal thickening to be correlated (r=0.92, p<0.001).  In the absence of direct measurements of flow turbulence, they hypothesized that tissue vibration was caused by turbulent flow, and that the degree of vibration was correlated with the blood turbulence level.  They concluded that a high flow-rate, in a geometry tending to cause flow disturbances, led to flow instability, deposition of vibration energy in the vessel wall, venous intimal-medial thickening and the initiation of hyperplasia.

Extensive numerical and experimental investigations of the fluid dynamics of distal end-to-side anastomoses associated with arterial bypass grafts have been conducted, motivated by the fact that this junction is a site of particularly high risk in intimal hyperplasia.  A further motivation is that the junction offers a situation providing a complex mix of fluid dynamic phenomena and can potentially aid the quest for causal linkages between disease localization and fluid dynamic details for arteries in general.  To date there has been only one detailed set of investigations of the fluid dynamics of the graft-to-vein anastomosis.  Shu et al. [6-8] obtained the mean velocity profiles and WSS inside realistic AV graft models.  They implicate the low and oscillating WSS near the stagnation point and separation region in the development of a lesion downstream of the toe.  No measurements of turbulence levels were reported. The fluid mechanics of the arterial and venous end-to-side anastomoses differ primarily because of differences in flow rate.  This produces a much higher Reynolds number in the graft-to-vein junction than in the distal arterial end-to-side anastomosis and implies a greater tendency to flow instability and turbulence, as noted by Fillinger et al.

The goal of the present research is to investigate the hemodynamic environment (turbulence and wall shear levels) and its possible relationship to AV graft failure.  Herein, we report evidence regarding the level and importance of velocity fluctuations within the venous anastomosis based on: 1) color Doppler ultrasound measurement in a human AV graft; 2) experimental measurements of velocity within an in vitro model; 3) wall shear stress (WSS) and velocity simulations using computational fluid dynamics for the same geometry; 4) vein wall vibrations measurements taken during an porcine animal study; and 5) preliminary molecular biological studies regarding the distribution and level of activity of mitogen-activated protein kinases (MAPKs) at different regions of the venous anastomosis.

# METHODS

## In Vivo Measurements on Patients

Color Doppler ultrasound measurements (Acuson 128XP/10) were conducted on two dialysis patients to determine AV graft-vein junction flow conditions and vessel diameters.  The measurements were conducted within one month of graft construction.  The PTFE AV graft connected the brachial artery to the basilic vein near the patient’s elbow.  The measured graft lumen diameter (Dg) for one patient was 6.0 mm; in the other patient it was 6.7 mm based on measurements taken from a B-scan mode outline.  In both patients, the PVS and DVS were of comparable diameter and somewhat smaller than the graft.  The angle of between the graft and the vein was approximately 45( in one patient and less than 10( in the other patient. There is considerable variation in the anastomotic geometry from patient to patient for surgical reasons.

After imaging the flow in color Doppler scan mode, a static Doppler sample volume was deposited in the center of each vessel, spanning approximately one third of the vessel diameter.  A marker was aligned with the vessel axis, and the angle between the Doppler line of sight and the vessel axis was computed.  Since the Doppler scan plane was arranged to be that containing the axes of the vein and the graft at the junction, this measured angle was the true angle between the Doppler line of sight and the vessel axis.  It was therefore possible to compute true axial velocities.

The velocity trace for the graft showed much higher velocities than in normal arteries, with a low pulsatility index since the sonograph trace remained well above zero throughout the cycle (Figure 2a).  For one patient, the instantaneous mean of the sonograph trace was estimated to be 1.5 and 1.0 m/s at the maximum and minimum of the cycle, respectively.  For the other patient, the corresponding numbers were 1.2 and 0.8 m/s.  Measurements were also made in the PVS and DVS; however, determination of the mean velocity was difficult because of the degree of spectral broadening.

Reynolds numbers for the graft are difficult to estimate, since the shape of the velocity profile is unknown and the sample volume did not cover the whole vessel lumen.  Based on the velocity measured in the sample volume (V), and assuming normal blood viscosity (( = 0.035 mPa-s).  The above measurements lead to a systolic peak Reynolds number of 2700 and a diastolic minimum of 1800 for one patient (Reg  = (VDg/(, where ( = blood density, 1.05 g/ml). For the other patient, the corresponding values are 2400 and 1600.  This is under the assumption that that the velocity profile is flat.  Under an assumption of a parabolic flow profile, Reynolds numbers would be half as much.  The true in vivo Reynolds number therefore remains unknown although it is expect to fall somewhere between values for parabolic and flat velocity profiles.  Thus, Reynolds numbers at diastole and systole are estimated as 1100 and 1800, respectively.  Blood flow entering from the distal vein (DVS) was estimated to be 10% of the total blood flow however, clinical experience is that the DVS often occludes due to thrombus.

## Flow Model Geometry

The anastomosis model used in this study was that previously used by Loth et al. (1997) to investigate the hemodynamics in a distal end-to-side arterial bypass anastomosis.  This model geometry also closely approximates the graft-vein junction of the AV graft.  The model was scaled up 7.6 times relative to the in vivo case.  The model material was a transparent elastomer (Sylgard 184, Dow Corning), and the walls were thick enough that the model could be considered essentially rigid.  The graft-to-vein diameter ratio was 1.6, with a graft lumen diameter of 50.8 mm and a host vein diameter of 31.75 mm.  The graft axis intersected the host vein axis at an angle of 5(.

## In Vitro Measurements

### Flow System. 	A flow system was designed and constructed to provide the upscaled model with the proper inlet and outlet flow conditions.  The fluid employed, a mixture of 42% water and 58% glycerin by weight, was chosen to match the index of refraction of the Sylgard model (n=1.41).  This fluid had a refractive index of 1.41, a density of 1110 kg/m3, and a dynamic viscosity of 10 mPa-s as measured by a viscometer at 23(C Brookfield spindle-type (Model LVTDV-II) digital viscometer.  A 1/3 HP split-phase centrifugal Teel pump [Model 1V308] provided the pressure head to drive the flow.  Bucket and stopwatch was used to measure the total flow-rate.  The ratio of the graft inlet flow-rate to the DVS inlet flow-rate was here chosen to be 90:10.  The DVS inlet flow-rate was measured by an ultrasound transit-time flowmeter (Transonic Systems Inc., Model T101).  Since fluid viscosity depends sensitively on temperature, a heater/mixer in the downstream tank was used to keep the fluid temperature at 23±0.5(C during the experiments.  The model was placed in a flow circuit under steady flow conditions such that flow entered the graft from a straight tube four meters long with an inner diameter of 50.8 mm.  Two different steady flow rates were set up, all with the same inlet flow ratio between the graft and the DVS.  The corresponding Reynolds numbers based on the graft flow-rate and graft diameter were 1060 and 1820.

### Laser Doppler anemometry measurements were taken at the midplane and outside the midplane for the velocity components parallel and perpendicular to the floor (u and v, respectively).  For Reynolds number 1060, velocity profiles were measured at 13 axial locations at the midplane.  Outside the midplane, velocity profiles were measured along five lines on the graft side at a distance 0.8D (D-vein diameter) from the hood-midplane intersection and 11 lines on the vein side 0.5D from the floor-midplane intersection.  Since preliminary measurements revealed that the turbulent fluctuation amplitudes within the anastomotic region were comparable to or lower than those measured at the graft inlet.  On this basis, detailed measurements for the higher Reynolds numbers were confined to the graft inlet, the furthest proximal axial location within the anastomosis, and the PVS.  For Reynolds numbers 1820, velocity measurements were taken at six axial locations at the midplane and outside the midplane on the vein side 0.5D from the floor-midplane intersection.

The LDA system is a two-color laser system (DANTEC Electronics mirror-type F147/B073, Model 5500A, blue=488nm, green=514.5nm) capable of measuring two components of velocity.  A 350mW Argon-Ion laser provided the laser output.  The system consists of two Bragg cells, two photomultipliers with receiving optics and two electronic counters.  The Bragg cells were included such that forward and reverse velocities could be detected.  Backward scattered light coming from the particles in this sample volume is collected at the photomultiplier tube in which the signal is filtered and amplified.  The signal is then processed by an electronic counter (DANTEC 50N10 signal processor) that determines the Doppler shifted frequency.  The diameter (dm) and length (lm) of the blue beam ellipsoidal probe volume are 0.19 and 1.66 mm, respectively.  The particles used to scatter the laser light were 0.993(m diameter polymer microspheres (Duke Scientific Corporation, Palo Alto, CA, Cat No. 4009B).  The concentration of particles in the water-glycerin mixture (2.3(109 particles/liter) was determined by the ratio of the total volume of liquid in the system to the probe fringe volume such that on average, only one particle would be in the probe volume at a given time.

The data acquisition program called SIZEware was used to record the instantaneous velocity for steady flow.  Five thousand validated samples were recorded inside flow field and then the mean velocity was found by taking the average of the samples for u and v component of the velocity.  Since the data rate was lower near the wall of the model, elapsed time mode was used and data was taken for five minutes (validated samples were 200-1000).  The fluctuation velocities were found by subtracting the mean velocity from the instantaneous velocities at each time step and then averaged over the specified number of validated samples to find the variables at each measurement location.  The calculations for mean velocities, fluctuation velocities and Reynolds stress are defined in the following equations:

, , , , , , .

ui = instantaneous velocity component of ith particle along x direction

vi = instantaneous velocity component of ith particle along y direction

=mean velocity

i = 1, 2, 3,……..N

N = number of spherical particles passing through the measurement volume

All data is presented as in vivo scale by converting the in vitro measurements through dynamic similarity (Reg =  (VDg/() where in vivo values are: (Dg= 6.7mm, ( = 1.05 g/ml, ( = 3.5 mPa-s).  Note that the Reynolds number based on the vein diameter is different than that based on the graft diameter by the ratio of the vessel diameters and flow rates given as: Rev   = (Dv/Dg)(Qv/Qg) Reg = (1.6/0.9) Reg.

## Numerical Simulation

### Mesh Development. The mesh generation involves two main steps.  First, axial images of the bifurcation were converted into 3D-lumen geometry in a rapid prototype file format.  Second, that geometry was used to generate the vertices and connectivity of a CFD mesh.  The Slygard model was imaged axially using a spiral computerized tomography (CT) scanner (high speed CTI GE) with an axial spacing of 1 mm (256x256, field of view 120x120mm).  The calculated pixel size was 0.5x0.5 mm and a total of 250 axial images were acquired.  A commercially available software package (Mimics, Materialise, Ann Arbor, MI) was used to view the images and obtain the 3D-lumen geometry.  Using Mimics, edge detection by thresholding was used to determine the lumen contour for each image.  After initial edge detection, images were further refined manually, pixel by pixel, to achieve the (operator-perceived) best description of the lumen geometry (Figure 3).  Points along each contour were unevenly spaced.  A FORTRAN code was written to reinterpolate these points to be equidistant along the contour (0.25mm) and to smooth the surface geometry.  The 3D geometric data represented as contour information is then used to create the 3D mesh.  Details of the 3D reconstruction technique are given by Yedavalli et al. (2001).  The mesh was constructed using hexahedral cells with the topology shown in Figure 4.  Details of the technique are given by Seung et al. (2000).

### Solution Technique. The solution technique used a spectral element code developed at Argonne National Laboratory that is designed specifically for simulation of transitional and turbulent flows in complex geometries. The code is based on the spectral element method, which represents velocity and pressure in terms of high-order polynomials within each of the computational mesh cells. The polynomials can be differentiated to compute derived quantities, such as WSS, and provide for accurate high Reynolds number solutions with minimal numerical dissipation or dispersion. This code has been applied to a number of unsteady flows, including turbulent convection in atmospheric models, Rayleigh-Taylor instabilities, forced convection in heat exchanger passages, and transitional boundary flows triggered by roughness elements.(Fischer get this ref ????)

Flow rate is imposed at the graft and vein inlet (DVS) by specifying the velocity distribution as fully developed steady flow. Stress free boundary conditions were imposed at the PVS. Blood was approximated as a Newtonian fluid and the venous anastomosis was assumed to be rigid.  Calculations were for ??? seconds…to remove startup effects. The solution was be performed on the parallel computer system at the Argonne National Laboratory (???). The software is designed to run on this parallel architecture to maximize computational speed.

## In Vivo Study

### Animal Model. Male miniature swine (25-30 kg) fed normal pig chow were used for the study.  Anesthesia was induced by intramuscular injection of ketamine hydrochloride (2.2 mg/kg), xylazine (2.2 mg/kg), telazol (4.4 mg/kg), and atropine (0.4 mg/kg) and was maintained with 1-2.5% isoflurane via endotracheal intubation. To reduce the incidence of graft thrombosis, all animals were given 80 mg of aspirin orally one day preoperatively and postoperatively for the duration of the time course selected. Heparin sulfate (100 IU/kg) was administered intravenously 5 minutes prior to implantation of the infrarenal aorta to external iliac vein AV grafts to minimize perioperative graft thrombosis.  Animals were killed by a lethal intravascular injection of sodium pentobarbital under general anesthesia following intervention.  Housing and handling of animals was comply with “Principles of Laboratory Animal Care” and “Guide for the Care and Use of Laboratory Animals” (NIH publication # 80-23, revised 1985).

The aorta to external iliac vein graft implantation was performed as follows. Using a retroperitoneal right flank incision the pareital peritoneum is reflected off the iliopsoas muscle. The distal infrarenal aorta and external iliac vein are dissected. The internal iliac vein is ligated at its confluence to create a relatively generous proximal outflow segment with no side branches such that the turbulent flow field properties are not influenced by convergence or mixing of blood flow.  A 4-7mm externally reinforced PTFE graft was anastomosed proximally to the partially side clamped aorta in an end to side fashion using 6mm prolene. The graft is positioned in the retroperitoneal space using a loop configuration.  The external iliac vein was subsequently controlled with atraumatic clamps remote from the planned anastomotic site. A longitudinal venotomy was created using a #11 knife along the anterolateral aspect and extended to a length equal to 1.5 vein diameters. The 7mm end of the graft was trimmed to the length of the venotomy and anastomosed in an end-to-side fashion using 6/0 prolene suture. The aortic and venous clamps are then released after flushing any potential air or debris. A sketch of the constructed graft geometry is shown in Figure 5.

Noncontacting measurements of radial vein surface motion (vibration velocity) were made using laser Doppler vibrometry (LDV) on the AV graft vein anastomosis of the porcine animal model at three locations indicated in Figure 5.  Similar measurements have been reported in the literature (Royston) on a soft tissue phantom.  The measured velocity levels were several orders of magnitude larger than the threshold sensitivity of the Polytec CLV-800 LDV (0.3 um/s). Vein wall vibration velocity was recorded at a sample rate of 2048 Hz for 4 seconds using a dynamic FFT signal analyzer (HP #35670).  Due to the Nyquist criterion and necessary signal conditioning, this yields accurate measurements of vibratory motion up to 800 Hz with a frequency resolution of 0.25 Hz.

### Molecular Biology. Frozen tissue was homogenized with a Polytron homogenizer PCU-2-110 (Kinematica) on ice in buffer A containing 20 mM Hepes (pH 7.4) 50 mM b-glycerophosphate, 2 mM EDTA, 1 mM DTT, 1mM Na3VO4, 1% Triton X-100, 10% Glycerol, 2 mM leupeptin, 400 mM PMSF, and 10 U/ml aprotinin.  The homogenate was incubated on ice for 15 min, and centrifuged at 17000g for 30 min.  The supernatant was harvested and protein concentration was measured by Lawry method.

Western blot analysis was performed to measure protein levels of ERK1/2 and JNK in the extracts of porcine grafts.  The protein extracts (40 mg/lane) was heated at 950 C for 5 minutes in sample buffer (94 mM phosphate buffer pH 7.0, 1% SDS, 2 M urea and 3% b-ME), then electrophoresis on 10% SDS-PAGE under reducing condition.  The gels were then placed onto Immobilon-P sheets (Millipore, Bedford, MA) that were previously wetted with a buffer containing 48 mM Tris, 39 mM glycine, pH 8.9. Blotting is performed on a horizontal semi-dry electroblot apparatus (Phamacia-LKB, Piscataway, NJ) at 0.8-1 mA/cm2 for 45 min at room temperature. The blots were blocked in PBS containing 0.3% Tween 20 (PBST) and 5% non-fat dry milk followed by incubation with the monoclonal antibody against phosphorylated ERK1/2 or JNK1, and polyclonal antibody against ERK1/2 or JNK1 (Santa Cruz Biochem., Santa Cruz, CA).  The blots were then washed and incubated with anti-mouse or rabbit horseradish peroxidase-labeled IgG. Subsequently, the blots were developed with the ECL Western Detection Reagent (Amersham) according to the manufacturer’s instruction. The blots were stripped in PBST (pH 2.5-2.8) for 1 hour; and were labeled with a monoclonal antibody againet b-actin (Sigma); then developed as described above. Graphs of blots were quantified and normalized to the levels of actin by scanning densitometry (Bio-Rad 620 scanner, Richmond, CA) of graphs.

Immunocytochemistry were performed on frozen sections.  The tissue was embedded in OTC and frozen in Freon cooled in liquid nitrogen. Cross sections (5-8 m thick) were cut in a cryostat at –20°C, and then brought to room temperature at the time of staining.  Sections were washed in PBS, quenched with 3% hydrogen peroxide for 5 min, and blocked with 10% normal goat serum in 1% BSA-PBST for 30 min.  Sections were incubated with various primary antibodies at 4°C overnight.  After washing with PBS, the sections were incubated with corresponding biotinylated secondary antibodies for 30 min (Envision kit). The antigen-antibody binding was detected by DAB substrate chromogen system (HK153-5K from Biogenex).  The slides were washed, counterstained with hematoxylin for 60 second, dehydrated, and cover slipped.  For a negative control, the sections were incubated in PBS without the primary antibody.  Immunocytochemical staining and analyses was used to determine the distribution of ERK1/2 in cross- sectional slices of the venous anastomosis after 4 days and 4 weeks of graft implantation.  Using the Digital Light Microscope Facility (Zeiss Axioskop microscope, Zeiss Axiocam camera with PhotoShop plug in and Power Macintosh 9600/300 computer), each cross section was scanned and saved for further analysis.  With the aid of Adobe PhotoShop and NIH image 1.62, semi-quantitative measurement and analysis of the density (in pixels) of the specific immunostains for the ERK1/2 in the intima for each quadrant were detected employing a standard density scale ranging from 210-255 for densely stained areas with ERK1/2.

# RESULTS

Experimental Measurements. Figure 6 shows velocity vectors, turbulence fluctuation amplitudes and Reynolds stresses for Reg =1060.  SI units are used except for the Reynolds stresses, where dynes/cm2 follow the convention established in the hemolysis and arterial wall disease literature.  At x = –6.6D, flow enters the model via the graft and DVS with a fully developed laminar (parabolic) velocity profile (Figure 6a).  The two streams enter the anastomosis region and merge, accelerating as they move proximally due to the reduction in cross-sectional area.  A small separation region downstream of the toe is evidenced by a retrograde vector near the wall at X = +0.4D.  Turbulent fluctuations and Reynolds stresses are small except near the toe side of the PVS starting at X=+2.0D (Figures 6b, 6c, and 6d).  The maximum fluctuation amplitude (urms at x = +2.0D) is 0.24m/s which is ~25% of the local mean velocity.

The normally quoted threshold Re for transition in a pipe is at best approximate, and is valid only for an extremely long and smooth straight pipe.  Turbulence can be tripped at lower Reynolds numbers, but cannot be sustained below about 2300 (Chris, should we have a reference for this?).  The recirculating-flow rig used here was not designed with special precautions against flow instability, since no such ideal circumstances can be assumed in biological flows.  At Reg = 1820 (Figure 7), we observed a small but distinct degree of blunting of the graft inlet profile, indicating the flow to be near transition.  The velocity profile at the downstream (proximal) end of the anastomosis is not greatly different from that at Reg = 1060, but the turbulent fluctuation amplitude is considerably higher (0.375 m/s) although it is lower as a percentage (~15%) of the local mean velocity.  The fluctuation amplitude was nearly constant (3-5%) across the vessel just before (-0.4D) and after (+0.4D) the entrance to the PVS.  The separated eddy just downstream of the toe penetrated further into the lumen at x = –0.4D, but reattachment occurs before x = +1.2D.  This penetration distance was examined more carefully in separate experiments and was found to be 0.4?? diameters measured from the hood side.  Further downstream, the profiles generally resembled those found at Reg = 1060, except that at x = +3.6D the u-component profile had become blunt and almost symmetrical.  Turbulent fluctuations and Reynolds stresses were elevated relative to those at Reg = 1060, and reached significant amplitudes closer to the toe, at x = +1.2D.  The maximum Reynolds stress was 1300 dynes/cm2, whereas the maximum at Reg = 1060 was 250.  At both Reynolds numbers, the primary urms peak on the toe side itself splits into two as the maximum amplitude decays proximally in the PVS.

The model was constructed to be symmetric about the plane of the bifurcation such that velocity profiles are expected to be symmetric about the centerline.  Symmetry is evident in the profiles of velocity shown in Figure 8.  Secondary flow is more pronounced at the higher Reynolds number as expected.

Numerical Simulations.

The velocity results of the CFD simulations are shown in Figure 9 for Reynolds number 1060 and 1820 in the plane of the bifurcation.  Good agreement is observed between these CFD and experimental results (Figures 6 and 7) both for the profiles of velocity vectors and the fluctuation amplitudes.  As seen in the experimental results, the primary peak of the urms profile splits into two as the maximum amplitude decays in the PVS.

The vorticity distribution at Reg =1060 and 1820 in the plane of the bifurcation is shown in Figure 10 at one instant of time during the simulation.  Flow is nearly laminar at the lower Reynolds number while coherent structures can be observed moving downstream from the separation point at the toe at the higher Reynolds number.  These structures are more clearly identified when using the (2 criterion of Jeong and Hussain [?] as shown in Figure 11.  The color in these figures represents the instantaneous 3D-pressure distribution on the lumen surface and on the (2 contours.

The time average wall shear stress (WSS) within and just before the PVS portion of the venous anastomosis is shown in Figure 12 on the hood and floor for Reg =1060 and 1820.  The results show WSS to be generally high throughout the PVS as expected due to the large flow rate of these AV grafts.  A spike in the WSS is present at the toe due to the cusp in the model geometry.  Wall shear stress is directed upstream in the small region of flow reversal although the plotted values are only the magnitude of WSS.  The length of the recirculation region is 0.7D and 0.8D for Reg =1060 and 1820, respectively.  The distribution of WSS magnitude in the axial and circumferential directions are shown in Figure 12c where the angle, theta, is measured from the floor of the graft as indicated in the figure.  At Reg =1820, the instantaneous WSS vectors acting on the lumen surface are of a complex pattern and not all directed axially as shown in Figure 13.

### Animal Study

### Vibration Measurements.

Passive measurements of vein surface motion (radial vibration velocity) were made using laser Doppler vibrometry (LDV) at regions A, B and C in vivo. The smallest and largest levels of vein vibration were detected at positions A and B, respectively as seen in Figure 16. Regional variation in turbulence-induced vibration intensity was evaluated by computing the root mean squared (RMS) value of the vibration velocity in the frequency range 40-800 Hz.  The low frequency range (< 40 Hz) was excluded since vein wall vibration in this frequency range is not related to turbulent fluctuations of velocity and pressure.  The difference in turbulence intensity at these locations was 2 and 5 fold greater at position B when compared to position C and A, respectively.

### Molecular Biology

ERK1/2 phosphorylation (pERK1/2) and its activity (Elk1 phosphorylation) were measured at the different regions of the anastomotic vein segment with high (region B) and low (region A) vibration intensity levels at 4 hours after creation of the anastomosis.  The ERK1/2 activity was determined by phosphorylation of the immediate downstream transcription factor Elk-1 that is known to be involved in growth and differentiation.  Using densitometric analysis, we found a three-fold increase in pERK1/2 at this early time point at region B when compared to region A (Figure 15 center panel).  This was associated with a corresponding increase in the phosphorylation of the Elk1 implicating enhanced vein wall vibration in the rapid activation of the putative mechanotransduction pathways (Figure15, top panel).

At 4 hours ERK1/2 localized predominantly at regions of elevated vibration intensity (region B) within the intimal and medial cells. Densitometric analysis revealed at least a 3 fold increase in ERK1/2 immunostaining at region B when compared to normal control vein and regions exposed to reduced vibration intensity (region A) (Figures 16 a, b and c). This pattern of localization persisted at 4 weeks. Densely stained regions occupied close to 37% of the intimal/medial area in region B versus only 15% in region A.  Additionally there was a relative 5-fold increase in the intima/media thickness in region  (Figures 17 a and b).

We conducted cellular immunolocalization studies in contiguous cross sections, 5(m apart, representing the different anastomotic regions, namely regions A, B, and the suture line (vein- prosthetic junction). The sections were investigated at 4 hours and 4 weeks. At 4 hours there was minimal T cell (anti CD4 antibody) and macrophages (anti CD11b/ Mac1 antibody) infiltration across the anastomotic regions.  ERK1/2 immunostaining was increased, however, in region B within endothelial (anti CD31 antibody) and medial VSMC (anti-actin antibody) (Figure 17). At 4 weeks, a modest increase in T lymphocyte and macrophage infiltration was observed across the anastomotic regions. Further ERK1/2 immunostaining revealed no evidence of colocalization zones of T- lymphocytes and macrophage infiltration in immediately adjacent cross sections.

# DISCUSSION

The results presented herein detail the nature of the flow field to be expected within the venous anastomosis of a dialysis patient’s blood-access AV graft.  We have examined a range of Reynolds numbers spanning the physiological range indicated by our own in vivo measurements.  The flow field is complex and three-dimensional in nature, with transition to turbulence as a prominent feature.  In normal arterial flows, pulsatility plays an important role, and a quasi-steady flow assumption may not apply.  AV graft flows are abnormal in this respect, in that the elevated mean flow rate gives rise to a reduced pulsatility index.  The results under steady flow conditions are therefore useful for several reasons.  First, a low pulsatility index implies that the unsteadiness is of reduced importance.  Second, steady flow provides insight into the causes of specific flow features, which may also exist in pulsatile flow, and allows them to be specifically identified as geometric phenomena rather than unsteady phenomena.  Third, numerical solutions of the Navier-Stokes equations require experimental measurements for code validation.  Such measurements are particularly needed for transitional flows.  These results provide data for code validation of the 3D steady flow solution inside a mathematically defined, but clinically realistic, venous anastomotic geometry.  This is a necessary step on the way to a pulsatile solution.

The dominate feature in these flows is the transitional nature of the flow, however the secondary flow patterns found in the proximal vein segment (the outflow) are at first sight surprising, in that the predominant flows toward the floor are close to the lateral walls.  To aid terminology, it helps to consider the graft as though the plane of the bifurcation is vertical and the floor is horizontal and at the bottom, while emphasizing that any such convention is purely arbitrary.  Based on this convention, since the downward-directed stream from the graft must turn to align with the horizontal vein axis, the opposite pattern of secondary flow would be expected: the stream curvature would then suggest that the predominant downward stream in the PVS be on the anastomosis plane of symmetry, with compensating upward flows on the lateral walls.  In fact, the whole secondary flow pattern is dictated by that set up when the inlet flow from the graft impinges on the anastomosis hood and is deflected downward.  This stream curvature causes lateral downward flows, which persist when the same stream meets that which has arrived from the DVS.  This latter stream is laminar at all flow-rates investigated, and therefore predominantly has momentum near the vein axis.  This profile further aids the secondary flow pattern noted already, of upward flow in the bifurcation plane in the PVS, because the stream from the graft is able to deflect the lateral fluid more readily than that on the vein axis.  A third contributing factor to this overall picture is the relatively flat profile of the inlet graft flow at Reg =1820; this flow has much lateral momentum already, which is deflected by the hood to form strong downward-directed lateral streams.  On the other hand, a flat profile with boundary layers forms a weaker Dean vortex flow than does a parabolic one, all other things being equal, so flatness at the inlet from the graft has both contributory and opposing effects.  Once the two streams merge in the PVS, the flow is undeveloped and consequently has a reduced tendency to form the classical Dean secondary flow pattern; this counts as yet a fourth contributing factor to the observed pattern of upward flow in the bifurcation plane.  The PVS secondary flow pattern is qualitatively similar at both Reynolds numbers examined, but is strongest at Reg = 1820.

In the absence of boundary layers altogether, a flat profile exhibits higher axial velocity on the inside of a bend, owing to the inward-directed pressure gradient.  This well-known effect is manifested in our results at the position x = +0.4D, where the axial profile at both Reynolds numbers is skewed toward the toe side.  By x = +1.2D, the stream curvature is finished, and this skew is already being abolished.  This secondary flow profile is different than that reported by previous research on arterial distal end-to-side anastomoses [??-??].  In particular, these results differ from those reported by Loth et al. [?] with the same geometry and much low Reynolds number (Re=222).  They reported the classic Dean flow pattern in the distal outlet segment which is referred to as the proximal venous segment here.

The question that arises from the described research is that regarding the relative importance of WSS and turbulence in the development of VAIH and eventual failure of AV grafts.  The localization of intimal thickening has long been thought to be correlated with the low and oscillating WSS.  In a canine animal study, Loth et al. [?] has shown that while a correlation is seen between intimal thickening and the reciprocal of WSS, the degree of correlation is reduced by the influence of material and injury.  The intimal thickening values along the native artery are generally lower than those along PTFE for a given level of shear stress.  Also, intimal thickening near the suture line was higher than those away from the suture line for a given material and a given wall shear stress level.  Within the venous anastomosis of the AV graft, WSS is near one order of magnitude greater than that found in the arterial distal anastomosis [?].  Still, a region of flow separation is present that is approximately one vein diameter in length for both Reynolds number examined which much have a low WSS values at the reattachment point.  Another difference is the fluctuating WSS which changes significantly is both magnitude and direction.  Along with this complex WSS pattern is a distribution of tissue vibration.  High vibration regions are located just downstream of the toe in the PVS which coincides with the region of greater fluctuations.  Further downstream from that point, the vein wall vibration decreases, as do the velocity fluctuations.  Since the region of large vein wall vibration is near the region of the flow separation, it is difficult to separate the effect of WSS and tissue vibration.

Immunocytochemical qualitative and semi-quantitative analysis of ERK1/2 co-localization with T-lymphocytes, macrophages, endothelial and VSMCs at the suture line region and at regions of the venous anastomosis where varied levels of vein wall vibration prevail proximal and distal to the suture line junction.  Such studies were conducted at four hours and four weeks after porcine AV graft implantation.  The finding of these studies indicate: a) ERK1/2 co-localizes predominately in the intima (endothelial cells) and to a lesser degree in the medial VSMC, b) ERK1/2 immunostaining is greatly enhanced in regions of elevated vein wall vibration when compared to regions of suture line injury or reduced vein wall vibration. c) ERK1/2 immunostaining appears unrelated to T-lymphocyte and macrophage infiltration.  This is evident at the suture region where significant mural injury and inflammation is present. d) Intimal thickening is greater in regions of elevated vibration when compared to regions reduced vibration or injury.  This finding indicate that biomechanical variables namely turbulence induced vein wall vibration may play an important role in regulating MAPK activation in the intimal endothelial cells of the venous wall.  The contribution of inflammation to ERK1/2 activation appears minimal in this experimental model.

The preliminary biological studies give evidence that the tissue proximal (downstream) of the toe within the PVS has begun to elicit the complex cascade of intracellular signaling events that typically occur in response to shear stress stimulation of endothelial cells and vascular smooth muscle cells.  This is shown by the increases in activity of ERK1/2 after four hours and four weeks.  We suspect that vibration plays a more dominant role that WSS within in the AV graft because the results from Fillinger et al. on the correlation between tissue vibration and VAIH in a canine study.  They also found a VAIH to be correlated with Reynolds number.  It seems unlikely that grafts with a greater Reynolds numbers would also be associated with larger region of low and oscillating WSS.  Nonetheless, we plan to further investigate both vein wall vibration and WSS within experimental AV grafts in further detail to hopefully separate these two effects. This will be achieved by careful simulation of animal specific geometry and immunohistochemical analysis as shown in Figures 16 and 17.

- Separation ( velocity profile inflection point ( Kelvin-Helmholtz instability ( coherent structures  break-up downstream to random turbulence  high urms, etc.  high Reynolds stress (same picture for the inflection point on the other side created by the coming-together of the two streams)

- urms peak at 1.2D (e.g. Rey = 1500) becomes inner part of split peak further downstream; out part is similar to that on the other side and on the lateral walls (caused by high-shear turbulent flow) — (?)seen downstream only when developing b.l. is resolved by LDA

- discuss comparison with 80:20 — where the predominant things are spreading of the inflow, and consequently low shear on the hood, then Dean in the DOS (check flow vis., and note diameter ratio) — turbulence or not is secondary

- idea of inertia

- exercise and utility in respect of arterial bypass-graft downstream anastomosis

- Glagov re differences between arterial and venous i-h development.

- Fillinger et al. (1989) re Rey correlation with venous intimal-medial thickness at toe (note final point off the line, at Rey = 2530!).

- ultrasound was used instead of phase contrast MR velocity since turbulence can cause signal loss with MR (also for resolution); explain shortcomings of in vivo turbulence measurements.

- Laufer’s profile

- Compare frequencies for vibration, vitro rms, cfd rms …

- RMS at 1060 not rubulence

# CONCLUSIONS

We have presented evidence that the flow field within the venous anastomosis of an AV graft is transitional for cases in which the Reynolds number is near 2000.  First, this was demonstrated by spectral broadening of the velocity measurement on a human by Doppler ultrasound.  Second, large values of velocity fluctuations were measured within in vitro that closely represents the in vivo geometry under steady flow conditions that match that observed in vivo.  Third, numerical simulations on the same geometry and steady flow conditions revealed the detailed pattern of coherent structures within the PVS and demonstrated the large WSS values present at these Reynolds numbers.  Finally, we presented preliminary results that implicated vein wall vibration as biomechanical stimulus for the activation of MAPKs in the vein wall.  Future work is needed to determine the precise relationship between AV graft failure and fluid dynamics variables such as velocity fluctuations and WSS as well as their relative importance.

# AKNOWLEDGEMENTS

Many thanks to Down Hodge for her help in acquiring the CT images of the AV graft model, Professor Steven A. Jones for his insightful discussion, Dr. Henry Tufo for ???, and Wojciech Kalata for his help on the image processing.  A portion of this work performed at Argonne National Laboratory while a Faculty Research Participant.  Program administered by the Argonne Division of Educational Programs with funding provided by the U.S. Department of Energy.  This work was supported in part by W.L. Gore and Associates.

# REFERENCES

- Kanterman R.Y., Vesely T.M., Pilgram T.K., Guy B.W., Windus D.W., Picus D.: Dialysis Access Grafts:Anatomic location of Venous Stenosis and Results of Angioplasty.  Radiology 195;135-139: 1995.

- Fillinger, MF, Kerns, DB, Schwartz, RA, 1991, “Hemodynamics and intimal hyperplasia”, Chapter 2 of Vascular Access for Hemodialysis-II, W.L. Gore & Associates, Inc., and Precept Press, Inc., (B.G. Sommer and M.L. Henry, Eds.), pp. 21–51.

- Fillinger MF, Reinitz ER, Schwartz RA, Resetarits DE, Paskanik AM, Bredenberg CE, 1989, “Beneficial effects of banding on venous intimal-medial hyperplasia in arteriovenous loop grafts,” The American Journal of Surgery, Vol. 158, pp. 87–94.

- Fillinger MF, Kerns DB, Bruch D, Reintz ER, Schwartz RA, 1990, “Does the end-to-end venous anastomosis offer a functional advantage over the end-to-side venous anastomosis in high-output arteriovenous grafts?,” Journal of Vascular Surgery, Vol. 12, pp. 676–690.

- Fillinger MF, Reinitz ER, Schwartz RA, Resetarits DE, Paskanik AM, Bruch D, Bredenberg CE, 1990, “Graft geometry and venous intimal-medial hyperplasia in arteriovenous loop grafts,” Journal of Vascular Surgery, Vol. 11, pp. 556–566.

- Shu, MC, and Hwang, NHC, 1991, “Haemodynamics of angioaccess venous anastomoses,” Journal of Biomedical Engineering, Vol. 13, pp. 103–112.

- Shu MC, Noon GP, and Hwang NHC, 1987a, “Phasic flow patterns at a hemodialysis venous anastomosis,” Biorheology 24, pp. 711–722.

- Shu MC, Noon GP, and Hwang NHC, 1987b, “Flow profiles and wall shear stress distribution at a hemodialysis venous anastomosis: preliminary study,” Biorheology 24, pp. 723–735.

- Giddens DP, Zarins CK, Glagov S, 1990, “Response of arteries to near-wall fluid dynamics behavior,” Applied Mechanics Review, Vol. 43, pp. S98–S102.

- Glagov S, Giddens DP, Bassiouny H, White S, Zarins CK, 1991, “Hemodynamic effects and tissue reactions at graft to vein anastomosis for vascular access,” Chapter 1 of Vascular Access for Hemodialysis-II, W.L. Gore & Associates, Inc., and Precept Press, Inc., (B.G. Sommer and M.L. Henry, Eds.), pp. 3–20.

- Glagov S, Bassiouny HS, Giddens DP, Zarins CK, 1995, “Intimal thickening: morphogenesis, functional significance and detection,” Journal of Vascular Investigation, Vol. 1, pp. 2–14.

- Kamiya A, Togawa T, 1980, “Adaptive regulation of wall shear stress to flow change in the canine carotid artery,” American Journal of Physiology, Vol. 239, No. 1, pp. H14–H21.

- Loth F., Jones SA, Giddens DP, Bassiouny HS, Glagov S, Zarins CK, 1997, “Measurements of velocity and wall shear stress inside a PTFE vascular graft model under steady flow conditions,” ASME Journal of Biomechanical Engineering, May 1997, Vol. 119, pp. 187–194.

- Ojha M., Ethier C.R., Johnston K.W., and Cobbold R.S.C., 1990, “Steady and pulsatile flow in an end-to-side arterial anastomosis model,” Journal of Vascular Surgery, Vol. 12, pp. 747–753.

- Saeed M., Newman GE, McCann RL, Sussman SK, Braun SD, and Dunnick NR, 1987, “Stenoses in dialysis fistulas: treatment with percutaneous angioplasty,” Radiology, Vol. 164, pp. 693–697

- Shu, MC, and Hwang, NHC, 1991, “Haemodynamics of angioaccess venous anastomoses,” Journal of Biomedical Engineering, Vol. 13, pp. 103–112.

- Shu MC, Noon GP, and Hwang NHC, 1987a, “Phasic flow patterns at a hemodialysis venous anastomosis,” Biorheology 24, pp. 711–722.

- Shu MC, Noon GP, and Hwang NHC, 1987b, “Flow profiles and wall shear stress distribution at a hemodialysis venous anastomosis: preliminary study,” Biorheology 24, pp. 723–735.

- White, SS, Zarins, CK, Giddens, DP, Bassiouny, HS, Loth, F, Jones, SA, and Glagov, S, 1993, “Hemodynamic patterns in two flow models of end-to-side vascular graft anastomoses: effects of pulsatility, flow division, Reynolds number and hood length,” ASME Journal of Biomechanical Engineering, Vol. 115, pp. 104–111.

- Zarins CK, Zatina MA, Giddens DP, Ku DN, Glagov S, 1987, "Shear stress regulation of artery lumen diameter in experimental atherogenesis," Journal of Vascular Surgery, Vol. 5, No. 3, pp. 413–420.

- T. J. Royston, H. A. Mansy and R. H. Sandler, “Excitation and propagation of surface waves on a viscoelastic half-space with application to medical diagnosis,” Journal of the Acoustical Society of America 106 (6), 3678 – 3686 (1999).