From: Mike Israni

TO:  Docket Management Facility

U.S. Department of Transportation

1200 New Jersey, SE, West Bldg

Washington D.C. 20590

RE: Docket NO. RSPA-04-19854

Subject: PHMSA and AGA Meeting on Distribution IMP -August 13, 2007

Stacey Gerard (Chief Safety Officer –PHMSA) and Jeff Wiese (Associate Administrator –PHMSA Pipeline Safety) met with American Gas Association executives on August 13, 2007 to discuss issues related to Plastic Pipe Data Committee (PPDC) and fixed inspection intervals under the current code.

The Plastic Pipe Data Committee (PPDC), a voluntary group consisting of representatives of industry, State pipeline safety regulators and PHMSA and administered by the American Gas Association (AGA), monitors in-service performance of plastic pipe.  Participating operators send information on problems occurring with plastic pipe and related fittings in their pipeline systems.  PPDC periodically analyzes this information to identify adverse performance trends and problems potentially requiring action by plastic pipe users.  PPDC information has limited distribution and is generally not available to operators who do not participate in the program.  Gas distribution pipeline operators whose systems include significant amounts of plastic pipe would be better able to carry out an IM program with knowledge of plastic pipe performance issues.

PHMSA believes changes to the PPDC process could significantly improve operator insight into the risks associated with plastic distribution pipelines.  On PPDC, discussion involved how to strengthen the PPDC process and to broaden accessibility of results.  AGA indicated that PPDC members are not willing to make their information publicly available.

Fixed inspection intervals under the current code: As part of our continuing effort to make the pipeline safety regulations more risk-based, PHMSA is seeking comments in the forthcoming NPRM on an approach that would allow the States to have more of a role in setting compliance intervals for distribution operators within a State.  Rather than continue to require distribution operators to comply with intervals set by Federal regulation, this approach would let the States examine each distribution operator’s distribution integrity plan, and based on the risk assessment included within that plan, work with each operator to determine the most appropriate risk-based intervals.

AGA suggested that State regulators should have flexibility to determine appropriate inspection intervals.  Specifically, AGA provided the following comments:

Many sections in 49 CFR 192 require prescriptive inspections. The regulations set a reasonable time interval for specific inspections and apply the same interval to the entire nation.

For example, the 49 CFR 192.481 was based upon ASME B31.8 which states:

862.25 Atmospheric Corrosion. Facilities exposed to the atmosphere shall be periodically inspected for indication of surface corrosion. Where corrosion is taking place to the extent that public or employee safety may be affected, the facility shall be reconditioned in accordance with para. 862.12 or replaced. Special consideration shall be given to surfaces near the ground line.

192.481 Atmospheric corrosion control:  Monitoring. States (a) Each operator must inspect each pipeline or portion of pipeline that is exposed to the atmosphere for evidence of atmospheric corrosion, as follows:

Onshore - At least once every 3 calendar years, but with intervals not exceeding 39 months.

The rate of atmospheric corrosion can vary significantly based upon the geographic location, corrosive environment, protective coatings, or other factors. Reference documents, NACE Corrosion Engineers Handbook (1991 edition) and Metals Handbook (9th ed., Volume 1, pg. 720, ASM 1978) state the typical corrosion rate for unprotected steel distribution pipe is 24 years. This is the time it takes to lose 70 percent wall thickness. The three-year federal inspection interval must be applied in the absence of corrosion rate data and other regulatory alternatives.

There are other prescriptive inspection requirements in 49 CFR 192, such as, requiring the same leakage survey frequency regardless of material or local condition under 192.723  Distribution systems:  Leakage surveys.