# MAGSAT

NASA (U.S.) scientific satellite (1979-1980) made the first precise, globally distributed measurements of the vector magnetic field near Earth. The satellite flew at an altitude of 300-550 km, in a near-polar inclination.  Researchers modeling the Magsat data have developed space domain representations of the internal field extending from spherical harmonic (q.v.) degree 1 through 36 for the vector field (Lowe et al., 2001), with additional resolution to degree 65 for the scalar field (Sabaka et al., 2004). Magsat also contributed significantly to understanding of the ionospheric magnetic field, and the meridional current systems through which the satellite flew.  The most demanding aspect of making vector magnetic measurements from space is in their precise alignment, which must be at the arc-second level.  Magnetic field measurements have been made from near-earth space since 1958, when Sputnik 3 (USSR) collected fluxgate magnetometer measurements of the field with accuracies of about 100 nT.  Magsat’s measurements of the near-earth vector field were not improved upon, or even repeated, until the launchings of Ørsted (q.v)  (1999) and CHAMP (q.v.) (2000), led by Denmark and Germany, respectively. Follow-on magnetic field missions by NASA focused on planetary magnetic fields  (e.g. Mercury, Venus, Mars, and the outer planets), on the earth’s magnetosphere, and the dynamics of the high-latitude ionosphere.

The Magsat project scientist was Robert A. Langel  (q.v.), the project manager was Gilbert Ousley, and the spacecraft design, development and testing was done by the Applied Physics Laboratory (APL) of  John Hopkins University (Potemra et al., 1981). The vector magnetometer was designed and built at Goddard Space Flight Center’s Laboratory for Extraterrestrial Physics  by Mario Acuña (Instrument Scientist) and his group. Scientists and scientific organizations in the US, Europe, and Japan formed the largest group of users of Magsat observations.  Magsat weighed 182 kg, and cost 19.2 million US dollars from inception through production of the finished data products. Magsat was modeled on the Small Astronomical Satellite (SAS-3), built by APL in 1975. SAS-3 utilized a Doppler tracking system for position determination to within 60 m vertically and 200 m horizontally, and had two star trackers that could provide attitude information to 10 arc-seconds. However, the magnetic fields associated with these star trackers and the spacecraft itself would have introduced unacceptably large errors into the magnetic field determinations.  Therefore, a deployable scissors boom and an infrared attitude transfer system (ATS) were developed for Magsat that put the scalar and vector magnetometers six meters away from the star trackers, and the body of the spacecraft (Figure 1). The deployable boom was designed, developed, and tested by APL, and the attitude transfer system was based on one used for submarines and adapted for Magsat by the Barnes Engineering Company.  The sun-synchronous orbit of Magsat, resulting in a sampling of the magnetic field only at dawn and dusk local time, was a compromise dictated by the carrying capacity of the Scout launch vehicle. The chosen orbit, and mission lifetime (Oct, 1979 through June, 1980) allowed for a maximum exposure of the fixed solar array to the sun, a near-constant thermal environment, and a fixed flight attitude that allowed the star trackers to always face away from the earth.

The orientation of the vector magnetometer was determined, at 0.25 s intervals, using the two star cameras. If only one star camera was tracking an identified star, a precision sun sensor immediately adjacent to the vector magnetometer was used instead. Jumps in the vector data of 10-15 nT can occur at locations where the method of determining the orientation of the vector magnetometer changes. The system for transferring the attitude determined by the star camera on the spacecraft body to the vector magnetometer on the end of the boom involved two optical systems, one for pitch and yaw (utilizing a plane mirror), and a second for roll (using a dihedral mirror). As predicted, the system for measuring roll had the largest errors, estimated at about 8 times the pitch/yaw error.

Figure 1. Line drawing of Magsat, its orientation, and critical systems. The roll axis is along the orbital velocity vector, the yaw axis is vertical, and the pitch axis completes the orthogonal coordinate system.

Magsat carried both scalar and vector magnetometers. The scalar magnetometer, a two-sensor, cesium 133 vapor optically pumped magnetometer, was used to calibrate the vector magnetometer. The two-sensor arrangement was chosen to minimize null zones, where the magnetometers are incapable of sensing the ambient field. In practice, intermittent noise in the cesium lamp excitation circuits caused the tracking filters to lose lock, and reduced the amount of data returned to well below the nominal 8 Hz rate. System errors in the determination of  the scalar field were 0.5 to 1.5 nT. The vector instrument was a triaxial fluxgate magnetometer with a dynamic range of +-2000 nT, and digitally controlled current sources to increase its range to +-64000 nT. The vector instrument sampled the ambient field 16 times/second with a resolution of +-0.5 nT.  Each of the three orthogonal sensors was wound with platinum wire on a highly permeable toroidal magnetic core. The sensors were mounted on a stable ceramic block and temperature controlled to minimize alignment shifts with respect to the reference mirrors of the attitude transfer system.

Each observation has associated with it an attitude uncertainty, and details on the sensors that were used to calculate the attitude (Langel et al., 1981). The mission requirements specified that the three axes of the vector magnetometer be determined within 60 arc-seconds, although in practice it was often known within 20 arc-seconds, corresponding to an attitude error of 5 nT.  A detailed error budget can be found in Langel and Hinze (1998) as Table 3.4. The observations can be accessed (as daily files) at the ftp server (ftp.spacecenter.dk/data/magnetic-satellites/Magsat) of the Danish National Space Center

# Bibliography

Langel, R., Berbert, J., Jennings, T., and Horner, R., 1981, Magsat Data Processing: a Report for Investigators,  NASA Technical Memorandum 82160.

Langel, R.A., and Hinze, W.J., 1998, The Magnetic Field of the Earth’s Lithosphere: The Satellite Perspective, Cambridge: Cambridge University Press.

Lowe, D.A.J., Parker, R.L., Purucker, M,E., and Constable, C.G., 2001, Estimating the crustal power spectrum from vector Magsat data, Journal of Geophysical Research, 106, 8589-8598.

Potemra, T.A. et al., 1980, John Hopkins APL Technical Digest, The Magsat issue, July-September, 1980,

12 articles, pp. 162-232.

Sabaka, T.J., Olsen, N., and Purucker, M., 2004, Extending Comprehensive Models of the Earth’s Magnetic Field with Oersted and CHAMP data, Geophys. J. Int., 159, 521-547.

# Cross References

Langel,  R.A., Champ, Ørsted, POGO, Spherical Harmonics, Uniqueness of solutions to Laplace’s equations

Michael E. Purucker