Figure Captions

Fig.1  - General micromechanical measurement system diagram for magnetometry.  The instrument consists of three basic parts: (1) an AFM cantilever detection system, (2) a chopping circuit for modulating electromagnetic fields applied to sample attached to the cantilever, and (3) a rf stripline resonator and tuning circuit for applying microwaves to the sample for FMR spectroscopy measurements.

Fig. 2 -  Laser spot on photodiode detector of AFM system.  By taking the appropriate difference signals it is possible to measure the cantilever twist as well as deflection.

Fig. 3 – Resonating torque microbalance system diagram for in situ thin film magnetometry.  The instrument is similar to that shown in Fig. 1, with the laser beam bounce detector replaced by an optic-fiber interferometer.  A pair of SmCo magnets applies a bias field in the plane of the film deposited onto a mechanical oscillator.  Force feedback is used to cancel the magnetic torque applied at the end of the resonator and thus linearize the response of the instrument.

Fig. 4 – Photomicrographs of Si microcantilevers for magnetometry.  (a) A lever coated with a Permalloy film at the tip. (b) A cantilever specially designed for in situ deposition magnetometry.  The cantilever is physically masked during deposition so that only the substrate is coated. The  cantilever is microfabricated from single-crystal silicon and therefore has a very high mechanical Q allowing for better SNR when operated at resonance.

Fig. 5 – Vector diagram showing the orientations of the magnetic fields and torque on a thin film magnetized in plane along the z direction.

Fig. 6. - Experimental configuration for measuring M-H loops with a microcantilever torque magnetometer.

Fig. 7. - Hysteresis loops for 10 nm Fe films measured with (a) the micro-torque magnetometer and (b) an alternating gradient magnetometer (AGM).

Fig. 8 - Magnetic moment of a Fe film measured in situ with the micro-torque magnetometer versus film thickness measured with a quartz crystal microbalance.

Fig. 9 – Force feedback signal as a function of torque field for a 30 nm thick NiFe Film.  The inset shows the noise level at a fixed torque field as a function of time.

Fig. 10 - Precession and relaxation of M in response to an applied field H.

Fig. 11 - Vector diagram showing the orientation of the applied fields and mechanical torque generated in an FMR experiment.

Fig. 12. - Experimental configuration for FMR with a micro-torque magnetometer.

Fig. 13 - Torque versus applied field measured with the micro-torque magnetometer for a 30 nm thick Permalloy film.

Fig. 14. - Damping causes the precession of the magnetization m to lag the oscillating microwave magnetic field hx. A component of mx is out of phase with hx and results in absorption of energy from the microwave field. The component of my that is in phase with hx  is perpendicular to this field and results in a torque. The case shown here is for a 90º lag, which occurs near resonance.

Fig. 15. - Experimental configuration for FMR by angular-momentum absorption.  In this configuration a static torque field is not required for FMR detection.   The microwave field itself provides a net time-averaged torque to the sample that twists the cantilever.

Fig. 16. - Torque and absorbed power as a function of bias field at a fixed microwave frequency of 9.15 GHz. The top plot is the signal measured from the torsion of the cantilever. The sign of the torque reverses for opposite directions of the bias field. The bottom plot is the signal measured from the deflection of the cantilever.

Fig. 17. - The experimental configuration for FMR with a bimaterial calorimeter.

Fig. 18. - Cantilever vibration versus applied field for several thin-film samples measured with a bimaterial calorimeter. The offsets from zero are due to eddy-current heating of the films.

Fig. 19. – Magnetic moment sensitivity logarithmic scale showing performance benchmarks and comparisons of various kinds of magnetometers.