Clinical Pharmacology and Biopharmaceutics Review

NDA:

Drug Name:		Fludeoxyglucose F 18 Injection

Study Type:		Clinical Diagnostic Imaging

Title:			Literature Review of Fludeoxyglucose F 18 Injection ([18F]FDG) pharmacokinetic studies using Positron Emission Tomography (PET) in different indications.

Purpose:		To provide a critical analysis and summary of known published articles that can be cited to support either a NDA or an IND submission of this drug product.

Primary Reviewer:	Alfredo R. Sancho, Ph.D.

SYNOPSIS

In the past Positron Emission Tomography (PET) radiopharmaceutical have been evaluated and approved by the Agency for use as radiopharmaceutical diagnostic agents.  PET radiopharmaceutical have a short physical half life; therefore, they have to be manufactured in a cyclotron near the site of use, usually hospitals, clinics or academic research institutes.  On November 21, 1997, the President signed the Food and Drug Administration Modernization Act (FDAMA) into law.  Since then, the Agency has been actively working with the PET community to develop improved criteria and procedures to evaluate PET products for safety and efficacy.

Within the various PET radiopharmaceutical available, 18F-fluoro-2-deoxyglucose ([18F]FDG) has been used since the early 1980's for oncology and cardiology diagnostic imaging purposes. [18F]FDG was approved in 1994 for the measurement of regional glucose metabolism in human brain to assist in the diagnosis of seizures and other Central Nervous System (CNS) disorders.  The approved [18F]FDG dose for this indication was 185 to 370 MBq.

In essence, [18F]FDG allows the measurement of in-vivo glucose metabolism.  Under steady state conditions, cells in a competition with glucose take up [18F]FDG.  In malignant cells, accelerated aerobic process and decreased ability to make energy aerobically promote rapid uptake of glucose and its analogs, ie.[18F]FDG.  Uptake of [18F]FDG and glucose is facilitated by the expression of glucose transport molecules, GLUT1 through GLUT5.  Once inside the cell,[18F]FDG is phosphorylated, producing a polar entity that can not diffuse out of the cell.  This byproduct can be de-phosphorylated back to [18F]FDG by glucose-6-phosphatase.  This latter process occurs at a very slow rate. The amount of [18F]FDG that accumulates in the cell over a predetermined time can by used to estimate the glucose uptake rate for that tissue.  This estimation can then be used for differential diagnosis between tissues, e.g. malignant vs. benign tumors, or viable vs. dead cardiac tissue.

This is a review based on published peer-reviewed scientific literature articles provided through the Agency.  The initial search criteria included studies published and written in English from January 1990 to December 1998, regarding safety, efficacy, pharmacokinetics, pharmacodynamics, and dosimetry for [18F]FDG in human clinical trials.  The totality of these articles is considered equivalent to the information provided with a NDA submission.  This review will attempt to follow the same format of a regular review document.

OBJECTIVES

- To assess the pharmacokinetic information present in the published literature, as a function of quality, robustness, reproducibility, and scientific importance.

- To recommend pharmacokinetic information and references from the reviewed literature, that can be cited by sponsors in their future NDA/IND submissions.

- To recommend pharmacokinetic information and studies that are needed to complement the information from the reviewed literature.

Fludeoxyglucose F 18 Injection (2-deoxy-2-[18F]fluoro-D-glucose) is an injectable intravenous imaging radiopharmaceutical product for Positron Emission Tomography (PET).  This drug product has been used to measure deoxyglucose metabolism in a variety of tissues, e.g the brain.i,ii Fludeoxyglucose F 18 Injection is abbreviated as [18F]FDG.  The structural formula for [18F]FDG is the following:

[18F]FDG is a radiolabeled analog of glucose that rapidly distributes throughout fluids of the entire body after an intravenous administration.  Optimal visual and contrast quality for imaging times and sequences vary with dose, equipment, region-of-interest (ROI), but it ranges from 30-60 minutes post-administration and after its initial clearance phase.  This drug product is not extensively involved in glucose metabolism; it is cleared from most tissues within 24 hours, and can be eliminated from the body unchanged in the urine.

TECHNICAL BACKGROUND

A "typical" 1-ml of [18F]FDG contains 6.8-35.7 mCi (251-1321 MBq) of 2-deoxy-2(18F]fluoro-D-glucose and 9-ml of sodium chloride.  This drug product can be produced in various ways, including an automated radiochemical synthesis unit from a cyclotron produced Fluorine-F18.  Fluorine-F18 is produced by proton bombardment (in a cyclotron) of enriched [15O]water and is bound to 1,3,4,6-tetra-0-acetyl-2-0-trifluoromethanesulfonyl-β, 6-D-mannopyranose (mannose triflate) under stereo specific SN2 reaction conditions.  This renders no carrier added Fludeoxyglucose F 18 Injection.  The pH can be adjusted by passage through an ion retardation resin.

Cyclotrons accelerate subatomic particles (e.g. protons or deuterons) that interact with stable elements in the targetry system to produce radionuclides.  The main radionuclides produced by a cyclotron for PET studies are [150] oxygen, [13N]nitrogen, [11C]carbon, and (18F]fluorine.  These radionuclides have physical half-life of 2 minutes, 10 minutes, 20 minutes, and 110 minutes, respectively.  These radionuclides are then "converted" or used to radiolabel compounds (radiopharmaceutical) that are of physiological interest and can be administered to patients or animals in a wide range of studies, including clinical and preclinical studies.  Once these radiopharmaceutical are produced, they need to be utilized promptly, due to the short half-life of the radionuclides.  Hence, there is a need for automated synthesis systems and a need for placing a properly shielded cyclotron near the center or hospitals where the studies are to be conducted.

Fluorine-F18 decays by positron (β+) emission (249.8 keV, 96.73% per disintegration) and has a physical half-life of 109.8 minutes.  There is another emission, gamma photons, useful for diagnostic imaging at the 511 keV, resulting from the interaction of the emitted positron with an electron or positron annihilation.  The specific gamma ray constant for Fluorine-F18 is 6.0 R/hr/mCi (0.3 Gy/hr/kBq) at 1-cm.  The half-value layer (HVL) for the 511 keV photons is 4.1 mm lead (Pb).  The range of values for the attenuation of radiation are known, an example of it would be an 8.3 mm thickness of Pb, with a coefficient of attenuation of 0.25, will decrease the external radiation by 75%.

In the last 10 years, there have been rapid advances in radiochemistry automation production of [18F]FDG and overall cyclotron technology.  Imaging equipment for PET studies have also had marked improvements.  The initial positron tomograph had a resolution (full width at half maximum) of 1.5-20 cm and produced only a single transaxial cross sectional image.  Presently, available equipment has a resolution around 5 mm in all directions and simultaneously produce 15-45 contiguous slices over an axial span of 10-15 cm, What in the early equipment could not be accomplished has now become the norm, e.g. whole body acquisitions.  Moreover, organs can be imaged in their entirety with equal resolution in all dimensions without moving the patient.  More importantly, the obtained data can be reformatted to generate images at any angle through the organ.  Another improvement has been the use of a semi-quantitative measurement or Standardized Uptake Value (SUV).  This is a ratio of measured radioactivity concentration in a determined lesion or Region of Interest (ROI) against neighboring normal tissue, to estimate of the drug product concentration in the ROI.  Finally, correction for varying serum glucose levels and [18F]FDG found in the interstitial volume is been explored.

BIOLOGICAL BACKGROUND

Glucose consumption is different in each of the organs within the body; it further varies with the state of health of each organ.  Some organs will not only consume glucose but also produce glucose or consume it only under certain specific metabolic or physiological conditions.  At a local regional sub-organ level, these differences in glucose consumption are evident as well, for within the same organ different regions may have varying states of health, which directly affect the glucose consumption, e.g. ischemic heart.

There are three different kinetic steady-state glucose metabolism models.  The first model, which describes the net rate of native glucose transfer into tissue, is based on the arteriovenous differences and the plasma flow, using the Fick perfusion principle:

R = FCa - FCv = KCa

in which R is the net rate of glucose uptake, F is the plasma flow, and K is the net clearance of glucose into tissue at steady state.  The second model, which describes the steady state, is based on glucose consumption:

R = kappMe

where kapp is the net steady-state rate of glucose phosphorylation and Me is the tissue glucose content.  The net steady-state rate of phosphorylation is the product of the unidirectional rate of phosphorylation and the isomerization fraction of glucose to fructose-6-phosphate. The third model of glucose consumption at steady-state is based on the differences between the arterial concentration (Ca) and the interstitial concentration of glucose (Ce = Me/Vd) or,

R = k1Ca - k2Me

where k1 is the unidirectional clearance of glucose by the organ in question.

When a radioactive analog of glucose is administered into the body, the drug is transported across the endothelial and cellular membranes.  It is then subject to the entire metabolism by enzymes for which it retains affinity.  With the fluorinated glucose analog, fluorodeoxyglucose, the metabolism includes 1)transport across the blood-tissue barrier and cellular membranes by the glucose transporter, 2)phosphorylation by hexokinase, 3)dephosphorylation by glucose-6-phosphatase, but 4)not isomerization by glucose phosphate isomerase.iii  Irreversible metabolism occurs when glucose-6-phosphates activity is negligible, e.g.. brain tissue.

Deoxyglucose may have kinetic constants that are different from those of native glucose, e.g. net clearance at steady-state (K).  In the brain, it can be argued that the phosphatase activity is negligible; while in other organs, phosphatase activity may be too high to ignore.iv,v Therefore it must be determined if the organ-tissue selected and deoxyglucose model being applied to, has irreversible phosphorylation or not.  Without dephosphorylation, deoxyglucose-6-phosphate and other metabolites will accumulate irreversibly within the cell.  The deoxyglucose metabolism model proposed by Sokoloff et. al. (1977) has the net metabolism directly proportional to the quantity in the precursor pool.  The net steady state of uptake is equal to the rate of phosphorylation multiplied by the apparent steady-state volume of distribution of unphosphorylated glucose.

Glucose pathway includes the crossing of the endothelium of the capillaries by facilitated diffusion through cell membranes or transcellular process, and by bulk flow of water between cells and paracellular process.  The latter process is hindered in some organs due to high osmotic pressures within the organ, e.g. brain, leading to lower interstitial glucose concentrations than those found in the circulating plasma.  [18F]FDG uptake is also accelerated during inflammation processes, such as in infections, granulomas, abscesses, and other processes, leading to "false positives" results and lower specificity.  There is also a great variability in [18F]FDG uptake between tumor of different type, location, and size.

CLINICAL INDICATIONS

Potentially [18F]FDG can be used to image any organ-tissue that utilizes glucose as the main source of energy, assuming that PET [18F]FDG images will be used as a differential diagnostic tool.  Nevertheless, there are three main organ-tissues which have been evaluated in diagnostic [18F]FDG PET studies.  These are brain, heart, and tumor masses.

PK/PD BACKGROUND

It is assumed that [18F]FDG parallels the deoxyglucose metabolism in healthy normal human subjects.  Hence, the proposed model in which the arterial blood level is described by a tri-exponential decay curve.  There is consistency in the value for the early elimination phase (0.2-0.3 minutes) across various studies, while for the later two phases the numbers vary with no clear indication for a reason.  Samples of the values for the latter two phase of elimination phases are, 11.6 ±1.l min and 88± 4 minvi or 4.21 ±1.09 and 50.08 4-14.62.vii  Within 33 minutes, a mean of 3.9% of the injected dose can be measured in the urine of normal subjects.  Within 2-hours post-administration, there is a mean of 20.6% of the injected dose found in the bladder.  In most tissues (except the heart)[18F]FDG is taken up into the cells and phosphorylated to [18F]FDG-6-phosphate at a rate proportional to the rate of glucose utilization.  At this point it will metabolize to 2-deoxy-2-[18F]fluoro-6-phospho-D-mannose or [18F]FDM-6-phosphate.  The phosphorylated deoxyglucose compounds are then dephosphorylated and the resulting compounds eliminated from the cells by passive diffusion.  Due to the deoxyglucose metabolism differences between the heart and other tissues mentioned in the Biological Background section of this review, the heart may require more than 96 hours to clear the drug product and its metabolites.

DOSIMETRY

[18F]FDG dosimetry published data is available from the International Commission on Radiological Protection.viii,ix   The following data is the estimated absorbed radiation doses after an intravenous administration of [18F]FDG to 70 kg human subject.

The accurate determination of the radiation exposure to critical organs in patients through dosimetry data is important because it would allow for dose adjustment to individual patients.  Of all the organ-systems that may be exposed to radiation from the dosing of this product, the renal system is most affected.  Of the various organs of this system, the bladder is of great concern for it is the organ to receive the highest dose of radiation.x  Actual absorbed doses vary widely depending upon if the patient is hydrated or not, initial bladder volume, urine output, voiding schedule, rate of elimination of FDG, residual amount in bladder after voiding, any renal dysfunction present, and if the patient has a urinary catheter or not.  The method used to calculate the absorbed doses for the bladder depend also on the MIRD model used, eg. a static or dynamic bladder volume model, and on the method used to generate a bladder time-activity curve, including decay correction.xi  All the articles reviewed mentioned that decreasing the interval time between voiding events and/or hydrating the patient to increase the bladder water volume should reduce the bladder absorbed dose.xii

SAFETY CONCERNS

The full extent of the effect of fasting, varying blood sugar levels, and diabetic diseases (e.g. mellitus diabetes) on [18F]FDG distribution in humans is not ascertained to date.  Diabetic patients may need stabilization of blood glucose levels on the day before and on the day of the [18F]FDG study.  Close monitoring should include glucose blood level, hypotension, hypo- or hyper-glycemia, and arrhythmia.

Other population groups that may need special care would include:

a)	lactating mothers (no studies are available to ascertain if this drug product or its metabolites are eliminated through breast milk);

b)	pregnant mothers (no studies are available to ascertain if there is any and to what extent the fetus would be exposed to this drug product); and,

c)	pediatrics.

No extensive dose range and dose adjustment studies with this drug product in normal and special populations have been completed.  The doses across adult human studies cited in this review vary from 5 to 10 mCi (185 to 370 MBq).  In children, doses given have been as low as 2.6 mCi.

No overdose effect studies were found within the database of the literature search completed for this review.

No plasma protein binding in-vivo or in-vitro studies were found within the database of the literature search completed for this review.

STUDY REVIEWS

The initial literature search criteria was to include all studies related to the pharmacokinetic assessment of [18F]FDG.  This criterion was later narrowed to studies only after 1991, due to technological advances and refinements in the PET equipment.  The criteria were again modified to include all studies with no limitations on dates.

All studies presented in this review were selected based on the information given in the publication.  This information would include the details of the study protocol/s, the validation and correction methods used in image and data acquisitions, reproducibility of the results, and the population number and type used in the studies.  Similarities and differences in [18F]FDG dose, equipment, data analysis, and image acquisition protocols were sought among all the publications reviewed.

Four main literature sources can be used for the estimations of absorbed doses in humans from [18F]FDG.  The amount of activity in the injected dose of [18F]FDG measured in a dose calibrator ranged from 74 to 370 MBq.  These references are:

1)	International Commission Radiation Protection (ICRP) Publication 53, Volume l8, No.14,1987.

2)	Estimation of absorbed doses in humans due to IV administration of [l8F]FDG in PET studies.  Mejia A, et. al. J. Nucl. Med. 32:699-706, 1991.

3)	The Radiation Dosimetry of 18F-FDG in Man.  Jones, SC., et. al. J. Nucl. Med. 23:613-617, 1982.

4)	Absorbed Dose estimation in PET studies based on the administration of 18F-labelled radiopharmaceuticals.  Mejia A.A., et. al.  J Radiat. Res. 32:243-261, 1991.

Other publications reviewed do not directly address the need to create or validate a traditional pharmacokinetic profile for [18F]FDG, instead they "assume" that this drug product will follow the "understood" fluorodeoxyglucose pathway.  Based on this assumption, [18F]FDG has been used in a great number of different clinical indications; mainly because, this drug product is used to assess glucose metabolism uptake differences between two adjacent regions of interest (ROI).  Notably the following are some clinical and preclinical publications that can be referenced, depending on the indication for [18F]FDG:

1)	Tumor metabolic rates in sarcoma using FDG PET.  Eary JF, et. al.  J. Nucl.  Med. 39:250-254,1998.

2)	PET in patients with glioma.  A predictor of prognosis.  Alavi JB, et.al. Cancer 62:1074-1078,1988.

3)	Intratumoral distribution of 18F-FDG in-vivo: High accumulation in Macrophages and Granulation tissues studied by microautoradiography.  Kubota R, et. al J. Nucl. Med. 33:1972-1980,1992.

4)	Untreated primary lung and breast cancers: Correlation between 18F-FDG kinetic rate constants and finding of in-vitro studies.  Torizuka T, et. al.

5)	Quantitative 18F-FDG PET in pretreatment and grading of Sarcoma.  Eary JF, et. al.  Clin. Can Res. 4:1215-1220, 1998.

6)	FDG uptake, tumor characteristics and response to therapy: A review.  Smith TAD.  Nucl.  Med.  Comm. 19:97-105,1998.

7)	PET applications in pediatrics.  Shulkin BL.  Q. J. Nucl Med. 41:281-291,1997.

8)	FDG-PET screening for cerebral metastases in patients with suspected malignancy.  Larcos G., et. al.  Nucl. Med.  Comm. 17:197-198,1996.

9)	Cerebellar glucose consumption in normal and pathologic states using fluorine-FDG and PET.  Kushner M, et.al. J.  Nucl. Med. 28:1667-1670,1987.

10)	Kinetics of transport and phosphorylation of 2-fluor-2-deoxy-D-gluocse in rat brain.  Crane PD et.al. J. Neurochem. 40:160-167,1993.

11)	Organ and tumor distribution of 18F-FDG in fasting and non-fasting rats.  Paul R, et. al. Life Sci. 40:1609-1616,1987.

12)	Reassessment of FDG uptake in tumor cells.  High FDG uptake as a reflection of Oxygen-independent Glycolysis dominant energy production.  Waki, A, et. al.  Nucl.  Med- Biol. 24;665-670,1997.

13)	Active and Passive mechanisms of 18F-FDG uptake by proliferating and prenecrotic cancer cells in-vivo: A microautoradiography study.  Kubota R, et. al.  J Nucl. Med. 35-.1067-1075,1994.

14)	Measurements of glucose phosphorylation with FDG and PET are not reduced by dephosphorylation of FDG-6-phosphate.  Kuwabara H, el. al. J. Nucl Med 32:692-698,1991.

15)	Blood-brain transfer of glucose and glucose analogs in newborn rats.  Fuglsang A, et. al.  J. Neurochem. 46:1417-1428,1986.

CONCLUSIONS

The are several key factors used to evaluate these published peer-reviewed scientific articles, which include:

1)	multiple studies conducted by different investigators where each of the studies clearly has an adequate design and where the findings across studies are consistent with each other;

2)	a high level of detail in the published reports, including clear and adequate descriptions of statistical plans, prospective analytic methods, study end-points, full accounting of enrolled patients and their data, and method for calculating all appropriate pharmacokinetic parameters;

3)	appropriate and clear endpoint determination that can be objectively assessed by any independent investigator;

4)	robust results that yield a consistent conclusion and does not require post-hoc analysis; and,

5)	patients enrolled provide the appropriate study strength in relation to the predetermined objectives.

The sections of the articles evaluated and included in this review were the Protocol Design, Objectives, Inclusion / Exclusion Criteria, Dose, Primary Endpoints, Results, Statistical Analysis, and Pharmacokinetic/Pharmacodynamic Data.

From the data across all the articles included in this review, the following is the summary of information known or need to be known:

1.	Known information:

The understanding and knowledge of the behavior of [18F]FDG is based on the known glucose, oxyglucose, and fluoro-D-oxyglucose pathways, including the specific enzyme dependent steps.

There is robust background knowledge on [18F]FDG dosimetry in humans and animals.

2.	Need to know information:

There are no detailed and extensive clinical or preclinical studies to validate the assumptions made on the pharmacokinetic profile of [18F]FDG in humans.

The limited pharmacokinetic data available varies between studies with not clear justification.  Hence, the needs to further obtain and evaluate pharmacokinetic data to recalculate these PK parameters.

There is a need for biodistribution studies in special populations to assess any metabolic differences and possible dose adjustments, including elderly, pediatrics, diabetic, hepatic impaired and renal impaired.

Lacking are human studies that correlate varying doses of [18F]FDG with optimal visual quality of acquired images in different organ-tissues for diagnostic and prognosis purposes.

Alfredo Sancho, Ph.D.

Pharmacologist/Pharmacokinetic Reviewer

Radiopharmaceutical and Imaging Section

Division of Pharmaceutical Evaluation II

Office of Clinical Pharmacology and Biopharmaceutics

Concurrence:

David J. Lee, Ph.D.

Team Leader, Pharmacokineticist

Radiopharmaceuticals and Imaging Section

Division of Pharmaceutical Evaluation II

Office of Clinical Pharmacology and Biopharmaceutics

References

i	Kuwabara H, Evans AC, Gjedde A. Michaelis-Menten constraints improved cerebral glucose metabolism and regional lumped constant measurements with [18F]fluoro-deoxyglucose.  J Cereb Blood Flow Metab 10:180-189, 1990.

ii	Kuwabara H, Gjedde A. Measurements ofglucose phosphorylation with FDG and PET are not reduced by dephosphrylation of FDG-6-phosphate.  J Nucl Mcd 32:692-698, 1991.

iii	Van Holde, M. Biochemistry.  Benjamin Publishing Co., 1990.

iv	Crane, PD, Pardfige WM, Braun, LD, Oldendorf WH. Kinetics of transport and phosphorylation of 2fluor-2-deoxy-D-glucose in ral brain.  J. Neurochem 40:160-167, 1993.

v	Fugisang A, Lomholt M, Gjedde A. Blood-brain transfer of glucose and glucose analogs in newborn rats.  J. Neurochem 46:1417-1428, 1986.

vi	“Fludeoxyglucose F18 Injection [18F]FDG Diagnostic For Intravenous Administration" (1991) The Methodist Medical Center of Illinois, Peoria, IL 61636

vii	Mejia, AA, Nakamura, T, et.al. Absorbed Dose Estimates in Positron Emission Tomography Studies Based on the Administration of 18F-Labeled Radiopharmaceuticals. 1991 J. Radiat.  Res. 32.243-261

viii	Jone SC, Alavi A, Christman D, Montañiez 1, Wolf AP, and Reivich M. The Radiation Dosimetry of 2-F-18-fluoro-2-deoxy-D-glucose in man.  J Nuci Med 23:613-617, 1982.

ix	ICRP Publication 53, Volume 18, No. 1-4, 1987.

x	Mejia, AA, Nakamura, T, et.al. Absorbed Dose Estimates in Positron Emission Tomography Studies Based on the Administration of 18F-Labeled Radiopharmaceuticals. 1991 J. Radiat.  Res. 32:243-261

xi	Dowd, MT, Chen, CT, Wendel, MJ, Faulhaber, PJ, and Cooper, MD.  Radiation Dose to the Bladder Wall from 2-[18F] Fluoro-2-deoxy-D-glucose in Adult Humans. 1991 J. Nucl.  Med. 32:707-712

xii	Jones, SC, Alavi, A, Christman, D, Montañez, 1, Wolf, AP, and Reivich M.  The Radiation Dosimetry of 2-[F-18] Fluoro-2-Deoxy-D-Glucose in Man. 1982 J. Nucl.  Med. 23:613-617