Surface Observation Inspection Guide

NWS Form B-32 (ASOS/AWOS Augmentation and Backup FAA (LAWRS, FSS, AFSS), NF-OBS, FCWOS, NWS and NWSCMO)

Observing Facility:_______________

Date of Visit:_____

Prepared by:________________

Instructions: Use this guide during the inspection. Make entries and remarks as required or necessary. File this with the station inspection report WS Form B-33.  N/A may be annotated anytime when item is Non-Applicable.

Ratings:

The following Ratings may be indicated by a “+” : Excellent (remarks required), Satisfactory, Conditionally Unsatisfactory or a  Yes

The following Ratings may be indicated by a “-”:  UnSatisfactory

Conditionally Unsatisfactory or a  No. Any element receiving a “-” Rating must have an explanation for corrective action to be taken or recommended procedures to follow.

| Inspection Item | Rating + | Rating - | Remarks Section |
| --- | --- | --- | --- |
| 1. Arrangement of Facilities | Rating | Rating | Remarks |
| Location of observing site adequate for backup and augmentation of automated system? (If no, explain in remarks) |  |  |  |
| Location of weather sensors adequate? |  |  |  |
| Adequate safety devices (sufficient lighting, guardrails on stairs, etc.) |  |  |  |
| 2. Pressure | Rating | Rating | Remarks |
| Type of Pressure instrument used? (Aircraft altimeter, ASI, ASOS, AWOS, aneroid instrument) |  |  |  |
| Comparisons of backup instruments completed in accordance with observing handbooks (No Grace Period) |  |  |  |
| Condition of Instrument(s) |  |  |  |
| Correct height of backup Instrument Posted on or near instrument. |  |  |  |
| Comparisons Properly logged on MF1M-10 or FAA form 7230-4. |  |  |  |
| Backup Instruments Installed Properly (No Grace Period) |  |  |  |
| Backup Available (7 day Grace Period) |  |  |  |
| Aneroid instruments routinely compared ( ) daily with each other ( ) 3 times a week with ramp aircraft. |  |  |  |
| Surveyed Height of pressure sensor on file with NWS? |  |  |  |
| All comparison corrections displayed at or near DASI/ASI? (If not, instruct office to post corrections) |  |  |  |
| Comparison satisfactory with inspecting official’s traveling standard? ( 7 day Grace Period ) |  |  |  |
| Pressure Reduction tables satisfactory? |  |  |  |
| Backup Procedures clearly understood by observers? |  |  |  |
| Other pressure instruments operated correctly (specify in remarks). |  |  |  |
| 3. Temperature and Humidity | Rating | Rating | Remarks |
| Temperature and dewpoint instruments properly functioning and in good condition. (30 day Grace Period (N/A LAWRS)) |  |  |  |
| Dewpoint properly computed? |  |  |  |
| Temperature and Dewpoint Data provided . (30 day Grace Period (N/A LAWRS)) |  |  |  |
| Condition of Backup Instrument Shelter . Adequate supplies (muslin wicks, batteries, etc)? (N/A LAWRS) |  |  |  |
| Location, general condition and exposure of instruments. |  |  |  |
| Temperature and dewpoint backup provided for automated systems? (N/A LAWRS) |  |  |  |
| 4. Precipitation (N/A LAWRS) | Rating | Rating | Remarks |
| Condition of gage (8-inch, universal, etc.). |  |  |  |
| Condition of snowboard |  |  |  |
| Measuring stick. |  |  |  |
| Exposure of precipitation measuring instruments. |  |  |  |
| Correct procedures used in measuring and identifying precipitation. |  |  |  |
| 5. Wind | Rating | Rating | Remarks |
| Method for determining Direction and Speed properly. ( Identify the method in remarks, e.g., wind sock, flag, Beaufort Scale , estimations, etc). |  |  |  |
| Estimation Procedures understood by Observers. |  |  |  |
| Gusts and Squalls Understood by Observers. |  |  |  |
| Exposure of equipment. |  |  |  |
| Supports for equipment. |  |  |  |
| Speed recorded in knots and accurate to within 10 %? (30 day Grace Period, if equipment is required) |  |  |  |
| True directions recorded and accurate to within 10 degrees? (30 day Grace Period, If equipment is required) |  |  |  |

| 6. Ceiling | Rating | Rating | Remarks |
| --- | --- | --- | --- |
| LBCs, balloons, ceiling lights, clinometers in satisfactory condition? (N/A LAWRS) |  |  |  |
| Operation of equipment understood. |  |  |  |
| Observational procedures for backing up automated equipment followed. |  |  |  |
| Helium available and safely stored (where balloons are in use). (N/A LAWRS) |  |  |  |
| 7. Other Equipment and Procedures | Rating | Rating | Remarks |
| Aviation Service Level responsibilities understood. |  |  |  |
| ASOS reference guides available. |  |  |  |
| AWOS Users guide available. |  |  |  |
| Practice observations taken. |  |  |  |
| ASOS OID and printer in good condition. |  |  |  |
| AWOS OT and printer in good condition. |  |  |  |
| Proper Log on/log off procedures followed for ASOS. |  |  |  |
| WS form B-14 properly completed. (NWS locations only) |  |  |  |
| Required telephone numbers available. (AOMC, supervising station, etc.) |  |  |  |
| Location of ASOS ACU. |  |  |  |
| Location of Sunshine switch (if required). |  |  |  |
| A-1, A-3, and A5a forms up to date for station? |  |  |  |
| Procedures for reporting RVR satisfactory. |  |  |  |
| Cooperator willing to make observations available to other users. (7 day Grace Period ). |  |  |  |
| Observers familiar with visibility markers. |  |  |  |
| All recorder charts annotated as required by Observing handbooks? (List recorder charts and equipment). |  |  |  |

| 8. Observational Aids and Facilities | Rating | Rating | Remarks |
| --- | --- | --- | --- |
| Visibility charts available (30 day Grace Period). |  |  |  |
| Visibility charts accurate. |  |  |  |
| Nighttime visibility markers indicated? |  |  |  |
| Observers understand correct procedures for reporting and backing up prevailing visibility for ASOS. |  |  |  |
| Table of Speci criteria available and correct Notify Region for ASOS problems. |  |  |  |
| Cloud Atlas or cloud charts available. |  |  |  |
| WSOH #7 current and available (NWS locations). |  |  |  |
| FAA Order 7900.5 current and available (FAA, FCWOS, NF-OBS locations). |  |  |  |
| Other aids available (Training guides, Users Guides, station duty manuals, reference guides, etc). |  |  |  |
| 9. Preparation of Records |  |  |  |
| 30 day review of observations . |  |  |  |
| Observation records neat and legible. |  |  |  |
| Local quality assurance of observations. |  |  |  |
| Corrections to observations performed as required? |  |  |  |
| Is Tower Visibility reported correctly? |  |  |  |
| Observations reported on time? |  |  |  |
| AWOS/ASOS backup and augmentations Procedures followed correctly? |  |  |  |
| How many observations taken in your presence? |  |  |  |
| Were observations taken in your presence performed adequately? If not recommend training and Notify Regional Office. |  |  |  |

| 10. General |  |  |  |
| --- | --- | --- | --- |
| Quality control of observations conducted on site. |  |  |  |
| All observers certified and current. (No Grace Period) |  |  |  |
| Examination of observing certificates. |  |  |  |
| Adequate on the job training for new observers. |  |  |  |
| Adequate arrangements for notification of observers in the event of an aircraft mishap. |  |  |  |
| Station instructions adequate for observing, disseminating and quality control of observations. |  |  |  |
| Training aides utilized. |  |  |  |
| Pilot reports utilized |  |  |  |
| Remarks encoded properly when required. |  |  |  |
| Observers adequately proficient (No Grace Period, Immediate Decertification after consultation with Regional Office) |  |  |  |
| Valid agreement in place? (NF-OBS) |  |  |  |

Overall Rating:

Excellent:__________ Satisfactory:___________

Conditionally Unsatisfactory:____________     Unsatisfactory:_____________

Additional remarks: