NY 850713

APR 13 1990

CLA-2-90:S:N:N1:104 850713

CATEGORY:  Classification

TARIFF NO.: 9031.80.0080;  8525.30.0060

Ms. Virginia McEleney

Yusen Air and Sea Service (U.S.A.), Inc.

424 South Isis Avenue

Inglewood, CA 90301

RE:  The tariff classification of a Film Analyzer and an Eyemark

Recorder from Japan.

Dear Ms. McEleney:

In your letter dated March 16, 1990 on behalf of

Instrumentation Marketing Corp. of Burbank, California you

requested a tariff classification ruling.

The NAC Film Analyzer is used to look at a roll of 16 or

35mm film one frame at a time and by superimposing an X-Y

coordinate of a particular object through a sequence of frames a

number of measurements can be made. In appearance, the unit

resembles a rear screen projector. The screen or front surface of

the projector serves as an electromagnetic digitizing table. A

free-floating cursor is used to transmit the X-Y coordinates.

Below the screen is a pull-out control panel featuring an LED

display of the X-Y coordinates, a frame counter, and an auto-

step. The analyzer also features interchangeable projection

heads, 16mm, 35mm and 70mm, all pin registered. The digitizer

provides the inputs to a PC running the Moving Image Analysis

Software (MOVIAS). Measurements include position, displacement,

velocity, length, angle, area, acceleration, force, momentum,

energy and power. (The PC is not imported; the software is

separately imported). A typical use for the system would be in

car crash test studies.

The NAC Eyemark Recorder Model EMR-V is not a recording

device. The unit, which is strapped on the head of the user, is

composed of three television cameras. Each camera transmits a

video signal which when relayed to a video tape recorder will

record field of view - right and left eye focal points.

The applicable subheading for the NAC Film Analyzer will be

9031.80.0080, Harmonized Tariff Schedule of the United States

(HTS), which provides for other measuring or checking

instruments, appliances and machines. The rate of duty will be

4.9 percent ad valorem.

The applicable subheading for the NAC Eyemark Recorder will

be 8525.30.0060, HTS, which provides for other television

cameras. The rate of duty will be 4.2 percent ad valorem.

This ruling is being issued under the provisions of Section

177 of the Customs Regulations (19 C.F.R. 177).

A copy of this ruling letter should be attached to the entry

documents filed at the time this merchandise is imported.  If the

documents have been filed without a copy, this ruling should be

brought to the attention of the Customs officer handling the

transaction.

Sincerely,

Jean F. Maguire

Area Director

New York Seaport