SOP for High Throughput Sequencing – Microtiter plates

All High Throughput Sequencing projects need prior approval before submitting samples.  Protocols for HTSeq are different and much more critical.  If you have never sent a HTSeq request, call Lynn X-6535 or Claudia X-5924 before submitting samples.

# The Paper Work

Customer must make LIMS request and include a hard copy of the Request

Details page with their samples.

Sample and request labels must be UNIX compatible text.  This is

alphanumeric, dot, dash, underscore ONLY.  NO SPACES!

Position H12 is reserved for the LMT control.  Do not enter or upload data for this

position.  Do not put DNA in the H12 position of any plate.

# Samples Preparation

Samples must be submitted in 96-well(PE part #N801-0560) or 384-well(Griener part #785201) microtiter plates.  Seal with foil seals (Beckman part #538619).  Plastic seals allow excessive evaporation.

For Sequencing

Wells must contain Template and Primer in the following proportions:

Primer		0.5 uM			2.2ul

Template	         	125ng/ul plasmid or	5.5ul

50-100ng/ul PCR

Total					7.7ul

For G50 Purification and Sequencing

Plasmid DNA	125-250ng/ul		10ul

A separate primer plate must be provided or a stock primer plate must be

specified for sequencing.

# Shipping

Samples must be packaged and shipped according to NIH guidelines.

For our Frederick customers to ship sequencing samples to Tollhouse Ave.:

- Safety requires a “Request for Shipment” form be filled out and sent to them prior to shipping any samples via the courier.  A one time blanket form can be set-up for sending sequencing samples to Tollhouse Ave. which will streamline your paperwork.  You can contact Sue Smith in Safety 301-846-5919 for details on this process.

- Call the courier by 4:30 pm the day before you plan on sending your samples.  Let them know that you will have samples shipping to Tollhouse Ave. the next morning.

- Package your samples in an appropriate container and include a cool pack (Do not use wet ice.  On occasion water from melted ice has leaked out of a shipping container causing problems for the mailroom staff). Samples must be packed in a leak-proof container (Styrofoam box is OK).  The lid must be secured with tape and labeled with both our address and phone number and your address and phone number

- Take your samples to the mail drop for your building by 9:30 am for pick-up.

- Samples that are not properly packaged (for example-in a zip-loc bag, in a mailing envelope, in an interdepartmental mailing envelope, taped together, in a 50 ml tube….) will not be accepted by the courier.

For our NIH customers to ship sequencing samples to Tollhouse Ave.:

- Call the courier by 10:00 am the day you plan on sending your samples.  Give them the pick-up location as well as our address.

B.  Follow NIH guidelines for packaging and shipping. http://www.nih.gov/od/ors/ds/shipping/index.html Package your samples in an appropriate container and include a cool pack (Do not use wet ice.  On occasion water from melted ice has leaked out of a shipping container causing problems for the mailroom staff).  Samples must be packed in a leak-proof container (Styrofoam box is OK).  The lid must be secured with tape and labeled with both our address and phone number and your address and phone number.  Your phone number is very important.  Couriers sometimes have difficulty accessing the NIH buildings due to the increased security.  They may need to call you to let them into the building.

- Have your package ready by 11:00 am.

- Samples that are not properly packaged (for example-in a zip-loc bag, in a mailing

- envelope, in an interdepartmental mailing envelope, taped together, in a 50 ml tube….) will not be accepted by the courier.

Our shipping address is:

LMT Sequencing Lab

915 Tollhouse Ave.

Suite 211

Frederick, MD  21701

Our phone number is:

301-846-5676

and Fax

301-846-6100

# Labeling-Plates

Label the Plate (not the seal, we remove this to process the samples) with the Request Label and Request ID.

If we are performing a G50 purification of your samples, you will need to include a plate ID for the primer plate to use for the sequencing reaction.  If you are sending a primer plate with your request, label it with the request label, request ID and PRIMER.

# Problems

If any of the above requirements are not met, or if there are any questions about your request, you will be notified by the LMT staff.  Your request will remain on Hold until the problem is resolved and this will increase your turnaround time.  If the problem can not be resolved by e-mail or phone, your samples will be returned to you.

# Special Handling

If you wish to submit samples in any thing other than standard format, you

must get pre-appoval from the LMT staff and must include specific

details along with your samples.  Special Handling requests are not subject to the standard 3-5 working days.

# Organization and Clutter

Delete any incorrect or unnecessary requests from the system.  Any request over five days old for which we have not received samples, will be deleted by the LMT staff.   If you have need to submit a request well in advance of sample shipment please advise the LMT staff so that they do not delete your request.