FIND Quality Control Procedures

Clinical Quality Control

## Introduction

The goal of the Clinical Quality Control Committee is to develop standard procedures for the collection of clinical data.  For a multi-center study, the most important step in quality assurance for the collection of clinical data consists of the training and certification process.  In FIND, this training and certification will be done at each PIC.

## Medical Chart Review

PIC technicians are trained and certified for medical chart abstraction by PIC coordinators.  Five medical charts from each PIC abstractor are xeroxed and sent to the GADCC within the first month of the abstractor beginning data collection.  These charts are then reviewed by data abstractors from other PICs, and Kappa statistics calculated for entry criteria by the GADCC to determine the reliability of the data. This process is repeated annually for each data abstractor.

## Blood and Urine Collection Processing

### Staff Certification Requirements

The blood drawing and preparation are performed by certified technicians. Each institution or organization is responsible for ensuring that technicians are trained according to institutional guidelines.

### Participant Compliance with Protocol

A fundamental function of data collection in FIND is to provide accurate phenotype assessment for diabetes and renal disease.  Hemoglobin A1C and history will be used to assess diabetes phenotype.  Fasting blood glucose needs to be determined in all participants without ESRD who have an indeterminate Hemoglobin A1C level, per the FIND protocol.  In addition, it should be obtained whenever possible to confirm the absence of diabetes.  To obtain valid and comparable measurements of fasting blood glucose, FIND participants should fast overnight for at least 8 hours before blood is drawn.  Interviewers who administer the medical questionnaire are trained to explain the importance of compliance when recruiting FIND participants and to obtain their agreement to comply.  When FIND participants are contacted before their appointment about the scheduled visit, they are to be reminded of the fasting restrictions.  Time of the last meal will be recorded.  The GADCC analyzes study data for information on length of time fasting and reports the percent of participants at each PIC who do not comply.

### Maintaining Proficiency

To maintain their proficiency, technicians are urged to perform blood drawing and processing at least once each week (or 8 times each 2 months).  The GADCC analyzes the study data to assure that all technicians collecting and processing blood in the PIC are performing these procedures frequently enough to maintain their proficiency. For PICs using vendors, maintenance of proficiency is dependent on the vendor’s protocols.  PICs using hospital-based technicians will need to comply with JCHO (Joint Commission Hospital Organization) requirements.

### Packing Samples for Shipment from PIC to NCI

All vials of blood samples, as well as the plastic bags that contain all samples for a given participant, are labeled with the participant’s barcode ID.  A shipping list for all sets of samples is enclosed with each shipment to NCI.  The person unpacking these samples at NCI verifies that the IDs on the vials match the ID on the plastic bag and the ID on the shipping list.  If any discrepancies are detected, NCI contacts the PIC to resolve the problem.

Blood vials shipped to NCI must be packed securely to avoid both breakage and warming.  NCI monitors the arrival condition of the samples sent from each PIC.  If problems are encountered, NCI notifies the PIC involved.

Shipment of all samples is coordinated through the GADCC website.  To avoid delays in transit to NCI which might cause samples to be warmed or thawed in shipping, it is especially important that the NCI is made aware of samples shipped on Fridays, Saturday, or days prior to a federal holiday.

The GADCC will monitor the Shipping/Receiving Form in the Central Database and notify PICs when a shipment is in violation of FIND approved procedures (See Section 5). The Study Coordinator and the Principal Investigator of the site in question will receive an e-mail from the GADCC citing the following:

  - Shipment Date

  - Federal Express Tracking Number

  - Barcode ID

  - Sample Violation or Shipment Violation

  - Immediate Corrective Action to be Taken

These violations will be recorded in the monthly reports presented to all members of the Steering Committee, who will also be informed if corrective action is not taken.

### Replicate (phantom) Samples

An extra set of quality control replicates of whole blood, serum, plasma, and urine from one study participant will be sent out.  Replicate samples from approximately 10% of the entire FIND study will be selected for quality control.  NCI will generate a list of PIDs that have specimens in the archive and the amount of each specimen. The GADCC will eliminate PIDs that do not have enough specimens in the archive to participate. The remaining specimens will be used to randomly select a 5% sampling for shipment to the Central Phenotyping Laboratory. The NCI laboratory will use the barcode that contains the PID number and the tube number as a quality control ID. The NCI will pull the specimens from their archive, create a shipping form using the quality control ID as described above, and send the samples to the Central Phenotyping Laboratory for processing. The Central Phenotyping Laboratory will treat each sample they receive independent of any previous samples.  A new accession number will be assigned and the usual battery of tests performed for that specimen. Results of the tests will be reported to the PICs weekly. The GADCC will receive an electronic report on a monthly basis from the Central Phenotyping Laboratory. For data analysis by GADCC, results on each laboratory measurement are matched to the appropriate participant results using the PID from the barcode ID.  GADCC will generate quality control reports quarterly for review by the Steering Commitee. The Central Phenotyping Laboratory will be sent the comparison results on a quarterly basis. These samples will be sent on a regular basis during the entire study duration. The same procedure will be utilized for the University of Minnesota Laboratory which performs additional urine assays for the FIND.

## Sample Receipt at the Central Processing Laboratory (NCI)

### Specimen Identification

Upon arrival at NCI, each specimen is verified by NCI technician via the GADCC database.  If a discrepancy occurs, the NCI technician calls that specific PIC to resolve the problem.

Procedures for creating and identifying a record for each specimen upon arrival follows current NCI protocol.  This record includes a local specimen identification number, as well as the FIND ID number. The local specimen ID number is the linking variable used to update the record for each specimen (either by direct data transfer from the analytic instrument or by entry of results from worksheets) after the specimen is analyzed. It is therefore crucial that care be taken when labeling specimens with local ID’s that the local ID recorded for each  specimen on the data base matches that by which the specimen is actually identified as it is processed in the lab. Laboratory supervisors periodically review how this process is carried out and instruct laboratory technicians in techniques to use to avoid ID errors.

### Maintenance Procedures for Laboratory Equipment

A regular schedule is set up for routine maintenance procedures, with logbooks kept on their performance.  The laboratory supervisor review these logs on a regular basis to verify that proper maintenance procedures are being carried out according to the schedule set and that any special maintenance procedures need are carried out.

## Central Phenotype Laboratory Quality Control (MedStar)

### Specimen Identification

In FIND, blood samples are collected by each PIC and processed by NCI for shipment to the Central Phenotype Laboratory (MedStar).  Procedures for creating and identifying a record for each specimen upon arrival follows current MedStar protocol.  This record includes a local specimen identification number, as well as the FIND ID number. The local specimen ID number is the linking variable used to update the record for each specimen (either by direct data transfer from the analytic instrument or by entry of results from worksheets) after the specimen is analyzed. It is therefore crucial that care be taken when labeling specimens with local ID’s that the local ID recorded for each  specimen on the data base matches that by which the specimen is actually identified as it is processed in the lab. Laboratory supervisors periodically review how this process is carried out and instruct laboratory technicians in techniques to use to avoid ID errors.

MedStar routinely archives all samples at -700C for 30 days after the initial assays are performed.  The archived samples are used to repeat assays when necessary.  GADCC performs bi-weekly evaluation of laboratory data submitted from MedStar outlying values and systematic patterns.  If outlaying values or systematic patterns are detected, GADCC generates a list of samples to be repeated and contacts MedStar for repeated assays to be performed.

## Material Archiving

It is important in handling the FIND frozen blood samples (in the case of bulk shipments from the PICs) to avoid any unnecessary exposure to room temperature. Clear procedures for unpacking specimens upon arrival is set out at NCI to minimize such exposure.  NCI archiving has provisions for (1) prompt detection of power failure or of failure of freezer to maintain the proper temperature, including both local alarms and alarm signals to a central security office that will notify appropriate laboratory personnel if a problem develops after hours; (2) backup power supplies in the event of power failure; (3) plans for the use of dry ice to maintain the sample temperature until any problems with the freezer can be repaired.

## Long Term Consistency of Methods

The laboratory protocols fully describe the measurement methods and procedures to be used in the FIND. To maintain the long-term comparability of measurement results throughout the FIND, the same measurement methods will be maintained throughout the study. If measurement methods are to be changed, comparison studies must demonstrate to the satisfaction of the FIND Steering Committee that the method to be used has been shown to give results fully comparable to the method used initially. It is important to demonstrate that comparable results can successfully be achieved in the implementation of the method in the FIND laboratory, rather than to rely merely on descriptions of comparisons in the literature, as there are often significant differences in the results achieved by the same analytic method at different laboratories. Use of a back-up method in the event of the temporary failure of the usual FIND method to achieve in-control results should only be done with the permission of the FIND Steering Committee after the back-up has already been implemented in the laboratory and shown to maintain comparable results. In both cases, the experiments to demonstrate method comparability will be designed jointly by the laboratory in question and the GADCC.

Molecular Quality Control

## Objectives and Goals of the Molecular Quality Control Subcommittee

The goals of the Molecular Quality Control and Assurance Subcommittee are:

1. To develop protocols and standard operating procedures for collection of molecular genetic data from samples ascertained in the FIND study with attention to quality control and assurance.

2. To plan a genome scan for FIND data with selection of appropriate controls and replicate samples.

3. To evaluate the molecular results from the genome scan and the MALD studies.

4.  To identify chromosomal regions for follow-up and confirmation of linkage results and candidate genes, as per the recommendation of the data analysis committee.

5.  To plan positional cloning projects for those regions where initial and confirmatory evidence for linkage has been obtained

To meet the goals of the molecular quality control and assurance committee a series of standard operating procedures have been developed.  These are listed below.

## To develop protocols and standard operating procedures for collection of molecular genetic data from samples ascertained in the FIND study with attention to quality control and assurance.

### DNA extraction from lymphoblastoid cell lines

As described in section 8, cell pellets from lymphoblastoid cell lines will be received at the GADCC laboratory from NCI on a monthly basis, after the first set of samples have been transformed into cell lines at the NCI. The receipt of the samples will be scanned into the FIND database using the FIND barcodes. DNA will be extracted from cell pellets as per protocol on page 65. Stock DNA will initially be diluted to 1 microgram/microliter and vials labeled with barcode labels that are resistant to freezing, moisture and solvent removal. All purified DNA samples will be diluted to a 200 nanogram/microliter concentration in 10 mM Tris, 5 mM EDTA buffer and stored frozen at –80(C in cryoboxes that have been barcoded.

### DNA extraction from whole blood or buffy coats

Transformed lymphoblastoid cell lines may be unavailable for DNA extraction on some patients, although, PICs will be informed of lack of success in cell line transformation and will be asked to re-draw crucial samples, if feasible. NCI will inform the GADCC via the reporting fields in the FIND database that the samples failed to transform, or that yellow top tubes were unavailable for cell line transformation.  In these cases the archived buffy coat or whole blood sample will be used for DNA extraction. DNA extraction will be performed using the PureGene Kit [Gentra Systems]. Stock solutions will be diluted to 1 microgram/microliter and vials labeled with barcode labels that are resistant to freezing, moisture and solvent removal. All purified DNA samples will be diluted to a 200 nanogram/microliter concentration in 10 mM Tris, 5 mM EDTA buffer and stored frozen at –80(C.

### Assignment of DNA sample to 96-well plates for genotyping

The assignment of a particular DNA sample (10ng/ul) to a particular address on a specific 96-well Biostar vial will be dependent on whether the individual participated the MALD study or the individual participated in the Family Study.  Although, samples will generally be assigned to a plate as collected, the actual assignment will depend on whether a family qualified for the study and other available family members. The assignment of a sample will be determined by the FIND database. For the Family Study, family structures will be retained inasmuch as allowed by concurrent data collection of family members.  Each DNA plate will also contain the appropriate number of replicate (N=4) and control CEPH samples (N=4). Using all available samples replicates will be randomly sampled for each plate while ensuring that all 5 ethnicites (Caucasian, African American, Mexican American, Pima Indian and Zuni Indian) are adequately represented. Once a sample is selected as a replicate it will be removed from further consideration.

### Quality control for DNA concentration

The purity and concentration of the DNA samples will be ascertained using the spectrophotometer [Spectromax Plus, Molecular Devices]. After samples have been diluted to a concentration of 10 ng/ul, a test PCR reaction will be used to determine if the samples can be amplified using standard primers. If a particular sample has a DNA concentration of less than 200 micrograms, the GADCC will ask for additional blood to be drawn from the individual for genotyping. Samples with DNA concentrations less than 200 micrograms will not be considered to be recruited, since a sufficient quantity of DNA is unavailable for genotyping.

### Shipping of DNA aliquots to the PICs

Each PIC may request that ½ of the archival sample, viable cell-lines or extracted DNA be returned to them for candidate gene studies. DNA samples will be shipped to PICs (See Appendix I for addresses) on a monthly basis. Shipment of samples will be pre-arranged between the laboratory personnel at the GADCC and the PIC. Samples will be shipped frozen from Monday through Wednesday and the appropriate personnel alerted to the arrival of the samples at the PICs. In the event that a large quantity of DNA is unavailable for a particular sample, a sufficient amount of DNA from each sample will be retained at the GADCC for the planned genome scan.

## To plan a genome scan for FIND data with selection of appropriate controls and replicate samples.

### Plan I for the genome scan

- In years 2-3.5, an application will be submitted to the Center for Inherited Disease Research (CIDR) for a 10cM genome scan for the entire FIND study. This application will utilize a two-stage approach for the entire sample.  First, the DNA sample collected in year 2-3.5 (1/4 of the whole sample) will be sent to CIDR for an initial genome scan.  Next, the sample collected in years 3.5-5 (3/4 of the whole sample) will be used to replicate the results of the initial scan. Thus, samples collected in years 3.5-5 will be shipped on an annual basis to CIDR for genome scanning.

- CIDR will provide both raw and analyzed data for the study.  CIDR currently employs 4 CEPH individuals, 4 blind replicates and a moving blank on their gels for quality control but is amenable to modifying plans to suit the consortiums’ needs.

- The rationale for the performing an initial genome scan on ¼ of the sample is that fine mapping for positive results can be pursued very quickly. Four to eight additional markers will be typed in the whole sample in regions where significant lod scores are obtained from the initial scan (e.g. p-value <0.05 was observed).   The size of the interval will determine how to proceed with fine mapping.  For an interval larger than 3 cMs, additional markers will be typed to narrow the interval.  For a small interval, candidate genes may be tested for mutations and polymorphisms.

- The results of the genome scan will be utilized in relationship testing and reassigning relationships after assessment of genotyping error (see data analysis section).

### Plan II for the genome scan

- If the genome scan application is rejected by the CIDR access committee because of power considerations or inadequate recruitment, a re-submission will be planned within 6 months of the initial rejection. Currently, the rate of genotyping error at CIDR is less than 1% at CIDR, with a 5% missing data.  As a back-up, the molecular laboratory at the GADCC will perform the genome scan.  In this case, only ¼ of the sample will undergo the full genome scan.  The whole sample will be typed for additional markers where positive lod scores are observed.   For the first stage scan, 405 equidistant markers spanning all human autosomes and the pseudoautosomal region of the X chromosome will be used to type each sample.  Markers spaced at an average distance of 10 cM designed from Co-operative Human Linkage Center panels 10, which are composed almost entirely of tri- and tetranucleotide repeats with an average heterozygosity of 0.8, will be purchased from Research Genetics (Huntsville, AL). The current rate of genotyping error at the GADCC laboratory is 5%, with 10% missing data using the ABI 3700.

- Controls and replicates selected for quality control will remain identical for both plan I and II.

- Markers selected for fine mapping will depend on results obtained from the first stage.  We anticipate that five to six marker regions will “suggest linkage” by chance alone and warrant further investigation in order to maintain our desired level of statistical power.  For each positive region, six to eight markers spaced two cM apart on either side of the positive marker will be typed.  Further, if putative candidate genes lie within 20 cM of the region with suggestive linkage, then markers close to or within the gene or the candidate gene itself will be typed.

- Genotype data will be obtained on an ABI 3700 Sequencer.  Allele sizes will be assigned using the Genotyper version 2.1 software.  Data from the Genotyper program will be dispatched to the GADCC statistical core for entry into the FIND database and for analysis of Mendelian segregation.  Data will be analyzed within one week of being run. The average size of raw and processed data files obtained from this program is about 25-30 megabytes.  The data will be temporarily stored on the MetroHealth Medical Center server until all genotypic information is extracted.  The data from each run will be compressed and moved for remote storage to a zip disk or CD.  A version of the raw data files stripped of the large image file and compressed to less than half the size will also be stored on the Unix Servers at the GADCC.  The data in these files will be burned onto CDs, media suitable for long-term storage of large amounts of data.  Each CD will be carefully labeled with dates of the runs, markers, and study name, and indexed in the FIND database.

## To evaluate the molecular results from the genome scan and the MALD studies.

- Because data from the genome scan will be accumulated over several years, the Molecular Quality control committee along with the Data Analysis Committee will analyze the data for measurement drift using replicates of samples genotyped in previous years.  Population-specific allele frequencies will be estimated from the data and compared using extant data from public databases such as GDB (www.gdb.org).  Raw data and reports for each PIC will be made available via web access to the FIND database. The progress of the genome scan and the positive evidence for linkage will be evaluated in terms of potential candidate genes.

- Raw data and results from the MALD studies will also be deposited in the FIND database.  Similar to methods utilized in the Family Based Study, the Molecular Quality control committee along with the data analysis committee will record and analyze the MALD genotyping data for measurement drift using the quality control plan suggested by the MALD centers.  The progress of the MALD genotyping and analysis will be periodically evaluated in terms of potential candidate genes.

## To identify chromosomal regions for follow-up and confirmation of linkage results and candidate genes, as per the recommendation of the data analysis committee.

- After the initial genome scan in ¼ of the samples is completed (Plan I) and regions that demonstrate positive evidence for linkage identified, additional markers in these select regions will be identified.  These markers will be genotyped in the original sample that demonstrated evidence for linkage and in a confirmatory sample, if available.  Priority of regions for genotyping will be assigned based on significance of evidence for linkage. Markers at candidate genes selected by the Molecular Access committee and the approved by the Steering Committee will also be genotyped in selected samples.

## To plan positional cloning projects for those regions where initial and confirmatory evidence for linkage has been obtained.

- If second stage markers confirm evidence for linkage in a particular chromosomal region, the evidence in this region will be evaluated for an eventual positional cloning project.  Additional studies that involve reducing the region to a few centimorgans (<2cMs) will first be undertaken. Evaluation of mutations or single nucleotide polymorphisms in specific candidate genes are also under the purview of this aim.

## Genotyping Protocol for MALD analysis of MA DN Probands and Controls.

DNA samples will be aliquoted in a 96  well format.  Working stock 96 well template containing 1.0 ng DNA/l TE (10 mM Tris/ 1mM EDTA) volume will be generated using a BIOMEK 2000 robot (Beckman).   The working template trays will be used for robotic aliquoting of 1L into two quadrants of a 384 well microtiter trays that will be used for PCR reactions. A Multimek (Sagean/Beckman) robotic unit is used for this procedure and typically at least 4 trays are prepared at the same time at this station.   This procedure is repeated with a second 96 well “working stock” template so that each quadrant of the 384 well plate contains 96 wells corresponding to one or the other working stock tray.  To minimize any possible run-to-run bias each 384 well plate will contain two quadrants from a proband 96 well working stock and two quadrants from a control 96 well working stock.

All PCR reactions will be performed in 384 well PCR trays.   Typically 3 markers will be multiplexed for each PCR reaction and PCR reaction mixes are robotically dispensed into two quadrants of the 384 well PCR tray in which template DNA has been predispensed.  This typically repeated so that a total of 8 different PCR reaction mixes that are dispensed at the same time into 4 different 384 well trays.  Each of the primer sets are designed to have compatible PCR products (by size or different flours).  When additional multiplexing of compatible products is possible a total of upto 12 different PCR reaction mixes can be performed at the same time without exceeded the capacity of the robotic Biomek robotic station or thermocyclers.   The final 5 μl PCR contains 2.65 μL H2O, 0.5 μl PCR buffer, 0.7 μl of 2.5 mM dNTPs, 0.1 μL of 10 μM mix of forward and reverse primers and 0.05μl Taq polymerase.

The primers pairs amplify genomic DNA segments of ~100 to 400 bps that contain specific MALD microsatellite or insertion/deletion (I/D) polymorphisms.  The forward primer is conjugated with one of three ABI 3700 sequencer compatible fluorescent dyes (FAM, HEX or NED).  These are stored in light protected boxes at  –200C prior to PCR setup.  For microsatellite polymorphisms most reverse primers will be synthesized to contain tails to minimize the plus A problem that is especially an issue for dinucleotide repeat markers.

To accomplish the PCR setup, a master-mix sufficient for 384 PCRs containing the entire reaction mix except for the template is aliquoted and placed in a Biomek test-tube station.  Using one of our standard programs the Biomek 2000 accurately dispenses the required 4 μL volume into the specified two 96 well quadrants of the appropriate 384 well PCR tray.  The PCR tray is then sealed (Micro Amp Clear Adhesive Film), vortexed briefly and then centrifuged.

The completed and mixed 384 well PCR trays are then placed in the thermocyclers.  For the typical protocol (as described above), 4 tray PCRs are performed using two of our three dual 384 well thermocyclers (Gene Amp PCR System 9700, PE Biosystems).  For most reactions a standard PCR program similar to the Marshfield protocol is used for both microsatellite and I/D polymorphisms (950C X 3 min, 950C X 45 sec, 580C X 1.5 min, 720C X 45 sec for 32 cycles). Products are either stored at –200C (for upto 2 weeks) at this stage or are prepared for 3700 loading.

After the PCR reaction has been completed and within 12 hours of initiating an ABI 3700 sequencer run, a Multimek robot is used to mix the compatible PCR products and set up loading trays.  As indicated above the reaction templates are set up so that a given quadrant is typically matched in four trays by identical templates and PCR products that are size/fluor compatible for multiplexing.  The four trays can therefore be combined by simply retaining the same quadrant position in a 384 loading tray.  For this tray, 0.5 μl of each PCR product from each of the four PCR trays is mixed using one of our laboratory’s standard Multimek programs.   The loading tray is then prepared by adding 4 μl of loading mixture.  The loading mixture contains 90 ml of 3700 BAL ROX standard (Bioventures)/4000 μL of low conductivity formamide (Amersham).   This size standard contains fragments in 20 bp intervals throughout the size range 80 to 400 bp plus 70, 90 and 190 bp fragments.

Two 384 well completed loading trays are then placed in the ABI 3700 (PE Biosystems) for gel capillary size separation.  This automated sequencer is run using the standard ABI operating protocol with the POP6 run polymer.  After the sequencer run has been completed the run files are transferred from the 3700 dedicated computer to another PC (Dell, Pentium III, 750 mhz) .  The Genescan Analysis software is used to size the DNA fragments based on the sizes of the size standard peaks.  This “raw data” consisting of DNA fragment sizes for each typed individual is then imported into the Genotyper software program (PE Biosystems) in which templates have been created for each marker, specifying marker name, range of allele sizes and fluorescent dye label and peak height thresholds.   This information is used by the software to generate genotypes (to 2 decimal places) for each individual typed and this is displayed in tabular and graphical forms.  Each genotype is then manually reviewed to minimize errors in the labeling of alleles by the software.  Visual confirmation of each individual peak height is performed by careful review of the electrophoretic profiles.  A final table of genotype results is then saved as an Excel file.

Allele binning will then be performed using the analysis tool package in EXCEL (97 or later versions) prior to exporting data for specific statistical analyses.

### Quality Control:

To enable checking the quality and reproducibility of the genotyping each of the 96 well templates will contain 4 replicate samples and 4 CEPH controls (as provided by the FIND GADCC).   The known positions of the CEPH controls will be used to establish consistency in allele assignments between sets run and genotyped on different days. The replicate samples (with sample positions blinded to technical staff) will be used to determine the concordance rate for individual marker typing.   If the marker concordance is less than 95% the marker will be re-genotyped carefully examining the electophoretograms for artifactual peaks and reviewing the binning criteria.  If the marker concordance is still less than 95% the marker will either be discarded or will be retyped starting from the initial PCR step.

## Genotyping Protocol for MALD analysis of African Americans.

DNA samples will be aliquoted into 4.5 ml cryogen type tubes.  Working stock templates containing 1.0 ng DNA/ul will be generated using a Packard Multiprobe II robot.   The 300 ul of the working template stocks will then be robotically aliquoted into deep-dish 384-well plates.  Those daughter plates will be transferred into 384-well PCR granddaughter plates hydra containing 5ng/well with a Robbins 384 well hydra.  Plates are then dried overnight in a laminar flow hood, sealed with tape and stored for up to six months at –20 C for subsequent PCR analysis.

The NCI will perform these analyses using state of the art technologies that are constantly being evaluated and implemented to improve the genotyping process.  If 1532-well PCR systems are commercially available and reliable at the time the MALD analysis begins those will be used in the PCR analysis using a Robins 384 Tango hydra system for aliquoting and pooling.  Subsequent discussions of these plans will assume 384-well density even though the higher 1532-well density will hopefully be available in the next one to two years.

All PCR reactions will be performed in 384 well PCR trays.   PCR reaction mixes are robotically dispensed into the 384 well PCR trays in which template DNA has been pre-dispensed and rehydrated.  This is typically repeated so that many different PCR reaction mixes that are dispensed at the same time into different 384 well trays.  Using the newly released five-dye system from Applied Biosystems, each of the primer sets will be designed to have compatible PCR products (by sizes up to 500 bp and four different flours).  Up to twenty loci can be independently amplified, pooled and then analyzed.

Fragments will be size separated on Applied Biosystems 3100 sequencers, or their successors depending on availability.  Electropherograms that are produced by the sequencers will be analyzed in Gene Mapper (Applied Biosystems) to bin alleles for subsequent analysis.  These data will be deposited into a database at the NCI and analyzed for association between the FIND phenotypes and MALD genome scan markers.

### Quality Control:

To enable checking the quality and reproducibility of the genotyping each of the 384 well templates will contain 8 replicate samples used in Dr. Michael Smith’s laboratory in all 384 well plate genotyping applications.  The internal duplicates will be used to establish the consistency of genotyping in the laboratory.  Internal blinded replicate samples will be used to determine error rates and determine which markers must be retyped or redesigned.

Quality Control Procedure

A random set of 400 individuals from the family study and 400 individuals from the MALD study will be selected and sent to an external laboratory for DNA profiling. DNA for each participant selected will be extracted from a buffy coat and from the b-cell pellet. The DNA will be quantified and set up in a 96 well plate. All samples will have a unique barcode ID and are anonymized to the outside laboratory. The DNA will then be DNA diagnostics for profiling. The results will be reported on the GADCC every two weeks until all samples have been profiled. The GADCC will review the profiling results and report their findings to the Steering Committee and NIH.